## Summary
Ticks to run | 20
Initial price | 0.12
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.12 | 25920 | 25920 | 75702 | 75702 | 2218925867.8731 | 0 | 0 | 2218925867.8731
1 | 0.12489 | 38732 | 12812 | 112899 | 37197 | 2218925867.8731 | 127761932.2119 | 0.057578 | 2091163935.6612
2 | 0.12751 | 45112 | 6380 | 131226 | 18327 | 2218925867.8731 | 190489849.119 | 0.085848 | 2028436018.7541
3 | 0.12887 | 48322 | 3210 | 140310 | 9084 | 2218925867.8731 | 221455284.0446 | 0.099803 | 1997470583.8285
4 | 0.12956 | 49938 | 1616 | 144847 | 4537 | 2218925867.8731 | 236767553.0298 | 0.1067 | 1982158314.8433
5 | 0.1299 | 50728 | 790 | 147276 | 2429 | 2218925867.8731 | 244419375.2096 | 0.11015 | 1974506492.6635
6 | 0.13009 | 51127 | 399 | 148407 | 1131 | 2218925867.8731 | 248523310.7185 | 0.112 | 1970402557.1545
7 | 0.13018 | 51337 | 210 | 149138 | 731 | 2218925867.8731 | 250430402.1105 | 0.11286 | 1968495465.7626
8 | 0.13023 | 51433 | 96 | 149406 | 268 | 2218925867.8731 | 251664872.258 | 0.11342 | 1967260995.6151
9 | 0.13025 | 51484 | 51 | 149557 | 151 | 2218925867.8731 | 252117322.0462 | 0.11362 | 1966808545.8269
10 | 0.13027 | 51520 | 36 | 149643 | 86 | 2218925867.8731 | 252369496.1981 | 0.11373 | 1966556371.675
11 | 0.13027 | 51534 | 14 | 149679 | 36 | 2218925867.8731 | 252513195.0118 | 0.1138 | 1966412672.8612
12 | 0.13028 | 51537 | 3 | 149687 | 8 | 2218925867.8731 | 252573417.1801 | 0.11383 | 1966352450.6929
13 | 0.13028 | 51539 | 2 | 149691 | 4 | 2218925867.8731 | 252587673.6457 | 0.11383 | 1966338194.2273
14 | 0.13028 | 51540 | 1 | 149693 | 2 | 2218925867.8731 | 252594520.0316 | 0.11384 | 1966331347.8415
15 | 0.13028 | 51540 | 0 | 149693 | 0 | 2218925867.8731 | 252597568.2353 | 0.11384 | 1966328299.6378
16 | 0.13028 | 51540 | 0 | 149693 | 0 | 2218925867.8731 | 252597568.2353 | 0.11384 | 1966328299.6378
17 | 0.13028 | 51540 | 0 | 149693 | 0 | 2218925867.8731 | 252597568.2353 | 0.11384 | 1966328299.6378
18 | 0.13028 | 51541 | 1 | 149695 | 2 | 2218925867.8731 | 252597568.2353 | 0.11384 | 1966328299.6378
19 | 0.13028 | 51541 | 0 | 149695 | 0 | 2218925867.8731 | 252601132.3517 | 0.11384 | 1966324735.5214

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1126 | 1586 | 1722 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 4 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4474 | 8948 | 15945856.7378
2kW_SE | 1079 | 1598 | 1723 | 4 | 6 | 0 | 0 | 0 | 0 | 1 | 6 | 27 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 4446 | 8892 | 15272900.805
2kW_SW | 1106 | 1641 | 1785 | 3 | 3 | 0 | 1 | 0 | 0 | 0 | 6 | 34 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 4582 | 9164 | 15630051.7456
2kW_W | 1158 | 1619 | 1794 | 4 | 4 | 0 | 0 | 0 | 0 | 2 | 3 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4619 | 9238 | 14079652.9319
4kW_S | 33 | 654 | 970 | 2 | 2 | 1 | 1 | 0 | 0 | 3 | 15 | 41 | 1 | 0 | 0 | 2 | 0 | 0 | 2 | 1727 | 6908 | 12310458.0888
4kW_SE | 30 | 717 | 966 | 8 | 4 | 0 | 3 | 0 | 2 | 2 | 13 | 46 | 0 | 0 | 0 | 5 | 1 | 0 | 3 | 1800 | 7200 | 12366721.2186
4kW_SW | 30 | 698 | 979 | 3 | 2 | 0 | 1 | 0 | 1 | 2 | 19 | 41 | 0 | 0 | 1 | 3 | 0 | 0 | 1 | 1781 | 7124 | 12150642.7225
4kW_W | 17 | 672 | 945 | 6 | 2 | 0 | 1 | 0 | 0 | 6 | 11 | 42 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 1706 | 6824 | 10400471.0449
6kW_S | 0 | 14 | 62 | 4 | 0 | 0 | 1 | 1 | 0 | 8 | 18 | 18 | 2 | 0 | 3 | 14 | 3 | 0 | 7 | 155 | 930 | 1657314.1297
6kW_SE | 0 | 20 | 67 | 0 | 1 | 3 | 0 | 0 | 2 | 8 | 16 | 23 | 1 | 0 | 1 | 11 | 1 | 1 | 6 | 161 | 966 | 1659201.7724
6kW_SW | 0 | 10 | 67 | 2 | 0 | 1 | 6 | 0 | 0 | 14 | 25 | 11 | 2 | 1 | 0 | 12 | 4 | 1 | 9 | 165 | 990 | 1688536.8187
6kW_W | 0 | 22 | 76 | 3 | 0 | 1 | 4 | 0 | 4 | 6 | 19 | 10 | 3 | 1 | 1 | 14 | 6 | 1 | 7 | 178 | 1068 | 1627740.7801
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 5 | 4 | 19 | 475 | 846477.6488
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 3 | 0 | 0 | 0 | 2 | 3 | 5 | 0 | 0 | 5 | 21 | 525 | 895436.1903
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 8 | 2 | 0 | 1 | 1 | 4 | 7 | 1 | 3 | 11 | 40 | 3000 | 5346174.6189
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 5 | 3 | 0 | 1 | 2 | 6 | 7 | 6 | 4 | 10 | 46 | 3450 | 5884294.9579
Total Units | 4579 | 9251 | 11156 | 40 | 29 | 10 | 20 | 2 | 9 | 75 | 160 | 358 | 11 | 7 | 20 | 85 | 23 | 16 | 69 | 25920 | 0 | 0
Total Capacity | 9378 | 24248 | 31120 | 154 | 82 | 284 | 142 | 81 | 48 | 1499 | 1113 | 1304 | 202 | 287 | 861 | 1581 | 638 | 670 | 2010 | 0 | 75702 | 0
Total Supply | 15772021.012 | 40781000.1085 | 52339140.8815 | 256666.8607 | 138739.3815 | 495291.2088 | 238021.1685 | 138611.8048 | 77752.819 | 2609613.1978 | 1895409.1472 | 2199909.9785 | 348293.2997 | 494151.0815 | 1491814.4676 | 2731880.0675 | 1090777.4964 | 1168517.1639 | 3494321.0665 | 0 | 0 | 127761932.2119

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1668 | 2415 | 2501 | 1 | 8 | 1 | 0 | 0 | 0 | 0 | 5 | 45 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 6645 | 13290 | 23683553.4248
2kW_SE | 1608 | 2402 | 2584 | 6 | 9 | 0 | 0 | 0 | 0 | 2 | 11 | 46 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 6672 | 13344 | 22919656.8086
2kW_SW | 1648 | 2422 | 2648 | 5 | 4 | 0 | 1 | 0 | 0 | 0 | 10 | 63 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 6804 | 13608 | 23209705.8222
2kW_W | 1724 | 2426 | 2655 | 6 | 7 | 0 | 0 | 0 | 0 | 2 | 5 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6874 | 13748 | 20953352.2957
4kW_S | 48 | 997 | 1467 | 2 | 5 | 1 | 2 | 0 | 0 | 4 | 27 | 74 | 1 | 0 | 0 | 4 | 1 | 1 | 5 | 2639 | 10556 | 18811406.4252
4kW_SE | 44 | 1049 | 1466 | 10 | 5 | 0 | 3 | 0 | 2 | 4 | 19 | 64 | 0 | 0 | 0 | 7 | 1 | 1 | 3 | 2678 | 10712 | 18398933.013
4kW_SW | 41 | 1024 | 1461 | 3 | 2 | 0 | 3 | 1 | 2 | 3 | 29 | 79 | 0 | 0 | 1 | 5 | 0 | 1 | 2 | 2657 | 10628 | 18127039.7045
4kW_W | 32 | 1029 | 1443 | 8 | 2 | 0 | 1 | 0 | 1 | 8 | 20 | 64 | 0 | 0 | 0 | 4 | 0 | 0 | 3 | 2615 | 10460 | 15942105.3824
6kW_S | 0 | 19 | 87 | 4 | 2 | 1 | 3 | 1 | 0 | 11 | 28 | 35 | 2 | 0 | 3 | 21 | 3 | 0 | 10 | 230 | 1380 | 2459240.3215
6kW_SE | 0 | 32 | 97 | 1 | 1 | 3 | 0 | 0 | 2 | 10 | 21 | 29 | 1 | 2 | 2 | 20 | 1 | 1 | 10 | 233 | 1398 | 2401205.0495
6kW_SW | 0 | 19 | 98 | 2 | 0 | 1 | 8 | 1 | 1 | 18 | 30 | 16 | 3 | 1 | 1 | 18 | 5 | 3 | 11 | 236 | 1416 | 2415119.3286
6kW_W | 0 | 31 | 115 | 3 | 0 | 1 | 6 | 0 | 4 | 8 | 28 | 22 | 4 | 1 | 2 | 18 | 8 | 1 | 12 | 264 | 1584 | 2414177.3367
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 1 | 1 | 0 | 5 | 1 | 5 | 8 | 29 | 725 | 1291992.2009
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 0 | 0 | 0 | 4 | 3 | 7 | 0 | 0 | 9 | 33 | 825 | 1407114.0133
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 8 | 4 | 0 | 1 | 1 | 6 | 13 | 1 | 3 | 17 | 56 | 4200 | 7484644.4664
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 8 | 5 | 0 | 1 | 5 | 8 | 8 | 9 | 6 | 15 | 67 | 5025 | 8570603.5257
Total Units | 6813 | 13865 | 16622 | 51 | 45 | 12 | 30 | 4 | 13 | 99 | 242 | 586 | 16 | 15 | 27 | 131 | 31 | 23 | 107 | 38732 | 0 | 0
Total Capacity | 13956 | 36332 | 46506 | 188 | 130 | 292 | 215 | 91 | 87 | 1891 | 1759 | 2142 | 243 | 599 | 1179 | 2419 | 887 | 844 | 3139 | 0 | 112899 | 0
Total Supply | 23464740.1961 | 61099589.6577 | 78194334.1064 | 312695.257 | 221932.926 | 509547.6744 | 361574.9955 | 155667.7323 | 143544.9724 | 3278433.7753 | 3000811.4114 | 3617016.3763 | 419222.2393 | 1028351.7428 | 2044645.8784 | 4200071.1801 | 1513622.0751 | 1465644.1925 | 5458402.7299 | 0 | 0 | 190489849.119

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1926 | 2825 | 2943 | 3 | 9 | 1 | 1 | 0 | 0 | 0 | 6 | 51 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 7768 | 15536 | 27686056.1331
2kW_SE | 1918 | 2807 | 3024 | 7 | 9 | 0 | 0 | 0 | 0 | 3 | 12 | 51 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 7835 | 15670 | 26914794.8284
2kW_SW | 1929 | 2779 | 3106 | 6 | 4 | 0 | 1 | 0 | 0 | 0 | 11 | 73 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 7913 | 15826 | 26992710.4896
2kW_W | 2000 | 2840 | 3077 | 8 | 9 | 0 | 0 | 0 | 0 | 2 | 6 | 60 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8003 | 16006 | 24394774.2831
4kW_S | 51 | 1163 | 1712 | 3 | 6 | 1 | 2 | 0 | 0 | 4 | 32 | 82 | 1 | 0 | 0 | 4 | 1 | 1 | 5 | 3068 | 12272 | 21869418.3071
4kW_SE | 50 | 1228 | 1696 | 10 | 6 | 0 | 3 | 0 | 2 | 4 | 22 | 75 | 1 | 0 | 0 | 8 | 2 | 1 | 3 | 3111 | 12444 | 21373816.5061
4kW_SW | 45 | 1189 | 1697 | 5 | 4 | 0 | 3 | 1 | 2 | 4 | 32 | 89 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3081 | 12324 | 21019725.0017
4kW_W | 39 | 1172 | 1664 | 9 | 5 | 0 | 1 | 0 | 1 | 8 | 23 | 78 | 0 | 0 | 0 | 4 | 0 | 0 | 4 | 3008 | 12032 | 18337993.4953
6kW_S | 0 | 21 | 108 | 4 | 2 | 1 | 4 | 1 | 0 | 14 | 31 | 40 | 2 | 0 | 4 | 23 | 5 | 0 | 11 | 271 | 1626 | 2897626.6397
6kW_SE | 0 | 34 | 112 | 1 | 1 | 3 | 1 | 0 | 2 | 15 | 27 | 32 | 1 | 2 | 2 | 23 | 1 | 1 | 11 | 269 | 1614 | 2772206.6881
6kW_SW | 0 | 24 | 111 | 2 | 0 | 1 | 9 | 1 | 1 | 20 | 36 | 23 | 3 | 1 | 1 | 21 | 6 | 3 | 11 | 274 | 1644 | 2803994.4747
6kW_W | 0 | 34 | 128 | 3 | 0 | 1 | 6 | 0 | 4 | 8 | 36 | 26 | 4 | 1 | 2 | 22 | 8 | 1 | 13 | 297 | 1782 | 2715949.5038
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 2 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 33 | 825 | 1470198.0217
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 2 | 0 | 0 | 4 | 4 | 9 | 0 | 0 | 10 | 39 | 975 | 1662952.9248
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 1 | 6 | 15 | 2 | 3 | 19 | 66 | 4950 | 8821188.1212
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 10 | 6 | 0 | 1 | 5 | 8 | 11 | 9 | 6 | 17 | 76 | 5700 | 9721878.6261
Total Units | 7958 | 16116 | 19378 | 61 | 55 | 13 | 34 | 4 | 13 | 117 | 290 | 680 | 17 | 15 | 29 | 156 | 37 | 23 | 116 | 45112 | 0 | 0
Total Capacity | 16286 | 42188 | 54130 | 216 | 164 | 367 | 235 | 91 | 87 | 2357 | 2286 | 2492 | 247 | 599 | 1210 | 2955 | 986 | 844 | 3486 | 0 | 131226 | 0
Total Supply | 27381613.1115 | 70963046.4256 | 91044860.9299 | 359635.6653 | 277526.0475 | 637467.13 | 396370.6186 | 155667.7323 | 143544.9724 | 4094116.9755 | 3907358.4347 | 4201984.7446 | 426092.64 | 1028351.7428 | 2097978.0462 | 5124266.263 | 1689329.2126 | 1465644.1925 | 6060429.1594 | 0 | 0 | 221455284.0445

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2070 | 2993 | 3146 | 4 | 11 | 1 | 1 | 0 | 0 | 0 | 7 | 56 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8292 | 16584 | 29553653.1225
2kW_SE | 2069 | 3028 | 3247 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 12 | 58 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 8438 | 16876 | 28986220.6461
2kW_SW | 2054 | 2977 | 3358 | 6 | 4 | 0 | 1 | 0 | 0 | 2 | 11 | 76 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 8493 | 16986 | 28971198.0523
2kW_W | 2126 | 3036 | 3269 | 8 | 10 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8522 | 17044 | 25976792.0081
4kW_S | 52 | 1247 | 1830 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 85 | 1 | 0 | 0 | 4 | 1 | 1 | 5 | 3277 | 13108 | 23359218.9675
4kW_SE | 52 | 1341 | 1811 | 10 | 6 | 0 | 3 | 0 | 2 | 6 | 23 | 77 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3347 | 13388 | 22995231.0659
4kW_SW | 47 | 1276 | 1820 | 6 | 5 | 0 | 3 | 1 | 2 | 5 | 34 | 94 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3303 | 13212 | 22534291.3602
4kW_W | 39 | 1250 | 1796 | 9 | 5 | 0 | 1 | 0 | 1 | 8 | 23 | 82 | 0 | 0 | 0 | 4 | 0 | 0 | 4 | 3222 | 12888 | 19642624.6815
6kW_S | 0 | 23 | 116 | 5 | 2 | 1 | 4 | 1 | 0 | 22 | 37 | 41 | 2 | 0 | 4 | 24 | 6 | 0 | 14 | 302 | 1812 | 3229089.4656
6kW_SE | 0 | 37 | 119 | 1 | 1 | 3 | 1 | 0 | 2 | 16 | 29 | 33 | 1 | 2 | 2 | 25 | 1 | 1 | 11 | 285 | 1710 | 2937096.3052
6kW_SW | 0 | 25 | 119 | 2 | 0 | 2 | 9 | 1 | 1 | 20 | 38 | 25 | 3 | 2 | 1 | 24 | 6 | 3 | 11 | 292 | 1752 | 2988198.4913
6kW_W | 0 | 37 | 142 | 3 | 0 | 1 | 8 | 0 | 4 | 11 | 37 | 29 | 4 | 1 | 2 | 23 | 8 | 2 | 13 | 325 | 1950 | 2971998.6153
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 2 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 2 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 1 | 6 | 16 | 2 | 3 | 19 | 67 | 5025 | 8954842.4866
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 10 | 6 | 0 | 3 | 5 | 8 | 12 | 10 | 6 | 18 | 81 | 6075 | 10361475.9042
Total Units | 8509 | 17270 | 20773 | 65 | 59 | 14 | 38 | 4 | 14 | 134 | 307 | 719 | 19 | 16 | 29 | 165 | 39 | 25 | 123 | 48322 | 0 | 0
Total Capacity | 17398 | 45256 | 58044 | 230 | 174 | 373 | 276 | 91 | 89 | 2445 | 2374 | 2626 | 397 | 605 | 1210 | 3147 | 1067 | 875 | 3633 | 0 | 140310 | 0
Total Supply | 29258546.7516 | 76128021.685 | 97621976.0537 | 384149.7022 | 294524.855 | 647700.6865 | 466339.5289 | 155667.7323 | 146593.1761 | 4244780.747 | 4060071.181 | 4425751.7776 | 681931.5512 | 1038585.2993 | 2097978.0462 | 5456988.916 | 1827941.0174 | 1517428.6222 | 6312575.7006 | 0 | 0 | 236767553.0298

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2147 | 3100 | 3242 | 5 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 58 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8576 | 17152 | 30565862.1778
2kW_SE | 2146 | 3151 | 3361 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 12 | 58 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 8752 | 17504 | 30064873.5595
2kW_SW | 2124 | 3082 | 3458 | 6 | 4 | 0 | 1 | 0 | 0 | 2 | 11 | 77 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 8769 | 17538 | 29912685.2374
2kW_W | 2199 | 3128 | 3383 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 8803 | 17606 | 26833337.2503
4kW_S | 54 | 1286 | 1891 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 87 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3382 | 13528 | 24107683.4142
4kW_SE | 52 | 1383 | 1870 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 23 | 80 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3452 | 13808 | 23716623.137
4kW_SW | 48 | 1322 | 1878 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 34 | 98 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3413 | 13652 | 23284752.1684
4kW_W | 41 | 1290 | 1846 | 9 | 5 | 0 | 1 | 0 | 1 | 8 | 24 | 85 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3319 | 13276 | 20233976.2004
6kW_S | 0 | 24 | 118 | 5 | 2 | 1 | 4 | 1 | 0 | 22 | 38 | 42 | 2 | 0 | 4 | 25 | 6 | 0 | 15 | 309 | 1854 | 3303935.9102
6kW_SE | 0 | 38 | 127 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 29 | 34 | 1 | 2 | 2 | 26 | 1 | 1 | 11 | 297 | 1782 | 3060763.5181
6kW_SW | 0 | 25 | 124 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 25 | 3 | 2 | 1 | 27 | 6 | 3 | 11 | 301 | 1806 | 3080300.4996
6kW_W | 0 | 37 | 146 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 29 | 4 | 2 | 2 | 24 | 8 | 2 | 15 | 336 | 2016 | 3072589.3377
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 2 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 3 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 43 | 1075 | 1833512.1992
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 1 | 7 | 16 | 2 | 3 | 19 | 68 | 5100 | 9088496.8521
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 11 | 6 | 0 | 3 | 5 | 8 | 12 | 11 | 6 | 18 | 84 | 6300 | 10745234.271
Total Units | 8811 | 17866 | 21444 | 68 | 61 | 14 | 41 | 4 | 14 | 138 | 310 | 736 | 19 | 17 | 30 | 172 | 40 | 25 | 128 | 49938 | 0 | 0
Total Capacity | 18012 | 46790 | 59918 | 242 | 180 | 373 | 363 | 91 | 89 | 2534 | 2409 | 2692 | 397 | 611 | 1285 | 3185 | 1142 | 875 | 3659 | 0 | 144847 | 0
Total Supply | 30292067.6455 | 78715762.2178 | 100776627.3005 | 404889.8204 | 304395.4297 | 647700.6865 | 612548.2068 | 155667.7323 | 146593.1761 | 4395642.4866 | 4119499.7562 | 4537735.52 | 681931.5512 | 1047729.9104 | 2231632.4117 | 5520880.3506 | 1955860.473 | 1517428.6222 | 6354781.9123 | 0 | 0 | 244419375.2096

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2186 | 3150 | 3290 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 59 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8715 | 17430 | 31061274.3563
2kW_SE | 2184 | 3203 | 3416 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 60 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 8900 | 17800 | 30573283.2129
2kW_SW | 2153 | 3121 | 3518 | 6 | 4 | 0 | 1 | 0 | 0 | 2 | 11 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 8901 | 17802 | 30362961.7172
2kW_W | 2237 | 3183 | 3426 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 8939 | 17878 | 27247892.9548
4kW_S | 56 | 1313 | 1915 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3437 | 13748 | 24499736.2195
4kW_SE | 52 | 1398 | 1902 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 23 | 81 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3500 | 14000 | 24046402.3695
4kW_SW | 48 | 1342 | 1908 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 34 | 98 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3463 | 13852 | 23625870.7176
4kW_W | 43 | 1314 | 1882 | 9 | 5 | 0 | 1 | 0 | 1 | 9 | 24 | 87 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3384 | 13536 | 20630242.6822
6kW_S | 0 | 26 | 119 | 5 | 2 | 1 | 5 | 1 | 0 | 22 | 39 | 42 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 316 | 1896 | 3378782.3548
6kW_SE | 0 | 38 | 127 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 30 | 34 | 1 | 2 | 2 | 26 | 1 | 1 | 11 | 298 | 1788 | 3071069.1192
6kW_SW | 0 | 25 | 126 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 25 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 304 | 1824 | 3111001.169
6kW_W | 0 | 37 | 147 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 29 | 4 | 2 | 2 | 24 | 8 | 2 | 15 | 337 | 2022 | 3081733.9488
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 2 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 3 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 43 | 1075 | 1833512.1992
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 3 | 19 | 70 | 5250 | 9355805.583
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 5 | 8 | 13 | 11 | 6 | 18 | 87 | 6525 | 11128992.6378
Total Units | 8959 | 18150 | 21776 | 69 | 61 | 15 | 42 | 4 | 14 | 140 | 314 | 748 | 19 | 18 | 30 | 174 | 41 | 25 | 129 | 50728 | 0 | 0
Total Capacity | 18316 | 47538 | 60842 | 244 | 180 | 448 | 369 | 91 | 89 | 2613 | 2498 | 2726 | 397 | 617 | 1285 | 3266 | 1217 | 875 | 3665 | 0 | 147276 | 0
Total Supply | 30802811.198 | 79972950.0852 | 102327761.0729 | 408453.9368 | 304395.4297 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4535393.2594 | 4271852.3625 | 4595134.46 | 681931.5512 | 1057963.4669 | 2231632.4117 | 5659492.1554 | 2089514.8385 | 1517428.6222 | 6365474.2615 | 0 | 0 | 248523310.7185

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2201 | 3179 | 3312 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8782 | 17564 | 31300070.1545
2kW_SE | 2205 | 3235 | 3452 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 8990 | 17980 | 30882451.2454
2kW_SW | 2171 | 3144 | 3538 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 12 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 8964 | 17928 | 30577866.4007
2kW_W | 2248 | 3202 | 3455 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 8998 | 17996 | 27427736.9736
4kW_S | 57 | 1323 | 1928 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3461 | 13844 | 24670813.8073
4kW_SE | 52 | 1406 | 1915 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 82 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3523 | 14092 | 24204421.5851
4kW_SW | 48 | 1353 | 1930 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3499 | 13996 | 23871476.073
4kW_W | 44 | 1323 | 1895 | 9 | 5 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3409 | 13636 | 20782652.8675
6kW_S | 0 | 26 | 120 | 5 | 2 | 1 | 5 | 1 | 0 | 22 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 318 | 1908 | 3400167.0532
6kW_SE | 0 | 38 | 129 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 1 | 1 | 11 | 301 | 1806 | 3101985.9224
6kW_SW | 0 | 25 | 127 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 306 | 1836 | 3131468.282
6kW_W | 0 | 37 | 150 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 29 | 4 | 2 | 2 | 24 | 9 | 2 | 15 | 341 | 2046 | 3118312.3933
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 2 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 3 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 43 | 1075 | 1833512.1992
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 3 | 19 | 70 | 5250 | 9355805.583
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 5 | 9 | 13 | 11 | 6 | 18 | 88 | 6600 | 11256912.0934
Total Units | 9026 | 18291 | 21951 | 69 | 62 | 15 | 42 | 4 | 14 | 141 | 319 | 755 | 19 | 18 | 31 | 174 | 42 | 25 | 129 | 51127 | 0 | 0
Total Capacity | 18454 | 47896 | 61342 | 244 | 182 | 448 | 369 | 91 | 89 | 2617 | 2518 | 2754 | 397 | 617 | 1360 | 3266 | 1223 | 875 | 3665 | 0 | 148407 | 0
Total Supply | 31036568.3707 | 80578768.2893 | 103166759.0979 | 408453.9368 | 307806.6151 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4541489.6669 | 4306084.2916 | 4642848.8616 | 681931.5512 | 1057963.4669 | 2359551.8673 | 5659492.1554 | 2098659.4496 | 1517428.6222 | 6365474.2615 | 0 | 0 | 250430402.1105

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2213 | 3193 | 3319 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8815 | 17630 | 31417685.9955
2kW_SE | 2212 | 3248 | 3462 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9020 | 18040 | 30985507.2562
2kW_SW | 2180 | 3158 | 3551 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 12 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9000 | 18000 | 30700669.077
2kW_W | 2260 | 3217 | 3470 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9040 | 18080 | 27555761.5294
4kW_S | 58 | 1328 | 1939 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3478 | 13912 | 24791993.7654
4kW_SE | 52 | 1409 | 1920 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 82 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3531 | 14124 | 24259384.7905
4kW_SW | 48 | 1361 | 1936 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3513 | 14052 | 23966989.2668
4kW_W | 45 | 1331 | 1908 | 9 | 5 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3431 | 13724 | 20916773.8306
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 129 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 302 | 1812 | 3112291.5234
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 151 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 29 | 4 | 2 | 2 | 24 | 9 | 2 | 15 | 342 | 2052 | 3127457.0044
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 3 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 43 | 1075 | 1833512.1992
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9068 | 18371 | 22034 | 69 | 62 | 15 | 42 | 4 | 14 | 142 | 320 | 755 | 19 | 19 | 31 | 174 | 43 | 26 | 129 | 51337 | 0 | 0
Total Capacity | 18542 | 48104 | 61590 | 244 | 182 | 448 | 369 | 91 | 89 | 2623 | 2543 | 2754 | 397 | 692 | 1360 | 3266 | 1229 | 950 | 3665 | 0 | 149138 | 0
Total Supply | 31183887.9237 | 80926405.7687 | 103579148.9863 | 408453.9368 | 307806.6151 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4350635.7468 | 4642848.8616 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5659492.1554 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 251664872.258

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2214 | 3201 | 3326 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8831 | 17662 | 31474711.8578
2kW_SE | 2215 | 3253 | 3469 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9035 | 18070 | 31037035.2616
2kW_SW | 2184 | 3164 | 3556 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9016 | 18032 | 30755248.0442
2kW_W | 2261 | 3225 | 3476 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9055 | 18110 | 27601484.585
4kW_S | 58 | 1337 | 1944 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3492 | 13968 | 24891789.0249
4kW_SE | 52 | 1410 | 1921 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 82 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3533 | 14132 | 24273125.5918
4kW_SW | 48 | 1365 | 1940 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3521 | 14084 | 24021568.2347
4kW_W | 45 | 1334 | 1911 | 9 | 5 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3437 | 13748 | 20953352.275
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 131 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 304 | 1824 | 3132902.7256
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 152 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 29 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 344 | 2064 | 3145746.2267
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 3 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 43 | 1075 | 1833512.1992
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9077 | 18415 | 22075 | 69 | 62 | 15 | 42 | 4 | 14 | 142 | 321 | 755 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51433 | 0 | 0
Total Capacity | 18560 | 48226 | 61710 | 244 | 182 | 448 | 369 | 91 | 89 | 2623 | 2545 | 2754 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149406 | 0
Total Supply | 31214450.5867 | 81133550.6463 | 103781335.4374 | 408453.9368 | 307806.6151 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4354046.9323 | 4642848.8616 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252117322.0462

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2216 | 3205 | 3331 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8842 | 17684 | 31513917.1381
2kW_SE | 2216 | 3255 | 3470 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9039 | 18078 | 31050776.0631
2kW_SW | 2189 | 3167 | 3560 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9028 | 18056 | 30796182.2697
2kW_W | 2265 | 3228 | 3481 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9067 | 18134 | 27638063.0295
4kW_S | 58 | 1338 | 1944 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3493 | 13972 | 24898917.2577
4kW_SE | 52 | 1411 | 1921 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3535 | 14140 | 24286866.3932
4kW_SW | 48 | 1367 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3524 | 14096 | 24042035.3476
4kW_W | 45 | 1335 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3440 | 13760 | 20971641.4973
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 152 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 345 | 2070 | 3154890.8378
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9089 | 18432 | 22093 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51484 | 0 | 0
Total Capacity | 18584 | 48270 | 61754 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149557 | 0
Total Supply | 31254262.762 | 81207795.463 | 103854701.3595 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252369496.198

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2219 | 3208 | 3332 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8849 | 17698 | 31538865.9528
2kW_SE | 2219 | 3260 | 3471 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9048 | 18096 | 31081692.8663
2kW_SW | 2191 | 3169 | 3562 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9034 | 18068 | 30816649.3824
2kW_W | 2267 | 3231 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9075 | 18150 | 27662448.6592
4kW_S | 58 | 1339 | 1944 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3494 | 13976 | 24906045.4906
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1367 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3524 | 14096 | 24042035.3476
4kW_W | 45 | 1336 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3441 | 13764 | 20977737.9047
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9099 | 18447 | 22104 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51520 | 0 | 0
Total Capacity | 18604 | 48304 | 61786 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149643 | 0
Total Supply | 31288179.4906 | 81264855.4362 | 103907423.4715 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252513195.0118

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3208 | 3332 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8851 | 17702 | 31545994.1856
2kW_SE | 2219 | 3260 | 3472 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9049 | 18098 | 31085128.0667
2kW_SW | 2191 | 3170 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9038 | 18076 | 30830294.1242
2kW_W | 2269 | 3232 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9078 | 18156 | 27671593.2703
4kW_S | 58 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3495 | 13980 | 24913173.7234
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9103 | 18452 | 22109 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51534 | 0 | 0
Total Capacity | 18612 | 48320 | 61798 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149679 | 0
Total Supply | 31301404.1308 | 81291055.9748 | 103928220.461 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252573417.1801

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3208 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8853 | 17706 | 31553122.4184
2kW_SE | 2219 | 3260 | 3472 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9049 | 18098 | 31085128.0667
2kW_SW | 2191 | 3170 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9038 | 18076 | 30830294.1242
2kW_W | 2269 | 3232 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9078 | 18156 | 27671593.2703
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18452 | 22111 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51537 | 0 | 0
Total Capacity | 18616 | 48320 | 61802 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149687 | 0
Total Supply | 31308532.3636 | 81291055.9748 | 103935348.6938 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252587673.6457

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3208 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8853 | 17706 | 31553122.4184
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3232 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9078 | 18156 | 27671593.2703
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18453 | 22112 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51539 | 0 | 0
Total Capacity | 18616 | 48322 | 61804 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149691 | 0
Total Supply | 31308532.3636 | 81294467.1602 | 103938783.8941 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252594520.0315

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3208 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8853 | 17706 | 31553122.4184
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3233 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9079 | 18158 | 27674641.474
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18454 | 22112 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51540 | 0 | 0
Total Capacity | 18616 | 48324 | 61804 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149693 | 0
Total Supply | 31308532.3636 | 81297515.364 | 103938783.8941 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252597568.2352

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3208 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8853 | 17706 | 31553122.4184
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3233 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9079 | 18158 | 27674641.474
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18454 | 22112 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51540 | 0 | 0
Total Capacity | 18616 | 48324 | 61804 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149693 | 0
Total Supply | 31308532.3636 | 81297515.364 | 103938783.8941 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252597568.2352

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3208 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8853 | 17706 | 31553122.4184
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3233 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9079 | 18158 | 27674641.474
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18454 | 22112 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51540 | 0 | 0
Total Capacity | 18616 | 48324 | 61804 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149693 | 0
Total Supply | 31308532.3636 | 81297515.364 | 103938783.8941 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252597568.2352

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3208 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8853 | 17706 | 31553122.4184
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3233 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9079 | 18158 | 27674641.474
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18454 | 22112 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51540 | 0 | 0
Total Capacity | 18616 | 48324 | 61804 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149693 | 0
Total Supply | 31308532.3636 | 81297515.364 | 103938783.8941 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252597568.2352

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3209 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8854 | 17708 | 31556686.5348
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3233 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9079 | 18158 | 27674641.474
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18455 | 22112 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51541 | 0 | 0
Total Capacity | 18616 | 48326 | 61804 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149695 | 0
Total Supply | 31308532.3636 | 81301079.4803 | 103938783.8941 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252601132.3516

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3209 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8854 | 17708 | 31556686.5348
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3233 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9079 | 18158 | 27674641.474
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18455 | 22112 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51541 | 0 | 0
Total Capacity | 18616 | 48326 | 61804 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149695 | 0
Total Supply | 31308532.3636 | 81301079.4803 | 103938783.8941 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252601132.3516