## Summary
Ticks to run | 20
Initial price | 0.12
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.12 | 25737 | 25737 | 75349 | 75349 | 2218925867.8731 | 0 | 0 | 2218925867.8731
1 | 0.12486 | 38598 | 12861 | 112851 | 37502 | 2218925867.8731 | 127173296.5299 | 0.057313 | 2091752571.3432
2 | 0.12751 | 45204 | 6606 | 131358 | 18507 | 2218925867.8731 | 190459543.7971 | 0.085834 | 2028466324.076
3 | 0.12888 | 48298 | 3094 | 140390 | 9032 | 2218925867.8731 | 221654122.744 | 0.099893 | 1997271745.1291
4 | 0.12956 | 49953 | 1655 | 145016 | 4626 | 2218925867.8731 | 236902409.8583 | 0.10676 | 1982023458.0147
5 | 0.12992 | 50754 | 801 | 147529 | 2513 | 2218925867.8731 | 244702217.2526 | 0.11028 | 1974223650.6205
6 | 0.13011 | 51163 | 409 | 148593 | 1064 | 2218925867.8731 | 248957127.7179 | 0.1122 | 1969968740.1552
7 | 0.13019 | 51348 | 185 | 149073 | 480 | 2218925867.8731 | 250742776.2526 | 0.113 | 1968183091.6204
8 | 0.13023 | 51441 | 93 | 149378 | 305 | 2218925867.8731 | 251548291.0835 | 0.11336 | 1967377576.7896
9 | 0.13025 | 51498 | 57 | 149510 | 132 | 2218925867.8731 | 252067714.9336 | 0.1136 | 1966858152.9395
10 | 0.13026 | 51517 | 19 | 149556 | 46 | 2218925867.8731 | 252284378.2569 | 0.1137 | 1966641489.6162
11 | 0.13027 | 51531 | 14 | 149663 | 107 | 2218925867.8731 | 252362340.3694 | 0.11373 | 1966563527.5037
12 | 0.13027 | 51537 | 6 | 149683 | 20 | 2218925867.8731 | 252551119.2162 | 0.11382 | 1966374748.6569
13 | 0.13028 | 51539 | 2 | 149687 | 4 | 2218925867.8731 | 252582327.2167 | 0.11383 | 1966343540.6564
14 | 0.13028 | 51541 | 2 | 149695 | 8 | 2218925867.8731 | 252588939.5368 | 0.11383 | 1966336928.3363
15 | 0.13028 | 51541 | 0 | 149695 | 0 | 2218925867.8731 | 252601132.3517 | 0.11384 | 1966324735.5214
16 | 0.13028 | 51541 | 0 | 149695 | 0 | 2218925867.8731 | 252601132.3517 | 0.11384 | 1966324735.5214
17 | 0.13028 | 51541 | 0 | 149695 | 0 | 2218925867.8731 | 252601132.3517 | 0.11384 | 1966324735.5214
18 | 0.13028 | 51541 | 0 | 149695 | 0 | 2218925867.8731 | 252601132.3517 | 0.11384 | 1966324735.5214
19 | 0.13028 | 51541 | 0 | 149695 | 0 | 2218925867.8731 | 252601132.3517 | 0.11384 | 1966324735.5214

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1108 | 1623 | 1636 | 4 | 8 | 1 | 0 | 0 | 0 | 1 | 4 | 20 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 4407 | 8814 | 15707060.9395
2kW_SE | 1090 | 1600 | 1754 | 4 | 4 | 0 | 0 | 0 | 0 | 2 | 5 | 32 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4492 | 8984 | 15430920.0216
2kW_SW | 1058 | 1594 | 1812 | 2 | 2 | 0 | 0 | 0 | 0 | 1 | 6 | 44 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 4523 | 9046 | 15428791.8039
2kW_W | 1115 | 1613 | 1764 | 4 | 6 | 0 | 0 | 0 | 1 | 2 | 0 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4536 | 9072 | 13826652.024
4kW_S | 29 | 669 | 972 | 3 | 4 | 0 | 3 | 0 | 0 | 2 | 19 | 40 | 0 | 0 | 0 | 1 | 1 | 1 | 4 | 1748 | 6992 | 12460150.9781
4kW_SE | 25 | 693 | 945 | 6 | 1 | 0 | 0 | 0 | 1 | 1 | 9 | 44 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 1733 | 6932 | 11906404.3732
4kW_SW | 25 | 669 | 1007 | 4 | 4 | 0 | 1 | 0 | 2 | 1 | 16 | 55 | 0 | 0 | 0 | 2 | 0 | 1 | 2 | 1789 | 7156 | 12205221.6904
4kW_W | 19 | 706 | 936 | 5 | 1 | 0 | 1 | 0 | 1 | 4 | 12 | 46 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1733 | 6932 | 10565074.045
6kW_S | 0 | 16 | 67 | 2 | 0 | 1 | 2 | 1 | 0 | 12 | 16 | 20 | 1 | 0 | 4 | 13 | 3 | 0 | 9 | 167 | 1002 | 1785622.3204
6kW_SE | 0 | 21 | 58 | 1 | 0 | 3 | 1 | 0 | 2 | 11 | 15 | 18 | 0 | 0 | 2 | 15 | 1 | 0 | 7 | 155 | 930 | 1597368.166
6kW_SW | 0 | 10 | 71 | 1 | 0 | 1 | 3 | 0 | 0 | 6 | 19 | 17 | 1 | 1 | 0 | 14 | 1 | 2 | 8 | 155 | 930 | 1586201.2539
6kW_W | 0 | 13 | 79 | 2 | 0 | 0 | 3 | 0 | 0 | 7 | 17 | 19 | 2 | 0 | 1 | 9 | 4 | 1 | 7 | 164 | 984 | 1499716.2243
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5 | 2 | 0 | 0 | 1 | 0 | 5 | 1 | 2 | 5 | 22 | 550 | 980132.0144
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 3 | 3 | 0 | 0 | 1 | 3 | 5 | 0 | 1 | 10 | 29 | 725 | 1236554.739
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 1 | 0 | 0 | 0 | 4 | 9 | 0 | 4 | 12 | 37 | 2775 | 4945211.5225
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 7 | 5 | 0 | 2 | 1 | 4 | 9 | 5 | 3 | 9 | 47 | 3525 | 6012214.4135
Total Units | 4469 | 9227 | 11101 | 38 | 30 | 8 | 17 | 2 | 7 | 72 | 149 | 385 | 7 | 4 | 19 | 91 | 19 | 15 | 77 | 25737 | 0 | 0
Total Capacity | 9134 | 24168 | 31022 | 136 | 80 | 132 | 149 | 81 | 30 | 1510 | 1231 | 1436 | 176 | 131 | 719 | 1948 | 466 | 626 | 2174 | 0 | 75349 | 0
Total Supply | 15366060.4849 | 40641979.6462 | 52174990.147 | 227604.1545 | 136134.5491 | 225966.0995 | 253959.3716 | 138611.8048 | 50270.9559 | 2621053.8755 | 2097316.01 | 2412904.9737 | 298618.1556 | 225344.2859 | 1250151.1357 | 3380368.5656 | 794341.3332 | 1093680.8856 | 3783940.0957 | 0 | 0 | 127173296.5299

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1644 | 2436 | 2474 | 5 | 9 | 1 | 1 | 0 | 0 | 1 | 6 | 41 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 6620 | 13240 | 23594450.515
2kW_SE | 1650 | 2473 | 2593 | 6 | 5 | 0 | 0 | 0 | 0 | 3 | 7 | 44 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 6784 | 13568 | 23304399.249
2kW_SW | 1636 | 2371 | 2697 | 5 | 5 | 0 | 1 | 0 | 0 | 2 | 10 | 59 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 6790 | 13580 | 23161949.2259
2kW_W | 1673 | 2394 | 2705 | 6 | 6 | 0 | 0 | 0 | 1 | 2 | 2 | 46 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6836 | 13672 | 20837520.5547
4kW_S | 47 | 1015 | 1434 | 3 | 6 | 0 | 3 | 0 | 0 | 3 | 27 | 62 | 0 | 0 | 0 | 3 | 1 | 1 | 6 | 2611 | 10444 | 18611815.9061
4kW_SE | 38 | 1052 | 1393 | 8 | 4 | 0 | 1 | 0 | 1 | 2 | 15 | 66 | 1 | 0 | 0 | 7 | 2 | 1 | 4 | 2595 | 10380 | 17828689.7568
4kW_SW | 38 | 993 | 1484 | 5 | 6 | 0 | 2 | 0 | 2 | 2 | 26 | 77 | 0 | 0 | 0 | 4 | 0 | 1 | 2 | 2642 | 10568 | 18024704.1397
4kW_W | 33 | 1020 | 1394 | 8 | 3 | 0 | 1 | 0 | 1 | 7 | 20 | 65 | 0 | 0 | 0 | 2 | 0 | 0 | 3 | 2557 | 10228 | 15588513.7525
6kW_S | 0 | 20 | 97 | 3 | 2 | 1 | 4 | 1 | 0 | 19 | 31 | 30 | 1 | 0 | 4 | 20 | 4 | 0 | 13 | 250 | 1500 | 2673087.306
6kW_SE | 0 | 28 | 95 | 1 | 1 | 3 | 1 | 0 | 2 | 14 | 22 | 25 | 1 | 2 | 2 | 21 | 1 | 1 | 8 | 228 | 1368 | 2349677.0442
6kW_SW | 0 | 20 | 94 | 1 | 0 | 1 | 7 | 1 | 0 | 15 | 28 | 22 | 1 | 1 | 0 | 21 | 5 | 2 | 9 | 228 | 1368 | 2333250.8768
6kW_W | 0 | 24 | 118 | 3 | 0 | 0 | 6 | 0 | 1 | 10 | 27 | 25 | 2 | 2 | 2 | 18 | 8 | 2 | 12 | 260 | 1560 | 2377598.8922
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 2 | 0 | 0 | 1 | 0 | 5 | 1 | 5 | 7 | 30 | 750 | 1336543.6561
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 4 | 4 | 0 | 0 | 2 | 4 | 6 | 0 | 1 | 12 | 38 | 950 | 1620313.1062
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 10 | 4 | 0 | 1 | 0 | 4 | 14 | 1 | 4 | 16 | 55 | 4125 | 7350990.101
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 9 | 6 | 0 | 2 | 6 | 9 | 13 | 7 | 4 | 15 | 74 | 5550 | 9466039.7149
Total Units | 6759 | 13846 | 16578 | 54 | 47 | 10 | 31 | 3 | 9 | 111 | 237 | 562 | 10 | 14 | 26 | 137 | 32 | 23 | 109 | 38598 | 0 | 0
Total Capacity | 13830 | 36220 | 46182 | 188 | 144 | 282 | 240 | 87 | 61 | 2145 | 1950 | 2072 | 261 | 555 | 1125 | 2850 | 749 | 794 | 3116 | 0 | 112851 | 0
Total Supply | 23264365.8609 | 60945071.8 | 77642809.5741 | 313057.9903 | 245762.9462 | 487539.9206 | 407020.0214 | 148845.3613 | 102055.3856 | 3725405.7693 | 3333893.9646 | 3487904.8518 | 449448.5228 | 946481.8069 | 1941532.8434 | 4941312.8968 | 1278910.0302 | 1385010.52 | 5413113.731 | 0 | 0 | 190459543.7971

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1945 | 2849 | 2913 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 49 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 7786 | 15572 | 27750210.2281
2kW_SE | 1964 | 2846 | 3059 | 6 | 7 | 0 | 0 | 0 | 0 | 3 | 11 | 55 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 7954 | 15908 | 27323583.6714
2kW_SW | 1905 | 2790 | 3110 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 12 | 69 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 7904 | 15808 | 26962009.8205
2kW_W | 1972 | 2837 | 3106 | 7 | 7 | 0 | 0 | 0 | 1 | 2 | 5 | 57 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7995 | 15990 | 24370388.6535
4kW_S | 54 | 1181 | 1688 | 3 | 6 | 0 | 3 | 0 | 0 | 3 | 30 | 79 | 0 | 0 | 0 | 4 | 1 | 1 | 6 | 3059 | 12236 | 21805264.2117
4kW_SE | 43 | 1229 | 1644 | 10 | 6 | 0 | 3 | 0 | 1 | 3 | 21 | 77 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3053 | 12212 | 20975333.2669
4kW_SW | 41 | 1177 | 1723 | 5 | 6 | 0 | 2 | 0 | 2 | 2 | 33 | 87 | 0 | 0 | 0 | 5 | 0 | 1 | 2 | 3086 | 12344 | 21053836.8566
4kW_W | 36 | 1178 | 1669 | 9 | 5 | 0 | 1 | 0 | 1 | 10 | 22 | 76 | 0 | 0 | 0 | 4 | 0 | 0 | 4 | 3015 | 12060 | 18380668.3472
6kW_S | 0 | 24 | 114 | 4 | 2 | 1 | 4 | 1 | 0 | 22 | 36 | 35 | 1 | 0 | 4 | 21 | 5 | 0 | 15 | 289 | 1734 | 3090088.9257
6kW_SE | 0 | 34 | 116 | 1 | 1 | 3 | 1 | 0 | 2 | 16 | 29 | 30 | 1 | 2 | 2 | 22 | 2 | 1 | 10 | 273 | 1638 | 2813429.0924
6kW_SW | 0 | 22 | 115 | 2 | 0 | 2 | 9 | 1 | 0 | 20 | 32 | 23 | 1 | 1 | 0 | 23 | 6 | 3 | 10 | 270 | 1620 | 2763060.2488
6kW_W | 0 | 29 | 140 | 3 | 0 | 0 | 8 | 0 | 2 | 10 | 32 | 28 | 3 | 2 | 2 | 23 | 8 | 2 | 14 | 306 | 1836 | 2798251.0039
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 2 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 33 | 825 | 1470198.0217
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 4 | 4 | 0 | 0 | 3 | 4 | 7 | 0 | 1 | 12 | 40 | 1000 | 1705592.7434
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 11 | 5 | 0 | 1 | 0 | 5 | 15 | 1 | 4 | 18 | 62 | 4650 | 8286570.6593
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 10 | 6 | 0 | 2 | 6 | 9 | 13 | 9 | 5 | 16 | 79 | 5925 | 10105636.993
Total Units | 7960 | 16196 | 19397 | 62 | 56 | 12 | 37 | 3 | 10 | 127 | 287 | 665 | 12 | 15 | 27 | 155 | 37 | 25 | 121 | 45204 | 0 | 0
Total Capacity | 16268 | 42358 | 54182 | 218 | 170 | 363 | 272 | 87 | 67 | 2371 | 2243 | 2432 | 292 | 580 | 1200 | 3051 | 917 | 875 | 3412 | 0 | 131358 | 0
Total Supply | 27367845.5724 | 71266711.9253 | 91095783.4188 | 363844.6104 | 288743.3996 | 631427.8425 | 459517.1579 | 148845.3613 | 111199.9967 | 4115995.2455 | 3835634.9793 | 4096542.7804 | 503144.5891 | 989121.6255 | 2075187.2089 | 5285924.5907 | 1565980.4482 | 1523163.5321 | 5929508.4595 | 0 | 0 | 221654122.744

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2097 | 3001 | 3117 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 51 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8296 | 16592 | 29567909.588
2kW_SE | 2090 | 3045 | 3279 | 7 | 8 | 0 | 0 | 0 | 0 | 3 | 11 | 59 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 8505 | 17010 | 29216379.0703
2kW_SW | 2057 | 2960 | 3343 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 12 | 76 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 8466 | 16932 | 28879096.0451
2kW_W | 2116 | 3016 | 3271 | 7 | 9 | 0 | 0 | 0 | 1 | 2 | 5 | 60 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 8489 | 16978 | 25876201.2857
4kW_S | 58 | 1254 | 1821 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 33 | 84 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3280 | 13120 | 23380603.666
4kW_SE | 48 | 1328 | 1782 | 11 | 6 | 0 | 3 | 0 | 2 | 4 | 23 | 79 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3302 | 13208 | 22686063.0355
4kW_SW | 44 | 1267 | 1830 | 6 | 6 | 0 | 3 | 0 | 2 | 4 | 35 | 92 | 0 | 0 | 1 | 5 | 0 | 1 | 2 | 3298 | 13192 | 22500179.5052
4kW_W | 41 | 1255 | 1793 | 9 | 5 | 0 | 1 | 0 | 1 | 10 | 22 | 83 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3229 | 12916 | 19685299.5333
6kW_S | 0 | 26 | 115 | 4 | 2 | 1 | 5 | 1 | 0 | 22 | 38 | 37 | 2 | 0 | 4 | 23 | 6 | 0 | 16 | 302 | 1812 | 3229089.4656
6kW_SE | 0 | 36 | 124 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 33 | 1 | 2 | 2 | 23 | 2 | 1 | 10 | 290 | 1740 | 2988624.3106
6kW_SW | 0 | 25 | 120 | 2 | 0 | 2 | 9 | 1 | 1 | 20 | 35 | 25 | 2 | 3 | 0 | 24 | 6 | 3 | 10 | 288 | 1728 | 2947264.2654
6kW_W | 0 | 32 | 148 | 3 | 0 | 0 | 9 | 0 | 4 | 12 | 34 | 30 | 3 | 2 | 2 | 24 | 8 | 2 | 14 | 327 | 1962 | 2990287.8375
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 2 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 33 | 825 | 1470198.0217
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 4 | 4 | 0 | 0 | 4 | 4 | 8 | 0 | 1 | 12 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 1 | 6 | 15 | 2 | 4 | 18 | 66 | 4950 | 8821188.1212
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1 | 0 | 10 | 7 | 0 | 2 | 6 | 9 | 13 | 11 | 6 | 17 | 85 | 6375 | 10873153.7266
Total Units | 8551 | 17245 | 20743 | 66 | 59 | 14 | 40 | 3 | 14 | 133 | 305 | 709 | 15 | 19 | 29 | 162 | 41 | 26 | 124 | 48298 | 0 | 0
Total Capacity | 17484 | 45174 | 57966 | 234 | 176 | 442 | 288 | 87 | 89 | 2399 | 2475 | 2594 | 308 | 692 | 1279 | 3108 | 1148 | 950 | 3497 | 0 | 140390 | 0
Total Supply | 29413682.1171 | 76001690.3055 | 97475947.3674 | 391278.1835 | 298275.0073 | 766475.531 | 486176.4893 | 148845.3613 | 146593.1761 | 4161927.8432 | 4236964.8344 | 4367661.233 | 531198.7276 | 1185882.9225 | 2215663.9454 | 5382681.0801 | 1966166.0741 | 1651082.9877 | 6074216.6718 | 0 | 0 | 236902409.8583

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2159 | 3100 | 3221 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 56 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8566 | 17132 | 30530221.0139
2kW_SE | 2152 | 3166 | 3370 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 8786 | 17572 | 30181670.3717
2kW_SW | 2126 | 3069 | 3448 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 78 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 8752 | 17504 | 29854695.0847
2kW_W | 2183 | 3114 | 3384 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 61 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 8772 | 17544 | 26738842.9353
4kW_S | 59 | 1298 | 1889 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 33 | 86 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3395 | 13580 | 24200350.4409
4kW_SE | 49 | 1382 | 1870 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 82 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3451 | 13804 | 23709752.7363
4kW_SW | 47 | 1327 | 1884 | 6 | 6 | 0 | 3 | 0 | 2 | 5 | 35 | 97 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3422 | 13688 | 23346153.5072
4kW_W | 42 | 1303 | 1854 | 9 | 5 | 0 | 1 | 0 | 1 | 10 | 23 | 84 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3341 | 13364 | 20368097.1635
6kW_S | 0 | 26 | 120 | 5 | 2 | 1 | 5 | 1 | 0 | 22 | 38 | 41 | 2 | 0 | 4 | 24 | 6 | 0 | 16 | 313 | 1878 | 3346705.3071
6kW_SE | 0 | 37 | 128 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 33 | 1 | 2 | 2 | 24 | 2 | 1 | 11 | 297 | 1782 | 3060763.5181
6kW_SW | 0 | 25 | 122 | 2 | 0 | 2 | 9 | 1 | 1 | 20 | 36 | 26 | 2 | 3 | 0 | 24 | 6 | 3 | 10 | 292 | 1752 | 2988198.4913
6kW_W | 0 | 34 | 150 | 3 | 0 | 0 | 9 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 24 | 9 | 2 | 14 | 336 | 2016 | 3072589.3377
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 2 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 8 | 0 | 1 | 12 | 43 | 1075 | 1833512.1992
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 1 | 6 | 16 | 2 | 4 | 18 | 67 | 5025 | 8954842.4866
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1 | 0 | 10 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 17 | 86 | 6450 | 11001073.1822
Total Units | 8817 | 17881 | 21440 | 69 | 62 | 14 | 40 | 3 | 14 | 138 | 315 | 735 | 18 | 19 | 29 | 166 | 42 | 26 | 125 | 49953 | 0 | 0
Total Capacity | 18028 | 46870 | 59954 | 244 | 182 | 442 | 288 | 87 | 89 | 2461 | 2515 | 2688 | 391 | 692 | 1279 | 3199 | 1154 | 950 | 3503 | 0 | 145016 | 0
Total Supply | 30327803.3544 | 78855948.7689 | 100824884.6593 | 408453.9368 | 307806.6151 | 766475.531 | 486176.4893 | 148845.3613 | 146593.1761 | 4269682.2893 | 4300928.8223 | 4530301.6737 | 671697.9947 | 1185882.9225 | 2215663.9454 | 5544155.7668 | 1975310.6852 | 1651082.9877 | 6084522.2728 | 0 | 0 | 244702217.2526

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2196 | 3154 | 3267 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 58 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8705 | 17410 | 31025633.1924
2kW_SE | 2189 | 3216 | 3430 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 8933 | 17866 | 30686644.8248
2kW_SW | 2159 | 3118 | 3503 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 80 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 8891 | 17782 | 30328849.8626
2kW_W | 2222 | 3173 | 3426 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 61 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 8912 | 17824 | 27165591.4546
4kW_S | 59 | 1318 | 1921 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 87 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3449 | 13796 | 24585275.0134
4kW_SE | 52 | 1397 | 1898 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3498 | 13992 | 24032661.5681
4kW_SW | 47 | 1355 | 1913 | 6 | 6 | 0 | 3 | 0 | 2 | 5 | 35 | 97 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3479 | 13916 | 23735028.6533
4kW_W | 42 | 1319 | 1887 | 9 | 5 | 0 | 1 | 0 | 1 | 10 | 23 | 85 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3391 | 13564 | 20672917.5341
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 38 | 42 | 2 | 0 | 4 | 25 | 6 | 0 | 16 | 317 | 1902 | 3389474.704
6kW_SE | 0 | 37 | 130 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 302 | 1812 | 3112291.5234
6kW_SW | 0 | 25 | 126 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 36 | 26 | 3 | 3 | 1 | 25 | 6 | 3 | 11 | 301 | 1806 | 3080300.4996
6kW_W | 0 | 35 | 151 | 3 | 0 | 1 | 9 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 24 | 9 | 2 | 14 | 339 | 2034 | 3100023.171
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 18 | 69 | 5175 | 9222151.2176
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 8966 | 18173 | 21773 | 69 | 62 | 15 | 41 | 3 | 14 | 141 | 317 | 744 | 19 | 19 | 31 | 171 | 43 | 26 | 127 | 50754 | 0 | 0
Total Capacity | 18332 | 47616 | 60896 | 244 | 182 | 448 | 363 | 87 | 89 | 2548 | 2544 | 2720 | 397 | 692 | 1360 | 3248 | 1229 | 950 | 3584 | 0 | 147529 | 0
Total Supply | 30838838.3409 | 80110497.362 | 102411473.0516 | 408453.9368 | 307806.6151 | 775620.1421 | 614095.9449 | 148845.3613 | 146593.1761 | 4418527.6506 | 4352608.5103 | 4585345.2686 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5628332.6933 | 2108965.0507 | 1651082.9877 | 6222675.2849 | 0 | 0 | 248957127.7179

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2207 | 3180 | 3305 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 59 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8781 | 17562 | 31296506.0382
2kW_SE | 2204 | 3235 | 3453 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 8990 | 17980 | 30882451.2454
2kW_SW | 2172 | 3147 | 3538 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 8969 | 17938 | 30594922.328
2kW_W | 2245 | 3205 | 3452 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 8995 | 17990 | 27418592.3625
4kW_S | 59 | 1332 | 1935 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 87 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3477 | 13908 | 24784865.5325
4kW_SE | 52 | 1400 | 1916 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 48 | 1364 | 1928 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3508 | 14032 | 23932877.4119
4kW_W | 45 | 1329 | 1901 | 9 | 5 | 0 | 1 | 0 | 1 | 10 | 24 | 86 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3420 | 13680 | 20849713.349
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 38 | 42 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 318 | 1908 | 3400167.0532
6kW_SE | 0 | 38 | 131 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 304 | 1824 | 3132902.7256
6kW_SW | 0 | 25 | 126 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 305 | 1830 | 3121234.7255
6kW_W | 0 | 36 | 151 | 3 | 0 | 1 | 9 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 24 | 9 | 2 | 14 | 340 | 2040 | 3109167.7822
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 18 | 69 | 5175 | 9222151.2176
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9032 | 18317 | 21957 | 69 | 62 | 15 | 41 | 4 | 14 | 141 | 321 | 751 | 19 | 19 | 31 | 174 | 43 | 26 | 127 | 51163 | 0 | 0
Total Capacity | 18472 | 47984 | 61390 | 244 | 182 | 448 | 363 | 91 | 89 | 2548 | 2564 | 2740 | 397 | 692 | 1360 | 3266 | 1229 | 950 | 3584 | 0 | 148593 | 0
Total Supply | 31069137.3161 | 80727122.1787 | 103246017.2114 | 408453.9368 | 307806.6151 | 775620.1421 | 614095.9449 | 155667.7323 | 146593.1761 | 4418527.6506 | 4385994.4016 | 4618158.1273 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5659492.1554 | 2108965.0507 | 1651082.9877 | 6222675.2849 | 0 | 0 | 250742776.2526

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2214 | 3196 | 3319 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8819 | 17638 | 31431942.461
2kW_SE | 2210 | 3242 | 3463 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9013 | 18026 | 30961460.8537
2kW_SW | 2184 | 3159 | 3551 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9006 | 18012 | 30721136.1897
2kW_W | 2256 | 3215 | 3469 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9033 | 18066 | 27534424.1034
4kW_S | 59 | 1336 | 1941 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 88 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3488 | 13952 | 24863276.0936
4kW_SE | 52 | 1407 | 1918 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3528 | 14112 | 24238773.5885
4kW_SW | 48 | 1366 | 1936 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3518 | 14072 | 24001101.1217
4kW_W | 45 | 1332 | 1909 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 87 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3433 | 13732 | 20928966.6454
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 36 | 152 | 3 | 0 | 1 | 9 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 24 | 9 | 2 | 14 | 341 | 2046 | 3118312.3933
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 18 | 69 | 5175 | 9222151.2176
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9068 | 18378 | 22039 | 69 | 63 | 15 | 41 | 4 | 14 | 141 | 322 | 755 | 19 | 19 | 31 | 174 | 43 | 26 | 127 | 51348 | 0 | 0
Total Capacity | 18544 | 48138 | 61618 | 244 | 186 | 448 | 363 | 91 | 89 | 2548 | 2570 | 2756 | 397 | 692 | 1360 | 3266 | 1229 | 950 | 3584 | 0 | 149073 | 0
Total Supply | 31189161.7992 | 80988150.4062 | 103626209.469 | 408453.9368 | 313903.0225 | 775620.1421 | 614095.9449 | 155667.7323 | 146593.1761 | 4418527.6506 | 4396686.7509 | 4645639.2331 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5659492.1554 | 2108965.0507 | 1651082.9877 | 6222675.2849 | 0 | 0 | 251548291.0835

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2216 | 3203 | 3326 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8835 | 17670 | 31488968.3233
2kW_SE | 2216 | 3249 | 3466 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9029 | 18058 | 31016424.0595
2kW_SW | 2188 | 3163 | 3556 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9019 | 18038 | 30765481.6006
2kW_W | 2263 | 3225 | 3476 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9057 | 18114 | 27607580.9924
4kW_S | 59 | 1338 | 1944 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3494 | 13976 | 24906045.4906
4kW_SE | 52 | 1411 | 1923 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3537 | 14148 | 24300607.1945
4kW_SW | 48 | 1368 | 1938 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3522 | 14088 | 24028390.6056
4kW_W | 45 | 1334 | 1911 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 87 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3437 | 13748 | 20953352.275
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 36 | 152 | 3 | 0 | 1 | 9 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 24 | 9 | 2 | 14 | 341 | 2046 | 3118312.3933
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 70 | 5250 | 9355805.583
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9087 | 18416 | 22073 | 69 | 63 | 15 | 41 | 4 | 14 | 141 | 322 | 756 | 19 | 19 | 31 | 174 | 43 | 26 | 128 | 51441 | 0 | 0
Total Capacity | 18582 | 48234 | 61710 | 244 | 186 | 448 | 363 | 91 | 89 | 2548 | 2570 | 2760 | 397 | 692 | 1360 | 3266 | 1229 | 950 | 3659 | 0 | 149378 | 0
Total Supply | 31251883.4019 | 81148848.0276 | 103781431.4967 | 408453.9368 | 313903.0225 | 775620.1421 | 614095.9449 | 155667.7323 | 146593.1761 | 4418527.6506 | 4396686.7509 | 4652767.4659 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5659492.1554 | 2108965.0507 | 1651082.9877 | 6356329.6504 | 0 | 0 | 252067714.9335

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2217 | 3206 | 3331 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8844 | 17688 | 31521045.3708
2kW_SE | 2218 | 3257 | 3469 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9042 | 18084 | 31061081.6642
2kW_SW | 2191 | 3170 | 3562 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9035 | 18070 | 30820060.5679
2kW_W | 2265 | 3230 | 3482 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9070 | 18140 | 27647207.6406
4kW_S | 59 | 1338 | 1944 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3494 | 13976 | 24906045.4906
4kW_SE | 52 | 1411 | 1923 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3537 | 14148 | 24300607.1945
4kW_SW | 48 | 1368 | 1938 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3522 | 14088 | 24028390.6056
4kW_W | 45 | 1335 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3440 | 13760 | 20971641.4973
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 9 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 14 | 344 | 2064 | 3145746.2267
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 70 | 5250 | 9355805.583
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9095 | 18441 | 22095 | 69 | 63 | 15 | 41 | 4 | 14 | 141 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 128 | 51498 | 0 | 0
Total Capacity | 18598 | 48290 | 61760 | 244 | 186 | 448 | 363 | 91 | 89 | 2548 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3659 | 0 | 149510 | 0
Total Supply | 31278647.8828 | 81241382.3149 | 103863555.0333 | 408453.9368 | 313903.0225 | 775620.1421 | 614095.9449 | 155667.7323 | 146593.1761 | 4418527.6506 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6356329.6504 | 0 | 0 | 252284378.2568

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2217 | 3208 | 3332 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8847 | 17694 | 31531737.72
2kW_SE | 2219 | 3259 | 3472 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9048 | 18096 | 31081692.8663
2kW_SW | 2191 | 3170 | 3564 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9037 | 18074 | 30826882.9388
2kW_W | 2266 | 3232 | 3483 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9074 | 18148 | 27659400.4555
4kW_S | 59 | 1338 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3495 | 13980 | 24913173.7234
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1368 | 1940 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3524 | 14096 | 24042035.3476
4kW_W | 45 | 1335 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3440 | 13760 | 20971641.4973
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 9 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 14 | 344 | 2064 | 3145746.2267
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 70 | 5250 | 9355805.583
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9097 | 18447 | 22106 | 69 | 63 | 15 | 41 | 4 | 14 | 141 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 128 | 51517 | 0 | 0
Total Capacity | 18602 | 48302 | 61790 | 244 | 186 | 448 | 363 | 91 | 89 | 2548 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3659 | 0 | 149556 | 0
Total Supply | 31285131.2869 | 81261477.3558 | 103914938.7009 | 408453.9368 | 313903.0225 | 775620.1421 | 614095.9449 | 155667.7323 | 146593.1761 | 4418527.6506 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6356329.6504 | 0 | 0 | 252362340.3694

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3209 | 3333 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8853 | 17706 | 31553122.4184
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3170 | 3564 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9037 | 18074 | 30826882.9388
2kW_W | 2268 | 3232 | 3483 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9076 | 18152 | 27665496.8629
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1335 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3440 | 13760 | 20971641.4973
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 9 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 14 | 344 | 2064 | 3145746.2267
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9103 | 18451 | 22109 | 69 | 63 | 15 | 41 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 128 | 51531 | 0 | 0
Total Capacity | 18614 | 48314 | 61798 | 244 | 186 | 448 | 363 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3659 | 0 | 149663 | 0
Total Supply | 31305484.1599 | 81282427.2764 | 103928760.3886 | 408453.9368 | 313903.0225 | 775620.1421 | 614095.9449 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6356329.6504 | 0 | 0 | 252551119.2161

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3209 | 3333 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8853 | 17706 | 31553122.4184
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3232 | 3483 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9077 | 18154 | 27668545.0666
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 14 | 345 | 2070 | 3154890.8378
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18454 | 22110 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 128 | 51537 | 0 | 0
Total Capacity | 18616 | 48324 | 61800 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3659 | 0 | 149683 | 0
Total Supply | 31308532.3636 | 81298031.2766 | 103932171.574 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6356329.6504 | 0 | 0 | 252582327.2167

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3209 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8854 | 17708 | 31556686.5348
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3233 | 3483 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9078 | 18156 | 27671593.2703
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 14 | 345 | 2070 | 3154890.8378
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18455 | 22111 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 128 | 51539 | 0 | 0
Total Capacity | 18616 | 48326 | 61802 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3659 | 0 | 149687 | 0
Total Supply | 31308532.3636 | 81301079.4803 | 103935735.6904 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6356329.6504 | 0 | 0 | 252588939.5368

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3209 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8854 | 17708 | 31556686.5348
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3233 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9079 | 18158 | 27674641.474
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18455 | 22112 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51541 | 0 | 0
Total Capacity | 18616 | 48326 | 61804 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149695 | 0
Total Supply | 31308532.3636 | 81301079.4803 | 103938783.8941 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252601132.3516

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3209 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8854 | 17708 | 31556686.5348
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3233 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9079 | 18158 | 27674641.474
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18455 | 22112 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51541 | 0 | 0
Total Capacity | 18616 | 48326 | 61804 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149695 | 0
Total Supply | 31308532.3636 | 81301079.4803 | 103938783.8941 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252601132.3516

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3209 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8854 | 17708 | 31556686.5348
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3233 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9079 | 18158 | 27674641.474
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18455 | 22112 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51541 | 0 | 0
Total Capacity | 18616 | 48326 | 61804 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149695 | 0
Total Supply | 31308532.3636 | 81301079.4803 | 103938783.8941 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252601132.3516

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3209 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8854 | 17708 | 31556686.5348
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3233 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9079 | 18158 | 27674641.474
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18455 | 22112 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51541 | 0 | 0
Total Capacity | 18616 | 48326 | 61804 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149695 | 0
Total Supply | 31308532.3636 | 81301079.4803 | 103938783.8941 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252601132.3516

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3209 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8854 | 17708 | 31556686.5348
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3233 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9079 | 18158 | 27674641.474
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18455 | 22112 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51541 | 0 | 0
Total Capacity | 18616 | 48326 | 61804 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149695 | 0
Total Supply | 31308532.3636 | 81301079.4803 | 103938783.8941 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252601132.3516

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2221 | 3209 | 3334 | 6 | 11 | 1 | 1 | 0 | 0 | 1 | 7 | 60 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 8854 | 17708 | 31556686.5348
2kW_SE | 2219 | 3260 | 3473 | 8 | 9 | 0 | 0 | 0 | 0 | 3 | 13 | 61 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 9050 | 18100 | 31088563.2671
2kW_SW | 2191 | 3171 | 3565 | 6 | 5 | 0 | 1 | 0 | 0 | 2 | 13 | 81 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 9039 | 18078 | 30833705.3097
2kW_W | 2269 | 3233 | 3484 | 8 | 11 | 0 | 0 | 0 | 1 | 2 | 6 | 63 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9079 | 18158 | 27674641.474
4kW_S | 59 | 1339 | 1945 | 3 | 6 | 1 | 3 | 0 | 0 | 4 | 34 | 89 | 1 | 0 | 0 | 4 | 1 | 1 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 52 | 1411 | 1924 | 11 | 6 | 0 | 3 | 0 | 2 | 6 | 24 | 83 | 1 | 0 | 0 | 8 | 2 | 1 | 4 | 3538 | 14152 | 24307477.5952
4kW_SW | 48 | 1369 | 1941 | 6 | 6 | 0 | 3 | 1 | 2 | 5 | 36 | 99 | 0 | 0 | 1 | 6 | 0 | 1 | 2 | 3526 | 14104 | 24055680.0896
4kW_W | 45 | 1337 | 1912 | 9 | 6 | 0 | 1 | 0 | 1 | 10 | 24 | 88 | 0 | 0 | 0 | 4 | 0 | 0 | 5 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 26 | 121 | 5 | 2 | 1 | 5 | 1 | 0 | 23 | 39 | 43 | 2 | 0 | 4 | 26 | 6 | 0 | 16 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 38 | 132 | 2 | 1 | 3 | 1 | 0 | 2 | 16 | 31 | 34 | 1 | 2 | 2 | 26 | 2 | 1 | 11 | 305 | 1830 | 3143208.3267
6kW_SW | 0 | 25 | 128 | 2 | 0 | 2 | 9 | 1 | 1 | 21 | 38 | 26 | 3 | 3 | 1 | 27 | 6 | 3 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 37 | 153 | 3 | 0 | 1 | 10 | 0 | 4 | 12 | 37 | 30 | 4 | 2 | 2 | 25 | 9 | 2 | 15 | 346 | 2076 | 3164035.4489
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 0 | 6 | 1 | 5 | 8 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 5 | 4 | 0 | 0 | 4 | 4 | 9 | 0 | 1 | 12 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12 | 6 | 0 | 1 | 1 | 7 | 16 | 3 | 4 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 11 | 7 | 0 | 3 | 6 | 9 | 13 | 11 | 6 | 18 | 89 | 6675 | 11384831.549
Total Units | 9104 | 18455 | 22112 | 69 | 63 | 15 | 42 | 4 | 14 | 142 | 322 | 757 | 19 | 19 | 31 | 175 | 43 | 26 | 129 | 51541 | 0 | 0
Total Capacity | 18616 | 48326 | 61804 | 244 | 186 | 448 | 369 | 91 | 89 | 2623 | 2570 | 2764 | 397 | 692 | 1360 | 3272 | 1229 | 950 | 3665 | 0 | 149695 | 0
Total Supply | 31308532.3636 | 81301079.4803 | 103938783.8941 | 408453.9368 | 313903.0225 | 775620.1421 | 623240.556 | 155667.7323 | 146593.1761 | 4552182.0161 | 4396686.7509 | 4658863.8734 | 681931.5512 | 1185882.9225 | 2359551.8673 | 5668636.7666 | 2108965.0507 | 1651082.9877 | 6365474.2615 | 0 | 0 | 252601132.3516