## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25827 | 25827 | 74888 | 74888 | 2212685927.4856 | 0 | 0 | 2212685927.4856
1 | 0.17485 | 38716 | 12889 | 112080 | 37192 | 2212685927.4856 | 126392049.1567 | 0.057122 | 2086293878.3288
2 | 0.17748 | 45123 | 6407 | 131355 | 19275 | 2212685927.4856 | 189141307.6839 | 0.08548 | 2023544619.8016
3 | 0.17891 | 48350 | 3227 | 140610 | 9255 | 2212685927.4856 | 221708594.0866 | 0.1002 | 1990977333.3989
4 | 0.17961 | 49918 | 1568 | 145191 | 4581 | 2212685927.4856 | 237334832.1983 | 0.10726 | 1975351095.2873
5 | 0.17996 | 50753 | 835 | 147431 | 2240 | 2212685927.4856 | 245059630.5019 | 0.11075 | 1967626296.9836
6 | 0.18014 | 51164 | 411 | 148717 | 1286 | 2212685927.4856 | 248836563.1636 | 0.11246 | 1963849364.322
7 | 0.18024 | 51345 | 181 | 149270 | 553 | 2212685927.4856 | 251008647.5725 | 0.11344 | 1961677279.9131
8 | 0.18028 | 51440 | 95 | 149532 | 262 | 2212685927.4856 | 251945126.0384 | 0.11386 | 1960740801.4472
9 | 0.1803 | 51488 | 48 | 149652 | 120 | 2212685927.4856 | 252383506.4024 | 0.11406 | 1960302421.0832
10 | 0.18031 | 51516 | 28 | 149722 | 70 | 2212685927.4856 | 252588588.1139 | 0.11415 | 1960097339.3716
11 | 0.18031 | 51527 | 11 | 149748 | 26 | 2212685927.4856 | 252705192.3216 | 0.11421 | 1959980735.164
12 | 0.18032 | 51534 | 7 | 149764 | 16 | 2212685927.4856 | 252749213.442 | 0.11423 | 1959936714.0435
13 | 0.18032 | 51539 | 5 | 149774 | 10 | 2212685927.4856 | 252776307.7997 | 0.11424 | 1959909619.6858
14 | 0.18032 | 51539 | 0 | 149774 | 0 | 2212685927.4856 | 252792661.7784 | 0.11425 | 1959893265.7071
15 | 0.18032 | 51541 | 2 | 149782 | 8 | 2212685927.4856 | 252792661.7784 | 0.11425 | 1959893265.7071
16 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
17 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
18 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
19 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1094 | 1619 | 1784 | 3 | 9 | 0 | 0 | 0 | 0 | 0 | 9 | 44 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4563 | 9126 | 16263063.0967
2kW_SE | 1059 | 1540 | 1724 | 1 | 6 | 0 | 1 | 0 | 0 | 0 | 7 | 34 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4373 | 8746 | 15022131.1787
2kW_SW | 1157 | 1572 | 1762 | 3 | 7 | 0 | 0 | 0 | 0 | 1 | 6 | 45 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 4556 | 9112 | 15541360.9239
2kW_W | 1168 | 1671 | 1767 | 6 | 3 | 0 | 0 | 0 | 1 | 2 | 4 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4653 | 9306 | 14183291.858
4kW_S | 25 | 715 | 923 | 2 | 3 | 0 | 1 | 1 | 0 | 3 | 4 | 43 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1722 | 6888 | 12274816.9247
4kW_SE | 30 | 634 | 1026 | 1 | 3 | 0 | 1 | 0 | 1 | 1 | 15 | 40 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 1757 | 7028 | 12071293.9895
4kW_SW | 29 | 644 | 987 | 3 | 4 | 0 | 1 | 0 | 0 | 3 | 9 | 46 | 1 | 0 | 1 | 5 | 2 | 0 | 1 | 1736 | 6944 | 11843636.0282
4kW_W | 23 | 717 | 934 | 4 | 4 | 0 | 1 | 0 | 0 | 2 | 7 | 48 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1741 | 6964 | 10613845.3043
6kW_S | 0 | 15 | 60 | 1 | 0 | 0 | 3 | 0 | 0 | 16 | 16 | 17 | 5 | 1 | 0 | 11 | 5 | 2 | 5 | 157 | 942 | 1678698.8282
6kW_SE | 0 | 11 | 74 | 4 | 0 | 0 | 4 | 0 | 1 | 5 | 21 | 20 | 4 | 1 | 2 | 9 | 3 | 0 | 9 | 168 | 1008 | 1731340.9799
6kW_SW | 0 | 14 | 70 | 0 | 0 | 1 | 0 | 0 | 0 | 8 | 13 | 10 | 3 | 3 | 1 | 16 | 1 | 1 | 8 | 149 | 894 | 1524799.9151
6kW_W | 0 | 18 | 52 | 1 | 1 | 1 | 3 | 1 | 0 | 9 | 9 | 12 | 5 | 2 | 3 | 6 | 1 | 0 | 6 | 130 | 780 | 1188799.4461
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 1 | 0 | 1 | 1 | 2 | 2 | 1 | 0 | 7 | 25 | 625 | 1113786.3801
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 1 | 2 | 2 | 2 | 4 | 15 | 375 | 639597.2788
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 1 | 0 | 0 | 2 | 4 | 8 | 3 | 2 | 11 | 37 | 2775 | 4945211.5225
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 6 | 5 | 0 | 0 | 1 | 8 | 8 | 5 | 3 | 8 | 45 | 3375 | 5756375.5023
Total Units | 4585 | 9170 | 11163 | 29 | 40 | 2 | 16 | 2 | 3 | 74 | 129 | 389 | 20 | 11 | 22 | 74 | 25 | 10 | 63 | 25827 | 0 | 0
Total Capacity | 9384 | 23992 | 31090 | 102 | 112 | 12 | 153 | 10 | 12 | 1470 | 1071 | 1368 | 135 | 292 | 1015 | 1592 | 747 | 443 | 1888 | 0 | 74888 | 0
Total Supply | 15766447.9863 | 40315316.0927 | 52329492.6283 | 169689.3017 | 188526.7842 | 19378.1676 | 259005.3532 | 16272.8439 | 20224.2055 | 2557435.2803 | 1830344.1901 | 2306306.9063 | 229609.9345 | 509767.4837 | 1754816.7987 | 2763609.5394 | 1294615.2966 | 767964.9899 | 3293225.3738 | 0 | 0 | 126392049.1567

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1632 | 2405 | 2608 | 4 | 10 | 0 | 1 | 0 | 0 | 0 | 11 | 61 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 6735 | 13470 | 24004323.9001
2kW_SE | 1624 | 2329 | 2633 | 2 | 8 | 0 | 1 | 0 | 0 | 0 | 11 | 58 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6667 | 13334 | 22902480.8068
2kW_SW | 1741 | 2395 | 2654 | 5 | 8 | 0 | 0 | 0 | 1 | 1 | 10 | 63 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 6881 | 13762 | 23472367.1021
2kW_W | 1703 | 2504 | 2653 | 9 | 5 | 0 | 0 | 0 | 1 | 2 | 5 | 49 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6932 | 13864 | 21130148.1108
4kW_S | 40 | 1039 | 1388 | 2 | 4 | 0 | 1 | 2 | 0 | 3 | 10 | 70 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 2563 | 10252 | 18269660.7305
4kW_SE | 38 | 976 | 1524 | 2 | 4 | 0 | 1 | 0 | 2 | 3 | 23 | 67 | 2 | 0 | 0 | 1 | 1 | 1 | 4 | 2649 | 10596 | 18199691.3934
4kW_SW | 42 | 954 | 1460 | 6 | 4 | 0 | 1 | 0 | 0 | 4 | 16 | 63 | 1 | 0 | 1 | 6 | 2 | 0 | 2 | 2562 | 10248 | 17478914.461
4kW_W | 31 | 1046 | 1404 | 6 | 5 | 0 | 2 | 0 | 0 | 5 | 16 | 69 | 0 | 0 | 0 | 1 | 1 | 0 | 3 | 2589 | 10356 | 15783598.7897
6kW_S | 0 | 26 | 98 | 3 | 0 | 0 | 3 | 0 | 0 | 23 | 20 | 24 | 7 | 2 | 0 | 12 | 11 | 3 | 10 | 242 | 1452 | 2587548.5122
6kW_SE | 0 | 23 | 99 | 5 | 0 | 0 | 5 | 0 | 1 | 9 | 35 | 33 | 6 | 1 | 5 | 18 | 4 | 0 | 14 | 258 | 1548 | 2658845.0763
6kW_SW | 0 | 27 | 106 | 2 | 0 | 1 | 2 | 0 | 1 | 14 | 20 | 18 | 4 | 3 | 3 | 22 | 1 | 1 | 10 | 235 | 1410 | 2404885.7721
6kW_W | 0 | 27 | 91 | 2 | 1 | 2 | 4 | 1 | 0 | 13 | 21 | 22 | 6 | 3 | 4 | 15 | 2 | 1 | 8 | 223 | 1338 | 2039248.2807
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 12 | 3 | 0 | 2 | 1 | 3 | 4 | 1 | 0 | 7 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 3 | 0 | 0 | 1 | 1 | 5 | 2 | 2 | 4 | 27 | 675 | 1151275.1018
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 2 | 0 | 0 | 3 | 5 | 12 | 3 | 4 | 18 | 56 | 4200 | 7484644.4664
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 9 | 6 | 0 | 0 | 2 | 8 | 14 | 6 | 3 | 10 | 63 | 4725 | 8058925.7032
Total Units | 6851 | 13751 | 16718 | 48 | 49 | 4 | 27 | 3 | 6 | 115 | 212 | 597 | 29 | 16 | 31 | 117 | 37 | 15 | 90 | 38716 | 0 | 0
Total Capacity | 14004 | 35944 | 46564 | 176 | 136 | 93 | 458 | 14 | 24 | 2270 | 1660 | 2120 | 204 | 479 | 1155 | 2627 | 880 | 609 | 2663 | 0 | 112080 | 0
Total Supply | 23547100.8779 | 60410142.2781 | 78349785.4979 | 293487.9525 | 228563.9351 | 156442.2343 | 779532.8428 | 23401.0768 | 40739.3481 | 3939999.5923 | 2829997.6266 | 3572760.6907 | 349276.2592 | 833818.0837 | 2000679.3795 | 4547426.4192 | 1522669.9843 | 1061981.0818 | 4653502.5232 | 0 | 0 | 189141307.6839

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1884 | 2778 | 3036 | 4 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 73 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 7801 | 15602 | 27803671.974
2kW_SE | 1913 | 2729 | 3085 | 2 | 9 | 0 | 1 | 0 | 0 | 0 | 12 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7814 | 15628 | 26842655.6209
2kW_SW | 2006 | 2829 | 3103 | 5 | 9 | 0 | 0 | 0 | 1 | 1 | 11 | 73 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8041 | 16082 | 27429342.2276
2kW_W | 1954 | 2897 | 3100 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 7 | 54 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8032 | 16064 | 24483172.1907
4kW_S | 48 | 1193 | 1608 | 4 | 4 | 0 | 1 | 2 | 0 | 3 | 11 | 80 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 2958 | 11832 | 21085312.6964
4kW_SE | 46 | 1152 | 1746 | 2 | 5 | 0 | 1 | 0 | 2 | 5 | 28 | 79 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3077 | 12308 | 21140222.8831
4kW_SW | 50 | 1130 | 1731 | 6 | 4 | 0 | 2 | 0 | 0 | 5 | 17 | 76 | 2 | 0 | 1 | 6 | 2 | 0 | 3 | 3035 | 12140 | 20705895.9364
4kW_W | 36 | 1229 | 1633 | 6 | 6 | 0 | 2 | 0 | 0 | 6 | 19 | 76 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3020 | 12080 | 18411150.3842
6kW_S | 0 | 31 | 111 | 5 | 1 | 0 | 3 | 0 | 1 | 26 | 24 | 27 | 8 | 2 | 0 | 16 | 12 | 4 | 12 | 283 | 1698 | 3025934.8304
6kW_SE | 0 | 23 | 114 | 5 | 0 | 0 | 6 | 0 | 1 | 14 | 39 | 40 | 7 | 1 | 5 | 21 | 4 | 0 | 20 | 300 | 1800 | 3091680.3213
6kW_SW | 0 | 32 | 125 | 2 | 0 | 1 | 5 | 0 | 1 | 17 | 23 | 21 | 6 | 4 | 3 | 25 | 1 | 1 | 13 | 280 | 1680 | 2865395.8136
6kW_W | 0 | 29 | 110 | 2 | 1 | 2 | 4 | 1 | 0 | 18 | 24 | 25 | 6 | 4 | 4 | 18 | 3 | 1 | 9 | 261 | 1566 | 2386743.5034
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 13 | 4 | 0 | 2 | 1 | 3 | 5 | 1 | 0 | 9 | 40 | 1000 | 1782058.2081
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 2 | 5 | 2 | 2 | 7 | 34 | 850 | 1449753.8319
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 13 | 4 | 6 | 23 | 70 | 5250 | 9355805.583
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 10 | 8 | 0 | 0 | 2 | 8 | 17 | 9 | 5 | 13 | 77 | 5775 | 9849798.0817
Total Units | 7937 | 16052 | 19502 | 53 | 55 | 5 | 33 | 3 | 7 | 143 | 244 | 686 | 35 | 18 | 34 | 136 | 44 | 20 | 116 | 45123 | 0 | 0
Total Capacity | 16234 | 41972 | 54280 | 198 | 156 | 118 | 488 | 14 | 30 | 2832 | 1992 | 2446 | 236 | 491 | 1259 | 3034 | 1196 | 915 | 3464 | 0 | 131355 | 0
Total Supply | 27304144.462 | 70538273.3555 | 91322256.9493 | 332177.3204 | 262117.6819 | 200993.6895 | 830925.6006 | 23401.0768 | 51431.6973 | 4919055.96 | 3394688.7382 | 4126067.3309 | 404434.0941 | 853196.2513 | 2183843.9642 | 5247307.717 | 2066016.0843 | 1595821.0732 | 6052441.04 | 0 | 0 | 221708594.0866

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2030 | 2986 | 3257 | 5 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 75 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8379 | 16758 | 29863731.2486
2kW_SE | 2033 | 2928 | 3299 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 13 | 71 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8358 | 16716 | 28711404.6172
2kW_SW | 2156 | 3023 | 3316 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 79 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8605 | 17210 | 29353250.8231
2kW_W | 2076 | 3116 | 3308 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 58 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8587 | 17174 | 26174925.2492
4kW_S | 53 | 1274 | 1743 | 4 | 4 | 0 | 1 | 2 | 0 | 3 | 11 | 87 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3186 | 12744 | 22710549.7805
4kW_SE | 51 | 1245 | 1869 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 29 | 81 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3302 | 13208 | 22686063.0355
4kW_SW | 51 | 1221 | 1844 | 6 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 85 | 2 | 0 | 1 | 7 | 2 | 0 | 3 | 3255 | 13020 | 22206817.5529
4kW_W | 41 | 1323 | 1745 | 6 | 6 | 0 | 2 | 0 | 0 | 6 | 19 | 81 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3236 | 12944 | 19727974.3852
6kW_S | 0 | 31 | 121 | 6 | 1 | 1 | 3 | 1 | 1 | 27 | 27 | 33 | 8 | 3 | 0 | 16 | 13 | 5 | 13 | 310 | 1860 | 3314628.2594
6kW_SE | 0 | 25 | 121 | 5 | 0 | 0 | 6 | 0 | 1 | 15 | 41 | 43 | 7 | 1 | 5 | 21 | 5 | 1 | 24 | 321 | 1926 | 3308097.9438
6kW_SW | 0 | 36 | 133 | 2 | 0 | 1 | 6 | 0 | 1 | 17 | 23 | 22 | 6 | 4 | 3 | 26 | 1 | 1 | 14 | 296 | 1776 | 3029132.7172
6kW_W | 0 | 30 | 117 | 2 | 1 | 2 | 4 | 1 | 0 | 21 | 26 | 29 | 6 | 4 | 4 | 19 | 3 | 1 | 9 | 279 | 1674 | 2551346.5036
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 13 | 4 | 0 | 2 | 1 | 6 | 5 | 2 | 0 | 11 | 46 | 1150 | 2049366.9393
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 2 | 6 | 2 | 2 | 8 | 36 | 900 | 1535033.4691
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 14 | 4 | 6 | 24 | 72 | 5400 | 9623114.314
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 10 | 8 | 0 | 0 | 3 | 10 | 18 | 9 | 5 | 14 | 82 | 6150 | 10489395.3598
Total Units | 8491 | 17238 | 20873 | 55 | 59 | 6 | 34 | 4 | 8 | 148 | 257 | 744 | 35 | 20 | 39 | 142 | 47 | 22 | 128 | 48350 | 0 | 0
Total Capacity | 17374 | 45090 | 58116 | 206 | 168 | 124 | 494 | 20 | 34 | 2862 | 2054 | 2664 | 236 | 572 | 1484 | 3225 | 1233 | 927 | 3727 | 0 | 140610 | 0
Total Supply | 29227585.7446 | 75773463.2442 | 97791708.1176 | 346433.786 | 282608.8097 | 211686.0388 | 841159.1571 | 34093.426 | 58302.098 | 4967487.7436 | 3499487.128 | 4494177.0011 | 404434.0941 | 991808.0562 | 2573337.2411 | 5577721.8952 | 2131565.4898 | 1616819.0235 | 6510954.1037 | 0 | 0 | 237334832.1982

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2092 | 3082 | 3361 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 79 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8646 | 17292 | 30815350.3252
2kW_SE | 2110 | 3023 | 3375 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 13 | 74 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8609 | 17218 | 29573639.9078
2kW_SW | 2226 | 3134 | 3420 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 83 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8894 | 17788 | 30339083.419
2kW_W | 2144 | 3224 | 3404 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 60 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8861 | 17722 | 27010133.0654
4kW_S | 55 | 1313 | 1805 | 4 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 89 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3292 | 13168 | 23466142.4599
4kW_SE | 51 | 1279 | 1928 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 85 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3401 | 13604 | 23366232.7025
4kW_SW | 52 | 1268 | 1910 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 87 | 2 | 0 | 1 | 7 | 2 | 0 | 3 | 3372 | 13488 | 23005034.958
4kW_W | 42 | 1362 | 1809 | 6 | 6 | 0 | 2 | 0 | 0 | 6 | 19 | 86 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3345 | 13380 | 20392482.7931
6kW_S | 0 | 34 | 127 | 6 | 1 | 1 | 3 | 1 | 1 | 28 | 28 | 34 | 8 | 3 | 0 | 18 | 13 | 5 | 13 | 324 | 1944 | 3464321.1486
6kW_SE | 0 | 26 | 127 | 5 | 0 | 0 | 6 | 0 | 1 | 15 | 43 | 44 | 7 | 1 | 5 | 23 | 5 | 1 | 25 | 334 | 2004 | 3442070.7577
6kW_SW | 0 | 37 | 135 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 24 | 24 | 7 | 4 | 3 | 26 | 1 | 1 | 14 | 304 | 1824 | 3111001.169
6kW_W | 0 | 32 | 120 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 30 | 6 | 4 | 4 | 20 | 3 | 1 | 10 | 289 | 1734 | 2642792.6148
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 13 | 4 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 15 | 4 | 6 | 24 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 9 | 5 | 14 | 84 | 6300 | 10745234.271
Total Units | 8772 | 17814 | 21521 | 58 | 59 | 6 | 34 | 4 | 8 | 151 | 265 | 775 | 36 | 20 | 40 | 151 | 48 | 24 | 132 | 49918 | 0 | 0
Total Capacity | 17944 | 46588 | 59982 | 218 | 168 | 124 | 494 | 20 | 34 | 2880 | 2165 | 2772 | 242 | 572 | 1509 | 3455 | 1258 | 977 | 3789 | 0 | 145191 | 0
Total Supply | 30186307.4666 | 78290721.494 | 100932481.5755 | 365964.8845 | 282608.8097 | 211686.0388 | 841159.1571 | 34093.426 | 58302.098 | 4997558.2605 | 3689812.7256 | 4674954.7387 | 414667.6506 | 991808.0562 | 2615977.0596 | 5975715.8652 | 2174205.3084 | 1704010.2973 | 6617595.5897 | 0 | 0 | 245059630.5019

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2140 | 3136 | 3412 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 79 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8799 | 17598 | 31360660.1332
2kW_SE | 2146 | 3082 | 3422 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 13 | 75 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8752 | 17504 | 30064873.5595
2kW_SW | 2265 | 3180 | 3469 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9029 | 18058 | 30799593.4551
2kW_W | 2171 | 3289 | 3457 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 61 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9007 | 18014 | 27455170.807
4kW_S | 56 | 1338 | 1839 | 4 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 90 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3353 | 13412 | 23900964.6622
4kW_SE | 54 | 1303 | 1960 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 88 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3463 | 13852 | 23792197.5445
4kW_SW | 52 | 1296 | 1937 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 88 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3429 | 13716 | 23393910.1041
4kW_W | 43 | 1383 | 1836 | 6 | 6 | 0 | 2 | 0 | 0 | 6 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3396 | 13584 | 20703399.5712
6kW_S | 0 | 34 | 128 | 6 | 1 | 1 | 3 | 1 | 1 | 29 | 29 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 14 | 330 | 1980 | 3528475.2439
6kW_SE | 0 | 27 | 130 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 45 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 343 | 2058 | 3534821.1674
6kW_SW | 0 | 37 | 138 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 7 | 4 | 3 | 27 | 2 | 1 | 15 | 311 | 1866 | 3182636.0643
6kW_W | 0 | 32 | 122 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 1 | 10 | 294 | 1764 | 2688515.6705
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 13 | 4 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 15 | 4 | 6 | 24 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 9 | 5 | 14 | 84 | 6300 | 10745234.271
Total Units | 8927 | 18137 | 21850 | 58 | 59 | 6 | 34 | 4 | 8 | 153 | 270 | 786 | 36 | 20 | 41 | 155 | 50 | 24 | 135 | 50753 | 0 | 0
Total Capacity | 18264 | 47434 | 60916 | 218 | 168 | 124 | 494 | 20 | 34 | 2892 | 2193 | 2814 | 242 | 572 | 1515 | 3479 | 1270 | 977 | 3805 | 0 | 147431 | 0
Total Supply | 30730225.8415 | 79713360.3535 | 102506027.6107 | 365964.8845 | 282608.8097 | 211686.0388 | 841159.1571 | 34093.426 | 58302.098 | 5018556.2108 | 3737446.2409 | 4744957.7537 | 414667.6506 | 991808.0562 | 2626282.6607 | 6016478.7312 | 2193583.476 | 1704010.2973 | 6645343.8664 | 0 | 0 | 248836563.1635

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2151 | 3167 | 3436 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 79 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8865 | 17730 | 31595891.8151
2kW_SE | 2162 | 3099 | 3465 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 75 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8829 | 17658 | 30329383.9873
2kW_SW | 2285 | 3210 | 3497 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9107 | 18214 | 31065665.9205
2kW_W | 2186 | 3312 | 3480 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 61 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9068 | 18136 | 27641111.2332
4kW_S | 56 | 1344 | 1846 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 91 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3368 | 13472 | 24007888.1546
4kW_SE | 54 | 1318 | 1980 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 89 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3499 | 13996 | 24039531.9688
4kW_SW | 54 | 1308 | 1950 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 89 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3457 | 13828 | 23584936.4917
4kW_W | 43 | 1402 | 1852 | 6 | 6 | 0 | 2 | 0 | 0 | 6 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3431 | 13724 | 20916773.8306
6kW_S | 0 | 34 | 128 | 6 | 1 | 1 | 3 | 1 | 1 | 29 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 14 | 331 | 1986 | 3539167.5931
6kW_SE | 0 | 27 | 131 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 46 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 345 | 2070 | 3555432.3695
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 123 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 1 | 10 | 296 | 1776 | 2706804.8927
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 85 | 6375 | 10873153.7266
Total Units | 8991 | 18292 | 22028 | 59 | 59 | 6 | 34 | 4 | 8 | 154 | 274 | 789 | 37 | 20 | 41 | 158 | 51 | 24 | 135 | 51164 | 0 | 0
Total Capacity | 18396 | 47856 | 61400 | 222 | 168 | 124 | 494 | 20 | 34 | 2917 | 2232 | 2826 | 248 | 572 | 1515 | 3566 | 1345 | 977 | 3805 | 0 | 148717 | 0
Total Supply | 30951985.8343 | 80417594.3841 | 103318358.2075 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 34093.426 | 58302.098 | 5063107.666 | 3806430.8467 | 4765778.7582 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1704010.2973 | 6645343.8664 | 0 | 0 | 251008647.5725

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2157 | 3179 | 3448 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 79 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8895 | 17790 | 31702815.3068
2kW_SE | 2172 | 3107 | 3480 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8863 | 17726 | 30446180.7995
2kW_SW | 2293 | 3220 | 3508 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9136 | 18272 | 31164590.2986
2kW_W | 2195 | 3325 | 3489 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9101 | 18202 | 27741701.9556
4kW_S | 56 | 1350 | 1856 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3386 | 13544 | 24136196.3455
4kW_SE | 54 | 1321 | 1988 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 89 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3510 | 14040 | 24115106.3763
4kW_SW | 54 | 1311 | 1957 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3468 | 13872 | 23659982.5725
4kW_W | 43 | 1407 | 1855 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3440 | 13760 | 20971641.4973
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 132 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 46 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 346 | 2076 | 3565737.9706
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 1 | 10 | 297 | 1782 | 2715949.5038
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9024 | 18352 | 22106 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 274 | 795 | 37 | 20 | 41 | 158 | 51 | 24 | 136 | 51345 | 0 | 0
Total Capacity | 18462 | 48010 | 61624 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2232 | 2844 | 248 | 572 | 1515 | 3566 | 1345 | 977 | 3811 | 0 | 149270 | 0
Total Supply | 31062445.8532 | 80675913.6354 | 103700046.3972 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3806430.8467 | 4796389.2026 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1704010.2973 | 6656036.2156 | 0 | 0 | 251945126.0383

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2162 | 3183 | 3453 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 79 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8909 | 17818 | 31752712.9363
2kW_SE | 2175 | 3113 | 3486 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8878 | 17756 | 30497708.805
2kW_SW | 2298 | 3230 | 3512 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9155 | 18310 | 31229402.8222
2kW_W | 2195 | 3328 | 3499 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9114 | 18228 | 27781328.6038
4kW_S | 57 | 1357 | 1856 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3394 | 13576 | 24193222.2081
4kW_SE | 55 | 1322 | 1992 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 89 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3516 | 14064 | 24156328.7803
4kW_SW | 55 | 1314 | 1960 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3475 | 13900 | 23707739.1694
4kW_W | 43 | 1412 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3451 | 13804 | 21038701.9788
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 133 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 46 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 347 | 2082 | 3576043.5716
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9040 | 18391 | 22145 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 274 | 795 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51440 | 0 | 0
Total Capacity | 18500 | 48120 | 61732 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2232 | 2844 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149532 | 0
Total Supply | 31128448.968 | 80861754.9493 | 103877437.7214 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3806430.8467 | 4796389.2026 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252383506.4023

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3185 | 3457 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 79 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8918 | 17836 | 31784789.9839
2kW_SE | 2177 | 3118 | 3488 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8887 | 17774 | 30528625.6082
2kW_SW | 2304 | 3236 | 3516 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9171 | 18342 | 31283981.7895
2kW_W | 2195 | 3329 | 3504 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9120 | 18240 | 27799617.8261
4kW_S | 57 | 1357 | 1858 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3396 | 13584 | 24207478.6737
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 89 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3518 | 14072 | 24170069.5817
4kW_SW | 55 | 1314 | 1960 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3475 | 13900 | 23707739.1694
4kW_W | 43 | 1412 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3451 | 13804 | 21038701.9788
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9051 | 18406 | 22166 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 795 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51488 | 0 | 0
Total Capacity | 18522 | 48152 | 61792 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2844 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149652 | 0
Total Supply | 31166478.8306 | 80916444.901 | 103979494.0176 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4796389.2026 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252588588.1139

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3188 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 79 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8923 | 17846 | 31802610.5658
2kW_SE | 2177 | 3119 | 3493 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8893 | 17786 | 30549236.8104
2kW_SW | 2306 | 3238 | 3518 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9177 | 18354 | 31304448.9022
2kW_W | 2196 | 3332 | 3504 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9124 | 18248 | 27811810.6409
4kW_S | 57 | 1357 | 1860 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3398 | 13592 | 24221735.1394
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1960 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3475 | 13900 | 23707739.1694
4kW_W | 43 | 1415 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9054 | 18418 | 22178 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 796 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51516 | 0 | 0
Total Capacity | 18528 | 48182 | 61822 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2848 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149722 | 0
Total Supply | 31176349.4053 | 80964828.6548 | 104030973.4961 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4803259.6033 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252705192.3216

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3188 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8924 | 17848 | 31806174.6822
2kW_SE | 2177 | 3119 | 3493 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8893 | 17786 | 30549236.8104
2kW_SW | 2307 | 3240 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9182 | 18364 | 31321504.8294
2kW_W | 2196 | 3334 | 3505 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9127 | 18254 | 27820955.252
4kW_S | 57 | 1358 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3400 | 13600 | 24235991.605
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1960 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3475 | 13900 | 23707739.1694
4kW_W | 43 | 1415 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9055 | 18423 | 22182 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51527 | 0 | 0
Total Capacity | 18530 | 48194 | 61832 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149748 | 0
Total Supply | 31179760.5907 | 80984875.6659 | 104047972.3036 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252749213.442

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2177 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8896 | 17792 | 30559542.4115
2kW_SW | 2307 | 3240 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9182 | 18364 | 31321504.8294
2kW_W | 2197 | 3334 | 3506 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9129 | 18258 | 27827051.6595
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1960 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3475 | 13900 | 23707739.1694
4kW_W | 43 | 1415 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9056 | 18427 | 22184 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51534 | 0 | 0
Total Capacity | 18532 | 48204 | 61836 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149764 | 0
Total Supply | 31182808.7944 | 81002438.4158 | 104054455.7077 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252776307.7997

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1960 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3475 | 13900 | 23707739.1694
4kW_W | 43 | 1415 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18428 | 22185 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51539 | 0 | 0
Total Capacity | 18538 | 48206 | 61838 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149774 | 0
Total Supply | 31192703.3839 | 81005849.6013 | 104057503.9114 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252792661.7784

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1960 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3475 | 13900 | 23707739.1694
4kW_W | 43 | 1415 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18428 | 22185 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51539 | 0 | 0
Total Capacity | 18538 | 48206 | 61838 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149774 | 0
Total Supply | 31192703.3839 | 81005849.6013 | 104057503.9114 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252792661.7784

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568