## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25777 | 25777 | 73298 | 73298 | 2212685927.4856 | 0 | 0 | 2212685927.4856
1 | 0.17473 | 38524 | 12747 | 110568 | 37270 | 2212685927.4856 | 123608478.4931 | 0.055864 | 2089077448.9925
2 | 0.17736 | 45069 | 6545 | 130395 | 19827 | 2212685927.4856 | 186529260.4201 | 0.0843 | 2026156667.0655
3 | 0.17883 | 48336 | 3267 | 140358 | 9963 | 2212685927.4856 | 220056651.2156 | 0.099452 | 1992629276.27
4 | 0.17959 | 49893 | 1557 | 144718 | 4360 | 2212685927.4856 | 236907497.5054 | 0.10707 | 1975778429.9802
5 | 0.17993 | 50688 | 795 | 147207 | 2489 | 2212685927.4856 | 244249890.4724 | 0.11039 | 1968436037.0132
6 | 0.18012 | 51104 | 416 | 148537 | 1330 | 2212685927.4856 | 248458875.7663 | 0.11229 | 1964227051.7193
7 | 0.18022 | 51327 | 223 | 149127 | 590 | 2212685927.4856 | 250701594.8713 | 0.1133 | 1961984332.6142
8 | 0.18027 | 51443 | 116 | 149449 | 322 | 2212685927.4856 | 251691204.3054 | 0.11375 | 1960994723.1801
9 | 0.18029 | 51495 | 52 | 149581 | 132 | 2212685927.4856 | 252236416.8488 | 0.114 | 1960449510.6368
10 | 0.1803 | 51519 | 24 | 149720 | 139 | 2212685927.4856 | 252460102.7348 | 0.1141 | 1960225824.7508
11 | 0.18031 | 51531 | 12 | 149752 | 32 | 2212685927.4856 | 252699879.0095 | 0.11421 | 1959986048.4761
12 | 0.18032 | 51536 | 5 | 149768 | 16 | 2212685927.4856 | 252754664.7722 | 0.11423 | 1959931262.7133
13 | 0.18032 | 51539 | 3 | 149776 | 8 | 2212685927.4856 | 252782227.2613 | 0.11424 | 1959903700.2242
14 | 0.18032 | 51541 | 2 | 149782 | 6 | 2212685927.4856 | 252795920.033 | 0.11425 | 1959890007.4525
15 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
16 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
17 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
18 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
19 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1074 | 1561 | 1758 | 1 | 4 | 0 | 2 | 0 | 0 | 0 | 5 | 41 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 4449 | 8898 | 15856753.828
2kW_SE | 1076 | 1531 | 1733 | 1 | 3 | 0 | 1 | 0 | 0 | 0 | 8 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4394 | 8788 | 15094270.3862
2kW_SW | 1194 | 1644 | 1754 | 1 | 6 | 0 | 0 | 0 | 1 | 0 | 5 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4651 | 9302 | 15865423.5419
2kW_W | 1103 | 1675 | 1772 | 5 | 3 | 0 | 0 | 0 | 1 | 2 | 5 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4599 | 9198 | 14018688.8577
4kW_S | 27 | 675 | 923 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 7 | 46 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1684 | 6736 | 12003944.0773
4kW_SE | 27 | 665 | 1017 | 0 | 2 | 0 | 0 | 0 | 2 | 3 | 16 | 44 | 3 | 0 | 0 | 1 | 1 | 0 | 1 | 1782 | 7128 | 12243054.0064
4kW_SW | 32 | 631 | 970 | 4 | 3 | 0 | 1 | 0 | 0 | 1 | 11 | 46 | 0 | 0 | 1 | 3 | 0 | 0 | 3 | 1706 | 6824 | 11638964.8987
4kW_W | 25 | 696 | 959 | 2 | 2 | 0 | 1 | 0 | 0 | 4 | 10 | 35 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1737 | 6948 | 10589459.6746
6kW_S | 0 | 18 | 73 | 3 | 0 | 0 | 1 | 0 | 0 | 15 | 15 | 19 | 2 | 2 | 0 | 11 | 3 | 4 | 7 | 173 | 1038 | 1849776.4158
6kW_SE | 0 | 9 | 69 | 3 | 0 | 0 | 3 | 0 | 0 | 9 | 27 | 17 | 3 | 1 | 4 | 14 | 3 | 1 | 13 | 176 | 1056 | 1813785.7885
6kW_SW | 0 | 19 | 68 | 2 | 0 | 0 | 4 | 0 | 1 | 10 | 16 | 14 | 4 | 3 | 2 | 15 | 1 | 0 | 10 | 169 | 1014 | 1729471.0446
6kW_W | 0 | 19 | 65 | 3 | 0 | 1 | 1 | 1 | 0 | 12 | 14 | 11 | 4 | 3 | 3 | 11 | 1 | 0 | 4 | 153 | 918 | 1399125.502
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 2 | 0 | 2 | 1 | 5 | 2 | 1 | 1 | 5 | 29 | 725 | 1291992.2009
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5 | 3 | 0 | 0 | 1 | 2 | 3 | 0 | 1 | 2 | 18 | 450 | 767516.7345
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 0 | 3 | 3 | 4 | 1 | 1 | 9 | 27 | 2025 | 3608667.8677
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 2 | 0 | 0 | 2 | 3 | 7 | 4 | 4 | 5 | 30 | 2250 | 3837583.6682
Total Units | 4558 | 9143 | 11161 | 26 | 24 | 1 | 16 | 2 | 5 | 78 | 147 | 393 | 19 | 16 | 23 | 76 | 17 | 12 | 60 | 25777 | 0 | 0
Total Capacity | 9338 | 23880 | 31160 | 110 | 64 | 6 | 97 | 81 | 18 | 1212 | 1004 | 1372 | 144 | 479 | 683 | 1288 | 458 | 455 | 1449 | 0 | 73298 | 0
Total Supply | 15707949.8767 | 40118394.6747 | 52416175.579 | 183156.8495 | 107702.7525 | 9144.6111 | 164938.2524 | 137064.0667 | 30433.747 | 2105946.5399 | 1710346.8957 | 2324087.271 | 246656.5173 | 833818.0837 | 1188704.098 | 2217882.9627 | 788786.5861 | 785598.4597 | 2531690.6693 | 0 | 0 | 123608478.4931

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1614 | 2346 | 2628 | 3 | 8 | 0 | 2 | 0 | 0 | 0 | 8 | 57 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 6669 | 13338 | 23769092.2182
2kW_SE | 1633 | 2327 | 2606 | 1 | 6 | 0 | 1 | 0 | 0 | 0 | 11 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6645 | 13290 | 22826906.3988
2kW_SW | 1745 | 2454 | 2629 | 2 | 10 | 0 | 0 | 0 | 1 | 1 | 9 | 63 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 6916 | 13832 | 23591758.5929
2kW_W | 1650 | 2498 | 2643 | 8 | 4 | 0 | 0 | 0 | 1 | 2 | 6 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6855 | 13710 | 20895436.4252
4kW_S | 44 | 1000 | 1379 | 3 | 1 | 0 | 1 | 0 | 0 | 0 | 11 | 70 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 2513 | 10052 | 17913249.0892
4kW_SE | 38 | 980 | 1468 | 2 | 4 | 0 | 1 | 0 | 3 | 4 | 24 | 68 | 3 | 0 | 0 | 1 | 1 | 0 | 2 | 2599 | 10396 | 17856171.3595
4kW_SW | 44 | 964 | 1488 | 4 | 4 | 0 | 1 | 0 | 0 | 3 | 17 | 62 | 0 | 0 | 1 | 4 | 1 | 0 | 4 | 2597 | 10388 | 17717697.4454
4kW_W | 36 | 1067 | 1409 | 2 | 6 | 0 | 2 | 0 | 0 | 4 | 16 | 53 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 2599 | 10396 | 15844562.8638
6kW_S | 0 | 28 | 98 | 4 | 0 | 0 | 2 | 1 | 0 | 21 | 24 | 27 | 3 | 3 | 0 | 17 | 7 | 5 | 10 | 250 | 1500 | 2673087.306
6kW_SE | 0 | 20 | 105 | 4 | 0 | 0 | 5 | 0 | 1 | 10 | 37 | 31 | 6 | 1 | 5 | 17 | 4 | 1 | 19 | 266 | 1596 | 2741289.8849
6kW_SW | 0 | 28 | 99 | 2 | 0 | 1 | 5 | 0 | 1 | 14 | 21 | 17 | 6 | 3 | 2 | 21 | 2 | 1 | 12 | 235 | 1410 | 2404885.7721
6kW_W | 0 | 26 | 90 | 3 | 0 | 1 | 4 | 1 | 0 | 12 | 18 | 19 | 6 | 3 | 3 | 13 | 3 | 0 | 8 | 210 | 1260 | 1920368.336
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 12 | 2 | 0 | 2 | 1 | 6 | 3 | 1 | 1 | 8 | 38 | 950 | 1692955.2977
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 4 | 0 | 0 | 1 | 2 | 6 | 2 | 2 | 4 | 29 | 725 | 1236554.739
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1 | 0 | 0 | 3 | 5 | 8 | 3 | 2 | 17 | 47 | 3525 | 6281755.1772
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 5 | 6 | 0 | 0 | 3 | 7 | 11 | 6 | 4 | 11 | 56 | 4200 | 7163489.514
Total Units | 6804 | 13738 | 16642 | 38 | 43 | 3 | 28 | 3 | 7 | 103 | 215 | 570 | 27 | 18 | 32 | 106 | 34 | 16 | 97 | 38524 | 0 | 0
Total Capacity | 13932 | 35906 | 46340 | 150 | 116 | 37 | 322 | 87 | 28 | 1842 | 1615 | 2022 | 192 | 560 | 1168 | 2094 | 864 | 567 | 2726 | 0 | 110568 | 0
Total Supply | 23438593.2417 | 60313245.3583 | 77966221.7338 | 251836.0962 | 193906.5666 | 63929.6228 | 547266.3681 | 147756.416 | 47609.7487 | 3204370.8011 | 2750377.6202 | 3423389.3704 | 327022.005 | 972429.8886 | 2029675.9405 | 3618232.9887 | 1492456.384 | 982818.5494 | 4758121.7201 | 0 | 0 | 186529260.4201

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1892 | 2793 | 3045 | 5 | 8 | 0 | 2 | 0 | 0 | 0 | 9 | 70 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 7827 | 15654 | 27896339.0002
2kW_SE | 1909 | 2726 | 3042 | 1 | 9 | 0 | 1 | 0 | 0 | 0 | 14 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7767 | 15534 | 26681201.2039
2kW_SW | 2046 | 2854 | 3088 | 2 | 10 | 0 | 0 | 0 | 1 | 1 | 9 | 72 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 8085 | 16170 | 27579434.3875
2kW_W | 1941 | 2888 | 3075 | 10 | 4 | 0 | 0 | 0 | 1 | 2 | 7 | 54 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7983 | 15966 | 24333810.2089
4kW_S | 50 | 1179 | 1631 | 3 | 4 | 0 | 1 | 2 | 0 | 1 | 11 | 80 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 2966 | 11864 | 21142338.559
4kW_SE | 44 | 1150 | 1708 | 2 | 5 | 0 | 1 | 0 | 3 | 4 | 26 | 77 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3031 | 12124 | 20824184.452
4kW_SW | 47 | 1125 | 1723 | 6 | 5 | 0 | 2 | 0 | 0 | 5 | 18 | 75 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3022 | 12088 | 20617205.1136
4kW_W | 40 | 1244 | 1645 | 4 | 6 | 0 | 2 | 0 | 0 | 4 | 18 | 71 | 0 | 0 | 0 | 2 | 2 | 0 | 2 | 3040 | 12160 | 18533078.5325
6kW_S | 0 | 34 | 112 | 5 | 0 | 0 | 2 | 1 | 0 | 23 | 27 | 32 | 7 | 3 | 0 | 19 | 11 | 5 | 13 | 294 | 1764 | 3143550.6719
6kW_SE | 0 | 26 | 125 | 5 | 0 | 0 | 5 | 0 | 1 | 13 | 43 | 35 | 6 | 1 | 5 | 22 | 4 | 1 | 23 | 315 | 1890 | 3246264.3374
6kW_SW | 0 | 33 | 117 | 2 | 0 | 1 | 5 | 0 | 1 | 14 | 23 | 19 | 7 | 3 | 3 | 26 | 2 | 1 | 13 | 270 | 1620 | 2763060.2488
6kW_W | 0 | 31 | 108 | 3 | 0 | 1 | 4 | 1 | 0 | 17 | 19 | 28 | 6 | 3 | 3 | 18 | 3 | 2 | 9 | 256 | 1536 | 2341020.4477
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 2 | 0 | 2 | 1 | 6 | 5 | 1 | 1 | 10 | 44 | 1100 | 1960264.0289
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 4 | 0 | 0 | 1 | 2 | 7 | 2 | 3 | 7 | 35 | 875 | 1492393.6505
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 2 | 0 | 0 | 3 | 5 | 12 | 4 | 5 | 22 | 63 | 4725 | 8420225.0247
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 1 | 0 | 7 | 7 | 0 | 0 | 3 | 9 | 14 | 9 | 4 | 13 | 71 | 5325 | 9082281.3481
Total Units | 7969 | 16083 | 19419 | 48 | 51 | 4 | 30 | 5 | 7 | 123 | 239 | 678 | 34 | 18 | 36 | 138 | 44 | 23 | 120 | 45069 | 0 | 0
Total Capacity | 16300 | 42058 | 54100 | 186 | 142 | 112 | 401 | 95 | 28 | 2289 | 1867 | 2418 | 230 | 560 | 1328 | 2814 | 1196 | 833 | 3438 | 0 | 130395 | 0
Total Supply | 27420171.5426 | 70674590.1282 | 91024595.8441 | 311896.2435 | 239289.6378 | 191849.0784 | 682008.1947 | 162012.8816 | 47609.7487 | 3978058.7043 | 3185147.7278 | 4080124.6492 | 393669.7003 | 972429.8886 | 2302618.8088 | 4867766.8123 | 2065557.2916 | 1451581.0873 | 6005673.2457 | 0 | 0 | 220056651.2155

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2039 | 2990 | 3269 | 6 | 9 | 0 | 2 | 0 | 0 | 0 | 9 | 75 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8402 | 16804 | 29945705.9256
2kW_SE | 2031 | 2896 | 3291 | 2 | 9 | 0 | 1 | 0 | 0 | 0 | 14 | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8318 | 16636 | 28573996.6028
2kW_SW | 2182 | 3051 | 3304 | 3 | 10 | 0 | 0 | 0 | 1 | 1 | 10 | 79 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8644 | 17288 | 29486287.0557
2kW_W | 2069 | 3100 | 3280 | 10 | 4 | 0 | 0 | 0 | 1 | 2 | 7 | 60 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8535 | 17070 | 26016418.6563
4kW_S | 52 | 1268 | 1753 | 4 | 4 | 0 | 1 | 2 | 0 | 2 | 12 | 87 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3189 | 12756 | 22731934.4789
4kW_SE | 49 | 1242 | 1857 | 2 | 5 | 0 | 1 | 0 | 3 | 4 | 30 | 83 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3287 | 13148 | 22583007.0253
4kW_SW | 53 | 1227 | 1834 | 6 | 5 | 0 | 2 | 0 | 0 | 5 | 19 | 85 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3252 | 13008 | 22186350.44
4kW_W | 41 | 1337 | 1744 | 5 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 85 | 0 | 0 | 0 | 2 | 2 | 0 | 2 | 3251 | 13004 | 19819420.4964
6kW_S | 0 | 34 | 122 | 6 | 1 | 1 | 2 | 1 | 1 | 26 | 28 | 33 | 8 | 3 | 0 | 19 | 12 | 5 | 14 | 316 | 1896 | 3378782.3548
6kW_SE | 0 | 26 | 133 | 5 | 0 | 0 | 6 | 0 | 1 | 14 | 46 | 40 | 6 | 1 | 6 | 23 | 4 | 1 | 23 | 335 | 2010 | 3452376.3588
6kW_SW | 0 | 35 | 131 | 2 | 0 | 1 | 5 | 0 | 1 | 17 | 25 | 22 | 7 | 4 | 3 | 27 | 2 | 1 | 14 | 297 | 1782 | 3039366.2737
6kW_W | 0 | 33 | 115 | 3 | 1 | 2 | 4 | 1 | 0 | 19 | 22 | 28 | 6 | 4 | 4 | 19 | 3 | 2 | 10 | 276 | 1656 | 2523912.6702
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 1 | 1 | 10 | 47 | 1175 | 2093918.3945
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 4 | 0 | 0 | 1 | 3 | 8 | 2 | 3 | 7 | 38 | 950 | 1620313.1062
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 14 | 4 | 5 | 22 | 69 | 5175 | 9222151.2176
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 7 | 9 | 0 | 0 | 3 | 10 | 17 | 10 | 4 | 14 | 80 | 6000 | 10233556.4486
Total Units | 8516 | 17239 | 20833 | 54 | 54 | 6 | 32 | 5 | 8 | 138 | 262 | 751 | 35 | 20 | 41 | 148 | 46 | 23 | 125 | 48336 | 0 | 0
Total Capacity | 17422 | 45138 | 58046 | 206 | 156 | 124 | 482 | 95 | 34 | 2601 | 2180 | 2674 | 236 | 572 | 1515 | 3234 | 1277 | 833 | 3533 | 0 | 140358 | 0
Total Supply | 29312921.495 | 75847021.4879 | 97690832.6118 | 346223.7352 | 262690.7146 | 211686.0388 | 820233.2514 | 162012.8816 | 58302.098 | 4526258.8 | 3721187.3102 | 4508644.0263 | 404362.0495 | 991808.0562 | 2626282.6607 | 5594568.6827 | 2204169.0964 | 1451581.0873 | 6166711.4219 | 0 | 0 | 236907497.5053

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2100 | 3100 | 3361 | 6 | 9 | 0 | 2 | 0 | 0 | 0 | 10 | 76 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8667 | 17334 | 30890196.7695
2kW_SE | 2098 | 2994 | 3393 | 2 | 9 | 0 | 1 | 0 | 0 | 0 | 14 | 74 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8586 | 17172 | 29494630.2995
2kW_SW | 2228 | 3152 | 3403 | 4 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 82 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8895 | 17790 | 30342494.6044
2kW_W | 2134 | 3212 | 3404 | 10 | 4 | 0 | 0 | 0 | 1 | 2 | 7 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8838 | 17676 | 26940024.3801
4kW_S | 55 | 1308 | 1810 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 89 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3293 | 13172 | 23473270.6927
4kW_SE | 52 | 1284 | 1926 | 2 | 5 | 0 | 1 | 0 | 3 | 4 | 30 | 87 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3405 | 13620 | 23393714.3052
4kW_SW | 55 | 1266 | 1898 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 19 | 87 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3361 | 13444 | 22929988.8772
4kW_W | 41 | 1379 | 1800 | 5 | 6 | 0 | 2 | 0 | 0 | 6 | 20 | 85 | 0 | 0 | 0 | 2 | 2 | 0 | 2 | 3350 | 13400 | 20422964.8302
6kW_S | 0 | 34 | 125 | 6 | 1 | 1 | 3 | 1 | 1 | 29 | 28 | 34 | 8 | 3 | 0 | 19 | 13 | 5 | 15 | 326 | 1956 | 3485705.847
6kW_SE | 0 | 26 | 134 | 5 | 0 | 0 | 6 | 0 | 1 | 14 | 47 | 42 | 6 | 1 | 6 | 23 | 4 | 1 | 25 | 341 | 2046 | 3514209.9652
6kW_SW | 0 | 36 | 134 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 23 | 8 | 4 | 3 | 27 | 2 | 1 | 14 | 305 | 1830 | 3121234.7255
6kW_W | 0 | 33 | 117 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 24 | 31 | 6 | 4 | 4 | 20 | 4 | 2 | 10 | 288 | 1728 | 2633648.0037
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 1 | 1 | 10 | 47 | 1175 | 2093918.3945
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 7 | 39 | 975 | 1662952.9248
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 15 | 4 | 5 | 23 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 8 | 9 | 0 | 0 | 3 | 10 | 17 | 10 | 4 | 14 | 81 | 6075 | 10361475.9042
Total Units | 8763 | 17824 | 21505 | 57 | 55 | 6 | 34 | 5 | 8 | 148 | 267 | 772 | 36 | 20 | 41 | 151 | 49 | 23 | 129 | 49893 | 0 | 0
Total Capacity | 17932 | 46638 | 59918 | 216 | 160 | 124 | 494 | 95 | 34 | 2726 | 2202 | 2760 | 242 | 572 | 1515 | 3317 | 1314 | 833 | 3626 | 0 | 144718 | 0
Total Supply | 30171179.4335 | 78367693.7502 | 100834576.3927 | 363585.5244 | 269513.0856 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 4737147.3333 | 3756757.4353 | 4652891.858 | 414595.606 | 991808.0562 | 2626282.6607 | 5740802.8597 | 2266645.8753 | 1451581.0873 | 6331669.3387 | 0 | 0 | 244249890.4723

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2139 | 3139 | 3407 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 10 | 77 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8793 | 17586 | 31339275.4349
2kW_SE | 2136 | 3058 | 3448 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 75 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8745 | 17490 | 30040827.1569
2kW_SW | 2261 | 3191 | 3468 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 83 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9034 | 18068 | 30816649.3824
2kW_W | 2162 | 3271 | 3456 | 10 | 4 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8979 | 17958 | 27369821.1031
4kW_S | 57 | 1326 | 1837 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 90 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3341 | 13364 | 23815425.8683
4kW_SE | 54 | 1302 | 1954 | 2 | 5 | 0 | 1 | 0 | 3 | 4 | 31 | 89 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3456 | 13824 | 23744104.7397
4kW_SW | 55 | 1287 | 1930 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 19 | 88 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3415 | 13660 | 23298396.9104
4kW_W | 42 | 1394 | 1824 | 5 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 86 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3393 | 13572 | 20685110.3489
6kW_S | 0 | 34 | 128 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 332 | 1992 | 3549859.9424
6kW_SE | 0 | 27 | 135 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 43 | 6 | 1 | 6 | 23 | 5 | 1 | 25 | 347 | 2082 | 3576043.5716
6kW_SW | 0 | 37 | 137 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 23 | 8 | 4 | 3 | 28 | 2 | 1 | 14 | 310 | 1860 | 3172402.5079
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 24 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 296 | 1776 | 2706804.8927
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 8 | 41 | 1025 | 1748232.562
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 5 | 23 | 72 | 5400 | 9623114.314
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 8 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 84 | 6300 | 10745234.271
Total Units | 8906 | 18099 | 21848 | 58 | 57 | 6 | 34 | 5 | 8 | 153 | 270 | 782 | 36 | 20 | 41 | 157 | 51 | 24 | 133 | 50688 | 0 | 0
Total Capacity | 18228 | 47340 | 60882 | 218 | 164 | 124 | 494 | 95 | 34 | 2773 | 2214 | 2794 | 242 | 572 | 1515 | 3560 | 1345 | 908 | 3705 | 0 | 147207 | 0
Total Supply | 30672730.0847 | 79546657.8265 | 102454254.1646 | 366996.7099 | 276512.4023 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 4817187.1107 | 3777368.3889 | 4710443.9775 | 414595.606 | 991808.0562 | 2626282.6607 | 6160366.6532 | 2321502.9316 | 1579500.5429 | 6469508.4751 | 0 | 0 | 248458875.7663

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2158 | 3163 | 3432 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 78 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8863 | 17726 | 31588763.5823
2kW_SE | 2155 | 3089 | 3469 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 75 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8816 | 17632 | 30284726.3826
2kW_SW | 2280 | 3216 | 3493 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 83 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9103 | 18206 | 31052021.1787
2kW_W | 2181 | 3300 | 3485 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9058 | 18116 | 27610629.1961
4kW_S | 57 | 1344 | 1851 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 92 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3375 | 13500 | 24057785.7844
4kW_SE | 55 | 1312 | 1965 | 2 | 5 | 0 | 1 | 0 | 3 | 4 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3479 | 13916 | 23902123.9553
4kW_SW | 55 | 1299 | 1943 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 19 | 88 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3440 | 13760 | 23468956.185
4kW_W | 43 | 1409 | 1843 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 86 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3429 | 13716 | 20904581.0157
6kW_S | 0 | 34 | 128 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 333 | 1998 | 3560552.2916
6kW_SE | 0 | 27 | 135 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 44 | 6 | 1 | 6 | 23 | 5 | 1 | 25 | 348 | 2088 | 3586349.1727
6kW_SW | 0 | 37 | 139 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 23 | 8 | 4 | 3 | 28 | 2 | 1 | 14 | 312 | 1872 | 3192869.6208
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 25 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 297 | 1782 | 2715949.5038
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 23 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 8984 | 18263 | 22007 | 59 | 59 | 6 | 34 | 5 | 8 | 155 | 273 | 787 | 36 | 20 | 41 | 157 | 51 | 25 | 134 | 51104 | 0 | 0
Total Capacity | 18388 | 47778 | 61322 | 222 | 168 | 124 | 494 | 95 | 34 | 2923 | 2228 | 2814 | 242 | 572 | 1515 | 3560 | 1345 | 983 | 3730 | 0 | 148537 | 0
Total Supply | 30941412.3052 | 80282692.1356 | 103189533.1694 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5073026.0219 | 3800769.4657 | 4745440.5613 | 414595.606 | 991808.0562 | 2626282.6607 | 6160366.6532 | 2321502.9316 | 1713154.9084 | 6512148.2937 | 0 | 0 | 250701594.8713

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2160 | 3180 | 3445 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 79 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8896 | 17792 | 31706379.4232
2kW_SE | 2170 | 3104 | 3481 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 75 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8858 | 17716 | 30429004.7977
2kW_SW | 2294 | 3231 | 3503 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9143 | 18286 | 31188468.5968
2kW_W | 2189 | 3318 | 3500 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9099 | 18198 | 27735605.5482
4kW_S | 57 | 1351 | 1853 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3385 | 13540 | 24129068.1126
4kW_SE | 55 | 1316 | 1978 | 2 | 5 | 0 | 1 | 0 | 3 | 4 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3496 | 13984 | 24018920.7668
4kW_SW | 55 | 1312 | 1947 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 19 | 89 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3458 | 13832 | 23591758.8627
4kW_W | 43 | 1413 | 1855 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3446 | 13784 | 21008219.9418
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 44 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 350 | 2100 | 3606960.3749
6kW_SW | 0 | 38 | 139 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 28 | 2 | 1 | 14 | 314 | 1884 | 3213336.7338
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 25 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 297 | 1782 | 2715949.5038
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 23 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9023 | 18357 | 22090 | 59 | 59 | 6 | 34 | 5 | 8 | 155 | 273 | 793 | 37 | 20 | 41 | 157 | 51 | 25 | 134 | 51327 | 0 | 0
Total Capacity | 18466 | 48026 | 61558 | 222 | 168 | 124 | 494 | 95 | 34 | 2923 | 2228 | 2836 | 248 | 572 | 1515 | 3560 | 1345 | 983 | 3730 | 0 | 149127 | 0
Total Supply | 31072210.7694 | 80701534.8096 | 103581939.9946 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5073026.0219 | 3800769.4657 | 4782696.4309 | 424901.2071 | 991808.0562 | 2626282.6607 | 6160366.6532 | 2321502.9316 | 1713154.9084 | 6512148.2937 | 0 | 0 | 251691204.3054

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2162 | 3184 | 3452 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8910 | 17820 | 31756277.0527
2kW_SE | 2174 | 3115 | 3488 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8881 | 17762 | 30508014.406
2kW_SW | 2303 | 3235 | 3512 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9165 | 18330 | 31263514.6767
2kW_W | 2192 | 3327 | 3504 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9115 | 18230 | 27784376.8075
4kW_S | 57 | 1357 | 1858 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3396 | 13584 | 24207478.6737
4kW_SE | 55 | 1318 | 1985 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3506 | 14024 | 24087624.7736
4kW_SW | 55 | 1314 | 1956 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 19 | 89 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3469 | 13876 | 23666804.9435
4kW_W | 43 | 1414 | 1859 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3451 | 13804 | 21038701.9788
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 44 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 350 | 2100 | 3606960.3749
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 23 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9041 | 18396 | 22143 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 274 | 795 | 37 | 20 | 41 | 158 | 51 | 25 | 135 | 51443 | 0 | 0
Total Capacity | 18502 | 48126 | 61718 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2234 | 2840 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3736 | 0 | 149449 | 0
Total Supply | 31132925.0838 | 80870908.402 | 103853583.1896 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3809914.0768 | 4789695.7476 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6522381.8502 | 0 | 0 | 252236416.8488

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2163 | 3187 | 3455 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8917 | 17834 | 31781225.8675
2kW_SE | 2177 | 3119 | 3492 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8892 | 17784 | 30545801.61
2kW_SW | 2306 | 3238 | 3517 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9176 | 18352 | 31301037.7167
2kW_W | 2195 | 3331 | 3506 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9124 | 18248 | 27811810.6409
4kW_S | 57 | 1359 | 1859 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3399 | 13596 | 24228863.3722
4kW_SE | 55 | 1319 | 1990 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3512 | 14048 | 24128847.1776
4kW_SW | 55 | 1314 | 1958 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3473 | 13892 | 23694094.4274
4kW_W | 43 | 1415 | 1859 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3452 | 13808 | 21044798.3862
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 44 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 350 | 2100 | 3606960.3749
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 23 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9051 | 18414 | 22165 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 796 | 37 | 20 | 41 | 158 | 51 | 25 | 135 | 51495 | 0 | 0
Total Capacity | 18522 | 48170 | 61778 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2844 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3736 | 0 | 149581 | 0
Total Supply | 31166172.9688 | 80944991.1976 | 103956293.6531 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4796518.1186 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6522381.8502 | 0 | 0 | 252460102.7347

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2164 | 3188 | 3456 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8920 | 17840 | 31791918.2166
2kW_SE | 2177 | 3120 | 3492 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8893 | 17786 | 30549236.8104
2kW_SW | 2308 | 3239 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9182 | 18364 | 31321504.8294
2kW_W | 2198 | 3333 | 3506 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9129 | 18258 | 27827051.6595
4kW_S | 57 | 1359 | 1860 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3400 | 13600 | 24235991.605
4kW_SE | 55 | 1321 | 1990 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3514 | 14056 | 24142587.979
4kW_SW | 55 | 1314 | 1959 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3474 | 13896 | 23700916.7984
4kW_W | 43 | 1416 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9057 | 18422 | 22173 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51519 | 0 | 0
Total Capacity | 18534 | 48192 | 61802 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149720 | 0
Total Supply | 31185704.0672 | 80981335.316 | 103996234.7445 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252699879.0095

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2164 | 3189 | 3458 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8923 | 17846 | 31802610.5658
2kW_SE | 2177 | 3120 | 3493 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8894 | 17788 | 30552672.0107
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1991 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3517 | 14068 | 24163199.181
4kW_SW | 55 | 1314 | 1959 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3474 | 13896 | 23700916.7984
4kW_W | 43 | 1416 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9057 | 18428 | 22179 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51531 | 0 | 0
Total Capacity | 18534 | 48208 | 61818 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149752 | 0
Total Supply | 31185704.0672 | 81008510.8084 | 104023845.0149 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252754664.7722

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3458 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8924 | 17848 | 31806174.6822
2kW_SE | 2177 | 3120 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8895 | 17790 | 30556107.2111
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1960 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3475 | 13900 | 23707739.1694
4kW_W | 43 | 1416 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9058 | 18428 | 22183 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51536 | 0 | 0
Total Capacity | 18536 | 48208 | 61832 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149768 | 0
Total Supply | 31189268.1836 | 81008510.8084 | 104047843.3876 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252782227.2613

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3458 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8924 | 17848 | 31806174.6822
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22184 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51539 | 0 | 0
Total Capacity | 18538 | 48210 | 61836 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149776 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104054665.7585 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252795920.033

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568