## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25737 | 25737 | 74874 | 74874 | 2212685927.4856 | 0 | 0 | 2212685927.4856
1 | 0.17485 | 38494 | 12757 | 112108 | 37234 | 2212685927.4856 | 126395808.3072 | 0.057123 | 2086290119.1783
2 | 0.17748 | 44991 | 6497 | 130960 | 18852 | 2212685927.4856 | 189232826.3389 | 0.085522 | 2023453101.1467
3 | 0.17888 | 48305 | 3314 | 140359 | 9399 | 2212685927.4856 | 221048354.8367 | 0.0999 | 1991637572.6489
4 | 0.17959 | 49946 | 1641 | 145038 | 4679 | 2212685927.4856 | 236908492.7042 | 0.10707 | 1975777434.7814
5 | 0.17995 | 50745 | 799 | 147358 | 2320 | 2212685927.4856 | 244791074.7787 | 0.11063 | 1967894852.7069
6 | 0.18013 | 51141 | 396 | 148498 | 1140 | 2212685927.4856 | 248693705.9316 | 0.11239 | 1963992221.5539
7 | 0.18022 | 51343 | 202 | 149118 | 620 | 2212685927.4856 | 250630088.8929 | 0.11327 | 1962055838.5927
8 | 0.18027 | 51448 | 105 | 149548 | 430 | 2212685927.4856 | 251674075.7479 | 0.11374 | 1961011851.7376
9 | 0.1803 | 51490 | 42 | 149658 | 110 | 2212685927.4856 | 252412325.6922 | 0.11408 | 1960273601.7934
10 | 0.18031 | 51512 | 22 | 149714 | 56 | 2212685927.4856 | 252597183.7072 | 0.11416 | 1960088743.7784
11 | 0.18031 | 51530 | 18 | 149758 | 44 | 2212685927.4856 | 252691709.6008 | 0.1142 | 1959994217.8847
12 | 0.18032 | 51535 | 5 | 149768 | 10 | 2212685927.4856 | 252764769.6611 | 0.11423 | 1959921157.8244
13 | 0.18032 | 51537 | 2 | 149774 | 6 | 2212685927.4856 | 252781300.5857 | 0.11424 | 1959904626.8999
14 | 0.18032 | 51539 | 2 | 149778 | 4 | 2212685927.4856 | 252791992.9349 | 0.11425 | 1959893934.5507
15 | 0.18032 | 51541 | 2 | 149782 | 4 | 2212685927.4856 | 252799121.1677 | 0.11425 | 1959886806.3179
16 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
17 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
18 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
19 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1115 | 1597 | 1757 | 3 | 6 | 0 | 2 | 0 | 0 | 0 | 9 | 33 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4523 | 9046 | 16120498.441
2kW_SE | 1088 | 1553 | 1757 | 2 | 5 | 0 | 1 | 0 | 0 | 0 | 7 | 40 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4454 | 8908 | 15300382.4079
2kW_SW | 1161 | 1570 | 1759 | 4 | 6 | 0 | 0 | 0 | 1 | 0 | 5 | 44 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4551 | 9102 | 15524304.9966
2kW_W | 1106 | 1665 | 1759 | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 5 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4571 | 9142 | 13933339.1538
4kW_S | 27 | 675 | 924 | 1 | 3 | 0 | 1 | 0 | 0 | 1 | 5 | 45 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1684 | 6736 | 12003944.0773
4kW_SE | 23 | 662 | 970 | 1 | 5 | 0 | 0 | 0 | 2 | 2 | 17 | 46 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1733 | 6932 | 11906404.3732
4kW_SW | 22 | 646 | 967 | 2 | 2 | 0 | 1 | 0 | 0 | 3 | 9 | 44 | 1 | 0 | 0 | 4 | 2 | 0 | 4 | 1707 | 6828 | 11645787.2697
4kW_W | 18 | 718 | 925 | 3 | 3 | 0 | 0 | 0 | 0 | 4 | 14 | 43 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1731 | 6924 | 10552881.2302
6kW_S | 0 | 16 | 70 | 4 | 0 | 0 | 2 | 1 | 1 | 11 | 18 | 16 | 2 | 1 | 0 | 8 | 6 | 1 | 7 | 164 | 984 | 1753545.2727
6kW_SE | 0 | 15 | 70 | 4 | 0 | 0 | 1 | 0 | 0 | 5 | 26 | 24 | 2 | 1 | 5 | 10 | 2 | 0 | 13 | 178 | 1068 | 1834396.9906
6kW_SW | 0 | 17 | 79 | 1 | 0 | 0 | 3 | 0 | 1 | 8 | 7 | 12 | 4 | 3 | 0 | 14 | 0 | 1 | 6 | 156 | 936 | 1596434.8104
6kW_W | 0 | 19 | 68 | 2 | 0 | 1 | 3 | 0 | 0 | 13 | 12 | 16 | 3 | 2 | 0 | 10 | 1 | 0 | 3 | 153 | 918 | 1399125.502
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 7 | 4 | 0 | 2 | 1 | 5 | 1 | 0 | 1 | 5 | 28 | 700 | 1247440.7457
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 3 | 0 | 0 | 0 | 1 | 4 | 2 | 3 | 5 | 23 | 575 | 980715.8275
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 2 | 0 | 0 | 2 | 3 | 9 | 3 | 3 | 12 | 41 | 3075 | 5479828.9844
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 3 | 7 | 0 | 0 | 2 | 1 | 13 | 6 | 2 | 4 | 40 | 3000 | 5116778.2243
Total Units | 4560 | 9153 | 11105 | 30 | 32 | 3 | 16 | 1 | 5 | 69 | 150 | 393 | 16 | 12 | 17 | 77 | 25 | 11 | 62 | 25737 | 0 | 0
Total Capacity | 9300 | 23976 | 30930 | 118 | 90 | 106 | 168 | 6 | 22 | 1312 | 1460 | 1414 | 128 | 367 | 488 | 2055 | 795 | 487 | 1652 | 0 | 74874 | 0
Total Supply | 15653496.3798 | 40275194.633 | 52047191.4944 | 198799.2804 | 152794.8864 | 181615.5219 | 286809.7501 | 10692.3492 | 38077.8925 | 2280012.2245 | 2498257.7536 | 2383229.3459 | 220287.8748 | 637686.9393 | 859806.2855 | 3551003.3442 | 1375159.8203 | 850198.8243 | 2895493.7072 | 0 | 0 | 126395808.3073

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1628 | 2379 | 2566 | 5 | 8 | 0 | 2 | 0 | 0 | 0 | 11 | 50 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 6651 | 13302 | 23704938.1232
2kW_SE | 1630 | 2302 | 2613 | 2 | 8 | 0 | 1 | 0 | 0 | 0 | 10 | 66 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6633 | 13266 | 22785683.9945
2kW_SW | 1755 | 2421 | 2620 | 5 | 8 | 0 | 0 | 0 | 1 | 1 | 7 | 61 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 6882 | 13764 | 23475778.2875
2kW_W | 1642 | 2486 | 2606 | 7 | 3 | 0 | 0 | 0 | 0 | 2 | 7 | 45 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6799 | 13598 | 20724737.0175
4kW_S | 42 | 1010 | 1402 | 3 | 4 | 0 | 1 | 0 | 0 | 2 | 7 | 73 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 2546 | 10184 | 18148480.7725
4kW_SE | 36 | 986 | 1496 | 2 | 5 | 0 | 0 | 0 | 2 | 3 | 21 | 68 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 2625 | 10500 | 18034801.7771
4kW_SW | 40 | 998 | 1446 | 5 | 4 | 0 | 2 | 0 | 0 | 4 | 17 | 66 | 2 | 0 | 0 | 5 | 2 | 0 | 4 | 2595 | 10380 | 17704052.7035
4kW_W | 33 | 1062 | 1390 | 3 | 3 | 0 | 1 | 0 | 0 | 5 | 17 | 63 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 2581 | 10324 | 15734827.5304
6kW_S | 0 | 27 | 101 | 6 | 1 | 0 | 3 | 1 | 1 | 19 | 26 | 25 | 5 | 2 | 0 | 13 | 8 | 2 | 9 | 249 | 1494 | 2662394.9568
6kW_SE | 0 | 22 | 106 | 4 | 0 | 0 | 4 | 0 | 0 | 8 | 36 | 32 | 4 | 1 | 6 | 16 | 5 | 0 | 20 | 264 | 1584 | 2720678.6827
6kW_SW | 0 | 31 | 112 | 1 | 0 | 1 | 5 | 0 | 1 | 13 | 17 | 19 | 6 | 4 | 1 | 19 | 0 | 1 | 11 | 242 | 1452 | 2476520.6674
6kW_W | 0 | 27 | 103 | 2 | 1 | 2 | 4 | 0 | 0 | 20 | 17 | 25 | 4 | 4 | 2 | 15 | 2 | 0 | 7 | 235 | 1410 | 2148983.6141
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9 | 5 | 0 | 2 | 1 | 6 | 2 | 2 | 1 | 8 | 38 | 950 | 1692955.2977
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 3 | 0 | 0 | 1 | 2 | 6 | 2 | 3 | 7 | 33 | 825 | 1407114.0133
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 2 | 0 | 0 | 3 | 4 | 11 | 3 | 5 | 19 | 58 | 4350 | 7751953.1974
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 1 | 0 | 6 | 8 | 0 | 0 | 3 | 5 | 18 | 7 | 3 | 8 | 63 | 4725 | 8058925.7032
Total Units | 6806 | 13751 | 16561 | 45 | 45 | 5 | 27 | 2 | 5 | 112 | 211 | 593 | 25 | 19 | 28 | 111 | 36 | 16 | 96 | 38494 | 0 | 0
Total Capacity | 13914 | 36042 | 46278 | 168 | 130 | 118 | 368 | 81 | 22 | 2147 | 1844 | 2130 | 180 | 566 | 937 | 2789 | 962 | 722 | 2710 | 0 | 112108 | 0
Total Supply | 23414335.5218 | 60559581.068 | 77874056.793 | 284510.1912 | 220709.23 | 200993.6895 | 626788.3162 | 138611.8048 | 38077.8925 | 3726110.9 | 3152340.9599 | 3592219.7332 | 309410.2196 | 981115.7069 | 1631158.127 | 4813724.3089 | 1663135.892 | 1262989.7607 | 4742956.2235 | 0 | 0 | 189232826.3389

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1900 | 2768 | 2994 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 65 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 7759 | 15518 | 27653979.0855
2kW_SE | 1907 | 2711 | 3046 | 2 | 9 | 0 | 1 | 0 | 0 | 0 | 12 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7758 | 15516 | 26650284.4006
2kW_SW | 2057 | 2851 | 3044 | 5 | 9 | 0 | 0 | 0 | 1 | 1 | 9 | 72 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8052 | 16104 | 27466865.2676
2kW_W | 1915 | 2922 | 3048 | 9 | 4 | 0 | 0 | 0 | 0 | 2 | 8 | 53 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7962 | 15924 | 24269797.9311
4kW_S | 52 | 1194 | 1621 | 5 | 4 | 0 | 1 | 0 | 0 | 2 | 10 | 84 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 2975 | 11900 | 21206492.6544
4kW_SE | 45 | 1152 | 1731 | 2 | 5 | 0 | 0 | 0 | 3 | 4 | 26 | 79 | 2 | 0 | 1 | 1 | 1 | 1 | 2 | 3055 | 12220 | 20989074.0682
4kW_SW | 49 | 1162 | 1699 | 7 | 5 | 0 | 2 | 0 | 0 | 5 | 19 | 79 | 2 | 0 | 1 | 6 | 2 | 0 | 4 | 3042 | 12168 | 20753652.5333
4kW_W | 37 | 1241 | 1628 | 6 | 5 | 0 | 2 | 0 | 0 | 5 | 19 | 76 | 0 | 0 | 0 | 1 | 1 | 0 | 3 | 3024 | 12096 | 18435536.0139
6kW_S | 0 | 29 | 115 | 6 | 1 | 0 | 3 | 1 | 1 | 25 | 28 | 29 | 7 | 2 | 0 | 18 | 9 | 5 | 11 | 290 | 1740 | 3100781.275
6kW_SE | 0 | 24 | 121 | 5 | 0 | 0 | 5 | 0 | 0 | 13 | 44 | 38 | 5 | 1 | 6 | 20 | 5 | 1 | 25 | 313 | 1878 | 3225653.1352
6kW_SW | 0 | 35 | 127 | 2 | 0 | 1 | 6 | 0 | 1 | 17 | 21 | 21 | 7 | 4 | 1 | 21 | 2 | 1 | 13 | 280 | 1680 | 2865395.8136
6kW_W | 0 | 29 | 112 | 3 | 1 | 2 | 4 | 0 | 0 | 20 | 19 | 28 | 5 | 4 | 3 | 16 | 3 | 2 | 10 | 261 | 1566 | 2386743.5034
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9 | 5 | 0 | 2 | 1 | 6 | 3 | 2 | 1 | 10 | 41 | 1025 | 1826609.6633
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 4 | 0 | 0 | 1 | 3 | 7 | 2 | 3 | 7 | 36 | 900 | 1535033.4691
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 5 | 15 | 3 | 6 | 21 | 68 | 5100 | 9088496.8521
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 8 | 9 | 0 | 0 | 3 | 6 | 18 | 9 | 3 | 13 | 75 | 5625 | 9593959.1705
Total Units | 7962 | 16118 | 19286 | 58 | 53 | 5 | 31 | 2 | 6 | 133 | 246 | 693 | 31 | 19 | 33 | 131 | 42 | 23 | 119 | 44991 | 0 | 0
Total Capacity | 16290 | 42202 | 53830 | 220 | 152 | 118 | 459 | 81 | 26 | 2545 | 2098 | 2486 | 214 | 566 | 1122 | 3217 | 1136 | 833 | 3365 | 0 | 130960 | 0
Total Supply | 27416566.2026 | 70910272.3231 | 90573302.7598 | 370044.9136 | 256747.2381 | 200993.6895 | 781343.3368 | 138611.8048 | 44948.2932 | 4419567.6404 | 3584268.4233 | 4192328.7871 | 367349.0874 | 981115.7069 | 1951338.7487 | 5570215.4065 | 1959278.8765 | 1457315.9972 | 5872745.6011 | 0 | 0 | 221048354.8367

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2040 | 2973 | 3237 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 74 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8356 | 16712 | 29781756.5716
2kW_SE | 2053 | 2919 | 3277 | 2 | 9 | 0 | 1 | 0 | 0 | 0 | 12 | 73 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8347 | 16694 | 28673617.4133
2kW_SW | 2181 | 3058 | 3266 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 10 | 77 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8612 | 17224 | 29377129.1212
2kW_W | 2050 | 3118 | 3289 | 10 | 5 | 0 | 0 | 0 | 0 | 2 | 8 | 57 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8540 | 17080 | 26031659.6749
4kW_S | 53 | 1278 | 1745 | 5 | 4 | 0 | 1 | 0 | 0 | 3 | 12 | 90 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 3193 | 12772 | 22760447.4102
4kW_SE | 48 | 1239 | 1869 | 2 | 5 | 0 | 1 | 0 | 3 | 4 | 28 | 88 | 2 | 0 | 1 | 1 | 1 | 1 | 4 | 3297 | 13188 | 22651711.0321
4kW_SW | 52 | 1230 | 1825 | 7 | 5 | 0 | 2 | 0 | 0 | 5 | 19 | 87 | 2 | 0 | 1 | 6 | 2 | 0 | 4 | 3247 | 12988 | 22152238.585
4kW_W | 40 | 1326 | 1753 | 6 | 5 | 0 | 2 | 0 | 0 | 7 | 20 | 80 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3246 | 12984 | 19788938.4594
6kW_S | 0 | 31 | 123 | 6 | 1 | 0 | 3 | 1 | 1 | 28 | 28 | 30 | 8 | 2 | 0 | 18 | 11 | 5 | 14 | 310 | 1860 | 3314628.2594
6kW_SE | 0 | 25 | 129 | 5 | 0 | 0 | 6 | 0 | 1 | 15 | 47 | 44 | 6 | 1 | 6 | 22 | 5 | 1 | 25 | 338 | 2028 | 3483293.162
6kW_SW | 0 | 37 | 136 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 25 | 2 | 1 | 14 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 31 | 119 | 3 | 1 | 2 | 4 | 0 | 0 | 20 | 23 | 28 | 5 | 4 | 4 | 17 | 4 | 2 | 10 | 277 | 1662 | 2533057.2813
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 11 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 47 | 1175 | 2093918.3945
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 4 | 0 | 0 | 1 | 3 | 8 | 2 | 3 | 8 | 39 | 975 | 1662952.9248
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 5 | 15 | 4 | 6 | 22 | 70 | 5250 | 9355805.583
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 9 | 9 | 0 | 0 | 3 | 8 | 18 | 9 | 4 | 13 | 79 | 5925 | 10105636.993
Total Units | 8517 | 17265 | 20768 | 59 | 55 | 5 | 34 | 2 | 7 | 145 | 263 | 752 | 34 | 19 | 38 | 142 | 47 | 24 | 129 | 48305 | 0 | 0
Total Capacity | 17420 | 45172 | 57948 | 222 | 156 | 118 | 494 | 81 | 32 | 2718 | 2186 | 2698 | 232 | 566 | 1290 | 3338 | 1233 | 908 | 3547 | 0 | 140359 | 0
Total Supply | 29318072.0171 | 75908060.0821 | 97502598.3136 | 373093.1173 | 263206.6273 | 200993.6895 | 841159.1571 | 138611.8048 | 55253.8943 | 4718832.8603 | 3730202.7568 | 4554189.6038 | 398580.5942 | 981115.7069 | 2236789.384 | 5778744.582 | 2129558.959 | 1585235.4528 | 6194194.1011 | 0 | 0 | 236908492.7041

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2110 | 3093 | 3353 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 76 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8664 | 17328 | 30879504.4203
2kW_SE | 2115 | 3018 | 3374 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 13 | 73 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8607 | 17214 | 29566769.5071
2kW_SW | 2241 | 3159 | 3391 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 10 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8902 | 17804 | 30366372.9026
2kW_W | 2132 | 3233 | 3400 | 10 | 6 | 0 | 0 | 0 | 0 | 2 | 8 | 60 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8853 | 17706 | 26985747.4358
4kW_S | 55 | 1311 | 1805 | 5 | 4 | 0 | 1 | 0 | 0 | 3 | 12 | 91 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3291 | 13164 | 23459014.2271
4kW_SE | 49 | 1285 | 1927 | 2 | 5 | 0 | 1 | 0 | 3 | 4 | 30 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3407 | 13628 | 23407455.1065
4kW_SW | 53 | 1275 | 1894 | 7 | 5 | 0 | 2 | 0 | 0 | 5 | 19 | 89 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3365 | 13460 | 22957278.3612
4kW_W | 42 | 1371 | 1809 | 6 | 5 | 0 | 2 | 0 | 0 | 7 | 20 | 84 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3353 | 13412 | 20441254.0524
6kW_S | 0 | 33 | 126 | 6 | 1 | 1 | 3 | 1 | 1 | 29 | 28 | 31 | 8 | 3 | 0 | 18 | 13 | 5 | 15 | 322 | 1932 | 3442936.4501
6kW_SE | 0 | 26 | 131 | 5 | 0 | 0 | 6 | 0 | 1 | 15 | 47 | 45 | 6 | 1 | 6 | 23 | 5 | 1 | 25 | 343 | 2058 | 3534821.1674
6kW_SW | 0 | 37 | 138 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 28 | 2 | 1 | 14 | 312 | 1872 | 3192869.6208
6kW_W | 0 | 31 | 121 | 3 | 1 | 2 | 4 | 1 | 0 | 21 | 23 | 30 | 6 | 4 | 4 | 18 | 4 | 2 | 10 | 285 | 1710 | 2606214.1703
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 12 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 4 | 0 | 0 | 1 | 3 | 8 | 2 | 3 | 9 | 40 | 1000 | 1705592.7434
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 15 | 4 | 6 | 22 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 9 | 9 | 0 | 0 | 3 | 10 | 19 | 9 | 5 | 13 | 83 | 6225 | 10617314.8154
Total Units | 8797 | 17872 | 21469 | 59 | 57 | 6 | 34 | 3 | 7 | 148 | 266 | 774 | 36 | 20 | 41 | 151 | 49 | 25 | 132 | 49946 | 0 | 0
Total Capacity | 17992 | 46736 | 59872 | 222 | 160 | 124 | 494 | 87 | 32 | 2755 | 2196 | 2776 | 242 | 572 | 1515 | 3455 | 1245 | 983 | 3580 | 0 | 145038 | 0
Total Supply | 30275308.4704 | 78535217.4839 | 100743763.2502 | 373093.1173 | 269690.0313 | 211686.0388 | 841159.1571 | 147756.416 | 55253.8943 | 4783221.2759 | 3747378.7585 | 4682293.7679 | 414595.606 | 991808.0562 | 2626282.6607 | 5977893.7559 | 2150943.6574 | 1713154.9084 | 6250574.4726 | 0 | 0 | 244791074.7786

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2140 | 3134 | 3404 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 79 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8789 | 17578 | 31325018.9693
2kW_SE | 2140 | 3062 | 3439 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 13 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8744 | 17488 | 30037391.9566
2kW_SW | 2284 | 3200 | 3452 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 10 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9047 | 18094 | 30860994.7933
2kW_W | 2165 | 3283 | 3457 | 10 | 6 | 0 | 0 | 0 | 0 | 2 | 8 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8995 | 17990 | 27418592.3625
4kW_S | 56 | 1337 | 1828 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3345 | 13380 | 23843938.7996
4kW_SE | 52 | 1307 | 1957 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3464 | 13856 | 23799067.9451
4kW_SW | 54 | 1300 | 1926 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3426 | 13704 | 23373442.9912
4kW_W | 42 | 1396 | 1838 | 6 | 5 | 0 | 2 | 0 | 0 | 7 | 20 | 85 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3408 | 13632 | 20776556.4601
6kW_S | 0 | 33 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 32 | 8 | 3 | 0 | 19 | 13 | 5 | 15 | 329 | 1974 | 3517782.8947
6kW_SE | 0 | 26 | 131 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 345 | 2070 | 3555432.3695
6kW_SW | 0 | 38 | 138 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 28 | 2 | 1 | 14 | 313 | 1878 | 3203103.1773
6kW_W | 0 | 33 | 122 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 25 | 31 | 6 | 4 | 4 | 20 | 4 | 2 | 10 | 294 | 1764 | 2688515.6705
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 13 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 49 | 1225 | 2183021.3049
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 2 | 3 | 9 | 41 | 1025 | 1748232.562
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 15 | 4 | 6 | 22 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 9 | 5 | 14 | 85 | 6375 | 10873153.7266
Total Units | 8933 | 18149 | 21821 | 59 | 58 | 6 | 34 | 5 | 7 | 155 | 271 | 788 | 37 | 20 | 41 | 154 | 49 | 25 | 133 | 50745 | 0 | 0
Total Capacity | 18274 | 47498 | 60820 | 222 | 164 | 124 | 494 | 95 | 32 | 2902 | 2222 | 2820 | 248 | 572 | 1515 | 3473 | 1245 | 983 | 3655 | 0 | 147358 | 0
Total Supply | 30749945.4739 | 79812738.9678 | 102337045.8542 | 373093.1173 | 276512.4023 | 211686.0388 | 841159.1571 | 162012.8816 | 55253.8943 | 5035344.9674 | 3790053.1016 | 4756400.3299 | 424901.2071 | 991808.0562 | 2626282.6607 | 6006875.3274 | 2150943.6574 | 1713154.9084 | 6378493.9282 | 0 | 0 | 248693705.9316

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2152 | 3160 | 3431 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8855 | 17710 | 31560250.6512
2kW_SE | 2154 | 3096 | 3472 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 13 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8825 | 17650 | 30315643.1858
2kW_SW | 2294 | 3218 | 3490 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 83 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9116 | 18232 | 31096366.5895
2kW_W | 2178 | 3306 | 3482 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9057 | 18114 | 27607580.9924
4kW_S | 57 | 1349 | 1849 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3379 | 13516 | 24086298.7157
4kW_SE | 53 | 1317 | 1969 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3487 | 13948 | 23957087.1607
4kW_SW | 55 | 1307 | 1948 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3456 | 13824 | 23578114.1207
4kW_W | 42 | 1402 | 1848 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3427 | 13708 | 20892388.2009
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 32 | 8 | 3 | 0 | 19 | 13 | 5 | 15 | 331 | 1986 | 3539167.5931
6kW_SE | 0 | 27 | 134 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 349 | 2094 | 3596654.7738
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 28 | 2 | 1 | 14 | 315 | 1890 | 3223570.2903
6kW_W | 0 | 33 | 123 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 25 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 296 | 1776 | 2706804.8927
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 13 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 49 | 1225 | 2183021.3049
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 22 | 72 | 5400 | 9623114.314
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 9 | 5 | 14 | 85 | 6375 | 10873153.7266
Total Units | 8985 | 18287 | 22015 | 59 | 59 | 6 | 34 | 5 | 8 | 155 | 273 | 793 | 37 | 20 | 41 | 156 | 50 | 25 | 133 | 51141 | 0 | 0
Total Capacity | 18384 | 47852 | 61362 | 222 | 168 | 124 | 494 | 95 | 34 | 2902 | 2230 | 2834 | 248 | 572 | 1515 | 3554 | 1270 | 983 | 3655 | 0 | 148498 | 0
Total Supply | 30935367.1829 | 80413288.6221 | 103256191.2091 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5035344.9674 | 3804156.6363 | 4778979.6321 | 424901.2071 | 991808.0562 | 2626282.6607 | 6149674.304 | 2193583.476 | 1713154.9084 | 6378493.9282 | 0 | 0 | 250630088.8929

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2159 | 3173 | 3446 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8890 | 17780 | 31684994.7249
2kW_SE | 2166 | 3106 | 3483 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8859 | 17718 | 30432439.9981
2kW_SW | 2303 | 3229 | 3506 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9153 | 18306 | 31222580.4513
2kW_W | 2185 | 3320 | 3498 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9095 | 18190 | 27723412.7334
4kW_S | 57 | 1356 | 1855 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3392 | 13568 | 24178965.7424
4kW_SE | 55 | 1319 | 1981 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3503 | 14012 | 24067013.5715
4kW_SW | 55 | 1308 | 1953 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3462 | 13848 | 23619048.3466
4kW_W | 43 | 1412 | 1854 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3444 | 13776 | 20996027.1269
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 33 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 333 | 1998 | 3560552.2916
6kW_SE | 0 | 27 | 134 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 349 | 2094 | 3596654.7738
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 28 | 2 | 1 | 15 | 316 | 1896 | 3233803.8467
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 25 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 297 | 1782 | 2715949.5038
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 22 | 72 | 5400 | 9623114.314
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9023 | 18355 | 22103 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 274 | 796 | 37 | 20 | 41 | 157 | 51 | 25 | 134 | 51343 | 0 | 0
Total Capacity | 18466 | 48028 | 61600 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2232 | 2844 | 248 | 572 | 1515 | 3560 | 1345 | 983 | 3661 | 0 | 149118 | 0
Total Supply | 31073413.7058 | 80705596.9069 | 103655839.5012 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3807591.8367 | 4796131.3705 | 424901.2071 | 991808.0562 | 2626282.6607 | 6160366.6532 | 2321502.9316 | 1713154.9084 | 6388727.4847 | 0 | 0 | 251674075.7479

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2163 | 3179 | 3451 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8905 | 17810 | 31738456.4708
2kW_SE | 2175 | 3111 | 3490 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8880 | 17760 | 30504579.2057
2kW_SW | 2305 | 3235 | 3513 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9168 | 18336 | 31273748.2331
2kW_W | 2193 | 3327 | 3501 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9113 | 18226 | 27778280.4001
4kW_S | 57 | 1359 | 1858 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3398 | 13592 | 24221735.1394
4kW_SE | 55 | 1321 | 1989 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3513 | 14052 | 24135717.5783
4kW_SW | 55 | 1312 | 1956 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3469 | 13876 | 23666804.9435
4kW_W | 43 | 1414 | 1860 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3452 | 13808 | 21044798.3862
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 28 | 2 | 1 | 15 | 316 | 1896 | 3233803.8467
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 25 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 297 | 1782 | 2715949.5038
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9046 | 18390 | 22147 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 274 | 797 | 37 | 20 | 41 | 157 | 51 | 25 | 136 | 51448 | 0 | 0
Total Capacity | 18512 | 48120 | 61736 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2232 | 2850 | 248 | 572 | 1515 | 3560 | 1345 | 983 | 3811 | 0 | 149548 | 0
Total Supply | 31149794.9752 | 80860569.9444 | 103884734.0584 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3807591.8367 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6160366.6532 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252412325.6921

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2164 | 3184 | 3455 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8915 | 17830 | 31774097.6347
2kW_SE | 2177 | 3115 | 3492 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8888 | 17776 | 30532060.8086
2kW_SW | 2306 | 3237 | 3516 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9174 | 18348 | 31294215.3458
2kW_W | 2194 | 3331 | 3502 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9119 | 18238 | 27796569.6224
4kW_S | 57 | 1359 | 1858 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3398 | 13592 | 24221735.1394
4kW_SE | 55 | 1323 | 1992 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3518 | 14072 | 24170069.5817
4kW_SW | 55 | 1312 | 1960 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3473 | 13892 | 23694094.4274
4kW_W | 43 | 1415 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3454 | 13816 | 21056991.201
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 28 | 2 | 1 | 15 | 316 | 1896 | 3233803.8467
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9051 | 18408 | 22165 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 157 | 51 | 25 | 136 | 51490 | 0 | 0
Total Capacity | 18522 | 48162 | 61788 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3560 | 1345 | 983 | 3811 | 0 | 149658 | 0
Total Supply | 31166688.8814 | 80930983.7223 | 103973139.7782 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6160366.6532 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252597183.7072

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2164 | 3187 | 3457 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8920 | 17840 | 31791918.2166
2kW_SE | 2178 | 3118 | 3493 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8893 | 17786 | 30549236.8104
2kW_SW | 2306 | 3238 | 3518 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9177 | 18354 | 31304448.9022
2kW_W | 2195 | 3333 | 3503 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9123 | 18246 | 27808762.4372
4kW_S | 57 | 1359 | 1859 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3399 | 13596 | 24228863.3722
4kW_SE | 55 | 1323 | 1992 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3518 | 14072 | 24170069.5817
4kW_SW | 55 | 1314 | 1960 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3475 | 13900 | 23707739.1694
4kW_W | 43 | 1416 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9053 | 18420 | 22172 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51512 | 0 | 0
Total Capacity | 18526 | 48192 | 61804 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149714 | 0
Total Supply | 31173172.2855 | 80981230.4148 | 104000702.0187 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252691709.6008

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2164 | 3188 | 3457 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8921 | 17842 | 31795482.333
2kW_SE | 2178 | 3119 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8895 | 17790 | 30556107.2111
2kW_SW | 2308 | 3240 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9183 | 18366 | 31324916.0149
2kW_W | 2196 | 3334 | 3506 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9128 | 18256 | 27824003.4558
4kW_S | 57 | 1359 | 1860 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3400 | 13600 | 24235991.605
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9056 | 18425 | 22182 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51530 | 0 | 0
Total Capacity | 18532 | 48202 | 61832 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149758 | 0
Total Supply | 31183042.8601 | 80998100.3061 | 104047021.613 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252764769.6611

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3188 | 3457 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8922 | 17844 | 31799046.4494
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3240 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9183 | 18366 | 31324916.0149
2kW_W | 2197 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9130 | 18260 | 27830099.8632
4kW_S | 57 | 1359 | 1860 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3400 | 13600 | 24235991.605
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9058 | 18427 | 22183 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51535 | 0 | 0
Total Capacity | 18536 | 48206 | 61834 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149768 | 0
Total Supply | 31189655.1802 | 81004970.7069 | 104050069.8167 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252781300.5856

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3188 | 3458 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8923 | 17846 | 31802610.5658
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3240 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9183 | 18366 | 31324916.0149
2kW_W | 2197 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9130 | 18260 | 27830099.8632
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9058 | 18427 | 22185 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51537 | 0 | 0
Total Capacity | 18536 | 48206 | 61840 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149774 | 0
Total Supply | 31189655.1802 | 81004970.7069 | 104060762.166 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252791992.9348

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3240 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9183 | 18366 | 31324916.0149
2kW_W | 2197 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9130 | 18260 | 27830099.8632
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9058 | 18428 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51539 | 0 | 0
Total Capacity | 18536 | 48208 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149778 | 0
Total Supply | 31189655.1802 | 81008534.8233 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252799121.1676

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568