## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25761 | 25761 | 75185 | 75185 | 2212685927.4856 | 0 | 0 | 2212685927.4856
1 | 0.17487 | 38533 | 12772 | 112504 | 37319 | 2212685927.4856 | 126894246.4527 | 0.057349 | 2085791681.0329
2 | 0.17751 | 45116 | 6583 | 131073 | 18569 | 2212685927.4856 | 189941856.0192 | 0.085842 | 2022744071.4664
3 | 0.17889 | 48312 | 3196 | 140486 | 9413 | 2212685927.4856 | 221243228.4052 | 0.099989 | 1991442699.0804
4 | 0.1796 | 49890 | 1578 | 145026 | 4540 | 2212685927.4856 | 237137530.5942 | 0.10717 | 1975548396.8914
5 | 0.17995 | 50692 | 802 | 147370 | 2344 | 2212685927.4856 | 244789388.4071 | 0.11063 | 1967896539.0785
6 | 0.18013 | 51107 | 415 | 148666 | 1296 | 2212685927.4856 | 248738459.5561 | 0.11241 | 1963947467.9295
7 | 0.18023 | 51324 | 217 | 149212 | 546 | 2212685927.4856 | 250929640.3685 | 0.1134 | 1961756287.1171
8 | 0.18028 | 51434 | 110 | 149502 | 290 | 2212685927.4856 | 251848115.1375 | 0.11382 | 1960837812.3481
9 | 0.1803 | 51490 | 56 | 149652 | 150 | 2212685927.4856 | 252333913.6286 | 0.11404 | 1960352013.857
10 | 0.18031 | 51519 | 29 | 149730 | 78 | 2212685927.4856 | 252587387.6874 | 0.11415 | 1960098539.7981
11 | 0.18032 | 51531 | 12 | 149758 | 28 | 2212685927.4856 | 252716830.0357 | 0.11421 | 1959969097.4498
12 | 0.18032 | 51534 | 3 | 149766 | 8 | 2212685927.4856 | 252764253.5 | 0.11423 | 1959921673.9855
13 | 0.18032 | 51537 | 3 | 149774 | 8 | 2212685927.4856 | 252777736.2208 | 0.11424 | 1959908191.2648
14 | 0.18032 | 51541 | 4 | 149782 | 8 | 2212685927.4856 | 252791453.0073 | 0.11425 | 1959894474.4783
15 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
16 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
17 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
18 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
19 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1091 | 1555 | 1741 | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 6 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4446 | 8892 | 15846061.4788
2kW_SE | 1091 | 1556 | 1714 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 6 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4406 | 8812 | 15135492.7906
2kW_SW | 1157 | 1636 | 1733 | 2 | 5 | 0 | 0 | 0 | 1 | 1 | 5 | 48 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4589 | 9178 | 15653930.0438
2kW_W | 1085 | 1668 | 1798 | 2 | 2 | 0 | 0 | 0 | 0 | 1 | 4 | 27 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4588 | 9176 | 13985158.6169
4kW_S | 32 | 678 | 953 | 1 | 1 | 0 | 1 | 0 | 0 | 2 | 9 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1720 | 6880 | 12260560.459
4kW_SE | 31 | 648 | 1043 | 1 | 2 | 0 | 1 | 0 | 1 | 2 | 15 | 38 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1786 | 7144 | 12270535.6091
4kW_SW | 28 | 625 | 976 | 4 | 3 | 0 | 1 | 0 | 0 | 2 | 10 | 43 | 1 | 0 | 1 | 2 | 1 | 0 | 4 | 1701 | 6804 | 11604853.0438
4kW_W | 18 | 695 | 940 | 5 | 2 | 0 | 0 | 0 | 0 | 4 | 9 | 48 | 0 | 0 | 0 | 2 | 1 | 0 | 2 | 1726 | 6904 | 10522399.1931
6kW_S | 0 | 17 | 71 | 4 | 0 | 0 | 2 | 0 | 0 | 18 | 17 | 20 | 2 | 1 | 0 | 9 | 8 | 2 | 6 | 177 | 1062 | 1892545.8126
6kW_SE | 0 | 10 | 69 | 4 | 0 | 0 | 4 | 0 | 1 | 9 | 25 | 23 | 3 | 0 | 4 | 9 | 2 | 0 | 11 | 174 | 1044 | 1793174.5864
6kW_SW | 0 | 15 | 69 | 2 | 0 | 1 | 4 | 0 | 1 | 7 | 15 | 15 | 3 | 1 | 3 | 18 | 0 | 1 | 8 | 163 | 978 | 1668069.7058
6kW_W | 0 | 16 | 64 | 3 | 0 | 1 | 1 | 1 | 0 | 9 | 16 | 18 | 4 | 4 | 3 | 11 | 2 | 2 | 1 | 156 | 936 | 1426559.3353
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 6 | 2 | 0 | 1 | 1 | 5 | 3 | 0 | 0 | 7 | 26 | 650 | 1158337.8353
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 3 | 0 | 0 | 0 | 2 | 6 | 0 | 1 | 4 | 20 | 500 | 852796.3717
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 2 | 0 | 0 | 1 | 4 | 6 | 0 | 3 | 14 | 36 | 2700 | 4811557.157
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 6 | 4 | 0 | 0 | 2 | 4 | 11 | 7 | 1 | 8 | 47 | 3525 | 6012214.4135
Total Units | 4533 | 9119 | 11171 | 32 | 25 | 2 | 18 | 2 | 4 | 77 | 148 | 401 | 16 | 10 | 26 | 78 | 22 | 11 | 66 | 25761 | 0 | 0
Total Capacity | 9284 | 23762 | 31258 | 138 | 66 | 12 | 328 | 81 | 18 | 1452 | 1227 | 1450 | 109 | 286 | 839 | 1800 | 607 | 359 | 2109 | 0 | 75185 | 0
Total Supply | 15632144.7633 | 39923065.522 | 52595219.3297 | 230709.2299 | 111806.7964 | 19378.1676 | 561816.7663 | 137064.0667 | 30820.7437 | 2518947.0509 | 2096782.133 | 2442217.2372 | 184695.2431 | 491549.0821 | 1460511.4756 | 3101195.5337 | 1036205.3713 | 628300.2485 | 3691817.6917 | 0 | 0 | 126894246.4527

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1656 | 2345 | 2595 | 5 | 9 | 0 | 1 | 0 | 0 | 0 | 8 | 61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6680 | 13360 | 23808297.4986
2kW_SE | 1614 | 2345 | 2585 | 1 | 6 | 0 | 1 | 0 | 0 | 0 | 11 | 56 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6620 | 13240 | 22741026.3898
2kW_SW | 1706 | 2455 | 2617 | 3 | 8 | 0 | 0 | 0 | 1 | 1 | 7 | 67 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 6867 | 13734 | 23424610.5058
2kW_W | 1625 | 2493 | 2624 | 8 | 4 | 0 | 0 | 0 | 0 | 2 | 6 | 47 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6810 | 13620 | 20758267.2583
4kW_S | 46 | 1007 | 1423 | 3 | 2 | 0 | 1 | 2 | 0 | 2 | 11 | 66 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2564 | 10256 | 18276788.9633
4kW_SE | 41 | 980 | 1513 | 1 | 3 | 0 | 1 | 0 | 3 | 2 | 23 | 60 | 2 | 0 | 1 | 1 | 1 | 1 | 1 | 2634 | 10536 | 18096635.3832
4kW_SW | 44 | 968 | 1464 | 6 | 5 | 0 | 2 | 0 | 0 | 5 | 16 | 68 | 2 | 0 | 1 | 3 | 1 | 0 | 4 | 2589 | 10356 | 17663118.4776
4kW_W | 30 | 1029 | 1410 | 6 | 3 | 0 | 0 | 0 | 0 | 5 | 12 | 67 | 0 | 0 | 0 | 2 | 2 | 0 | 2 | 2568 | 10272 | 15655574.234
6kW_S | 0 | 24 | 105 | 5 | 0 | 1 | 3 | 1 | 0 | 27 | 25 | 27 | 6 | 1 | 0 | 14 | 12 | 3 | 10 | 264 | 1584 | 2822780.1951
6kW_SE | 0 | 16 | 107 | 4 | 0 | 0 | 5 | 0 | 1 | 13 | 37 | 32 | 5 | 1 | 4 | 16 | 4 | 1 | 19 | 265 | 1590 | 2730984.2838
6kW_SW | 0 | 30 | 113 | 2 | 0 | 1 | 5 | 0 | 1 | 12 | 21 | 19 | 5 | 2 | 3 | 24 | 2 | 1 | 12 | 253 | 1518 | 2589089.7887
6kW_W | 0 | 24 | 99 | 3 | 1 | 2 | 1 | 1 | 0 | 15 | 18 | 22 | 4 | 4 | 3 | 16 | 4 | 2 | 4 | 223 | 1338 | 2039248.2807
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 11 | 5 | 0 | 2 | 1 | 6 | 4 | 0 | 0 | 10 | 40 | 1000 | 1782058.2081
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 3 | 0 | 0 | 0 | 2 | 7 | 1 | 2 | 8 | 32 | 800 | 1364474.1947
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 2 | 0 | 0 | 3 | 6 | 12 | 2 | 5 | 18 | 57 | 4275 | 7618298.8319
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 1 | 0 | 7 | 5 | 0 | 0 | 3 | 9 | 14 | 9 | 4 | 11 | 67 | 5025 | 8570603.5257
Total Units | 6762 | 13716 | 16655 | 47 | 41 | 5 | 25 | 5 | 6 | 119 | 210 | 592 | 27 | 15 | 35 | 115 | 40 | 19 | 99 | 38533 | 0 | 0
Total Capacity | 13846 | 35776 | 46626 | 182 | 112 | 99 | 379 | 95 | 26 | 2139 | 1643 | 2106 | 190 | 523 | 1393 | 2673 | 1002 | 771 | 2923 | 0 | 112504 | 0
Total Supply | 23312065.2211 | 60123394.7369 | 78463815.3054 | 304227.8346 | 188583.9041 | 167134.5836 | 649509.7794 | 162012.8816 | 44561.545 | 3714246.8738 | 2812918.6541 | 3550756.9315 | 327045.0141 | 907316.4262 | 2418839.3404 | 4623924.6873 | 1720507.7598 | 1343005.1151 | 5107989.4251 | 0 | 0 | 189941856.0192

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1909 | 2759 | 3016 | 6 | 10 | 0 | 1 | 0 | 0 | 0 | 9 | 71 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 7783 | 15566 | 27739517.8789
2kW_SE | 1905 | 2744 | 3038 | 2 | 8 | 0 | 1 | 0 | 0 | 0 | 12 | 67 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7778 | 15556 | 26718988.4079
2kW_SW | 2011 | 2881 | 3066 | 5 | 9 | 0 | 0 | 0 | 1 | 1 | 9 | 77 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 8062 | 16124 | 27500977.1221
2kW_W | 1935 | 2932 | 3048 | 9 | 6 | 0 | 0 | 0 | 1 | 2 | 7 | 57 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 7999 | 15998 | 24382581.4683
4kW_S | 52 | 1196 | 1637 | 4 | 3 | 0 | 1 | 2 | 0 | 2 | 12 | 82 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 2995 | 11980 | 21349057.3109
4kW_SE | 49 | 1152 | 1760 | 2 | 3 | 0 | 1 | 0 | 3 | 3 | 25 | 72 | 2 | 0 | 1 | 1 | 1 | 1 | 2 | 3078 | 12312 | 21147093.2838
4kW_SW | 47 | 1143 | 1712 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 17 | 79 | 2 | 0 | 1 | 3 | 1 | 0 | 4 | 3029 | 12116 | 20664961.7105
4kW_W | 38 | 1214 | 1646 | 6 | 4 | 0 | 1 | 0 | 0 | 6 | 14 | 80 | 0 | 0 | 0 | 2 | 2 | 0 | 2 | 3015 | 12060 | 18380668.3472
6kW_S | 0 | 31 | 118 | 5 | 1 | 1 | 3 | 1 | 1 | 30 | 28 | 31 | 6 | 2 | 0 | 17 | 13 | 3 | 13 | 304 | 1824 | 3250474.1641
6kW_SE | 0 | 22 | 124 | 4 | 0 | 0 | 6 | 0 | 1 | 14 | 43 | 36 | 5 | 1 | 6 | 21 | 4 | 1 | 21 | 309 | 1854 | 3184430.7309
6kW_SW | 0 | 35 | 127 | 2 | 0 | 1 | 5 | 0 | 1 | 14 | 24 | 21 | 7 | 2 | 3 | 25 | 2 | 1 | 13 | 283 | 1698 | 2896096.483
6kW_W | 0 | 31 | 113 | 3 | 1 | 2 | 1 | 1 | 0 | 17 | 22 | 25 | 5 | 4 | 3 | 20 | 4 | 2 | 6 | 260 | 1560 | 2377598.8922
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 13 | 5 | 0 | 2 | 1 | 6 | 5 | 1 | 0 | 11 | 45 | 1125 | 2004815.4841
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 3 | 0 | 0 | 1 | 3 | 7 | 2 | 3 | 9 | 38 | 950 | 1620313.1062
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 2 | 0 | 0 | 3 | 6 | 13 | 3 | 5 | 21 | 65 | 4875 | 8687533.7557
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 7 | 6 | 0 | 0 | 3 | 9 | 17 | 9 | 4 | 12 | 73 | 5475 | 9338120.2593
Total Units | 7946 | 16140 | 19405 | 55 | 51 | 5 | 28 | 5 | 8 | 135 | 238 | 698 | 30 | 17 | 39 | 136 | 45 | 20 | 115 | 45116 | 0 | 0
Total Capacity | 16264 | 42166 | 54248 | 204 | 142 | 99 | 464 | 95 | 34 | 2495 | 1848 | 2474 | 208 | 554 | 1434 | 3086 | 1135 | 796 | 3327 | 0 | 131073 | 0
Total Supply | 27365755.6609 | 70863465.6235 | 91283135.7606 | 341918.7305 | 239265.3745 | 167134.5836 | 793831.2435 | 162012.8816 | 58302.098 | 4341058.4912 | 3158781.9891 | 4171467.849 | 356656.7382 | 960648.594 | 2489218.594 | 5334126.5108 | 1955609.8647 | 1385644.9337 | 5815192.8839 | 0 | 0 | 221243228.4051

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2033 | 2975 | 3242 | 6 | 10 | 0 | 1 | 0 | 0 | 0 | 10 | 77 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 8356 | 16712 | 29781756.5716
2kW_SE | 2048 | 2940 | 3258 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 73 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8347 | 16694 | 28673617.4133
2kW_SW | 2164 | 3050 | 3302 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 10 | 78 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8624 | 17248 | 29418063.3467
2kW_W | 2064 | 3116 | 3278 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 60 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8547 | 17094 | 26052997.1008
4kW_S | 54 | 1280 | 1744 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 88 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3197 | 12788 | 22788960.3415
4kW_SE | 50 | 1239 | 1880 | 2 | 3 | 0 | 1 | 0 | 3 | 4 | 28 | 81 | 2 | 0 | 1 | 1 | 1 | 1 | 2 | 3299 | 13196 | 22665451.8334
4kW_SW | 51 | 1220 | 1833 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 17 | 85 | 2 | 0 | 1 | 4 | 1 | 0 | 4 | 3238 | 12952 | 22090837.2462
4kW_W | 40 | 1322 | 1756 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 18 | 83 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3247 | 12988 | 19795034.8668
6kW_S | 0 | 33 | 124 | 5 | 1 | 1 | 3 | 1 | 1 | 30 | 28 | 33 | 7 | 2 | 0 | 18 | 13 | 3 | 13 | 316 | 1896 | 3378782.3548
6kW_SE | 0 | 24 | 130 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 44 | 38 | 6 | 1 | 6 | 21 | 4 | 1 | 22 | 325 | 1950 | 3349320.3481
6kW_SW | 0 | 37 | 136 | 2 | 0 | 1 | 6 | 0 | 1 | 14 | 25 | 22 | 8 | 3 | 3 | 27 | 2 | 1 | 14 | 302 | 1812 | 3090534.0561
6kW_W | 0 | 32 | 120 | 3 | 1 | 2 | 2 | 1 | 0 | 19 | 24 | 26 | 5 | 4 | 4 | 20 | 4 | 2 | 7 | 276 | 1656 | 2523912.6702
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 1 | 1 | 11 | 47 | 1175 | 2093918.3945
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 4 | 0 | 0 | 1 | 3 | 8 | 2 | 3 | 9 | 40 | 1000 | 1705592.7434
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 15 | 4 | 5 | 24 | 72 | 5400 | 9623114.314
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 7 | 7 | 0 | 0 | 3 | 10 | 18 | 10 | 5 | 13 | 79 | 5925 | 10105636.993
Total Units | 8504 | 17268 | 20803 | 58 | 57 | 5 | 31 | 5 | 8 | 144 | 256 | 744 | 33 | 18 | 41 | 145 | 47 | 22 | 123 | 48312 | 0 | 0
Total Capacity | 17398 | 45162 | 58072 | 216 | 160 | 99 | 480 | 95 | 34 | 2631 | 2010 | 2638 | 226 | 560 | 1515 | 3360 | 1285 | 896 | 3649 | 0 | 140486 | 0
Total Supply | 29274678.563 | 75895812.4661 | 97715879.4504 | 362400.7681 | 268868.0084 | 167134.5836 | 819305.8185 | 162012.8816 | 58302.098 | 4578259.7772 | 3430060.381 | 4451220.0655 | 387888.245 | 970882.1505 | 2626282.6607 | 5813387.5346 | 2217183.6858 | 1558115.8445 | 6379855.612 | 0 | 0 | 237137530.5942

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2094 | 3080 | 3351 | 6 | 10 | 0 | 1 | 0 | 0 | 0 | 10 | 79 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 8633 | 17266 | 30769016.8121
2kW_SE | 2110 | 3035 | 3368 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 75 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8616 | 17232 | 29597686.3104
2kW_SW | 2237 | 3141 | 3406 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8896 | 17792 | 30345905.7899
2kW_W | 2133 | 3214 | 3379 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8818 | 17636 | 26879060.306
4kW_S | 55 | 1322 | 1803 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 91 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3302 | 13208 | 23537424.7882
4kW_SE | 52 | 1283 | 1933 | 2 | 4 | 0 | 1 | 0 | 3 | 5 | 29 | 85 | 2 | 0 | 1 | 1 | 1 | 1 | 3 | 3406 | 13624 | 23400584.7059
4kW_SW | 52 | 1262 | 1905 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 17 | 89 | 2 | 0 | 1 | 6 | 2 | 0 | 4 | 3360 | 13440 | 22923166.5062
4kW_W | 41 | 1367 | 1817 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 18 | 85 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3356 | 13424 | 20459543.2747
6kW_S | 0 | 33 | 127 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 28 | 34 | 8 | 3 | 0 | 18 | 13 | 3 | 13 | 323 | 1938 | 3453628.7994
6kW_SE | 0 | 27 | 135 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 44 | 43 | 6 | 1 | 6 | 21 | 4 | 1 | 23 | 339 | 2034 | 3493598.7631
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 15 | 25 | 23 | 8 | 3 | 3 | 28 | 2 | 1 | 14 | 310 | 1860 | 3172402.5079
6kW_W | 0 | 33 | 122 | 3 | 1 | 2 | 3 | 1 | 0 | 22 | 24 | 28 | 6 | 4 | 4 | 21 | 4 | 2 | 7 | 287 | 1722 | 2624503.3926
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 1 | 1 | 11 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 41 | 1025 | 1748232.562
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 15 | 4 | 6 | 24 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 8 | 9 | 0 | 0 | 3 | 10 | 18 | 10 | 5 | 13 | 82 | 6150 | 10489395.3598
Total Units | 8774 | 17835 | 21486 | 59 | 58 | 6 | 32 | 5 | 8 | 150 | 260 | 776 | 35 | 19 | 41 | 149 | 49 | 23 | 125 | 49890 | 0 | 0
Total Capacity | 17948 | 46662 | 59984 | 222 | 164 | 124 | 486 | 95 | 34 | 2734 | 2166 | 2764 | 238 | 566 | 1515 | 3380 | 1314 | 971 | 3659 | 0 | 145026 | 0
Total Supply | 30198202.4919 | 78418386.8554 | 100935489.0752 | 373093.1173 | 275738.409 | 211686.0388 | 828450.4296 | 162012.8816 | 58302.098 | 4750717.0234 | 3696180.8784 | 4663688.5997 | 407725.2053 | 981574.4997 | 2626282.6607 | 5846410.4441 | 2266645.8753 | 1691770.21 | 6397031.6137 | 0 | 0 | 244789388.4071

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2131 | 3142 | 3395 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 10 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8779 | 17558 | 31289377.8054
2kW_SE | 2141 | 3073 | 3421 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8739 | 17478 | 30020215.9548
2kW_SW | 2276 | 3189 | 3456 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 82 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9034 | 18068 | 30816649.3824
2kW_W | 2174 | 3270 | 3444 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8980 | 17960 | 27372869.3068
4kW_S | 55 | 1341 | 1832 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 92 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3351 | 13404 | 23886708.1966
4kW_SE | 54 | 1296 | 1967 | 2 | 4 | 0 | 1 | 0 | 3 | 5 | 30 | 88 | 3 | 0 | 1 | 1 | 1 | 1 | 3 | 3460 | 13840 | 23771586.3424
4kW_SW | 54 | 1292 | 1928 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 19 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3419 | 13676 | 23325686.3943
4kW_W | 43 | 1390 | 1837 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 19 | 86 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3403 | 13612 | 20746074.423
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 4 | 14 | 332 | 1992 | 3549859.9424
6kW_SE | 0 | 27 | 135 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 45 | 44 | 6 | 1 | 6 | 22 | 5 | 1 | 24 | 344 | 2064 | 3545126.7684
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 16 | 25 | 23 | 8 | 4 | 3 | 29 | 2 | 1 | 14 | 313 | 1878 | 3203103.1773
6kW_W | 0 | 33 | 123 | 3 | 1 | 2 | 3 | 1 | 0 | 22 | 25 | 29 | 6 | 4 | 4 | 21 | 4 | 2 | 7 | 290 | 1740 | 2651937.226
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 1 | 1 | 11 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 15 | 4 | 6 | 24 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 9 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 85 | 6375 | 10873153.7266
Total Units | 8928 | 18125 | 21807 | 59 | 58 | 6 | 33 | 5 | 8 | 153 | 268 | 787 | 36 | 20 | 41 | 156 | 50 | 24 | 128 | 50692 | 0 | 0
Total Capacity | 18268 | 47416 | 60850 | 222 | 164 | 124 | 488 | 95 | 34 | 2840 | 2206 | 2806 | 242 | 572 | 1515 | 3485 | 1320 | 977 | 3746 | 0 | 147370 | 0
Total Supply | 30734156.9524 | 79684668.4765 | 102392752.6948 | 373093.1173 | 275738.409 | 211686.0388 | 832014.546 | 162012.8816 | 58302.098 | 4931509.854 | 3763627.3391 | 4734207.5274 | 414595.606 | 991808.0562 | 2626282.6607 | 6026640.2431 | 2276951.4764 | 1702462.5592 | 6545949.0196 | 0 | 0 | 248738459.5561

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2146 | 3165 | 3420 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8843 | 17686 | 31517481.2545
2kW_SE | 2161 | 3095 | 3458 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8818 | 17636 | 30291596.7833
2kW_SW | 2291 | 3210 | 3489 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 83 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9104 | 18208 | 31055432.3641
2kW_W | 2186 | 3299 | 3474 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9051 | 18102 | 27589291.7702
4kW_S | 57 | 1351 | 1851 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3383 | 13532 | 24114811.647
4kW_SE | 54 | 1309 | 1977 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 30 | 88 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3485 | 13940 | 23943346.3593
4kW_SW | 55 | 1305 | 1942 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3448 | 13792 | 23523535.1528
4kW_W | 43 | 1405 | 1852 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 19 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3434 | 13736 | 20935063.0528
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 44 | 6 | 1 | 6 | 22 | 5 | 1 | 24 | 347 | 2082 | 3576043.5716
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 17 | 25 | 23 | 8 | 4 | 3 | 29 | 2 | 1 | 14 | 314 | 1884 | 3213336.7338
6kW_W | 0 | 33 | 123 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 30 | 6 | 4 | 4 | 21 | 4 | 2 | 8 | 294 | 1764 | 2688515.6705
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 8993 | 18271 | 21991 | 59 | 59 | 6 | 34 | 5 | 8 | 155 | 273 | 791 | 36 | 20 | 41 | 157 | 51 | 25 | 132 | 51107 | 0 | 0
Total Capacity | 18404 | 47810 | 61338 | 222 | 168 | 124 | 494 | 95 | 34 | 2921 | 2230 | 2822 | 242 | 572 | 1515 | 3560 | 1345 | 983 | 3787 | 0 | 148666 | 0
Total Supply | 30965147.7685 | 80342984.8346 | 103214378.5856 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5069662.8661 | 3803769.6397 | 4759987.9642 | 414595.606 | 991808.0562 | 2626282.6607 | 6160294.6086 | 2321502.9316 | 1713154.9084 | 6617207.8358 | 0 | 0 | 250929640.3685

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2157 | 3175 | 3444 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8888 | 17776 | 31677866.4921
2kW_SE | 2169 | 3108 | 3471 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8852 | 17704 | 30408393.5956
2kW_SW | 2300 | 3228 | 3509 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 83 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9151 | 18302 | 31215758.0804
2kW_W | 2194 | 3315 | 3489 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9090 | 18180 | 27708171.7148
4kW_S | 57 | 1355 | 1855 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3391 | 13564 | 24171837.5096
4kW_SE | 55 | 1318 | 1987 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 30 | 88 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3505 | 14020 | 24080754.3729
4kW_SW | 55 | 1308 | 1950 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3459 | 13836 | 23598581.2337
4kW_W | 43 | 1409 | 1856 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3443 | 13772 | 20989930.7195
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 44 | 7 | 1 | 6 | 22 | 5 | 1 | 24 | 348 | 2088 | 3586349.1727
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 17 | 25 | 23 | 8 | 4 | 3 | 29 | 2 | 1 | 14 | 314 | 1884 | 3213336.7338
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 9 | 297 | 1782 | 2715949.5038
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9030 | 18348 | 22090 | 59 | 59 | 6 | 34 | 5 | 8 | 155 | 274 | 792 | 37 | 20 | 41 | 157 | 51 | 25 | 133 | 51324 | 0 | 0
Total Capacity | 18480 | 48004 | 61592 | 222 | 168 | 124 | 494 | 95 | 34 | 2921 | 2234 | 2828 | 248 | 572 | 1515 | 3560 | 1345 | 983 | 3793 | 0 | 149212 | 0
Total Supply | 31093791.3511 | 80668655.4807 | 103643847.8951 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5069662.8661 | 3809866.0471 | 4769132.5753 | 424901.2071 | 991808.0562 | 2626282.6607 | 6160294.6086 | 2321502.9316 | 1713154.9084 | 6626352.447 | 0 | 0 | 251848115.1374

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2160 | 3180 | 3448 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8900 | 17800 | 31720635.8888
2kW_SE | 2174 | 3114 | 3485 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8877 | 17754 | 30494273.6046
2kW_SW | 2305 | 3233 | 3515 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9168 | 18336 | 31273748.2331
2kW_W | 2197 | 3326 | 3499 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9114 | 18228 | 27781328.6038
4kW_S | 57 | 1357 | 1859 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3397 | 13588 | 24214606.9065
4kW_SE | 55 | 1321 | 1989 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 89 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3512 | 14048 | 24128847.1776
4kW_SW | 55 | 1313 | 1956 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3470 | 13880 | 23673627.3145
4kW_W | 43 | 1411 | 1859 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3448 | 13792 | 21020412.7566
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 44 | 7 | 1 | 6 | 22 | 5 | 1 | 24 | 348 | 2088 | 3586349.1727
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 17 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 316 | 1896 | 3233803.8467
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9046 | 18387 | 22139 | 59 | 59 | 6 | 34 | 5 | 8 | 155 | 275 | 795 | 37 | 20 | 41 | 157 | 51 | 25 | 135 | 51434 | 0 | 0
Total Capacity | 18512 | 48106 | 61720 | 222 | 168 | 124 | 494 | 95 | 34 | 2921 | 2238 | 2840 | 248 | 572 | 1515 | 3560 | 1345 | 983 | 3805 | 0 | 149502 | 0
Total Supply | 31147860.2405 | 80838845.7703 | 103858623.4963 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5069662.8661 | 3816736.4478 | 4789647.7179 | 424901.2071 | 991808.0562 | 2626282.6607 | 6160294.6086 | 2321502.9316 | 1713154.9084 | 6645730.6146 | 0 | 0 | 252333913.6285

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2162 | 3185 | 3453 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8912 | 17824 | 31763405.2855
2kW_SE | 2176 | 3115 | 3490 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8885 | 17770 | 30521755.2075
2kW_SW | 2308 | 3237 | 3518 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9178 | 18356 | 31307860.0876
2kW_W | 2197 | 3328 | 3505 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9122 | 18244 | 27805714.2335
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1322 | 1992 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 89 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3516 | 14064 | 24156328.7803
4kW_SW | 55 | 1314 | 1960 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3475 | 13900 | 23707739.1694
4kW_W | 43 | 1412 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3452 | 13808 | 21044798.3862
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 44 | 7 | 1 | 6 | 22 | 5 | 1 | 24 | 348 | 2088 | 3586349.1727
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9053 | 18404 | 22170 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 795 | 37 | 20 | 41 | 157 | 51 | 25 | 135 | 51490 | 0 | 0
Total Capacity | 18526 | 48150 | 61806 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2840 | 248 | 572 | 1515 | 3560 | 1345 | 983 | 3805 | 0 | 149652 | 0
Total Supply | 31172092.4303 | 80913888.3466 | 104002589.2326 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4789647.7179 | 424901.2071 | 991808.0562 | 2626282.6607 | 6160294.6086 | 2321502.9316 | 1713154.9084 | 6645730.6146 | 0 | 0 | 252587387.6874

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2162 | 3187 | 3456 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8917 | 17834 | 31781225.8675
2kW_SE | 2178 | 3119 | 3491 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8892 | 17784 | 30545801.61
2kW_SW | 2308 | 3241 | 3518 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9182 | 18364 | 31321504.8294
2kW_W | 2198 | 3331 | 3506 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9127 | 18254 | 27820955.252
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1322 | 1992 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3517 | 14068 | 24163199.181
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 24 | 350 | 2100 | 3606960.3749
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9056 | 18421 | 22176 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 135 | 51519 | 0 | 0
Total Capacity | 18532 | 48192 | 61820 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3805 | 0 | 149730 | 0
Total Supply | 31182011.0348 | 80981932.3634 | 104026587.3568 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6645730.6146 | 0 | 0 | 252716830.0357

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2164 | 3187 | 3458 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8921 | 17842 | 31795482.333
2kW_SE | 2178 | 3121 | 3492 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8895 | 17790 | 30556107.2111
2kW_SW | 2308 | 3241 | 3519 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9183 | 18366 | 31324916.0149
2kW_W | 2198 | 3333 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9130 | 18260 | 27830099.8632
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1322 | 1992 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3517 | 14068 | 24163199.181
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9058 | 18425 | 22181 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51531 | 0 | 0
Total Capacity | 18536 | 48200 | 61830 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149758 | 0
Total Supply | 31189139.2675 | 80994899.1715 | 104043610.1791 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252764253.5

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2164 | 3188 | 3458 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8922 | 17844 | 31799046.4494
2kW_SE | 2178 | 3121 | 3492 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8895 | 17790 | 30556107.2111
2kW_SW | 2308 | 3241 | 3519 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9183 | 18366 | 31324916.0149
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1992 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3518 | 14072 | 24170069.5817
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9058 | 18428 | 22181 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51534 | 0 | 0
Total Capacity | 18536 | 48208 | 61830 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149766 | 0
Total Supply | 31189139.2675 | 81008381.8923 | 104043610.1791 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252777736.2208

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2164 | 3188 | 3458 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8922 | 17844 | 31799046.4494
2kW_SE | 2178 | 3121 | 3493 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8896 | 17792 | 30559542.4115
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9058 | 18428 | 22184 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51537 | 0 | 0
Total Capacity | 18536 | 48208 | 61838 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149774 | 0
Total Supply | 31189139.2675 | 81008381.8923 | 104057326.9656 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252791453.0073

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568