## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25743 | 25743 | 74180 | 74180 | 2212685927.4856 | 0 | 0 | 2212685927.4856
1 | 0.1748 | 38707 | 12964 | 112075 | 37895 | 2212685927.4856 | 125193136.5641 | 0.05658 | 2087492790.9215
2 | 0.17748 | 45119 | 6412 | 131068 | 18993 | 2212685927.4856 | 189154426.5166 | 0.085486 | 2023531500.969
3 | 0.17889 | 48313 | 3194 | 140460 | 9392 | 2212685927.4856 | 221213084.5332 | 0.099975 | 1991472842.9524
4 | 0.1796 | 49924 | 1611 | 145014 | 4554 | 2212685927.4856 | 237101978.8657 | 0.10716 | 1975583948.6198
5 | 0.17995 | 50698 | 774 | 147420 | 2406 | 2212685927.4856 | 244788165.239 | 0.11063 | 1967897762.2466
6 | 0.18014 | 51150 | 452 | 148685 | 1265 | 2212685927.4856 | 248834444.6921 | 0.11246 | 1963851482.7934
7 | 0.18023 | 51342 | 192 | 149179 | 494 | 2212685927.4856 | 250963286.4928 | 0.11342 | 1961722640.9928
8 | 0.18027 | 51437 | 95 | 149490 | 311 | 2212685927.4856 | 251794497.6068 | 0.1138 | 1960891429.8788
9 | 0.1803 | 51482 | 45 | 149614 | 124 | 2212685927.4856 | 252322010.7333 | 0.11403 | 1960363916.7523
10 | 0.18031 | 51513 | 31 | 149706 | 92 | 2212685927.4856 | 252529286.0296 | 0.11413 | 1960156641.456
11 | 0.18031 | 51525 | 12 | 149740 | 34 | 2212685927.4856 | 252680839.5485 | 0.1142 | 1960005087.9371
12 | 0.18032 | 51532 | 7 | 149756 | 16 | 2212685927.4856 | 252736117.7179 | 0.11422 | 1959949809.7676
13 | 0.18032 | 51537 | 5 | 149766 | 10 | 2212685927.4856 | 252762003.3044 | 0.11423 | 1959923924.1812
14 | 0.18032 | 51540 | 3 | 149780 | 14 | 2212685927.4856 | 252777970.2864 | 0.11424 | 1959907957.1991
15 | 0.18032 | 51541 | 1 | 149782 | 2 | 2212685927.4856 | 252802532.3531 | 0.11425 | 1959883395.1324
16 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
17 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
18 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
19 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1071 | 1573 | 1782 | 3 | 4 | 0 | 1 | 0 | 0 | 0 | 6 | 40 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 4483 | 8966 | 15977933.7853
2kW_SE | 1125 | 1560 | 1749 | 2 | 3 | 0 | 1 | 0 | 0 | 0 | 6 | 36 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4483 | 8966 | 15400003.2184
2kW_SW | 1153 | 1655 | 1742 | 1 | 6 | 0 | 0 | 0 | 1 | 1 | 5 | 41 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4606 | 9212 | 15711920.1965
2kW_W | 1072 | 1640 | 1772 | 5 | 6 | 0 | 0 | 0 | 1 | 2 | 2 | 29 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 4531 | 9062 | 13811411.0055
4kW_S | 29 | 680 | 918 | 2 | 2 | 0 | 0 | 2 | 0 | 1 | 9 | 56 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1701 | 6804 | 12125124.0353
4kW_SE | 31 | 669 | 979 | 0 | 3 | 0 | 0 | 0 | 3 | 3 | 17 | 42 | 2 | 0 | 1 | 1 | 0 | 1 | 2 | 1754 | 7016 | 12050682.7875
4kW_SW | 29 | 635 | 999 | 7 | 2 | 0 | 1 | 0 | 0 | 1 | 14 | 50 | 0 | 0 | 0 | 5 | 0 | 0 | 2 | 1745 | 6980 | 11905037.3671
4kW_W | 19 | 719 | 880 | 4 | 3 | 0 | 1 | 0 | 0 | 4 | 7 | 46 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1685 | 6740 | 10272446.4892
6kW_S | 0 | 14 | 54 | 3 | 1 | 1 | 1 | 1 | 0 | 16 | 13 | 18 | 2 | 0 | 0 | 10 | 7 | 2 | 7 | 150 | 900 | 1603852.3836
6kW_SE | 0 | 17 | 67 | 2 | 0 | 0 | 3 | 0 | 1 | 11 | 26 | 21 | 4 | 0 | 4 | 11 | 1 | 0 | 9 | 177 | 1062 | 1824091.3896
6kW_SW | 0 | 21 | 75 | 1 | 0 | 0 | 2 | 0 | 0 | 6 | 15 | 15 | 5 | 1 | 1 | 14 | 2 | 1 | 7 | 166 | 996 | 1698770.3752
6kW_W | 0 | 13 | 66 | 1 | 0 | 1 | 2 | 0 | 0 | 11 | 16 | 13 | 4 | 1 | 2 | 10 | 1 | 0 | 5 | 146 | 876 | 1335113.2241
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 3 | 0 | 1 | 0 | 4 | 3 | 1 | 1 | 3 | 25 | 625 | 1113786.3801
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5 | 2 | 0 | 0 | 0 | 1 | 3 | 1 | 1 | 3 | 17 | 425 | 724876.9159
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 2 | 0 | 0 | 1 | 1 | 5 | 0 | 2 | 14 | 30 | 2250 | 4009630.9642
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 4 | 4 | 0 | 0 | 1 | 7 | 9 | 5 | 3 | 7 | 44 | 3300 | 5628456.0467
Total Units | 4529 | 9196 | 11083 | 31 | 30 | 3 | 15 | 4 | 6 | 79 | 147 | 407 | 18 | 4 | 22 | 76 | 21 | 11 | 61 | 25743 | 0 | 0
Total Capacity | 9274 | 24058 | 30766 | 116 | 84 | 87 | 235 | 89 | 22 | 1331 | 1221 | 1470 | 123 | 162 | 775 | 1506 | 499 | 447 | 1915 | 0 | 74180 | 0
Total Supply | 15615921.9376 | 40427525.2712 | 51792273.2049 | 194680.0635 | 140812.3827 | 147756.416 | 398762.3126 | 152868.2705 | 37376.1923 | 2308998.1285 | 2088971.0368 | 2485042.7369 | 208645.5862 | 280951.9887 | 1333680.0106 | 2597843.8804 | 854624.0308 | 776747.0272 | 3349656.0868 | 0 | 0 | 125193136.5641

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1618 | 2390 | 2649 | 5 | 6 | 0 | 1 | 0 | 0 | 0 | 9 | 59 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 6740 | 13480 | 24022144.4821
2kW_SE | 1665 | 2335 | 2634 | 2 | 7 | 0 | 1 | 0 | 0 | 0 | 11 | 58 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6714 | 13428 | 23063935.2238
2kW_SW | 1723 | 2458 | 2628 | 5 | 9 | 0 | 0 | 0 | 1 | 1 | 8 | 63 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 6897 | 13794 | 23526946.0693
2kW_W | 1642 | 2493 | 2637 | 7 | 6 | 0 | 0 | 0 | 1 | 2 | 6 | 50 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 6846 | 13692 | 20868002.5918
4kW_S | 41 | 1014 | 1373 | 4 | 2 | 0 | 0 | 2 | 0 | 3 | 11 | 72 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 2525 | 10100 | 17998787.8831
4kW_SE | 39 | 1008 | 1502 | 0 | 5 | 0 | 0 | 0 | 3 | 4 | 27 | 64 | 3 | 0 | 1 | 1 | 0 | 1 | 2 | 2660 | 10640 | 18275265.8008
4kW_SW | 40 | 966 | 1498 | 7 | 5 | 0 | 2 | 0 | 0 | 2 | 17 | 74 | 1 | 0 | 1 | 6 | 0 | 0 | 4 | 2623 | 10492 | 17895079.091
4kW_W | 34 | 1034 | 1362 | 4 | 5 | 0 | 1 | 0 | 0 | 5 | 14 | 70 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 2533 | 10132 | 15442199.9746
6kW_S | 0 | 27 | 93 | 5 | 1 | 1 | 2 | 1 | 0 | 23 | 19 | 26 | 4 | 1 | 0 | 14 | 9 | 5 | 13 | 244 | 1464 | 2608933.2107
6kW_SE | 0 | 22 | 106 | 3 | 0 | 0 | 6 | 0 | 1 | 14 | 36 | 36 | 4 | 0 | 4 | 15 | 3 | 1 | 16 | 267 | 1602 | 2751595.486
6kW_SW | 0 | 29 | 104 | 2 | 0 | 1 | 3 | 0 | 0 | 13 | 22 | 20 | 6 | 4 | 2 | 23 | 2 | 1 | 12 | 244 | 1464 | 2496987.7804
6kW_W | 0 | 25 | 99 | 1 | 1 | 1 | 3 | 0 | 0 | 14 | 22 | 23 | 6 | 3 | 3 | 16 | 3 | 1 | 6 | 227 | 1362 | 2075826.7251
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 5 | 0 | 2 | 0 | 6 | 5 | 1 | 1 | 8 | 41 | 1025 | 1826609.6633
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 3 | 0 | 0 | 0 | 3 | 6 | 1 | 3 | 7 | 31 | 775 | 1321834.3761
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 2 | 0 | 0 | 3 | 2 | 9 | 1 | 3 | 20 | 47 | 3525 | 6281755.1772
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 1 | 0 | 9 | 7 | 0 | 0 | 2 | 9 | 13 | 8 | 4 | 11 | 68 | 5100 | 8698522.9813
Total Units | 6802 | 13801 | 16685 | 45 | 47 | 4 | 23 | 4 | 6 | 117 | 219 | 615 | 27 | 13 | 32 | 114 | 31 | 20 | 102 | 38707 | 0 | 0
Total Capacity | 13912 | 36058 | 46448 | 164 | 136 | 93 | 350 | 89 | 22 | 2146 | 1813 | 2210 | 190 | 423 | 1116 | 2377 | 835 | 677 | 3016 | 0 | 112075 | 0
Total Supply | 23409347.8126 | 60611589.3799 | 78178383.3054 | 277729.7672 | 227460.3136 | 157989.9724 | 594491.4592 | 152868.2705 | 37376.1923 | 3718267.2167 | 3094581.9602 | 3725381.6392 | 323925.523 | 735862.4161 | 1923756.3735 | 4105041.7855 | 1432321.8859 | 1175127.7453 | 5272923.4982 | 0 | 0 | 189154426.5166

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1887 | 2788 | 3061 | 6 | 9 | 0 | 1 | 0 | 0 | 0 | 9 | 71 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 7835 | 15670 | 27924851.9313
2kW_SE | 1922 | 2718 | 3080 | 2 | 9 | 0 | 1 | 0 | 0 | 0 | 13 | 65 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7811 | 15622 | 26832350.0198
2kW_SW | 2012 | 2850 | 3068 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 10 | 69 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8027 | 16054 | 27381585.6312
2kW_W | 1909 | 2888 | 3080 | 7 | 6 | 0 | 0 | 0 | 1 | 2 | 7 | 56 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 7958 | 15916 | 24257605.1162
4kW_S | 48 | 1195 | 1626 | 5 | 4 | 0 | 0 | 2 | 0 | 3 | 12 | 84 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 2982 | 11928 | 21256390.2842
4kW_SE | 49 | 1176 | 1750 | 1 | 5 | 0 | 0 | 0 | 3 | 4 | 29 | 75 | 3 | 0 | 1 | 1 | 0 | 1 | 2 | 3100 | 12400 | 21298242.0987
4kW_SW | 48 | 1143 | 1725 | 7 | 6 | 0 | 2 | 0 | 0 | 3 | 19 | 81 | 2 | 0 | 1 | 6 | 2 | 0 | 4 | 3049 | 12196 | 20801409.1302
4kW_W | 39 | 1233 | 1610 | 5 | 5 | 0 | 1 | 0 | 0 | 5 | 16 | 76 | 0 | 0 | 0 | 1 | 2 | 0 | 2 | 2995 | 11980 | 18258740.1989
6kW_S | 0 | 31 | 108 | 5 | 1 | 1 | 2 | 1 | 0 | 25 | 22 | 28 | 7 | 1 | 0 | 17 | 12 | 5 | 13 | 279 | 1674 | 2983165.4335
6kW_SE | 0 | 25 | 119 | 4 | 0 | 0 | 6 | 0 | 1 | 15 | 44 | 40 | 5 | 0 | 5 | 21 | 5 | 1 | 21 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 35 | 122 | 2 | 0 | 1 | 4 | 0 | 1 | 15 | 24 | 22 | 7 | 4 | 3 | 28 | 2 | 1 | 15 | 286 | 1716 | 2926797.1524
6kW_W | 0 | 28 | 113 | 3 | 1 | 1 | 3 | 0 | 0 | 18 | 24 | 29 | 6 | 3 | 3 | 21 | 4 | 2 | 6 | 265 | 1590 | 2423321.9479
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 14 | 5 | 0 | 2 | 0 | 6 | 5 | 2 | 1 | 9 | 45 | 1125 | 2004815.4841
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 4 | 0 | 0 | 1 | 3 | 7 | 2 | 3 | 7 | 36 | 900 | 1535033.4691
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 2 | 0 | 0 | 3 | 3 | 13 | 2 | 4 | 21 | 58 | 4350 | 7751953.1974
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 9 | 18 | 9 | 5 | 12 | 81 | 6075 | 10361475.9042
Total Units | 7914 | 16110 | 19462 | 52 | 56 | 5 | 25 | 4 | 7 | 133 | 249 | 696 | 33 | 15 | 35 | 143 | 44 | 23 | 113 | 45119 | 0 | 0
Total Capacity | 16196 | 42190 | 54194 | 196 | 160 | 118 | 431 | 89 | 28 | 2554 | 2116 | 2500 | 224 | 523 | 1203 | 3191 | 1083 | 833 | 3239 | 0 | 131068 | 0
Total Supply | 27254307.2425 | 70914718.1714 | 91204650.6111 | 329983.7478 | 269513.0856 | 202541.4276 | 732644.4713 | 152868.2705 | 47609.7487 | 4429899.2704 | 3609786.4478 | 4214343.8986 | 383364.0992 | 906421.6903 | 2077949.8965 | 5512697.8361 | 1862660.9911 | 1445846.1775 | 5661277.4492 | 0 | 0 | 221213084.5332

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2042 | 3004 | 3269 | 6 | 9 | 0 | 2 | 0 | 0 | 0 | 9 | 75 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8419 | 16838 | 30006295.9042
2kW_SE | 2057 | 2904 | 3284 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 13 | 70 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8342 | 16684 | 28656441.4115
2kW_SW | 2152 | 3045 | 3287 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 77 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8592 | 17184 | 29308905.4122
2kW_W | 2041 | 3092 | 3291 | 8 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 59 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8510 | 17020 | 25940213.5636
4kW_S | 54 | 1270 | 1750 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 89 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3194 | 12776 | 22767575.6431
4kW_SE | 53 | 1249 | 1870 | 1 | 5 | 0 | 1 | 0 | 3 | 5 | 30 | 82 | 3 | 0 | 1 | 1 | 0 | 1 | 3 | 3308 | 13232 | 22727285.4395
4kW_SW | 51 | 1232 | 1837 | 7 | 6 | 0 | 2 | 0 | 0 | 4 | 19 | 86 | 2 | 0 | 1 | 6 | 2 | 0 | 4 | 3259 | 13036 | 22234107.0369
4kW_W | 42 | 1320 | 1746 | 5 | 6 | 0 | 2 | 0 | 0 | 6 | 18 | 81 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3233 | 12932 | 19709685.163
6kW_S | 0 | 33 | 117 | 5 | 1 | 1 | 3 | 1 | 1 | 28 | 26 | 29 | 7 | 3 | 0 | 18 | 12 | 5 | 14 | 304 | 1824 | 3250474.1641
6kW_SE | 0 | 26 | 130 | 4 | 0 | 0 | 6 | 0 | 1 | 15 | 44 | 42 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 336 | 2016 | 3462681.9599
6kW_SW | 0 | 37 | 133 | 2 | 0 | 1 | 5 | 0 | 1 | 15 | 24 | 24 | 7 | 4 | 3 | 28 | 2 | 1 | 15 | 302 | 1812 | 3090534.0561
6kW_W | 0 | 31 | 116 | 3 | 1 | 1 | 4 | 0 | 0 | 20 | 24 | 31 | 6 | 3 | 3 | 21 | 4 | 2 | 6 | 276 | 1656 | 2523912.6702
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 11 | 49 | 1225 | 2183021.3049
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 4 | 0 | 0 | 1 | 3 | 7 | 3 | 3 | 8 | 39 | 975 | 1662952.9248
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 5 | 14 | 3 | 5 | 23 | 68 | 5100 | 9088496.8521
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 9 | 19 | 9 | 5 | 12 | 82 | 6150 | 10489395.3598
Total Units | 8492 | 17243 | 20830 | 53 | 58 | 5 | 33 | 4 | 8 | 145 | 258 | 745 | 35 | 19 | 38 | 151 | 47 | 24 | 125 | 48313 | 0 | 0
Total Capacity | 17384 | 45136 | 58050 | 198 | 166 | 118 | 488 | 89 | 34 | 2846 | 2156 | 2670 | 236 | 566 | 1359 | 3369 | 1185 | 908 | 3502 | 0 | 140460 | 0
Total Supply | 29259433.5199 | 75863855.7187 | 97688149.9103 | 333031.9515 | 279044.6933 | 202541.4276 | 830925.6006 | 152868.2705 | 58302.098 | 4943657.6344 | 3678078.4493 | 4500598.2081 | 403975.3014 | 982663.445 | 2355564.2285 | 5822211.0342 | 2042366.3606 | 1579500.5429 | 6125210.4708 | 0 | 0 | 237101978.8657

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2111 | 3089 | 3378 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 78 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8688 | 17376 | 30965043.2137
2kW_SE | 2110 | 3015 | 3386 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 13 | 74 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8612 | 17224 | 29583945.5089
2kW_SW | 2237 | 3144 | 3402 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 82 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8896 | 17792 | 30345905.7899
2kW_W | 2121 | 3203 | 3400 | 8 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8813 | 17626 | 26863819.2874
4kW_S | 54 | 1321 | 1808 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 92 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3306 | 13224 | 23565937.7195
4kW_SE | 54 | 1279 | 1935 | 1 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 88 | 3 | 0 | 1 | 1 | 0 | 1 | 3 | 3411 | 13644 | 23434936.7092
4kW_SW | 53 | 1271 | 1898 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 89 | 2 | 0 | 1 | 6 | 2 | 0 | 4 | 3366 | 13464 | 22964100.7321
4kW_W | 43 | 1366 | 1794 | 6 | 6 | 0 | 2 | 0 | 0 | 6 | 18 | 84 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3332 | 13328 | 20313229.4968
6kW_S | 0 | 33 | 123 | 5 | 1 | 1 | 3 | 1 | 1 | 29 | 28 | 31 | 7 | 3 | 0 | 19 | 12 | 5 | 15 | 317 | 1902 | 3389474.704
6kW_SE | 0 | 27 | 133 | 5 | 0 | 0 | 6 | 0 | 1 | 15 | 46 | 43 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 344 | 2064 | 3545126.7684
6kW_SW | 0 | 37 | 138 | 2 | 0 | 1 | 6 | 0 | 1 | 16 | 25 | 24 | 7 | 4 | 3 | 28 | 2 | 1 | 15 | 310 | 1860 | 3172402.5079
6kW_W | 0 | 31 | 118 | 3 | 1 | 1 | 4 | 1 | 0 | 22 | 25 | 31 | 6 | 3 | 4 | 21 | 4 | 2 | 8 | 285 | 1710 | 2606214.1703
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 11 | 49 | 1225 | 2183021.3049
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 8 | 41 | 1025 | 1748232.562
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 5 | 16 | 4 | 5 | 23 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 9 | 19 | 9 | 5 | 13 | 83 | 6225 | 10617314.8154
Total Units | 8783 | 17816 | 21513 | 55 | 59 | 5 | 34 | 5 | 8 | 151 | 268 | 778 | 35 | 19 | 39 | 155 | 48 | 24 | 129 | 49924 | 0 | 0
Total Capacity | 17974 | 46618 | 59944 | 208 | 168 | 118 | 494 | 95 | 34 | 2899 | 2204 | 2778 | 236 | 566 | 1365 | 3550 | 1260 | 908 | 3595 | 0 | 145014 | 0
Total Supply | 30247841.7803 | 78350635.5284 | 100884903.202 | 349433.96 | 282608.8097 | 202541.4276 | 841159.1571 | 162012.8816 | 58302.098 | 5032334.9519 | 3760273.522 | 4684285.6343 | 403975.3014 | 982663.445 | 2364708.8396 | 6142851.933 | 2176020.7261 | 1579500.5429 | 6282111.4978 | 0 | 0 | 244788165.239

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2130 | 3134 | 3422 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 78 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8796 | 17592 | 31349967.784
2kW_SE | 2146 | 3058 | 3425 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 13 | 75 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8731 | 17462 | 29992734.3519
2kW_SW | 2268 | 3193 | 3467 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 82 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9041 | 18082 | 30840527.6806
2kW_W | 2161 | 3277 | 3445 | 9 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8973 | 17946 | 27351531.8809
4kW_S | 56 | 1339 | 1831 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 92 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3349 | 13396 | 23872451.7309
4kW_SE | 55 | 1298 | 1963 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 89 | 3 | 0 | 1 | 1 | 0 | 1 | 4 | 3462 | 13848 | 23785327.1438
4kW_SW | 55 | 1295 | 1929 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3425 | 13700 | 23366620.6202
4kW_W | 43 | 1388 | 1829 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 18 | 85 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3391 | 13564 | 20672917.5341
6kW_S | 0 | 34 | 125 | 5 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 32 | 8 | 3 | 0 | 19 | 13 | 5 | 15 | 325 | 1950 | 3475013.4978
6kW_SE | 0 | 27 | 134 | 5 | 0 | 0 | 6 | 0 | 1 | 15 | 47 | 44 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 347 | 2082 | 3576043.5716
6kW_SW | 0 | 38 | 138 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 315 | 1890 | 3223570.2903
6kW_W | 0 | 33 | 120 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 3 | 4 | 21 | 4 | 2 | 10 | 293 | 1758 | 2679371.0593
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 5 | 24 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 9 | 5 | 14 | 85 | 6375 | 10873153.7266
Total Units | 8914 | 18114 | 21828 | 57 | 59 | 6 | 34 | 5 | 8 | 155 | 271 | 784 | 37 | 19 | 41 | 157 | 49 | 24 | 136 | 50698 | 0 | 0
Total Capacity | 18246 | 47396 | 60828 | 214 | 168 | 124 | 494 | 95 | 34 | 2921 | 2222 | 2804 | 248 | 566 | 1515 | 3560 | 1266 | 908 | 3811 | 0 | 147420 | 0
Total Supply | 30701673.7105 | 79647368.3416 | 102365761.2143 | 359352.5644 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5069590.8215 | 3790416.0834 | 4728507.9641 | 424901.2071 | 982663.445 | 2626282.6607 | 6159907.8604 | 2186713.0753 | 1579500.5429 | 6656036.2156 | 0 | 0 | 248834444.6921

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2145 | 3164 | 3445 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 78 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8864 | 17728 | 31592327.6987
2kW_SE | 2164 | 3093 | 3459 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8820 | 17640 | 30298467.184
2kW_SW | 2288 | 3218 | 3495 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 83 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9115 | 18230 | 31092955.4041
2kW_W | 2184 | 3308 | 3478 | 9 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9060 | 18120 | 27616725.6035
4kW_S | 57 | 1346 | 1846 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3373 | 13492 | 24043529.3187
4kW_SE | 55 | 1314 | 1981 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 89 | 3 | 0 | 1 | 1 | 0 | 1 | 4 | 3496 | 13984 | 24018920.7668
4kW_SW | 55 | 1308 | 1947 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3456 | 13824 | 23578114.1207
4kW_W | 43 | 1402 | 1846 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 19 | 86 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3424 | 13696 | 20874098.9787
6kW_S | 0 | 34 | 127 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 331 | 1986 | 3539167.5931
6kW_SE | 0 | 27 | 135 | 5 | 0 | 0 | 6 | 0 | 1 | 15 | 47 | 44 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 348 | 2088 | 3586349.1727
6kW_SW | 0 | 38 | 139 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 316 | 1896 | 3233803.8467
6kW_W | 0 | 33 | 123 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 3 | 4 | 21 | 4 | 2 | 10 | 296 | 1776 | 2706804.8927
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 9 | 5 | 14 | 85 | 6375 | 10873153.7266
Total Units | 8991 | 18285 | 22021 | 58 | 59 | 6 | 34 | 5 | 8 | 155 | 273 | 790 | 37 | 19 | 41 | 158 | 49 | 25 | 136 | 51150 | 0 | 0
Total Capacity | 18402 | 47838 | 61378 | 220 | 168 | 124 | 494 | 95 | 34 | 2921 | 2228 | 2828 | 248 | 566 | 1515 | 3566 | 1266 | 983 | 3811 | 0 | 148685 | 0
Total Supply | 30962429.6901 | 80388162.3645 | 103287026.6164 | 370044.9136 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5069590.8215 | 3799947.6912 | 4769963.6886 | 424901.2071 | 982663.445 | 2626282.6607 | 6170600.2097 | 2186713.0753 | 1713154.9084 | 6656036.2156 | 0 | 0 | 250963286.4927

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2157 | 3174 | 3454 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 78 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8895 | 17790 | 31702815.3068
2kW_SE | 2168 | 3110 | 3476 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8858 | 17716 | 30429004.7977
2kW_SW | 2298 | 3225 | 3511 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9149 | 18298 | 31208935.7095
2kW_W | 2191 | 3320 | 3494 | 9 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9096 | 18192 | 27726460.9371
4kW_S | 57 | 1354 | 1856 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3391 | 13564 | 24171837.5096
4kW_SE | 55 | 1321 | 1986 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 89 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3509 | 14036 | 24108235.9756
4kW_SW | 55 | 1310 | 1952 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3463 | 13852 | 23625870.7176
4kW_W | 43 | 1407 | 1854 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 19 | 86 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3437 | 13748 | 20953352.275
6kW_S | 0 | 34 | 128 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 332 | 1992 | 3549859.9424
6kW_SE | 0 | 27 | 135 | 5 | 0 | 0 | 6 | 0 | 1 | 15 | 47 | 44 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 348 | 2088 | 3586349.1727
6kW_SW | 0 | 38 | 139 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 316 | 1896 | 3233803.8467
6kW_W | 0 | 33 | 123 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 297 | 1782 | 2715949.5038
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 9 | 5 | 14 | 85 | 6375 | 10873153.7266
Total Units | 9024 | 18353 | 22108 | 58 | 59 | 6 | 34 | 5 | 8 | 155 | 273 | 792 | 37 | 20 | 41 | 158 | 50 | 25 | 136 | 51342 | 0 | 0
Total Capacity | 18468 | 48018 | 61612 | 220 | 168 | 124 | 494 | 95 | 34 | 2921 | 2228 | 2832 | 248 | 572 | 1515 | 3566 | 1270 | 983 | 3811 | 0 | 149179 | 0
Total Supply | 31074389.1687 | 80691904.1236 | 103680062.0917 | 370044.9136 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5069590.8215 | 3799947.6912 | 4776423.0777 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2193583.476 | 1713154.9084 | 6656036.2156 | 0 | 0 | 251794497.6068

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2162 | 3181 | 3457 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8912 | 17824 | 31763405.2855
2kW_SE | 2175 | 3116 | 3485 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8880 | 17760 | 30504579.2057
2kW_SW | 2305 | 3233 | 3516 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9169 | 18338 | 31277159.4186
2kW_W | 2193 | 3324 | 3499 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9108 | 18216 | 27763039.3816
4kW_S | 57 | 1356 | 1860 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3397 | 13588 | 24214606.9065
4kW_SE | 55 | 1321 | 1988 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 89 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3511 | 14044 | 24121976.7769
4kW_SW | 55 | 1313 | 1958 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3472 | 13888 | 23687272.0564
4kW_W | 43 | 1409 | 1855 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3442 | 13768 | 20983834.3121
6kW_S | 0 | 34 | 128 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 332 | 1992 | 3549859.9424
6kW_SE | 0 | 27 | 135 | 5 | 0 | 0 | 6 | 0 | 1 | 15 | 47 | 44 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 348 | 2088 | 3586349.1727
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 123 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 297 | 1782 | 2715949.5038
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9045 | 18385 | 22144 | 59 | 59 | 6 | 34 | 5 | 8 | 155 | 274 | 795 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51437 | 0 | 0
Total Capacity | 18510 | 48096 | 61714 | 222 | 168 | 124 | 494 | 95 | 34 | 2921 | 2232 | 2840 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149490 | 0
Total Supply | 31146230.8588 | 80823862.8324 | 103853486.1124 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5069590.8215 | 3806044.0986 | 4789647.7179 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252322010.7333

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2164 | 3186 | 3457 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8919 | 17838 | 31788354.1002
2kW_SE | 2178 | 3120 | 3489 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8891 | 17782 | 30542366.4097
2kW_SW | 2307 | 3235 | 3518 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9175 | 18350 | 31297626.5313
2kW_W | 2195 | 3326 | 3502 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9115 | 18230 | 27784376.8075
4kW_S | 57 | 1357 | 1860 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3398 | 13592 | 24221735.1394
4kW_SE | 55 | 1321 | 1991 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 89 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3514 | 14056 | 24142587.979
4kW_SW | 55 | 1313 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3475 | 13900 | 23707739.1694
4kW_W | 43 | 1411 | 1857 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3446 | 13784 | 21008219.9418
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 333 | 1998 | 3560552.2916
6kW_SE | 0 | 27 | 135 | 5 | 0 | 0 | 6 | 0 | 1 | 15 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 349 | 2094 | 3596654.7738
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9054 | 18401 | 22163 | 59 | 59 | 6 | 34 | 5 | 8 | 155 | 274 | 796 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51482 | 0 | 0
Total Capacity | 18528 | 48134 | 61776 | 222 | 168 | 124 | 494 | 95 | 34 | 2921 | 2232 | 2846 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149614 | 0
Total Supply | 31176583.471 | 80887664.0417 | 103956301.986 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5069590.8215 | 3806044.0986 | 4799953.319 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252529286.0295

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3188 | 3458 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8923 | 17846 | 31802610.5658
2kW_SE | 2178 | 3121 | 3490 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8893 | 17786 | 30549236.8104
2kW_SW | 2308 | 3237 | 3519 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9179 | 18358 | 31311271.2731
2kW_W | 2197 | 3329 | 3504 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9122 | 18244 | 27805714.2335
4kW_S | 57 | 1359 | 1860 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3400 | 13600 | 24235991.605
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 89 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3518 | 14072 | 24170069.5817
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1415 | 1859 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3452 | 13808 | 21044798.3862
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 333 | 1998 | 3560552.2916
6kW_SE | 0 | 27 | 135 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 350 | 2100 | 3606960.3749
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9058 | 18418 | 22172 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 274 | 796 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51513 | 0 | 0
Total Capacity | 18536 | 48186 | 61802 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2232 | 2846 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149706 | 0
Total Supply | 31189655.1802 | 80973399.7246 | 103998742.5118 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3806044.0986 | 4799953.319 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252680839.5485

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3188 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8924 | 17848 | 31806174.6822
2kW_SE | 2178 | 3121 | 3492 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8895 | 17790 | 30556107.2111
2kW_SW | 2308 | 3238 | 3519 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9180 | 18360 | 31314682.4585
2kW_W | 2198 | 3330 | 3505 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9125 | 18250 | 27814858.8446
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 333 | 1998 | 3560552.2916
6kW_SE | 0 | 27 | 135 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 350 | 2100 | 3606960.3749
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18421 | 22179 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 274 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51525 | 0 | 0
Total Capacity | 18538 | 48194 | 61822 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2232 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149740 | 0
Total Supply | 31192703.3839 | 80985955.5211 | 104031546.2803 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3806044.0986 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252736117.7179

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3188 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8924 | 17848 | 31806174.6822
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3239 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9182 | 18364 | 31321504.8294
2kW_W | 2198 | 3331 | 3506 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9127 | 18254 | 27820955.252
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 333 | 1998 | 3560552.2916
6kW_SE | 0 | 27 | 135 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 350 | 2100 | 3606960.3749
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18423 | 22184 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 274 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51532 | 0 | 0
Total Capacity | 18538 | 48198 | 61834 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2232 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149756 | 0
Total Supply | 31192703.3839 | 80992414.9103 | 104050972.4776 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3806044.0986 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252762003.3044

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3188 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8924 | 17848 | 31806174.6822
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3333 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9130 | 18260 | 27830099.8632
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 333 | 1998 | 3560552.2916
6kW_SE | 0 | 27 | 135 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 350 | 2100 | 3606960.3749
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18427 | 22185 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 274 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51537 | 0 | 0
Total Capacity | 18538 | 48206 | 61836 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2232 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149766 | 0
Total Supply | 31192703.3839 | 81005333.6886 | 104054020.6813 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3806044.0986 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252777970.2864

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3333 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9130 | 18260 | 27830099.8632
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18428 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51540 | 0 | 0
Total Capacity | 18538 | 48208 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149780 | 0
Total Supply | 31192703.3839 | 81008897.805 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252802532.3531

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568