## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25730 | 25730 | 74281 | 74281 | 2212685927.4856 | 0 | 0 | 2212685927.4856
1 | 0.17481 | 38583 | 12853 | 112466 | 38185 | 2212685927.4856 | 125416163.8075 | 0.056681 | 2087269763.678
2 | 0.17751 | 45047 | 6464 | 131028 | 18562 | 2212685927.4856 | 189893111.7932 | 0.08582 | 2022792815.6923
3 | 0.17888 | 48331 | 3284 | 140357 | 9329 | 2212685927.4856 | 221174489.6723 | 0.099957 | 1991511437.8133
4 | 0.17959 | 49932 | 1601 | 145309 | 4952 | 2212685927.4856 | 236896385.729 | 0.10706 | 1975789541.7565
5 | 0.17997 | 50740 | 808 | 147515 | 2206 | 2212685927.4856 | 245269200.2236 | 0.11085 | 1967416727.262
6 | 0.18014 | 51163 | 423 | 148668 | 1153 | 2212685927.4856 | 248977250.1348 | 0.11252 | 1963708677.3507
7 | 0.18023 | 51357 | 194 | 149192 | 524 | 2212685927.4856 | 250925303.1727 | 0.1134 | 1961760624.3129
8 | 0.18027 | 51444 | 87 | 149520 | 328 | 2212685927.4856 | 251803540.5879 | 0.1138 | 1960882386.8977
9 | 0.1803 | 51493 | 49 | 149646 | 126 | 2212685927.4856 | 252364674.4933 | 0.11405 | 1960321252.9922
10 | 0.18031 | 51514 | 21 | 149710 | 64 | 2212685927.4856 | 252577247.4315 | 0.11415 | 1960108680.054
11 | 0.18031 | 51527 | 13 | 149742 | 32 | 2212685927.4856 | 252683693.3833 | 0.1142 | 1960002234.1023
12 | 0.18032 | 51533 | 6 | 149758 | 16 | 2212685927.4856 | 252738029.195 | 0.11422 | 1959947898.2906
13 | 0.18032 | 51536 | 3 | 149768 | 10 | 2212685927.4856 | 252765204.439 | 0.11423 | 1959920723.0466
14 | 0.18032 | 51538 | 2 | 149774 | 6 | 2212685927.4856 | 252782203.2465 | 0.11424 | 1959903724.239
15 | 0.18032 | 51539 | 1 | 149776 | 2 | 2212685927.4856 | 252792508.8476 | 0.11425 | 1959893418.638
16 | 0.18032 | 51541 | 2 | 149782 | 6 | 2212685927.4856 | 252796072.964 | 0.11425 | 1959889854.5216
17 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
18 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287
19 | 0.18032 | 51541 | 0 | 149782 | 0 | 2212685927.4856 | 252805580.5568 | 0.11425 | 1959880346.9287

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1067 | 1610 | 1718 | 5 | 3 | 0 | 0 | 0 | 0 | 0 | 7 | 42 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 4454 | 8908 | 15874574.41
2kW_SE | 1076 | 1544 | 1736 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 11 | 39 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4412 | 8824 | 15156103.9927
2kW_SW | 1104 | 1607 | 1785 | 3 | 3 | 0 | 0 | 0 | 1 | 0 | 6 | 46 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4556 | 9112 | 15541360.9239
2kW_W | 1097 | 1645 | 1749 | 5 | 4 | 0 | 0 | 0 | 0 | 1 | 5 | 28 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 4536 | 9072 | 13826652.024
4kW_S | 29 | 685 | 975 | 4 | 2 | 0 | 1 | 1 | 0 | 1 | 7 | 44 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 1752 | 7008 | 12488663.9094
4kW_SE | 34 | 682 | 1011 | 1 | 2 | 0 | 1 | 0 | 3 | 4 | 16 | 46 | 2 | 0 | 1 | 1 | 0 | 0 | 2 | 1806 | 7224 | 12407943.6227
4kW_SW | 27 | 687 | 965 | 5 | 2 | 0 | 2 | 0 | 0 | 3 | 10 | 47 | 2 | 0 | 0 | 4 | 1 | 0 | 3 | 1758 | 7032 | 11993728.1899
4kW_W | 20 | 688 | 939 | 2 | 2 | 0 | 2 | 0 | 0 | 5 | 11 | 45 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 1717 | 6868 | 10467531.5264
6kW_S | 0 | 19 | 54 | 3 | 0 | 0 | 2 | 0 | 0 | 16 | 13 | 18 | 4 | 3 | 0 | 11 | 4 | 3 | 7 | 157 | 942 | 1678698.8282
6kW_SE | 0 | 14 | 79 | 2 | 0 | 0 | 4 | 0 | 1 | 8 | 20 | 21 | 4 | 1 | 1 | 10 | 3 | 1 | 9 | 178 | 1068 | 1834396.9906
6kW_SW | 0 | 17 | 70 | 0 | 0 | 1 | 2 | 0 | 1 | 8 | 9 | 13 | 5 | 2 | 1 | 15 | 2 | 0 | 8 | 154 | 924 | 1575967.6975
6kW_W | 0 | 14 | 52 | 2 | 0 | 1 | 2 | 1 | 0 | 5 | 17 | 12 | 2 | 2 | 3 | 9 | 3 | 1 | 3 | 129 | 774 | 1179654.835
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 3 | 0 | 1 | 1 | 3 | 2 | 0 | 0 | 7 | 26 | 650 | 1158337.8353
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 4 | 0 | 0 | 0 | 3 | 5 | 1 | 2 | 2 | 25 | 625 | 1065995.4646
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 3 | 4 | 6 | 3 | 3 | 14 | 37 | 2775 | 4945211.5225
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 5 | 5 | 0 | 0 | 2 | 4 | 5 | 3 | 1 | 6 | 33 | 2475 | 4221342.035
Total Units | 4454 | 9212 | 11133 | 34 | 21 | 2 | 18 | 3 | 6 | 75 | 145 | 401 | 21 | 14 | 21 | 74 | 22 | 11 | 63 | 25730 | 0 | 0
Total Capacity | 9128 | 24164 | 31066 | 120 | 58 | 12 | 184 | 85 | 26 | 1276 | 1213 | 1422 | 135 | 448 | 788 | 1308 | 555 | 380 | 1913 | 0 | 74281 | 0
Total Supply | 15355460.5273 | 40637424.8512 | 52294448.8316 | 202831.0314 | 97259.1453 | 19378.1676 | 311758.9024 | 144192.2996 | 44561.545 | 2209723.2942 | 2063690.6241 | 2402251.8587 | 232514.0372 | 782492.4468 | 1369840.7301 | 2263830.6264 | 962746.1011 | 665689.4491 | 3356069.3387 | 0 | 0 | 125416163.8076

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1628 | 2383 | 2588 | 5 | 8 | 0 | 2 | 0 | 0 | 0 | 9 | 61 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 6686 | 13372 | 23829682.1969
2kW_SE | 1629 | 2352 | 2656 | 2 | 8 | 0 | 0 | 0 | 0 | 0 | 12 | 57 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6717 | 13434 | 23074240.8248
2kW_SW | 1693 | 2413 | 2591 | 4 | 8 | 0 | 0 | 0 | 1 | 1 | 9 | 68 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 6789 | 13578 | 23158538.0404
2kW_W | 1638 | 2489 | 2636 | 7 | 5 | 0 | 0 | 0 | 0 | 1 | 5 | 45 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 6828 | 13656 | 20813134.9251
4kW_S | 41 | 1036 | 1424 | 4 | 3 | 0 | 1 | 1 | 0 | 3 | 10 | 69 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 2595 | 10380 | 18497764.1809
4kW_SE | 44 | 991 | 1473 | 1 | 3 | 0 | 1 | 0 | 3 | 4 | 25 | 73 | 2 | 0 | 1 | 1 | 1 | 0 | 3 | 2626 | 10504 | 18041672.1778
4kW_SW | 40 | 1003 | 1448 | 7 | 3 | 0 | 2 | 0 | 0 | 5 | 17 | 65 | 2 | 0 | 1 | 5 | 1 | 0 | 3 | 2602 | 10408 | 17751809.3004
4kW_W | 32 | 1055 | 1391 | 6 | 4 | 0 | 2 | 0 | 0 | 6 | 15 | 68 | 0 | 0 | 0 | 2 | 1 | 0 | 2 | 2584 | 10336 | 15753116.7526
6kW_S | 0 | 27 | 87 | 5 | 0 | 0 | 3 | 1 | 0 | 24 | 20 | 27 | 4 | 3 | 0 | 15 | 9 | 4 | 10 | 239 | 1434 | 2555471.4645
6kW_SE | 0 | 20 | 111 | 5 | 0 | 0 | 4 | 0 | 1 | 13 | 38 | 31 | 5 | 1 | 5 | 14 | 3 | 1 | 18 | 270 | 1620 | 2782512.2892
6kW_SW | 0 | 31 | 108 | 0 | 0 | 1 | 4 | 0 | 1 | 14 | 16 | 19 | 6 | 2 | 2 | 24 | 2 | 1 | 13 | 244 | 1464 | 2496987.7804
6kW_W | 0 | 22 | 88 | 2 | 1 | 1 | 3 | 1 | 0 | 13 | 21 | 20 | 5 | 4 | 4 | 11 | 3 | 1 | 5 | 205 | 1230 | 1874645.2804
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 5 | 0 | 2 | 1 | 5 | 4 | 0 | 1 | 11 | 41 | 1025 | 1826609.6633
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 6 | 2 | 3 | 5 | 35 | 875 | 1492393.6505
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 1 | 0 | 0 | 3 | 6 | 12 | 4 | 5 | 21 | 59 | 4425 | 7885607.5628
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 8 | 8 | 0 | 0 | 2 | 8 | 12 | 6 | 4 | 11 | 63 | 4725 | 8058925.7032
Total Units | 6745 | 13822 | 16601 | 48 | 43 | 3 | 25 | 4 | 6 | 121 | 215 | 603 | 27 | 17 | 36 | 110 | 34 | 20 | 103 | 38583 | 0 | 0
Total Capacity | 13804 | 36214 | 46250 | 180 | 116 | 87 | 287 | 91 | 26 | 2135 | 1808 | 2144 | 190 | 485 | 1328 | 2476 | 918 | 817 | 3110 | 0 | 112466 | 0
Total Supply | 23228952.5737 | 60872241.4812 | 77834977.4817 | 302670.4975 | 194518.2904 | 147297.6232 | 487110.6641 | 154884.6488 | 44561.545 | 3698706.7718 | 3081270.0257 | 3619241.2883 | 325038.4833 | 843421.4876 | 2305353.1367 | 4294141.1401 | 1589227.2062 | 1424873.7263 | 5444623.7216 | 0 | 0 | 189893111.7932

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1900 | 2771 | 3015 | 6 | 8 | 0 | 2 | 0 | 0 | 0 | 9 | 70 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 7783 | 15566 | 27739517.8789
2kW_SE | 1896 | 2755 | 3067 | 2 | 10 | 0 | 0 | 0 | 0 | 0 | 14 | 65 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7810 | 15620 | 26828914.8194
2kW_SW | 1998 | 2849 | 3036 | 4 | 9 | 0 | 0 | 0 | 1 | 1 | 11 | 78 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 7989 | 15978 | 27251960.584
2kW_W | 1932 | 2892 | 3081 | 9 | 5 | 0 | 0 | 0 | 1 | 1 | 8 | 53 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 7984 | 15968 | 24336858.4127
4kW_S | 51 | 1196 | 1642 | 5 | 3 | 0 | 1 | 1 | 0 | 3 | 12 | 80 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 2998 | 11992 | 21370442.0094
4kW_SE | 50 | 1167 | 1730 | 1 | 3 | 0 | 1 | 0 | 3 | 5 | 27 | 81 | 2 | 0 | 1 | 1 | 1 | 0 | 3 | 3076 | 12304 | 21133352.4825
4kW_SW | 49 | 1156 | 1699 | 7 | 4 | 0 | 2 | 0 | 0 | 5 | 19 | 75 | 2 | 0 | 1 | 6 | 1 | 0 | 3 | 3029 | 12116 | 20664961.7105
4kW_W | 36 | 1231 | 1641 | 6 | 4 | 0 | 2 | 0 | 0 | 6 | 17 | 77 | 0 | 0 | 0 | 2 | 1 | 0 | 3 | 3026 | 12104 | 18447728.8287
6kW_S | 0 | 33 | 113 | 6 | 1 | 1 | 3 | 1 | 1 | 27 | 24 | 30 | 6 | 3 | 0 | 17 | 11 | 5 | 12 | 294 | 1764 | 3143550.6719
6kW_SE | 0 | 24 | 122 | 5 | 0 | 0 | 5 | 0 | 1 | 14 | 42 | 35 | 6 | 1 | 5 | 19 | 5 | 1 | 23 | 308 | 1848 | 3174125.1299
6kW_SW | 0 | 35 | 124 | 2 | 0 | 1 | 6 | 0 | 1 | 15 | 20 | 21 | 6 | 2 | 2 | 26 | 2 | 1 | 13 | 277 | 1662 | 2834695.1441
6kW_W | 0 | 27 | 106 | 2 | 1 | 1 | 3 | 1 | 0 | 18 | 24 | 25 | 5 | 4 | 4 | 16 | 4 | 2 | 8 | 251 | 1506 | 2295297.3921
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 5 | 0 | 2 | 1 | 5 | 5 | 1 | 1 | 11 | 44 | 1100 | 1960264.0289
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 7 | 2 | 3 | 6 | 37 | 925 | 1577673.2876
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 1 | 0 | 0 | 3 | 6 | 15 | 4 | 6 | 22 | 66 | 4950 | 8821188.1212
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 8 | 0 | 0 | 2 | 10 | 14 | 8 | 4 | 13 | 75 | 5625 | 9593959.1705
Total Units | 7912 | 16136 | 19376 | 55 | 48 | 4 | 30 | 4 | 8 | 137 | 245 | 690 | 30 | 17 | 38 | 134 | 42 | 23 | 118 | 45047 | 0 | 0
Total Capacity | 16196 | 42248 | 54036 | 208 | 132 | 93 | 455 | 91 | 34 | 2524 | 1944 | 2450 | 208 | 485 | 1478 | 2995 | 1123 | 904 | 3424 | 0 | 131028 | 0
Total Supply | 27250465.8831 | 71013739.3564 | 90919018.0018 | 350618.7163 | 222314.5968 | 157989.9724 | 773722.2894 | 154884.6488 | 58302.098 | 4371615.5306 | 3310302.0927 | 4133252.1865 | 356728.7828 | 843421.4876 | 2561192.048 | 5194599.0832 | 1940758.0843 | 1578365.0521 | 5983199.7614 | 0 | 0 | 221174489.6723

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2041 | 2990 | 3242 | 6 | 9 | 0 | 2 | 0 | 0 | 0 | 10 | 77 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8380 | 16760 | 29867295.365
2kW_SE | 2032 | 2932 | 3284 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 72 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8348 | 16696 | 28677052.6136
2kW_SW | 2142 | 3069 | 3266 | 4 | 9 | 0 | 0 | 0 | 1 | 1 | 11 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8587 | 17174 | 29291849.4849
2kW_W | 2072 | 3126 | 3287 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 56 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8570 | 17140 | 26123105.7861
4kW_S | 56 | 1272 | 1743 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 86 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3188 | 12752 | 22724806.2461
4kW_SE | 53 | 1244 | 1860 | 1 | 5 | 0 | 1 | 0 | 3 | 5 | 30 | 85 | 2 | 0 | 1 | 1 | 1 | 1 | 3 | 3296 | 13184 | 22644840.6314
4kW_SW | 53 | 1241 | 1838 | 7 | 5 | 0 | 2 | 0 | 0 | 5 | 19 | 86 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3272 | 13088 | 22322797.8596
4kW_W | 40 | 1327 | 1757 | 6 | 5 | 0 | 2 | 0 | 0 | 6 | 19 | 83 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3252 | 13008 | 19825516.9038
6kW_S | 0 | 33 | 120 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 26 | 31 | 7 | 3 | 0 | 18 | 12 | 5 | 13 | 311 | 1866 | 3325320.6087
6kW_SE | 0 | 25 | 130 | 5 | 0 | 0 | 6 | 0 | 1 | 15 | 42 | 40 | 7 | 1 | 5 | 21 | 5 | 1 | 25 | 329 | 1974 | 3390542.7524
6kW_SW | 0 | 38 | 130 | 2 | 0 | 1 | 6 | 0 | 1 | 16 | 23 | 23 | 6 | 3 | 2 | 27 | 2 | 1 | 13 | 294 | 1764 | 3008665.6042
6kW_W | 0 | 30 | 113 | 3 | 1 | 1 | 4 | 1 | 0 | 19 | 25 | 27 | 5 | 4 | 4 | 18 | 4 | 2 | 10 | 271 | 1626 | 2478189.6146
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 13 | 5 | 0 | 2 | 1 | 6 | 5 | 1 | 1 | 11 | 46 | 1150 | 2049366.9393
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 7 | 2 | 3 | 6 | 37 | 925 | 1577673.2876
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 22 | 70 | 5250 | 9355805.583
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 8 | 0 | 0 | 2 | 10 | 16 | 10 | 4 | 14 | 80 | 6000 | 10233556.4486
Total Units | 8489 | 17327 | 20770 | 57 | 55 | 5 | 33 | 5 | 8 | 146 | 258 | 747 | 32 | 18 | 39 | 145 | 48 | 24 | 125 | 48331 | 0 | 0
Total Capacity | 17382 | 45326 | 57908 | 216 | 156 | 118 | 469 | 95 | 34 | 2712 | 2077 | 2658 | 220 | 491 | 1503 | 3262 | 1289 | 908 | 3533 | 0 | 140357 | 0
Total Supply | 29246080.2477 | 76170415.0736 | 97437314.8192 | 362811.5312 | 262714.7295 | 202541.4276 | 796607.7019 | 162012.8816 | 58302.098 | 4703733.2816 | 3541554.5704 | 4484477.786 | 377726.7331 | 853655.0441 | 2605743.5032 | 5654305.1773 | 2223619.3086 | 1585235.4528 | 6167534.3617 | 0 | 0 | 236896385.729

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2096 | 3093 | 3351 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 10 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8651 | 17302 | 30833170.9072
2kW_SE | 2104 | 3021 | 3392 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 75 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8620 | 17240 | 29611427.1118
2kW_SW | 2223 | 3157 | 3397 | 5 | 9 | 0 | 0 | 0 | 1 | 1 | 11 | 82 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 8889 | 17778 | 30322027.4917
2kW_W | 2131 | 3235 | 3392 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 61 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8848 | 17696 | 26970506.4172
4kW_S | 56 | 1311 | 1796 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 89 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3283 | 13132 | 23401988.3645
4kW_SE | 53 | 1289 | 1928 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 30 | 88 | 2 | 0 | 1 | 1 | 1 | 1 | 4 | 3414 | 13656 | 23455547.9113
4kW_SW | 54 | 1277 | 1901 | 7 | 5 | 0 | 2 | 0 | 0 | 5 | 20 | 89 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3376 | 13504 | 23032324.442
4kW_W | 43 | 1367 | 1815 | 6 | 5 | 0 | 2 | 0 | 0 | 7 | 19 | 84 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3355 | 13420 | 20453446.8673
6kW_S | 0 | 34 | 123 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 33 | 7 | 3 | 0 | 20 | 13 | 5 | 14 | 324 | 1944 | 3464321.1486
6kW_SE | 0 | 26 | 133 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 43 | 44 | 7 | 1 | 6 | 22 | 5 | 1 | 25 | 341 | 2046 | 3514209.9652
6kW_SW | 0 | 38 | 136 | 2 | 0 | 1 | 6 | 0 | 1 | 17 | 24 | 24 | 7 | 3 | 2 | 27 | 2 | 1 | 13 | 304 | 1824 | 3111001.169
6kW_W | 0 | 33 | 116 | 3 | 1 | 2 | 4 | 1 | 0 | 19 | 26 | 27 | 6 | 4 | 4 | 20 | 4 | 2 | 10 | 282 | 1692 | 2578780.337
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 13 | 5 | 0 | 2 | 1 | 6 | 5 | 1 | 1 | 11 | 47 | 1175 | 2093918.3945
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 6 | 39 | 975 | 1662952.9248
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 2 | 10 | 19 | 10 | 5 | 14 | 85 | 6375 | 10873153.7266
Total Units | 8760 | 17881 | 21480 | 59 | 56 | 6 | 34 | 5 | 8 | 151 | 266 | 776 | 34 | 18 | 40 | 154 | 50 | 25 | 129 | 49932 | 0 | 0
Total Capacity | 17932 | 46774 | 59872 | 222 | 158 | 124 | 494 | 95 | 34 | 2878 | 2192 | 2764 | 232 | 491 | 1509 | 3542 | 1320 | 983 | 3693 | 0 | 145309 | 0
Total Supply | 30170702.709 | 78600752.9645 | 100743945.4394 | 373093.1173 | 266278.8459 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 4997677.5775 | 3738057.2133 | 4665528.0203 | 397104.9007 | 853655.0441 | 2616049.1042 | 6130682.8845 | 2276951.4764 | 1713154.9084 | 6452405.8425 | 0 | 0 | 245269200.2236

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2125 | 3131 | 3400 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8768 | 17536 | 31250172.5251
2kW_SE | 2136 | 3076 | 3445 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8761 | 17522 | 30095790.3627
2kW_SW | 2271 | 3206 | 3456 | 5 | 9 | 0 | 0 | 0 | 1 | 1 | 11 | 83 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9046 | 18092 | 30857583.6078
2kW_W | 2172 | 3288 | 3461 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9012 | 18024 | 27470411.8255
4kW_S | 57 | 1336 | 1831 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 89 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3344 | 13376 | 23836810.5668
4kW_SE | 55 | 1300 | 1958 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 30 | 89 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3459 | 13836 | 23764715.9417
4kW_SW | 54 | 1297 | 1922 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 89 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3418 | 13672 | 23318864.0233
4kW_W | 43 | 1396 | 1837 | 6 | 5 | 0 | 2 | 0 | 0 | 7 | 20 | 85 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3408 | 13632 | 20776556.4601
6kW_S | 0 | 34 | 126 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 330 | 1980 | 3528475.2439
6kW_SE | 0 | 26 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 44 | 44 | 7 | 1 | 6 | 22 | 5 | 1 | 25 | 345 | 2070 | 3555432.3695
6kW_SW | 0 | 38 | 139 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 24 | 24 | 8 | 3 | 3 | 28 | 2 | 1 | 15 | 313 | 1878 | 3203103.1773
6kW_W | 0 | 33 | 120 | 3 | 1 | 2 | 4 | 1 | 0 | 20 | 26 | 27 | 6 | 4 | 4 | 20 | 4 | 2 | 10 | 287 | 1722 | 2624503.3926
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 13 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 49 | 1225 | 2183021.3049
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 8 | 41 | 1025 | 1748232.562
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 2 | 10 | 19 | 10 | 5 | 14 | 85 | 6375 | 10873153.7266
Total Units | 8913 | 18161 | 21831 | 59 | 57 | 6 | 34 | 5 | 8 | 153 | 269 | 782 | 37 | 18 | 41 | 155 | 51 | 25 | 135 | 50740 | 0 | 0
Total Capacity | 18244 | 47504 | 60842 | 222 | 162 | 124 | 494 | 95 | 34 | 2890 | 2204 | 2784 | 248 | 491 | 1515 | 3548 | 1345 | 983 | 3786 | 0 | 147515 | 0
Total Supply | 30693570.7839 | 79820851.7537 | 102375502.6472 | 373093.1173 | 273101.2169 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5017055.7451 | 3758023.3382 | 4699081.7672 | 424901.2071 | 853655.0441 | 2626282.6607 | 6140916.441 | 2321502.9316 | 1713154.9084 | 6613396.397 | 0 | 0 | 248977250.1348

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2147 | 3158 | 3432 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8849 | 17698 | 31538865.9528
2kW_SE | 2160 | 3104 | 3473 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8841 | 17682 | 30370606.3916
2kW_SW | 2292 | 3224 | 3495 | 5 | 9 | 0 | 0 | 0 | 1 | 1 | 11 | 83 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9124 | 18248 | 31123656.0732
2kW_W | 2188 | 3307 | 3481 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9067 | 18134 | 27638063.0295
4kW_S | 57 | 1352 | 1849 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 91 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3380 | 13520 | 24093426.9485
4kW_SE | 55 | 1310 | 1979 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3492 | 13968 | 23991439.1641
4kW_SW | 54 | 1302 | 1935 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3437 | 13748 | 23448489.072
4kW_W | 43 | 1407 | 1850 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 86 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3434 | 13736 | 20935063.0528
6kW_S | 0 | 34 | 128 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 29 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 332 | 1992 | 3549859.9424
6kW_SE | 0 | 26 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 45 | 45 | 7 | 1 | 6 | 22 | 5 | 1 | 25 | 347 | 2082 | 3576043.5716
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 24 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 316 | 1896 | 3233803.8467
6kW_W | 0 | 33 | 122 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 29 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 294 | 1764 | 2688515.6705
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 13 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 49 | 1225 | 2183021.3049
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 2 | 10 | 19 | 10 | 5 | 14 | 85 | 6375 | 10873153.7266
Total Units | 8996 | 18295 | 22020 | 59 | 58 | 6 | 34 | 5 | 8 | 155 | 271 | 790 | 37 | 19 | 41 | 157 | 51 | 25 | 136 | 51163 | 0 | 0
Total Capacity | 18410 | 47856 | 61370 | 222 | 166 | 124 | 494 | 95 | 34 | 2902 | 2214 | 2822 | 248 | 497 | 1515 | 3560 | 1345 | 983 | 3811 | 0 | 148668 | 0
Total Supply | 30974832.3071 | 80416513.7834 | 103270178.49 | 373093.1173 | 279197.6243 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5035344.9674 | 3775199.3399 | 4761722.2352 | 424901.2071 | 863888.6006 | 2626282.6607 | 6160294.6086 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 250925303.1727

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2155 | 3175 | 3445 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8887 | 17774 | 31674302.3757
2kW_SE | 2166 | 3115 | 3483 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8868 | 17736 | 30463356.8013
2kW_SW | 2300 | 3236 | 3510 | 5 | 9 | 0 | 0 | 0 | 1 | 1 | 11 | 83 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9159 | 18318 | 31243047.564
2kW_W | 2195 | 3321 | 3494 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9101 | 18202 | 27741701.9556
4kW_S | 57 | 1353 | 1852 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 92 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3385 | 13540 | 24129068.1126
4kW_SE | 55 | 1320 | 1986 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3509 | 14036 | 24108235.9756
4kW_SW | 55 | 1307 | 1946 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3454 | 13816 | 23564469.3787
4kW_W | 43 | 1413 | 1857 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 86 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3447 | 13788 | 21014316.3492
6kW_S | 0 | 34 | 128 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 333 | 1998 | 3560552.2916
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 24 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 316 | 1896 | 3233803.8467
6kW_W | 0 | 33 | 123 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 297 | 1782 | 2715949.5038
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 13 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 49 | 1225 | 2183021.3049
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 2 | 10 | 19 | 10 | 5 | 14 | 85 | 6375 | 10873153.7266
Total Units | 9026 | 18372 | 22100 | 59 | 58 | 6 | 34 | 5 | 8 | 155 | 274 | 793 | 37 | 19 | 41 | 158 | 51 | 25 | 136 | 51357 | 0 | 0
Total Capacity | 18472 | 48058 | 61590 | 222 | 166 | 124 | 494 | 95 | 34 | 2902 | 2232 | 2838 | 248 | 497 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149192 | 0
Total Supply | 31079405.7209 | 80755328.1835 | 103638001.4838 | 373093.1173 | 279197.6243 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5035344.9674 | 3806502.8913 | 4787139.6903 | 424901.2071 | 863888.6006 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 251803540.5879

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2159 | 3181 | 3454 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8906 | 17812 | 31742020.5872
2kW_SE | 2168 | 3120 | 3490 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8882 | 17764 | 30511449.6064
2kW_SW | 2302 | 3238 | 3516 | 5 | 9 | 0 | 0 | 0 | 1 | 1 | 11 | 83 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9169 | 18338 | 31277159.4186
2kW_W | 2198 | 3325 | 3501 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9115 | 18230 | 27784376.8075
4kW_S | 57 | 1357 | 1857 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3395 | 13580 | 24200350.4409
4kW_SE | 55 | 1322 | 1990 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3515 | 14060 | 24149458.3797
4kW_SW | 55 | 1310 | 1951 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3462 | 13848 | 23619048.3466
4kW_W | 43 | 1415 | 1858 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 86 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3450 | 13800 | 21032605.5714
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 24 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 316 | 1896 | 3233803.8467
6kW_W | 0 | 33 | 123 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 297 | 1782 | 2715949.5038
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9037 | 18400 | 22145 | 59 | 58 | 6 | 34 | 5 | 8 | 156 | 274 | 794 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51444 | 0 | 0
Total Capacity | 18494 | 48136 | 61714 | 222 | 166 | 124 | 494 | 95 | 34 | 2927 | 2232 | 2842 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149520 | 0
Total Supply | 31116499.5693 | 80887817.7298 | 103849952.8509 | 373093.1173 | 279197.6243 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3806502.8913 | 4794267.9231 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252364674.4933

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2163 | 3185 | 3456 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8916 | 17832 | 31777661.7511
2kW_SE | 2175 | 3121 | 3491 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8891 | 17782 | 30542366.4097
2kW_SW | 2305 | 3240 | 3517 | 5 | 9 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9176 | 18352 | 31301037.7167
2kW_W | 2198 | 3332 | 3503 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9124 | 18248 | 27811810.6409
4kW_S | 57 | 1357 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3399 | 13596 | 24228863.3722
4kW_SE | 55 | 1323 | 1992 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3518 | 14072 | 24170069.5817
4kW_SW | 55 | 1310 | 1955 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3466 | 13864 | 23646337.8305
4kW_W | 43 | 1416 | 1860 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 86 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3453 | 13812 | 21050894.7936
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 24 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 316 | 1896 | 3233803.8467
6kW_W | 0 | 33 | 123 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 297 | 1782 | 2715949.5038
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9051 | 18416 | 22163 | 59 | 58 | 6 | 34 | 5 | 8 | 156 | 274 | 795 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51493 | 0 | 0
Total Capacity | 18522 | 48172 | 61774 | 222 | 166 | 124 | 494 | 95 | 34 | 2927 | 2232 | 2844 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149646 | 0
Total Supply | 31165035.9937 | 80946636.0007 | 103951759.9084 | 373093.1173 | 279197.6243 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3806502.8913 | 4797679.1086 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252577247.4315

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2163 | 3187 | 3457 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8919 | 17838 | 31788354.1002
2kW_SE | 2177 | 3121 | 3493 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8895 | 17790 | 30556107.2111
2kW_SW | 2307 | 3240 | 3518 | 5 | 9 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9179 | 18358 | 31311271.2731
2kW_W | 2198 | 3332 | 3504 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9126 | 18252 | 27817907.0483
4kW_S | 57 | 1357 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3399 | 13596 | 24228863.3722
4kW_SE | 55 | 1323 | 1992 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3518 | 14072 | 24170069.5817
4kW_SW | 55 | 1312 | 1958 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3471 | 13884 | 23680449.6855
4kW_W | 43 | 1416 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9055 | 18420 | 22173 | 59 | 58 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51514 | 0 | 0
Total Capacity | 18530 | 48184 | 61806 | 222 | 166 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149710 | 0
Total Supply | 31178728.7653 | 80967408.9754 | 104004361.9461 | 373093.1173 | 279197.6243 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252683693.3832

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2163 | 3188 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8922 | 17844 | 31799046.4494
2kW_SE | 2177 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8896 | 17792 | 30559542.4115
2kW_SW | 2308 | 3241 | 3519 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9183 | 18366 | 31324916.0149
2kW_W | 2198 | 3333 | 3505 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9128 | 18256 | 27824003.4558
4kW_S | 57 | 1357 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3399 | 13596 | 24228863.3722
4kW_SE | 55 | 1323 | 1992 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3518 | 14072 | 24170069.5817
4kW_SW | 55 | 1312 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3474 | 13896 | 23700916.7984
4kW_W | 43 | 1416 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9056 | 18423 | 22181 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51527 | 0 | 0
Total Capacity | 18532 | 48190 | 61828 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149742 | 0
Total Supply | 31182139.9508 | 80977432.481 | 104041851.8814 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252738029.195

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2164 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8924 | 17848 | 31806174.6822
2kW_SE | 2177 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8896 | 17792 | 30559542.4115
2kW_SW | 2308 | 3241 | 3519 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9183 | 18366 | 31324916.0149
2kW_W | 2198 | 3334 | 3506 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9130 | 18260 | 27830099.8632
4kW_S | 57 | 1358 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3400 | 13600 | 24235991.605
4kW_SE | 55 | 1323 | 1992 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3518 | 14072 | 24170069.5817
4kW_SW | 55 | 1313 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3475 | 13900 | 23707739.1694
4kW_W | 43 | 1416 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9057 | 18427 | 22182 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51533 | 0 | 0
Total Capacity | 18534 | 48202 | 61830 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149758 | 0
Total Supply | 31185704.0672 | 80997995.4049 | 104044900.0851 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252765204.439

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2164 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8924 | 17848 | 31806174.6822
2kW_SE | 2177 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8896 | 17792 | 30559542.4115
2kW_SW | 2308 | 3241 | 3519 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9183 | 18366 | 31324916.0149
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1992 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3518 | 14072 | 24170069.5817
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9057 | 18429 | 22183 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51536 | 0 | 0
Total Capacity | 18534 | 48210 | 61832 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149768 | 0
Total Supply | 31185704.0672 | 81011946.0087 | 104047948.2888 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252782203.2465

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2164 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8924 | 17848 | 31806174.6822
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3519 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9183 | 18366 | 31324916.0149
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9058 | 18429 | 22184 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51538 | 0 | 0
Total Capacity | 18536 | 48210 | 61836 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149774 | 0
Total Supply | 31189139.2675 | 81011946.0087 | 104054818.6895 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252792508.8475

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3519 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9183 | 18366 | 31324916.0149
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1861 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3455 | 13820 | 21063087.6085
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22184 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51539 | 0 | 0
Total Capacity | 18538 | 48210 | 61836 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149776 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104054818.6895 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252796072.9639

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2165 | 3189 | 3459 | 6 | 10 | 0 | 2 | 0 | 0 | 0 | 11 | 80 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 8925 | 17850 | 31809738.7986
2kW_SE | 2178 | 3121 | 3494 | 2 | 10 | 0 | 1 | 0 | 0 | 0 | 14 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8897 | 17794 | 30562977.6118
2kW_SW | 2308 | 3241 | 3520 | 5 | 10 | 0 | 0 | 0 | 1 | 1 | 11 | 84 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 9184 | 18368 | 31328327.2004
2kW_W | 2198 | 3334 | 3507 | 10 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9131 | 18262 | 27833148.0669
4kW_S | 57 | 1359 | 1861 | 5 | 4 | 0 | 1 | 2 | 0 | 3 | 12 | 93 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 3401 | 13604 | 24243119.8378
4kW_SE | 55 | 1323 | 1993 | 2 | 5 | 0 | 1 | 0 | 3 | 5 | 31 | 90 | 3 | 0 | 1 | 1 | 1 | 1 | 4 | 3519 | 14076 | 24176939.9824
4kW_SW | 55 | 1314 | 1961 | 7 | 6 | 0 | 2 | 0 | 0 | 5 | 20 | 90 | 2 | 0 | 1 | 7 | 2 | 0 | 4 | 3476 | 13904 | 23714561.5404
4kW_W | 43 | 1416 | 1862 | 6 | 6 | 0 | 2 | 0 | 0 | 7 | 20 | 87 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 34 | 129 | 6 | 1 | 1 | 3 | 1 | 1 | 30 | 30 | 34 | 8 | 3 | 0 | 20 | 13 | 5 | 15 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 27 | 136 | 5 | 0 | 0 | 6 | 0 | 1 | 16 | 47 | 45 | 7 | 1 | 6 | 23 | 5 | 1 | 25 | 351 | 2106 | 3617265.9759
6kW_SW | 0 | 38 | 140 | 2 | 0 | 1 | 6 | 0 | 1 | 18 | 25 | 24 | 8 | 4 | 3 | 29 | 2 | 1 | 15 | 317 | 1902 | 3244037.4032
6kW_W | 0 | 33 | 124 | 3 | 1 | 2 | 4 | 1 | 0 | 22 | 26 | 31 | 6 | 4 | 4 | 21 | 4 | 2 | 10 | 298 | 1788 | 2725094.115
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 14 | 5 | 0 | 2 | 1 | 6 | 5 | 2 | 1 | 12 | 50 | 1250 | 2227572.7601
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 4 | 0 | 0 | 1 | 3 | 8 | 3 | 3 | 9 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 0 | 0 | 3 | 6 | 16 | 4 | 6 | 24 | 74 | 5550 | 9890423.0449
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 10 | 9 | 0 | 0 | 3 | 10 | 19 | 10 | 5 | 14 | 86 | 6450 | 11001073.1822
Total Units | 9059 | 18429 | 22186 | 59 | 59 | 6 | 34 | 5 | 8 | 156 | 275 | 797 | 37 | 20 | 41 | 158 | 51 | 25 | 136 | 51541 | 0 | 0
Total Capacity | 18538 | 48210 | 61842 | 222 | 168 | 124 | 494 | 95 | 34 | 2927 | 2238 | 2850 | 248 | 572 | 1515 | 3566 | 1345 | 983 | 3811 | 0 | 149782 | 0
Total Supply | 31192703.3839 | 81011946.0087 | 104064326.2823 | 373093.1173 | 282608.8097 | 211686.0388 | 841159.1571 | 162012.8816 | 58302.098 | 5079896.4226 | 3816736.4478 | 4806823.7197 | 424901.2071 | 991808.0562 | 2626282.6607 | 6170600.2097 | 2321502.9316 | 1713154.9084 | 6656036.2156 | 0 | 0 | 252805580.5568