## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25908 | 25908 | 75929 | 75929 | 2273079845.4226 | 0 | 0 | 2273079845.4226
1 | 0.17478 | 38645 | 12737 | 112546 | 36617 | 2273079845.4226 | 128143504.7989 | 0.056374 | 2144936340.6236
2 | 0.1773 | 45111 | 6466 | 131379 | 18833 | 2273079845.4226 | 189986326.8428 | 0.083581 | 2083093518.5797
3 | 0.17865 | 48314 | 3203 | 140547 | 9168 | 2273079845.4226 | 221800714.6209 | 0.097577 | 2051279130.8017
4 | 0.17932 | 49935 | 1621 | 144933 | 4386 | 2273079845.4226 | 237290681.1468 | 0.10439 | 2035789164.2758
5 | 0.17965 | 50705 | 770 | 147123 | 2190 | 2273079845.4226 | 244685341.4152 | 0.10764 | 2028394504.0074
6 | 0.17981 | 51119 | 414 | 148267 | 1144 | 2273079845.4226 | 248377650.3809 | 0.10927 | 2024702195.0417
7 | 0.1799 | 51327 | 208 | 148811 | 544 | 2273079845.4226 | 250306753.5447 | 0.11012 | 2022773091.8779
8 | 0.17994 | 51434 | 107 | 149089 | 278 | 2273079845.4226 | 251222590.8737 | 0.11052 | 2021857254.5489
9 | 0.17996 | 51494 | 60 | 149247 | 158 | 2273079845.4226 | 251691533.3918 | 0.11073 | 2021388312.0308
10 | 0.17997 | 51520 | 26 | 149311 | 64 | 2273079845.4226 | 251960172.6602 | 0.11085 | 2021119672.7624
11 | 0.17998 | 51527 | 7 | 149329 | 18 | 2273079845.4226 | 252066213.4346 | 0.11089 | 2021013631.988
12 | 0.17998 | 51533 | 6 | 149345 | 16 | 2273079845.4226 | 252096365.0862 | 0.11091 | 2020983480.3364
13 | 0.17998 | 51534 | 1 | 149349 | 4 | 2273079845.4226 | 252123855.5307 | 0.11092 | 2020955989.8919
14 | 0.17998 | 51537 | 3 | 149359 | 10 | 2273079845.4226 | 252130725.9314 | 0.11092 | 2020949119.4912
15 | 0.17998 | 51540 | 3 | 149365 | 6 | 2273079845.4226 | 252148240.6516 | 0.11093 | 2020931604.771
16 | 0.17998 | 51541 | 1 | 149367 | 2 | 2273079845.4226 | 252158498.2229 | 0.11093 | 2020921347.1997
17 | 0.17998 | 51541 | 0 | 149367 | 0 | 2273079845.4226 | 252161933.4232 | 0.11093 | 2020917911.9993
18 | 0.17998 | 51541 | 0 | 149367 | 0 | 2273079845.4226 | 252161933.4232 | 0.11093 | 2020917911.9993
19 | 0.17998 | 51541 | 0 | 149367 | 0 | 2273079845.4226 | 252161933.4232 | 0.11093 | 2020917911.9993

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1150 | 1626 | 1707 | 4 | 3 | 0 | 0 | 0 | 0 | 1 | 9 | 29 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4530 | 9060 | 16145447.2558
2kW_SE | 1153 | 1628 | 1777 | 4 | 6 | 0 | 0 | 0 | 0 | 0 | 1 | 31 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4601 | 9202 | 15805356.861
2kW_SW | 1107 | 1583 | 1730 | 2 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4460 | 8920 | 15213887.1204
2kW_W | 1089 | 1630 | 1719 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 3 | 38 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 4486 | 8972 | 13674241.8386
4kW_S | 32 | 696 | 946 | 3 | 4 | 0 | 0 | 0 | 0 | 1 | 8 | 50 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 1744 | 6976 | 12431638.0468
4kW_SE | 17 | 679 | 914 | 2 | 3 | 1 | 0 | 0 | 0 | 2 | 14 | 41 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1675 | 6700 | 11507921.134
4kW_SW | 23 | 684 | 999 | 8 | 1 | 0 | 0 | 0 | 0 | 2 | 12 | 49 | 1 | 0 | 0 | 4 | 1 | 0 | 3 | 1787 | 7148 | 12191576.9484
4kW_W | 34 | 709 | 1016 | 6 | 1 | 0 | 1 | 0 | 0 | 0 | 15 | 42 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1826 | 7304 | 11132039.9343
6kW_S | 0 | 19 | 68 | 2 | 0 | 0 | 3 | 1 | 0 | 12 | 16 | 21 | 1 | 1 | 0 | 13 | 0 | 2 | 9 | 168 | 1008 | 1796314.6696
6kW_SE | 0 | 13 | 69 | 0 | 0 | 3 | 4 | 1 | 1 | 12 | 17 | 18 | 2 | 0 | 3 | 12 | 6 | 1 | 10 | 172 | 1032 | 1772563.3842
6kW_SW | 0 | 12 | 63 | 3 | 0 | 1 | 3 | 0 | 0 | 16 | 20 | 11 | 4 | 2 | 2 | 6 | 1 | 0 | 5 | 149 | 894 | 1524799.9151
6kW_W | 0 | 17 | 82 | 0 | 0 | 1 | 3 | 0 | 0 | 7 | 20 | 15 | 2 | 2 | 1 | 10 | 7 | 2 | 4 | 173 | 1038 | 1582017.7245
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 1 | 2 | 5 | 1 | 4 | 5 | 24 | 600 | 1069234.9248
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 8 | 2 | 0 | 1 | 1 | 2 | 5 | 0 | 1 | 6 | 28 | 700 | 1193914.9204
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 7 | 1 | 0 | 2 | 7 | 5 | 3 | 3 | 2 | 8 | 40 | 3000 | 5346174.6189
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 4 | 2 | 0 | 2 | 1 | 6 | 8 | 4 | 6 | 10 | 45 | 3375 | 5756375.5023
Total Units | 4605 | 9296 | 11090 | 35 | 23 | 7 | 17 | 3 | 2 | 76 | 144 | 378 | 15 | 15 | 21 | 74 | 23 | 18 | 66 | 25908 | 0 | 0
Total Capacity | 9422 | 24372 | 31058 | 128 | 64 | 109 | 207 | 87 | 81 | 1406 | 1012 | 1380 | 383 | 680 | 961 | 1363 | 638 | 755 | 1823 | 0 | 75929 | 0
Total Supply | 15864288.6492 | 40986733.2889 | 52194602.1383 | 216236.1217 | 109313.4451 | 185084.8271 | 356464.3648 | 148917.4059 | 143959.9665 | 2443244.958 | 1716857.5168 | 2326473.2471 | 663136.8312 | 1200139.9721 | 1670699.6359 | 2347220.9919 | 1100094.1858 | 1305650.6257 | 3164386.6269 | 0 | 0 | 128143504.799

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1677 | 2398 | 2600 | 8 | 5 | 0 | 0 | 0 | 0 | 1 | 10 | 48 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 6749 | 13498 | 24054221.5296
2kW_SE | 1696 | 2442 | 2618 | 5 | 9 | 0 | 0 | 0 | 0 | 0 | 3 | 44 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 6819 | 13638 | 23424631.2617
2kW_SW | 1655 | 2381 | 2605 | 6 | 4 | 0 | 0 | 0 | 0 | 1 | 6 | 52 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 6712 | 13424 | 22895876.7605
2kW_W | 1647 | 2425 | 2604 | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 8 | 56 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 6752 | 13504 | 20581471.4432
4kW_S | 41 | 1009 | 1437 | 4 | 6 | 0 | 0 | 0 | 0 | 1 | 14 | 66 | 0 | 0 | 0 | 4 | 0 | 0 | 4 | 2586 | 10344 | 18433610.0855
4kW_SE | 31 | 1017 | 1379 | 3 | 4 | 1 | 0 | 0 | 0 | 3 | 22 | 62 | 0 | 0 | 0 | 3 | 1 | 0 | 2 | 2528 | 10112 | 17368372.9115
4kW_SW | 40 | 1021 | 1488 | 12 | 4 | 0 | 1 | 0 | 0 | 3 | 17 | 73 | 1 | 0 | 0 | 6 | 1 | 1 | 3 | 2671 | 10684 | 18222552.8983
4kW_W | 49 | 1035 | 1459 | 8 | 1 | 0 | 2 | 0 | 0 | 1 | 19 | 59 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 2637 | 10548 | 16076226.3454
6kW_S | 0 | 31 | 111 | 2 | 0 | 1 | 5 | 1 | 0 | 18 | 25 | 30 | 2 | 1 | 1 | 19 | 3 | 2 | 13 | 265 | 1590 | 2833472.5444
6kW_SE | 0 | 14 | 104 | 0 | 0 | 3 | 7 | 1 | 2 | 21 | 28 | 21 | 2 | 0 | 4 | 19 | 7 | 3 | 17 | 253 | 1518 | 2607317.071
6kW_SW | 0 | 26 | 97 | 4 | 0 | 2 | 3 | 0 | 0 | 21 | 27 | 28 | 5 | 2 | 3 | 15 | 1 | 0 | 7 | 241 | 1446 | 2466287.111
6kW_W | 0 | 24 | 116 | 0 | 0 | 1 | 5 | 1 | 1 | 14 | 25 | 21 | 4 | 3 | 1 | 10 | 7 | 2 | 5 | 240 | 1440 | 2194706.6698
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 4 | 0 | 0 | 1 | 2 | 8 | 2 | 5 | 6 | 36 | 900 | 1603852.3873
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 9 | 3 | 0 | 1 | 2 | 3 | 8 | 1 | 1 | 6 | 36 | 900 | 1535033.4691
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 10 | 2 | 0 | 3 | 7 | 7 | 7 | 4 | 4 | 13 | 59 | 4425 | 7885607.5628
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 8 | 4 | 0 | 2 | 1 | 6 | 12 | 5 | 6 | 15 | 61 | 4575 | 7803086.792
Total Units | 6836 | 13823 | 16618 | 55 | 39 | 9 | 26 | 4 | 5 | 118 | 217 | 560 | 20 | 17 | 28 | 118 | 33 | 24 | 95 | 38645 | 0 | 0
Total Capacity | 13994 | 36190 | 46474 | 188 | 108 | 121 | 257 | 93 | 118 | 2230 | 1597 | 2040 | 482 | 711 | 1156 | 2275 | 868 | 946 | 2698 | 0 | 112546 | 0
Total Supply | 23545885.2044 | 60865728.1788 | 78159680.4129 | 317383.4256 | 184308.2403 | 206010.7328 | 439973.8671 | 158062.017 | 207961.6339 | 3868605.2606 | 2719454.3229 | 3440221.2957 | 836006.3247 | 1251924.4018 | 2015443.8086 | 3933861.0173 | 1501547.5304 | 1644944.385 | 4689324.7829 | 0 | 0 | 189986326.8428

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1927 | 2791 | 3057 | 9 | 5 | 0 | 0 | 0 | 0 | 2 | 12 | 58 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 7864 | 15728 | 28028211.3067
2kW_SE | 1988 | 2818 | 3052 | 5 | 9 | 0 | 0 | 0 | 0 | 0 | 5 | 52 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 7931 | 15862 | 27244574.0631
2kW_SW | 1916 | 2794 | 3054 | 6 | 8 | 0 | 0 | 0 | 0 | 1 | 7 | 59 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 7847 | 15694 | 26767572.2497
2kW_W | 1923 | 2854 | 3007 | 3 | 7 | 0 | 0 | 0 | 0 | 0 | 9 | 58 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 7864 | 15728 | 23971073.9676
4kW_S | 57 | 1187 | 1697 | 5 | 6 | 0 | 0 | 0 | 0 | 1 | 17 | 80 | 2 | 0 | 0 | 4 | 0 | 0 | 4 | 3060 | 12240 | 21812392.4445
4kW_SE | 33 | 1196 | 1627 | 4 | 5 | 1 | 0 | 0 | 0 | 3 | 28 | 71 | 0 | 0 | 0 | 4 | 1 | 0 | 2 | 2975 | 11900 | 20439442.0141
4kW_SW | 47 | 1188 | 1729 | 13 | 4 | 0 | 1 | 0 | 0 | 3 | 19 | 84 | 1 | 0 | 0 | 8 | 1 | 1 | 4 | 3103 | 12412 | 21169817.1634
4kW_W | 56 | 1204 | 1703 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 26 | 69 | 0 | 0 | 0 | 7 | 0 | 0 | 1 | 3081 | 12324 | 18783031.2364
6kW_S | 0 | 34 | 131 | 2 | 0 | 1 | 5 | 2 | 0 | 23 | 30 | 33 | 2 | 2 | 2 | 20 | 4 | 2 | 14 | 307 | 1842 | 3282551.2118
6kW_SE | 0 | 17 | 119 | 0 | 0 | 3 | 8 | 1 | 2 | 22 | 33 | 26 | 3 | 0 | 5 | 22 | 7 | 4 | 20 | 292 | 1752 | 3009235.5127
6kW_SW | 0 | 28 | 114 | 4 | 0 | 2 | 6 | 1 | 0 | 25 | 31 | 31 | 5 | 2 | 5 | 18 | 1 | 0 | 11 | 284 | 1704 | 2906330.0395
6kW_W | 0 | 29 | 128 | 0 | 0 | 2 | 7 | 1 | 1 | 16 | 32 | 28 | 4 | 3 | 1 | 11 | 8 | 2 | 5 | 278 | 1668 | 2542201.8925
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 3 | 9 | 2 | 5 | 8 | 42 | 1050 | 1871161.1185
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 9 | 5 | 0 | 1 | 2 | 5 | 9 | 1 | 1 | 9 | 45 | 1125 | 1918791.8363
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 9 | 8 | 6 | 5 | 16 | 70 | 5250 | 9355805.583
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 4 | 0 | 2 | 1 | 6 | 14 | 6 | 7 | 16 | 68 | 5100 | 8698522.9813
Total Units | 7947 | 16140 | 19418 | 61 | 45 | 10 | 33 | 6 | 6 | 136 | 264 | 649 | 23 | 19 | 37 | 139 | 38 | 27 | 113 | 45111 | 0 | 0
Total Capacity | 16280 | 42262 | 54316 | 210 | 122 | 127 | 318 | 105 | 143 | 2558 | 1857 | 2378 | 496 | 792 | 1405 | 2628 | 1105 | 1102 | 3175 | 0 | 131379 | 0
Total Supply | 27389840.4101 | 71072000.2303 | 91380458.4361 | 353961.3613 | 207871.5865 | 215155.3439 | 541909.1785 | 178987.9227 | 252513.0891 | 4435301.3116 | 3154054.9344 | 4009275.789 | 860568.3914 | 1396271.1165 | 2454048.6951 | 4540464.8894 | 1916612.6773 | 1916823.8072 | 5524595.4504 | 0 | 0 | 221800714.6209

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2080 | 2987 | 3287 | 9 | 5 | 0 | 0 | 0 | 0 | 2 | 14 | 59 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 8446 | 16892 | 30102527.0468
2kW_SE | 2117 | 2995 | 3294 | 5 | 9 | 0 | 0 | 0 | 0 | 0 | 5 | 55 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 8482 | 16964 | 29137369.462
2kW_SW | 2041 | 3006 | 3276 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 7 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8410 | 16820 | 28688069.6597
2kW_W | 2055 | 3059 | 3219 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 10 | 66 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8423 | 16846 | 25675019.8409
4kW_S | 60 | 1274 | 1811 | 5 | 6 | 0 | 0 | 0 | 0 | 1 | 17 | 88 | 2 | 0 | 0 | 5 | 0 | 0 | 5 | 3274 | 13096 | 23337834.2691
4kW_SE | 36 | 1283 | 1756 | 4 | 5 | 1 | 0 | 0 | 0 | 4 | 31 | 75 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3203 | 12812 | 22005893.3684
4kW_SW | 53 | 1271 | 1843 | 13 | 5 | 0 | 2 | 0 | 0 | 4 | 20 | 88 | 1 | 0 | 0 | 8 | 1 | 1 | 4 | 3314 | 13256 | 22609337.441
4kW_W | 58 | 1287 | 1804 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 28 | 76 | 0 | 0 | 0 | 7 | 0 | 0 | 1 | 3276 | 13104 | 19971830.6817
6kW_S | 0 | 36 | 139 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 33 | 33 | 2 | 2 | 2 | 20 | 4 | 3 | 15 | 325 | 1950 | 3475013.4978
6kW_SE | 0 | 18 | 128 | 0 | 0 | 3 | 9 | 1 | 2 | 22 | 36 | 27 | 3 | 0 | 6 | 24 | 7 | 4 | 20 | 310 | 1860 | 3194736.332
6kW_SW | 0 | 29 | 127 | 4 | 0 | 2 | 8 | 1 | 0 | 28 | 34 | 33 | 5 | 2 | 5 | 20 | 1 | 0 | 12 | 311 | 1866 | 3182636.0643
6kW_W | 0 | 29 | 143 | 0 | 0 | 2 | 7 | 1 | 1 | 17 | 36 | 30 | 4 | 3 | 1 | 12 | 8 | 2 | 5 | 301 | 1806 | 2752527.9483
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 9 | 3 | 5 | 8 | 45 | 1125 | 2004815.4841
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 9 | 1 | 2 | 10 | 48 | 1200 | 2046711.2921
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 6 | 6 | 16 | 75 | 5625 | 10024077.4104
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 4 | 0 | 2 | 2 | 6 | 15 | 6 | 8 | 16 | 71 | 5325 | 9082281.3481
Total Units | 8500 | 17274 | 20827 | 62 | 47 | 11 | 37 | 6 | 6 | 145 | 286 | 692 | 23 | 20 | 41 | 150 | 39 | 31 | 117 | 48314 | 0 | 0
Total Capacity | 17414 | 45226 | 58230 | 212 | 128 | 133 | 340 | 105 | 143 | 2627 | 1965 | 2530 | 496 | 867 | 1536 | 2966 | 1130 | 1283 | 3216 | 0 | 140547 | 0
Total Supply | 29302175.0771 | 76058714.161 | 97975908.3251 | 357009.565 | 218105.1429 | 225847.6931 | 579504.2635 | 178987.9227 | 252513.0891 | 4552863.8809 | 3334130.7235 | 4261298.4299 | 860568.3914 | 1524190.5721 | 2687111.5721 | 5133569.0012 | 1961164.1325 | 2231729.7961 | 5595289.4076 | 0 | 0 | 237290681.1468

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2163 | 3095 | 3404 | 9 | 5 | 0 | 0 | 0 | 0 | 2 | 14 | 62 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 8757 | 17514 | 31210967.2447
2kW_SE | 2179 | 3117 | 3412 | 5 | 9 | 0 | 0 | 0 | 0 | 0 | 5 | 58 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 8787 | 17574 | 30185105.5721
2kW_SW | 2114 | 3091 | 3384 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8678 | 17356 | 29602267.3611
2kW_W | 2122 | 3158 | 3318 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 67 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8691 | 17382 | 26491938.4349
4kW_S | 60 | 1313 | 1884 | 5 | 6 | 0 | 1 | 0 | 0 | 2 | 17 | 90 | 2 | 0 | 0 | 5 | 0 | 0 | 5 | 3390 | 13560 | 24164709.2768
4kW_SE | 38 | 1314 | 1806 | 4 | 5 | 1 | 0 | 0 | 0 | 5 | 32 | 78 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3291 | 13164 | 22610488.628
4kW_SW | 55 | 1298 | 1914 | 14 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 92 | 1 | 0 | 0 | 8 | 1 | 1 | 4 | 3420 | 13680 | 23332508.7653
4kW_W | 61 | 1341 | 1869 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 28 | 78 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3401 | 13604 | 20733881.6082
6kW_S | 0 | 36 | 143 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 35 | 34 | 2 | 2 | 2 | 21 | 5 | 3 | 17 | 336 | 2016 | 3592629.3393
6kW_SE | 0 | 19 | 133 | 0 | 0 | 3 | 9 | 1 | 2 | 24 | 37 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 21 | 323 | 1938 | 3328709.1459
6kW_SW | 0 | 30 | 129 | 4 | 0 | 2 | 8 | 1 | 0 | 28 | 34 | 34 | 5 | 2 | 5 | 20 | 1 | 0 | 12 | 315 | 1890 | 3223570.2903
6kW_W | 0 | 30 | 144 | 0 | 0 | 2 | 7 | 1 | 1 | 17 | 37 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 305 | 1830 | 2789106.3928
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 9 | 3 | 5 | 8 | 45 | 1125 | 2004815.4841
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 9 | 1 | 2 | 10 | 48 | 1200 | 2046711.2921
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 6 | 15 | 6 | 8 | 16 | 72 | 5400 | 9210200.8037
Total Units | 8792 | 17842 | 21540 | 64 | 47 | 11 | 39 | 6 | 6 | 150 | 293 | 714 | 23 | 20 | 43 | 152 | 41 | 32 | 120 | 49935 | 0 | 0
Total Capacity | 18012 | 46676 | 60222 | 218 | 128 | 133 | 348 | 105 | 143 | 2649 | 2070 | 2608 | 496 | 867 | 1546 | 2978 | 1211 | 1289 | 3234 | 0 | 144933 | 0
Total Supply | 30309900.1121 | 78488533.3927 | 101336888.7597 | 366880.1397 | 218105.1429 | 225847.6931 | 593454.8673 | 178987.9227 | 252513.0891 | 4590521.9202 | 3513166.6759 | 4394337.2425 | 860568.3914 | 1524190.5721 | 2702352.5906 | 5154566.9515 | 2105510.8472 | 2242035.3971 | 5626979.7071 | 0 | 0 | 244685341.4152

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2192 | 3138 | 3460 | 9 | 5 | 0 | 0 | 0 | 0 | 2 | 14 | 62 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 8885 | 17770 | 31667174.1429
2kW_SE | 2214 | 3157 | 3460 | 5 | 10 | 0 | 0 | 0 | 0 | 0 | 5 | 58 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 8911 | 17822 | 30611070.4169
2kW_SW | 2145 | 3139 | 3445 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8818 | 17636 | 30079833.3246
2kW_W | 2156 | 3213 | 3365 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 68 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8828 | 17656 | 26909542.3431
4kW_S | 60 | 1340 | 1913 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 2 | 0 | 0 | 5 | 0 | 0 | 6 | 3452 | 13808 | 24606659.7119
4kW_SE | 38 | 1333 | 1837 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 32 | 82 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3346 | 13384 | 22988360.6652
4kW_SW | 55 | 1318 | 1938 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 94 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3468 | 13872 | 23659982.5725
4kW_W | 63 | 1365 | 1896 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 28 | 80 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3456 | 13824 | 21069184.0159
6kW_S | 0 | 37 | 144 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 21 | 5 | 3 | 17 | 339 | 2034 | 3624706.3869
6kW_SE | 0 | 19 | 136 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 21 | 328 | 1968 | 3380237.1513
6kW_SW | 0 | 31 | 131 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 36 | 5 | 2 | 5 | 21 | 1 | 0 | 12 | 323 | 1938 | 3305438.7421
6kW_W | 0 | 30 | 145 | 0 | 0 | 2 | 7 | 1 | 1 | 17 | 37 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 306 | 1836 | 2798251.0039
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 9 | 3 | 5 | 9 | 46 | 1150 | 2049366.9393
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 8923 | 18120 | 21870 | 66 | 49 | 11 | 40 | 6 | 6 | 151 | 297 | 728 | 23 | 20 | 44 | 155 | 41 | 33 | 122 | 50705 | 0 | 0
Total Capacity | 18278 | 47420 | 61132 | 228 | 134 | 133 | 352 | 105 | 143 | 2655 | 2092 | 2666 | 496 | 867 | 1621 | 3013 | 1211 | 1314 | 3263 | 0 | 147123 | 0
Total Supply | 30755069.9901 | 79737273.5201 | 102871978.7351 | 383936.0671 | 228410.744 | 225847.6931 | 600583.1001 | 178987.9227 | 252513.0891 | 4600827.5213 | 3551526.4155 | 4492556.4172 | 860568.3914 | 1524190.5721 | 2830272.0462 | 5214262.6975 | 2105510.8472 | 2284675.2157 | 5678659.3951 | 0 | 0 | 248377650.3809

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2213 | 3164 | 3487 | 9 | 5 | 0 | 0 | 0 | 0 | 2 | 14 | 64 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 8961 | 17922 | 31938046.9887
2kW_SE | 2233 | 3174 | 3494 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 8983 | 17966 | 30858404.8429
2kW_SW | 2161 | 3178 | 3463 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8891 | 17782 | 30328849.8626
2kW_W | 2172 | 3241 | 3390 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 68 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8897 | 17794 | 27119868.399
4kW_S | 60 | 1345 | 1926 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3472 | 13888 | 24749224.3684
4kW_SE | 38 | 1345 | 1854 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 32 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3376 | 13504 | 23194472.6856
4kW_SW | 55 | 1331 | 1954 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3498 | 13992 | 23864653.702
4kW_W | 63 | 1382 | 1908 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 28 | 80 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3485 | 13940 | 21245979.8308
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 21 | 5 | 3 | 17 | 342 | 2052 | 3656783.4346
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 21 | 329 | 1974 | 3390542.7524
6kW_SW | 0 | 31 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 12 | 330 | 1980 | 3377073.6374
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 37 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 308 | 1848 | 2816540.2262
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 8995 | 18277 | 22038 | 66 | 50 | 11 | 41 | 6 | 6 | 152 | 297 | 738 | 24 | 20 | 44 | 157 | 42 | 33 | 122 | 51119 | 0 | 0
Total Capacity | 18422 | 47828 | 61608 | 228 | 136 | 133 | 377 | 105 | 143 | 2661 | 2092 | 2710 | 500 | 867 | 1621 | 3044 | 1215 | 1314 | 3263 | 0 | 148267 | 0
Total Supply | 30998535.4678 | 80417140.61 | 103676152.6002 | 383936.0671 | 231845.9443 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3551526.4155 | 4567980.4044 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5269047.7092 | 2112639.0801 | 2284675.2157 | 5678659.3951 | 0 | 0 | 250306753.5447

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2222 | 3178 | 3499 | 9 | 5 | 0 | 0 | 0 | 0 | 2 | 14 | 65 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 8997 | 17994 | 32066355.1788
2kW_SE | 2246 | 3188 | 3503 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9019 | 18038 | 30982072.0559
2kW_SW | 2168 | 3198 | 3472 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8927 | 17854 | 30451652.5389
2kW_W | 2179 | 3256 | 3405 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 68 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8934 | 17868 | 27232651.9362
4kW_S | 60 | 1350 | 1935 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3486 | 13944 | 24849019.628
4kW_SE | 39 | 1352 | 1864 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 32 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3394 | 13576 | 23318139.8977
4kW_SW | 56 | 1337 | 1963 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3514 | 14056 | 23973811.6378
4kW_W | 63 | 1386 | 1916 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 81 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3499 | 13996 | 21331329.5346
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 21 | 5 | 3 | 17 | 342 | 2052 | 3656783.4346
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 31 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 12 | 330 | 1980 | 3377073.6374
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 37 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 308 | 1848 | 2816540.2262
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9033 | 18362 | 22119 | 66 | 50 | 11 | 41 | 6 | 6 | 152 | 298 | 740 | 24 | 20 | 44 | 157 | 42 | 33 | 123 | 51327 | 0 | 0
Total Capacity | 18502 | 48042 | 61842 | 228 | 136 | 133 | 377 | 105 | 143 | 2661 | 2096 | 2716 | 500 | 867 | 1621 | 3044 | 1215 | 1314 | 3269 | 0 | 148811 | 0
Total Supply | 31134178.6158 | 80778131.6337 | 104069293.2252 | 383936.0671 | 231845.9443 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3557622.8229 | 4577640.9282 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5269047.7092 | 2112639.0801 | 2284675.2157 | 5688964.9962 | 0 | 0 | 251222590.8736

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2228 | 3182 | 3507 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 65 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9016 | 18032 | 32134073.3903
2kW_SE | 2254 | 3195 | 3509 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9040 | 18080 | 31054211.2634
2kW_SW | 2177 | 3205 | 3480 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8951 | 17902 | 30533520.9898
2kW_W | 2181 | 3262 | 3410 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8948 | 17896 | 27275326.7881
4kW_S | 60 | 1353 | 1938 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3492 | 13968 | 24891789.0249
4kW_SE | 39 | 1356 | 1867 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 32 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3401 | 13604 | 23366232.7025
4kW_SW | 57 | 1339 | 1966 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3520 | 14080 | 24014745.8637
4kW_W | 63 | 1387 | 1922 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 81 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3506 | 14024 | 21374004.3865
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 21 | 5 | 3 | 18 | 343 | 2058 | 3667475.7838
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 31 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 331 | 1986 | 3387307.1939
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9059 | 18396 | 22161 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 299 | 741 | 24 | 20 | 44 | 157 | 42 | 33 | 125 | 51434 | 0 | 0
Total Capacity | 18556 | 48130 | 61956 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2102 | 2718 | 500 | 867 | 1621 | 3044 | 1215 | 1314 | 3281 | 0 | 149089 | 0
Total Supply | 31226664.3645 | 80927209.4728 | 104259989.3186 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3566767.434 | 4580689.1319 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5269047.7092 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 251691533.3918

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2231 | 3188 | 3514 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 65 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9032 | 18064 | 32191099.2525
2kW_SE | 2256 | 3201 | 3513 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9052 | 18104 | 31095433.6678
2kW_SW | 2180 | 3205 | 3482 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8956 | 17912 | 30550576.9171
2kW_W | 2183 | 3268 | 3412 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8958 | 17916 | 27305808.8252
4kW_S | 60 | 1356 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3497 | 13988 | 24927430.189
4kW_SE | 39 | 1358 | 1870 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 32 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3406 | 13624 | 23400584.7059
4kW_SW | 57 | 1339 | 1968 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3522 | 14088 | 24028390.6056
4kW_W | 63 | 1389 | 1922 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3509 | 14036 | 21392293.6087
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9069 | 18422 | 22183 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 299 | 742 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51494 | 0 | 0
Total Capacity | 18576 | 48200 | 62014 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2102 | 2722 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149247 | 0
Total Supply | 31260557.0782 | 81045046.4667 | 104360110.1227 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3566767.434 | 4586785.5393 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 251960172.6601

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2233 | 3189 | 3515 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9037 | 18074 | 32208919.8345
2kW_SE | 2257 | 3203 | 3513 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9055 | 18110 | 31105739.2689
2kW_SW | 2182 | 3207 | 3484 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8962 | 17924 | 30571044.0298
2kW_W | 2185 | 3269 | 3415 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8964 | 17928 | 27324098.0475
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3498 | 13992 | 24934558.4219
4kW_SE | 39 | 1358 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3408 | 13632 | 23414325.5072
4kW_SW | 57 | 1339 | 1968 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3522 | 14088 | 24028390.6056
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9077 | 18429 | 22192 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 743 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51520 | 0 | 0
Total Capacity | 18594 | 48216 | 62038 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2724 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149311 | 0
Total Supply | 31290135.6971 | 81072479.7912 | 104398704.4366 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4590349.6557 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252066213.4346

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2233 | 3189 | 3516 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9038 | 18076 | 32212483.9509
2kW_SE | 2258 | 3203 | 3513 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9056 | 18112 | 31109174.4692
2kW_SW | 2182 | 3208 | 3484 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8963 | 17926 | 30574455.2152
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3498 | 13992 | 24934558.4219
4kW_SE | 39 | 1358 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3408 | 13632 | 23414325.5072
4kW_SW | 57 | 1339 | 1970 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3524 | 14096 | 24042035.3476
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9078 | 18431 | 22196 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 743 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51527 | 0 | 0
Total Capacity | 18596 | 48220 | 62050 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2724 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149329 | 0
Total Supply | 31293570.8974 | 81078939.1804 | 104418961.4987 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4590349.6557 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252096365.0862

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3516 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9039 | 18078 | 32216048.0673
2kW_SE | 2258 | 3205 | 3513 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9058 | 18116 | 31116044.8699
2kW_SW | 2182 | 3208 | 3484 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8964 | 17928 | 30577866.4007
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3498 | 13992 | 24934558.4219
4kW_SE | 39 | 1358 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3408 | 13632 | 23414325.5072
4kW_SW | 57 | 1339 | 1972 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3526 | 14104 | 24055680.0896
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9079 | 18433 | 22198 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 744 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51533 | 0 | 0
Total Capacity | 18598 | 48224 | 62058 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2726 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149345 | 0
Total Supply | 31297135.0138 | 81085809.5811 | 104432606.2407 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4593760.8411 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252123855.5307

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3516 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9039 | 18078 | 32216048.0673
2kW_SE | 2258 | 3205 | 3513 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9058 | 18116 | 31116044.8699
2kW_SW | 2182 | 3208 | 3484 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8964 | 17928 | 30577866.4007
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3498 | 13992 | 24934558.4219
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1972 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3526 | 14104 | 24055680.0896
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9079 | 18434 | 22198 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 744 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51534 | 0 | 0
Total Capacity | 18598 | 48228 | 62058 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2726 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149349 | 0
Total Supply | 31297135.0138 | 81092679.9818 | 104432606.2407 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4593760.8411 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252130725.9314

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9040 | 18080 | 32219612.1837
2kW_SE | 2258 | 3205 | 3513 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9058 | 18116 | 31116044.8699
2kW_SW | 2182 | 3208 | 3484 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8964 | 17928 | 30577866.4007
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9079 | 18434 | 22200 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51537 | 0 | 0
Total Capacity | 18598 | 48228 | 62064 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149359 | 0
Total Supply | 31297135.0138 | 81092679.9818 | 104442992.7281 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252148240.6516

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9040 | 18080 | 32219612.1837
2kW_SE | 2258 | 3205 | 3514 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9059 | 18118 | 31119480.0703
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9080 | 18434 | 22202 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51540 | 0 | 0
Total Capacity | 18600 | 48228 | 62068 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149365 | 0
Total Supply | 31300546.1993 | 81092679.9818 | 104449839.1139 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252158498.2228

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9040 | 18080 | 32219612.1837
2kW_SE | 2258 | 3205 | 3515 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9060 | 18120 | 31122915.2707
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9080 | 18434 | 22203 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51541 | 0 | 0
Total Capacity | 18600 | 48228 | 62070 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149367 | 0
Total Supply | 31300546.1993 | 81092679.9818 | 104453274.3142 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252161933.4232

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9040 | 18080 | 32219612.1837
2kW_SE | 2258 | 3205 | 3515 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9060 | 18120 | 31122915.2707
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9080 | 18434 | 22203 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51541 | 0 | 0
Total Capacity | 18600 | 48228 | 62070 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149367 | 0
Total Supply | 31300546.1993 | 81092679.9818 | 104453274.3142 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252161933.4232

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9040 | 18080 | 32219612.1837
2kW_SE | 2258 | 3205 | 3515 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9060 | 18120 | 31122915.2707
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9080 | 18434 | 22203 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51541 | 0 | 0
Total Capacity | 18600 | 48228 | 62070 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149367 | 0
Total Supply | 31300546.1993 | 81092679.9818 | 104453274.3142 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252161933.4232

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9040 | 18080 | 32219612.1837
2kW_SE | 2258 | 3205 | 3515 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9060 | 18120 | 31122915.2707
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9080 | 18434 | 22203 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51541 | 0 | 0
Total Capacity | 18600 | 48228 | 62070 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149367 | 0
Total Supply | 31300546.1993 | 81092679.9818 | 104453274.3142 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252161933.4232