## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25645 | 25645 | 74504 | 74504 | 2273079845.4226 | 0 | 0 | 2273079845.4226
1 | 0.17469 | 38588 | 12943 | 111987 | 37483 | 2273079845.4226 | 125778819.8307 | 0.055334 | 2147301025.5919
2 | 0.17726 | 44871 | 6283 | 130645 | 18658 | 2273079845.4226 | 189038694.8924 | 0.083164 | 2084041150.5302
3 | 0.1786 | 48214 | 3343 | 140164 | 9519 | 2273079845.4226 | 220615869.8043 | 0.097056 | 2052463975.6182
4 | 0.1793 | 49870 | 1656 | 144635 | 4471 | 2273079845.4226 | 236668561.7707 | 0.10412 | 2036411283.6519
5 | 0.17963 | 50666 | 796 | 146820 | 2185 | 2273079845.4226 | 244185424.8753 | 0.10742 | 2028894420.5472
6 | 0.17979 | 51090 | 424 | 148085 | 1265 | 2273079845.4226 | 247865325.5526 | 0.10904 | 2025214519.87
7 | 0.17989 | 51317 | 227 | 148779 | 694 | 2273079845.4226 | 250004727.9411 | 0.10999 | 2023075117.4815
8 | 0.17994 | 51428 | 111 | 149061 | 282 | 2273079845.4226 | 251171770.6397 | 0.1105 | 2021908074.7829
9 | 0.17996 | 51492 | 64 | 149239 | 178 | 2273079845.4226 | 251645600.5456 | 0.11071 | 2021434244.877
10 | 0.17997 | 51518 | 26 | 149303 | 64 | 2273079845.4226 | 251947238.9571 | 0.11084 | 2021132606.4655
11 | 0.17998 | 51533 | 15 | 149347 | 44 | 2273079845.4226 | 252054521.6079 | 0.11089 | 2021025323.8147
12 | 0.17998 | 51539 | 6 | 149363 | 16 | 2273079845.4226 | 252127629.698 | 0.11092 | 2020952215.7246
13 | 0.17998 | 51540 | 1 | 149365 | 2 | 2273079845.4226 | 252154934.1065 | 0.11093 | 2020924911.3161
14 | 0.17998 | 51541 | 1 | 149367 | 2 | 2273079845.4226 | 252158369.3068 | 0.11093 | 2020921476.1157
15 | 0.17998 | 51541 | 0 | 149367 | 0 | 2273079845.4226 | 252161933.4232 | 0.11093 | 2020917911.9993
16 | 0.17998 | 51541 | 0 | 149367 | 0 | 2273079845.4226 | 252161933.4232 | 0.11093 | 2020917911.9993
17 | 0.17998 | 51541 | 0 | 149367 | 0 | 2273079845.4226 | 252161933.4232 | 0.11093 | 2020917911.9993
18 | 0.17998 | 51541 | 0 | 149367 | 0 | 2273079845.4226 | 252161933.4232 | 0.11093 | 2020917911.9993
19 | 0.17998 | 51541 | 0 | 149367 | 0 | 2273079845.4226 | 252161933.4232 | 0.11093 | 2020917911.9993

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1088 | 1587 | 1728 | 4 | 3 | 0 | 0 | 0 | 0 | 1 | 8 | 31 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 4452 | 8904 | 15867446.1772
2kW_SE | 1152 | 1536 | 1749 | 2 | 6 | 0 | 0 | 0 | 0 | 0 | 4 | 33 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4483 | 8966 | 15400003.2184
2kW_SW | 1095 | 1660 | 1706 | 5 | 5 | 0 | 0 | 0 | 0 | 1 | 3 | 38 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4514 | 9028 | 15398091.1348
2kW_W | 1057 | 1632 | 1702 | 3 | 4 | 0 | 0 | 0 | 0 | 1 | 6 | 37 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 4444 | 8888 | 13546217.2828
4kW_S | 26 | 682 | 961 | 2 | 4 | 0 | 1 | 0 | 0 | 0 | 9 | 37 | 0 | 0 | 0 | 2 | 1 | 0 | 2 | 1727 | 6908 | 12310458.0888
4kW_SE | 19 | 691 | 956 | 4 | 1 | 1 | 0 | 0 | 0 | 2 | 20 | 48 | 0 | 0 | 0 | 2 | 1 | 0 | 1 | 1746 | 6984 | 11995719.582
4kW_SW | 34 | 680 | 988 | 6 | 3 | 0 | 2 | 0 | 0 | 2 | 7 | 36 | 1 | 0 | 0 | 1 | 1 | 1 | 2 | 1764 | 7056 | 12034662.4158
4kW_W | 35 | 694 | 950 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 49 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 1751 | 7004 | 10674809.3784
6kW_S | 0 | 17 | 73 | 0 | 0 | 0 | 2 | 1 | 0 | 13 | 17 | 15 | 1 | 2 | 1 | 13 | 2 | 2 | 6 | 165 | 990 | 1764237.622
6kW_SE | 0 | 11 | 65 | 0 | 0 | 2 | 3 | 0 | 0 | 13 | 19 | 12 | 2 | 0 | 1 | 11 | 3 | 3 | 10 | 155 | 930 | 1597368.166
6kW_SW | 0 | 12 | 58 | 3 | 0 | 1 | 5 | 0 | 0 | 13 | 14 | 27 | 4 | 0 | 2 | 12 | 1 | 0 | 5 | 157 | 942 | 1606668.3669
6kW_W | 0 | 9 | 79 | 0 | 0 | 1 | 6 | 1 | 1 | 7 | 24 | 14 | 1 | 2 | 0 | 4 | 6 | 2 | 2 | 159 | 954 | 1453993.1687
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 4 | 3 | 0 | 0 | 0 | 3 | 7 | 0 | 4 | 4 | 27 | 675 | 1202889.2905
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 5 | 2 | 0 | 0 | 1 | 3 | 7 | 1 | 1 | 4 | 26 | 650 | 1108635.2832
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 2 | 0 | 2 | 3 | 1 | 6 | 6 | 5 | 9 | 39 | 2925 | 5212520.2534
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 7 | 7 | 6 | 2 | 10 | 36 | 2700 | 4605100.4019
Total Units | 4506 | 9211 | 11015 | 35 | 26 | 5 | 23 | 2 | 2 | 69 | 151 | 377 | 11 | 9 | 20 | 79 | 28 | 20 | 56 | 25645 | 0 | 0
Total Capacity | 9240 | 24112 | 30840 | 118 | 68 | 28 | 258 | 12 | 31 | 1048 | 957 | 1366 | 202 | 349 | 780 | 1605 | 1009 | 696 | 1785 | 0 | 74504 | 0
Total Supply | 15553515.381 | 40549213.1676 | 51891284.1354 | 197278.8128 | 116402.7384 | 46859.7704 | 442595.3834 | 19836.9603 | 53696.0663 | 1817211.6572 | 1625908.0619 | 2292494.002 | 355513.4903 | 611196.2913 | 1341789.9631 | 2786012.1386 | 1750306.4744 | 1222369.4729 | 3105335.8632 | 0 | 0 | 125778819.8307

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1667 | 2418 | 2613 | 6 | 5 | 0 | 0 | 0 | 0 | 1 | 10 | 53 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 6776 | 13552 | 24150452.6722
2kW_SE | 1694 | 2356 | 2647 | 4 | 9 | 0 | 0 | 0 | 0 | 0 | 5 | 47 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6763 | 13526 | 23232260.0414
2kW_SW | 1636 | 2416 | 2598 | 5 | 9 | 0 | 0 | 0 | 0 | 1 | 5 | 50 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 6722 | 13444 | 22929988.6151
2kW_W | 1630 | 2460 | 2553 | 3 | 6 | 0 | 0 | 0 | 0 | 1 | 10 | 51 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 6717 | 13434 | 20474784.3134
4kW_S | 42 | 1031 | 1459 | 4 | 5 | 0 | 2 | 0 | 0 | 1 | 14 | 67 | 1 | 0 | 0 | 4 | 1 | 0 | 3 | 2634 | 10536 | 18775765.2611
4kW_SE | 28 | 1016 | 1398 | 4 | 2 | 1 | 0 | 0 | 0 | 5 | 25 | 69 | 0 | 0 | 0 | 4 | 1 | 0 | 1 | 2554 | 10216 | 17547003.3291
4kW_SW | 47 | 988 | 1485 | 10 | 3 | 0 | 3 | 0 | 0 | 4 | 15 | 65 | 1 | 0 | 0 | 5 | 1 | 1 | 4 | 2632 | 10528 | 17956480.4299
4kW_W | 49 | 1030 | 1447 | 8 | 1 | 0 | 2 | 0 | 0 | 1 | 21 | 62 | 0 | 0 | 1 | 5 | 0 | 0 | 1 | 2628 | 10512 | 16021358.6787
6kW_S | 0 | 24 | 112 | 0 | 0 | 2 | 5 | 1 | 0 | 16 | 23 | 28 | 2 | 2 | 1 | 16 | 3 | 3 | 10 | 248 | 1488 | 2651702.6076
6kW_SE | 0 | 14 | 103 | 0 | 0 | 2 | 7 | 1 | 2 | 21 | 27 | 15 | 2 | 0 | 2 | 19 | 4 | 4 | 14 | 237 | 1422 | 2442427.4538
6kW_SW | 0 | 23 | 93 | 5 | 0 | 1 | 6 | 1 | 0 | 20 | 27 | 32 | 4 | 1 | 3 | 16 | 1 | 0 | 9 | 242 | 1452 | 2476520.6674
6kW_W | 0 | 20 | 116 | 0 | 0 | 2 | 7 | 1 | 1 | 13 | 32 | 21 | 2 | 2 | 1 | 11 | 7 | 2 | 4 | 242 | 1452 | 2212995.892
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 6 | 4 | 0 | 0 | 0 | 4 | 10 | 2 | 5 | 7 | 40 | 1000 | 1782058.2081
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 7 | 3 | 0 | 1 | 2 | 5 | 9 | 1 | 2 | 9 | 41 | 1025 | 1748232.562
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 6 | 2 | 0 | 2 | 3 | 4 | 9 | 6 | 6 | 14 | 54 | 4050 | 7217335.7355
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7 | 2 | 0 | 1 | 1 | 7 | 11 | 6 | 7 | 15 | 58 | 4350 | 7419328.4252
Total Units | 6793 | 13796 | 16624 | 49 | 40 | 9 | 36 | 4 | 5 | 110 | 225 | 560 | 16 | 11 | 29 | 124 | 33 | 30 | 94 | 38588 | 0 | 0
Total Capacity | 13918 | 36046 | 46522 | 170 | 102 | 121 | 328 | 24 | 118 | 1770 | 1489 | 2030 | 318 | 380 | 1098 | 2429 | 1077 | 1208 | 2839 | 0 | 111987 | 0
Total Supply | 23421015.2808 | 60619866.7797 | 78279485.3045 | 285483.3237 | 173672.7624 | 205308.5356 | 561416.4216 | 40376.1179 | 207961.6339 | 3059085.7607 | 2524652.2876 | 3422931.3022 | 553037.9577 | 664069.6664 | 1902267.9206 | 4208099.1024 | 1869551.9462 | 2103810.3404 | 4936602.4478 | 0 | 0 | 189038694.8924

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1948 | 2783 | 3074 | 9 | 5 | 0 | 0 | 0 | 0 | 1 | 11 | 57 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 7891 | 15782 | 28124442.4493
2kW_SE | 1976 | 2736 | 3099 | 4 | 10 | 0 | 0 | 0 | 0 | 0 | 5 | 53 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 7885 | 15770 | 27086554.8465
2kW_SW | 1881 | 2820 | 3007 | 5 | 9 | 0 | 0 | 0 | 0 | 1 | 7 | 53 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 7785 | 15570 | 26556078.7516
2kW_W | 1895 | 2858 | 2944 | 4 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 60 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 7782 | 15564 | 23721121.2634
4kW_S | 52 | 1198 | 1690 | 5 | 5 | 0 | 2 | 0 | 0 | 1 | 15 | 81 | 1 | 0 | 0 | 4 | 1 | 0 | 5 | 3060 | 12240 | 21812392.4445
4kW_SE | 34 | 1194 | 1636 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 28 | 74 | 0 | 0 | 0 | 4 | 1 | 0 | 2 | 2989 | 11956 | 20535627.6236
4kW_SW | 53 | 1176 | 1724 | 14 | 4 | 0 | 3 | 0 | 0 | 4 | 18 | 77 | 1 | 0 | 0 | 7 | 1 | 1 | 4 | 3087 | 12348 | 21060659.2276
4kW_W | 58 | 1179 | 1670 | 9 | 1 | 0 | 2 | 0 | 0 | 2 | 26 | 75 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3031 | 12124 | 18478210.8658
6kW_S | 0 | 31 | 131 | 2 | 0 | 2 | 5 | 2 | 0 | 19 | 32 | 31 | 2 | 2 | 2 | 19 | 3 | 3 | 13 | 299 | 1794 | 3197012.418
6kW_SE | 0 | 15 | 122 | 0 | 0 | 2 | 7 | 1 | 2 | 23 | 34 | 23 | 2 | 0 | 4 | 23 | 6 | 4 | 19 | 287 | 1722 | 2957707.5074
6kW_SW | 0 | 28 | 110 | 5 | 0 | 2 | 7 | 1 | 0 | 23 | 32 | 34 | 4 | 1 | 4 | 20 | 1 | 0 | 10 | 282 | 1692 | 2885862.9265
6kW_W | 0 | 25 | 127 | 0 | 0 | 2 | 7 | 1 | 1 | 14 | 35 | 24 | 3 | 3 | 1 | 12 | 7 | 2 | 4 | 268 | 1608 | 2450755.7812
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 7 | 4 | 0 | 0 | 0 | 4 | 10 | 2 | 5 | 8 | 43 | 1075 | 1915712.5737
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 8 | 4 | 0 | 1 | 2 | 5 | 9 | 1 | 3 | 10 | 45 | 1125 | 1918791.8363
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 9 | 2 | 0 | 2 | 6 | 8 | 11 | 7 | 6 | 15 | 68 | 5100 | 9088496.8521
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 9 | 4 | 0 | 2 | 2 | 7 | 15 | 6 | 7 | 16 | 69 | 5175 | 8826442.4369
Total Units | 7897 | 16043 | 19334 | 61 | 47 | 10 | 37 | 5 | 6 | 127 | 267 | 642 | 18 | 16 | 37 | 146 | 37 | 31 | 110 | 44871 | 0 | 0
Total Capacity | 16188 | 41976 | 54068 | 214 | 126 | 127 | 334 | 30 | 143 | 2253 | 1862 | 2346 | 399 | 686 | 1422 | 2967 | 1166 | 1233 | 3105 | 0 | 130645 | 0
Total Supply | 27243079.5326 | 70603808.9345 | 91007620.9247 | 361122.6992 | 214460.1401 | 215542.0921 | 571649.9781 | 51068.4671 | 252513.0891 | 3901708.9799 | 3159178.0558 | 3953158.1734 | 690102.0244 | 1202096.8295 | 2478422.4903 | 5136301.5016 | 2027252.7142 | 2146450.159 | 5400333.0185 | 0 | 0 | 220615869.8043

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2080 | 2991 | 3294 | 9 | 5 | 0 | 0 | 0 | 0 | 2 | 12 | 63 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 8459 | 16918 | 30148860.5599
2kW_SE | 2114 | 2961 | 3301 | 5 | 10 | 0 | 0 | 0 | 0 | 0 | 5 | 56 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 8454 | 16908 | 29041183.8519
2kW_SW | 2050 | 3006 | 3252 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 56 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8390 | 16780 | 28619845.9507
2kW_W | 2039 | 3049 | 3173 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8350 | 16700 | 25452500.9701
4kW_S | 54 | 1281 | 1821 | 5 | 6 | 0 | 2 | 0 | 0 | 1 | 18 | 89 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3292 | 13168 | 23466142.4599
4kW_SE | 36 | 1275 | 1752 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 29 | 80 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3196 | 12784 | 21957800.5637
4kW_SW | 56 | 1268 | 1855 | 14 | 5 | 0 | 3 | 0 | 0 | 4 | 19 | 88 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3328 | 13312 | 22704850.6348
4kW_W | 61 | 1292 | 1798 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 27 | 78 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3280 | 13120 | 19996216.3114
6kW_S | 0 | 34 | 139 | 2 | 0 | 2 | 5 | 2 | 0 | 23 | 33 | 33 | 2 | 2 | 2 | 21 | 4 | 3 | 15 | 322 | 1932 | 3442936.4501
6kW_SE | 0 | 17 | 130 | 0 | 0 | 3 | 8 | 1 | 2 | 25 | 35 | 25 | 3 | 0 | 5 | 24 | 7 | 5 | 20 | 310 | 1860 | 3194736.332
6kW_SW | 0 | 31 | 122 | 5 | 0 | 2 | 7 | 1 | 0 | 27 | 33 | 37 | 4 | 1 | 4 | 21 | 1 | 0 | 11 | 307 | 1842 | 3141701.8384
6kW_W | 0 | 27 | 137 | 0 | 0 | 2 | 7 | 1 | 1 | 17 | 37 | 27 | 4 | 3 | 1 | 12 | 7 | 2 | 5 | 290 | 1740 | 2651937.226
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 7 | 4 | 0 | 0 | 1 | 5 | 10 | 2 | 5 | 9 | 46 | 1150 | 2049366.9393
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 8 | 5 | 0 | 1 | 2 | 5 | 9 | 1 | 3 | 10 | 46 | 1150 | 1961431.6549
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 10 | 2 | 0 | 3 | 8 | 9 | 11 | 7 | 6 | 15 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 7 | 16 | 71 | 5325 | 9082281.3481
Total Units | 8490 | 17232 | 20774 | 65 | 49 | 11 | 38 | 5 | 6 | 143 | 282 | 695 | 23 | 19 | 40 | 154 | 39 | 32 | 117 | 48214 | 0 | 0
Total Capacity | 17394 | 45132 | 58112 | 224 | 134 | 133 | 340 | 30 | 143 | 2483 | 2020 | 2548 | 494 | 861 | 1528 | 3007 | 1178 | 1239 | 3164 | 0 | 140164 | 0
Total Supply | 29269785.824 | 75901128.7168 | 97806484.2068 | 377113.6962 | 228410.744 | 225847.6931 | 581955.5792 | 51068.4671 | 252513.0891 | 4298595.5757 | 3427407.2384 | 4295940.6134 | 857463.0677 | 1513957.0157 | 2666933.9121 | 5205868.7331 | 2048250.6645 | 2156755.7601 | 5503081.1736 | 0 | 0 | 236668561.7706

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2163 | 3076 | 3401 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 13 | 65 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 8738 | 17476 | 31143249.0333
2kW_SE | 2186 | 3083 | 3417 | 5 | 10 | 0 | 0 | 0 | 0 | 0 | 5 | 57 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 8765 | 17530 | 30109531.1642
2kW_SW | 2119 | 3103 | 3384 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 60 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8692 | 17384 | 29650023.9575
2kW_W | 2113 | 3147 | 3288 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8638 | 17276 | 26330383.6383
4kW_S | 57 | 1317 | 1878 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3393 | 13572 | 24186093.9752
4kW_SE | 38 | 1314 | 1811 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 30 | 82 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3299 | 13196 | 22665451.8334
4kW_SW | 57 | 1307 | 1911 | 14 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 92 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3429 | 13716 | 23393910.1041
4kW_W | 63 | 1339 | 1866 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 28 | 81 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3401 | 13604 | 20733881.6082
6kW_S | 0 | 36 | 144 | 2 | 0 | 2 | 5 | 2 | 0 | 23 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 15 | 335 | 2010 | 3581936.99
6kW_SE | 0 | 17 | 134 | 0 | 0 | 3 | 8 | 1 | 2 | 25 | 35 | 26 | 3 | 0 | 6 | 25 | 7 | 5 | 21 | 318 | 1908 | 3277181.1406
6kW_SW | 0 | 31 | 128 | 5 | 0 | 2 | 7 | 1 | 0 | 27 | 34 | 41 | 5 | 2 | 5 | 21 | 1 | 0 | 13 | 323 | 1938 | 3305438.7421
6kW_W | 0 | 27 | 142 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 37 | 30 | 4 | 3 | 2 | 12 | 7 | 2 | 5 | 300 | 1800 | 2743383.3372
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 7 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 47 | 1175 | 2093918.3945
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 9 | 5 | 0 | 1 | 2 | 5 | 9 | 1 | 3 | 10 | 47 | 1175 | 2004071.4735
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 10 | 2 | 0 | 3 | 8 | 9 | 11 | 7 | 6 | 15 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 7 | 16 | 72 | 5400 | 9210200.8037
Total Units | 8796 | 17797 | 21504 | 65 | 50 | 11 | 38 | 6 | 6 | 146 | 290 | 725 | 24 | 20 | 43 | 156 | 41 | 32 | 120 | 49870 | 0 | 0
Total Capacity | 18022 | 46592 | 60132 | 224 | 136 | 133 | 340 | 105 | 143 | 2518 | 2058 | 2670 | 500 | 867 | 1546 | 3019 | 1209 | 1239 | 3182 | 0 | 144635 | 0
Total Supply | 30328021.4669 | 78351332.3299 | 101197227.7439 | 377113.6962 | 231974.8603 | 225847.6931 | 581955.5792 | 178987.9227 | 252513.0891 | 4357508.2382 | 3493071.1381 | 4500395.4405 | 867696.6242 | 1524190.5721 | 2696617.6807 | 5226866.6833 | 2103494.4689 | 2156755.7601 | 5533853.8877 | 0 | 0 | 244185424.8753

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2199 | 3128 | 3458 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 13 | 65 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 8883 | 17766 | 31660045.9101
2kW_SE | 2219 | 3142 | 3467 | 5 | 10 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 8909 | 17818 | 30604200.0161
2kW_SW | 2151 | 3155 | 3433 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 61 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8826 | 17652 | 30107122.8082
2kW_W | 2150 | 3201 | 3346 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8787 | 17574 | 26784565.991
4kW_S | 58 | 1335 | 1903 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3437 | 13748 | 24499736.2195
4kW_SE | 38 | 1339 | 1841 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3358 | 13432 | 23070805.4734
4kW_SW | 57 | 1325 | 1946 | 14 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 92 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3482 | 13928 | 23755495.7663
4kW_W | 63 | 1360 | 1892 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3450 | 13800 | 21032605.5714
6kW_S | 0 | 37 | 145 | 2 | 0 | 2 | 5 | 2 | 0 | 24 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 16 | 339 | 2034 | 3624706.3869
6kW_SE | 0 | 18 | 136 | 0 | 0 | 3 | 8 | 1 | 2 | 25 | 36 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 21 | 324 | 1944 | 3339014.747
6kW_SW | 0 | 32 | 129 | 5 | 0 | 2 | 7 | 1 | 0 | 28 | 34 | 41 | 5 | 2 | 5 | 21 | 1 | 0 | 13 | 326 | 1956 | 3336139.4115
6kW_W | 0 | 29 | 142 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 37 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 303 | 1818 | 2770817.1706
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 9 | 1 | 3 | 10 | 48 | 1200 | 2046711.2921
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 10 | 2 | 0 | 3 | 8 | 9 | 11 | 7 | 6 | 15 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 8935 | 18101 | 21838 | 65 | 50 | 11 | 38 | 6 | 6 | 150 | 295 | 732 | 24 | 20 | 43 | 156 | 42 | 33 | 121 | 50666 | 0 | 0
Total Capacity | 18302 | 47384 | 61048 | 224 | 136 | 133 | 340 | 105 | 143 | 2580 | 2080 | 2696 | 500 | 867 | 1546 | 3019 | 1215 | 1314 | 3188 | 0 | 146820 | 0
Total Supply | 30798760.9734 | 79681744.0176 | 102739230.8246 | 377113.6962 | 231974.8603 | 225847.6931 | 581955.5792 | 178987.9227 | 252513.0891 | 4465625.4177 | 3530084.3486 | 4544255.0369 | 867696.6242 | 1524190.5721 | 2696617.6807 | 5226866.6833 | 2112639.0801 | 2284675.2157 | 5544546.2369 | 0 | 0 | 247865325.5526

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2213 | 3163 | 3487 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 13 | 65 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 8961 | 17922 | 31938046.9887
2kW_SE | 2241 | 3173 | 3489 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 8985 | 17970 | 30865275.2436
2kW_SW | 2164 | 3177 | 3460 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8889 | 17778 | 30322027.4917
2kW_W | 2166 | 3236 | 3384 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 66 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8878 | 17756 | 27061952.5285
4kW_S | 59 | 1344 | 1920 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3464 | 13856 | 24692198.5058
4kW_SE | 39 | 1350 | 1852 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3381 | 13524 | 23228824.6889
4kW_SW | 57 | 1332 | 1963 | 14 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 93 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3507 | 14028 | 23926055.0409
4kW_W | 63 | 1372 | 1907 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3477 | 13908 | 21197208.5715
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 17 | 343 | 2058 | 3667475.7838
6kW_SE | 0 | 18 | 137 | 0 | 0 | 3 | 8 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 21 | 327 | 1962 | 3369931.5502
6kW_SW | 0 | 32 | 131 | 5 | 0 | 2 | 7 | 1 | 0 | 28 | 34 | 41 | 5 | 2 | 5 | 21 | 1 | 0 | 13 | 328 | 1968 | 3356606.5245
6kW_W | 0 | 29 | 143 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 305 | 1830 | 2789106.3928
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 10 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 75 | 5625 | 10024077.4104
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9002 | 18263 | 22020 | 65 | 51 | 11 | 38 | 6 | 6 | 151 | 298 | 736 | 24 | 20 | 44 | 157 | 42 | 33 | 123 | 51090 | 0 | 0
Total Capacity | 18440 | 47786 | 61556 | 224 | 138 | 133 | 340 | 105 | 143 | 2586 | 2098 | 2706 | 500 | 867 | 1621 | 3044 | 1215 | 1314 | 3269 | 0 | 148085 | 0
Total Supply | 31031348.3146 | 80355354.501 | 103591581.163 | 377113.6962 | 235410.0607 | 225847.6931 | 581955.5792 | 178987.9227 | 252513.0891 | 4476317.767 | 3559840.1618 | 4560585.0008 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5269506.5019 | 2112639.0801 | 2284675.2157 | 5688892.9516 | 0 | 0 | 250004727.9411

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2226 | 3182 | 3500 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 13 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9007 | 18014 | 32101996.3427
2kW_SE | 2251 | 3191 | 3498 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9022 | 18044 | 30992377.6569
2kW_SW | 2174 | 3187 | 3470 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8920 | 17840 | 30427774.2408
2kW_W | 2174 | 3252 | 3402 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 68 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8922 | 17844 | 27196073.4917
4kW_S | 60 | 1351 | 1928 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3480 | 13920 | 24806250.231
4kW_SE | 39 | 1354 | 1862 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3395 | 13580 | 23325010.2984
4kW_SW | 57 | 1335 | 1969 | 14 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 93 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3516 | 14064 | 23987456.3797
4kW_W | 63 | 1383 | 1919 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3500 | 14000 | 21337425.942
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 17 | 343 | 2058 | 3667475.7838
6kW_SE | 0 | 18 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 21 | 328 | 1968 | 3380237.1513
6kW_SW | 0 | 32 | 131 | 5 | 0 | 2 | 7 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 21 | 1 | 0 | 13 | 329 | 1974 | 3366840.0809
6kW_W | 0 | 30 | 145 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 308 | 1848 | 2816540.2262
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9044 | 18352 | 22108 | 65 | 51 | 11 | 40 | 6 | 6 | 152 | 299 | 740 | 24 | 20 | 44 | 157 | 42 | 33 | 123 | 51317 | 0 | 0
Total Capacity | 18526 | 48018 | 61812 | 224 | 138 | 133 | 371 | 105 | 143 | 2661 | 2104 | 2714 | 500 | 867 | 1621 | 3044 | 1215 | 1314 | 3269 | 0 | 148779 | 0
Total Supply | 31177659.5483 | 80741840.8709 | 104015921.2071 | 377113.6962 | 235410.0607 | 225847.6931 | 634900.9988 | 178987.9227 | 252513.0891 | 4609972.1324 | 3570073.7183 | 4573656.71 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5269506.5019 | 2112639.0801 | 2284675.2157 | 5688892.9516 | 0 | 0 | 251171770.6397

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2230 | 3186 | 3509 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 13 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9024 | 18048 | 32162586.3214
2kW_SE | 2253 | 3202 | 3504 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9041 | 18082 | 31057646.4638
2kW_SW | 2178 | 3199 | 3481 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8947 | 17894 | 30519876.248
2kW_W | 2180 | 3259 | 3409 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8943 | 17886 | 27260085.7696
4kW_S | 60 | 1352 | 1934 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 93 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3487 | 13948 | 24856147.8608
4kW_SE | 39 | 1357 | 1863 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3399 | 13596 | 23352491.9011
4kW_SW | 57 | 1338 | 1971 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 94 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3523 | 14092 | 24035212.9766
4kW_W | 64 | 1386 | 1921 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3506 | 14024 | 21374004.3865
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 21 | 329 | 1974 | 3390542.7524
6kW_SW | 0 | 32 | 131 | 5 | 0 | 2 | 7 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 21 | 1 | 0 | 13 | 329 | 1974 | 3366840.0809
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9061 | 18397 | 22153 | 66 | 51 | 11 | 40 | 6 | 6 | 152 | 299 | 742 | 24 | 20 | 44 | 157 | 42 | 33 | 124 | 51428 | 0 | 0
Total Capacity | 18562 | 48132 | 61928 | 228 | 138 | 133 | 371 | 105 | 143 | 2661 | 2104 | 2720 | 500 | 867 | 1621 | 3044 | 1215 | 1314 | 3275 | 0 | 149061 | 0
Total Supply | 31236816.7861 | 80932957.5629 | 104212091.8883 | 383936.0671 | 235410.0607 | 225847.6931 | 634900.9988 | 178987.9227 | 252513.0891 | 4609972.1324 | 3570073.7183 | 4583527.2847 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5269506.5019 | 2112639.0801 | 2284675.2157 | 5699585.3008 | 0 | 0 | 251645600.5456

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2232 | 3186 | 3515 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 13 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9032 | 18064 | 32191099.2525
2kW_SE | 2255 | 3203 | 3511 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9051 | 18102 | 31091998.4674
2kW_SW | 2182 | 3203 | 3483 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8958 | 17916 | 30557399.288
2kW_W | 2183 | 3266 | 3411 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8955 | 17910 | 27296664.2141
4kW_S | 60 | 1356 | 1938 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3496 | 13984 | 24920301.9562
4kW_SE | 39 | 1358 | 1868 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3405 | 13620 | 23393714.3052
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 94 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3526 | 14104 | 24055680.0896
4kW_W | 64 | 1388 | 1922 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3509 | 14036 | 21392293.6087
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 131 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 21 | 1 | 0 | 13 | 330 | 1980 | 3377073.6374
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9072 | 18417 | 22182 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 299 | 744 | 24 | 20 | 44 | 157 | 42 | 33 | 125 | 51492 | 0 | 0
Total Capacity | 18584 | 48188 | 62010 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2104 | 2726 | 500 | 867 | 1621 | 3044 | 1215 | 1314 | 3281 | 0 | 149239 | 0
Total Supply | 31273604.7726 | 81025773.4489 | 104353047.8516 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3570073.7183 | 4594066.703 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5269506.5019 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 251947238.957

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2233 | 3188 | 3516 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 13 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9036 | 18072 | 32205355.7181
2kW_SE | 2257 | 3204 | 3513 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9056 | 18112 | 31109174.4692
2kW_SW | 2183 | 3206 | 3484 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8963 | 17926 | 30574455.2152
2kW_W | 2183 | 3269 | 3415 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8962 | 17924 | 27318001.6401
4kW_S | 60 | 1357 | 1939 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3498 | 13992 | 24934558.4219
4kW_SE | 39 | 1358 | 1869 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3406 | 13624 | 23400584.7059
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 94 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3526 | 14104 | 24055680.0896
4kW_W | 64 | 1388 | 1923 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3510 | 14040 | 21398390.0161
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 21 | 1 | 0 | 13 | 331 | 1986 | 3387307.1939
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9076 | 18427 | 22194 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 299 | 744 | 24 | 20 | 44 | 157 | 42 | 33 | 125 | 51518 | 0 | 0
Total Capacity | 18592 | 48210 | 62044 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2104 | 2726 | 500 | 867 | 1621 | 3044 | 1215 | 1314 | 3281 | 0 | 149303 | 0
Total Supply | 31287450.4751 | 81062843.2823 | 104409414.9664 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3570073.7183 | 4594066.703 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5269506.5019 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252054521.6079

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2233 | 3189 | 3516 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 13 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9037 | 18074 | 32208919.8345
2kW_SE | 2258 | 3204 | 3514 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9058 | 18116 | 31116044.8699
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2184 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8965 | 17930 | 27327146.2512
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1358 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3408 | 13632 | 23414325.5072
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 94 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3526 | 14104 | 24055680.0896
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9078 | 18432 | 22201 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 299 | 744 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51533 | 0 | 0
Total Capacity | 18596 | 48222 | 62066 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2104 | 2726 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149347 | 0
Total Supply | 31293933.8792 | 81082374.3807 | 104446274.9975 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3570073.7183 | 4594066.703 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252127629.6979

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2233 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9039 | 18078 | 32216048.0673
2kW_SE | 2258 | 3205 | 3514 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9059 | 18118 | 31119480.0703
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9079 | 18434 | 22202 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51539 | 0 | 0
Total Capacity | 18598 | 48228 | 62068 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149363 | 0
Total Supply | 31296982.0829 | 81092679.9818 | 104449839.1139 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252154934.1065

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2233 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9039 | 18078 | 32216048.0673
2kW_SE | 2258 | 3205 | 3515 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9060 | 18120 | 31122915.2707
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9079 | 18434 | 22203 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51540 | 0 | 0
Total Capacity | 18598 | 48228 | 62070 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149365 | 0
Total Supply | 31296982.0829 | 81092679.9818 | 104453274.3142 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252158369.3068

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9040 | 18080 | 32219612.1837
2kW_SE | 2258 | 3205 | 3515 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9060 | 18120 | 31122915.2707
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9080 | 18434 | 22203 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51541 | 0 | 0
Total Capacity | 18600 | 48228 | 62070 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149367 | 0
Total Supply | 31300546.1993 | 81092679.9818 | 104453274.3142 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252161933.4232

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9040 | 18080 | 32219612.1837
2kW_SE | 2258 | 3205 | 3515 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9060 | 18120 | 31122915.2707
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9080 | 18434 | 22203 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51541 | 0 | 0
Total Capacity | 18600 | 48228 | 62070 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149367 | 0
Total Supply | 31300546.1993 | 81092679.9818 | 104453274.3142 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252161933.4232

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9040 | 18080 | 32219612.1837
2kW_SE | 2258 | 3205 | 3515 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9060 | 18120 | 31122915.2707
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9080 | 18434 | 22203 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51541 | 0 | 0
Total Capacity | 18600 | 48228 | 62070 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149367 | 0
Total Supply | 31300546.1993 | 81092679.9818 | 104453274.3142 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252161933.4232

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9040 | 18080 | 32219612.1837
2kW_SE | 2258 | 3205 | 3515 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9060 | 18120 | 31122915.2707
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9080 | 18434 | 22203 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51541 | 0 | 0
Total Capacity | 18600 | 48228 | 62070 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149367 | 0
Total Supply | 31300546.1993 | 81092679.9818 | 104453274.3142 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252161933.4232

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9040 | 18080 | 32219612.1837
2kW_SE | 2258 | 3205 | 3515 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9060 | 18120 | 31122915.2707
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9080 | 18434 | 22203 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51541 | 0 | 0
Total Capacity | 18600 | 48228 | 62070 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149367 | 0
Total Supply | 31300546.1993 | 81092679.9818 | 104453274.3142 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252161933.4232

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2234 | 3189 | 3517 | 9 | 6 | 0 | 0 | 0 | 0 | 2 | 14 | 66 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 9040 | 18080 | 32219612.1837
2kW_SE | 2258 | 3205 | 3515 | 5 | 11 | 0 | 0 | 0 | 0 | 0 | 5 | 59 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9060 | 18120 | 31122915.2707
2kW_SW | 2183 | 3208 | 3485 | 6 | 9 | 0 | 0 | 0 | 0 | 1 | 8 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8966 | 17932 | 30584688.7716
2kW_W | 2185 | 3270 | 3416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 69 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8966 | 17932 | 27330194.4549
4kW_S | 60 | 1357 | 1940 | 5 | 6 | 0 | 2 | 0 | 0 | 2 | 18 | 94 | 3 | 0 | 0 | 5 | 1 | 0 | 6 | 3499 | 13996 | 24941686.6547
4kW_SE | 39 | 1359 | 1871 | 4 | 6 | 1 | 0 | 0 | 0 | 5 | 33 | 83 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 3409 | 13636 | 23421195.9079
4kW_SW | 57 | 1339 | 1973 | 15 | 5 | 0 | 3 | 0 | 0 | 4 | 20 | 95 | 1 | 0 | 0 | 9 | 1 | 1 | 4 | 3527 | 14108 | 24062502.4606
4kW_W | 64 | 1389 | 1924 | 10 | 1 | 0 | 2 | 0 | 0 | 2 | 29 | 82 | 0 | 0 | 1 | 7 | 0 | 0 | 1 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 37 | 147 | 2 | 0 | 2 | 5 | 2 | 0 | 25 | 36 | 34 | 2 | 2 | 2 | 22 | 5 | 3 | 18 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 19 | 137 | 0 | 0 | 3 | 9 | 1 | 2 | 25 | 38 | 28 | 3 | 0 | 6 | 25 | 7 | 5 | 22 | 330 | 1980 | 3400848.3534
6kW_SW | 0 | 32 | 132 | 5 | 0 | 2 | 8 | 1 | 0 | 28 | 35 | 41 | 5 | 2 | 5 | 22 | 1 | 0 | 13 | 332 | 1992 | 3397540.7504
6kW_W | 0 | 30 | 146 | 0 | 0 | 2 | 7 | 1 | 1 | 18 | 38 | 30 | 4 | 3 | 2 | 12 | 8 | 2 | 5 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 4 | 0 | 0 | 1 | 5 | 10 | 3 | 5 | 9 | 48 | 1200 | 2138469.8497
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 10 | 5 | 0 | 1 | 2 | 5 | 10 | 1 | 3 | 10 | 50 | 1250 | 2131990.9293
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 2 | 0 | 3 | 8 | 10 | 11 | 7 | 6 | 16 | 76 | 5700 | 10157731.7759
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 5 | 0 | 2 | 2 | 7 | 15 | 6 | 8 | 16 | 73 | 5475 | 9338120.2593
Total Units | 9080 | 18434 | 22203 | 66 | 51 | 11 | 41 | 6 | 6 | 152 | 300 | 745 | 24 | 20 | 44 | 158 | 42 | 33 | 125 | 51541 | 0 | 0
Total Capacity | 18600 | 48228 | 62070 | 228 | 138 | 133 | 377 | 105 | 143 | 2661 | 2106 | 2730 | 500 | 867 | 1621 | 3050 | 1215 | 1314 | 3281 | 0 | 149367 | 0
Total Supply | 31300546.1993 | 81092679.9818 | 104453274.3142 | 383936.0671 | 235410.0607 | 225847.6931 | 645134.5553 | 178987.9227 | 252513.0891 | 4609972.1324 | 3573637.8347 | 4600889.074 | 867696.6242 | 1524190.5721 | 2830272.0462 | 5279740.0584 | 2112639.0801 | 2284675.2157 | 5709890.9019 | 0 | 0 | 252161933.4232