## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25824 | 25824 | 74578 | 74578 | 2134537855.2192 | 0 | 0 | 2134537855.2192
1 | 0.17501 | 38788 | 12964 | 112475 | 37897 | 2134537855.2192 | 125839544.8876 | 0.058954 | 2008698310.3316
2 | 0.17781 | 45201 | 6413 | 130716 | 18241 | 2134537855.2192 | 189844068.3235 | 0.088939 | 1944693786.8957
3 | 0.17922 | 48347 | 3146 | 139683 | 8967 | 2134537855.2192 | 220626086.0523 | 0.10336 | 1913911769.1669
4 | 0.17993 | 49893 | 1546 | 144261 | 4578 | 2134537855.2192 | 235734312.4442 | 0.11044 | 1898803542.7751
5 | 0.1803 | 50703 | 810 | 146483 | 2222 | 2134537855.2192 | 243477232.7802 | 0.11407 | 1891060622.439
6 | 0.18048 | 51127 | 424 | 147696 | 1213 | 2134537855.2192 | 247230433.573 | 0.11582 | 1887307421.6462
7 | 0.18058 | 51334 | 207 | 148236 | 540 | 2134537855.2192 | 249277957.4326 | 0.11678 | 1885259897.7867
8 | 0.18062 | 51437 | 103 | 148571 | 335 | 2134537855.2192 | 250183030.8765 | 0.11721 | 1884354824.3428
9 | 0.18065 | 51487 | 50 | 148713 | 142 | 2134537855.2192 | 250747950.3045 | 0.11747 | 1883789904.9147
10 | 0.18066 | 51511 | 24 | 148779 | 66 | 2134537855.2192 | 250985056.2174 | 0.11758 | 1883552799.0018
11 | 0.18067 | 51524 | 13 | 148813 | 34 | 2134537855.2192 | 251094202.067 | 0.11763 | 1883443653.1522
12 | 0.18067 | 51533 | 9 | 148839 | 26 | 2134537855.2192 | 251151415.2197 | 0.11766 | 1883386439.9995
13 | 0.18067 | 51538 | 5 | 148851 | 12 | 2134537855.2192 | 251195355.7023 | 0.11768 | 1883342499.5169
14 | 0.18067 | 51540 | 2 | 148857 | 6 | 2134537855.2192 | 251215894.8599 | 0.11769 | 1883321960.3594
15 | 0.18067 | 51541 | 1 | 148859 | 2 | 2134537855.2192 | 251226200.4609 | 0.1177 | 1883311654.7583
16 | 0.18067 | 51541 | 0 | 148859 | 0 | 2134537855.2192 | 251229248.6646 | 0.1177 | 1883308606.5546
17 | 0.18067 | 51541 | 0 | 148859 | 0 | 2134537855.2192 | 251229248.6646 | 0.1177 | 1883308606.5546
18 | 0.18067 | 51541 | 0 | 148859 | 0 | 2134537855.2192 | 251229248.6646 | 0.1177 | 1883308606.5546
19 | 0.18067 | 51541 | 0 | 148859 | 0 | 2134537855.2192 | 251229248.6646 | 0.1177 | 1883308606.5546

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1117 | 1601 | 1727 | 2 | 4 | 0 | 0 | 0 | 0 | 1 | 4 | 34 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4491 | 8982 | 16006446.7165
2kW_SE | 1096 | 1614 | 1717 | 4 | 7 | 0 | 1 | 0 | 0 | 1 | 6 | 42 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 4491 | 8982 | 15427484.8213
2kW_SW | 1104 | 1608 | 1734 | 5 | 5 | 0 | 0 | 0 | 0 | 4 | 3 | 36 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4500 | 9000 | 15350334.5385
2kW_W | 1079 | 1613 | 1799 | 4 | 2 | 0 | 2 | 0 | 0 | 0 | 4 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4539 | 9078 | 13835796.6352
4kW_S | 26 | 669 | 987 | 4 | 1 | 0 | 1 | 0 | 1 | 1 | 11 | 46 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1750 | 7000 | 12474407.4438
4kW_SE | 27 | 731 | 976 | 6 | 1 | 0 | 1 | 0 | 0 | 3 | 17 | 48 | 0 | 0 | 0 | 4 | 2 | 0 | 2 | 1818 | 7272 | 12490388.4308
4kW_SW | 36 | 669 | 967 | 5 | 5 | 1 | 1 | 0 | 0 | 1 | 13 | 36 | 1 | 0 | 0 | 1 | 1 | 0 | 2 | 1739 | 6956 | 11864103.1412
4kW_W | 29 | 674 | 975 | 2 | 3 | 0 | 2 | 0 | 0 | 3 | 10 | 45 | 1 | 0 | 0 | 6 | 1 | 0 | 3 | 1754 | 7016 | 10693098.6006
6kW_S | 0 | 14 | 77 | 2 | 0 | 1 | 5 | 0 | 0 | 12 | 21 | 10 | 0 | 1 | 1 | 11 | 5 | 3 | 7 | 170 | 1020 | 1817699.3681
6kW_SE | 0 | 11 | 69 | 2 | 0 | 1 | 3 | 3 | 0 | 12 | 15 | 11 | 4 | 0 | 2 | 15 | 6 | 1 | 8 | 163 | 978 | 1679812.9746
6kW_SW | 0 | 13 | 57 | 1 | 0 | 0 | 2 | 1 | 1 | 7 | 18 | 11 | 3 | 1 | 3 | 10 | 2 | 1 | 12 | 143 | 858 | 1463398.5762
6kW_W | 0 | 15 | 61 | 1 | 0 | 0 | 1 | 1 | 0 | 10 | 19 | 19 | 4 | 3 | 0 | 9 | 3 | 0 | 10 | 156 | 936 | 1426559.3353
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 2 | 1 | 1 | 5 | 15 | 375 | 668271.828
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 4 | 0 | 0 | 3 | 2 | 2 | 1 | 1 | 5 | 20 | 500 | 852796.3717
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 5 | 6 | 3 | 5 | 7 | 34 | 2550 | 4544248.426
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 5 | 0 | 0 | 0 | 1 | 4 | 11 | 1 | 5 | 10 | 41 | 3075 | 5244697.6799
Total Units | 4514 | 9232 | 11146 | 38 | 28 | 7 | 23 | 5 | 2 | 68 | 148 | 374 | 16 | 10 | 19 | 79 | 27 | 17 | 71 | 25824 | 0 | 0
Total Capacity | 9264 | 24162 | 31158 | 134 | 76 | 266 | 292 | 30 | 10 | 1215 | 851 | 1302 | 82 | 182 | 788 | 1697 | 464 | 830 | 1775 | 0 | 74578 | 0
Total Supply | 15594294.1897 | 40649957.8581 | 52410020.266 | 227531.8496 | 127854.9134 | 456130.1433 | 505300.7954 | 50294.9708 | 17361.7893 | 2106369.1517 | 1443444.9261 | 2182219.8504 | 135547.8462 | 307633.8508 | 1375220.1633 | 2925398.5583 | 809340.8899 | 1447676.5844 | 3067946.291 | 0 | 0 | 125839544.8876

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1697 | 2434 | 2653 | 3 | 8 | 0 | 0 | 0 | 0 | 1 | 7 | 48 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 6854 | 13708 | 24428453.7508
2kW_SE | 1658 | 2428 | 2540 | 13 | 8 | 0 | 1 | 0 | 0 | 1 | 6 | 57 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 6715 | 13430 | 23067370.4241
2kW_SW | 1641 | 2396 | 2596 | 8 | 5 | 0 | 0 | 0 | 0 | 5 | 4 | 51 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 6707 | 13414 | 22878820.8333
2kW_W | 1585 | 2449 | 2679 | 5 | 4 | 0 | 2 | 0 | 0 | 1 | 7 | 56 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6789 | 13578 | 20694254.9804
4kW_S | 40 | 1005 | 1473 | 7 | 1 | 0 | 3 | 0 | 1 | 1 | 18 | 66 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 2621 | 10484 | 18683098.2343
4kW_SE | 38 | 1051 | 1464 | 6 | 2 | 0 | 2 | 0 | 1 | 5 | 26 | 77 | 1 | 0 | 0 | 4 | 2 | 0 | 3 | 2682 | 10728 | 18426414.6157
4kW_SW | 57 | 994 | 1464 | 7 | 6 | 1 | 1 | 0 | 0 | 1 | 17 | 53 | 1 | 0 | 0 | 1 | 1 | 0 | 4 | 2608 | 10432 | 17792743.5263
4kW_W | 39 | 1043 | 1481 | 4 | 5 | 0 | 2 | 0 | 0 | 4 | 18 | 66 | 1 | 0 | 1 | 6 | 1 | 0 | 3 | 2674 | 10696 | 16301793.4197
6kW_S | 0 | 25 | 119 | 2 | 0 | 1 | 7 | 1 | 1 | 15 | 34 | 16 | 2 | 2 | 1 | 18 | 6 | 4 | 16 | 270 | 1620 | 2886934.2905
6kW_SE | 0 | 20 | 101 | 3 | 0 | 1 | 4 | 4 | 0 | 16 | 23 | 22 | 5 | 1 | 2 | 17 | 7 | 1 | 14 | 241 | 1446 | 2483649.8581
6kW_SW | 0 | 22 | 89 | 1 | 0 | 0 | 2 | 1 | 1 | 12 | 32 | 15 | 3 | 1 | 3 | 12 | 4 | 1 | 15 | 214 | 1284 | 2189981.0861
6kW_W | 0 | 20 | 90 | 1 | 0 | 1 | 2 | 1 | 0 | 18 | 27 | 32 | 5 | 3 | 1 | 12 | 4 | 0 | 13 | 230 | 1380 | 2103260.5585
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 4 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 8 | 32 | 800 | 1425646.5665
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 3 | 5 | 0 | 1 | 4 | 2 | 6 | 3 | 1 | 9 | 37 | 925 | 1577673.2876
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 11 | 1 | 0 | 0 | 1 | 7 | 9 | 4 | 7 | 14 | 56 | 4200 | 7484644.4664
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 6 | 0 | 0 | 0 | 1 | 6 | 15 | 2 | 8 | 16 | 58 | 4350 | 7419328.4252
Total Units | 6755 | 13887 | 16749 | 60 | 39 | 9 | 31 | 9 | 4 | 101 | 229 | 559 | 23 | 16 | 27 | 109 | 38 | 26 | 117 | 38788 | 0 | 0
Total Capacity | 13858 | 36308 | 46858 | 196 | 106 | 297 | 403 | 92 | 20 | 1801 | 1360 | 1982 | 160 | 344 | 1148 | 2464 | 723 | 1286 | 3069 | 0 | 112475 | 0
Total Supply | 23345865.4968 | 61060083.0098 | 78824525.7109 | 332822.3857 | 177528.5733 | 509826.2096 | 700916.9378 | 156572.5583 | 34924.5392 | 3122657.8828 | 2313202.7183 | 3318918.3574 | 270444.4313 | 594028.8956 | 2002711.7344 | 4254800.8079 | 1258483.7105 | 2243090.397 | 5322663.967 | 0 | 0 | 189844068.3235

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1993 | 2822 | 3072 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 8 | 57 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 7969 | 15938 | 28402443.5278
2kW_SE | 1953 | 2807 | 3022 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 64 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 7882 | 15764 | 27076249.2454
2kW_SW | 1925 | 2781 | 3046 | 9 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 57 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7835 | 15670 | 26726638.0243
2kW_W | 1859 | 2840 | 3086 | 6 | 6 | 0 | 2 | 0 | 0 | 1 | 8 | 70 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 7881 | 15762 | 24022893.4306
4kW_S | 49 | 1174 | 1732 | 8 | 1 | 0 | 3 | 0 | 1 | 2 | 19 | 73 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3068 | 12272 | 21869418.3071
4kW_SE | 43 | 1216 | 1724 | 7 | 2 | 0 | 2 | 0 | 2 | 5 | 27 | 93 | 1 | 0 | 0 | 5 | 2 | 0 | 4 | 3133 | 12532 | 21524965.321
4kW_SW | 68 | 1139 | 1704 | 8 | 6 | 1 | 1 | 0 | 0 | 3 | 22 | 65 | 1 | 0 | 0 | 1 | 2 | 0 | 4 | 3025 | 12100 | 20637672.2266
4kW_W | 44 | 1196 | 1722 | 5 | 5 | 0 | 2 | 0 | 0 | 5 | 20 | 80 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3092 | 12368 | 18850091.7179
6kW_S | 0 | 26 | 131 | 2 | 0 | 1 | 7 | 1 | 2 | 17 | 40 | 19 | 3 | 2 | 2 | 21 | 8 | 6 | 18 | 306 | 1836 | 3271858.8625
6kW_SE | 0 | 21 | 122 | 3 | 0 | 1 | 4 | 4 | 0 | 19 | 23 | 26 | 5 | 1 | 3 | 21 | 7 | 1 | 15 | 276 | 1656 | 2844345.8956
6kW_SW | 0 | 23 | 102 | 1 | 0 | 0 | 2 | 1 | 1 | 14 | 38 | 17 | 3 | 2 | 3 | 15 | 6 | 1 | 18 | 247 | 1482 | 2527688.4498
6kW_W | 0 | 24 | 112 | 1 | 0 | 2 | 3 | 1 | 0 | 20 | 29 | 39 | 7 | 4 | 2 | 15 | 6 | 0 | 16 | 281 | 1686 | 2569635.7258
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 3 | 7 | 0 | 1 | 4 | 2 | 7 | 3 | 1 | 11 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 8 | 10 | 4 | 7 | 17 | 64 | 4800 | 8553879.3902
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 9 | 0 | 0 | 0 | 1 | 6 | 16 | 3 | 9 | 18 | 66 | 4950 | 8442684.0701
Total Units | 7934 | 16069 | 19575 | 67 | 46 | 10 | 32 | 9 | 6 | 119 | 259 | 660 | 26 | 19 | 31 | 127 | 47 | 29 | 136 | 45201 | 0 | 0
Total Capacity | 16276 | 41964 | 54782 | 218 | 120 | 303 | 409 | 92 | 30 | 2246 | 1636 | 2346 | 178 | 358 | 1241 | 2725 | 840 | 1373 | 3579 | 0 | 130716 | 0
Total Supply | 27422246.7569 | 70578146.6935 | 92167372.6088 | 369634.3871 | 201010.7847 | 518970.8208 | 710061.5489 | 156572.5583 | 52487.2891 | 3891652.1996 | 2790883.6564 | 3923004.8111 | 299426.0028 | 616842.2635 | 2166508.6613 | 4703415.2104 | 1456414.7745 | 2392394.5511 | 6209040.4737 | 0 | 0 | 220626086.0523

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2122 | 3000 | 3270 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 8 | 59 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8477 | 16954 | 30213014.655
2kW_SE | 2105 | 3005 | 3243 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 71 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8460 | 16920 | 29061795.0541
2kW_SW | 2067 | 2974 | 3264 | 9 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 61 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8392 | 16784 | 28626668.3216
2kW_W | 1998 | 3056 | 3298 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 77 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 8456 | 16912 | 25775610.5633
4kW_S | 53 | 1258 | 1850 | 8 | 1 | 0 | 3 | 0 | 1 | 2 | 20 | 79 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3281 | 13124 | 23387731.8988
4kW_SE | 45 | 1292 | 1843 | 8 | 2 | 0 | 2 | 0 | 2 | 5 | 29 | 97 | 1 | 0 | 0 | 5 | 2 | 0 | 4 | 3337 | 13348 | 22926527.0591
4kW_SW | 71 | 1222 | 1826 | 8 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 71 | 1 | 0 | 0 | 2 | 2 | 0 | 5 | 3243 | 12972 | 22124949.1011
4kW_W | 45 | 1270 | 1849 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 23 | 81 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3299 | 13196 | 20112048.0522
6kW_S | 0 | 26 | 141 | 2 | 0 | 1 | 7 | 1 | 2 | 18 | 42 | 21 | 3 | 2 | 2 | 23 | 8 | 6 | 21 | 326 | 1956 | 3485705.847
6kW_SE | 0 | 22 | 131 | 3 | 0 | 1 | 4 | 4 | 0 | 19 | 23 | 27 | 5 | 1 | 3 | 23 | 9 | 1 | 17 | 293 | 1758 | 3019541.1138
6kW_SW | 0 | 24 | 108 | 2 | 0 | 0 | 2 | 1 | 1 | 15 | 39 | 19 | 3 | 2 | 3 | 16 | 6 | 2 | 19 | 262 | 1572 | 2681191.797
6kW_W | 0 | 29 | 121 | 1 | 0 | 2 | 4 | 1 | 0 | 21 | 30 | 41 | 7 | 4 | 2 | 16 | 6 | 0 | 17 | 302 | 1812 | 2761672.5594
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 4 | 7 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 11 | 46 | 1150 | 1961431.6549
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 8 | 10 | 4 | 10 | 17 | 67 | 5025 | 8954842.4866
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 18 | 4 | 10 | 18 | 71 | 5325 | 9082281.3481
Total Units | 8506 | 17178 | 20944 | 69 | 47 | 10 | 34 | 9 | 6 | 126 | 270 | 704 | 26 | 22 | 31 | 136 | 51 | 34 | 144 | 48347 | 0 | 0
Total Capacity | 17440 | 44844 | 58628 | 228 | 122 | 303 | 419 | 92 | 30 | 2393 | 1688 | 2496 | 178 | 410 | 1241 | 2915 | 952 | 1679 | 3625 | 0 | 139683 | 0
Total Supply | 29381074.1293 | 75414075.0384 | 98630763.4454 | 386738.3442 | 204058.9884 | 518970.8208 | 726028.531 | 156572.5583 | 52487.2891 | 4142929.8533 | 2877627.1498 | 4176889.8818 | 299426.0028 | 705686.0171 | 2166508.6613 | 5027450.5608 | 1647585.2508 | 2931510.6596 | 6287929.2621 | 0 | 0 | 235734312.4441

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2184 | 3107 | 3378 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 10 | 59 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8756 | 17512 | 31207403.1284
2kW_SE | 2169 | 3113 | 3364 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 72 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8754 | 17508 | 30071743.9602
2kW_SW | 2139 | 3066 | 3354 | 9 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 61 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8646 | 17292 | 29493109.4266
2kW_W | 2054 | 3148 | 3393 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 78 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 8700 | 17400 | 26519372.2683
4kW_S | 54 | 1297 | 1894 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 21 | 82 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3371 | 13484 | 24029272.8531
4kW_SE | 48 | 1351 | 1888 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 32 | 99 | 1 | 0 | 0 | 5 | 2 | 0 | 5 | 3451 | 13804 | 23709752.7363
4kW_SW | 73 | 1270 | 1891 | 8 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 77 | 1 | 0 | 0 | 3 | 2 | 0 | 5 | 3365 | 13460 | 22957278.3612
4kW_W | 46 | 1310 | 1913 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 82 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3406 | 13624 | 20764363.6453
6kW_S | 0 | 27 | 143 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 22 | 3 | 2 | 3 | 24 | 8 | 6 | 21 | 336 | 2016 | 3592629.3393
6kW_SE | 0 | 23 | 132 | 3 | 0 | 1 | 5 | 4 | 0 | 20 | 23 | 28 | 5 | 1 | 4 | 23 | 9 | 1 | 18 | 300 | 1800 | 3091680.3213
6kW_SW | 0 | 27 | 109 | 2 | 0 | 1 | 2 | 1 | 1 | 15 | 41 | 19 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 270 | 1620 | 2763060.2488
6kW_W | 0 | 30 | 125 | 1 | 0 | 2 | 4 | 1 | 0 | 21 | 31 | 43 | 7 | 4 | 2 | 16 | 6 | 0 | 18 | 311 | 1866 | 2843974.0596
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 7 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 48 | 1200 | 2046711.2921
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 9 | 11 | 4 | 10 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 19 | 73 | 5475 | 9338120.2593
Total Units | 8767 | 17769 | 21584 | 70 | 47 | 11 | 36 | 9 | 7 | 129 | 283 | 722 | 26 | 22 | 34 | 141 | 51 | 34 | 151 | 49893 | 0 | 0
Total Capacity | 17976 | 46422 | 60376 | 232 | 122 | 309 | 429 | 92 | 34 | 2430 | 1748 | 2572 | 178 | 410 | 1328 | 3081 | 952 | 1679 | 3891 | 0 | 144261 | 0
Total Supply | 30285687.5132 | 78076228.9889 | 101562870.0661 | 393608.7449 | 204058.9884 | 529204.3772 | 743462.3649 | 156572.5583 | 59615.5219 | 4206567.6222 | 2980279.9966 | 4304816.5916 | 299426.0028 | 705686.0171 | 2321160.9771 | 5316772.6585 | 1647585.2508 | 2931510.6596 | 6752117.8801 | 0 | 0 | 243477232.7802

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2222 | 3157 | 3426 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8896 | 17792 | 31706379.4232
2kW_SE | 2210 | 3156 | 3417 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 73 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8892 | 17784 | 30545801.61
2kW_SW | 2171 | 3133 | 3421 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 64 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8816 | 17632 | 30073010.9536
2kW_W | 2084 | 3188 | 3452 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 78 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8830 | 17660 | 26915638.7505
4kW_S | 54 | 1326 | 1920 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 21 | 83 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3427 | 13708 | 24428453.8913
4kW_SE | 48 | 1371 | 1914 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 101 | 1 | 0 | 0 | 5 | 2 | 0 | 5 | 3500 | 14000 | 24046402.3695
4kW_SW | 74 | 1288 | 1925 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3421 | 13684 | 23339331.1363
4kW_W | 47 | 1327 | 1941 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 82 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3452 | 13808 | 21044798.3862
6kW_S | 0 | 27 | 147 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 23 | 3 | 2 | 3 | 24 | 8 | 6 | 21 | 341 | 2046 | 3646091.0854
6kW_SE | 0 | 23 | 132 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 30 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 306 | 1836 | 3153513.9277
6kW_SW | 0 | 28 | 110 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 274 | 1644 | 2803994.4747
6kW_W | 0 | 30 | 130 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 31 | 43 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 319 | 1914 | 2917130.9486
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 9 | 11 | 5 | 10 | 19 | 72 | 5400 | 9623114.314
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 19 | 73 | 5475 | 9338120.2593
Total Units | 8910 | 18054 | 21935 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 289 | 736 | 27 | 22 | 34 | 142 | 53 | 34 | 153 | 50703 | 0 | 0
Total Capacity | 18266 | 47164 | 61346 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1793 | 2624 | 184 | 410 | 1328 | 3087 | 1029 | 1679 | 3901 | 0 | 146483 | 0
Total Supply | 30775489.9751 | 79333427.9234 | 103189757.2173 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3057529.6508 | 4394842.0941 | 309731.6038 | 705686.0171 | 2321160.9771 | 5325917.2697 | 1784287.82 | 2931510.6596 | 6768084.8622 | 0 | 0 | 247230433.573

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2244 | 3179 | 3453 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8967 | 17934 | 31959431.6871
2kW_SE | 2232 | 3183 | 3447 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 73 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8971 | 17942 | 30817182.4385
2kW_SW | 2187 | 3164 | 3449 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 65 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8892 | 17784 | 30332261.0481
2kW_W | 2102 | 3207 | 3474 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 80 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8891 | 17782 | 27101579.1767
4kW_S | 55 | 1338 | 1936 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3458 | 13832 | 24649429.1089
4kW_SE | 48 | 1376 | 1937 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 101 | 1 | 0 | 0 | 5 | 2 | 0 | 5 | 3528 | 14112 | 24238773.5885
4kW_SW | 74 | 1303 | 1940 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3451 | 13804 | 23544002.2658
4kW_W | 47 | 1340 | 1965 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 82 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3489 | 13956 | 21270365.4605
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 9 | 6 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 23 | 134 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 309 | 1854 | 3184430.7309
6kW_SW | 0 | 28 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 32 | 43 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 322 | 1932 | 2944564.7819
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 19 | 73 | 5475 | 9338120.2593
Total Units | 8989 | 18199 | 22125 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 291 | 742 | 27 | 22 | 35 | 142 | 54 | 34 | 153 | 51127 | 0 | 0
Total Capacity | 18426 | 47548 | 61902 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1803 | 2646 | 184 | 410 | 1403 | 3087 | 1035 | 1679 | 3901 | 0 | 147696 | 0
Total Supply | 31046049.8105 | 79978875.7828 | 104123020.0474 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3073802.4947 | 4432475.8701 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1794980.1692 | 2931510.6596 | 6768084.8622 | 0 | 0 | 249277957.4325

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2253 | 3186 | 3467 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8997 | 17994 | 32066355.1788
2kW_SE | 2243 | 3200 | 3458 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9011 | 18022 | 30954590.453
2kW_SW | 2199 | 3176 | 3465 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 66 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8933 | 17866 | 30472119.6516
2kW_W | 2111 | 3217 | 3488 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8925 | 17850 | 27205218.1028
4kW_S | 55 | 1341 | 1947 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3472 | 13888 | 24749224.3684
4kW_SE | 48 | 1383 | 1944 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 101 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3543 | 14172 | 24341829.5986
4kW_SW | 74 | 1307 | 1950 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3465 | 13860 | 23639515.4596
4kW_W | 47 | 1344 | 1979 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 82 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3507 | 14028 | 21380100.7939
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 9 | 6 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 23 | 134 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 309 | 1854 | 3184430.7309
6kW_SW | 0 | 28 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 43 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 323 | 1938 | 2953709.3931
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 19 | 73 | 5475 | 9338120.2593
Total Units | 9030 | 18263 | 22222 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 745 | 27 | 22 | 35 | 142 | 54 | 34 | 154 | 51334 | 0 | 0
Total Capacity | 18508 | 47712 | 62180 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2652 | 184 | 410 | 1403 | 3087 | 1035 | 1679 | 3905 | 0 | 148236 | 0
Total Supply | 31184282.1208 | 80254791.883 | 104588035.4794 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4442370.4596 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1794980.1692 | 2931510.6596 | 6774955.2629 | 0 | 0 | 250183030.8764

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2255 | 3191 | 3476 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9013 | 18026 | 32123381.0411
2kW_SE | 2245 | 3204 | 3469 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9028 | 18056 | 31012988.8591
2kW_SW | 2210 | 3181 | 3474 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8959 | 17918 | 30560810.4734
2kW_W | 2118 | 3223 | 3493 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8943 | 17886 | 27260085.7696
4kW_S | 56 | 1346 | 1948 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3479 | 13916 | 24799121.9982
4kW_SE | 48 | 1384 | 1948 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3549 | 14196 | 24383052.0027
4kW_SW | 74 | 1308 | 1950 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3466 | 13864 | 23646337.8305
4kW_W | 47 | 1345 | 1986 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 82 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3515 | 14060 | 21428872.0532
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 135 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 311 | 1866 | 3205041.9331
6kW_SW | 0 | 28 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 43 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 323 | 1938 | 2953709.3931
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9053 | 18292 | 22269 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 747 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51437 | 0 | 0
Total Capacity | 18556 | 47790 | 62302 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2658 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148571 | 0
Total Supply | 31264269.4531 | 80387434.3602 | 104791431.707 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4452652.0457 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 250747950.3045

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2256 | 3191 | 3479 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9017 | 18034 | 32137637.5067
2kW_SE | 2246 | 3209 | 3471 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9036 | 18072 | 31040470.462
2kW_SW | 2214 | 3184 | 3475 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8967 | 17934 | 30588099.9571
2kW_W | 2120 | 3228 | 3496 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8953 | 17906 | 27290567.8067
4kW_S | 56 | 1348 | 1950 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3483 | 13932 | 24827634.9295
4kW_SE | 48 | 1385 | 1950 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3552 | 14208 | 24403663.2047
4kW_SW | 74 | 1310 | 1955 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3473 | 13892 | 23694094.4274
4kW_W | 47 | 1346 | 1989 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3520 | 14080 | 21459354.0902
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 135 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 311 | 1866 | 3205041.9331
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 43 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 323 | 1938 | 2953709.3931
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9061 | 18312 | 22290 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 748 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51487 | 0 | 0
Total Capacity | 18572 | 47846 | 62368 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2662 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148713 | 0
Total Supply | 31291009.9191 | 80481186.5091 | 104901948.5977 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4458748.4532 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 250985056.2174

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3191 | 3482 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9021 | 18042 | 32151893.9722
2kW_SE | 2246 | 3209 | 3472 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9037 | 18074 | 31043905.6624
2kW_SW | 2214 | 3189 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8974 | 17948 | 30611978.2552
2kW_W | 2122 | 3228 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8957 | 17914 | 27302760.6215
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1385 | 1951 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3553 | 14212 | 24410533.6054
4kW_SW | 74 | 1310 | 1956 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3474 | 13896 | 23700916.7984
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 135 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 311 | 1866 | 3205041.9331
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9064 | 18319 | 22303 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51511 | 0 | 0
Total Capacity | 18578 | 47864 | 62404 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148779 | 0
Total Supply | 31300670.4429 | 80510435.2512 | 104963040.5702 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251094202.067

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3193 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9024 | 18048 | 32162586.3214
2kW_SE | 2247 | 3212 | 3472 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9041 | 18082 | 31057646.4638
2kW_SW | 2215 | 3189 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8975 | 17950 | 30615389.4407
2kW_W | 2124 | 3228 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8959 | 17918 | 27308857.0289
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1385 | 1952 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3554 | 14216 | 24417404.0061
4kW_SW | 74 | 1310 | 1956 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3474 | 13896 | 23700916.7984
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9068 | 18324 | 22307 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51524 | 0 | 0
Total Capacity | 18586 | 47874 | 62420 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148813 | 0
Total Supply | 31313613.2361 | 80527869.085 | 104989877.0958 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251151415.2197

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3472 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9042 | 18084 | 31061081.6642
2kW_SW | 2215 | 3190 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8976 | 17952 | 30618800.6261
2kW_W | 2125 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8961 | 17922 | 27314953.4363
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1957 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9069 | 18329 | 22310 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51533 | 0 | 0
Total Capacity | 18588 | 47886 | 62432 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148839 | 0
Total Supply | 31316661.4398 | 80548198.1916 | 105010440.2681 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251195355.7023

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3475 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9045 | 18090 | 31071387.2652
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2125 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8961 | 17922 | 27314953.4363
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9069 | 18330 | 22314 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51538 | 0 | 0
Total Capacity | 18588 | 47888 | 62442 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148851 | 0
Total Supply | 31316661.4398 | 80551609.3771 | 105027568.2402 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251215894.8598

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2125 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8961 | 17922 | 27314953.4363
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9069 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51540 | 0 | 0
Total Capacity | 18588 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148857 | 0
Total Supply | 31316661.4398 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251226200.4609

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646