## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25877 | 25877 | 74507 | 74507 | 2134537855.2192 | 0 | 0 | 2134537855.2192
1 | 0.17501 | 38696 | 12819 | 111654 | 37147 | 2134537855.2192 | 125748631.5283 | 0.058911 | 2008789223.691
2 | 0.17775 | 45096 | 6400 | 130271 | 18617 | 2134537855.2192 | 188416252.4758 | 0.08827 | 1946121602.7434
3 | 0.17918 | 48319 | 3223 | 139457 | 9186 | 2134537855.2192 | 219826602.64 | 0.10299 | 1914711252.5792
4 | 0.17991 | 49992 | 1673 | 144432 | 4975 | 2134537855.2192 | 235337958.2254 | 0.11025 | 1899199896.9939
5 | 0.18031 | 50796 | 804 | 146772 | 2340 | 2134537855.2192 | 243750712.1013 | 0.11419 | 1890787143.1179
6 | 0.1805 | 51175 | 379 | 147869 | 1097 | 2134537855.2192 | 247707565.0208 | 0.11605 | 1886830290.1984
7 | 0.18059 | 51363 | 188 | 148376 | 507 | 2134537855.2192 | 249553912.0114 | 0.11691 | 1884983943.2078
8 | 0.18063 | 51453 | 90 | 148612 | 236 | 2134537855.2192 | 250415459.5415 | 0.11732 | 1884122395.6777
9 | 0.18065 | 51496 | 43 | 148741 | 129 | 2134537855.2192 | 250809641.5905 | 0.1175 | 1883728213.6287
10 | 0.18066 | 51511 | 15 | 148779 | 38 | 2134537855.2192 | 251030383.1743 | 0.1176 | 1883507472.0449
11 | 0.18067 | 51529 | 18 | 148827 | 48 | 2134537855.2192 | 251093830.4921 | 0.11763 | 1883444024.7272
12 | 0.18067 | 51536 | 7 | 148845 | 18 | 2134537855.2192 | 251174438.8869 | 0.11767 | 1883363416.3323
13 | 0.18067 | 51539 | 3 | 148853 | 8 | 2134537855.2192 | 251205202.5106 | 0.11769 | 1883332652.7086
14 | 0.18067 | 51540 | 1 | 148855 | 2 | 2134537855.2192 | 251218943.0636 | 0.11769 | 1883318912.1557
15 | 0.18067 | 51540 | 0 | 148855 | 0 | 2134537855.2192 | 251222378.2639 | 0.11769 | 1883315476.9553
16 | 0.18067 | 51541 | 1 | 148859 | 4 | 2134537855.2192 | 251222378.2639 | 0.11769 | 1883315476.9553
17 | 0.18067 | 51541 | 0 | 148859 | 0 | 2134537855.2192 | 251229248.6646 | 0.1177 | 1883308606.5546
18 | 0.18067 | 51541 | 0 | 148859 | 0 | 2134537855.2192 | 251229248.6646 | 0.1177 | 1883308606.5546
19 | 0.18067 | 51541 | 0 | 148859 | 0 | 2134537855.2192 | 251229248.6646 | 0.1177 | 1883308606.5546

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1158 | 1605 | 1752 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 6 | 33 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 4563 | 9126 | 16263063.0967
2kW_SE | 1138 | 1598 | 1781 | 5 | 4 | 0 | 0 | 0 | 0 | 1 | 3 | 38 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 4570 | 9140 | 15698865.6498
2kW_SW | 1114 | 1625 | 1726 | 5 | 7 | 0 | 0 | 0 | 0 | 2 | 1 | 38 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4519 | 9038 | 15415147.0621
2kW_W | 1067 | 1600 | 1787 | 2 | 5 | 0 | 0 | 0 | 0 | 1 | 2 | 47 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 4513 | 9026 | 13756543.3387
4kW_S | 27 | 662 | 998 | 5 | 0 | 0 | 1 | 0 | 1 | 2 | 13 | 40 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1751 | 7004 | 12481535.6766
4kW_SE | 28 | 672 | 960 | 6 | 1 | 0 | 1 | 0 | 0 | 2 | 15 | 47 | 0 | 0 | 0 | 3 | 0 | 0 | 3 | 1738 | 6952 | 11940756.3766
4kW_SW | 39 | 670 | 945 | 4 | 3 | 1 | 1 | 0 | 0 | 3 | 11 | 30 | 1 | 0 | 0 | 3 | 2 | 0 | 5 | 1718 | 6872 | 11720833.3505
4kW_W | 23 | 664 | 995 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 11 | 43 | 1 | 0 | 0 | 4 | 0 | 0 | 1 | 1745 | 6980 | 10638230.9339
6kW_S | 0 | 13 | 81 | 0 | 0 | 0 | 2 | 0 | 2 | 7 | 23 | 10 | 2 | 0 | 1 | 13 | 3 | 3 | 12 | 172 | 1032 | 1839084.0665
6kW_SE | 0 | 13 | 63 | 2 | 0 | 2 | 2 | 2 | 0 | 13 | 12 | 13 | 4 | 0 | 2 | 15 | 3 | 0 | 10 | 156 | 936 | 1607673.7671
6kW_SW | 0 | 13 | 60 | 1 | 0 | 0 | 1 | 1 | 1 | 8 | 28 | 5 | 3 | 0 | 2 | 11 | 3 | 0 | 11 | 148 | 888 | 1514566.3586
6kW_W | 0 | 19 | 65 | 0 | 0 | 2 | 1 | 1 | 0 | 9 | 18 | 25 | 4 | 3 | 1 | 8 | 4 | 0 | 13 | 173 | 1038 | 1582017.7245
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 3 | 0 | 1 | 0 | 1 | 3 | 0 | 1 | 4 | 15 | 375 | 668271.828
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 2 | 0 | 1 | 4 | 1 | 3 | 3 | 1 | 4 | 22 | 550 | 938076.0089
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 1 | 0 | 0 | 0 | 4 | 3 | 4 | 7 | 11 | 38 | 2850 | 5078865.8879
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 2 | 10 | 2 | 5 | 12 | 36 | 2700 | 4605100.4019
Total Units | 4594 | 9154 | 11213 | 33 | 24 | 7 | 11 | 6 | 4 | 62 | 149 | 369 | 19 | 9 | 15 | 79 | 25 | 17 | 87 | 25877 | 0 | 0
Total Capacity | 9422 | 23876 | 31298 | 110 | 56 | 128 | 148 | 74 | 22 | 1116 | 910 | 1270 | 142 | 122 | 538 | 1455 | 613 | 968 | 2239 | 0 | 74507 | 0
Total Supply | 15880122.089 | 40164718.9469 | 52643643.112 | 188550.7874 | 94454.0974 | 218193.7062 | 260400.8934 | 125269.0069 | 38746.4877 | 1936850.3795 | 1552349.6864 | 2116578.2359 | 240688.6181 | 204992.4245 | 941998.1227 | 2500246.5376 | 1065704.7211 | 1694446.1578 | 3880677.518 | 0 | 0 | 125748631.5283

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1686 | 2409 | 2573 | 3 | 10 | 0 | 0 | 0 | 0 | 0 | 9 | 46 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 6740 | 13480 | 24022144.4821
2kW_SE | 1687 | 2397 | 2632 | 9 | 7 | 0 | 1 | 0 | 0 | 1 | 5 | 54 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 6796 | 13592 | 23345621.6534
2kW_SW | 1676 | 2402 | 2601 | 6 | 7 | 0 | 0 | 0 | 0 | 3 | 3 | 55 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 6754 | 13508 | 23039146.5496
2kW_W | 1636 | 2402 | 2670 | 4 | 6 | 0 | 1 | 0 | 0 | 1 | 3 | 66 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 6792 | 13584 | 20703399.5915
4kW_S | 40 | 1021 | 1474 | 8 | 0 | 0 | 3 | 0 | 1 | 2 | 16 | 65 | 1 | 0 | 0 | 2 | 1 | 0 | 0 | 2634 | 10536 | 18775765.2611
4kW_SE | 35 | 1032 | 1455 | 6 | 1 | 0 | 1 | 0 | 0 | 4 | 21 | 71 | 0 | 0 | 0 | 4 | 2 | 0 | 4 | 2636 | 10544 | 18110376.1846
4kW_SW | 58 | 980 | 1437 | 6 | 4 | 1 | 2 | 0 | 0 | 3 | 18 | 59 | 1 | 0 | 0 | 3 | 2 | 0 | 5 | 2579 | 10316 | 17594894.7677
4kW_W | 36 | 1009 | 1506 | 3 | 1 | 0 | 0 | 0 | 0 | 5 | 18 | 63 | 1 | 0 | 1 | 7 | 0 | 0 | 1 | 2651 | 10604 | 16161576.0492
6kW_S | 0 | 23 | 112 | 2 | 0 | 0 | 5 | 0 | 2 | 16 | 31 | 17 | 3 | 1 | 2 | 20 | 7 | 6 | 15 | 262 | 1572 | 2801395.4967
6kW_SE | 0 | 18 | 100 | 3 | 0 | 2 | 5 | 2 | 0 | 14 | 18 | 20 | 5 | 1 | 2 | 20 | 4 | 1 | 13 | 228 | 1368 | 2349677.0442
6kW_SW | 0 | 21 | 82 | 1 | 0 | 0 | 1 | 1 | 1 | 11 | 33 | 13 | 3 | 2 | 2 | 14 | 4 | 2 | 15 | 206 | 1236 | 2108112.6343
6kW_W | 0 | 28 | 95 | 0 | 0 | 2 | 3 | 1 | 0 | 15 | 27 | 31 | 5 | 4 | 2 | 11 | 5 | 0 | 15 | 244 | 1464 | 2231285.1143
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 4 | 0 | 1 | 1 | 3 | 4 | 1 | 3 | 7 | 27 | 675 | 1202889.2905
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 4 | 5 | 0 | 1 | 6 | 2 | 6 | 3 | 1 | 7 | 37 | 925 | 1577673.2876
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 1 | 0 | 0 | 1 | 7 | 9 | 5 | 8 | 14 | 56 | 4200 | 7484644.4664
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 2 | 16 | 2 | 9 | 16 | 54 | 4050 | 6907650.6028
Total Units | 6854 | 13742 | 16737 | 51 | 36 | 8 | 25 | 6 | 4 | 96 | 212 | 560 | 23 | 18 | 24 | 118 | 38 | 30 | 114 | 38696 | 0 | 0
Total Capacity | 14046 | 35928 | 46774 | 172 | 84 | 203 | 287 | 74 | 22 | 1727 | 1286 | 1960 | 162 | 302 | 854 | 2583 | 769 | 1429 | 2992 | 0 | 111654 | 0
Total Supply | 23649052.8537 | 60443340.9257 | 78647493.8367 | 294275.8529 | 142111.3789 | 346113.1618 | 497165.6628 | 125269.0069 | 38746.4877 | 2993669.5874 | 2186134.1559 | 3280375.0922 | 274266.3798 | 519087.5567 | 1500637.3159 | 4458957.1835 | 1340280.9452 | 2491731.0178 | 5187544.0743 | 0 | 0 | 188416252.4758

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1987 | 2776 | 3009 | 3 | 10 | 0 | 0 | 0 | 0 | 0 | 11 | 54 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 7854 | 15708 | 27992570.1428
2kW_SE | 1977 | 2795 | 3040 | 12 | 7 | 0 | 1 | 0 | 0 | 1 | 7 | 62 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 7905 | 15810 | 27155258.8537
2kW_SW | 1942 | 2783 | 3045 | 10 | 7 | 0 | 0 | 0 | 0 | 3 | 4 | 63 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7858 | 15716 | 26805095.2897
2kW_W | 1896 | 2800 | 3100 | 4 | 7 | 0 | 2 | 0 | 0 | 1 | 6 | 76 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 7895 | 15790 | 24065568.2826
4kW_S | 49 | 1185 | 1714 | 8 | 0 | 0 | 4 | 0 | 1 | 2 | 20 | 75 | 1 | 0 | 0 | 3 | 1 | 0 | 0 | 3063 | 12252 | 21833777.143
4kW_SE | 45 | 1205 | 1694 | 7 | 1 | 0 | 2 | 0 | 1 | 5 | 26 | 88 | 1 | 0 | 0 | 4 | 2 | 0 | 5 | 3086 | 12344 | 21202056.4892
4kW_SW | 64 | 1145 | 1701 | 6 | 4 | 1 | 2 | 0 | 0 | 3 | 20 | 70 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3028 | 12112 | 20658139.3396
4kW_W | 42 | 1178 | 1766 | 4 | 3 | 0 | 0 | 0 | 0 | 6 | 21 | 73 | 1 | 0 | 1 | 7 | 1 | 0 | 2 | 3105 | 12420 | 18929345.0143
6kW_S | 0 | 26 | 131 | 2 | 0 | 1 | 6 | 0 | 2 | 17 | 38 | 23 | 3 | 2 | 2 | 24 | 7 | 6 | 17 | 307 | 1842 | 3282551.2118
6kW_SE | 0 | 22 | 120 | 3 | 0 | 2 | 5 | 3 | 0 | 19 | 20 | 27 | 6 | 1 | 3 | 22 | 5 | 1 | 15 | 274 | 1644 | 2823734.6935
6kW_SW | 0 | 25 | 97 | 1 | 0 | 0 | 2 | 1 | 1 | 13 | 37 | 17 | 3 | 2 | 2 | 15 | 4 | 2 | 17 | 239 | 1434 | 2445819.998
6kW_W | 0 | 28 | 109 | 1 | 0 | 2 | 3 | 1 | 0 | 18 | 29 | 38 | 7 | 4 | 2 | 13 | 5 | 0 | 19 | 279 | 1674 | 2551346.5036
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 4 | 0 | 1 | 1 | 3 | 4 | 1 | 3 | 8 | 30 | 750 | 1336543.6561
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 4 | 8 | 0 | 1 | 6 | 2 | 7 | 3 | 1 | 10 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 12 | 2 | 0 | 0 | 1 | 9 | 9 | 5 | 8 | 17 | 64 | 4800 | 8553879.3902
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 8 | 0 | 0 | 0 | 1 | 5 | 18 | 2 | 10 | 17 | 65 | 4875 | 8314764.6145
Total Units | 8002 | 15968 | 19526 | 61 | 39 | 11 | 30 | 7 | 5 | 114 | 253 | 666 | 27 | 20 | 30 | 131 | 40 | 31 | 135 | 45096 | 0 | 0
Total Capacity | 16404 | 41766 | 54630 | 200 | 94 | 309 | 309 | 80 | 26 | 2126 | 1598 | 2364 | 184 | 383 | 1235 | 2816 | 779 | 1504 | 3464 | 0 | 130271 | 0
Total Supply | 27628339.0598 | 70259255.3623 | 91858072.3332 | 340337.615 | 157352.3974 | 529276.4218 | 535138.4057 | 135574.608 | 45616.8884 | 3684456.7937 | 2723742.4009 | 3959470.2483 | 309731.6038 | 657699.3615 | 2162010.0147 | 4856467.5239 | 1356682.9537 | 2619650.4734 | 6007728.1744 | 0 | 0 | 219826602.64

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2133 | 2988 | 3265 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 59 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8475 | 16950 | 30205886.4222
2kW_SE | 2104 | 3000 | 3272 | 14 | 7 | 0 | 1 | 0 | 0 | 1 | 7 | 68 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 8477 | 16954 | 29120193.4602
2kW_SW | 2082 | 2996 | 3265 | 10 | 7 | 0 | 0 | 0 | 0 | 4 | 4 | 64 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8433 | 16866 | 28766526.9251
2kW_W | 2004 | 3020 | 3299 | 5 | 7 | 0 | 2 | 0 | 0 | 1 | 7 | 77 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8426 | 16852 | 25684164.452
4kW_S | 54 | 1256 | 1842 | 8 | 1 | 0 | 4 | 0 | 1 | 2 | 20 | 78 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3272 | 13088 | 23323577.8034
4kW_SE | 48 | 1285 | 1807 | 9 | 1 | 0 | 2 | 0 | 2 | 5 | 30 | 93 | 1 | 0 | 0 | 4 | 2 | 0 | 6 | 3295 | 13180 | 22637970.2307
4kW_SW | 71 | 1218 | 1807 | 9 | 5 | 1 | 2 | 0 | 0 | 3 | 22 | 71 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3221 | 12884 | 21974856.9395
4kW_W | 43 | 1273 | 1870 | 4 | 3 | 0 | 1 | 0 | 0 | 6 | 23 | 76 | 1 | 0 | 1 | 7 | 1 | 0 | 2 | 3311 | 13244 | 20185204.9411
6kW_S | 0 | 27 | 140 | 2 | 0 | 1 | 6 | 1 | 2 | 18 | 44 | 24 | 3 | 2 | 3 | 24 | 7 | 6 | 18 | 328 | 1968 | 3507090.5455
6kW_SE | 0 | 23 | 130 | 3 | 0 | 2 | 5 | 4 | 0 | 19 | 22 | 29 | 6 | 1 | 3 | 23 | 7 | 1 | 18 | 296 | 1776 | 3050457.917
6kW_SW | 0 | 28 | 104 | 1 | 0 | 0 | 2 | 1 | 1 | 15 | 40 | 20 | 3 | 2 | 3 | 16 | 5 | 2 | 18 | 261 | 1566 | 2670958.2405
6kW_W | 0 | 31 | 122 | 1 | 0 | 3 | 4 | 1 | 0 | 20 | 32 | 43 | 7 | 4 | 2 | 15 | 5 | 0 | 19 | 309 | 1854 | 2825684.8373
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 4 | 0 | 1 | 2 | 3 | 4 | 1 | 3 | 8 | 31 | 775 | 1381095.1113
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 3 | 1 | 11 | 46 | 1150 | 1961431.6549
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 9 | 10 | 5 | 9 | 18 | 68 | 5100 | 9088496.8521
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 9 | 0 | 0 | 0 | 1 | 6 | 18 | 3 | 10 | 19 | 70 | 5250 | 8954361.8925
Total Units | 8539 | 17145 | 20923 | 69 | 41 | 12 | 32 | 9 | 6 | 124 | 277 | 702 | 27 | 21 | 33 | 136 | 45 | 32 | 146 | 48319 | 0 | 0
Total Capacity | 17510 | 44790 | 58482 | 226 | 102 | 315 | 319 | 92 | 30 | 2335 | 1718 | 2504 | 184 | 408 | 1322 | 2915 | 874 | 1579 | 3752 | 0 | 139457 | 0
Total Supply | 29501847.8333 | 75328312.2527 | 98360274.718 | 384464.1338 | 171303.0012 | 538421.0329 | 550379.4242 | 156572.5583 | 52487.2891 | 4045094.4197 | 2926573.6808 | 4192936.9931 | 309731.6038 | 702250.8167 | 2310855.376 | 5028950.2692 | 1518495.3716 | 2753304.8389 | 6505702.612 | 0 | 0 | 235337958.2253

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2194 | 3102 | 3371 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8758 | 17516 | 31214531.3611
2kW_SE | 2175 | 3120 | 3378 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 70 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 8778 | 17556 | 30154188.7689
2kW_SW | 2148 | 3089 | 3369 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 66 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8699 | 17398 | 29673902.2556
2kW_W | 2080 | 3125 | 3404 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 78 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8715 | 17430 | 26565095.3239
4kW_S | 54 | 1300 | 1901 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 21 | 79 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3378 | 13512 | 24079170.4829
4kW_SE | 48 | 1340 | 1891 | 9 | 1 | 0 | 2 | 0 | 2 | 5 | 33 | 97 | 1 | 0 | 0 | 4 | 2 | 0 | 6 | 3441 | 13764 | 23641048.7296
4kW_SW | 73 | 1262 | 1885 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 22 | 74 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3349 | 13396 | 22848120.4254
4kW_W | 47 | 1311 | 1929 | 5 | 4 | 0 | 2 | 0 | 0 | 6 | 23 | 80 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3420 | 13680 | 20849713.349
6kW_S | 0 | 27 | 146 | 2 | 0 | 1 | 6 | 1 | 2 | 19 | 44 | 24 | 3 | 2 | 3 | 24 | 9 | 6 | 19 | 338 | 2028 | 3614014.0377
6kW_SE | 0 | 24 | 135 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 23 | 30 | 6 | 1 | 4 | 23 | 8 | 1 | 18 | 307 | 1842 | 3163819.5288
6kW_SW | 0 | 29 | 107 | 2 | 0 | 1 | 2 | 1 | 1 | 15 | 40 | 20 | 3 | 2 | 3 | 16 | 5 | 2 | 19 | 268 | 1608 | 2742593.1358
6kW_W | 0 | 31 | 126 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 32 | 44 | 7 | 4 | 2 | 16 | 6 | 0 | 19 | 317 | 1902 | 2898841.7263
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 4 | 0 | 1 | 2 | 3 | 4 | 1 | 4 | 8 | 32 | 800 | 1425646.5665
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 11 | 48 | 1200 | 2046711.2921
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 10 | 5 | 10 | 19 | 72 | 5400 | 9623114.314
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 9 | 0 | 0 | 0 | 1 | 6 | 18 | 4 | 10 | 20 | 72 | 5400 | 9210200.8037
Total Units | 8819 | 17760 | 21642 | 72 | 45 | 13 | 35 | 9 | 7 | 128 | 283 | 723 | 27 | 21 | 35 | 137 | 51 | 34 | 151 | 49992 | 0 | 0
Total Capacity | 18082 | 46390 | 60552 | 238 | 114 | 321 | 423 | 92 | 34 | 2355 | 1742 | 2578 | 184 | 408 | 1403 | 2921 | 998 | 1679 | 3918 | 0 | 144432 | 0
Total Supply | 30457990.2522 | 78028048.4453 | 101849500.5526 | 403842.3014 | 191092.1804 | 548654.5894 | 732770.0157 | 156572.5583 | 59615.5219 | 4078648.1665 | 2967666.9205 | 4315718.9915 | 309731.6038 | 702250.8167 | 2454815.3425 | 5038094.8803 | 1729889.5565 | 2931510.6596 | 6794298.7462 | 0 | 0 | 243750712.1013

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2226 | 3141 | 3434 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8892 | 17784 | 31692122.9577
2kW_SE | 2212 | 3172 | 3430 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 73 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 8922 | 17844 | 30648857.6208
2kW_SW | 2179 | 3142 | 3426 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8841 | 17682 | 30158290.59
2kW_W | 2104 | 3172 | 3456 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 80 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8840 | 17680 | 26946120.7876
4kW_S | 55 | 1328 | 1925 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 81 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3434 | 13736 | 24478351.5211
4kW_SE | 48 | 1364 | 1930 | 9 | 1 | 0 | 2 | 0 | 2 | 5 | 33 | 98 | 1 | 0 | 0 | 4 | 2 | 0 | 6 | 3505 | 14020 | 24080754.3729
4kW_SW | 73 | 1292 | 1920 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 22 | 75 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3415 | 13660 | 23298396.9104
4kW_W | 47 | 1329 | 1960 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3474 | 13896 | 21178919.3493
6kW_S | 0 | 27 | 147 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 24 | 135 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 23 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 309 | 1854 | 3184430.7309
6kW_SW | 0 | 29 | 109 | 2 | 0 | 1 | 2 | 1 | 1 | 15 | 40 | 20 | 3 | 2 | 3 | 17 | 5 | 2 | 19 | 271 | 1626 | 2773293.8053
6kW_W | 0 | 31 | 129 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 32 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 321 | 1926 | 2935420.1708
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 4 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 8 | 33 | 825 | 1470198.0217
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 9 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 73 | 5475 | 9338120.2593
Total Units | 8944 | 18051 | 22001 | 72 | 46 | 13 | 36 | 9 | 7 | 128 | 286 | 737 | 27 | 21 | 35 | 141 | 54 | 34 | 154 | 50796 | 0 | 0
Total Capacity | 18334 | 47172 | 61552 | 238 | 118 | 321 | 429 | 92 | 34 | 2355 | 1756 | 2624 | 184 | 408 | 1403 | 3083 | 1035 | 1679 | 3955 | 0 | 146772 | 0
Total Supply | 30885176.261 | 79348624.405 | 103531002.5917 | 403842.3014 | 197188.5878 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4078648.1665 | 2991583.9099 | 4392076.2461 | 309731.6038 | 702250.8167 | 2454815.3425 | 5319046.869 | 1795438.962 | 2931510.6596 | 6858323.2633 | 0 | 0 | 247707565.0208

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2244 | 3169 | 3457 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8961 | 17922 | 31938046.9887
2kW_SE | 2230 | 3193 | 3448 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 8980 | 17960 | 30848099.2418
2kW_SW | 2199 | 3164 | 3449 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8906 | 17812 | 30380017.6444
2kW_W | 2118 | 3200 | 3473 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8900 | 17800 | 27129013.0101
4kW_S | 56 | 1339 | 1938 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 82 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3460 | 13840 | 24663685.5745
4kW_SE | 48 | 1377 | 1942 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 101 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3535 | 14140 | 24286866.3932
4kW_SW | 73 | 1303 | 1942 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 22 | 76 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3449 | 13796 | 23530357.5238
4kW_W | 47 | 1339 | 1979 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3503 | 14012 | 21355715.1642
6kW_S | 0 | 27 | 147 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 23 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 310 | 1860 | 3194736.332
6kW_SW | 0 | 29 | 110 | 2 | 0 | 1 | 2 | 1 | 1 | 15 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 274 | 1644 | 2803994.4747
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 4 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 8 | 33 | 825 | 1470198.0217
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9015 | 18195 | 22152 | 72 | 47 | 13 | 36 | 9 | 7 | 129 | 288 | 744 | 27 | 21 | 35 | 142 | 55 | 34 | 154 | 51175 | 0 | 0
Total Capacity | 18478 | 47550 | 62002 | 238 | 122 | 321 | 429 | 92 | 34 | 2430 | 1768 | 2648 | 184 | 408 | 1403 | 3087 | 1041 | 1679 | 3955 | 0 | 147869 | 0
Total Supply | 31129190.7564 | 79984690.5802 | 104284951.7208 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4206567.6222 | 3010962.0775 | 4433121.456 | 309731.6038 | 702250.8167 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6858323.2633 | 0 | 0 | 249553912.0114

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2252 | 3184 | 3469 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8996 | 17992 | 32062791.0624
2kW_SE | 2241 | 3204 | 3465 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9020 | 18040 | 30985507.2562
2kW_SW | 2205 | 3176 | 3459 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8934 | 17868 | 30475530.8371
2kW_W | 2124 | 3211 | 3488 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8932 | 17864 | 27226555.5288
4kW_S | 56 | 1346 | 1945 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 83 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3475 | 13900 | 24770609.0669
4kW_SE | 48 | 1380 | 1951 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3548 | 14192 | 24376181.602
4kW_SW | 74 | 1305 | 1951 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3464 | 13856 | 23632693.0886
4kW_W | 47 | 1342 | 1983 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3510 | 14040 | 21398390.0161
6kW_S | 0 | 27 | 147 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 24 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 311 | 1866 | 3205041.9331
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 15 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 4 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9047 | 18259 | 22236 | 72 | 47 | 13 | 36 | 9 | 7 | 129 | 290 | 748 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51363 | 0 | 0
Total Capacity | 18544 | 47708 | 62232 | 238 | 122 | 321 | 429 | 92 | 34 | 2430 | 1778 | 2664 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148376 | 0
Total Supply | 31241069.5974 | 80252846.7923 | 104673706.1946 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4206567.6222 | 3028090.0496 | 4460764.8315 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 250415459.5415

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2253 | 3186 | 3478 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9008 | 18016 | 32105560.4591
2kW_SE | 2246 | 3207 | 3470 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9033 | 18066 | 31030164.8609
2kW_SW | 2211 | 3183 | 3468 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8956 | 17912 | 30550576.9171
2kW_W | 2125 | 3222 | 3492 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8948 | 17896 | 27275326.7881
4kW_S | 56 | 1347 | 1949 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3481 | 13924 | 24813378.4638
4kW_SE | 48 | 1385 | 1952 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3554 | 14216 | 24417404.0061
4kW_SW | 74 | 1307 | 1953 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3468 | 13872 | 23659982.5725
4kW_W | 47 | 1345 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3520 | 14080 | 21459354.0902
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 24 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 311 | 1866 | 3205041.9331
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 15 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 4 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9060 | 18293 | 22278 | 72 | 47 | 13 | 36 | 9 | 7 | 129 | 290 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51453 | 0 | 0
Total Capacity | 18570 | 47798 | 62348 | 238 | 122 | 321 | 429 | 92 | 34 | 2430 | 1778 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148612 | 0
Total Supply | 31285325.0321 | 80401103.3655 | 104868248.0029 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4206567.6222 | 3028090.0496 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 250809641.5905

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2256 | 3191 | 3480 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9018 | 18036 | 32141201.6231
2kW_SE | 2247 | 3209 | 3473 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9039 | 18078 | 31050776.0631
2kW_SW | 2214 | 3188 | 3470 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8966 | 17932 | 30584688.7716
2kW_W | 2126 | 3225 | 3495 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8955 | 17910 | 27296664.2141
4kW_S | 56 | 1347 | 1950 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3482 | 13928 | 24820506.6967
4kW_SE | 48 | 1386 | 1953 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3556 | 14224 | 24431144.8074
4kW_SW | 74 | 1309 | 1955 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3472 | 13888 | 23687272.0564
4kW_W | 47 | 1346 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3521 | 14084 | 21465450.4977
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 24 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 311 | 1866 | 3205041.9331
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9068 | 18312 | 22292 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 291 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51496 | 0 | 0
Total Capacity | 18586 | 47844 | 62384 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1803 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148741 | 0
Total Supply | 31312734.3417 | 80478606.4366 | 104929292.1943 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3072641.5048 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251030383.1743

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3192 | 3481 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9021 | 18042 | 32151893.9722
2kW_SE | 2247 | 3209 | 3475 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9041 | 18082 | 31057646.4638
2kW_SW | 2215 | 3189 | 3472 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8970 | 17940 | 30598333.5134
2kW_W | 2126 | 3226 | 3496 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8957 | 17914 | 27302760.6215
4kW_S | 56 | 1347 | 1951 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3483 | 13932 | 24827634.9295
4kW_SE | 48 | 1386 | 1953 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3556 | 14224 | 24431144.8074
4kW_SW | 74 | 1309 | 1956 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3473 | 13892 | 23694094.4274
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 24 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 311 | 1866 | 3205041.9331
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18317 | 22300 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 291 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51511 | 0 | 0
Total Capacity | 18590 | 47858 | 62404 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1803 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148779 | 0
Total Supply | 31319709.6435 | 80500822.757 | 104963547.8898 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3072641.5048 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251093830.492

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3193 | 3481 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9022 | 18044 | 32155458.0886
2kW_SE | 2247 | 3211 | 3475 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9043 | 18086 | 31064516.8645
2kW_SW | 2215 | 3191 | 3476 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8976 | 17952 | 30618800.6261
2kW_W | 2126 | 3227 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8960 | 17920 | 27311905.2326
4kW_S | 56 | 1348 | 1951 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3484 | 13936 | 24834763.1623
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 24 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 311 | 1866 | 3205041.9331
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18325 | 22310 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 291 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51529 | 0 | 0
Total Capacity | 18590 | 47878 | 62432 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1803 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148827 | 0
Total Supply | 31319709.6435 | 80535078.4526 | 105009900.5891 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3072641.5048 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251174438.8869

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3482 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9024 | 18048 | 32162586.3214
2kW_SE | 2247 | 3212 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9045 | 18090 | 31071387.2652
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3228 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8961 | 17922 | 27314953.4363
4kW_S | 56 | 1348 | 1951 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3484 | 13936 | 24834763.1623
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18328 | 22313 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51536 | 0 | 0
Total Capacity | 18590 | 47884 | 62438 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148845 | 0
Total Supply | 31319709.6435 | 80545125.973 | 105020311.0913 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251205202.5106

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3212 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9045 | 18090 | 31071387.2652
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18329 | 22315 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51539 | 0 | 0
Total Capacity | 18590 | 47886 | 62444 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148853 | 0
Total Supply | 31319709.6435 | 80548174.1767 | 105031003.4406 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251218943.0635

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22315 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51540 | 0 | 0
Total Capacity | 18590 | 47888 | 62444 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148855 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105031003.4406 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251222378.2639

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22315 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51540 | 0 | 0
Total Capacity | 18590 | 47888 | 62444 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148855 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105031003.4406 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251222378.2639

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646