## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25753 | 25753 | 73830 | 73830 | 2134537855.2192 | 0 | 0 | 2134537855.2192
1 | 0.17496 | 38832 | 13079 | 111941 | 38111 | 2134537855.2192 | 124564173.2511 | 0.058357 | 2009973681.9681
2 | 0.17777 | 45089 | 6257 | 129997 | 18056 | 2134537855.2192 | 188893798.7612 | 0.088494 | 1945644056.4581
3 | 0.17916 | 48245 | 3156 | 139194 | 9197 | 2134537855.2192 | 219370655.6662 | 0.10277 | 1915167199.553
4 | 0.17989 | 49907 | 1662 | 144079 | 4885 | 2134537855.2192 | 234908819.5702 | 0.11005 | 1899629035.6491
5 | 0.18028 | 50716 | 809 | 146431 | 2352 | 2134537855.2192 | 243159365.9987 | 0.11392 | 1891378489.2205
6 | 0.18047 | 51133 | 417 | 147705 | 1274 | 2134537855.2192 | 247120050.1531 | 0.11577 | 1887417805.0661
7 | 0.18058 | 51335 | 202 | 148331 | 626 | 2134537855.2192 | 249280175.8838 | 0.11678 | 1885257679.3355
8 | 0.18063 | 51430 | 95 | 148573 | 242 | 2134537855.2192 | 250337611.4263 | 0.11728 | 1884200243.7929
9 | 0.18065 | 51487 | 57 | 148723 | 150 | 2134537855.2192 | 250746532.4885 | 0.11747 | 1883791322.7308
10 | 0.18066 | 51507 | 20 | 148771 | 48 | 2134537855.2192 | 251000120.7871 | 0.11759 | 1883537734.4322
11 | 0.18066 | 51522 | 15 | 148809 | 38 | 2134537855.2192 | 251080404.8912 | 0.11763 | 1883457450.328
12 | 0.18067 | 51531 | 9 | 148829 | 20 | 2134537855.2192 | 251144110.5381 | 0.11766 | 1883393744.6811
13 | 0.18067 | 51536 | 5 | 148843 | 14 | 2134537855.2192 | 251178051.2815 | 0.11767 | 1883359803.9377
14 | 0.18067 | 51538 | 2 | 148849 | 6 | 2134537855.2192 | 251202226.3515 | 0.11768 | 1883335628.8677
15 | 0.18067 | 51538 | 0 | 148849 | 0 | 2134537855.2192 | 251212765.7698 | 0.11769 | 1883325089.4494
16 | 0.18067 | 51538 | 0 | 148849 | 0 | 2134537855.2192 | 251212765.7698 | 0.11769 | 1883325089.4494
17 | 0.18067 | 51539 | 1 | 148853 | 4 | 2134537855.2192 | 251212765.7698 | 0.11769 | 1883325089.4494
18 | 0.18067 | 51540 | 1 | 148855 | 2 | 2134537855.2192 | 251218862.1772 | 0.11769 | 1883318993.042
19 | 0.18067 | 51540 | 0 | 148855 | 0 | 2134537855.2192 | 251222426.2936 | 0.11769 | 1883315428.9256

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1157 | 1561 | 1731 | 1 | 6 | 0 | 0 | 0 | 0 | 1 | 9 | 27 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 4495 | 8990 | 16020703.182
2kW_SE | 1119 | 1571 | 1736 | 10 | 5 | 0 | 1 | 0 | 0 | 1 | 3 | 31 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 4479 | 8958 | 15386262.4169
2kW_SW | 1103 | 1614 | 1723 | 4 | 5 | 0 | 0 | 0 | 0 | 2 | 2 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4481 | 8962 | 15285522.0149
2kW_W | 1078 | 1618 | 1760 | 2 | 5 | 0 | 1 | 0 | 0 | 1 | 4 | 43 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 4514 | 9028 | 13759591.5424
4kW_S | 31 | 704 | 967 | 4 | 0 | 0 | 2 | 0 | 2 | 1 | 9 | 50 | 1 | 0 | 0 | 2 | 1 | 0 | 1 | 1775 | 7100 | 12652613.2644
4kW_SE | 27 | 701 | 944 | 2 | 2 | 0 | 1 | 0 | 2 | 3 | 19 | 57 | 0 | 0 | 0 | 2 | 1 | 0 | 4 | 1765 | 7060 | 12126257.1949
4kW_SW | 33 | 660 | 1010 | 7 | 2 | 1 | 2 | 0 | 0 | 1 | 14 | 41 | 1 | 0 | 0 | 2 | 2 | 0 | 5 | 1781 | 7124 | 12150642.7225
4kW_W | 22 | 661 | 997 | 3 | 3 | 0 | 1 | 0 | 0 | 3 | 11 | 34 | 1 | 0 | 0 | 3 | 1 | 0 | 2 | 1742 | 6968 | 10619941.7117
6kW_S | 0 | 8 | 62 | 2 | 0 | 0 | 2 | 0 | 0 | 11 | 16 | 11 | 2 | 1 | 2 | 11 | 4 | 3 | 12 | 147 | 882 | 1571775.3359
6kW_SE | 0 | 8 | 64 | 3 | 0 | 1 | 2 | 4 | 0 | 12 | 14 | 18 | 4 | 1 | 3 | 13 | 6 | 1 | 13 | 167 | 1002 | 1721035.3789
6kW_SW | 0 | 16 | 52 | 2 | 0 | 1 | 0 | 0 | 1 | 7 | 18 | 11 | 2 | 1 | 3 | 8 | 3 | 1 | 11 | 137 | 822 | 1401997.2373
6kW_W | 0 | 19 | 68 | 0 | 0 | 3 | 0 | 1 | 0 | 8 | 18 | 24 | 2 | 0 | 1 | 5 | 5 | 0 | 10 | 164 | 984 | 1499716.2243
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 1 | 1 | 0 | 1 | 1 | 2 | 5 | 16 | 400 | 712823.2832
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 3 | 0 | 1 | 3 | 2 | 4 | 2 | 1 | 5 | 24 | 600 | 1023355.646
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 2 | 0 | 0 | 1 | 4 | 7 | 2 | 5 | 7 | 33 | 2475 | 4410594.0606
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 3 | 11 | 1 | 5 | 7 | 33 | 2475 | 4221342.035
Total Units | 4570 | 9141 | 11114 | 40 | 28 | 6 | 13 | 6 | 5 | 64 | 146 | 375 | 16 | 9 | 19 | 69 | 30 | 18 | 84 | 25753 | 0 | 0
Total Capacity | 9366 | 23938 | 31048 | 140 | 70 | 34 | 77 | 55 | 22 | 1145 | 969 | 1370 | 124 | 195 | 631 | 1733 | 430 | 855 | 1628 | 0 | 73830 | 0
Total Supply | 15781908.2639 | 40270317.4268 | 52199139.2427 | 238725.4356 | 116532.4115 | 54795.3619 | 131987.139 | 93006.834 | 38230.8235 | 1978775.5929 | 1656260.2449 | 2299484.2971 | 212036.9233 | 340920.8996 | 1099237.4485 | 2996916.6936 | 742873.9939 | 1492228.0396 | 2820796.179 | 0 | 0 | 124564173.2511

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1707 | 2399 | 2618 | 3 | 7 | 0 | 0 | 0 | 0 | 1 | 10 | 41 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 6788 | 13576 | 24193222.0689
2kW_SE | 1701 | 2388 | 2634 | 11 | 7 | 0 | 1 | 0 | 0 | 1 | 6 | 48 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 6801 | 13602 | 23362797.6552
2kW_SW | 1679 | 2404 | 2638 | 6 | 6 | 0 | 0 | 0 | 0 | 3 | 3 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6790 | 13580 | 23161949.2259
2kW_W | 1583 | 2415 | 2617 | 6 | 6 | 0 | 2 | 0 | 0 | 1 | 6 | 65 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 6704 | 13408 | 20435157.6651
4kW_S | 44 | 1039 | 1468 | 7 | 1 | 0 | 2 | 0 | 2 | 1 | 11 | 65 | 1 | 0 | 0 | 2 | 1 | 0 | 1 | 2645 | 10580 | 18854175.8221
4kW_SE | 40 | 1039 | 1460 | 3 | 2 | 0 | 1 | 0 | 2 | 4 | 29 | 76 | 0 | 0 | 0 | 5 | 1 | 0 | 5 | 2667 | 10668 | 18323358.6056
4kW_SW | 51 | 991 | 1503 | 8 | 5 | 1 | 2 | 0 | 0 | 3 | 19 | 63 | 1 | 0 | 0 | 2 | 2 | 0 | 5 | 2656 | 10624 | 18120217.3335
4kW_W | 35 | 994 | 1508 | 3 | 4 | 0 | 1 | 0 | 0 | 5 | 21 | 65 | 1 | 0 | 0 | 6 | 1 | 0 | 3 | 2647 | 10588 | 16137190.4196
6kW_S | 0 | 21 | 114 | 2 | 0 | 0 | 5 | 0 | 1 | 15 | 33 | 19 | 2 | 1 | 3 | 16 | 7 | 5 | 17 | 261 | 1566 | 2790703.1475
6kW_SE | 0 | 17 | 92 | 3 | 0 | 2 | 3 | 4 | 0 | 18 | 22 | 21 | 5 | 1 | 4 | 18 | 7 | 1 | 18 | 236 | 1416 | 2432121.8528
6kW_SW | 0 | 26 | 89 | 2 | 0 | 1 | 2 | 1 | 1 | 10 | 32 | 14 | 3 | 2 | 3 | 10 | 4 | 2 | 15 | 217 | 1302 | 2220681.7555
6kW_W | 0 | 25 | 104 | 0 | 0 | 3 | 3 | 1 | 0 | 15 | 28 | 35 | 6 | 3 | 2 | 9 | 5 | 0 | 12 | 251 | 1506 | 2295297.3921
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 5 | 0 | 1 | 2 | 2 | 1 | 2 | 2 | 9 | 27 | 675 | 1202889.2905
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 5 | 0 | 1 | 4 | 2 | 6 | 3 | 1 | 10 | 36 | 900 | 1535033.4691
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 9 | 2 | 0 | 0 | 1 | 6 | 8 | 2 | 6 | 11 | 47 | 3525 | 6281755.1772
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 1 | 4 | 16 | 3 | 8 | 17 | 59 | 4425 | 7547247.8808
Total Units | 6840 | 13758 | 16845 | 54 | 38 | 10 | 26 | 7 | 6 | 97 | 232 | 563 | 22 | 18 | 27 | 99 | 40 | 25 | 125 | 38832 | 0 | 0
Total Capacity | 14020 | 35998 | 47164 | 178 | 100 | 215 | 308 | 61 | 28 | 1762 | 1460 | 2020 | 160 | 348 | 924 | 2353 | 662 | 1173 | 3007 | 0 | 111941 | 0
Total Supply | 23629682.7931 | 60575276.5924 | 79326336.7318 | 303381.5246 | 167118.071 | 365491.3294 | 537179.1239 | 103240.3905 | 48923.1727 | 3047306.8781 | 2486435.6963 | 3377586.9652 | 269154.5253 | 600569.4196 | 1613711.1068 | 4056383.7074 | 1141568.5878 | 2041259.0268 | 5203193.1184 | 0 | 0 | 188893798.7612

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2009 | 2792 | 3044 | 3 | 8 | 0 | 0 | 0 | 0 | 1 | 11 | 55 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 7926 | 15852 | 28249186.523
2kW_SE | 1959 | 2809 | 3039 | 11 | 9 | 0 | 1 | 0 | 0 | 1 | 6 | 59 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 7898 | 15796 | 27131212.4512
2kW_SW | 1922 | 2777 | 3068 | 9 | 7 | 0 | 0 | 0 | 0 | 4 | 3 | 58 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7849 | 15698 | 26774394.6206
2kW_W | 1852 | 2817 | 3062 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 6 | 71 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 7827 | 15654 | 23858290.4303
4kW_S | 49 | 1201 | 1684 | 8 | 1 | 0 | 3 | 0 | 2 | 2 | 17 | 75 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3048 | 12192 | 21726853.6506
4kW_SE | 44 | 1211 | 1690 | 6 | 2 | 0 | 2 | 0 | 2 | 5 | 31 | 84 | 0 | 0 | 0 | 5 | 2 | 0 | 6 | 3090 | 12360 | 21229538.0919
4kW_SW | 59 | 1151 | 1737 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 21 | 67 | 1 | 0 | 0 | 2 | 2 | 0 | 6 | 3067 | 12268 | 20924211.8079
4kW_W | 41 | 1161 | 1738 | 3 | 4 | 0 | 2 | 0 | 0 | 6 | 23 | 76 | 1 | 0 | 0 | 7 | 1 | 0 | 3 | 3066 | 12264 | 18691585.1252
6kW_S | 0 | 23 | 133 | 2 | 0 | 0 | 6 | 0 | 1 | 17 | 37 | 22 | 3 | 2 | 3 | 20 | 10 | 5 | 19 | 303 | 1818 | 3239781.8149
6kW_SE | 0 | 18 | 119 | 3 | 0 | 2 | 5 | 4 | 0 | 19 | 23 | 28 | 6 | 1 | 4 | 21 | 8 | 1 | 18 | 280 | 1680 | 2885568.2999
6kW_SW | 0 | 28 | 100 | 2 | 0 | 1 | 2 | 1 | 1 | 14 | 38 | 16 | 3 | 2 | 3 | 16 | 4 | 2 | 15 | 248 | 1488 | 2537922.0063
6kW_W | 0 | 28 | 120 | 1 | 0 | 3 | 3 | 1 | 0 | 18 | 30 | 41 | 6 | 4 | 2 | 13 | 5 | 0 | 17 | 292 | 1752 | 2670226.4482
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 5 | 0 | 1 | 2 | 2 | 1 | 2 | 3 | 9 | 28 | 700 | 1247440.7457
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 3 | 8 | 0 | 1 | 4 | 2 | 6 | 3 | 1 | 10 | 41 | 1025 | 1748232.562
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 12 | 2 | 0 | 0 | 1 | 9 | 10 | 3 | 7 | 13 | 59 | 4425 | 7885607.5628
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 5 | 18 | 3 | 8 | 19 | 67 | 5025 | 8570603.5257
Total Units | 7935 | 16016 | 19534 | 63 | 44 | 10 | 33 | 8 | 6 | 117 | 261 | 652 | 24 | 20 | 31 | 123 | 47 | 27 | 138 | 45089 | 0 | 0
Total Capacity | 16256 | 41868 | 54654 | 210 | 114 | 215 | 413 | 86 | 28 | 2236 | 1663 | 2336 | 172 | 360 | 1224 | 2765 | 767 | 1273 | 3357 | 0 | 129997 | 0
Total Supply | 27395492.6786 | 70445697.0266 | 91917954.5806 | 357321.498 | 190834.3483 | 365491.3294 | 716497.1718 | 145880.2091 | 48923.1727 | 3870313.2895 | 2833032.5826 | 3907585.8531 | 290152.4756 | 620406.3799 | 2142593.6589 | 4767986.0897 | 1327887.1882 | 2219464.8475 | 5807141.2863 | 0 | 0 | 219370655.6662

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2134 | 2995 | 3255 | 3 | 9 | 0 | 0 | 0 | 0 | 1 | 12 | 59 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8472 | 16944 | 30195194.073
2kW_SE | 2108 | 2995 | 3248 | 11 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 66 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8450 | 16900 | 29027443.0505
2kW_SW | 2071 | 2982 | 3265 | 9 | 7 | 0 | 0 | 0 | 0 | 4 | 3 | 62 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8404 | 16808 | 28667602.547
2kW_W | 1989 | 3025 | 3283 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 6 | 75 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8398 | 16796 | 25598814.7482
4kW_S | 51 | 1271 | 1809 | 8 | 1 | 0 | 3 | 0 | 2 | 2 | 19 | 81 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3253 | 13012 | 23188141.3797
4kW_SE | 48 | 1306 | 1811 | 8 | 2 | 0 | 2 | 0 | 2 | 5 | 32 | 93 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3323 | 13292 | 22830341.4497
4kW_SW | 66 | 1231 | 1846 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 22 | 74 | 1 | 0 | 0 | 2 | 2 | 0 | 6 | 3271 | 13084 | 22315975.4887
4kW_W | 42 | 1243 | 1867 | 3 | 5 | 0 | 2 | 0 | 0 | 6 | 23 | 78 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3282 | 13128 | 20008409.1262
6kW_S | 0 | 25 | 141 | 2 | 0 | 0 | 7 | 1 | 1 | 17 | 39 | 22 | 3 | 2 | 3 | 22 | 10 | 6 | 19 | 320 | 1920 | 3421551.7517
6kW_SE | 0 | 19 | 131 | 3 | 0 | 2 | 5 | 4 | 0 | 19 | 24 | 28 | 6 | 1 | 4 | 22 | 8 | 1 | 18 | 295 | 1770 | 3040152.3159
6kW_SW | 0 | 29 | 104 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 38 | 18 | 3 | 2 | 3 | 16 | 4 | 2 | 17 | 259 | 1554 | 2650491.1275
6kW_W | 0 | 29 | 124 | 1 | 0 | 3 | 3 | 1 | 0 | 18 | 32 | 42 | 7 | 4 | 2 | 16 | 6 | 0 | 18 | 306 | 1836 | 2798251.0039
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 5 | 0 | 1 | 2 | 2 | 2 | 2 | 4 | 9 | 31 | 775 | 1381095.1113
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 4 | 8 | 0 | 1 | 5 | 2 | 6 | 3 | 1 | 11 | 44 | 1100 | 1876152.0177
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 9 | 10 | 4 | 10 | 16 | 67 | 5025 | 8954842.4866
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 5 | 19 | 4 | 9 | 19 | 70 | 5250 | 8954361.8925
Total Units | 8509 | 17150 | 20884 | 65 | 46 | 11 | 34 | 9 | 6 | 121 | 272 | 698 | 27 | 21 | 32 | 132 | 50 | 33 | 145 | 48245 | 0 | 0
Total Capacity | 17432 | 44810 | 58434 | 218 | 120 | 240 | 419 | 92 | 28 | 2348 | 1713 | 2488 | 184 | 385 | 1228 | 2903 | 923 | 1604 | 3625 | 0 | 139194 | 0
Total Supply | 29374313.6947 | 75389907.2263 | 98272737.8242 | 371062.2993 | 200494.8721 | 410042.7846 | 727189.521 | 156572.5583 | 48923.1727 | 4067074.5865 | 2917960.6585 | 4165890.4167 | 309731.6038 | 663046.1985 | 2148690.0663 | 5002629.3371 | 1598605.6204 | 2803591.2039 | 6280355.9253 | 0 | 0 | 234908819.5701

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2201 | 3093 | 3369 | 3 | 9 | 0 | 0 | 0 | 0 | 1 | 12 | 60 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8752 | 17504 | 31193146.6628
2kW_SE | 2180 | 3093 | 3368 | 12 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 68 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8743 | 17486 | 30033956.7562
2kW_SW | 2145 | 3089 | 3381 | 9 | 7 | 0 | 0 | 0 | 0 | 4 | 3 | 65 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8704 | 17408 | 29690958.1829
2kW_W | 2063 | 3129 | 3386 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 7 | 80 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8685 | 17370 | 26473649.2127
4kW_S | 52 | 1314 | 1881 | 8 | 1 | 0 | 3 | 0 | 2 | 2 | 20 | 82 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3371 | 13484 | 24029272.8531
4kW_SE | 48 | 1340 | 1880 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 32 | 98 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3432 | 13728 | 23579215.1235
4kW_SW | 70 | 1273 | 1905 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 76 | 1 | 0 | 0 | 2 | 2 | 0 | 6 | 3379 | 13516 | 23052791.5549
4kW_W | 44 | 1302 | 1919 | 4 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 81 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3400 | 13600 | 20727785.2008
6kW_S | 0 | 26 | 143 | 2 | 0 | 1 | 7 | 1 | 1 | 19 | 44 | 22 | 3 | 2 | 3 | 23 | 10 | 6 | 19 | 332 | 1992 | 3549859.9424
6kW_SE | 0 | 22 | 133 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 30 | 6 | 1 | 4 | 22 | 8 | 1 | 18 | 304 | 1824 | 3132902.7256
6kW_SW | 0 | 29 | 106 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 39 | 18 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 267 | 1602 | 2732359.5794
6kW_W | 0 | 30 | 127 | 1 | 0 | 3 | 3 | 1 | 0 | 21 | 32 | 43 | 7 | 4 | 2 | 16 | 6 | 0 | 19 | 315 | 1890 | 2880552.5041
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 2 | 2 | 4 | 9 | 33 | 825 | 1470198.0217
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 3 | 1 | 12 | 48 | 1200 | 2046711.2921
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 9 | 11 | 4 | 10 | 18 | 70 | 5250 | 9355805.583
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 5 | 19 | 4 | 9 | 20 | 72 | 5400 | 9210200.8037
Total Units | 8803 | 17740 | 21598 | 68 | 46 | 13 | 34 | 9 | 6 | 129 | 283 | 723 | 27 | 22 | 33 | 136 | 52 | 33 | 152 | 49907 | 0 | 0
Total Capacity | 18034 | 46366 | 60402 | 228 | 120 | 321 | 419 | 92 | 28 | 2434 | 1769 | 2572 | 184 | 410 | 1253 | 3015 | 935 | 1604 | 3893 | 0 | 144079 | 0
Total Supply | 30385049.2485 | 77994939.314 | 101597653.9613 | 387464.3078 | 200494.8721 | 548654.5894 | 727189.521 | 156572.5583 | 48923.1727 | 4213389.9932 | 3015056.7771 | 4304969.5224 | 309731.6038 | 705686.0171 | 2193241.5215 | 5199849.4268 | 1619072.7333 | 2803591.2039 | 6747835.6546 | 0 | 0 | 243159365.9987

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2227 | 3139 | 3420 | 3 | 9 | 0 | 0 | 0 | 0 | 1 | 12 | 60 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8875 | 17750 | 31631532.979
2kW_SE | 2208 | 3152 | 3417 | 13 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 71 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8883 | 17766 | 30514884.8068
2kW_SW | 2182 | 3143 | 3421 | 9 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8839 | 17678 | 30151468.2191
2kW_W | 2097 | 3184 | 3432 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8822 | 17644 | 26891253.1208
4kW_S | 54 | 1330 | 1923 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 83 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3435 | 13740 | 24485479.7539
4kW_SE | 48 | 1366 | 1919 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 32 | 100 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3499 | 13996 | 24039531.9688
4kW_SW | 72 | 1296 | 1925 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 77 | 1 | 0 | 0 | 2 | 2 | 0 | 6 | 3425 | 13700 | 23366620.6202
4kW_W | 46 | 1332 | 1958 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 82 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3473 | 13892 | 21172822.9419
6kW_S | 0 | 27 | 145 | 2 | 0 | 1 | 7 | 1 | 1 | 19 | 44 | 23 | 3 | 2 | 3 | 23 | 10 | 6 | 21 | 338 | 2028 | 3614014.0377
6kW_SE | 0 | 22 | 135 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 22 | 9 | 1 | 18 | 308 | 1848 | 3174125.1299
6kW_SW | 0 | 29 | 108 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 19 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 272 | 1632 | 2783527.3617
6kW_W | 0 | 31 | 129 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 322 | 1932 | 2944564.7819
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 2 | 2 | 4 | 9 | 33 | 825 | 1470198.0217
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 3 | 1 | 12 | 48 | 1200 | 2046711.2921
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 9 | 11 | 5 | 10 | 19 | 72 | 5400 | 9623114.314
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 5 | 19 | 4 | 9 | 20 | 72 | 5400 | 9210200.8037
Total Units | 8934 | 18051 | 21932 | 70 | 46 | 13 | 36 | 9 | 6 | 130 | 290 | 738 | 27 | 22 | 33 | 137 | 54 | 33 | 155 | 50716 | 0 | 0
Total Capacity | 18308 | 47186 | 61382 | 234 | 120 | 321 | 429 | 92 | 28 | 2436 | 1799 | 2628 | 184 | 410 | 1253 | 3021 | 1016 | 1604 | 3980 | 0 | 146431 | 0
Total Supply | 30843848.6951 | 79365746.566 | 103246704.4533 | 396995.9155 | 200494.8721 | 548654.5894 | 743462.3649 | 156572.5583 | 48923.1727 | 4216801.1786 | 3065384.356 | 4399309.6285 | 309731.6038 | 705686.0171 | 2193241.5215 | 5208994.038 | 1763032.6999 | 2803591.2039 | 6902874.7185 | 0 | 0 | 247120050.1531

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2241 | 3165 | 3449 | 3 | 9 | 0 | 0 | 0 | 0 | 1 | 12 | 60 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8944 | 17888 | 31877457.01
2kW_SE | 2226 | 3187 | 3450 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8973 | 17946 | 30824052.8393
2kW_SW | 2195 | 3166 | 3456 | 9 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8910 | 17820 | 30393662.3862
2kW_W | 2115 | 3203 | 3461 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8888 | 17776 | 27092434.5656
4kW_S | 55 | 1341 | 1938 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 83 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3462 | 13848 | 24677942.0402
4kW_SE | 48 | 1378 | 1935 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 100 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3528 | 14112 | 24238773.5885
4kW_SW | 74 | 1304 | 1940 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 77 | 1 | 0 | 0 | 2 | 2 | 0 | 6 | 3450 | 13800 | 23537179.8948
4kW_W | 47 | 1342 | 1976 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 82 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3502 | 14008 | 21349618.7568
6kW_S | 0 | 27 | 146 | 2 | 0 | 1 | 7 | 1 | 1 | 19 | 44 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 341 | 2046 | 3646091.0854
6kW_SE | 0 | 22 | 135 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 22 | 9 | 1 | 18 | 308 | 1848 | 3174125.1299
6kW_SW | 0 | 29 | 110 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 31 | 130 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 323 | 1938 | 2953709.3931
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 3 | 1 | 12 | 48 | 1200 | 2046711.2921
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 5 | 19 | 4 | 10 | 20 | 73 | 5475 | 9338120.2593
Total Units | 9001 | 18195 | 22126 | 71 | 46 | 13 | 36 | 9 | 6 | 130 | 291 | 743 | 27 | 22 | 34 | 140 | 54 | 34 | 155 | 51133 | 0 | 0
Total Capacity | 18450 | 47556 | 61914 | 236 | 120 | 321 | 429 | 92 | 28 | 2436 | 1803 | 2646 | 184 | 410 | 1328 | 3077 | 1016 | 1679 | 3980 | 0 | 147705 | 0
Total Supply | 31081662.391 | 79991417.1519 | 104140439.7137 | 400431.1159 | 200494.8721 | 548654.5894 | 743462.3649 | 156572.5583 | 48923.1727 | 4216801.1786 | 3072254.7566 | 4430541.1353 | 309731.6038 | 705686.0171 | 2326895.8869 | 5308789.2976 | 1763032.6999 | 2931510.6596 | 6902874.7185 | 0 | 0 | 249280175.8837

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2247 | 3179 | 3465 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 60 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8981 | 17962 | 32009329.3166
2kW_SE | 2239 | 3202 | 3463 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9014 | 18028 | 30964896.0541
2kW_SW | 2205 | 3176 | 3466 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8941 | 17882 | 30499409.1353
2kW_W | 2119 | 3216 | 3478 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8922 | 17844 | 27196073.4917
4kW_S | 56 | 1344 | 1945 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3474 | 13896 | 24763480.8341
4kW_SE | 48 | 1382 | 1945 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3544 | 14176 | 24348699.9993
4kW_SW | 74 | 1306 | 1947 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 77 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3460 | 13840 | 23605403.6046
4kW_W | 47 | 1346 | 1985 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 82 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3515 | 14060 | 21428872.0532
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 1 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 24 | 135 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 22 | 9 | 1 | 18 | 310 | 1860 | 3194736.332
6kW_SW | 0 | 29 | 110 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9035 | 18262 | 22218 | 72 | 47 | 13 | 36 | 9 | 6 | 130 | 292 | 746 | 27 | 22 | 35 | 141 | 55 | 34 | 155 | 51335 | 0 | 0
Total Capacity | 18520 | 47724 | 62176 | 238 | 122 | 321 | 429 | 92 | 28 | 2436 | 1809 | 2658 | 184 | 410 | 1403 | 3081 | 1041 | 1679 | 3980 | 0 | 148331 | 0
Total Supply | 31201137.5962 | 80274089.1645 | 104579809.7079 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 48923.1727 | 4216801.1786 | 3082947.1059 | 4451410.1695 | 309731.6038 | 705686.0171 | 2454815.3425 | 5315611.6686 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 250337611.4263

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2250 | 3187 | 3472 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 60 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8999 | 17998 | 32073483.4116
2kW_SE | 2244 | 3207 | 3470 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9031 | 18062 | 31023294.4602
2kW_SW | 2210 | 3181 | 3472 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8957 | 17914 | 30553988.1025
2kW_W | 2120 | 3221 | 3491 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8941 | 17882 | 27253989.3622
4kW_S | 56 | 1347 | 1950 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3482 | 13928 | 24820506.6967
4kW_SE | 48 | 1385 | 1948 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3550 | 14200 | 24389922.4034
4kW_SW | 74 | 1307 | 1951 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3466 | 13864 | 23646337.8305
4kW_W | 47 | 1347 | 1988 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 82 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3519 | 14076 | 21453257.6828
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 1 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 24 | 135 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 311 | 1866 | 3205041.9331
6kW_SW | 0 | 29 | 110 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9049 | 18293 | 22266 | 72 | 47 | 13 | 36 | 9 | 6 | 130 | 292 | 747 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51430 | 0 | 0
Total Capacity | 18548 | 47802 | 62302 | 238 | 122 | 321 | 429 | 92 | 28 | 2436 | 1809 | 2662 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148573 | 0
Total Supply | 31249110.0782 | 80406989.7221 | 104790729.7585 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 48923.1727 | 4216801.1786 | 3082947.1059 | 4458232.5405 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 250746532.4885

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2254 | 3190 | 3475 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9010 | 18020 | 32112688.6919
2kW_SE | 2246 | 3211 | 3471 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9038 | 18076 | 31047340.8627
2kW_SW | 2214 | 3188 | 3476 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8972 | 17944 | 30605155.8843
2kW_W | 2122 | 3224 | 3494 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8949 | 17898 | 27278374.9918
4kW_S | 56 | 1347 | 1951 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3483 | 13932 | 24827634.9295
4kW_SE | 48 | 1386 | 1950 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3553 | 14212 | 24410533.6054
4kW_SW | 74 | 1309 | 1956 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3473 | 13892 | 23694094.4274
4kW_W | 47 | 1347 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3522 | 14088 | 21471546.9051
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 110 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9061 | 18313 | 22288 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51487 | 0 | 0
Total Capacity | 18572 | 47848 | 62370 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148723 | 0
Total Supply | 31289978.0937 | 80484960.9247 | 104905125.9659 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251000120.787

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2256 | 3192 | 3479 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9018 | 18036 | 32141201.6231
2kW_SE | 2246 | 3211 | 3473 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9040 | 18080 | 31054211.2634
2kW_SW | 2214 | 3188 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8973 | 17946 | 30608567.0698
2kW_W | 2123 | 3226 | 3497 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8955 | 17910 | 27296664.2141
4kW_S | 56 | 1347 | 1951 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3483 | 13932 | 24827634.9295
4kW_SE | 48 | 1386 | 1951 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3554 | 14216 | 24417404.0061
4kW_SW | 74 | 1309 | 1956 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3473 | 13892 | 23694094.4274
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9064 | 18318 | 22300 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51507 | 0 | 0
Total Capacity | 18578 | 47860 | 62400 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148771 | 0
Total Supply | 31300154.5302 | 80504281.9723 | 104955912.586 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251080404.8912

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2256 | 3192 | 3480 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9019 | 18038 | 32144765.7394
2kW_SE | 2247 | 3212 | 3475 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9044 | 18088 | 31067952.0649
2kW_SW | 2215 | 3189 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8975 | 17950 | 30615389.4407
2kW_W | 2125 | 3227 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8959 | 17918 | 27308857.0289
4kW_S | 56 | 1347 | 1951 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3483 | 13932 | 24827634.9295
4kW_SE | 48 | 1386 | 1953 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3556 | 14224 | 24431144.8074
4kW_SW | 74 | 1310 | 1957 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9068 | 18322 | 22307 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51522 | 0 | 0
Total Capacity | 18586 | 47870 | 62420 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148809 | 0
Total Supply | 31313097.3234 | 80520998.9328 | 104989958.4791 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251144110.5381

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2256 | 3193 | 3482 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9022 | 18044 | 32155458.0886
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3190 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8976 | 17952 | 30618800.6261
2kW_W | 2126 | 3228 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8961 | 17922 | 27314953.4363
4kW_S | 56 | 1347 | 1951 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3483 | 13932 | 24827634.9295
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1957 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9069 | 18326 | 22311 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51531 | 0 | 0
Total Capacity | 18588 | 47878 | 62430 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148829 | 0
Total Supply | 31316145.5271 | 80534457.6387 | 105007392.3129 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251178051.2815

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3482 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9024 | 18048 | 32162586.3214
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3190 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8976 | 17952 | 30618800.6261
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1951 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3484 | 13936 | 24834763.1623
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1957 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18329 | 22312 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51536 | 0 | 0
Total Capacity | 18590 | 47886 | 62434 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148843 | 0
Total Supply | 31319709.6435 | 80548198.1916 | 105014262.7136 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251202226.3515

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3482 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9024 | 18048 | 32162586.3214
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1957 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22313 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51538 | 0 | 0
Total Capacity | 18590 | 47888 | 62438 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148849 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105021390.9464 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251212765.7698

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3482 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9024 | 18048 | 32162586.3214
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1957 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22313 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51538 | 0 | 0
Total Capacity | 18590 | 47888 | 62438 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148849 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105021390.9464 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251212765.7698

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3482 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9024 | 18048 | 32162586.3214
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1957 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22313 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51538 | 0 | 0
Total Capacity | 18590 | 47888 | 62438 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148849 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105021390.9464 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251212765.7698

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3482 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9024 | 18048 | 32162586.3214
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1957 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22314 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51539 | 0 | 0
Total Capacity | 18590 | 47888 | 62442 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148853 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105027487.3539 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251218862.1772

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1957 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22315 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51540 | 0 | 0
Total Capacity | 18590 | 47888 | 62444 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148855 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105031051.4702 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251222426.2936

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1957 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22315 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51540 | 0 | 0
Total Capacity | 18590 | 47888 | 62444 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148855 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105031051.4702 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251222426.2936