## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25776 | 25776 | 74724 | 74724 | 2134537855.2192 | 0 | 0 | 2134537855.2192
1 | 0.17502 | 38505 | 12729 | 111212 | 36488 | 2134537855.2192 | 126098923.5597 | 0.059076 | 2008438931.6595
2 | 0.17771 | 45138 | 6633 | 130578 | 19366 | 2134537855.2192 | 187700248.9859 | 0.087935 | 1946837606.2333
3 | 0.17921 | 48360 | 3222 | 140032 | 9454 | 2134537855.2192 | 220352553.7479 | 0.10323 | 1914185301.4714
4 | 0.17996 | 49915 | 1555 | 144376 | 4344 | 2134537855.2192 | 236348178.9354 | 0.11073 | 1898189676.2839
5 | 0.18031 | 50717 | 802 | 146605 | 2229 | 2134537855.2192 | 243670359.5209 | 0.11416 | 1890867495.6984
6 | 0.18049 | 51138 | 421 | 147766 | 1161 | 2134537855.2192 | 247427090.0874 | 0.11592 | 1887110765.1318
7 | 0.18058 | 51325 | 187 | 148284 | 518 | 2134537855.2192 | 249387627.5464 | 0.11683 | 1885150227.6728
8 | 0.18062 | 51421 | 96 | 148549 | 265 | 2134537855.2192 | 250255201.2196 | 0.11724 | 1884282653.9996
9 | 0.18065 | 51488 | 67 | 148719 | 170 | 2134537855.2192 | 250703594.9874 | 0.11745 | 1883834260.2318
10 | 0.18066 | 51515 | 27 | 148787 | 68 | 2134537855.2192 | 250993370.2121 | 0.11759 | 1883544485.0071
11 | 0.18067 | 51526 | 11 | 148819 | 32 | 2134537855.2192 | 251108579.3524 | 0.11764 | 1883429275.8669
12 | 0.18067 | 51533 | 7 | 148839 | 20 | 2134537855.2192 | 251161592.1531 | 0.11767 | 1883376263.0662
13 | 0.18067 | 51535 | 2 | 148843 | 4 | 2134537855.2192 | 251196411.7911 | 0.11768 | 1883341443.4281
14 | 0.18067 | 51536 | 1 | 148845 | 2 | 2134537855.2192 | 251203387.093 | 0.11769 | 1883334468.1263
15 | 0.18067 | 51536 | 0 | 148845 | 0 | 2134537855.2192 | 251206798.2784 | 0.11769 | 1883331056.9408
16 | 0.18067 | 51537 | 1 | 148849 | 4 | 2134537855.2192 | 251206798.2784 | 0.11769 | 1883331056.9408
17 | 0.18067 | 51538 | 1 | 148851 | 2 | 2134537855.2192 | 251213620.6494 | 0.11769 | 1883324234.5698
18 | 0.18067 | 51539 | 1 | 148853 | 2 | 2134537855.2192 | 251217055.8498 | 0.11769 | 1883320799.3695
19 | 0.18067 | 51540 | 1 | 148857 | 4 | 2134537855.2192 | 251220104.0535 | 0.11769 | 1883317751.1658

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1129 | 1573 | 1714 | 1 | 5 | 0 | 0 | 0 | 0 | 1 | 7 | 29 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 4460 | 8920 | 15895959.1083
2kW_SE | 1129 | 1572 | 1750 | 7 | 5 | 0 | 0 | 0 | 0 | 0 | 2 | 33 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 4501 | 9002 | 15461836.8249
2kW_SW | 1084 | 1616 | 1711 | 9 | 5 | 0 | 0 | 0 | 0 | 2 | 1 | 35 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4464 | 8928 | 15227531.8622
2kW_W | 1054 | 1602 | 1724 | 3 | 4 | 0 | 0 | 0 | 0 | 1 | 6 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4439 | 8878 | 13530976.2643
4kW_S | 26 | 704 | 971 | 6 | 1 | 0 | 2 | 0 | 1 | 2 | 9 | 43 | 1 | 0 | 0 | 2 | 1 | 0 | 1 | 1770 | 7080 | 12616972.1003
4kW_SE | 24 | 671 | 1020 | 4 | 1 | 0 | 1 | 0 | 2 | 4 | 15 | 61 | 1 | 0 | 0 | 3 | 0 | 0 | 2 | 1809 | 7236 | 12428554.8247
4kW_SW | 35 | 685 | 1006 | 3 | 3 | 1 | 1 | 0 | 0 | 2 | 15 | 47 | 1 | 0 | 0 | 1 | 0 | 0 | 5 | 1805 | 7220 | 12314379.6261
4kW_W | 23 | 649 | 1038 | 2 | 2 | 0 | 0 | 0 | 0 | 4 | 14 | 37 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 1775 | 7100 | 10821123.1563
6kW_S | 0 | 13 | 69 | 2 | 0 | 0 | 1 | 0 | 2 | 12 | 23 | 14 | 1 | 2 | 0 | 9 | 7 | 3 | 10 | 168 | 1008 | 1796314.6696
6kW_SE | 0 | 9 | 71 | 0 | 0 | 2 | 3 | 2 | 0 | 8 | 13 | 15 | 2 | 1 | 0 | 10 | 7 | 1 | 10 | 154 | 924 | 1587062.5649
6kW_SW | 0 | 14 | 51 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 27 | 10 | 2 | 2 | 2 | 8 | 2 | 1 | 8 | 137 | 822 | 1401997.2373
6kW_W | 0 | 19 | 76 | 0 | 0 | 2 | 0 | 1 | 0 | 12 | 18 | 24 | 3 | 4 | 0 | 6 | 4 | 0 | 7 | 176 | 1056 | 1609451.5578
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 2 | 3 | 0 | 0 | 1 | 1 | 3 | 1 | 2 | 3 | 18 | 450 | 801926.1936
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 4 | 3 | 0 | 0 | 3 | 0 | 4 | 4 | 1 | 7 | 28 | 700 | 1193914.9204
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 5 | 1 | 0 | 0 | 1 | 4 | 4 | 2 | 2 | 14 | 35 | 2625 | 4677902.7915
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 6 | 0 | 0 | 0 | 1 | 2 | 9 | 1 | 5 | 10 | 37 | 2775 | 4733019.8575
Total Units | 4504 | 9127 | 11201 | 37 | 26 | 8 | 14 | 4 | 5 | 74 | 157 | 392 | 13 | 17 | 10 | 62 | 31 | 15 | 79 | 25776 | 0 | 0
Total Capacity | 9224 | 23892 | 31540 | 112 | 66 | 203 | 321 | 43 | 24 | 1277 | 955 | 1412 | 66 | 308 | 489 | 1384 | 480 | 630 | 2298 | 0 | 74724 | 0
Total Supply | 15541984.3791 | 40209163.7351 | 53019208.0975 | 191751.425 | 110903.8871 | 346113.1618 | 562211.4066 | 72395.6319 | 42253.7326 | 2201244.2178 | 1624449.0553 | 2368143.5415 | 109557.11 | 529779.9058 | 858910.1416 | 2386108.7355 | 831005.9513 | 1091264.9432 | 4002474.5012 | 0 | 0 | 126098923.5597

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1676 | 2403 | 2578 | 1 | 8 | 0 | 0 | 0 | 0 | 1 | 9 | 45 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 6723 | 13446 | 23961554.5034
2kW_SE | 1682 | 2379 | 2617 | 10 | 5 | 0 | 0 | 0 | 0 | 1 | 6 | 52 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 6756 | 13512 | 23208213.6389
2kW_SW | 1656 | 2376 | 2597 | 9 | 5 | 0 | 0 | 0 | 0 | 2 | 3 | 55 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 6704 | 13408 | 22868587.2769
2kW_W | 1573 | 2388 | 2600 | 5 | 4 | 0 | 0 | 0 | 0 | 1 | 6 | 60 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 6641 | 13282 | 20243120.8315
4kW_S | 41 | 1010 | 1445 | 7 | 1 | 0 | 3 | 0 | 2 | 2 | 16 | 62 | 1 | 0 | 0 | 2 | 1 | 0 | 1 | 2594 | 10376 | 18490635.9481
4kW_SE | 35 | 1028 | 1477 | 8 | 1 | 0 | 2 | 0 | 2 | 5 | 25 | 83 | 1 | 0 | 0 | 3 | 0 | 0 | 4 | 2674 | 10696 | 18371451.4103
4kW_SW | 56 | 1006 | 1491 | 6 | 4 | 1 | 1 | 0 | 0 | 3 | 21 | 63 | 1 | 0 | 0 | 2 | 1 | 0 | 5 | 2661 | 10644 | 18154329.1884
4kW_W | 38 | 987 | 1516 | 4 | 3 | 0 | 2 | 0 | 0 | 4 | 20 | 57 | 1 | 0 | 0 | 5 | 1 | 0 | 3 | 2641 | 10564 | 16100611.9751
6kW_S | 0 | 19 | 108 | 2 | 0 | 0 | 5 | 0 | 2 | 17 | 34 | 21 | 2 | 2 | 2 | 15 | 8 | 4 | 14 | 255 | 1530 | 2726549.0521
6kW_SE | 0 | 14 | 107 | 2 | 0 | 2 | 4 | 3 | 0 | 14 | 21 | 22 | 5 | 1 | 2 | 14 | 9 | 1 | 12 | 233 | 1398 | 2401205.0495
6kW_SW | 0 | 21 | 83 | 2 | 0 | 0 | 2 | 1 | 1 | 13 | 36 | 13 | 2 | 2 | 2 | 13 | 5 | 1 | 12 | 209 | 1254 | 2138813.3037
6kW_W | 0 | 22 | 104 | 0 | 0 | 3 | 0 | 1 | 0 | 17 | 24 | 33 | 6 | 4 | 0 | 12 | 5 | 0 | 11 | 242 | 1452 | 2212995.892
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 2 | 4 | 0 | 0 | 2 | 1 | 3 | 1 | 4 | 6 | 25 | 625 | 1113786.3801
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 4 | 5 | 0 | 0 | 4 | 2 | 6 | 4 | 1 | 11 | 40 | 1000 | 1705592.7434
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 9 | 2 | 0 | 0 | 1 | 7 | 8 | 2 | 7 | 17 | 55 | 4125 | 7350990.101
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 3 | 12 | 2 | 8 | 12 | 52 | 3900 | 6651811.6916
Total Units | 6757 | 13653 | 16723 | 56 | 31 | 10 | 24 | 7 | 7 | 105 | 232 | 566 | 20 | 20 | 20 | 97 | 42 | 26 | 109 | 38505 | 0 | 0
Total Capacity | 13854 | 35672 | 46912 | 186 | 80 | 284 | 373 | 80 | 34 | 2007 | 1441 | 2018 | 108 | 360 | 863 | 2101 | 605 | 1286 | 2948 | 0 | 111212 | 0
Total Supply | 23341651.4509 | 60027265.998 | 78882474.4492 | 316501.5119 | 134515.0147 | 483177.2285 | 651711.4093 | 135574.608 | 59615.5219 | 3466620.1082 | 2458770.5503 | 3385092.3232 | 178600.0958 | 620406.3799 | 1515068.2314 | 3626803.656 | 1042993.0172 | 2243090.397 | 5130317.0344 | 0 | 0 | 187700248.9859

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1959 | 2792 | 3055 | 1 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 55 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 7889 | 15778 | 28117314.2165
2kW_SE | 1988 | 2790 | 3046 | 12 | 8 | 0 | 1 | 0 | 0 | 1 | 6 | 61 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 7917 | 15834 | 27196481.258
2kW_SW | 1942 | 2775 | 3066 | 10 | 7 | 0 | 0 | 0 | 0 | 4 | 4 | 62 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7871 | 15742 | 26849440.7006
2kW_W | 1847 | 2800 | 3076 | 6 | 6 | 0 | 0 | 0 | 0 | 1 | 7 | 75 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 7822 | 15644 | 23843049.4118
4kW_S | 45 | 1175 | 1680 | 7 | 1 | 0 | 3 | 0 | 2 | 2 | 20 | 73 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3014 | 12056 | 21484493.7346
4kW_SE | 40 | 1210 | 1721 | 9 | 1 | 0 | 2 | 0 | 2 | 5 | 28 | 93 | 1 | 0 | 0 | 4 | 2 | 0 | 5 | 3123 | 12492 | 21456261.3143
4kW_SW | 67 | 1157 | 1731 | 8 | 4 | 1 | 2 | 0 | 0 | 3 | 22 | 71 | 1 | 0 | 0 | 2 | 2 | 0 | 6 | 3077 | 12308 | 20992435.5178
4kW_W | 43 | 1180 | 1779 | 4 | 4 | 0 | 2 | 0 | 0 | 6 | 22 | 68 | 1 | 0 | 1 | 6 | 1 | 0 | 3 | 3120 | 12480 | 19020791.1254
6kW_S | 0 | 25 | 131 | 2 | 0 | 1 | 6 | 0 | 2 | 19 | 40 | 24 | 3 | 2 | 2 | 20 | 10 | 4 | 16 | 307 | 1842 | 3282551.2118
6kW_SE | 0 | 19 | 116 | 3 | 0 | 2 | 4 | 3 | 0 | 16 | 22 | 26 | 5 | 1 | 2 | 20 | 9 | 1 | 14 | 263 | 1578 | 2710373.0817
6kW_SW | 0 | 24 | 102 | 2 | 0 | 1 | 2 | 1 | 1 | 15 | 38 | 17 | 3 | 2 | 3 | 15 | 6 | 1 | 16 | 249 | 1494 | 2548155.5628
6kW_W | 0 | 27 | 115 | 0 | 0 | 3 | 2 | 1 | 0 | 19 | 27 | 42 | 6 | 4 | 0 | 15 | 5 | 0 | 14 | 280 | 1680 | 2560491.1147
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 2 | 3 | 1 | 4 | 9 | 31 | 775 | 1381095.1113
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 7 | 0 | 1 | 4 | 2 | 7 | 4 | 1 | 11 | 45 | 1125 | 1918791.8363
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 12 | 2 | 0 | 0 | 1 | 8 | 9 | 4 | 7 | 18 | 63 | 4725 | 8420225.0247
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 5 | 17 | 4 | 9 | 17 | 67 | 5025 | 8570603.5257
Total Units | 7931 | 15974 | 19618 | 64 | 41 | 12 | 29 | 7 | 7 | 121 | 262 | 667 | 25 | 20 | 26 | 123 | 52 | 27 | 132 | 45138 | 0 | 0
Total Capacity | 16252 | 41772 | 54914 | 212 | 102 | 296 | 397 | 80 | 34 | 2317 | 1638 | 2380 | 172 | 360 | 1123 | 2684 | 935 | 1361 | 3549 | 0 | 130578 | 0
Total Supply | 27380667.6087 | 70267959.3609 | 92332989.2678 | 360652.0455 | 170964.0343 | 504103.1342 | 690950.5521 | 135574.608 | 59615.5219 | 4009990.4447 | 2796253.3429 | 3986540.8394 | 290281.3916 | 620406.3799 | 1965442.9272 | 4625986.4579 | 1618322.0866 | 2371009.8526 | 6164843.8915 | 0 | 0 | 220352553.7478

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2104 | 2985 | 3262 | 1 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 58 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8437 | 16874 | 30070449.9993
2kW_SE | 2118 | 3005 | 3276 | 12 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 65 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8498 | 16996 | 29192332.6678
2kW_SW | 2082 | 2987 | 3271 | 10 | 7 | 0 | 0 | 0 | 0 | 4 | 4 | 66 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8432 | 16864 | 28763115.7397
2kW_W | 1997 | 3023 | 3286 | 6 | 7 | 0 | 0 | 0 | 0 | 1 | 8 | 78 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8410 | 16820 | 25635393.1927
4kW_S | 52 | 1265 | 1823 | 7 | 1 | 0 | 4 | 0 | 2 | 2 | 21 | 78 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3261 | 13044 | 23245167.2423
4kW_SE | 44 | 1309 | 1827 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 31 | 99 | 1 | 0 | 0 | 4 | 2 | 0 | 6 | 3343 | 13372 | 22967749.4632
4kW_SW | 71 | 1230 | 1845 | 8 | 5 | 1 | 2 | 0 | 0 | 3 | 22 | 75 | 1 | 0 | 0 | 2 | 2 | 0 | 6 | 3273 | 13092 | 22329620.2306
4kW_W | 45 | 1261 | 1877 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 23 | 74 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3311 | 13244 | 20185204.9411
6kW_S | 0 | 27 | 137 | 2 | 0 | 1 | 6 | 1 | 2 | 19 | 44 | 24 | 3 | 2 | 3 | 22 | 10 | 5 | 18 | 326 | 1956 | 3485705.847
6kW_SE | 0 | 20 | 126 | 3 | 0 | 2 | 4 | 4 | 0 | 16 | 23 | 29 | 5 | 1 | 3 | 21 | 9 | 1 | 16 | 283 | 1698 | 2916485.1031
6kW_SW | 0 | 27 | 106 | 2 | 0 | 1 | 2 | 1 | 1 | 15 | 41 | 19 | 3 | 2 | 3 | 16 | 6 | 2 | 16 | 263 | 1578 | 2691425.3535
6kW_W | 0 | 30 | 125 | 0 | 0 | 3 | 3 | 1 | 0 | 19 | 30 | 42 | 7 | 4 | 0 | 15 | 5 | 0 | 15 | 299 | 1794 | 2734238.7261
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 3 | 1 | 4 | 9 | 33 | 825 | 1470198.0217
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 9 | 10 | 5 | 10 | 19 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 18 | 4 | 9 | 19 | 71 | 5325 | 9082281.3481
Total Units | 8513 | 17169 | 20961 | 65 | 46 | 13 | 31 | 9 | 7 | 122 | 281 | 707 | 26 | 22 | 31 | 130 | 53 | 32 | 142 | 48360 | 0 | 0
Total Capacity | 17450 | 44884 | 58642 | 216 | 118 | 321 | 407 | 92 | 34 | 2392 | 1753 | 2522 | 178 | 410 | 1310 | 2862 | 1010 | 1598 | 3833 | 0 | 140032 | 0
Total Supply | 29395698.5835 | 75500700.1511 | 98622661.6682 | 366748.4529 | 197236.6175 | 548654.5894 | 707223.3961 | 156572.5583 | 59615.5219 | 4143644.8102 | 2990421.9086 | 4225878.7558 | 299426.0028 | 705686.0171 | 2292566.1538 | 4935580.5424 | 1751976.4521 | 2792898.8547 | 6654987.8991 | 0 | 0 | 236348178.9354

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2173 | 3085 | 3376 | 2 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 60 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8723 | 17446 | 31089787.2874
2kW_SE | 2167 | 3103 | 3383 | 12 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 71 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8758 | 17516 | 30085484.7616
2kW_SW | 2151 | 3090 | 3381 | 10 | 7 | 0 | 0 | 0 | 0 | 4 | 4 | 66 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8714 | 17428 | 29725070.0374
2kW_W | 2055 | 3133 | 3385 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 78 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8679 | 17358 | 26455359.9904
4kW_S | 53 | 1307 | 1881 | 7 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 81 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3366 | 13464 | 23993631.689
4kW_SE | 45 | 1349 | 1887 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 32 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3449 | 13796 | 23696011.935
4kW_SW | 72 | 1267 | 1903 | 9 | 5 | 1 | 2 | 0 | 0 | 3 | 23 | 75 | 1 | 0 | 0 | 2 | 2 | 0 | 6 | 3371 | 13484 | 22998212.5871
4kW_W | 46 | 1301 | 1933 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 23 | 80 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3414 | 13656 | 20813134.9046
6kW_S | 0 | 27 | 141 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 44 | 24 | 3 | 2 | 3 | 23 | 10 | 5 | 20 | 334 | 2004 | 3571244.6408
6kW_SE | 0 | 22 | 132 | 3 | 0 | 2 | 5 | 4 | 0 | 19 | 23 | 30 | 5 | 1 | 4 | 22 | 9 | 1 | 17 | 299 | 1794 | 3081374.7202
6kW_SW | 0 | 28 | 108 | 2 | 0 | 1 | 2 | 1 | 1 | 15 | 41 | 19 | 3 | 2 | 3 | 17 | 6 | 2 | 17 | 268 | 1608 | 2742593.1358
6kW_W | 0 | 31 | 130 | 1 | 0 | 3 | 3 | 1 | 0 | 19 | 32 | 43 | 7 | 4 | 1 | 15 | 5 | 0 | 17 | 312 | 1872 | 2853118.6707
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 3 | 2 | 4 | 9 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 9 | 11 | 5 | 10 | 19 | 72 | 5400 | 9623114.314
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 19 | 73 | 5475 | 9338120.2593
Total Units | 8762 | 17743 | 21640 | 68 | 46 | 13 | 35 | 9 | 7 | 125 | 286 | 729 | 26 | 22 | 33 | 136 | 54 | 33 | 148 | 49915 | 0 | 0
Total Capacity | 17956 | 46366 | 60532 | 228 | 118 | 321 | 423 | 92 | 34 | 2410 | 1777 | 2598 | 178 | 410 | 1322 | 3034 | 1035 | 1673 | 3869 | 0 | 144376 | 0
Total Supply | 30249032.4555 | 77990891.1337 | 101807090.9911 | 386279.5514 | 197236.6175 | 548654.5894 | 734317.7538 | 156572.5583 | 59615.5219 | 4174561.6134 | 3029532.1353 | 4351642.7479 | 299426.0028 | 705686.0171 | 2312016.3659 | 5235256.2709 | 1796527.9073 | 2920818.3103 | 6715200.9774 | 0 | 0 | 243670359.5209

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2211 | 3140 | 3426 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8868 | 17736 | 31606584.1643
2kW_SE | 2202 | 3159 | 3425 | 13 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 71 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8892 | 17784 | 30545801.61
2kW_SW | 2186 | 3141 | 3423 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 66 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8843 | 17686 | 30165112.9609
2kW_W | 2091 | 3180 | 3440 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 80 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8819 | 17638 | 26882108.5097
4kW_S | 54 | 1331 | 1923 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 83 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3436 | 13744 | 24492607.9867
4kW_SE | 46 | 1371 | 1921 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 32 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3506 | 14024 | 24087624.7736
4kW_SW | 72 | 1286 | 1928 | 9 | 5 | 1 | 2 | 0 | 0 | 3 | 23 | 77 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3418 | 13672 | 23318864.0233
4kW_W | 46 | 1324 | 1965 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 23 | 81 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3470 | 13880 | 21154533.7196
6kW_S | 0 | 27 | 143 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 23 | 10 | 6 | 20 | 338 | 2028 | 3614014.0377
6kW_SE | 0 | 22 | 135 | 3 | 0 | 2 | 5 | 4 | 0 | 19 | 24 | 31 | 6 | 1 | 4 | 22 | 9 | 1 | 18 | 306 | 1836 | 3153513.9277
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 15 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 3 | 1 | 0 | 20 | 32 | 43 | 7 | 4 | 2 | 16 | 6 | 0 | 17 | 317 | 1902 | 2898841.7263
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 3 | 2 | 4 | 9 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 9 | 11 | 5 | 10 | 19 | 72 | 5400 | 9623114.314
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 8908 | 18041 | 21971 | 71 | 46 | 13 | 35 | 9 | 7 | 127 | 288 | 739 | 27 | 22 | 34 | 138 | 55 | 34 | 152 | 50717 | 0 | 0
Total Capacity | 18252 | 47142 | 61496 | 236 | 118 | 321 | 423 | 92 | 34 | 2418 | 1789 | 2636 | 184 | 410 | 1328 | 3044 | 1041 | 1679 | 3962 | 0 | 146605 | 0
Total Supply | 30747826.3489 | 79298827.1662 | 103431266.7145 | 400407.101 | 197236.6175 | 548654.5894 | 734317.7538 | 156572.5583 | 59615.5219 | 4187117.41 | 3050530.0856 | 4415840.0443 | 309731.6038 | 705686.0171 | 2321160.9771 | 5251223.253 | 1805672.5184 | 2931510.6596 | 6873893.147 | 0 | 0 | 247427090.0874

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2232 | 3164 | 3455 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8942 | 17884 | 31870328.7773
2kW_SE | 2221 | 3196 | 3454 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 73 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8980 | 17960 | 30848099.2418
2kW_SW | 2198 | 3165 | 3456 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 66 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8912 | 17824 | 30400484.7571
2kW_W | 2109 | 3209 | 3469 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 80 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8895 | 17790 | 27113771.9916
4kW_S | 55 | 1342 | 1938 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 83 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3463 | 13852 | 24685070.273
4kW_SE | 46 | 1378 | 1938 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 32 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3530 | 14120 | 24252514.3898
4kW_SW | 74 | 1300 | 1940 | 9 | 5 | 1 | 2 | 0 | 0 | 3 | 23 | 77 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3446 | 13784 | 23509890.4109
4kW_W | 46 | 1333 | 1978 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 82 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3494 | 13976 | 21300847.4975
6kW_S | 0 | 27 | 145 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 23 | 10 | 6 | 20 | 340 | 2040 | 3635398.7362
6kW_SE | 0 | 23 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 24 | 31 | 6 | 1 | 4 | 22 | 9 | 1 | 18 | 309 | 1854 | 3184430.7309
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 20 | 33 | 43 | 7 | 4 | 2 | 17 | 6 | 0 | 18 | 321 | 1926 | 2935420.1708
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 3 | 2 | 4 | 9 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 8981 | 18197 | 22151 | 72 | 46 | 13 | 36 | 9 | 7 | 129 | 290 | 742 | 27 | 22 | 35 | 139 | 55 | 34 | 153 | 51138 | 0 | 0
Total Capacity | 18404 | 47540 | 61982 | 238 | 118 | 321 | 429 | 92 | 34 | 2430 | 1799 | 2644 | 184 | 410 | 1403 | 3050 | 1041 | 1679 | 3968 | 0 | 147766 | 0
Total Supply | 31004516.467 | 79968924.5588 | 104251746.2794 | 403842.3014 | 197236.6175 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4207656.5675 | 3065771.1041 | 4428806.8524 | 309731.6038 | 705686.0171 | 2454815.3425 | 5260367.8642 | 1805672.5184 | 2931510.6596 | 6883037.7581 | 0 | 0 | 249387627.5464

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2243 | 3178 | 3465 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8977 | 17954 | 31995072.851
2kW_SE | 2234 | 3200 | 3463 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 73 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9006 | 18012 | 30937414.4512
2kW_SW | 2208 | 3173 | 3464 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8939 | 17878 | 30492586.7644
2kW_W | 2117 | 3221 | 3483 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 80 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8929 | 17858 | 27217410.9177
4kW_S | 56 | 1346 | 1942 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3473 | 13892 | 24756352.6012
4kW_SE | 47 | 1382 | 1947 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3545 | 14180 | 24355570.4
4kW_SW | 74 | 1305 | 1948 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3461 | 13844 | 23612225.9756
4kW_W | 47 | 1343 | 1984 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3512 | 14048 | 21410582.8309
6kW_S | 0 | 27 | 147 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 23 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 24 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 310 | 1860 | 3194736.332
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 43 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 323 | 1938 | 2953709.3931
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 3 | 2 | 4 | 9 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9026 | 18258 | 22221 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 291 | 746 | 27 | 22 | 35 | 141 | 55 | 34 | 155 | 51325 | 0 | 0
Total Capacity | 18500 | 47708 | 62184 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1803 | 2658 | 184 | 410 | 1403 | 3062 | 1041 | 1679 | 3980 | 0 | 148284 | 0
Total Supply | 31166971.8771 | 80247501.3809 | 104591157.2303 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3072641.5048 | 4452265.0491 | 309731.6038 | 705686.0171 | 2454815.3425 | 5281365.8144 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 250255201.2196

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2246 | 3185 | 3473 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8995 | 17990 | 32059226.946
2kW_SE | 2236 | 3208 | 3470 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 73 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9023 | 18046 | 30995812.8573
2kW_SW | 2210 | 3184 | 3471 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8959 | 17918 | 30560810.4734
2kW_W | 2121 | 3225 | 3490 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8945 | 17890 | 27266182.177
4kW_S | 56 | 1348 | 1945 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3478 | 13912 | 24791993.7654
4kW_SE | 47 | 1385 | 1951 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3552 | 14208 | 24403663.2047
4kW_SW | 74 | 1307 | 1952 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3467 | 13868 | 23653160.2015
4kW_W | 47 | 1345 | 1987 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3517 | 14068 | 21441064.868
6kW_S | 0 | 27 | 147 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 23 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 24 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 310 | 1860 | 3194736.332
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9037 | 18297 | 22264 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 291 | 748 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51421 | 0 | 0
Total Capacity | 18522 | 47804 | 62298 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1803 | 2666 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148549 | 0
Total Supply | 31203549.8127 | 80410352.8778 | 104783377.2955 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3072641.5048 | 4464457.8639 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 250703594.9874

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2254 | 3191 | 3479 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9015 | 18030 | 32130509.2739
2kW_SE | 2241 | 3210 | 3473 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 73 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9033 | 18066 | 31030164.8609
2kW_SW | 2212 | 3189 | 3475 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8970 | 17940 | 30598333.5134
2kW_W | 2125 | 3227 | 3495 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8956 | 17912 | 27299712.4178
4kW_S | 56 | 1348 | 1949 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3482 | 13928 | 24820506.6967
4kW_SE | 47 | 1386 | 1953 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3555 | 14220 | 24424274.4067
4kW_SW | 74 | 1308 | 1954 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3470 | 13880 | 23673627.3145
4kW_W | 47 | 1347 | 1987 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3519 | 14076 | 21453257.6828
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9056 | 18317 | 22291 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 748 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51488 | 0 | 0
Total Capacity | 18560 | 47856 | 62372 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2666 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148719 | 0
Total Supply | 31268253.9314 | 80497951.4991 | 104910544.1791 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4464457.8639 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 250993370.2121

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2255 | 3192 | 3482 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9020 | 18040 | 32148329.8558
2kW_SE | 2243 | 3213 | 3475 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9041 | 18082 | 31057646.4638
2kW_SW | 2212 | 3190 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8973 | 17946 | 30608567.0698
2kW_W | 2126 | 3228 | 3497 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8960 | 17920 | 27311905.2326
4kW_S | 56 | 1348 | 1950 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3483 | 13932 | 24827634.9295
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1308 | 1956 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3472 | 13888 | 23687272.0564
4kW_W | 47 | 1347 | 1988 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3520 | 14080 | 21459354.0902
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9061 | 18323 | 22306 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51515 | 0 | 0
Total Capacity | 18572 | 47868 | 62414 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148787 | 0
Total Supply | 31288607.0529 | 80518280.6058 | 104981635.8909 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251108579.3523

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3193 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9024 | 18048 | 32162586.3214
2kW_SE | 2243 | 3213 | 3475 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9041 | 18082 | 31057646.4638
2kW_SW | 2214 | 3190 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8975 | 17950 | 30615389.4407
2kW_W | 2126 | 3228 | 3497 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8960 | 17920 | 27311905.2326
4kW_S | 56 | 1348 | 1950 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3483 | 13932 | 24827634.9295
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1308 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3474 | 13896 | 23700916.7984
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9065 | 18325 | 22311 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51526 | 0 | 0
Total Capacity | 18580 | 47874 | 62432 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148819 | 0
Total Supply | 31302557.6566 | 80527941.1296 | 105011037.5641 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251161592.153

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3193 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9024 | 18048 | 32162586.3214
2kW_SE | 2247 | 3213 | 3475 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9045 | 18090 | 31071387.2652
2kW_SW | 2214 | 3190 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8975 | 17950 | 30615389.4407
2kW_W | 2126 | 3228 | 3497 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8960 | 17920 | 27311905.2326
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1309 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9069 | 18326 | 22313 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51533 | 0 | 0
Total Capacity | 18588 | 47878 | 62440 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148839 | 0
Total Supply | 31316298.4581 | 80534763.5006 | 105025294.0298 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251196411.7911

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3475 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9045 | 18090 | 31071387.2652
2kW_SW | 2214 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8976 | 17952 | 30618800.6261
2kW_W | 2126 | 3228 | 3497 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8960 | 17920 | 27311905.2326
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1309 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9069 | 18328 | 22313 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51535 | 0 | 0
Total Capacity | 18588 | 47882 | 62440 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148843 | 0
Total Supply | 31316298.4581 | 80541738.8024 | 105025294.0298 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251203387.0929

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3475 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9045 | 18090 | 31071387.2652
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3228 | 3497 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8960 | 17920 | 27311905.2326
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1309 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18328 | 22313 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51536 | 0 | 0
Total Capacity | 18590 | 47882 | 62440 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148845 | 0
Total Supply | 31319709.6435 | 80541738.8024 | 105025294.0298 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251206798.2784

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3475 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9045 | 18090 | 31071387.2652
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3228 | 3497 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8960 | 17920 | 27311905.2326
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1309 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18328 | 22313 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51536 | 0 | 0
Total Capacity | 18590 | 47882 | 62440 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148845 | 0
Total Supply | 31319709.6435 | 80541738.8024 | 105025294.0298 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251206798.2784

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3475 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9045 | 18090 | 31071387.2652
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3228 | 3497 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8960 | 17920 | 27311905.2326
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18329 | 22313 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51537 | 0 | 0
Total Capacity | 18590 | 47886 | 62440 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148849 | 0
Total Supply | 31319709.6435 | 80548561.1734 | 105025294.0298 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251213620.6494

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3228 | 3497 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8960 | 17920 | 27311905.2326
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18329 | 22314 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51538 | 0 | 0
Total Capacity | 18590 | 47886 | 62442 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148851 | 0
Total Supply | 31319709.6435 | 80548561.1734 | 105028729.2301 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251217055.8497

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3497 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8961 | 17922 | 27314953.4363
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22314 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51539 | 0 | 0
Total Capacity | 18590 | 47888 | 62442 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148853 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105028729.2301 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251220104.0535

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3497 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8961 | 17922 | 27314953.4363
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22315 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51540 | 0 | 0
Total Capacity | 18590 | 47888 | 62446 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148857 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105034825.6375 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251226200.4609