## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25794 | 25794 | 74740 | 74740 | 2134537855.2192 | 0 | 0 | 2134537855.2192
1 | 0.17502 | 38618 | 12824 | 111892 | 37152 | 2134537855.2192 | 126105278.355 | 0.059078 | 2008432576.8643
2 | 0.17776 | 45095 | 6477 | 130154 | 18262 | 2134537855.2192 | 188808974.2818 | 0.088454 | 1945728880.9375
3 | 0.17918 | 48347 | 3252 | 139633 | 9479 | 2134537855.2192 | 219633040.0784 | 0.10289 | 1914904815.1409
4 | 0.17993 | 49971 | 1624 | 144408 | 4775 | 2134537855.2192 | 235675425.7127 | 0.11041 | 1898862429.5066
5 | 0.18031 | 50712 | 741 | 146528 | 2120 | 2134537855.2192 | 243724845.0086 | 0.11418 | 1890813010.2106
6 | 0.18048 | 51124 | 412 | 147612 | 1084 | 2134537855.2192 | 247290322.8169 | 0.11585 | 1887247532.4024
7 | 0.18057 | 51326 | 202 | 148205 | 593 | 2134537855.2192 | 249119254.8721 | 0.11671 | 1885418600.3471
8 | 0.18062 | 51444 | 118 | 148599 | 394 | 2134537855.2192 | 250119680.5588 | 0.11718 | 1884418174.6604
9 | 0.18065 | 51489 | 45 | 148719 | 120 | 2134537855.2192 | 250791246.964 | 0.11749 | 1883746608.2552
10 | 0.18066 | 51518 | 29 | 148787 | 68 | 2134537855.2192 | 250994288.543 | 0.11759 | 1883543566.6762
11 | 0.18067 | 51531 | 13 | 148833 | 46 | 2134537855.2192 | 251109554.3063 | 0.11764 | 1883428300.9129
12 | 0.18067 | 51538 | 7 | 148853 | 20 | 2134537855.2192 | 251186469.4203 | 0.11768 | 1883351385.7989
13 | 0.18067 | 51539 | 1 | 148855 | 2 | 2134537855.2192 | 251219588.1408 | 0.11769 | 1883318267.0784
14 | 0.18067 | 51539 | 0 | 148855 | 0 | 2134537855.2192 | 251223152.2572 | 0.11769 | 1883314702.962
15 | 0.18067 | 51541 | 2 | 148859 | 4 | 2134537855.2192 | 251223152.2572 | 0.11769 | 1883314702.962
16 | 0.18067 | 51541 | 0 | 148859 | 0 | 2134537855.2192 | 251229248.6646 | 0.1177 | 1883308606.5546
17 | 0.18067 | 51541 | 0 | 148859 | 0 | 2134537855.2192 | 251229248.6646 | 0.1177 | 1883308606.5546
18 | 0.18067 | 51541 | 0 | 148859 | 0 | 2134537855.2192 | 251229248.6646 | 0.1177 | 1883308606.5546
19 | 0.18067 | 51541 | 0 | 148859 | 0 | 2134537855.2192 | 251229248.6646 | 0.1177 | 1883308606.5546

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1156 | 1577 | 1734 | 3 | 5 | 0 | 0 | 0 | 0 | 1 | 8 | 31 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4516 | 9032 | 16095549.6263
2kW_SE | 1115 | 1536 | 1729 | 6 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 38 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 4430 | 8860 | 15217937.5992
2kW_SW | 1085 | 1624 | 1694 | 7 | 4 | 0 | 0 | 0 | 0 | 0 | 1 | 33 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4449 | 8898 | 15176364.0804
2kW_W | 1030 | 1659 | 1748 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 3 | 41 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 4490 | 8980 | 13686434.6534
4kW_S | 34 | 704 | 1010 | 4 | 0 | 0 | 1 | 0 | 1 | 2 | 12 | 36 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1805 | 7220 | 12866460.2491
4kW_SE | 24 | 693 | 1018 | 6 | 0 | 0 | 2 | 0 | 1 | 2 | 14 | 44 | 1 | 0 | 0 | 1 | 1 | 0 | 4 | 1811 | 7244 | 12442295.626
4kW_SW | 38 | 651 | 952 | 5 | 0 | 1 | 2 | 0 | 0 | 1 | 9 | 36 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 1700 | 6800 | 11598030.6728
4kW_W | 30 | 719 | 1051 | 4 | 2 | 0 | 2 | 0 | 0 | 3 | 11 | 34 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1859 | 7436 | 11333221.3789
6kW_S | 0 | 12 | 65 | 2 | 0 | 0 | 3 | 0 | 2 | 11 | 21 | 12 | 1 | 2 | 1 | 14 | 6 | 3 | 10 | 165 | 990 | 1764237.622
6kW_SE | 0 | 9 | 63 | 2 | 0 | 0 | 4 | 2 | 0 | 11 | 11 | 16 | 2 | 1 | 4 | 9 | 6 | 1 | 13 | 154 | 924 | 1587062.5649
6kW_SW | 0 | 16 | 56 | 0 | 0 | 1 | 0 | 1 | 1 | 11 | 21 | 10 | 3 | 0 | 0 | 8 | 3 | 2 | 8 | 141 | 846 | 1442931.4633
6kW_W | 0 | 15 | 74 | 1 | 0 | 0 | 0 | 0 | 0 | 11 | 13 | 22 | 4 | 2 | 1 | 7 | 2 | 0 | 8 | 160 | 960 | 1463137.7798
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 2 | 1 | 0 | 3 | 5 | 16 | 400 | 712823.2832
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 1 | 3 | 1 | 4 | 4 | 0 | 7 | 24 | 600 | 1023355.646
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5 | 1 | 0 | 0 | 1 | 6 | 6 | 2 | 5 | 13 | 40 | 3000 | 5346174.6189
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 1 | 4 | 9 | 1 | 2 | 12 | 34 | 2550 | 4349261.4906
Total Units | 4512 | 9215 | 11194 | 43 | 16 | 4 | 15 | 3 | 5 | 65 | 131 | 353 | 16 | 11 | 21 | 62 | 26 | 16 | 86 | 25794 | 0 | 0
Total Capacity | 9276 | 24172 | 31482 | 144 | 36 | 110 | 145 | 18 | 26 | 1048 | 760 | 1246 | 124 | 280 | 867 | 1490 | 433 | 636 | 2447 | 0 | 74740 | 0
Total Supply | 15640544.8405 | 40619923.1222 | 52916287.8507 | 243699.7923 | 59286.1538 | 189526.8383 | 253660.4084 | 30844.7586 | 45616.8884 | 1810591.0156 | 1296731.5865 | 2087082.7301 | 210030.1439 | 484024.2538 | 1515937.7167 | 2576215.1795 | 751046.6405 | 1120614.8659 | 4253613.5693 | 0 | 0 | 126105278.355

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1675 | 2414 | 2634 | 3 | 8 | 0 | 0 | 0 | 0 | 1 | 11 | 47 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6794 | 13588 | 24214606.7672
2kW_SE | 1662 | 2366 | 2633 | 11 | 5 | 0 | 0 | 0 | 0 | 0 | 4 | 60 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 6744 | 13488 | 23166991.2346
2kW_SW | 1661 | 2383 | 2596 | 8 | 5 | 0 | 0 | 0 | 0 | 3 | 2 | 52 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 6711 | 13422 | 22892465.5751
2kW_W | 1579 | 2429 | 2602 | 5 | 6 | 0 | 1 | 0 | 0 | 0 | 5 | 66 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 6696 | 13392 | 20410772.0355
4kW_S | 47 | 1016 | 1466 | 5 | 1 | 0 | 2 | 0 | 1 | 2 | 15 | 55 | 1 | 0 | 0 | 3 | 1 | 0 | 0 | 2615 | 10460 | 18640328.8374
4kW_SE | 34 | 1040 | 1463 | 8 | 0 | 0 | 2 | 0 | 1 | 4 | 22 | 68 | 1 | 0 | 0 | 2 | 1 | 0 | 5 | 2651 | 10604 | 18213432.1947
4kW_SW | 55 | 985 | 1440 | 8 | 2 | 1 | 2 | 0 | 0 | 2 | 14 | 59 | 1 | 0 | 0 | 1 | 1 | 0 | 5 | 2576 | 10304 | 17574427.6548
4kW_W | 35 | 1029 | 1535 | 5 | 5 | 0 | 2 | 0 | 0 | 4 | 16 | 59 | 0 | 0 | 1 | 5 | 0 | 0 | 2 | 2698 | 10792 | 16448107.1976
6kW_S | 0 | 19 | 114 | 2 | 0 | 0 | 6 | 0 | 2 | 16 | 27 | 19 | 2 | 2 | 3 | 21 | 8 | 3 | 18 | 262 | 1572 | 2801395.4967
6kW_SE | 0 | 16 | 99 | 2 | 0 | 0 | 5 | 3 | 0 | 18 | 19 | 27 | 5 | 1 | 4 | 13 | 7 | 1 | 15 | 235 | 1410 | 2421816.2517
6kW_SW | 0 | 20 | 81 | 0 | 0 | 1 | 1 | 1 | 1 | 13 | 28 | 18 | 3 | 2 | 2 | 16 | 5 | 2 | 14 | 208 | 1248 | 2128579.7472
6kW_W | 0 | 24 | 106 | 1 | 0 | 1 | 3 | 0 | 0 | 19 | 23 | 36 | 5 | 3 | 1 | 12 | 3 | 0 | 15 | 252 | 1512 | 2304442.0032
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 4 | 0 | 1 | 2 | 3 | 3 | 1 | 4 | 5 | 26 | 650 | 1158337.8353
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 4 | 6 | 0 | 1 | 4 | 1 | 7 | 4 | 0 | 7 | 36 | 900 | 1535033.4691
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5 | 2 | 0 | 0 | 1 | 10 | 7 | 3 | 9 | 17 | 55 | 4125 | 7350990.101
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 1 | 6 | 16 | 4 | 6 | 18 | 59 | 4425 | 7547247.8808
Total Units | 6748 | 13741 | 16769 | 58 | 32 | 6 | 26 | 6 | 5 | 98 | 198 | 566 | 21 | 17 | 32 | 108 | 40 | 25 | 122 | 38618 | 0 | 0
Total Capacity | 13838 | 35938 | 46946 | 188 | 80 | 191 | 224 | 74 | 26 | 1402 | 1294 | 2014 | 154 | 350 | 1366 | 2395 | 804 | 1261 | 3347 | 0 | 111892 | 0
Total Supply | 23315515.8799 | 60437328.7175 | 78940642.8915 | 317815.9415 | 132289.0943 | 326590.905 | 388438.3387 | 126429.9969 | 45616.8884 | 2407827.6557 | 2208856.4407 | 3368452.4384 | 260783.9075 | 604262.452 | 2392797.3564 | 4125451.5564 | 1391311.6591 | 2211461.6054 | 5807100.5565 | 0 | 0 | 188808974.2818

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1979 | 2801 | 3072 | 3 | 9 | 0 | 0 | 0 | 0 | 1 | 12 | 52 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 7931 | 15862 | 28267007.105
2kW_SE | 1958 | 2809 | 3073 | 12 | 6 | 0 | 0 | 0 | 0 | 0 | 5 | 69 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 7936 | 15872 | 27261750.0649
2kW_SW | 1930 | 2798 | 3034 | 8 | 6 | 0 | 0 | 0 | 0 | 4 | 2 | 59 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7842 | 15684 | 26750516.3224
2kW_W | 1864 | 2812 | 3055 | 5 | 7 | 0 | 1 | 0 | 0 | 0 | 6 | 73 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 7827 | 15654 | 23858290.4303
4kW_S | 50 | 1178 | 1693 | 6 | 1 | 0 | 3 | 0 | 2 | 2 | 19 | 70 | 1 | 0 | 0 | 3 | 1 | 0 | 0 | 3029 | 12116 | 21591417.2269
4kW_SE | 42 | 1220 | 1710 | 9 | 1 | 0 | 2 | 0 | 2 | 5 | 26 | 86 | 1 | 0 | 0 | 4 | 1 | 0 | 6 | 3115 | 12460 | 21401298.1089
4kW_SW | 64 | 1145 | 1695 | 9 | 5 | 1 | 2 | 0 | 0 | 2 | 18 | 65 | 1 | 0 | 0 | 2 | 1 | 0 | 5 | 3015 | 12060 | 20569448.5168
4kW_W | 36 | 1183 | 1761 | 5 | 5 | 0 | 2 | 0 | 0 | 4 | 23 | 72 | 0 | 0 | 1 | 7 | 1 | 0 | 2 | 3102 | 12408 | 18911055.792
6kW_S | 0 | 25 | 128 | 2 | 0 | 0 | 7 | 1 | 2 | 17 | 33 | 22 | 3 | 2 | 3 | 22 | 9 | 3 | 19 | 298 | 1788 | 3186320.0688
6kW_SE | 0 | 20 | 119 | 2 | 0 | 2 | 5 | 3 | 0 | 19 | 21 | 29 | 5 | 1 | 4 | 16 | 8 | 1 | 18 | 273 | 1638 | 2813429.0924
6kW_SW | 0 | 25 | 97 | 1 | 0 | 1 | 1 | 1 | 1 | 13 | 34 | 18 | 3 | 2 | 3 | 17 | 6 | 2 | 15 | 240 | 1440 | 2456053.5545
6kW_W | 0 | 28 | 124 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 25 | 38 | 5 | 4 | 1 | 14 | 3 | 0 | 15 | 287 | 1722 | 2624503.3926
25kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 2 | 4 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 6 | 30 | 750 | 1336543.6561
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 5 | 8 | 0 | 1 | 4 | 2 | 7 | 4 | 0 | 8 | 41 | 1025 | 1748232.562
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 8 | 2 | 0 | 0 | 1 | 10 | 8 | 4 | 10 | 17 | 62 | 4650 | 8286570.6593
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 1 | 6 | 18 | 4 | 8 | 20 | 67 | 5025 | 8570603.5257
Total Units | 7923 | 16044 | 19561 | 63 | 40 | 10 | 30 | 8 | 7 | 111 | 238 | 653 | 23 | 19 | 34 | 124 | 47 | 28 | 132 | 45095 | 0 | 0
Total Capacity | 16230 | 41932 | 54712 | 208 | 104 | 215 | 315 | 86 | 34 | 1857 | 1522 | 2320 | 162 | 358 | 1397 | 2707 | 928 | 1486 | 3581 | 0 | 130154 | 0
Total Supply | 27346019.164 | 70536534.1695 | 92004884.8475 | 352305.7028 | 173085.3139 | 365491.3294 | 549057.8974 | 146266.9572 | 59615.5219 | 3201389.6958 | 2594598.3268 | 3884161.2467 | 275040.3731 | 616842.2635 | 2445670.7314 | 4662384.2066 | 1609893.5976 | 2600954.8821 | 6208843.8511 | 0 | 0 | 219633040.0784

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2121 | 3003 | 3265 | 3 | 9 | 0 | 0 | 0 | 0 | 1 | 12 | 56 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 8473 | 16946 | 30198758.1894
2kW_SE | 2119 | 3018 | 3290 | 12 | 7 | 0 | 1 | 0 | 0 | 1 | 7 | 73 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8532 | 17064 | 29309129.4801
2kW_SW | 2068 | 2985 | 3265 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 3 | 63 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8407 | 16814 | 28677836.1034
2kW_W | 1997 | 3004 | 3264 | 6 | 7 | 0 | 1 | 0 | 0 | 0 | 7 | 77 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8367 | 16734 | 25504320.4332
4kW_S | 56 | 1279 | 1819 | 6 | 1 | 0 | 4 | 0 | 2 | 2 | 20 | 77 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3272 | 13088 | 23323577.8034
4kW_SE | 45 | 1312 | 1829 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 28 | 93 | 1 | 0 | 0 | 4 | 1 | 0 | 6 | 3339 | 13356 | 22940267.8605
4kW_SW | 68 | 1229 | 1843 | 9 | 5 | 1 | 2 | 0 | 0 | 3 | 21 | 72 | 1 | 0 | 0 | 3 | 1 | 0 | 6 | 3264 | 13056 | 22268218.8918
4kW_W | 41 | 1262 | 1880 | 5 | 5 | 0 | 2 | 0 | 0 | 5 | 23 | 74 | 1 | 0 | 1 | 7 | 1 | 0 | 2 | 3309 | 13236 | 20173012.1263
6kW_S | 0 | 25 | 140 | 2 | 0 | 1 | 7 | 1 | 2 | 17 | 38 | 22 | 3 | 2 | 3 | 24 | 10 | 3 | 21 | 321 | 1926 | 3432244.1009
6kW_SE | 0 | 22 | 125 | 2 | 0 | 2 | 5 | 4 | 0 | 20 | 24 | 29 | 6 | 1 | 4 | 18 | 8 | 1 | 18 | 289 | 1734 | 2978318.7095
6kW_SW | 0 | 25 | 106 | 1 | 0 | 1 | 2 | 1 | 1 | 14 | 35 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 16 | 255 | 1530 | 2609556.9016
6kW_W | 0 | 29 | 129 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 27 | 42 | 5 | 4 | 2 | 17 | 3 | 0 | 16 | 304 | 1824 | 2779961.7817
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 4 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 8 | 33 | 825 | 1470198.0217
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 5 | 8 | 0 | 1 | 5 | 2 | 7 | 4 | 0 | 9 | 43 | 1075 | 1833512.1992
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 12 | 2 | 0 | 0 | 1 | 10 | 9 | 5 | 10 | 18 | 69 | 5175 | 9222151.2176
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 9 | 20 | 70 | 5250 | 8954361.8925
Total Units | 8515 | 17193 | 20955 | 66 | 43 | 12 | 33 | 9 | 7 | 122 | 259 | 698 | 25 | 20 | 35 | 134 | 49 | 29 | 143 | 48347 | 0 | 0
Total Capacity | 17450 | 44954 | 58652 | 214 | 112 | 246 | 327 | 92 | 34 | 2256 | 1620 | 2480 | 172 | 383 | 1403 | 2903 | 1009 | 1561 | 3765 | 0 | 139633 | 0
Total Supply | 29402497.7555 | 75634068.8871 | 98642141.4696 | 362176.2774 | 186802.1003 | 420735.1338 | 569854.887 | 156572.5583 | 59615.5219 | 3904230.935 | 2762165.5918 | 4152981.474 | 291442.3816 | 659482.0821 | 2454815.3425 | 5000210.1327 | 1754240.3123 | 2728874.3377 | 6532518.5318 | 0 | 0 | 235675425.7127

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2190 | 3097 | 3377 | 3 | 9 | 0 | 0 | 0 | 0 | 1 | 12 | 59 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 8751 | 17502 | 31189582.5464
2kW_SE | 2178 | 3099 | 3395 | 13 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 73 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8780 | 17560 | 30161059.1696
2kW_SW | 2138 | 3084 | 3372 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 66 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8687 | 17374 | 29632968.0302
2kW_W | 2060 | 3127 | 3397 | 6 | 7 | 0 | 1 | 0 | 0 | 1 | 8 | 80 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8691 | 17382 | 26491938.4349
4kW_S | 56 | 1314 | 1897 | 7 | 1 | 0 | 4 | 0 | 2 | 2 | 21 | 80 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3390 | 13560 | 24164709.2768
4kW_SE | 45 | 1346 | 1892 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 30 | 97 | 1 | 0 | 0 | 4 | 1 | 0 | 6 | 3442 | 13768 | 23647919.1302
4kW_SW | 73 | 1275 | 1903 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 22 | 75 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3381 | 13524 | 23066436.2969
4kW_W | 44 | 1300 | 1932 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 23 | 76 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3406 | 13624 | 20764363.6453
6kW_S | 0 | 27 | 145 | 2 | 0 | 1 | 7 | 1 | 2 | 18 | 44 | 23 | 3 | 2 | 3 | 24 | 10 | 4 | 21 | 337 | 2022 | 3603321.6885
6kW_SE | 0 | 22 | 131 | 2 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 30 | 6 | 1 | 4 | 20 | 8 | 1 | 18 | 299 | 1794 | 3081374.7202
6kW_SW | 0 | 27 | 110 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 38 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 17 | 268 | 1608 | 2742593.1358
6kW_W | 0 | 29 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 31 | 43 | 6 | 4 | 2 | 17 | 4 | 0 | 18 | 315 | 1890 | 2880552.5041
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 8 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 0 | 11 | 46 | 1150 | 1961431.6549
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 12 | 2 | 0 | 0 | 1 | 10 | 10 | 5 | 10 | 18 | 70 | 5250 | 9355805.583
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 8784 | 17747 | 21682 | 69 | 46 | 13 | 34 | 9 | 7 | 128 | 280 | 722 | 26 | 21 | 35 | 137 | 51 | 31 | 149 | 49971 | 0 | 0
Total Capacity | 18004 | 46384 | 60680 | 226 | 120 | 321 | 402 | 92 | 34 | 2355 | 1749 | 2564 | 178 | 408 | 1403 | 2990 | 1019 | 1642 | 3837 | 0 | 144408 | 0
Total Supply | 30334319.5004 | 78030409.6034 | 102062138.1283 | 382973.2671 | 200494.8721 | 548654.5894 | 697774.3426 | 156572.5583 | 59615.5219 | 4072454.4639 | 2982606.6517 | 4294720.781 | 300586.9927 | 702121.9007 | 2454815.3425 | 5154475.7003 | 1770207.2945 | 2867486.1425 | 6652417.3551 | 0 | 0 | 243724845.0086

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2219 | 3147 | 3433 | 3 | 9 | 0 | 0 | 0 | 0 | 1 | 12 | 60 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 8887 | 17774 | 31674302.3757
2kW_SE | 2209 | 3151 | 3433 | 13 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8902 | 17804 | 30580153.6136
2kW_SW | 2177 | 3130 | 3409 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8810 | 17620 | 30052543.8409
2kW_W | 2091 | 3175 | 3443 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8818 | 17636 | 26879060.306
4kW_S | 56 | 1329 | 1925 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 21 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3438 | 13752 | 24506864.4524
4kW_SE | 46 | 1363 | 1921 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 98 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3495 | 13980 | 24012050.3661
4kW_SW | 73 | 1291 | 1926 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 22 | 76 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3421 | 13684 | 23339331.1363
4kW_W | 47 | 1326 | 1968 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 23 | 80 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3475 | 13900 | 21185015.7567
6kW_S | 0 | 27 | 147 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 44 | 24 | 3 | 2 | 3 | 24 | 10 | 5 | 21 | 342 | 2052 | 3656783.4346
6kW_SE | 0 | 23 | 134 | 2 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 30 | 6 | 1 | 4 | 21 | 8 | 1 | 18 | 304 | 1824 | 3132902.7256
6kW_SW | 0 | 28 | 110 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 40 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 18 | 272 | 1632 | 2783527.3617
6kW_W | 0 | 30 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 31 | 43 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 320 | 1920 | 2926275.5597
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 48 | 1200 | 2046711.2921
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 10 | 5 | 10 | 18 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 8918 | 18020 | 21980 | 70 | 46 | 13 | 35 | 9 | 7 | 130 | 285 | 737 | 27 | 21 | 35 | 139 | 54 | 33 | 153 | 50712 | 0 | 0
Total Capacity | 18280 | 47090 | 61528 | 230 | 120 | 321 | 404 | 92 | 34 | 2436 | 1773 | 2618 | 184 | 408 | 1403 | 3000 | 1035 | 1673 | 3899 | 0 | 146528 | 0
Total Supply | 30796860.2575 | 79211542.7517 | 103486216.3322 | 390101.4999 | 200494.8721 | 548654.5894 | 700822.5464 | 156572.5583 | 59615.5219 | 4216801.1786 | 3023684.9667 | 4385463.1688 | 309731.6038 | 702121.9007 | 2454815.3425 | 5171651.702 | 1795366.9174 | 2920818.3103 | 6758986.7965 | 0 | 0 | 247290322.8168

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2237 | 3171 | 3464 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8963 | 17926 | 31945175.2215
2kW_SE | 2229 | 3184 | 3453 | 13 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8975 | 17950 | 30830923.24
2kW_SW | 2201 | 3163 | 3437 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8895 | 17790 | 30342494.6044
2kW_W | 2101 | 3201 | 3466 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8877 | 17754 | 27058904.3248
4kW_S | 56 | 1339 | 1938 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3462 | 13848 | 24677942.0402
4kW_SE | 47 | 1374 | 1942 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 99 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3529 | 14116 | 24245643.9891
4kW_SW | 73 | 1298 | 1939 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 76 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3442 | 13768 | 23482600.9269
4kW_W | 47 | 1337 | 1982 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3504 | 14016 | 21361811.5716
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 5 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 23 | 135 | 2 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 309 | 1854 | 3184430.7309
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 18 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 30 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 32 | 43 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 321 | 1926 | 2935420.1708
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 48 | 1200 | 2046711.2921
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 10 | 5 | 10 | 18 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 8991 | 18176 | 22146 | 70 | 47 | 13 | 35 | 9 | 7 | 130 | 291 | 743 | 27 | 22 | 35 | 141 | 55 | 33 | 153 | 51124 | 0 | 0
Total Capacity | 18428 | 47484 | 61994 | 230 | 122 | 321 | 404 | 92 | 34 | 2436 | 1803 | 2642 | 184 | 410 | 1403 | 3012 | 1041 | 1673 | 3899 | 0 | 147612 | 0
Total Supply | 31048939.2485 | 79874172.944 | 104273247.2998 | 390101.4999 | 204058.9884 | 548654.5894 | 700822.5464 | 156572.5583 | 59615.5219 | 4216801.1786 | 3073802.4947 | 4424492.5092 | 309731.6038 | 705686.0171 | 2454815.3425 | 5192262.9042 | 1805672.5184 | 2920818.3103 | 6758986.7965 | 0 | 0 | 249119254.8721

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2249 | 3183 | 3471 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8994 | 17988 | 32055662.8296
2kW_SE | 2241 | 3198 | 3464 | 13 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9012 | 18024 | 30958025.6533
2kW_SW | 2208 | 3176 | 3456 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8934 | 17868 | 30475530.8371
2kW_W | 2113 | 3213 | 3481 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8916 | 17832 | 27177784.2694
4kW_S | 56 | 1343 | 1941 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3469 | 13876 | 24727839.6699
4kW_SE | 48 | 1380 | 1950 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 100 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3545 | 14180 | 24355570.4
4kW_SW | 74 | 1303 | 1946 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3457 | 13828 | 23584936.4917
4kW_W | 47 | 1346 | 1987 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3518 | 14072 | 21447161.2754
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 5 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 24 | 136 | 2 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 311 | 1866 | 3205041.9331
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 18 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 30 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 43 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 322 | 1932 | 2944564.7819
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 48 | 1200 | 2046711.2921
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 10 | 5 | 10 | 19 | 72 | 5400 | 9623114.314
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9036 | 18252 | 22222 | 70 | 47 | 13 | 35 | 9 | 7 | 130 | 292 | 746 | 27 | 22 | 35 | 141 | 55 | 33 | 154 | 51326 | 0 | 0
Total Capacity | 18522 | 47688 | 62196 | 230 | 122 | 321 | 404 | 92 | 34 | 2436 | 1809 | 2654 | 184 | 410 | 1403 | 3012 | 1041 | 1673 | 3974 | 0 | 148205 | 0
Total Supply | 31207080.5638 | 80214979.4592 | 104611411.0367 | 390101.4999 | 204058.9884 | 548654.5894 | 700822.5464 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4445007.6518 | 309731.6038 | 705686.0171 | 2454815.3425 | 5192262.9042 | 1805672.5184 | 2920818.3103 | 6892641.162 | 0 | 0 | 250119680.5588

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2251 | 3190 | 3476 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9008 | 18016 | 32105560.4591
2kW_SE | 2244 | 3207 | 3469 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9030 | 18060 | 31019859.2598
2kW_SW | 2214 | 3187 | 3467 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8962 | 17924 | 30571044.0298
2kW_W | 2120 | 3224 | 3489 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8942 | 17884 | 27257037.5659
4kW_S | 56 | 1345 | 1948 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3478 | 13912 | 24791993.7654
4kW_SE | 48 | 1386 | 1952 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3555 | 14220 | 24424274.4067
4kW_SW | 74 | 1307 | 1950 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3465 | 13860 | 23639515.4596
4kW_W | 47 | 1347 | 1988 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3520 | 14080 | 21459354.0902
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 5 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 24 | 136 | 2 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 311 | 1866 | 3205041.9331
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 18 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 30 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 323 | 1938 | 2953709.3931
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9054 | 18303 | 22265 | 71 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 33 | 154 | 51444 | 0 | 0
Total Capacity | 18558 | 47816 | 62310 | 232 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1673 | 3974 | 0 | 148599 | 0
Total Supply | 31266318.9364 | 80430763.119 | 104805340.6126 | 393536.7003 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2920818.3103 | 6892641.162 | 0 | 0 | 250791246.964

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2255 | 3192 | 3479 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9017 | 18034 | 32137637.5067
2kW_SE | 2247 | 3210 | 3472 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9039 | 18078 | 31050776.0631
2kW_SW | 2215 | 3189 | 3469 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8967 | 17934 | 30588099.9571
2kW_W | 2124 | 3225 | 3492 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8950 | 17900 | 27281423.1955
4kW_S | 56 | 1347 | 1949 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3481 | 13924 | 24813378.4638
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1307 | 1955 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3470 | 13880 | 23673627.3145
4kW_W | 47 | 1348 | 1989 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3522 | 14088 | 21471546.9051
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 5 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 18 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 30 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 323 | 1938 | 2953709.3931
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9066 | 18314 | 22286 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 33 | 154 | 51489 | 0 | 0
Total Capacity | 18582 | 47844 | 62372 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1673 | 3974 | 0 | 148719 | 0
Total Supply | 31306485.0033 | 80478420.4006 | 104910253.2421 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2920818.3103 | 6892641.162 | 0 | 0 | 250994288.543

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2256 | 3193 | 3482 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9022 | 18044 | 32155458.0886
2kW_SE | 2247 | 3212 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9045 | 18090 | 31071387.2652
2kW_SW | 2215 | 3190 | 3474 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8973 | 17946 | 30608567.0698
2kW_W | 2126 | 3226 | 3496 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8957 | 17914 | 27302760.6215
4kW_S | 56 | 1348 | 1951 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3484 | 13936 | 24834763.1623
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1307 | 1957 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3472 | 13888 | 23687272.0564
4kW_W | 47 | 1348 | 1989 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3522 | 14088 | 21471546.9051
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 5 | 21 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 18 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 30 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 323 | 1938 | 2953709.3931
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9069 | 18320 | 22306 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 33 | 154 | 51518 | 0 | 0
Total Capacity | 18588 | 47858 | 62420 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1673 | 3974 | 0 | 148787 | 0
Total Supply | 31316145.5271 | 80502442.5397 | 104991836.3424 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2920818.3103 | 6892641.162 | 0 | 0 | 251109554.3063

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2256 | 3193 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9023 | 18046 | 32159022.205
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3476 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8976 | 17952 | 30618800.6261
2kW_W | 2126 | 3227 | 3496 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8958 | 17916 | 27305808.8252
4kW_S | 56 | 1348 | 1951 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3484 | 13936 | 24834763.1623
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1309 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9069 | 18326 | 22311 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51531 | 0 | 0
Total Capacity | 18588 | 47878 | 62434 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148833 | 0
Total Supply | 31316145.5271 | 80535126.4823 | 105015141.6081 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251186469.4203

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3193 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9024 | 18048 | 32162586.3214
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3496 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8960 | 17920 | 27311905.2326
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18329 | 22314 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51538 | 0 | 0
Total Capacity | 18590 | 47886 | 62444 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148853 | 0
Total Supply | 31319709.6435 | 80548045.2607 | 105031777.4338 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251219588.1408

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3496 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8960 | 17920 | 27311905.2326
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22314 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51539 | 0 | 0
Total Capacity | 18590 | 47888 | 62444 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148855 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105031777.4338 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251223152.2572

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3496 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8960 | 17920 | 27311905.2326
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22314 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51539 | 0 | 0
Total Capacity | 18590 | 47888 | 62444 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148855 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105031777.4338 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251223152.2572

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646