## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 1
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 25674 | 25674 | 74051 | 74051 | 2134537855.2192 | 0 | 0 | 2134537855.2192
1 | 0.17498 | 38565 | 12891 | 111260 | 37209 | 2134537855.2192 | 125006767.74 | 0.058564 | 2009531087.4792
2 | 0.17772 | 45063 | 6498 | 130592 | 19332 | 2134537855.2192 | 187752161.9112 | 0.087959 | 1946785693.308
3 | 0.17921 | 48294 | 3231 | 139907 | 9315 | 2134537855.2192 | 220396165.6389 | 0.10325 | 1914141689.5804
4 | 0.17995 | 49962 | 1668 | 144400 | 4493 | 2134537855.2192 | 236116338.6167 | 0.11062 | 1898421516.6026
5 | 0.18031 | 50760 | 798 | 146594 | 2194 | 2134537855.2192 | 243675581.1964 | 0.11416 | 1890862274.0229
6 | 0.18049 | 51165 | 405 | 147768 | 1174 | 2134537855.2192 | 247398637.3732 | 0.1159 | 1887139217.8461
7 | 0.18058 | 51353 | 188 | 148266 | 498 | 2134537855.2192 | 249380029.8725 | 0.11683 | 1885157825.3467
8 | 0.18062 | 51440 | 87 | 148583 | 317 | 2134537855.2192 | 250225724.6657 | 0.11723 | 1884312130.5535
9 | 0.18065 | 51498 | 58 | 148747 | 164 | 2134537855.2192 | 250761791.9357 | 0.11748 | 1883776063.2835
10 | 0.18066 | 51519 | 21 | 148801 | 54 | 2134537855.2192 | 251039690.0549 | 0.11761 | 1883498165.1644
11 | 0.18067 | 51534 | 15 | 148839 | 38 | 2134537855.2192 | 251131731.4387 | 0.11765 | 1883406123.7805
12 | 0.18067 | 51537 | 3 | 148849 | 10 | 2134537855.2192 | 251195742.699 | 0.11768 | 1883342112.5202
13 | 0.18067 | 51539 | 2 | 148853 | 4 | 2134537855.2192 | 251212096.6778 | 0.11769 | 1883325758.5415
14 | 0.18067 | 51539 | 0 | 148853 | 0 | 2134537855.2192 | 251218967.0785 | 0.11769 | 1883318888.1408
15 | 0.18067 | 51540 | 1 | 148855 | 2 | 2134537855.2192 | 251218967.0785 | 0.11769 | 1883318888.1408
16 | 0.18067 | 51540 | 0 | 148855 | 0 | 2134537855.2192 | 251222378.2639 | 0.11769 | 1883315476.9553
17 | 0.18067 | 51541 | 1 | 148859 | 4 | 2134537855.2192 | 251222378.2639 | 0.11769 | 1883315476.9553
18 | 0.18067 | 51541 | 0 | 148859 | 0 | 2134537855.2192 | 251229248.6646 | 0.1177 | 1883308606.5546
19 | 0.18067 | 51541 | 0 | 148859 | 0 | 2134537855.2192 | 251229248.6646 | 0.1177 | 1883308606.5546

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1094 | 1578 | 1732 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 4 | 23 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 4439 | 8878 | 15821112.6641
2kW_SE | 1144 | 1613 | 1733 | 6 | 4 | 0 | 0 | 0 | 0 | 0 | 3 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4542 | 9084 | 15602680.0397
2kW_SW | 1111 | 1576 | 1721 | 6 | 3 | 0 | 0 | 0 | 0 | 4 | 0 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4463 | 8926 | 15224120.6767
2kW_W | 1051 | 1613 | 1752 | 3 | 5 | 0 | 2 | 0 | 0 | 0 | 4 | 39 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 4471 | 8942 | 13628518.7829
4kW_S | 32 | 694 | 966 | 3 | 1 | 0 | 4 | 0 | 1 | 0 | 12 | 40 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 1756 | 7024 | 12517176.8407
4kW_SE | 20 | 686 | 953 | 7 | 0 | 0 | 1 | 0 | 0 | 2 | 16 | 60 | 0 | 0 | 0 | 4 | 1 | 0 | 3 | 1753 | 7012 | 12043812.3868
4kW_SW | 38 | 655 | 1014 | 4 | 1 | 1 | 1 | 0 | 0 | 2 | 13 | 35 | 0 | 0 | 0 | 2 | 1 | 0 | 3 | 1770 | 7080 | 12075596.6417
4kW_W | 24 | 653 | 969 | 2 | 2 | 0 | 2 | 0 | 0 | 4 | 18 | 41 | 0 | 0 | 1 | 5 | 0 | 0 | 2 | 1723 | 6892 | 10504109.9709
6kW_S | 0 | 17 | 80 | 1 | 0 | 1 | 3 | 0 | 1 | 7 | 28 | 12 | 3 | 2 | 2 | 11 | 3 | 3 | 11 | 185 | 1110 | 1978084.6064
6kW_SE | 0 | 11 | 69 | 1 | 0 | 1 | 3 | 2 | 0 | 12 | 15 | 13 | 2 | 1 | 2 | 12 | 3 | 1 | 8 | 156 | 936 | 1607673.7671
6kW_SW | 0 | 17 | 51 | 0 | 0 | 1 | 1 | 1 | 0 | 13 | 25 | 6 | 3 | 2 | 2 | 8 | 2 | 1 | 7 | 140 | 840 | 1432697.9068
6kW_W | 0 | 13 | 73 | 1 | 0 | 1 | 2 | 0 | 0 | 10 | 16 | 24 | 4 | 3 | 0 | 8 | 4 | 0 | 8 | 167 | 1002 | 1527150.0577
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 2 | 2 | 0 | 1 | 4 | 14 | 350 | 623720.3728
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 4 | 0 | 0 | 3 | 1 | 3 | 3 | 1 | 6 | 23 | 575 | 980715.8275
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 1 | 0 | 0 | 1 | 4 | 9 | 0 | 5 | 11 | 40 | 3000 | 5346174.6189
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 3 | 7 | 3 | 5 | 7 | 32 | 2400 | 4093422.5794
Total Units | 4514 | 9126 | 11113 | 36 | 20 | 6 | 22 | 3 | 2 | 70 | 161 | 374 | 12 | 13 | 17 | 74 | 23 | 17 | 71 | 25674 | 0 | 0
Total Capacity | 9256 | 23860 | 31122 | 116 | 48 | 103 | 215 | 18 | 10 | 1392 | 987 | 1320 | 72 | 223 | 640 | 1613 | 388 | 830 | 1838 | 0 | 74051 | 0
Total Supply | 15593577.0215 | 40155612.1383 | 52351964.9977 | 196453.5222 | 79615.2605 | 175117.9445 | 372857.1941 | 30844.7586 | 17820.582 | 2412354.8488 | 1680085.2769 | 2207339.2772 | 119967.3637 | 385716.5223 | 1118677.9787 | 2801085.2036 | 658634.6428 | 1447676.5844 | 3201366.6223 | 0 | 0 | 125006767.7401

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1638 | 2389 | 2582 | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 9 | 44 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 6674 | 13348 | 23786912.8002
2kW_SE | 1653 | 2425 | 2584 | 11 | 7 | 0 | 0 | 0 | 0 | 1 | 7 | 55 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 6747 | 13494 | 23177296.8357
2kW_SW | 1666 | 2380 | 2581 | 10 | 4 | 0 | 0 | 0 | 0 | 5 | 4 | 56 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 6707 | 13414 | 22878820.8333
2kW_W | 1558 | 2469 | 2657 | 5 | 6 | 0 | 2 | 0 | 0 | 1 | 5 | 61 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 6767 | 13534 | 20627194.4988
4kW_S | 45 | 1016 | 1466 | 4 | 1 | 0 | 4 | 0 | 2 | 1 | 18 | 53 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 2614 | 10456 | 18633200.6046
4kW_SE | 37 | 1025 | 1451 | 9 | 1 | 0 | 2 | 0 | 1 | 3 | 24 | 82 | 0 | 0 | 0 | 4 | 2 | 0 | 4 | 2645 | 10580 | 18172209.7907
4kW_SW | 61 | 986 | 1500 | 7 | 6 | 1 | 1 | 0 | 0 | 3 | 15 | 53 | 0 | 0 | 0 | 3 | 2 | 0 | 5 | 2643 | 10572 | 18031526.5107
4kW_W | 32 | 1002 | 1493 | 3 | 2 | 0 | 2 | 0 | 0 | 5 | 22 | 62 | 0 | 0 | 1 | 5 | 0 | 0 | 3 | 2632 | 10528 | 16045744.3084
6kW_S | 0 | 24 | 109 | 2 | 0 | 1 | 6 | 0 | 2 | 14 | 37 | 18 | 3 | 2 | 3 | 17 | 7 | 5 | 14 | 264 | 1584 | 2822780.1951
6kW_SE | 0 | 20 | 103 | 3 | 0 | 1 | 3 | 3 | 0 | 17 | 20 | 24 | 4 | 1 | 3 | 17 | 6 | 1 | 13 | 239 | 1434 | 2463038.656
6kW_SW | 0 | 22 | 82 | 1 | 0 | 1 | 2 | 1 | 0 | 16 | 34 | 16 | 3 | 2 | 3 | 13 | 4 | 1 | 11 | 212 | 1272 | 2169513.9731
6kW_W | 0 | 23 | 102 | 1 | 0 | 2 | 4 | 1 | 0 | 16 | 24 | 36 | 5 | 4 | 1 | 11 | 5 | 0 | 14 | 249 | 1494 | 2277008.1699
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 4 | 0 | 1 | 2 | 3 | 3 | 1 | 4 | 7 | 30 | 750 | 1336543.6561
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 3 | 8 | 0 | 1 | 4 | 1 | 4 | 4 | 1 | 8 | 37 | 925 | 1577673.2876
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 12 | 1 | 0 | 0 | 1 | 8 | 10 | 0 | 8 | 14 | 56 | 4200 | 7484644.4664
75kW_SW | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 4 | 10 | 4 | 7 | 14 | 49 | 3675 | 6268053.3247
Total Units | 6690 | 13781 | 16710 | 58 | 34 | 9 | 31 | 7 | 5 | 107 | 232 | 560 | 19 | 18 | 28 | 101 | 39 | 27 | 109 | 38565 | 0 | 0
Total Capacity | 13730 | 35976 | 46824 | 190 | 88 | 159 | 405 | 80 | 24 | 2065 | 1431 | 1996 | 144 | 283 | 1066 | 2085 | 583 | 1292 | 2839 | 0 | 111260 | 0
Total Supply | 23134770.1595 | 60507767.2339 | 78735731.5534 | 322340.3356 | 148054.8556 | 273365.466 | 701901.2422 | 135574.608 | 42511.5648 | 3581397.1018 | 2436782.8102 | 3336195.6855 | 243913.7675 | 488922.8079 | 1869577.6696 | 3613923.5299 | 994147.2535 | 2259517.6561 | 4925766.6102 | 0 | 0 | 187752161.9112

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1951 | 2786 | 3034 | 3 | 7 | 0 | 0 | 0 | 0 | 1 | 12 | 54 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 7852 | 15704 | 27985441.91
2kW_SE | 1957 | 2822 | 3019 | 11 | 8 | 0 | 1 | 0 | 0 | 1 | 7 | 64 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 7894 | 15788 | 27117471.6497
2kW_SW | 1929 | 2780 | 3024 | 10 | 5 | 0 | 0 | 0 | 0 | 5 | 4 | 60 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7818 | 15636 | 26668647.8716
2kW_W | 1843 | 2863 | 3074 | 5 | 6 | 0 | 2 | 0 | 0 | 1 | 6 | 74 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 7878 | 15756 | 24013748.8195
4kW_S | 51 | 1194 | 1696 | 6 | 1 | 0 | 4 | 0 | 2 | 1 | 20 | 66 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3047 | 12188 | 21719725.4178
4kW_SE | 42 | 1214 | 1704 | 9 | 1 | 0 | 2 | 0 | 1 | 3 | 30 | 93 | 0 | 0 | 0 | 5 | 2 | 0 | 6 | 3112 | 12448 | 21380686.9068
4kW_SW | 66 | 1148 | 1730 | 8 | 6 | 1 | 1 | 0 | 0 | 3 | 16 | 64 | 0 | 0 | 0 | 3 | 2 | 0 | 5 | 3053 | 12212 | 20828698.6142
4kW_W | 42 | 1177 | 1750 | 4 | 3 | 0 | 2 | 0 | 0 | 5 | 22 | 75 | 1 | 0 | 1 | 6 | 1 | 0 | 3 | 3092 | 12368 | 18850091.7179
6kW_S | 0 | 25 | 128 | 2 | 0 | 1 | 6 | 0 | 2 | 16 | 41 | 18 | 3 | 2 | 3 | 21 | 10 | 5 | 18 | 301 | 1806 | 3218397.1164
6kW_SE | 0 | 22 | 122 | 3 | 0 | 1 | 3 | 3 | 0 | 19 | 24 | 27 | 6 | 1 | 4 | 20 | 8 | 1 | 14 | 278 | 1668 | 2864957.0977
6kW_SW | 0 | 25 | 94 | 1 | 0 | 1 | 2 | 1 | 0 | 16 | 38 | 19 | 3 | 2 | 3 | 15 | 5 | 1 | 14 | 240 | 1440 | 2456053.5545
6kW_W | 0 | 28 | 113 | 1 | 0 | 2 | 4 | 1 | 0 | 19 | 29 | 41 | 6 | 4 | 2 | 14 | 6 | 0 | 18 | 288 | 1728 | 2633648.0037
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 3 | 2 | 4 | 8 | 33 | 825 | 1470198.0217
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 5 | 2 | 7 | 4 | 1 | 9 | 45 | 1125 | 1918791.8363
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 12 | 2 | 0 | 0 | 1 | 9 | 11 | 3 | 10 | 17 | 67 | 5025 | 8954842.4866
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 4 | 17 | 4 | 10 | 18 | 65 | 4875 | 8314764.6145
Total Units | 7881 | 16084 | 19488 | 63 | 37 | 10 | 32 | 7 | 5 | 118 | 264 | 655 | 24 | 20 | 32 | 127 | 51 | 32 | 133 | 45063 | 0 | 0
Total Capacity | 16164 | 42034 | 54564 | 208 | 96 | 234 | 407 | 80 | 24 | 2234 | 1677 | 2326 | 170 | 310 | 1178 | 2842 | 879 | 1667 | 3498 | 0 | 130592 | 0
Total Supply | 27232716.6606 | 70699116.2711 | 91759261.8298 | 353079.696 | 160997.6488 | 401284.9216 | 705336.4426 | 135574.608 | 42511.5648 | 3867590.045 | 2861679.5072 | 3885906.3823 | 286894.2211 | 535126.7429 | 2065322.0659 | 4908535.6986 | 1517824.63 | 2910584.7539 | 6066821.9489 | 0 | 0 | 220396165.6389

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2090 | 2990 | 3261 | 3 | 8 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8430 | 16860 | 30045501.1846
2kW_SE | 2102 | 3015 | 3229 | 13 | 8 | 0 | 1 | 0 | 0 | 1 | 7 | 68 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8448 | 16896 | 29020572.6497
2kW_SW | 2080 | 2986 | 3248 | 10 | 6 | 0 | 0 | 0 | 0 | 5 | 4 | 64 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8404 | 16808 | 28667602.547
2kW_W | 1993 | 3052 | 3278 | 5 | 7 | 0 | 2 | 0 | 0 | 1 | 7 | 79 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8428 | 16856 | 25690260.8595
4kW_S | 52 | 1254 | 1822 | 7 | 1 | 0 | 4 | 0 | 2 | 1 | 22 | 74 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3245 | 12980 | 23131115.5171
4kW_SE | 45 | 1301 | 1840 | 9 | 2 | 0 | 2 | 0 | 2 | 4 | 32 | 97 | 0 | 0 | 0 | 5 | 2 | 0 | 6 | 3347 | 13388 | 22995231.0659
4kW_SW | 69 | 1234 | 1842 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 20 | 74 | 1 | 0 | 0 | 3 | 2 | 0 | 5 | 3271 | 13084 | 22315975.4887
4kW_W | 44 | 1262 | 1875 | 5 | 5 | 0 | 2 | 0 | 0 | 5 | 23 | 80 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3314 | 13256 | 20203494.1634
6kW_S | 0 | 25 | 143 | 2 | 0 | 1 | 6 | 0 | 2 | 18 | 43 | 22 | 3 | 2 | 3 | 21 | 10 | 6 | 19 | 326 | 1956 | 3485705.847
6kW_SE | 0 | 24 | 127 | 3 | 0 | 2 | 4 | 3 | 0 | 19 | 24 | 28 | 6 | 1 | 4 | 21 | 9 | 1 | 15 | 291 | 1746 | 2998929.9117
6kW_SW | 0 | 28 | 107 | 1 | 0 | 1 | 2 | 1 | 1 | 16 | 40 | 19 | 3 | 2 | 3 | 15 | 5 | 2 | 17 | 263 | 1578 | 2691425.3535
6kW_W | 0 | 29 | 121 | 1 | 0 | 2 | 4 | 1 | 0 | 21 | 31 | 41 | 7 | 4 | 2 | 16 | 6 | 0 | 18 | 304 | 1824 | 2779961.7817
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 8 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 10 | 47 | 1175 | 2004071.4735
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 9 | 11 | 5 | 10 | 18 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 18 | 4 | 10 | 19 | 71 | 5325 | 9082281.3481
Total Units | 8475 | 17200 | 20893 | 68 | 43 | 11 | 34 | 7 | 7 | 125 | 280 | 707 | 26 | 22 | 34 | 133 | 54 | 34 | 141 | 48294 | 0 | 0
Total Capacity | 17370 | 44926 | 58536 | 224 | 114 | 240 | 417 | 80 | 34 | 2412 | 1751 | 2504 | 180 | 410 | 1328 | 2964 | 1035 | 1679 | 3703 | 0 | 139907 | 0
Total Supply | 29258951.8138 | 75558798.2348 | 98452442.0964 | 379997.108 | 190084.3698 | 411590.5227 | 722464.4146 | 135574.608 | 59615.5219 | 4175708.1874 | 2986251.9029 | 4189769.969 | 302861.2032 | 705686.0171 | 2321160.9771 | 5115697.8402 | 1795438.962 | 2931510.6596 | 6422734.2083 | 0 | 0 | 236116338.6166

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2166 | 3094 | 3378 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8729 | 17458 | 31111171.9858
2kW_SE | 2172 | 3115 | 3346 | 14 | 8 | 0 | 1 | 0 | 0 | 1 | 7 | 72 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8740 | 17480 | 30023651.1551
2kW_SW | 2143 | 3097 | 3363 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 66 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8696 | 17392 | 29663668.6993
2kW_W | 2074 | 3161 | 3392 | 5 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 79 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8733 | 17466 | 26619962.9907
4kW_S | 53 | 1305 | 1884 | 7 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 79 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3365 | 13460 | 23986503.4561
4kW_SE | 46 | 1346 | 1893 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 100 | 0 | 0 | 0 | 5 | 2 | 0 | 6 | 3451 | 13804 | 23709752.7363
4kW_SW | 71 | 1273 | 1897 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 20 | 77 | 1 | 0 | 0 | 3 | 2 | 0 | 5 | 3370 | 13480 | 22991390.2161
4kW_W | 46 | 1311 | 1932 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 23 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3426 | 13704 | 20886291.7935
6kW_S | 0 | 27 | 145 | 2 | 0 | 1 | 7 | 0 | 2 | 19 | 43 | 23 | 3 | 2 | 3 | 24 | 10 | 6 | 20 | 337 | 2022 | 3603321.6885
6kW_SE | 0 | 24 | 134 | 3 | 0 | 2 | 4 | 3 | 0 | 19 | 24 | 30 | 6 | 1 | 4 | 21 | 9 | 1 | 17 | 302 | 1812 | 3112291.5234
6kW_SW | 0 | 28 | 109 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 19 | 3 | 2 | 3 | 16 | 5 | 2 | 19 | 270 | 1620 | 2763060.2488
6kW_W | 0 | 30 | 127 | 1 | 0 | 2 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 16 | 6 | 0 | 19 | 317 | 1902 | 2898841.7263
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 11 | 48 | 1200 | 2046711.2921
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 9 | 11 | 5 | 10 | 18 | 71 | 5325 | 9489459.9485
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 18 | 4 | 10 | 19 | 72 | 5400 | 9210200.8037
Total Units | 8771 | 17811 | 21600 | 70 | 46 | 12 | 35 | 7 | 7 | 129 | 285 | 733 | 26 | 22 | 34 | 137 | 54 | 34 | 149 | 49962 | 0 | 0
Total Capacity | 17974 | 46528 | 60472 | 232 | 120 | 315 | 423 | 80 | 34 | 2430 | 1775 | 2608 | 180 | 410 | 1328 | 2988 | 1035 | 1679 | 3789 | 0 | 144400 | 0
Total Supply | 30271934.0591 | 78251915.8109 | 101708809.6897 | 393665.8648 | 200623.7881 | 539509.9783 | 733156.7639 | 135574.608 | 59615.5219 | 4206495.5776 | 3024693.286 | 4364079.2275 | 302861.2032 | 705686.0171 | 2321160.9771 | 5158008.4443 | 1795438.962 | 2931510.6596 | 6570840.7575 | 0 | 0 | 243675581.1963

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2218 | 3137 | 3431 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8877 | 17754 | 31638661.2118
2kW_SE | 2217 | 3164 | 3419 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8910 | 17820 | 30607635.2165
2kW_SW | 2179 | 3148 | 3417 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8838 | 17676 | 30148057.0336
2kW_W | 2098 | 3202 | 3447 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 79 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8854 | 17708 | 26988795.6395
4kW_S | 54 | 1320 | 1921 | 7 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 81 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3420 | 13680 | 24378556.2615
4kW_SE | 47 | 1364 | 1924 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 101 | 0 | 0 | 0 | 5 | 2 | 0 | 6 | 3502 | 14008 | 24060143.1709
4kW_SW | 73 | 1293 | 1927 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 20 | 77 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3423 | 13692 | 23352975.8782
4kW_W | 46 | 1328 | 1959 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3471 | 13884 | 21160630.1271
6kW_S | 0 | 27 | 146 | 2 | 0 | 1 | 7 | 0 | 2 | 19 | 43 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 20 | 339 | 2034 | 3624706.3869
6kW_SE | 0 | 24 | 135 | 3 | 0 | 2 | 4 | 4 | 0 | 19 | 24 | 31 | 6 | 1 | 4 | 21 | 9 | 1 | 18 | 306 | 1836 | 3153513.9277
6kW_SW | 0 | 29 | 110 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 5 | 2 | 19 | 274 | 1644 | 2803994.4747
6kW_W | 0 | 30 | 127 | 1 | 0 | 2 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 318 | 1908 | 2907986.3374
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 11 | 48 | 1200 | 2046711.2921
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 18 | 4 | 10 | 19 | 72 | 5400 | 9210200.8037
Total Units | 8932 | 18066 | 21963 | 71 | 47 | 12 | 35 | 8 | 7 | 129 | 286 | 742 | 26 | 22 | 35 | 139 | 54 | 34 | 152 | 50760 | 0 | 0
Total Capacity | 18304 | 47182 | 61460 | 234 | 122 | 315 | 423 | 86 | 34 | 2430 | 1779 | 2644 | 180 | 410 | 1403 | 3000 | 1035 | 1679 | 3874 | 0 | 146594 | 0
Total Supply | 30835455.0685 | 79353355.0504 | 103377565.3752 | 396714.0685 | 204058.9884 | 539509.9783 | 733156.7639 | 145880.2091 | 59615.5219 | 4206495.5776 | 3030789.6934 | 4426719.1867 | 302861.2032 | 705686.0171 | 2454815.3425 | 5177386.6119 | 1795438.962 | 2931510.6596 | 6721623.0951 | 0 | 0 | 247398637.3731

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2240 | 3169 | 3456 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8956 | 17912 | 31920226.4068
2kW_SE | 2234 | 3188 | 3449 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 8981 | 17962 | 30851534.4421
2kW_SW | 2198 | 3167 | 3450 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8909 | 17818 | 30390251.2008
2kW_W | 2110 | 3219 | 3476 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 79 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8912 | 17824 | 27165591.4546
4kW_S | 55 | 1333 | 1937 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 83 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3453 | 13812 | 24613787.9447
4kW_SE | 47 | 1371 | 1938 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3525 | 14100 | 24218162.3864
4kW_SW | 73 | 1300 | 1945 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 21 | 77 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3449 | 13796 | 23530357.5238
4kW_W | 47 | 1341 | 1977 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3503 | 14012 | 21355715.1642
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 0 | 2 | 19 | 44 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 20 | 342 | 2052 | 3656783.4346
6kW_SE | 0 | 24 | 135 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 24 | 31 | 6 | 1 | 4 | 22 | 9 | 1 | 18 | 309 | 1854 | 3184430.7309
6kW_SW | 0 | 29 | 110 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 30 | 129 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 321 | 1926 | 2935420.1708
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 19 | 73 | 5475 | 9338120.2593
Total Units | 9004 | 18198 | 22150 | 72 | 47 | 13 | 36 | 8 | 7 | 130 | 288 | 745 | 27 | 22 | 35 | 141 | 55 | 34 | 153 | 51165 | 0 | 0
Total Capacity | 18452 | 47526 | 61982 | 238 | 122 | 321 | 429 | 86 | 34 | 2436 | 1789 | 2656 | 184 | 410 | 1403 | 3081 | 1041 | 1679 | 3899 | 0 | 147768 | 0
Total Supply | 31086879.6436 | 79934253.2949 | 104253140.5898 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 145880.2091 | 59615.5219 | 4216801.1786 | 3048304.4136 | 4447846.0531 | 309731.6038 | 705686.0171 | 2454815.3425 | 5315611.6686 | 1805672.5184 | 2931510.6596 | 6764262.9136 | 0 | 0 | 249380029.8725

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2249 | 3185 | 3466 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8991 | 17982 | 32044970.4805
2kW_SE | 2243 | 3198 | 3461 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9012 | 18024 | 30958025.6533
2kW_SW | 2209 | 3177 | 3467 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8947 | 17894 | 30519876.248
2kW_W | 2119 | 3226 | 3486 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 80 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8939 | 17878 | 27247892.9548
4kW_S | 55 | 1341 | 1945 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3470 | 13880 | 24734967.9028
4kW_SE | 48 | 1377 | 1946 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3540 | 14160 | 24321218.3966
4kW_SW | 73 | 1305 | 1951 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 77 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3462 | 13848 | 23619048.3466
4kW_W | 47 | 1345 | 1981 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3511 | 14044 | 21404486.4235
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 20 | 344 | 2064 | 3678168.1331
6kW_SE | 0 | 24 | 135 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 24 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 310 | 1860 | 3194736.332
6kW_SW | 0 | 29 | 110 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 30 | 130 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 322 | 1932 | 2944564.7819
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 19 | 73 | 5475 | 9338120.2593
Total Units | 9043 | 18264 | 22226 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 291 | 747 | 27 | 22 | 35 | 142 | 55 | 34 | 153 | 51353 | 0 | 0
Total Capacity | 18532 | 47704 | 62190 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1803 | 2662 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3899 | 0 | 148266 | 0
Total Supply | 31221700.7684 | 80237826.1925 | 104604929.8826 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3072641.5048 | 4458022.4896 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6764262.9136 | 0 | 0 | 250225724.6657

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2251 | 3187 | 3470 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 8999 | 17998 | 32073483.4116
2kW_SE | 2244 | 3207 | 3470 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9031 | 18062 | 31023294.4602
2kW_SW | 2211 | 3185 | 3473 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8963 | 17926 | 30574455.2152
2kW_W | 2122 | 3228 | 3491 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 80 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8949 | 17898 | 27278374.9918
4kW_S | 56 | 1345 | 1947 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3477 | 13908 | 24784865.5325
4kW_SE | 48 | 1382 | 1951 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3550 | 14200 | 24389922.4034
4kW_SW | 73 | 1309 | 1953 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 77 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3468 | 13872 | 23659982.5725
4kW_W | 47 | 1347 | 1987 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3519 | 14076 | 21453257.6828
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 135 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 311 | 1866 | 3205041.9331
6kW_SW | 0 | 29 | 110 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 30 | 130 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 322 | 1932 | 2944564.7819
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9052 | 18300 | 22265 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 747 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51440 | 0 | 0
Total Capacity | 18552 | 47806 | 62298 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2662 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148583 | 0
Total Supply | 31255359.4164 | 80411604.3531 | 104784642.9381 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4458022.4896 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 250761791.9357

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2256 | 3190 | 3479 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9016 | 18032 | 32134073.3903
2kW_SE | 2246 | 3209 | 3473 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9038 | 18076 | 31047340.8627
2kW_SW | 2214 | 3188 | 3476 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8972 | 17944 | 30605155.8843
2kW_W | 2125 | 3228 | 3493 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 80 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8954 | 17908 | 27293616.0104
4kW_S | 56 | 1346 | 1950 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3481 | 13924 | 24813378.4638
4kW_SE | 48 | 1385 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3556 | 14224 | 24431144.8074
4kW_SW | 73 | 1310 | 1955 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 77 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3471 | 13884 | 23680449.6855
4kW_W | 47 | 1347 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3522 | 14088 | 21471546.9051
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9065 | 18314 | 22296 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 747 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51498 | 0 | 0
Total Capacity | 18578 | 47848 | 62394 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2662 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148747 | 0
Total Supply | 31299428.5666 | 80483107.0763 | 104946969.1839 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4458022.4896 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251039690.0548

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3193 | 3482 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9023 | 18046 | 32159022.205
2kW_SE | 2246 | 3211 | 3474 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9041 | 18082 | 31057646.4638
2kW_SW | 2214 | 3189 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8974 | 17948 | 30611978.2552
2kW_W | 2126 | 3229 | 3493 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8957 | 17914 | 27302760.6215
4kW_S | 56 | 1346 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3483 | 13932 | 24827634.9295
4kW_SE | 48 | 1385 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3556 | 14224 | 24431144.8074
4kW_SW | 73 | 1310 | 1957 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3474 | 13896 | 23700916.7984
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9067 | 18322 | 22305 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51519 | 0 | 0
Total Capacity | 18582 | 47866 | 62420 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148801 | 0
Total Supply | 31306040.8867 | 80513225.6227 | 104992409.1265 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251131731.4387

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3212 | 3474 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9043 | 18086 | 31064516.8645
2kW_SW | 2215 | 3190 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8976 | 17952 | 30618800.6261
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1957 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3475 | 13900 | 23707739.1694
4kW_W | 47 | 1348 | 1990 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3523 | 14092 | 21477643.3125
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18328 | 22311 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51534 | 0 | 0
Total Capacity | 18590 | 47884 | 62432 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148839 | 0
Total Supply | 31319709.6435 | 80544762.9913 | 105011214.2614 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251195742.699

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3212 | 3475 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9044 | 18088 | 31067952.0649
2kW_SW | 2215 | 3190 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8976 | 17952 | 30618800.6261
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18328 | 22314 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51537 | 0 | 0
Total Capacity | 18590 | 47884 | 62442 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148849 | 0
Total Supply | 31319709.6435 | 80544762.9913 | 105027568.2402 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251212096.6777

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3190 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8976 | 17952 | 30618800.6261
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18329 | 22315 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51539 | 0 | 0
Total Capacity | 18590 | 47886 | 62444 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148853 | 0
Total Supply | 31319709.6435 | 80548198.1916 | 105031003.4406 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251218967.0784

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3190 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8976 | 17952 | 30618800.6261
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18329 | 22315 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51539 | 0 | 0
Total Capacity | 18590 | 47886 | 62444 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148853 | 0
Total Supply | 31319709.6435 | 80548198.1916 | 105031003.4406 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251218967.0784

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22315 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51540 | 0 | 0
Total Capacity | 18590 | 47888 | 62444 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148855 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105031003.4406 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251222378.2639

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1954 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3557 | 14228 | 24438015.2081
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22315 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51540 | 0 | 0
Total Capacity | 18590 | 47888 | 62444 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148855 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105031003.4406 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251222378.2639

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2257 | 3194 | 3483 | 3 | 10 | 0 | 0 | 0 | 0 | 1 | 12 | 61 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 9025 | 18050 | 32166150.4378
2kW_SE | 2247 | 3213 | 3476 | 14 | 9 | 0 | 1 | 0 | 0 | 1 | 7 | 74 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 9046 | 18092 | 31074822.4656
2kW_SW | 2215 | 3191 | 3477 | 10 | 7 | 0 | 0 | 0 | 0 | 5 | 4 | 67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 8977 | 17954 | 30622211.8116
2kW_W | 2126 | 3229 | 3498 | 6 | 7 | 0 | 2 | 0 | 0 | 1 | 8 | 81 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 8962 | 17924 | 27318001.6401
4kW_S | 56 | 1348 | 1952 | 8 | 1 | 0 | 4 | 0 | 2 | 2 | 22 | 84 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 3485 | 13940 | 24841891.3951
4kW_SE | 48 | 1386 | 1955 | 9 | 2 | 0 | 2 | 0 | 2 | 5 | 33 | 102 | 1 | 0 | 0 | 5 | 2 | 0 | 6 | 3558 | 14232 | 24444885.6088
4kW_SW | 74 | 1310 | 1958 | 9 | 6 | 1 | 2 | 0 | 0 | 3 | 23 | 78 | 1 | 0 | 0 | 3 | 2 | 0 | 6 | 3476 | 13904 | 23714561.5404
4kW_W | 47 | 1348 | 1991 | 5 | 5 | 0 | 2 | 0 | 0 | 6 | 24 | 83 | 1 | 0 | 1 | 7 | 1 | 0 | 3 | 3524 | 14096 | 21483739.7199
6kW_S | 0 | 27 | 148 | 2 | 0 | 1 | 7 | 1 | 2 | 19 | 45 | 24 | 3 | 2 | 3 | 24 | 10 | 6 | 21 | 345 | 2070 | 3688860.4823
6kW_SE | 0 | 24 | 136 | 3 | 0 | 2 | 5 | 4 | 0 | 20 | 25 | 31 | 6 | 1 | 4 | 23 | 9 | 1 | 18 | 312 | 1872 | 3215347.5342
6kW_SW | 0 | 29 | 111 | 2 | 0 | 1 | 2 | 1 | 1 | 16 | 41 | 20 | 3 | 2 | 3 | 17 | 6 | 2 | 19 | 276 | 1656 | 2824461.5877
6kW_W | 0 | 31 | 131 | 1 | 0 | 3 | 4 | 1 | 0 | 21 | 33 | 44 | 7 | 4 | 2 | 17 | 6 | 0 | 19 | 324 | 1944 | 2962854.0042
25kW_S | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 5 | 0 | 1 | 2 | 3 | 4 | 2 | 4 | 9 | 35 | 875 | 1559300.9321
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 5 | 8 | 0 | 1 | 6 | 2 | 7 | 4 | 1 | 12 | 49 | 1225 | 2089351.1107
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 2 | 0 | 0 | 1 | 10 | 11 | 5 | 10 | 19 | 73 | 5475 | 9756768.6795
75kW_SW | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 6 | 19 | 4 | 10 | 20 | 74 | 5550 | 9466039.7149
Total Units | 9070 | 18330 | 22316 | 72 | 47 | 13 | 36 | 9 | 7 | 130 | 292 | 749 | 27 | 22 | 35 | 142 | 55 | 34 | 155 | 51541 | 0 | 0
Total Capacity | 18590 | 47888 | 62448 | 238 | 122 | 321 | 429 | 92 | 34 | 2436 | 1809 | 2668 | 184 | 410 | 1403 | 3087 | 1041 | 1679 | 3980 | 0 | 148859 | 0
Total Supply | 31319709.6435 | 80551609.3771 | 105037873.8412 | 403842.3014 | 204058.9884 | 548654.5894 | 743462.3649 | 156572.5583 | 59615.5219 | 4216801.1786 | 3082947.1059 | 4467893.0643 | 309731.6038 | 705686.0171 | 2454815.3425 | 5325917.2697 | 1805672.5184 | 2931510.6596 | 6902874.7185 | 0 | 0 | 251229248.6646