## Summary
Ticks to run | 20
Initial price | 0.12
Solar PV cost | 3000
Capacity factor | 0.2
neighborhood effect | 0.1
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.12 | 728 | 728 | 2195 | 2195 | 2112997453.673 | 0 | 0 | 2112997453.673
1 | 0.12014 | 1581 | 853 | 4687 | 2492 | 2112997453.673 | 3718854.8576 | 0.00176 | 2109278598.8155
2 | 0.1203 | 2685 | 1104 | 7744 | 3057 | 2112997453.673 | 7921620.1972 | 0.003749 | 2105075833.4759
3 | 0.1205 | 4063 | 1378 | 11526 | 3782 | 2112997453.673 | 13082017.8564 | 0.0061912 | 2099915435.8166
4 | 0.12074 | 5776 | 1713 | 16664 | 5138 | 2112997453.673 | 19436777.5229 | 0.0091987 | 2093560676.1502
5 | 0.12108 | 7767 | 1991 | 22677 | 6013 | 2112997453.673 | 28119250.6442 | 0.013308 | 2084878203.0288
6 | 0.12148 | 9774 | 2007 | 28588 | 5911 | 2112997453.673 | 38274375.7699 | 0.018114 | 2074723077.9031
7 | 0.12187 | 11718 | 1944 | 34085 | 5497 | 2112997453.673 | 48248768.4735 | 0.022834 | 2064748685.1995
8 | 0.12224 | 13710 | 1992 | 39669 | 5584 | 2112997453.673 | 57517621.9936 | 0.027221 | 2055479831.6795
9 | 0.12262 | 15664 | 1954 | 45502 | 5833 | 2112997453.673 | 66948955.7322 | 0.031684 | 2046048497.9408
10 | 0.12302 | 17568 | 1904 | 50965 | 5463 | 2112997453.673 | 76807657.0876 | 0.03635 | 2036189796.5855
11 | 0.1234 | 19488 | 1920 | 56530 | 5565 | 2112997453.673 | 86046640.9737 | 0.040723 | 2026950812.6993
12 | 0.12378 | 21370 | 1882 | 62260 | 5730 | 2112997453.673 | 95417753.9652 | 0.045158 | 2017579699.7079
13 | 0.12419 | 23232 | 1862 | 67787 | 5527 | 2112997453.673 | 105101599.9125 | 0.049741 | 2007895853.7605
14 | 0.12458 | 25043 | 1811 | 72993 | 5206 | 2112997453.673 | 114449979.9046 | 0.054165 | 1998547473.7685
15 | 0.12495 | 26754 | 1711 | 78083 | 5090 | 2112997453.673 | 123229875.2379 | 0.05832 | 1989767578.4351
16 | 0.12532 | 28450 | 1696 | 82958 | 4875 | 2112997453.673 | 131846210.6258 | 0.062398 | 1981151243.0473
17 | 0.12568 | 30078 | 1628 | 87651 | 4693 | 2112997453.673 | 140077664.738 | 0.066293 | 1972919788.9351
18 | 0.12603 | 31642 | 1564 | 92125 | 4474 | 2112997453.673 | 148002270.9189 | 0.070044 | 1964995182.7542
19 | 0.12636 | 33084 | 1442 | 96396 | 4271 | 2112997453.673 | 155531087.1148 | 0.073607 | 1957466366.5583

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 21 | 52 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125 | 250 | 445514.549
2kW_SE | 28 | 49 | 51 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130 | 260 | 446576.0469
2kW_SW | 37 | 48 | 55 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 141 | 282 | 480977.1489
2kW_W | 21 | 41 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 107 | 214 | 326157.7969
4kW_S | 0 | 17 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 55 | 220 | 392052.8054
4kW_SE | 0 | 18 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 180 | 309168.0305
4kW_SW | 0 | 16 | 30 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 200 | 341118.5492
4kW_W | 0 | 19 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 53 | 212 | 323109.5928
6kW_S | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 36 | 64154.0953
6kW_SE | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 18 | 30916.8032
6kW_SW | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 30 | 51167.7824
6kW_W | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 18 | 27433.8334
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 50 | 85279.6372
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 150 | 267308.7309
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 75 | 127919.4556
Total Units | 107 | 264 | 330 | 3 | 1 | 0 | 1 | 0 | 0 | 2 | 2 | 10 | 1 | 1 | 0 | 3 | 0 | 0 | 3 | 728 | 0 | 0
Total Capacity | 214 | 684 | 924 | 10 | 2 | 0 | 6 | 0 | 0 | 31 | 12 | 42 | 75 | 25 | 0 | 85 | 0 | 0 | 85 | 0 | 2195 | 0
Total Supply | 361258.194 | 1152585.0886 | 1556798.4799 | 17079.9423 | 3411.1855 | 0 | 10692.3492 | 0 | 0 | 52945.4197 | 21384.6984 | 72228.687 | 133654.3655 | 42639.8186 | 0 | 144192.2996 | 0 | 0 | 149984.3294 | 0 | 0 | 3718854.8576

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 59 | 116 | 104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 281 | 562 | 1001516.7062
2kW_SE | 62 | 105 | 94 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 266 | 532 | 913763.296
2kW_SW | 74 | 101 | 110 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 286 | 572 | 975599.0396
2kW_W | 60 | 113 | 92 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 267 | 534 | 813870.3903
4kW_S | 1 | 40 | 68 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 115 | 460 | 819746.7749
4kW_SE | 2 | 41 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 404 | 693910.4684
4kW_SW | 1 | 44 | 56 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106 | 424 | 723171.3243
4kW_W | 1 | 39 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 113 | 452 | 688894.0376
6kW_S | 0 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 60 | 106923.4922
6kW_SE | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 36 | 61833.6064
6kW_SW | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 11 | 66 | 112569.1212
6kW_W | 0 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 10 | 60 | 91446.1112
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 3 | 75 | 127919.4558
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 300 | 534617.4619
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2 | 150 | 255838.9112
Total Units | 260 | 605 | 661 | 4 | 2 | 0 | 1 | 0 | 1 | 4 | 7 | 19 | 3 | 1 | 0 | 8 | 1 | 0 | 4 | 1581 | 0 | 0
Total Capacity | 530 | 1562 | 1868 | 14 | 4 | 0 | 6 | 0 | 6 | 41 | 38 | 72 | 156 | 25 | 0 | 199 | 6 | 0 | 160 | 0 | 4687 | 0
Total Supply | 892373.0481 | 2628083.3206 | 3139612.9767 | 24208.1752 | 6459.3892 | 0 | 10692.3492 | 0 | 10305.6011 | 70766.0017 | 64761.2388 | 121821.2121 | 278001.0802 | 42639.8186 | 0 | 337564.9417 | 10692.3492 | 0 | 283638.6948 | 0 | 0 | 7921620.1972

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 96 | 179 | 176 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 457 | 914 | 1628801.1911
2kW_SE | 107 | 183 | 171 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 467 | 934 | 1604238.5686
2kW_SW | 118 | 179 | 183 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 484 | 968 | 1651013.7593
2kW_W | 109 | 188 | 178 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 960 | 1463137.7803
4kW_S | 2 | 63 | 116 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 4 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 190 | 760 | 1354364.2368
4kW_SE | 4 | 79 | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 181 | 724 | 1243542.5225
4kW_SW | 3 | 67 | 95 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 173 | 692 | 1180270.1802
4kW_W | 1 | 67 | 103 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 177 | 708 | 1079064.1119
6kW_S | 0 | 3 | 4 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 3 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 17 | 102 | 181769.9368
6kW_SE | 0 | 2 | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 78 | 133972.8139
6kW_SW | 0 | 1 | 10 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 19 | 114 | 194437.5731
6kW_W | 0 | 4 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 15 | 90 | 137169.1669
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 25 | 44551.4552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 3 | 75 | 127919.4558
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 6 | 450 | 801926.1928
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2 | 150 | 255838.9112
Total Units | 440 | 1015 | 1138 | 8 | 4 | 0 | 2 | 1 | 1 | 8 | 14 | 32 | 5 | 2 | 0 | 9 | 1 | 0 | 5 | 2685 | 0 | 0
Total Capacity | 900 | 2622 | 3184 | 30 | 12 | 0 | 12 | 6 | 6 | 201 | 70 | 112 | 166 | 29 | 0 | 224 | 6 | 0 | 164 | 0 | 7744 | 0
Total Supply | 1512797.2887 | 4407181.7184 | 5357733.0544 | 51230.7368 | 20257.062 | 0 | 21384.6984 | 10233.5565 | 10305.6011 | 355895.3147 | 118773.0084 | 189477.7235 | 293968.0623 | 49510.2193 | 0 | 382116.3969 | 10692.3492 | 0 | 290461.0658 | 0 | 0 | 13082017.8564

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 140 | 271 | 293 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 712 | 1424 | 2537650.8711
2kW_SE | 168 | 270 | 257 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 704 | 1408 | 2418381.0541
2kW_SW | 178 | 281 | 283 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 748 | 1496 | 2551566.7188
2kW_W | 170 | 269 | 269 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 713 | 1426 | 2173369.2445
4kW_S | 2 | 80 | 157 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 1 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 252 | 1008 | 1796314.6719
4kW_SE | 6 | 114 | 149 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 6 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 280 | 1120 | 1923712.1896
4kW_SW | 5 | 102 | 134 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 251 | 1004 | 1712415.117
4kW_W | 2 | 106 | 172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 291 | 1164 | 1774054.5569
6kW_S | 0 | 4 | 6 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 6 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 24 | 144 | 256616.3814
6kW_SE | 0 | 4 | 6 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 114 | 195806.4203
6kW_SW | 0 | 1 | 17 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 27 | 162 | 276306.0249
6kW_W | 0 | 4 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 1 | 1 | 1 | 0 | 4 | 0 | 0 | 0 | 26 | 156 | 237759.8892
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 25 | 44551.4552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 5 | 125 | 213199.0929
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 600 | 1069234.9238
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2 | 150 | 255838.9112
Total Units | 671 | 1506 | 1754 | 10 | 7 | 0 | 3 | 1 | 1 | 12 | 21 | 48 | 5 | 3 | 0 | 13 | 2 | 1 | 5 | 4063 | 0 | 0
Total Capacity | 1372 | 3868 | 4892 | 36 | 20 | 0 | 18 | 6 | 6 | 313 | 102 | 178 | 166 | 35 | 0 | 244 | 81 | 25 | 164 | 0 | 11526 | 0
Total Supply | 2303259.1361 | 6498278.6811 | 8218615.8019 | 61464.2932 | 34384.6116 | 0 | 31690.2995 | 10233.5565 | 10305.6011 | 550478.721 | 172937.4604 | 300912.4482 | 293968.0623 | 58654.8304 | 0 | 414146.4205 | 144346.7147 | 42639.8186 | 290461.0658 | 0 | 0 | 19436777.5229

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 204 | 382 | 418 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1013 | 2026 | 3610449.9051
2kW_SE | 243 | 374 | 371 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1000 | 2000 | 3435200.361
2kW_SW | 258 | 401 | 403 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1073 | 2146 | 3660201.9911
2kW_W | 246 | 358 | 380 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 994 | 1988 | 3029914.4867
4kW_S | 4 | 126 | 216 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 3 | 9 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 363 | 1452 | 2587548.5155
4kW_SE | 9 | 158 | 237 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 2 | 10 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 421 | 1684 | 2892438.685
4kW_SW | 7 | 142 | 186 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 7 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 350 | 1400 | 2387829.8444
4kW_W | 4 | 157 | 224 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 399 | 1596 | 2432466.5574
6kW_S | 0 | 5 | 6 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 6 | 4 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 28 | 168 | 299385.7783
6kW_SE | 0 | 6 | 10 | 1 | 0 | 0 | 1 | 1 | 1 | 2 | 3 | 3 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 30 | 180 | 309168.0321
6kW_SW | 0 | 2 | 27 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 3 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 40 | 240 | 409342.2591
6kW_W | 0 | 5 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 1 | 1 | 2 | 0 | 5 | 1 | 0 | 0 | 39 | 234 | 356639.8338
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 25 | 44551.4552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 7 | 175 | 298478.7301
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 2 | 0 | 0 | 0 | 2 | 0 | 3 | 11 | 825 | 1470198.0202
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0 | 0 | 7 | 525 | 895436.1892
Total Units | 975 | 2116 | 2496 | 10 | 9 | 1 | 3 | 2 | 1 | 18 | 29 | 74 | 7 | 6 | 1 | 14 | 5 | 1 | 8 | 5776 | 0 | 0
Total Capacity | 1998 | 5470 | 6962 | 36 | 24 | 4 | 18 | 12 | 6 | 554 | 209 | 264 | 247 | 53 | 25 | 250 | 237 | 25 | 270 | 0 | 16664 | 0
Total Supply | 3354266.1549 | 9196478.4987 | 11707943.7779 | 61464.2932 | 40996.9317 | 6870.4007 | 31690.2995 | 20539.1575 | 10305.6011 | 961646.646 | 359313.6895 | 446120.0606 | 432193.119 | 88338.5991 | 42639.8186 | 423291.0316 | 415065.1469 | 42639.8186 | 477447.5991 | 0 | 0 | 28119250.6442

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 282 | 505 | 556 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1356 | 2712 | 4832941.8276
2kW_SE | 320 | 504 | 505 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 13 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1349 | 2698 | 4634085.287
2kW_SW | 345 | 521 | 541 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1421 | 2842 | 4847294.5287
2kW_W | 339 | 452 | 515 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1319 | 2638 | 4020580.6922
4kW_S | 5 | 183 | 288 | 1 | 1 | 0 | 0 | 0 | 0 | 3 | 4 | 11 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 497 | 1988 | 3542731.714
4kW_SE | 16 | 207 | 323 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | 13 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 567 | 2268 | 3895517.1839
4kW_SW | 11 | 189 | 268 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 10 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 488 | 1952 | 3329317.0402
4kW_W | 8 | 224 | 295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 14 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 547 | 2188 | 3334734.8544
6kW_S | 0 | 5 | 12 | 1 | 0 | 0 | 3 | 0 | 0 | 3 | 9 | 7 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 43 | 258 | 459771.0166
6kW_SE | 0 | 7 | 15 | 1 | 0 | 0 | 1 | 1 | 1 | 2 | 4 | 4 | 1 | 1 | 0 | 2 | 0 | 0 | 2 | 42 | 252 | 432835.245
6kW_SW | 0 | 2 | 32 | 1 | 1 | 0 | 0 | 1 | 0 | 3 | 3 | 4 | 0 | 1 | 0 | 3 | 0 | 0 | 1 | 52 | 312 | 532144.9368
6kW_W | 0 | 7 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 6 | 2 | 1 | 2 | 0 | 7 | 1 | 1 | 0 | 49 | 294 | 448085.9451
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2 | 50 | 89102.9104
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 2 | 0 | 1 | 1 | 8 | 200 | 341118.5487
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 0 | 2 | 1 | 0 | 0 | 2 | 0 | 4 | 14 | 1050 | 1871161.1166
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 0 | 1 | 0 | 0 | 3 | 2 | 1 | 1 | 13 | 975 | 1662952.9229
Total Units | 1326 | 2806 | 3369 | 13 | 11 | 1 | 4 | 2 | 2 | 25 | 42 | 106 | 8 | 7 | 1 | 23 | 6 | 3 | 12 | 7767 | 0 | 0
Total Capacity | 2732 | 7302 | 9398 | 48 | 28 | 4 | 24 | 12 | 8 | 732 | 348 | 376 | 251 | 128 | 25 | 411 | 312 | 106 | 432 | 0 | 22677 | 0
Total Supply | 4583929.8918 | 12277978.7252 | 15814720.8444 | 82390.1989 | 47867.3324 | 6870.4007 | 42382.6487 | 20539.1575 | 13869.7175 | 1270652.7733 | 595289.541 | 634871.8206 | 438289.5264 | 221992.9645 | 42639.8186 | 697769.2984 | 542984.6025 | 179703.8853 | 759632.6223 | 0 | 0 | 38274375.7699

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 365 | 638 | 689 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 1 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1709 | 3418 | 6091074.9139
2kW_SE | 410 | 641 | 634 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 2 | 17 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1710 | 3420 | 5874192.6173
2kW_SW | 426 | 631 | 684 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1760 | 3520 | 6003686.3973
2kW_W | 428 | 573 | 644 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 2 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1665 | 3330 | 5075259.1755
4kW_S | 6 | 235 | 372 | 1 | 2 | 0 | 0 | 0 | 0 | 3 | 6 | 16 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 642 | 2568 | 4576325.4737
4kW_SE | 18 | 253 | 392 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | 14 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 685 | 2740 | 4706224.4637
4kW_SW | 12 | 247 | 331 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 15 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 616 | 2464 | 4202580.5261
4kW_W | 10 | 291 | 374 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 21 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 703 | 2812 | 4285774.4106
6kW_S | 0 | 7 | 20 | 1 | 0 | 0 | 3 | 0 | 0 | 3 | 11 | 7 | 1 | 0 | 1 | 2 | 2 | 0 | 2 | 60 | 360 | 641540.9534
6kW_SE | 0 | 9 | 16 | 1 | 0 | 0 | 1 | 1 | 2 | 2 | 6 | 4 | 1 | 1 | 0 | 4 | 0 | 0 | 2 | 50 | 300 | 515280.0536
6kW_SW | 0 | 3 | 36 | 1 | 1 | 0 | 0 | 1 | 0 | 4 | 4 | 4 | 0 | 2 | 0 | 4 | 0 | 0 | 2 | 62 | 372 | 634480.5016
6kW_W | 0 | 8 | 24 | 1 | 0 | 0 | 1 | 0 | 0 | 5 | 9 | 3 | 1 | 2 | 0 | 7 | 1 | 1 | 1 | 64 | 384 | 585255.1119
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 4 | 100 | 178205.8208
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 1 | 2 | 0 | 1 | 2 | 10 | 250 | 426398.1859
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 1 | 1 | 2 | 2 | 0 | 4 | 18 | 1350 | 2405778.5785
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 0 | 1 | 0 | 2 | 4 | 2 | 1 | 1 | 16 | 1200 | 2046711.2897
Total Units | 1675 | 3536 | 4216 | 14 | 14 | 1 | 5 | 2 | 3 | 29 | 58 | 140 | 9 | 8 | 5 | 31 | 7 | 3 | 18 | 9774 | 0 | 0
Total Capacity | 3442 | 9232 | 11754 | 54 | 36 | 4 | 30 | 12 | 14 | 825 | 441 | 484 | 276 | 134 | 256 | 666 | 318 | 106 | 504 | 0 | 28588 | 0
Total Supply | 5776399.9566 | 15518929.1233 | 19779663.4073 | 91534.81 | 61454.9544 | 6870.4007 | 51527.2599 | 20539.1575 | 24175.3185 | 1432829.9175 | 752130.1926 | 813222.4289 | 482840.9816 | 232226.521 | 442825.4445 | 1145226.942 | 553676.9517 | 179703.8853 | 882990.8203 | 0 | 0 | 48248768.4735

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 458 | 749 | 854 | 1 | 3 | 0 | 0 | 0 | 1 | 1 | 1 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2082 | 4164 | 7420490.3281
2kW_SE | 477 | 762 | 771 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 2 | 23 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2043 | 4086 | 7018114.3375
2kW_SW | 503 | 746 | 797 | 3 | 3 | 0 | 0 | 0 | 0 | 1 | 2 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2072 | 4144 | 7067976.2586
2kW_W | 501 | 710 | 782 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 2 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2018 | 4036 | 6151275.0848
4kW_S | 7 | 287 | 447 | 1 | 2 | 0 | 0 | 0 | 0 | 3 | 7 | 20 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 776 | 3104 | 5531508.6722
4kW_SE | 19 | 304 | 461 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 4 | 17 | 0 | 1 | 0 | 3 | 0 | 0 | 0 | 811 | 3244 | 5571894.949
4kW_SW | 13 | 298 | 401 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 22 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 746 | 2984 | 5089488.7541
4kW_W | 14 | 342 | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 27 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 840 | 3360 | 5120982.2261
6kW_S | 0 | 8 | 25 | 1 | 0 | 0 | 3 | 0 | 0 | 3 | 11 | 8 | 1 | 0 | 1 | 2 | 2 | 0 | 3 | 68 | 408 | 727079.7472
6kW_SE | 0 | 12 | 16 | 1 | 0 | 0 | 1 | 1 | 2 | 4 | 7 | 5 | 1 | 1 | 0 | 5 | 0 | 0 | 3 | 59 | 354 | 608030.4632
6kW_SW | 0 | 5 | 39 | 1 | 1 | 0 | 0 | 1 | 0 | 4 | 5 | 5 | 0 | 2 | 0 | 6 | 0 | 0 | 3 | 72 | 432 | 736816.0663
6kW_W | 0 | 9 | 25 | 1 | 0 | 0 | 1 | 0 | 0 | 5 | 11 | 4 | 2 | 3 | 0 | 9 | 1 | 1 | 2 | 74 | 444 | 676701.2232
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 6 | 150 | 267308.7312
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 2 | 1 | 2 | 0 | 2 | 2 | 13 | 325 | 554317.6416
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 1 | 1 | 3 | 2 | 0 | 5 | 20 | 1500 | 2673087.3094
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 0 | 1 | 1 | 2 | 4 | 3 | 1 | 1 | 18 | 1350 | 2302550.2009
Total Units | 1992 | 4232 | 5068 | 18 | 16 | 1 | 5 | 2 | 3 | 33 | 66 | 178 | 10 | 12 | 5 | 40 | 9 | 4 | 24 | 11718 | 0 | 0
Total Capacity | 4090 | 11062 | 14074 | 62 | 40 | 4 | 30 | 12 | 14 | 841 | 502 | 616 | 282 | 244 | 256 | 802 | 418 | 131 | 605 | 0 | 34085 | 0
Total Supply | 6868407.99 | 18591232.6379 | 23687356.1969 | 104993.5159 | 67914.3436 | 6870.4007 | 51527.2599 | 20539.1575 | 24175.3185 | 1460416.4214 | 854419.3954 | 1034538.3056 | 491985.5927 | 419058.6391 | 442825.4445 | 1382800.3 | 726147.8625 | 222343.7039 | 1060069.5074 | 0 | 0 | 57517621.9936

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 546 | 866 | 1017 | 1 | 3 | 0 | 0 | 0 | 1 | 1 | 2 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2453 | 4906 | 8742777.5096
2kW_SE | 563 | 885 | 895 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 2 | 25 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2378 | 4756 | 8168906.4585
2kW_SW | 591 | 871 | 945 | 3 | 4 | 0 | 0 | 0 | 0 | 1 | 3 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2439 | 4878 | 8319881.3199
2kW_W | 583 | 834 | 925 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 2 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2367 | 4734 | 7215098.1792
4kW_S | 12 | 334 | 510 | 1 | 3 | 0 | 0 | 0 | 0 | 3 | 8 | 24 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 898 | 3592 | 6401153.0769
4kW_SE | 21 | 358 | 536 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 4 | 21 | 0 | 1 | 0 | 3 | 0 | 0 | 0 | 948 | 3792 | 6513139.8418
4kW_SW | 15 | 350 | 478 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 27 | 1 | 0 | 0 | 2 | 0 | 0 | 3 | 888 | 3552 | 6058265.4338
4kW_W | 17 | 393 | 514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 30 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 961 | 3844 | 5858647.5229
6kW_S | 0 | 9 | 30 | 1 | 0 | 0 | 3 | 0 | 0 | 3 | 12 | 8 | 1 | 0 | 1 | 4 | 2 | 0 | 3 | 77 | 462 | 823310.8902
6kW_SE | 0 | 12 | 25 | 1 | 0 | 0 | 1 | 1 | 2 | 6 | 7 | 5 | 1 | 1 | 0 | 5 | 0 | 0 | 3 | 70 | 420 | 721392.075
6kW_SW | 0 | 6 | 43 | 1 | 1 | 0 | 0 | 1 | 0 | 6 | 5 | 7 | 0 | 3 | 0 | 6 | 2 | 0 | 3 | 84 | 504 | 859618.7441
6kW_W | 0 | 9 | 30 | 1 | 0 | 0 | 1 | 0 | 0 | 6 | 12 | 6 | 2 | 3 | 0 | 9 | 1 | 1 | 3 | 84 | 504 | 768147.3344
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 2 | 0 | 1 | 7 | 175 | 311860.1864
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 2 | 1 | 2 | 0 | 2 | 2 | 13 | 325 | 554317.6416
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 1 | 0 | 2 | 1 | 2 | 3 | 2 | 0 | 6 | 23 | 1725 | 3074050.4059
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 1 | 1 | 2 | 4 | 3 | 1 | 2 | 20 | 1500 | 2558389.1121
Total Units | 2348 | 4927 | 5948 | 20 | 19 | 1 | 5 | 2 | 3 | 41 | 71 | 206 | 10 | 13 | 6 | 45 | 12 | 4 | 29 | 13710 | 0 | 0
Total Capacity | 4826 | 12868 | 16484 | 70 | 50 | 4 | 30 | 12 | 14 | 1025 | 522 | 720 | 282 | 250 | 331 | 826 | 455 | 131 | 769 | 0 | 39669 | 0
Total Supply | 8108930.4172 | 21627773.8959 | 27747741.3871 | 118686.2876 | 85324.1625 | 6870.4007 | 51527.2599 | 20539.1575 | 24175.3185 | 1779035.5397 | 888359.8904 | 1209333.6273 | 491985.5927 | 429292.1956 | 576479.81 | 1424957.9732 | 791166.4307 | 222343.7039 | 1344432.6816 | 0 | 0 | 66948955.7322

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 641 | 984 | 1131 | 1 | 5 | 0 | 0 | 0 | 1 | 1 | 4 | 18 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2787 | 5574 | 9933192.3845
2kW_SE | 640 | 1010 | 1022 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 3 | 28 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2712 | 5424 | 9316263.379
2kW_SW | 679 | 1013 | 1072 | 3 | 4 | 0 | 0 | 0 | 0 | 1 | 3 | 25 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2801 | 5602 | 9554730.4539
2kW_W | 670 | 951 | 1041 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 2 | 18 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2690 | 5380 | 8199667.9772
4kW_S | 16 | 378 | 581 | 1 | 3 | 0 | 1 | 0 | 0 | 4 | 10 | 27 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 1024 | 4096 | 7299310.4128
4kW_SE | 26 | 419 | 608 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 4 | 27 | 0 | 1 | 0 | 3 | 1 | 0 | 0 | 1093 | 4372 | 7509347.94
4kW_SW | 17 | 403 | 554 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 33 | 1 | 0 | 0 | 2 | 0 | 0 | 3 | 1028 | 4112 | 7013397.3716
4kW_W | 20 | 443 | 586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 36 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 1094 | 4376 | 6669469.7087
6kW_S | 0 | 10 | 32 | 1 | 0 | 0 | 4 | 0 | 0 | 3 | 12 | 8 | 1 | 0 | 2 | 5 | 2 | 0 | 3 | 83 | 498 | 887464.9856
6kW_SE | 0 | 12 | 35 | 1 | 0 | 0 | 1 | 2 | 2 | 6 | 10 | 7 | 1 | 1 | 0 | 6 | 1 | 0 | 4 | 89 | 534 | 917198.4953
6kW_SW | 0 | 7 | 49 | 1 | 1 | 0 | 1 | 1 | 0 | 7 | 6 | 9 | 0 | 3 | 0 | 6 | 2 | 0 | 3 | 96 | 576 | 982421.4218
6kW_W | 0 | 9 | 34 | 1 | 0 | 0 | 1 | 0 | 0 | 7 | 14 | 7 | 2 | 3 | 0 | 9 | 1 | 1 | 4 | 93 | 558 | 850448.8345
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 3 | 0 | 1 | 8 | 200 | 356411.6416
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 0 | 2 | 1 | 3 | 0 | 2 | 2 | 15 | 375 | 639597.2788
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 2 | 0 | 2 | 1 | 2 | 4 | 2 | 0 | 8 | 27 | 2025 | 3608667.8677
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 1 | 1 | 2 | 5 | 4 | 2 | 3 | 24 | 1800 | 3070066.9346
Total Units | 2709 | 5639 | 6745 | 20 | 22 | 1 | 8 | 3 | 3 | 44 | 88 | 243 | 11 | 13 | 7 | 50 | 18 | 5 | 35 | 15664 | 0 | 0
Total Capacity | 5576 | 14716 | 18748 | 70 | 56 | 4 | 46 | 18 | 14 | 1041 | 688 | 856 | 284 | 250 | 337 | 1013 | 569 | 206 | 1010 | 0 | 45502 | 0
Total Supply | 9372208.8437 | 24738836.4676 | 31557768.6847 | 118686.2876 | 95887.5957 | 6870.4007 | 79581.3984 | 30844.7586 | 24175.3185 | 1805541.9401 | 1175477.0756 | 1436851.3096 | 495033.7964 | 429292.1956 | 587172.1592 | 1750169.5632 | 987788.6451 | 350263.1595 | 1765207.4877 | 0 | 0 | 76807657.0876

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 713 | 1115 | 1267 | 1 | 5 | 0 | 0 | 0 | 1 | 1 | 5 | 21 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3130 | 6260 | 11155684.307
2kW_SE | 730 | 1126 | 1151 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 3 | 28 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 3048 | 6096 | 10470490.7003
2kW_SW | 757 | 1143 | 1199 | 3 | 4 | 0 | 0 | 0 | 0 | 1 | 3 | 26 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3137 | 6274 | 10700888.7661
2kW_W | 766 | 1056 | 1173 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 2 | 21 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 3026 | 6052 | 9223864.4234
4kW_S | 20 | 430 | 643 | 1 | 3 | 0 | 2 | 0 | 0 | 4 | 11 | 30 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 1147 | 4588 | 8176083.0503
4kW_SE | 27 | 473 | 678 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 5 | 33 | 0 | 2 | 0 | 3 | 1 | 0 | 0 | 1226 | 4904 | 8423111.23
4kW_SW | 19 | 454 | 620 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 35 | 1 | 0 | 0 | 3 | 0 | 0 | 3 | 1150 | 4600 | 7845726.6316
4kW_W | 23 | 493 | 645 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 40 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 1211 | 4844 | 7382749.3759
6kW_S | 0 | 10 | 37 | 1 | 0 | 0 | 4 | 0 | 0 | 3 | 13 | 10 | 1 | 0 | 2 | 5 | 2 | 0 | 3 | 91 | 546 | 973003.7794
6kW_SE | 0 | 13 | 42 | 1 | 0 | 0 | 1 | 2 | 2 | 6 | 11 | 11 | 1 | 1 | 0 | 8 | 2 | 0 | 4 | 105 | 630 | 1082088.1125
6kW_SW | 0 | 9 | 58 | 2 | 1 | 0 | 1 | 1 | 0 | 7 | 8 | 10 | 0 | 3 | 0 | 7 | 2 | 0 | 5 | 114 | 684 | 1166625.4384
6kW_W | 0 | 9 | 38 | 1 | 0 | 0 | 1 | 0 | 0 | 8 | 16 | 8 | 2 | 3 | 0 | 9 | 1 | 1 | 5 | 102 | 612 | 932750.3346
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 3 | 0 | 1 | 8 | 200 | 356411.6416
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 0 | 3 | 1 | 3 | 0 | 2 | 2 | 16 | 400 | 682237.0974
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 2 | 0 | 2 | 1 | 3 | 4 | 2 | 1 | 10 | 32 | 2400 | 4276939.6951
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 1 | 1 | 2 | 6 | 4 | 2 | 3 | 25 | 1875 | 3197986.3902
Total Units | 3055 | 6331 | 7551 | 22 | 22 | 1 | 9 | 3 | 3 | 46 | 97 | 273 | 12 | 15 | 8 | 55 | 19 | 6 | 40 | 17568 | 0 | 0
Total Capacity | 6288 | 16526 | 20974 | 80 | 56 | 4 | 50 | 18 | 14 | 1122 | 734 | 978 | 286 | 279 | 412 | 1110 | 575 | 281 | 1178 | 0 | 50965 | 0
Total Supply | 10564010.574 | 27792938.2034 | 35308337.2139 | 135016.2515 | 95887.5957 | 6870.4007 | 86709.6312 | 30844.7586 | 24175.3185 | 1948340.9167 | 1252794.111 | 1642722.1998 | 498468.9968 | 478802.4149 | 720826.5247 | 1915756.1484 | 998094.2462 | 483917.525 | 2062127.9428 | 0 | 0 | 86046640.9737

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 789 | 1241 | 1388 | 1 | 5 | 0 | 0 | 0 | 1 | 2 | 6 | 24 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3458 | 6916 | 12324714.4835
2kW_SE | 789 | 1257 | 1262 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 3 | 31 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 3352 | 6704 | 11514791.6101
2kW_SW | 839 | 1265 | 1332 | 3 | 4 | 0 | 0 | 0 | 0 | 1 | 4 | 27 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3476 | 6952 | 11857280.6346
2kW_W | 862 | 1183 | 1318 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 2 | 24 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 3398 | 6796 | 10357796.2032
4kW_S | 23 | 470 | 720 | 1 | 3 | 0 | 3 | 0 | 0 | 4 | 12 | 34 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 1273 | 5092 | 9074240.3862
4kW_SE | 27 | 520 | 753 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 6 | 36 | 0 | 2 | 0 | 3 | 1 | 0 | 0 | 1352 | 5408 | 9288781.7153
4kW_SW | 20 | 505 | 686 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 36 | 1 | 0 | 0 | 3 | 0 | 0 | 3 | 1269 | 5076 | 8657588.7787
4kW_W | 25 | 537 | 727 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 43 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 1342 | 5368 | 8181378.7469
6kW_S | 0 | 11 | 46 | 1 | 0 | 0 | 6 | 0 | 0 | 4 | 16 | 13 | 1 | 1 | 2 | 6 | 2 | 0 | 6 | 115 | 690 | 1229620.1608
6kW_SE | 0 | 14 | 47 | 1 | 0 | 0 | 1 | 2 | 2 | 6 | 13 | 11 | 2 | 1 | 1 | 9 | 2 | 0 | 5 | 117 | 702 | 1205755.3253
6kW_SW | 0 | 11 | 61 | 3 | 1 | 0 | 2 | 1 | 0 | 8 | 9 | 11 | 0 | 3 | 0 | 7 | 2 | 1 | 6 | 126 | 756 | 1289428.1161
6kW_W | 0 | 9 | 43 | 1 | 0 | 0 | 2 | 0 | 0 | 10 | 19 | 11 | 3 | 3 | 1 | 10 | 1 | 1 | 6 | 120 | 720 | 1097353.3349
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 3 | 0 | 2 | 10 | 250 | 445514.552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 0 | 0 | 4 | 1 | 3 | 0 | 2 | 2 | 18 | 450 | 767516.7345
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 2 | 0 | 2 | 2 | 3 | 5 | 2 | 1 | 10 | 34 | 2550 | 4544248.426
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 1 | 1 | 2 | 7 | 4 | 3 | 4 | 28 | 2100 | 3581744.757
Total Units | 3374 | 7023 | 8383 | 24 | 22 | 1 | 14 | 3 | 3 | 52 | 111 | 301 | 14 | 18 | 10 | 60 | 19 | 8 | 48 | 19488 | 0 | 0
Total Capacity | 6938 | 18290 | 23326 | 88 | 56 | 4 | 78 | 18 | 14 | 1173 | 825 | 1084 | 298 | 385 | 424 | 1278 | 575 | 362 | 1314 | 0 | 56530 | 0
Total Supply | 11650304.8886 | 30761000.6668 | 39255098.4849 | 148298.0116 | 95887.5957 | 6870.4007 | 134600.7301 | 30844.7586 | 24175.3185 | 2035671.6163 | 1406763.5046 | 1820256.1107 | 517919.209 | 665788.9482 | 740276.7369 | 2207472.5309 | 998094.2462 | 622070.5371 | 2296359.6699 | 0 | 0 | 95417753.9652

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 877 | 1372 | 1497 | 1 | 5 | 0 | 0 | 0 | 1 | 2 | 6 | 26 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3788 | 7576 | 13500872.8929
2kW_SE | 865 | 1370 | 1378 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 3 | 33 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 3659 | 7318 | 12569398.1209
2kW_SW | 922 | 1393 | 1467 | 3 | 4 | 0 | 0 | 0 | 0 | 1 | 4 | 27 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3822 | 7644 | 13037550.8014
2kW_W | 954 | 1284 | 1453 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 3 | 28 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 3731 | 7462 | 11372848.0383
4kW_S | 27 | 515 | 783 | 2 | 3 | 0 | 3 | 0 | 0 | 4 | 13 | 38 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 1391 | 5564 | 9915371.8596
4kW_SE | 28 | 569 | 816 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 8 | 42 | 0 | 2 | 0 | 3 | 1 | 0 | 2 | 1476 | 5904 | 10140711.3993
4kW_SW | 23 | 562 | 759 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 11 | 39 | 1 | 0 | 0 | 4 | 0 | 0 | 3 | 1408 | 5632 | 9605898.3455
4kW_W | 29 | 580 | 803 | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 5 | 43 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 1468 | 5872 | 8949526.0808
6kW_S | 0 | 11 | 53 | 1 | 0 | 0 | 6 | 0 | 0 | 5 | 19 | 14 | 1 | 1 | 2 | 7 | 2 | 0 | 6 | 128 | 768 | 1368620.7007
6kW_SE | 0 | 15 | 56 | 1 | 0 | 0 | 1 | 2 | 2 | 7 | 16 | 13 | 2 | 1 | 1 | 9 | 2 | 0 | 5 | 133 | 798 | 1370644.9424
6kW_SW | 0 | 12 | 65 | 3 | 1 | 0 | 2 | 1 | 0 | 8 | 10 | 12 | 0 | 3 | 0 | 7 | 2 | 1 | 7 | 134 | 804 | 1371296.5679
6kW_W | 0 | 10 | 46 | 1 | 0 | 0 | 2 | 0 | 0 | 11 | 21 | 11 | 3 | 3 | 1 | 10 | 1 | 1 | 7 | 128 | 768 | 1170510.2239
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 4 | 0 | 2 | 11 | 275 | 490066.0072
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 4 | 0 | 0 | 4 | 1 | 4 | 0 | 2 | 4 | 22 | 550 | 938076.0089
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 7 | 2 | 0 | 2 | 2 | 3 | 6 | 2 | 1 | 12 | 38 | 2850 | 5078865.8879
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 2 | 2 | 9 | 5 | 3 | 4 | 33 | 2475 | 4221342.035
Total Units | 3725 | 7693 | 9176 | 27 | 23 | 1 | 14 | 4 | 3 | 57 | 126 | 326 | 15 | 19 | 10 | 66 | 21 | 8 | 56 | 21370 | 0 | 0
Total Capacity | 7664 | 20030 | 25554 | 100 | 60 | 4 | 78 | 93 | 14 | 1220 | 901 | 1176 | 373 | 460 | 424 | 1538 | 675 | 362 | 1534 | 0 | 62260 | 0
Total Supply | 12868821.5669 | 33698702.4113 | 42993326.8197 | 168393.0526 | 101984.0031 | 6870.4007 | 134600.7301 | 164499.1241 | 24175.3185 | 2114550.4037 | 1535842.1141 | 1978187.1152 | 645838.6646 | 793708.4038 | 740276.7369 | 2657120.3464 | 1170565.157 | 622070.5371 | 2682067.007 | 0 | 0 | 105101599.9125

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 942 | 1500 | 1642 | 1 | 5 | 0 | 0 | 0 | 1 | 2 | 7 | 29 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4130 | 8260 | 14719800.699
2kW_SE | 952 | 1491 | 1493 | 3 | 5 | 0 | 0 | 0 | 0 | 0 | 3 | 34 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 3984 | 7968 | 13685838.2382
2kW_SW | 995 | 1507 | 1594 | 4 | 4 | 0 | 0 | 0 | 0 | 1 | 4 | 29 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4139 | 8278 | 14118896.59
2kW_W | 1039 | 1399 | 1587 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 3 | 32 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 4070 | 8140 | 12406189.0956
4kW_S | 29 | 560 | 854 | 2 | 3 | 0 | 3 | 0 | 0 | 4 | 14 | 41 | 1 | 1 | 0 | 2 | 0 | 0 | 0 | 1514 | 6056 | 10792144.4971
4kW_SE | 29 | 618 | 881 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 10 | 45 | 0 | 2 | 0 | 3 | 1 | 0 | 2 | 1596 | 6384 | 10965159.4805
4kW_SW | 26 | 610 | 824 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 11 | 48 | 1 | 0 | 0 | 4 | 0 | 0 | 3 | 1533 | 6132 | 10458694.7185
4kW_W | 29 | 617 | 868 | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 5 | 48 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 1575 | 6300 | 9601841.6739
6kW_S | 0 | 13 | 59 | 1 | 0 | 0 | 6 | 0 | 0 | 5 | 19 | 16 | 1 | 1 | 2 | 8 | 2 | 0 | 6 | 139 | 834 | 1486236.5421
6kW_SE | 0 | 16 | 63 | 1 | 0 | 0 | 1 | 2 | 2 | 11 | 16 | 14 | 2 | 2 | 1 | 10 | 2 | 0 | 6 | 149 | 894 | 1535534.5596
6kW_SW | 0 | 12 | 71 | 3 | 1 | 0 | 2 | 1 | 0 | 8 | 11 | 14 | 1 | 3 | 0 | 8 | 2 | 1 | 7 | 145 | 870 | 1483865.6892
6kW_W | 0 | 14 | 49 | 1 | 0 | 0 | 2 | 0 | 0 | 11 | 23 | 13 | 3 | 3 | 1 | 10 | 1 | 1 | 9 | 141 | 846 | 1289390.1685
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 3 | 4 | 0 | 3 | 13 | 325 | 579168.9176
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 5 | 0 | 0 | 4 | 2 | 4 | 0 | 2 | 5 | 26 | 650 | 1108635.2832
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 7 | 2 | 0 | 3 | 2 | 3 | 9 | 2 | 1 | 12 | 42 | 3150 | 5613483.3498
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 1 | 0 | 2 | 2 | 2 | 10 | 5 | 3 | 5 | 36 | 2700 | 4605100.4019
Total Units | 4041 | 8357 | 9985 | 29 | 24 | 1 | 14 | 4 | 3 | 63 | 134 | 363 | 18 | 20 | 12 | 73 | 21 | 8 | 62 | 23232 | 0 | 0
Total Capacity | 8308 | 21744 | 27792 | 104 | 62 | 4 | 78 | 93 | 14 | 1344 | 958 | 1318 | 458 | 466 | 474 | 1856 | 675 | 362 | 1677 | 0 | 67787 | 0
Total Supply | 13949059.3964 | 36588716.8572 | 46764381.233 | 174852.4417 | 105419.2035 | 6870.4007 | 134600.7301 | 164499.1241 | 24175.3185 | 2326332.0822 | 1631437.8619 | 2215655.7616 | 796854.8193 | 804014.0048 | 827468.0106 | 3217234.4052 | 1170565.157 | 622070.5371 | 2925772.5597 | 0 | 0 | 114449979.9046

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1031 | 1617 | 1758 | 1 | 5 | 0 | 0 | 0 | 1 | 2 | 7 | 31 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4454 | 8908 | 15874574.41
2kW_SE | 1027 | 1613 | 1606 | 3 | 5 | 0 | 0 | 0 | 0 | 0 | 3 | 35 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 4295 | 8590 | 14754185.5505
2kW_SW | 1074 | 1620 | 1702 | 4 | 4 | 0 | 0 | 0 | 0 | 1 | 4 | 29 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4439 | 8878 | 15142252.2259
2kW_W | 1114 | 1514 | 1717 | 4 | 6 | 0 | 0 | 0 | 0 | 0 | 3 | 33 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 4393 | 8786 | 13390758.8936
4kW_S | 31 | 611 | 935 | 2 | 4 | 0 | 3 | 0 | 0 | 4 | 14 | 42 | 1 | 1 | 0 | 2 | 0 | 0 | 0 | 1650 | 6600 | 11761584.1613
4kW_SE | 31 | 657 | 959 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 10 | 48 | 0 | 2 | 0 | 3 | 1 | 0 | 2 | 1718 | 6872 | 11803348.3631
4kW_SW | 28 | 650 | 892 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 12 | 51 | 1 | 0 | 0 | 4 | 0 | 0 | 4 | 1648 | 6592 | 11243267.3816
4kW_W | 32 | 670 | 931 | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 6 | 50 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 1698 | 6792 | 10351699.7856
6kW_S | 0 | 13 | 66 | 1 | 0 | 0 | 7 | 0 | 0 | 5 | 24 | 16 | 1 | 1 | 2 | 8 | 2 | 0 | 6 | 152 | 912 | 1625237.082
6kW_SE | 0 | 17 | 68 | 1 | 0 | 0 | 2 | 2 | 2 | 13 | 17 | 16 | 3 | 2 | 1 | 11 | 2 | 0 | 6 | 163 | 978 | 1679812.9746
6kW_SW | 0 | 12 | 77 | 4 | 1 | 0 | 2 | 1 | 0 | 9 | 11 | 17 | 3 | 3 | 0 | 8 | 2 | 1 | 7 | 158 | 948 | 1616901.9234
6kW_W | 0 | 17 | 53 | 1 | 0 | 0 | 3 | 0 | 0 | 12 | 25 | 13 | 3 | 3 | 1 | 10 | 1 | 1 | 9 | 152 | 912 | 1389980.8908
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 1 | 3 | 4 | 0 | 3 | 14 | 350 | 623720.3728
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 5 | 0 | 0 | 4 | 2 | 4 | 0 | 2 | 5 | 26 | 650 | 1108635.2832
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 8 | 2 | 0 | 3 | 2 | 3 | 9 | 2 | 1 | 12 | 43 | 3225 | 5747137.7153
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 1 | 0 | 2 | 3 | 3 | 11 | 5 | 3 | 5 | 40 | 3000 | 5116778.2243
Total Units | 4368 | 9011 | 10764 | 30 | 27 | 1 | 17 | 4 | 3 | 70 | 144 | 381 | 21 | 21 | 13 | 76 | 21 | 8 | 63 | 25043 | 0 | 0
Total Capacity | 8980 | 23434 | 30018 | 110 | 70 | 4 | 96 | 93 | 14 | 1543 | 1014 | 1392 | 476 | 541 | 549 | 1941 | 675 | 362 | 1681 | 0 | 72993 | 0
Total Supply | 15081935.9425 | 39426049.6689 | 50516298.1251 | 185085.9982 | 118643.8437 | 6870.4007 | 164743.2915 | 164499.1241 | 24175.3185 | 2672446.7282 | 1726413.2098 | 2340978.6327 | 827627.5334 | 931933.4605 | 955387.4663 | 3361555.8693 | 1170565.157 | 622070.5371 | 2932594.9307 | 0 | 0 | 123229875.238

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1089 | 1712 | 1859 | 1 | 6 | 0 | 0 | 0 | 1 | 2 | 7 | 33 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4711 | 9422 | 16790552.3227
2kW_SE | 1090 | 1739 | 1721 | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 3 | 40 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 4605 | 9210 | 15819097.6624
2kW_SW | 1149 | 1734 | 1828 | 4 | 4 | 0 | 0 | 0 | 0 | 1 | 5 | 32 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4758 | 9516 | 16230420.3854
2kW_W | 1190 | 1620 | 1837 | 5 | 6 | 0 | 0 | 0 | 0 | 0 | 4 | 34 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 4698 | 9396 | 14320461.0249
4kW_S | 32 | 663 | 999 | 3 | 4 | 0 | 3 | 0 | 0 | 5 | 15 | 43 | 1 | 1 | 0 | 2 | 0 | 0 | 0 | 1771 | 7084 | 12624100.3331
4kW_SE | 33 | 696 | 1030 | 3 | 1 | 1 | 0 | 0 | 0 | 1 | 10 | 48 | 0 | 2 | 0 | 3 | 1 | 0 | 2 | 1831 | 7324 | 12579703.6396
4kW_SW | 30 | 704 | 956 | 5 | 0 | 0 | 1 | 0 | 0 | 1 | 14 | 54 | 1 | 0 | 0 | 4 | 0 | 0 | 4 | 1774 | 7096 | 12102886.1256
4kW_W | 34 | 703 | 982 | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 8 | 52 | 2 | 0 | 0 | 1 | 0 | 0 | 3 | 1789 | 7156 | 10906472.8601
6kW_S | 0 | 14 | 68 | 1 | 0 | 0 | 7 | 0 | 0 | 6 | 27 | 18 | 1 | 3 | 2 | 9 | 2 | 0 | 7 | 165 | 990 | 1764237.622
6kW_SE | 0 | 17 | 73 | 1 | 0 | 0 | 3 | 2 | 2 | 14 | 18 | 19 | 5 | 2 | 2 | 13 | 3 | 0 | 9 | 183 | 1098 | 1885924.996
6kW_SW | 0 | 15 | 80 | 4 | 1 | 0 | 2 | 1 | 0 | 10 | 15 | 20 | 3 | 3 | 0 | 8 | 2 | 1 | 10 | 175 | 1050 | 1790872.3835
6kW_W | 0 | 18 | 59 | 1 | 0 | 0 | 3 | 0 | 0 | 12 | 26 | 13 | 3 | 3 | 1 | 11 | 1 | 1 | 9 | 161 | 966 | 1472282.391
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 1 | 4 | 4 | 0 | 4 | 18 | 450 | 801926.1936
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 5 | 0 | 0 | 4 | 2 | 4 | 0 | 2 | 5 | 26 | 650 | 1108635.2832
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 8 | 3 | 0 | 3 | 2 | 3 | 11 | 2 | 1 | 12 | 46 | 3450 | 6148100.8117
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1 | 0 | 2 | 3 | 3 | 11 | 6 | 4 | 5 | 43 | 3225 | 5500536.5911
Total Units | 4647 | 9635 | 11492 | 33 | 29 | 1 | 20 | 4 | 3 | 76 | 161 | 406 | 24 | 23 | 14 | 83 | 23 | 9 | 71 | 26754 | 0 | 0
Total Capacity | 9552 | 25058 | 32038 | 120 | 74 | 4 | 131 | 93 | 14 | 1665 | 1167 | 1486 | 492 | 553 | 555 | 2140 | 756 | 437 | 1748 | 0 | 78083 | 0
Total Supply | 16039281.2979 | 42168201.5472 | 53916950.6442 | 202132.8354 | 125643.1605 | 6870.4007 | 226422.7188 | 164499.1241 | 24175.3185 | 2883277.3786 | 1991954.2398 | 2501354.959 | 854335.1429 | 953318.1589 | 965693.0673 | 3713864.2179 | 1308790.2137 | 749989.9927 | 3049456.2078 | 0 | 0 | 131846210.6258

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1166 | 1814 | 1952 | 1 | 6 | 0 | 0 | 0 | 1 | 2 | 8 | 35 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4986 | 9972 | 17770684.3305
2kW_SE | 1176 | 1845 | 1828 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 3 | 41 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 4907 | 9814 | 16856528.1714
2kW_SW | 1234 | 1851 | 1941 | 4 | 4 | 0 | 0 | 0 | 0 | 1 | 5 | 35 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5076 | 10152 | 17315177.3594
2kW_W | 1280 | 1722 | 1966 | 5 | 6 | 0 | 0 | 0 | 0 | 0 | 4 | 34 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 5019 | 10038 | 15298934.4155
4kW_S | 32 | 700 | 1063 | 3 | 4 | 0 | 3 | 0 | 0 | 5 | 15 | 48 | 1 | 1 | 0 | 2 | 0 | 0 | 0 | 1877 | 7508 | 13379693.0125
4kW_SE | 33 | 732 | 1092 | 3 | 1 | 1 | 0 | 0 | 1 | 1 | 11 | 54 | 0 | 2 | 0 | 3 | 1 | 0 | 2 | 1937 | 7748 | 13307966.1113
4kW_SW | 30 | 750 | 1021 | 5 | 0 | 0 | 1 | 0 | 0 | 1 | 14 | 61 | 1 | 0 | 0 | 4 | 0 | 0 | 4 | 1892 | 7568 | 12907925.9017
4kW_W | 35 | 750 | 1032 | 2 | 2 | 0 | 0 | 0 | 0 | 1 | 10 | 56 | 2 | 0 | 0 | 1 | 0 | 0 | 3 | 1894 | 7576 | 11546595.6383
6kW_S | 0 | 14 | 71 | 1 | 0 | 0 | 7 | 0 | 0 | 8 | 28 | 19 | 1 | 3 | 2 | 9 | 2 | 0 | 7 | 172 | 1032 | 1839084.0665
6kW_SE | 0 | 17 | 78 | 1 | 0 | 0 | 3 | 2 | 2 | 14 | 20 | 20 | 5 | 2 | 3 | 14 | 3 | 0 | 10 | 194 | 1164 | 1999286.6078
6kW_SW | 0 | 16 | 83 | 4 | 1 | 0 | 2 | 1 | 0 | 10 | 15 | 22 | 3 | 3 | 0 | 9 | 2 | 1 | 12 | 184 | 1104 | 1882974.3918
6kW_W | 0 | 18 | 64 | 1 | 0 | 0 | 3 | 0 | 0 | 13 | 28 | 14 | 3 | 3 | 1 | 12 | 2 | 1 | 9 | 172 | 1032 | 1572873.1133
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 1 | 4 | 4 | 0 | 5 | 19 | 475 | 846477.6488
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 5 | 0 | 0 | 4 | 2 | 4 | 0 | 2 | 5 | 26 | 650 | 1108635.2832
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 8 | 3 | 0 | 3 | 2 | 3 | 13 | 3 | 1 | 14 | 51 | 3825 | 6816372.6391
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1 | 0 | 2 | 3 | 3 | 11 | 7 | 4 | 5 | 44 | 3300 | 5628456.0467
Total Units | 4986 | 10229 | 12191 | 34 | 31 | 1 | 20 | 4 | 4 | 79 | 170 | 439 | 24 | 23 | 15 | 88 | 26 | 9 | 77 | 28450 | 0 | 0
Total Capacity | 10232 | 26582 | 33982 | 122 | 80 | 4 | 131 | 93 | 18 | 1683 | 1211 | 1616 | 492 | 553 | 561 | 2308 | 912 | 437 | 1941 | 0 | 82958 | 0
Total Supply | 17179530.9958 | 44727570.9428 | 57185137.1473 | 205568.0358 | 135174.7682 | 6870.4007 | 226422.7188 | 164499.1241 | 31045.7192 | 2913806.6882 | 2064174.3453 | 2721767.4176 | 854335.1429 | 953318.1589 | 975998.6684 | 4010856.7175 | 1579508.6459 | 749989.9927 | 3392089.1079 | 0 | 0 | 140077664.738

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1233 | 1929 | 2060 | 1 | 8 | 0 | 0 | 0 | 1 | 2 | 9 | 37 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5281 | 10562 | 18822098.6662
2kW_SE | 1238 | 1942 | 1935 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 3 | 44 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 5176 | 10352 | 17780597.0685
2kW_SW | 1298 | 1951 | 2049 | 4 | 4 | 0 | 0 | 0 | 0 | 1 | 5 | 38 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5351 | 10702 | 18253253.359
2kW_W | 1341 | 1818 | 2086 | 5 | 6 | 0 | 0 | 0 | 0 | 0 | 5 | 39 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 5302 | 10604 | 16161576.0651
4kW_S | 33 | 740 | 1123 | 4 | 4 | 0 | 3 | 0 | 0 | 5 | 16 | 50 | 1 | 1 | 0 | 2 | 0 | 0 | 0 | 1982 | 7928 | 14128157.4592
4kW_SE | 35 | 787 | 1151 | 3 | 1 | 1 | 0 | 0 | 1 | 2 | 11 | 58 | 0 | 2 | 0 | 3 | 1 | 0 | 2 | 2058 | 8232 | 14139284.5933
4kW_SW | 30 | 789 | 1091 | 5 | 0 | 0 | 1 | 0 | 0 | 1 | 16 | 63 | 1 | 0 | 0 | 4 | 0 | 0 | 4 | 2005 | 8020 | 13678853.8229
4kW_W | 37 | 795 | 1098 | 3 | 2 | 0 | 0 | 0 | 0 | 1 | 12 | 60 | 2 | 0 | 0 | 2 | 0 | 0 | 3 | 2015 | 8060 | 12284260.9352
6kW_S | 0 | 14 | 75 | 1 | 0 | 0 | 7 | 0 | 0 | 8 | 31 | 19 | 1 | 3 | 3 | 10 | 2 | 0 | 11 | 185 | 1110 | 1978084.6064
6kW_SE | 0 | 19 | 82 | 1 | 0 | 0 | 4 | 2 | 2 | 14 | 22 | 21 | 5 | 2 | 3 | 15 | 3 | 0 | 11 | 206 | 1236 | 2122953.8206
6kW_SW | 0 | 19 | 87 | 4 | 1 | 0 | 2 | 1 | 0 | 10 | 15 | 23 | 3 | 3 | 0 | 9 | 2 | 1 | 12 | 192 | 1152 | 1964842.8436
6kW_W | 0 | 18 | 67 | 1 | 0 | 0 | 3 | 0 | 0 | 13 | 29 | 14 | 4 | 3 | 1 | 12 | 2 | 1 | 10 | 178 | 1068 | 1627740.7801
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 2 | 4 | 4 | 0 | 6 | 21 | 525 | 935580.5592
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 5 | 0 | 1 | 4 | 2 | 4 | 0 | 2 | 5 | 27 | 675 | 1151275.1018
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 8 | 3 | 0 | 3 | 2 | 3 | 13 | 3 | 2 | 16 | 54 | 4050 | 7217335.7355
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1 | 0 | 2 | 3 | 4 | 11 | 7 | 4 | 5 | 45 | 3375 | 5756375.5023
Total Units | 5245 | 10821 | 12904 | 36 | 33 | 1 | 21 | 4 | 4 | 80 | 183 | 466 | 26 | 23 | 18 | 91 | 26 | 10 | 86 | 30078 | 0 | 0
Total Capacity | 10760 | 28144 | 35978 | 130 | 84 | 4 | 137 | 93 | 18 | 1687 | 1271 | 1702 | 523 | 553 | 667 | 2324 | 912 | 512 | 2152 | 0 | 87651 | 0
Total Supply | 18068627.3607 | 47359128.888 | 60537156.9583 | 218792.676 | 142303.001 | 6870.4007 | 236728.3198 | 164499.1241 | 31045.7192 | 2920677.0889 | 2165585.316 | 2864983.4239 | 906119.5726 | 953318.1589 | 1159161.9284 | 4037951.0752 | 1579508.6459 | 883644.3581 | 3766168.9032 | 0 | 0 | 148002270.9189

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1312 | 2025 | 2150 | 1 | 9 | 0 | 0 | 0 | 1 | 2 | 9 | 38 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5548 | 11096 | 19773717.7428
2kW_SE | 1305 | 2038 | 2048 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 3 | 46 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 5454 | 10908 | 18735582.7689
2kW_SW | 1372 | 2064 | 2161 | 4 | 4 | 0 | 0 | 0 | 0 | 1 | 5 | 41 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5653 | 11306 | 19283431.3658
2kW_W | 1425 | 1916 | 2176 | 5 | 6 | 0 | 0 | 0 | 0 | 0 | 5 | 42 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 5578 | 11156 | 17002880.2888
4kW_S | 36 | 772 | 1171 | 4 | 4 | 0 | 3 | 0 | 0 | 5 | 16 | 52 | 1 | 1 | 0 | 2 | 0 | 0 | 0 | 2067 | 8268 | 14734057.2493
4kW_SE | 36 | 822 | 1194 | 3 | 1 | 1 | 0 | 0 | 1 | 2 | 12 | 60 | 1 | 2 | 0 | 3 | 1 | 0 | 2 | 2141 | 8564 | 14709527.8495
4kW_SW | 33 | 833 | 1148 | 5 | 1 | 0 | 1 | 0 | 0 | 1 | 19 | 65 | 1 | 0 | 0 | 4 | 0 | 0 | 5 | 2116 | 8464 | 14436137.0021
4kW_W | 39 | 836 | 1152 | 3 | 2 | 0 | 0 | 0 | 0 | 1 | 15 | 66 | 2 | 0 | 0 | 2 | 0 | 0 | 3 | 2121 | 8484 | 12930480.1209
6kW_S | 0 | 16 | 78 | 1 | 0 | 0 | 7 | 0 | 0 | 8 | 34 | 20 | 1 | 3 | 3 | 11 | 2 | 0 | 12 | 196 | 1176 | 2095700.4479
6kW_SE | 0 | 20 | 89 | 1 | 0 | 0 | 4 | 2 | 2 | 14 | 23 | 21 | 5 | 2 | 3 | 16 | 3 | 0 | 11 | 216 | 1296 | 2226009.8313
6kW_SW | 0 | 20 | 91 | 4 | 1 | 0 | 2 | 1 | 0 | 10 | 16 | 24 | 3 | 3 | 0 | 9 | 3 | 1 | 13 | 201 | 1206 | 2056944.8519
6kW_W | 0 | 20 | 75 | 1 | 0 | 0 | 3 | 0 | 0 | 14 | 31 | 16 | 5 | 4 | 1 | 13 | 2 | 1 | 10 | 196 | 1176 | 1792343.7803
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 3 | 5 | 4 | 0 | 7 | 24 | 600 | 1069234.9248
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 5 | 0 | 1 | 4 | 2 | 4 | 0 | 3 | 5 | 28 | 700 | 1193914.9204
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 8 | 4 | 0 | 3 | 2 | 3 | 13 | 3 | 2 | 16 | 55 | 4125 | 7350990.101
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1 | 0 | 2 | 4 | 4 | 11 | 7 | 4 | 7 | 48 | 3600 | 6140133.8691
Total Units | 5558 | 11382 | 13533 | 36 | 35 | 1 | 21 | 4 | 4 | 81 | 198 | 491 | 28 | 25 | 19 | 95 | 27 | 11 | 93 | 31642 | 0 | 0
Total Capacity | 11404 | 29594 | 37728 | 130 | 90 | 4 | 137 | 93 | 18 | 1693 | 1416 | 1792 | 533 | 634 | 692 | 2367 | 918 | 537 | 2345 | 0 | 92125 | 0
Total Supply | 19149742.8419 | 49794168.7955 | 63476467.1 | 218792.676 | 152689.4884 | 6870.4007 | 236728.3198 | 164499.1241 | 31045.7192 | 2929821.7 | 2415771.8448 | 3012231.6899 | 922134.5844 | 1090382.2256 | 1203713.3836 | 4112645.0918 | 1589742.2023 | 926284.1767 | 4097355.75 | 0 | 0 | 155531087.1148

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1367 | 2126 | 2225 | 1 | 9 | 0 | 0 | 0 | 1 | 2 | 9 | 41 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5782 | 11564 | 20607720.9785
2kW_SE | 1365 | 2132 | 2143 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 3 | 47 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 5704 | 11408 | 19594382.8591
2kW_SW | 1434 | 2167 | 2263 | 5 | 4 | 0 | 0 | 0 | 0 | 1 | 5 | 43 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5923 | 11846 | 20204451.4381
2kW_W | 1484 | 2015 | 2261 | 6 | 6 | 0 | 0 | 0 | 0 | 0 | 5 | 45 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 5825 | 11650 | 17755786.6049
4kW_S | 38 | 809 | 1231 | 6 | 4 | 0 | 3 | 0 | 0 | 5 | 16 | 52 | 1 | 1 | 0 | 2 | 0 | 0 | 0 | 2168 | 8672 | 15454008.7646
4kW_SE | 36 | 867 | 1242 | 3 | 1 | 1 | 0 | 0 | 1 | 2 | 13 | 63 | 1 | 2 | 0 | 3 | 1 | 0 | 2 | 2238 | 8952 | 15375956.7151
4kW_SW | 33 | 865 | 1210 | 6 | 1 | 0 | 1 | 0 | 0 | 2 | 21 | 65 | 1 | 0 | 0 | 4 | 0 | 0 | 5 | 2214 | 8856 | 15104729.3586
4kW_W | 42 | 873 | 1209 | 3 | 2 | 0 | 0 | 0 | 0 | 2 | 15 | 71 | 2 | 0 | 0 | 2 | 0 | 0 | 3 | 2224 | 8896 | 13558410.0843
6kW_S | 0 | 16 | 81 | 1 | 0 | 0 | 7 | 0 | 0 | 8 | 35 | 22 | 2 | 3 | 3 | 11 | 2 | 0 | 14 | 205 | 1230 | 2191931.5909
6kW_SE | 0 | 21 | 92 | 1 | 0 | 0 | 4 | 2 | 2 | 15 | 23 | 22 | 5 | 3 | 3 | 16 | 4 | 0 | 11 | 224 | 1344 | 2308454.6399
6kW_SW | 0 | 21 | 96 | 4 | 1 | 0 | 2 | 1 | 0 | 11 | 16 | 24 | 3 | 3 | 0 | 9 | 3 | 1 | 14 | 209 | 1254 | 2138813.3037
6kW_W | 0 | 21 | 78 | 1 | 0 | 0 | 3 | 1 | 0 | 15 | 32 | 16 | 5 | 4 | 1 | 13 | 3 | 1 | 10 | 204 | 1224 | 1865500.6693
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 3 | 7 | 4 | 0 | 8 | 27 | 675 | 1202889.2905
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 5 | 0 | 1 | 4 | 2 | 4 | 0 | 3 | 6 | 29 | 725 | 1236554.739
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 8 | 4 | 0 | 3 | 2 | 3 | 14 | 3 | 3 | 16 | 58 | 4350 | 7751953.1974
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1 | 0 | 2 | 4 | 5 | 12 | 7 | 4 | 7 | 50 | 3750 | 6395972.7803
Total Units | 5799 | 11933 | 14131 | 41 | 35 | 2 | 21 | 5 | 4 | 86 | 203 | 511 | 29 | 26 | 20 | 99 | 29 | 12 | 98 | 33084 | 0 | 0
Total Capacity | 11896 | 31010 | 39434 | 146 | 90 | 79 | 137 | 99 | 18 | 1719 | 1440 | 1860 | 539 | 640 | 767 | 2567 | 930 | 612 | 2413 | 0 | 96396 | 0
Total Supply | 19975764.4699 | 52176657.0132 | 66346708.9873 | 246330.9018 | 152689.4884 | 140524.7661 | 236728.3198 | 173643.7352 | 31045.7192 | 2972424.247 | 2456123.9478 | 3125109.7601 | 932826.9337 | 1100687.8267 | 1331632.8392 | 4463321.8233 | 1609192.4145 | 1059938.5422 | 4216165.2787 | 0 | 0 | 162747517.0143