## Summary
Ticks to run | 20
Initial price | 0.12
Solar PV cost | 3000
Capacity factor | 0.2
neighborhood effect | 0.1
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.12 | 701 | 701 | 1918 | 1918 | 2112997453.673 | 0 | 0 | 2112997453.673
1 | 0.12012 | 1630 | 929 | 4421 | 2503 | 2112997453.673 | 3230674.2167 | 0.001529 | 2109766779.4563
2 | 0.12028 | 2694 | 1064 | 7629 | 3208 | 2112997453.673 | 7442713.9093 | 0.0035223 | 2105554739.7637
3 | 0.12049 | 4091 | 1397 | 11843 | 4214 | 2112997453.673 | 12882599.5277 | 0.0060968 | 2100114854.1453
4 | 0.12076 | 5724 | 1633 | 16707 | 4864 | 2112997453.673 | 20005743.2453 | 0.0094679 | 2092991710.4278
5 | 0.12108 | 7716 | 1992 | 22375 | 5668 | 2112997453.673 | 28211335.1305 | 0.013351 | 2084786118.5426
6 | 0.12146 | 9684 | 1968 | 28082 | 5707 | 2112997453.673 | 37773918.8117 | 0.017877 | 2075223534.8613
7 | 0.12184 | 11657 | 1973 | 33781 | 5699 | 2112997453.673 | 47390433.4004 | 0.022428 | 2065607020.2727
8 | 0.12222 | 13687 | 2030 | 39492 | 5711 | 2112997453.673 | 57021861.836 | 0.026986 | 2055975591.8371
9 | 0.12261 | 15758 | 2071 | 45495 | 6003 | 2112997453.673 | 66645054.2865 | 0.031541 | 2046352399.3865
10 | 0.12302 | 17766 | 2008 | 50931 | 5436 | 2112997453.673 | 76776069.7181 | 0.036335 | 2036221383.9549
11 | 0.12339 | 19691 | 1925 | 56528 | 5597 | 2112997453.673 | 85920182.5235 | 0.040663 | 2027077271.1496
12 | 0.12378 | 21518 | 1827 | 61924 | 5396 | 2112997453.673 | 95385655.193 | 0.045142 | 2017611798.48
13 | 0.12416 | 23326 | 1808 | 66999 | 5075 | 2112997453.673 | 104507509.9035 | 0.049459 | 2008489943.7695
14 | 0.12452 | 25105 | 1779 | 72360 | 5361 | 2112997453.673 | 113048415.1844 | 0.053501 | 1999949038.4886
15 | 0.12491 | 26867 | 1762 | 77480 | 5120 | 2112997453.673 | 122102382.5176 | 0.057786 | 1990895071.1554
16 | 0.12528 | 28492 | 1625 | 82394 | 4914 | 2112997453.673 | 130722684.6476 | 0.061866 | 1982274769.0255
17 | 0.12563 | 30087 | 1595 | 87100 | 4706 | 2112997453.673 | 139034392.4735 | 0.0658 | 1973963061.1995
18 | 0.12598 | 31658 | 1571 | 91746 | 4646 | 2112997453.673 | 146974162.6596 | 0.069557 | 1966023291.0135
19 | 0.12633 | 33208 | 1550 | 96267 | 4521 | 2112997453.673 | 154851129.412 | 0.073285 | 1958146324.261

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 25 | 48 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125 | 250 | 445514.549
2kW_SE | 29 | 55 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130 | 260 | 446576.0469
2kW_SW | 31 | 47 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 127 | 254 | 433220.5525
2kW_W | 35 | 43 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 123 | 246 | 374929.0562
4kW_S | 0 | 21 | 23 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 180 | 320770.4771
4kW_SE | 1 | 15 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39 | 156 | 267945.6264
4kW_SW | 1 | 19 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 196 | 334296.1782
4kW_W | 0 | 21 | 21 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 180 | 274338.3335
6kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 6 | 10692.3492
6kW_SE | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 18 | 30916.8032
6kW_SW | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 30 | 51167.7824
6kW_W | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 42 | 64012.2779
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 25 | 42639.8186
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 75 | 133654.3655
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Units | 122 | 271 | 281 | 1 | 1 | 0 | 0 | 0 | 0 | 3 | 6 | 12 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 701 | 0 | 0
Total Capacity | 248 | 702 | 766 | 4 | 4 | 0 | 0 | 0 | 0 | 16 | 24 | 42 | 0 | 0 | 0 | 81 | 0 | 0 | 31 | 0 | 1918 | 0
Total Supply | 414850.3708 | 1180099.8085 | 1288996.4075 | 7128.2328 | 6096.4074 | 0 | 0 | 0 | 0 | 27361.5285 | 39530.3284 | 70479.9883 | 0 | 0 | 0 | 144346.7147 | 0 | 0 | 51784.4297 | 0 | 0 | 3230674.2167

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 54 | 109 | 129 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 294 | 588 | 1047850.2192
2kW_SE | 62 | 116 | 119 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 600 | 1030560.1083
2kW_SW | 67 | 97 | 118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 286 | 572 | 975599.0396
2kW_W | 72 | 108 | 109 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 292 | 584 | 890075.483
4kW_S | 0 | 35 | 70 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 107 | 428 | 762720.9123
4kW_SE | 2 | 34 | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 404 | 693910.4684
4kW_SW | 2 | 33 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102 | 408 | 695881.8404
4kW_W | 2 | 49 | 48 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 416 | 634026.3708
6kW_S | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 6 | 36 | 64154.0953
6kW_SE | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 3 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 11 | 66 | 113361.6118
6kW_SW | 0 | 0 | 6 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 60 | 102335.5648
6kW_W | 0 | 3 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 14 | 84 | 128024.5557
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 25 | 42639.8186
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 75 | 133654.3655
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 75 | 127919.4556
Total Units | 261 | 584 | 730 | 3 | 2 | 0 | 0 | 0 | 0 | 4 | 8 | 28 | 0 | 0 | 1 | 3 | 2 | 0 | 4 | 1630 | 0 | 0
Total Capacity | 534 | 1482 | 2010 | 14 | 8 | 0 | 0 | 0 | 0 | 22 | 32 | 102 | 0 | 0 | 6 | 87 | 81 | 0 | 43 | 0 | 4421 | 0
Total Supply | 893043.1581 | 2481440.729 | 3394315.2763 | 23458.1967 | 13224.6402 | 0 | 0 | 0 | 0 | 36506.1397 | 53223.1001 | 170763.8193 | 0 | 0 | 10305.6011 | 155039.0639 | 138225.0567 | 0 | 73169.1282 | 0 | 0 | 7442713.9093

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 113 | 177 | 196 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 980 | 1746417.0321
2kW_SE | 120 | 173 | 178 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 478 | 956 | 1642025.7726
2kW_SW | 109 | 186 | 184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 483 | 966 | 1647602.5738
2kW_W | 124 | 177 | 166 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 473 | 946 | 1441800.3544
4kW_S | 0 | 60 | 114 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 177 | 708 | 1261697.21
4kW_SE | 2 | 65 | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 166 | 664 | 1140486.5124
4kW_SW | 4 | 69 | 99 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 188 | 752 | 1282605.745
4kW_W | 2 | 68 | 90 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 168 | 672 | 1024196.4452
6kW_S | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 10 | 60 | 106923.4922
6kW_SE | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 3 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 14 | 84 | 144278.415
6kW_SW | 0 | 1 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 114 | 194437.5731
6kW_W | 0 | 3 | 8 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 17 | 102 | 155458.3891
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | 75 | 133654.3656
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 25 | 42639.8186
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 4 | 300 | 534617.4619
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 3 | 225 | 383758.3668
Total Units | 474 | 980 | 1148 | 5 | 3 | 0 | 0 | 0 | 0 | 10 | 14 | 42 | 2 | 0 | 2 | 4 | 3 | 0 | 7 | 2694 | 0 | 0
Total Capacity | 964 | 2504 | 3202 | 22 | 10 | 0 | 0 | 0 | 0 | 138 | 62 | 152 | 81 | 0 | 31 | 162 | 156 | 0 | 145 | 0 | 7629 | 0
Total Supply | 1617988.77 | 4206693.1209 | 5402808.2285 | 36038.0082 | 16659.8406 | 0 | 0 | 0 | 0 | 242580.3113 | 103034.7663 | 254525.3193 | 143887.9219 | 0 | 54857.0563 | 282958.5195 | 271879.4221 | 0 | 248688.2427 | 0 | 0 | 12882599.5277

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 172 | 270 | 277 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 724 | 1448 | 2580420.2678
2kW_SE | 165 | 263 | 280 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 718 | 1436 | 2466473.8592
2kW_SW | 173 | 275 | 275 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 731 | 1462 | 2493576.5661
2kW_W | 192 | 247 | 281 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 728 | 1456 | 2219092.3002
4kW_S | 3 | 94 | 172 | 1 | 1 | 0 | 1 | 0 | 0 | 2 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 277 | 1108 | 1974520.4925
4kW_SE | 2 | 97 | 148 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 258 | 1032 | 1772563.3747
4kW_SW | 5 | 108 | 146 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 277 | 1108 | 1889796.7626
4kW_W | 3 | 103 | 152 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 268 | 1072 | 1633837.1864
6kW_S | 0 | 1 | 6 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 1 | 0 | 2 | 0 | 3 | 1 | 0 | 2 | 19 | 114 | 203154.6353
6kW_SE | 0 | 3 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 5 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 22 | 132 | 226723.2236
6kW_SW | 0 | 6 | 14 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 2 | 30 | 180 | 307006.6943
6kW_W | 0 | 3 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 20 | 120 | 182892.2225
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | 75 | 133654.3656
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 2 | 50 | 85279.6372
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 8 | 600 | 1069234.9238
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 2 | 6 | 450 | 767516.7336
Total Units | 715 | 1470 | 1770 | 6 | 4 | 0 | 2 | 0 | 0 | 13 | 19 | 57 | 2 | 2 | 3 | 10 | 5 | 1 | 12 | 4091 | 0 | 0
Total Capacity | 1456 | 3796 | 4932 | 24 | 12 | 0 | 10 | 0 | 0 | 219 | 84 | 206 | 81 | 12 | 56 | 401 | 168 | 75 | 311 | 0 | 11843 | 0
Total Supply | 2442752.8515 | 6388424.5421 | 8299792.4368 | 39473.2086 | 19708.0443 | 0 | 17820.582 | 0 | 0 | 386774.095 | 141418.5208 | 346639.2446 | 143887.9219 | 21384.6984 | 97496.8749 | 702619.8567 | 292805.3279 | 127919.4556 | 536825.5841 | 0 | 0 | 20005743.2453

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 249 | 384 | 378 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1021 | 2042 | 3638962.8362
2kW_SE | 234 | 370 | 379 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 997 | 1994 | 3424894.7599
2kW_SW | 232 | 373 | 381 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 996 | 1992 | 3397540.7112
2kW_W | 255 | 364 | 401 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1033 | 2066 | 3148794.4314
4kW_S | 4 | 129 | 229 | 2 | 1 | 0 | 1 | 0 | 0 | 2 | 2 | 7 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 378 | 1512 | 2694472.0079
4kW_SE | 4 | 142 | 218 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 376 | 1504 | 2583270.6546
4kW_SW | 7 | 143 | 205 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 376 | 1504 | 2565211.49
4kW_W | 6 | 148 | 209 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 376 | 1504 | 2292249.1869
6kW_S | 0 | 3 | 9 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 4 | 1 | 0 | 2 | 0 | 3 | 1 | 0 | 2 | 29 | 174 | 310078.1275
6kW_SE | 0 | 5 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 5 | 0 | 0 | 2 | 2 | 2 | 0 | 3 | 40 | 240 | 412224.0428
6kW_SW | 0 | 7 | 18 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 4 | 5 | 1 | 0 | 0 | 1 | 1 | 0 | 2 | 43 | 258 | 440042.9285
6kW_W | 0 | 3 | 18 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 32 | 192 | 292627.556
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | 75 | 133654.3656
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | 75 | 127919.4558
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 1 | 3 | 2 | 0 | 2 | 11 | 825 | 1470198.0202
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 3 | 1 | 2 | 10 | 750 | 1279194.5561
Total Units | 991 | 2071 | 2461 | 7 | 5 | 0 | 5 | 0 | 0 | 19 | 27 | 87 | 2 | 3 | 5 | 14 | 9 | 1 | 17 | 5724 | 0 | 0
Total Capacity | 2024 | 5338 | 6888 | 28 | 14 | 0 | 26 | 0 | 0 | 274 | 126 | 308 | 81 | 16 | 137 | 563 | 399 | 75 | 410 | 0 | 16707 | 0
Total Supply | 3400318.4123 | 8977243.2121 | 11583943.9202 | 46601.4414 | 23119.2298 | 0 | 45616.8884 | 0 | 0 | 481643.3707 | 211735.9909 | 517192.0193 | 143887.9219 | 28512.9313 | 241456.8414 | 978997.9255 | 692604.2056 | 127919.4556 | 710541.3639 | 0 | 0 | 28211335.1305

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 350 | 504 | 518 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1387 | 2774 | 4943429.4357
2kW_SE | 313 | 497 | 514 | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 10 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1341 | 2682 | 4606603.6841
2kW_SW | 327 | 493 | 504 | 0 | 3 | 0 | 0 | 0 | 0 | 1 | 1 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1338 | 2676 | 4564166.1361
2kW_W | 357 | 469 | 520 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1362 | 2724 | 4151653.4517
4kW_S | 10 | 174 | 306 | 2 | 1 | 0 | 1 | 0 | 0 | 2 | 2 | 9 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 511 | 2044 | 3642526.9736
4kW_SE | 6 | 196 | 299 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 2 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 519 | 2076 | 3565737.9514
4kW_SW | 9 | 200 | 284 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 5 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 518 | 2072 | 3533988.1697
4kW_W | 10 | 209 | 275 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 514 | 2056 | 3133553.4098
6kW_S | 0 | 5 | 14 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 5 | 2 | 0 | 2 | 0 | 3 | 1 | 0 | 3 | 39 | 234 | 417001.6197
6kW_SE | 0 | 6 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 2 | 5 | 0 | 0 | 2 | 2 | 2 | 0 | 5 | 49 | 294 | 504974.4525
6kW_SW | 0 | 7 | 19 | 1 | 0 | 0 | 1 | 1 | 0 | 2 | 4 | 7 | 2 | 0 | 0 | 5 | 1 | 0 | 5 | 55 | 330 | 562845.6062
6kW_W | 0 | 4 | 23 | 2 | 0 | 0 | 0 | 0 | 0 | 3 | 5 | 5 | 0 | 1 | 0 | 3 | 0 | 0 | 2 | 48 | 288 | 438941.334
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 5 | 125 | 222757.276
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 5 | 125 | 213199.0929
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 1 | 3 | 2 | 0 | 3 | 13 | 975 | 1737506.7511
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5 | 3 | 1 | 2 | 12 | 900 | 1535033.4673
Total Units | 1382 | 2764 | 3297 | 11 | 9 | 0 | 5 | 1 | 1 | 24 | 32 | 114 | 5 | 6 | 5 | 24 | 10 | 1 | 25 | 7716 | 0 | 0
Total Capacity | 2834 | 7174 | 9230 | 42 | 24 | 0 | 26 | 6 | 4 | 390 | 150 | 408 | 166 | 51 | 137 | 709 | 424 | 75 | 525 | 0 | 22375 | 0
Total Supply | 4761194.9627 | 12063974.2914 | 15536637.2588 | 69051.8276 | 40199.172 | 0 | 45616.8884 | 10233.5565 | 6870.4007 | 682323.1844 | 251539.0762 | 683115.9954 | 289169.1669 | 87167.7617 | 241456.8414 | 1226965.1284 | 737155.6608 | 127919.4556 | 913328.183 | 0 | 0 | 37773918.8118

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 430 | 641 | 637 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1724 | 3448 | 6144536.6598
2kW_SE | 400 | 617 | 637 | 4 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 11 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1674 | 3348 | 5750525.4043
2kW_SW | 415 | 628 | 640 | 0 | 4 | 0 | 0 | 0 | 0 | 1 | 2 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1701 | 3402 | 5802426.4556
2kW_W | 444 | 581 | 637 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1683 | 3366 | 5130126.8422
4kW_S | 12 | 217 | 369 | 2 | 1 | 0 | 1 | 0 | 0 | 2 | 3 | 10 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 621 | 2484 | 4426632.5843
4kW_SE | 7 | 254 | 382 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 2 | 16 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 667 | 2668 | 4582557.2516
4kW_SW | 11 | 252 | 365 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 5 | 19 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 657 | 2628 | 4482297.7365
4kW_W | 13 | 278 | 349 | 2 | 1 | 0 | 1 | 0 | 0 | 1 | 3 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 670 | 2680 | 4084592.966
6kW_S | 0 | 5 | 18 | 0 | 0 | 0 | 2 | 0 | 0 | 3 | 7 | 4 | 1 | 2 | 0 | 4 | 1 | 0 | 3 | 50 | 300 | 534617.4612
6kW_SE | 0 | 6 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 6 | 7 | 0 | 0 | 2 | 2 | 2 | 0 | 5 | 64 | 384 | 659558.4685
6kW_SW | 0 | 7 | 26 | 1 | 0 | 0 | 1 | 1 | 0 | 2 | 5 | 11 | 2 | 0 | 0 | 5 | 2 | 0 | 6 | 69 | 414 | 706115.3969
6kW_W | 0 | 4 | 28 | 2 | 0 | 0 | 0 | 0 | 0 | 5 | 9 | 6 | 0 | 1 | 0 | 3 | 0 | 0 | 2 | 60 | 360 | 548676.6674
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 2 | 6 | 150 | 267308.7312
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 8 | 200 | 341118.5487
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 1 | 0 | 1 | 3 | 2 | 0 | 5 | 16 | 1200 | 2138469.8476
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 5 | 3 | 1 | 2 | 14 | 1050 | 1790872.3785
Total Units | 1732 | 3490 | 4117 | 14 | 12 | 0 | 7 | 1 | 1 | 29 | 48 | 145 | 7 | 6 | 6 | 27 | 11 | 1 | 30 | 9684 | 0 | 0
Total Capacity | 3550 | 9070 | 11568 | 52 | 30 | 0 | 55 | 6 | 4 | 489 | 326 | 534 | 176 | 51 | 212 | 744 | 430 | 75 | 710 | 0 | 28082 | 0
Total Supply | 5963625.5786 | 15246803.7853 | 19469498.0882 | 85453.836 | 50093.7615 | 0 | 94353.1144 | 10233.5565 | 6870.4007 | 849529.8126 | 553888.1896 | 892134.6649 | 306683.8871 | 87167.7617 | 369376.297 | 1287119.6672 | 747389.2173 | 127919.4556 | 1242292.3263 | 0 | 0 | 47390433.4004

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 514 | 780 | 767 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2079 | 4158 | 7409797.979
2kW_SE | 477 | 732 | 777 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 1 | 14 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 2011 | 4022 | 6908187.926
2kW_SW | 501 | 749 | 751 | 0 | 4 | 0 | 0 | 0 | 0 | 1 | 2 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 4044 | 6897416.986
2kW_W | 529 | 711 | 795 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2056 | 4112 | 6267106.8257
4kW_S | 12 | 265 | 466 | 3 | 1 | 0 | 1 | 0 | 0 | 3 | 6 | 13 | 1 | 1 | 0 | 1 | 0 | 0 | 2 | 775 | 3100 | 5524380.4394
4kW_SE | 9 | 304 | 445 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 4 | 18 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 787 | 3148 | 5407005.3328
4kW_SW | 13 | 292 | 451 | 1 | 2 | 0 | 0 | 0 | 0 | 2 | 6 | 21 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 790 | 3160 | 5389673.0774
4kW_W | 16 | 317 | 419 | 2 | 1 | 0 | 1 | 0 | 0 | 1 | 5 | 26 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 790 | 3160 | 4816161.8555
6kW_S | 0 | 6 | 25 | 0 | 0 | 0 | 2 | 0 | 0 | 4 | 8 | 7 | 2 | 2 | 1 | 4 | 1 | 0 | 3 | 65 | 390 | 695002.6996
6kW_SE | 0 | 7 | 33 | 1 | 0 | 0 | 0 | 0 | 0 | 6 | 9 | 9 | 0 | 0 | 2 | 3 | 2 | 0 | 5 | 77 | 462 | 793531.2825
6kW_SW | 0 | 8 | 29 | 1 | 0 | 0 | 2 | 1 | 0 | 2 | 5 | 12 | 2 | 0 | 0 | 6 | 2 | 0 | 7 | 77 | 462 | 787983.8487
6kW_W | 0 | 4 | 34 | 2 | 0 | 0 | 0 | 0 | 0 | 5 | 12 | 8 | 0 | 1 | 0 | 4 | 0 | 0 | 3 | 73 | 438 | 667556.6121
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 4 | 10 | 250 | 445514.552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 2 | 10 | 250 | 426398.1859
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 0 | 1 | 1 | 1 | 3 | 2 | 0 | 6 | 19 | 1425 | 2539432.944
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 1 | 6 | 3 | 1 | 2 | 16 | 1200 | 2046711.2897
Total Units | 2071 | 4175 | 4992 | 16 | 14 | 0 | 8 | 1 | 1 | 35 | 64 | 173 | 11 | 7 | 7 | 31 | 11 | 2 | 38 | 11657 | 0 | 0
Total Capacity | 4242 | 10806 | 14030 | 62 | 36 | 0 | 61 | 6 | 4 | 559 | 475 | 646 | 263 | 126 | 218 | 837 | 430 | 100 | 880 | 0 | 33781 | 0
Total Supply | 7125655.8131 | 18173845.3719 | 23613402.4761 | 102887.6699 | 60351.3329 | 0 | 104586.6709 | 10233.5565 | 6870.4007 | 973581.2771 | 810726.2265 | 1080265.3625 | 454827.2997 | 220822.1271 | 380068.6462 | 1444722.8915 | 747389.2173 | 170559.2742 | 1541066.2219 | 0 | 0 | 57021861.836

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 580 | 903 | 889 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2395 | 4790 | 8536058.7588
2kW_SE | 566 | 875 | 913 | 4 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 18 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 2384 | 4768 | 8189517.6606
2kW_SW | 595 | 907 | 891 | 0 | 4 | 0 | 0 | 0 | 0 | 1 | 3 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2418 | 4836 | 8248246.4254
2kW_W | 633 | 836 | 928 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 3 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2422 | 4844 | 7382749.3832
4kW_S | 16 | 312 | 539 | 3 | 2 | 0 | 1 | 0 | 0 | 3 | 6 | 18 | 1 | 1 | 0 | 1 | 0 | 0 | 2 | 905 | 3620 | 6451050.7066
4kW_SE | 11 | 360 | 513 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 5 | 23 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 919 | 3676 | 6313898.2222
4kW_SW | 16 | 341 | 516 | 1 | 2 | 0 | 0 | 0 | 0 | 2 | 6 | 25 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 911 | 3644 | 6215179.9664
4kW_W | 16 | 371 | 501 | 2 | 2 | 0 | 1 | 0 | 0 | 1 | 6 | 28 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 931 | 3724 | 5675755.3006
6kW_S | 0 | 6 | 29 | 0 | 0 | 0 | 3 | 0 | 0 | 4 | 11 | 8 | 2 | 2 | 1 | 4 | 1 | 0 | 6 | 77 | 462 | 823310.8902
6kW_SE | 0 | 10 | 38 | 1 | 0 | 0 | 0 | 0 | 0 | 7 | 10 | 11 | 0 | 0 | 2 | 4 | 2 | 0 | 5 | 90 | 540 | 927504.0964
6kW_SW | 0 | 8 | 38 | 1 | 0 | 0 | 2 | 1 | 0 | 2 | 7 | 15 | 4 | 0 | 0 | 7 | 2 | 0 | 8 | 95 | 570 | 972187.8653
6kW_W | 0 | 4 | 36 | 2 | 0 | 0 | 1 | 0 | 0 | 5 | 12 | 9 | 0 | 1 | 0 | 4 | 1 | 0 | 3 | 78 | 468 | 713279.6677
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 0 | 4 | 11 | 275 | 490066.0072
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 3 | 11 | 275 | 469038.0044
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 0 | 1 | 1 | 2 | 3 | 2 | 0 | 7 | 21 | 1575 | 2806741.6749
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 1 | 7 | 4 | 2 | 2 | 19 | 1425 | 2430469.6565
Total Units | 2433 | 4933 | 5831 | 17 | 18 | 0 | 10 | 1 | 1 | 36 | 74 | 209 | 13 | 7 | 8 | 35 | 14 | 3 | 44 | 13687 | 0 | 0
Total Capacity | 4984 | 12746 | 16364 | 64 | 48 | 0 | 73 | 6 | 4 | 565 | 523 | 778 | 275 | 126 | 293 | 928 | 536 | 175 | 1004 | 0 | 39492 | 0
Total Supply | 8367005.791 | 21437646.4673 | 27533985.3786 | 105935.8736 | 80059.3772 | 0 | 124423.6312 | 10233.5565 | 6870.4007 | 983886.8781 | 893002.1855 | 1305732.8042 | 475294.4126 | 220822.1271 | 513723.0117 | 1599277.912 | 929004.7392 | 298478.7298 | 1759671.0101 | 0 | 0 | 66645054.2865

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 679 | 1023 | 1026 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2754 | 5508 | 9815576.5436
2kW_SE | 657 | 1003 | 1054 | 4 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 23 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 2750 | 5500 | 9446800.9928
2kW_SW | 689 | 1040 | 1035 | 0 | 4 | 0 | 0 | 0 | 0 | 1 | 3 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2793 | 5586 | 9527440.9702
2kW_W | 733 | 949 | 1067 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 4 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2778 | 5556 | 8467909.9036
4kW_S | 19 | 347 | 615 | 3 | 2 | 0 | 1 | 0 | 0 | 3 | 6 | 22 | 1 | 1 | 0 | 1 | 0 | 0 | 2 | 1023 | 4092 | 7292182.18
4kW_SE | 15 | 417 | 599 | 1 | 0 | 0 | 1 | 0 | 1 | 2 | 6 | 24 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 1069 | 4276 | 7344458.3237
4kW_SW | 16 | 401 | 589 | 1 | 2 | 0 | 0 | 0 | 0 | 2 | 6 | 29 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1049 | 4196 | 7156667.1622
4kW_W | 18 | 428 | 578 | 2 | 2 | 0 | 2 | 0 | 0 | 1 | 9 | 36 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1079 | 4316 | 6578023.5975
6kW_S | 0 | 9 | 36 | 0 | 0 | 0 | 4 | 0 | 0 | 4 | 15 | 10 | 2 | 2 | 1 | 5 | 1 | 0 | 8 | 97 | 582 | 1037157.8747
6kW_SE | 0 | 10 | 41 | 1 | 0 | 0 | 0 | 0 | 0 | 8 | 12 | 12 | 1 | 1 | 2 | 4 | 2 | 0 | 7 | 101 | 606 | 1040865.7082
6kW_SW | 0 | 8 | 42 | 1 | 0 | 0 | 2 | 1 | 0 | 5 | 7 | 16 | 4 | 0 | 0 | 8 | 2 | 0 | 8 | 104 | 624 | 1064289.8736
6kW_W | 0 | 7 | 37 | 2 | 0 | 0 | 1 | 0 | 0 | 6 | 14 | 10 | 0 | 1 | 0 | 5 | 1 | 0 | 4 | 88 | 528 | 804725.7789
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 1 | 1 | 3 | 0 | 5 | 14 | 350 | 623720.3728
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 1 | 2 | 0 | 1 | 4 | 13 | 325 | 554317.6416
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 0 | 1 | 1 | 2 | 5 | 2 | 0 | 8 | 24 | 1800 | 3207704.7713
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 1 | 7 | 4 | 3 | 3 | 22 | 1650 | 2814228.0234
Total Units | 2826 | 5642 | 6719 | 17 | 19 | 0 | 12 | 1 | 1 | 42 | 87 | 244 | 16 | 8 | 8 | 42 | 15 | 5 | 54 | 15758 | 0 | 0
Total Capacity | 5788 | 14606 | 18824 | 64 | 50 | 0 | 83 | 6 | 4 | 599 | 589 | 902 | 381 | 132 | 293 | 1125 | 561 | 252 | 1236 | 0 | 45495 | 0
Total Supply | 9718987.4661 | 24560630.115 | 31677442.2863 | 105935.8736 | 83623.4936 | 0 | 141212.3879 | 10233.5565 | 6870.4007 | 1040908.1604 | 1002879.8334 | 1511927.7486 | 658070.9245 | 231127.7282 | 513723.0117 | 1946119.3494 | 973556.1944 | 429833.3858 | 2162987.8021 | 0 | 0 | 76776069.7181

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 762 | 1148 | 1165 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3106 | 6212 | 11070145.5136
2kW_SE | 732 | 1138 | 1187 | 5 | 6 | 0 | 0 | 0 | 0 | 1 | 1 | 26 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 3099 | 6198 | 10645685.9187
2kW_SW | 775 | 1168 | 1174 | 0 | 4 | 0 | 0 | 0 | 0 | 1 | 3 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3149 | 6298 | 10741822.9915
2kW_W | 816 | 1079 | 1217 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 4 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3143 | 6286 | 9580504.2574
4kW_S | 21 | 402 | 691 | 3 | 2 | 0 | 1 | 0 | 0 | 3 | 8 | 28 | 1 | 1 | 0 | 1 | 0 | 0 | 2 | 1164 | 4656 | 8297263.0083
4kW_SE | 15 | 473 | 669 | 1 | 0 | 0 | 1 | 0 | 1 | 2 | 6 | 25 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 1197 | 4788 | 8223869.6104
4kW_SW | 16 | 455 | 659 | 1 | 2 | 0 | 0 | 0 | 0 | 2 | 8 | 33 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 1180 | 4720 | 8050397.7611
4kW_W | 19 | 485 | 640 | 2 | 2 | 0 | 2 | 0 | 0 | 1 | 9 | 40 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 1204 | 4816 | 7340074.524
6kW_S | 0 | 9 | 40 | 0 | 0 | 0 | 4 | 0 | 0 | 6 | 16 | 11 | 2 | 2 | 1 | 5 | 1 | 0 | 8 | 105 | 630 | 1122696.6685
6kW_SE | 0 | 13 | 43 | 1 | 0 | 0 | 1 | 0 | 0 | 8 | 14 | 13 | 1 | 1 | 2 | 4 | 2 | 0 | 8 | 111 | 666 | 1143921.7189
6kW_SW | 0 | 8 | 48 | 1 | 0 | 0 | 4 | 1 | 0 | 7 | 8 | 20 | 4 | 0 | 0 | 10 | 2 | 0 | 8 | 121 | 726 | 1238260.3337
6kW_W | 0 | 7 | 48 | 2 | 0 | 1 | 1 | 0 | 0 | 8 | 18 | 11 | 0 | 1 | 0 | 7 | 1 | 0 | 5 | 110 | 660 | 1005907.2236
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 1 | 2 | 3 | 0 | 5 | 16 | 400 | 712823.2832
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 1 | 2 | 0 | 1 | 4 | 14 | 350 | 596957.4602
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 0 | 1 | 1 | 2 | 5 | 2 | 0 | 8 | 24 | 1800 | 3207704.7713
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 1 | 7 | 4 | 3 | 4 | 23 | 1725 | 2942147.479
Total Units | 3156 | 6385 | 7581 | 18 | 21 | 1 | 15 | 1 | 1 | 50 | 99 | 278 | 16 | 10 | 8 | 48 | 15 | 5 | 58 | 17766 | 0 | 0
Total Capacity | 6454 | 16548 | 21196 | 66 | 54 | 6 | 101 | 6 | 4 | 662 | 653 | 1028 | 381 | 161 | 293 | 1178 | 561 | 252 | 1327 | 0 | 50931 | 0
Total Supply | 10839164.8836 | 27826410.235 | 35664711.0778 | 109371.074 | 90106.8976 | 9144.6111 | 171985.1019 | 10233.5565 | 6870.4007 | 1149035.8497 | 1108896.5933 | 1725727.3902 | 658070.9245 | 280637.9475 | 513723.0117 | 2035523.5472 | 973556.1944 | 429833.3858 | 2317179.8409 | 0 | 0 | 85920182.5235

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 852 | 1269 | 1297 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3452 | 6904 | 12303329.7852
2kW_SE | 826 | 1274 | 1303 | 5 | 6 | 0 | 0 | 0 | 0 | 1 | 1 | 31 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 3450 | 6900 | 11851441.2455
2kW_SW | 871 | 1286 | 1308 | 0 | 4 | 0 | 0 | 0 | 0 | 1 | 3 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3498 | 6996 | 11932326.7146
2kW_W | 901 | 1213 | 1339 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 4 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3486 | 6972 | 10626038.1296
4kW_S | 22 | 450 | 764 | 3 | 2 | 0 | 1 | 0 | 0 | 3 | 9 | 31 | 1 | 1 | 0 | 1 | 0 | 0 | 2 | 1290 | 5160 | 9195420.3443
4kW_SE | 15 | 523 | 741 | 1 | 0 | 0 | 1 | 0 | 1 | 2 | 8 | 27 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 1323 | 5292 | 9089540.0957
4kW_SW | 18 | 498 | 727 | 1 | 3 | 0 | 0 | 0 | 0 | 2 | 9 | 37 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 1299 | 5196 | 8862259.9082
4kW_W | 24 | 527 | 697 | 2 | 2 | 0 | 2 | 0 | 0 | 1 | 9 | 43 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 1311 | 5244 | 7992390.1171
6kW_S | 0 | 9 | 43 | 1 | 0 | 0 | 4 | 0 | 0 | 7 | 18 | 13 | 2 | 2 | 1 | 6 | 1 | 0 | 9 | 116 | 696 | 1240312.51
6kW_SE | 0 | 13 | 49 | 1 | 0 | 0 | 1 | 0 | 0 | 8 | 14 | 17 | 1 | 1 | 2 | 6 | 2 | 0 | 8 | 123 | 738 | 1267588.9317
6kW_SW | 0 | 9 | 53 | 1 | 0 | 0 | 4 | 1 | 0 | 8 | 9 | 20 | 4 | 0 | 0 | 10 | 2 | 0 | 10 | 131 | 786 | 1340595.8985
6kW_W | 0 | 7 | 55 | 2 | 0 | 1 | 1 | 0 | 0 | 11 | 20 | 12 | 0 | 1 | 0 | 8 | 1 | 0 | 5 | 124 | 744 | 1133931.7794
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 1 | 3 | 3 | 0 | 5 | 17 | 425 | 757374.7384
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 1 | 0 | 0 | 2 | 2 | 3 | 0 | 1 | 4 | 17 | 425 | 724876.9159
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 2 | 0 | 2 | 3 | 2 | 5 | 2 | 0 | 8 | 28 | 2100 | 3742322.2332
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 3 | 1 | 2 | 7 | 4 | 3 | 4 | 26 | 1950 | 3325905.8458
Total Units | 3529 | 7078 | 8376 | 20 | 22 | 2 | 15 | 1 | 1 | 57 | 109 | 306 | 17 | 13 | 10 | 54 | 15 | 5 | 61 | 19691 | 0 | 0
Total Capacity | 7216 | 18304 | 23410 | 74 | 58 | 81 | 101 | 6 | 4 | 792 | 701 | 1136 | 456 | 386 | 393 | 1252 | 561 | 252 | 1345 | 0 | 56528 | 0
Total Supply | 12120670.3234 | 30781154.5775 | 39398174.3954 | 123111.6269 | 96929.2686 | 142798.9766 | 171985.1019 | 10233.5565 | 6870.4007 | 1367954.8629 | 1190059.5921 | 1908946.9338 | 791725.29 | 675866.134 | 684282.2859 | 2163162.9835 | 973556.1944 | 429833.3858 | 2348339.3031 | 0 | 0 | 95385655.193

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 934 | 1386 | 1449 | 0 | 3 | 0 | 0 | 0 | 0 | 1 | 2 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3806 | 7612 | 13565026.988
2kW_SE | 903 | 1396 | 1416 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 1 | 32 | 1 | 0 | 0 | 2 | 0 | 1 | 0 | 3765 | 7530 | 12933529.3592
2kW_SW | 950 | 1392 | 1436 | 0 | 4 | 0 | 0 | 0 | 0 | 1 | 3 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3815 | 7630 | 13013672.5032
2kW_W | 999 | 1335 | 1446 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 5 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3816 | 7632 | 11631945.3535
4kW_S | 25 | 505 | 807 | 3 | 3 | 0 | 1 | 0 | 0 | 3 | 11 | 35 | 1 | 1 | 0 | 1 | 0 | 0 | 2 | 1398 | 5592 | 9965269.4894
4kW_SE | 17 | 559 | 809 | 1 | 0 | 0 | 1 | 0 | 1 | 2 | 10 | 33 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 1438 | 5752 | 9879636.1735
4kW_SW | 21 | 553 | 778 | 1 | 3 | 0 | 0 | 0 | 0 | 2 | 11 | 38 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 1411 | 5644 | 9626365.4584
4kW_W | 26 | 569 | 762 | 2 | 2 | 0 | 2 | 0 | 0 | 1 | 9 | 45 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 1422 | 5688 | 8669091.3399
6kW_S | 0 | 10 | 52 | 1 | 0 | 0 | 4 | 0 | 0 | 7 | 19 | 15 | 2 | 2 | 1 | 7 | 1 | 0 | 10 | 131 | 786 | 1400697.7483
6kW_SE | 0 | 15 | 57 | 1 | 0 | 0 | 1 | 0 | 0 | 9 | 15 | 19 | 1 | 2 | 2 | 8 | 2 | 0 | 9 | 141 | 846 | 1453089.751
6kW_SW | 0 | 10 | 58 | 1 | 1 | 0 | 4 | 1 | 0 | 9 | 11 | 20 | 4 | 1 | 0 | 10 | 2 | 0 | 13 | 145 | 870 | 1483865.6892
6kW_W | 0 | 7 | 60 | 2 | 0 | 1 | 1 | 0 | 0 | 12 | 21 | 12 | 0 | 1 | 0 | 8 | 1 | 0 | 6 | 132 | 792 | 1207088.6684
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 1 | 3 | 3 | 0 | 6 | 18 | 450 | 801926.1936
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 2 | 0 | 0 | 2 | 2 | 3 | 0 | 1 | 4 | 18 | 450 | 767516.7345
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 3 | 0 | 2 | 3 | 2 | 5 | 2 | 2 | 8 | 31 | 2325 | 4143285.3296
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 3 | 1 | 2 | 8 | 4 | 3 | 6 | 31 | 2325 | 3965503.1238
Total Units | 3875 | 7737 | 9130 | 20 | 27 | 2 | 15 | 1 | 1 | 62 | 123 | 331 | 17 | 15 | 10 | 59 | 15 | 7 | 71 | 21518 | 0 | 0
Total Capacity | 7928 | 20014 | 25480 | 74 | 74 | 81 | 101 | 6 | 4 | 960 | 857 | 1228 | 456 | 398 | 393 | 1347 | 561 | 402 | 1560 | 0 | 61924 | 0
Total Supply | 13313431.3373 | 33662921.003 | 42884362.7117 | 123111.6269 | 124854.4911 | 142798.9766 | 171985.1019 | 10233.5565 | 6870.4007 | 1653477.5428 | 1461653.6632 | 2066433.8216 | 791725.29 | 696405.2916 | 684282.2859 | 2325821.1908 | 973556.1944 | 697142.1167 | 2716443.301 | 0 | 0 | 104507509.9035

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1005 | 1503 | 1574 | 0 | 3 | 0 | 0 | 0 | 1 | 1 | 3 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4123 | 8246 | 14694851.8842
2kW_SE | 984 | 1491 | 1513 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 1 | 35 | 1 | 0 | 0 | 2 | 0 | 1 | 0 | 4041 | 8082 | 13881644.6588
2kW_SW | 1012 | 1521 | 1581 | 2 | 4 | 0 | 0 | 0 | 0 | 1 | 4 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4155 | 8310 | 14173475.5572
2kW_W | 1085 | 1443 | 1579 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 5 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4149 | 8298 | 12646997.1886
4kW_S | 27 | 554 | 858 | 5 | 3 | 0 | 1 | 0 | 0 | 3 | 13 | 37 | 1 | 1 | 0 | 2 | 0 | 0 | 2 | 1507 | 6028 | 10742246.8673
4kW_SE | 17 | 605 | 873 | 1 | 0 | 0 | 1 | 0 | 1 | 3 | 10 | 36 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 1552 | 6208 | 10662861.8507
4kW_SW | 21 | 609 | 848 | 3 | 3 | 0 | 0 | 0 | 0 | 2 | 12 | 41 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 1543 | 6172 | 10526918.4283
4kW_W | 29 | 615 | 856 | 3 | 2 | 0 | 2 | 0 | 0 | 1 | 10 | 47 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 1569 | 6276 | 9565263.2294
6kW_S | 0 | 10 | 58 | 1 | 0 | 0 | 4 | 0 | 0 | 8 | 22 | 15 | 2 | 2 | 1 | 8 | 1 | 0 | 10 | 142 | 852 | 1518313.5898
6kW_SE | 0 | 15 | 60 | 1 | 0 | 0 | 2 | 0 | 0 | 10 | 16 | 19 | 1 | 2 | 2 | 9 | 2 | 0 | 9 | 148 | 888 | 1525228.9585
6kW_SW | 0 | 12 | 61 | 1 | 1 | 1 | 4 | 1 | 0 | 10 | 11 | 20 | 4 | 1 | 0 | 10 | 2 | 0 | 14 | 153 | 918 | 1565734.141
6kW_W | 0 | 8 | 64 | 2 | 0 | 1 | 1 | 0 | 0 | 12 | 22 | 13 | 0 | 1 | 0 | 10 | 1 | 0 | 6 | 141 | 846 | 1289390.1685
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 1 | 3 | 3 | 0 | 6 | 18 | 450 | 801926.1936
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 2 | 0 | 0 | 2 | 2 | 4 | 0 | 1 | 4 | 19 | 475 | 810156.5531
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 3 | 0 | 2 | 4 | 2 | 8 | 2 | 2 | 8 | 35 | 2625 | 4677902.7915
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 3 | 1 | 2 | 8 | 4 | 3 | 6 | 31 | 2325 | 3965503.1238
Total Units | 4180 | 8386 | 9925 | 27 | 27 | 3 | 16 | 1 | 2 | 66 | 134 | 354 | 17 | 16 | 10 | 68 | 15 | 7 | 72 | 23326 | 0 | 0
Total Capacity | 8548 | 21718 | 27692 | 98 | 74 | 87 | 107 | 6 | 6 | 982 | 907 | 1298 | 456 | 473 | 393 | 1625 | 561 | 402 | 1566 | 0 | 66999 | 0
Total Supply | 14350919.5353 | 36532936.6588 | 46579348.4752 | 163931.6128 | 124854.4911 | 153032.5331 | 182290.703 | 10233.5565 | 10434.5171 | 1691579.4503 | 1547331.4689 | 2182240.2697 | 791725.29 | 830059.657 | 684282.2859 | 2815839.5112 | 973556.1944 | 697142.1167 | 2726676.8575 | 0 | 0 | 113048415.1845

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1080 | 1628 | 1692 | 0 | 5 | 0 | 0 | 0 | 1 | 1 | 3 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4446 | 8892 | 15846061.4788
2kW_SE | 1044 | 1606 | 1622 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 1 | 37 | 1 | 0 | 0 | 2 | 0 | 1 | 0 | 4327 | 8654 | 14864111.962
2kW_SW | 1089 | 1631 | 1700 | 2 | 4 | 0 | 0 | 0 | 0 | 1 | 4 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4463 | 8926 | 15224120.6767
2kW_W | 1170 | 1571 | 1688 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 5 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4473 | 8946 | 13634615.1904
4kW_S | 29 | 596 | 930 | 5 | 3 | 0 | 1 | 0 | 0 | 3 | 15 | 43 | 1 | 1 | 0 | 3 | 0 | 0 | 2 | 1632 | 6528 | 11633275.9704
4kW_SE | 20 | 646 | 942 | 1 | 0 | 0 | 1 | 0 | 1 | 3 | 10 | 39 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 1668 | 6672 | 11459828.3292
4kW_SW | 22 | 644 | 920 | 3 | 3 | 0 | 0 | 0 | 0 | 2 | 12 | 42 | 1 | 0 | 0 | 3 | 0 | 0 | 1 | 1653 | 6612 | 11277379.2366
4kW_W | 31 | 669 | 928 | 3 | 2 | 0 | 2 | 0 | 0 | 1 | 11 | 52 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 1703 | 6812 | 10382181.8226
6kW_S | 0 | 10 | 62 | 1 | 0 | 0 | 4 | 0 | 0 | 8 | 25 | 15 | 2 | 2 | 1 | 9 | 1 | 0 | 11 | 151 | 906 | 1614544.7328
6kW_SE | 0 | 16 | 66 | 1 | 0 | 0 | 2 | 1 | 0 | 10 | 19 | 19 | 1 | 2 | 2 | 9 | 3 | 0 | 11 | 162 | 972 | 1669507.3735
6kW_SW | 0 | 13 | 68 | 1 | 1 | 1 | 4 | 1 | 0 | 12 | 12 | 21 | 4 | 1 | 0 | 11 | 2 | 0 | 14 | 166 | 996 | 1698770.3752
6kW_W | 0 | 8 | 66 | 2 | 0 | 1 | 1 | 0 | 0 | 14 | 23 | 14 | 0 | 1 | 0 | 10 | 2 | 0 | 7 | 149 | 894 | 1362547.0575
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 1 | 3 | 3 | 0 | 6 | 18 | 450 | 801926.1936
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 2 | 0 | 0 | 2 | 2 | 4 | 0 | 1 | 4 | 19 | 475 | 810156.5531
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 4 | 0 | 2 | 4 | 3 | 10 | 2 | 2 | 9 | 40 | 3000 | 5346174.6189
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 3 | 1 | 2 | 11 | 4 | 3 | 7 | 35 | 2625 | 4477180.9462
Total Units | 4485 | 9038 | 10684 | 27 | 29 | 3 | 16 | 2 | 2 | 70 | 146 | 380 | 17 | 16 | 11 | 77 | 17 | 7 | 78 | 25105 | 0 | 0
Total Capacity | 9174 | 23374 | 29856 | 98 | 78 | 87 | 107 | 12 | 6 | 1006 | 1042 | 1388 | 456 | 473 | 468 | 2020 | 573 | 402 | 1740 | 0 | 72360 | 0
Total Supply | 15399981.735 | 39308500.0726 | 50224505.8975 | 163931.6128 | 131982.7239 | 153032.5331 | 182290.703 | 20539.1575 | 10434.5171 | 1730335.7855 | 1783710.726 | 2332784.9726 | 791725.29 | 830059.657 | 817936.6514 | 3501783.1185 | 993006.4066 | 697142.1167 | 3028698.8411 | 0 | 0 | 122102382.5177

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1153 | 1732 | 1800 | 0 | 5 | 0 | 0 | 0 | 1 | 1 | 5 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4735 | 9470 | 16876091.1161
2kW_SE | 1102 | 1732 | 1724 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 1 | 39 | 1 | 0 | 0 | 2 | 0 | 1 | 0 | 4615 | 9230 | 15853449.666
2kW_SW | 1161 | 1749 | 1814 | 2 | 5 | 0 | 0 | 0 | 0 | 1 | 5 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4772 | 9544 | 16278176.9817
2kW_W | 1248 | 1683 | 1810 | 3 | 5 | 0 | 0 | 0 | 0 | 0 | 5 | 32 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 4788 | 9576 | 14594799.3587
4kW_S | 32 | 635 | 1002 | 5 | 4 | 0 | 1 | 0 | 0 | 3 | 16 | 43 | 1 | 1 | 0 | 3 | 0 | 0 | 2 | 1748 | 6992 | 12460150.9781
4kW_SE | 22 | 693 | 1019 | 1 | 0 | 0 | 1 | 0 | 1 | 4 | 10 | 42 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 1798 | 7192 | 12352980.4172
4kW_SW | 24 | 696 | 1003 | 3 | 4 | 0 | 0 | 0 | 0 | 2 | 13 | 44 | 1 | 0 | 0 | 3 | 0 | 0 | 2 | 1795 | 7180 | 12246155.9163
4kW_W | 32 | 722 | 1000 | 3 | 2 | 0 | 2 | 0 | 0 | 1 | 12 | 56 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 1834 | 7336 | 11180811.1936
6kW_S | 0 | 11 | 65 | 1 | 0 | 0 | 4 | 0 | 0 | 8 | 27 | 17 | 2 | 2 | 1 | 9 | 1 | 0 | 11 | 159 | 954 | 1700083.5266
6kW_SE | 0 | 16 | 72 | 1 | 0 | 0 | 2 | 1 | 0 | 10 | 20 | 20 | 1 | 2 | 2 | 9 | 3 | 0 | 11 | 170 | 1020 | 1751952.1821
6kW_SW | 0 | 13 | 74 | 1 | 1 | 1 | 4 | 1 | 0 | 13 | 13 | 21 | 4 | 1 | 0 | 12 | 2 | 0 | 14 | 175 | 1050 | 1790872.3835
6kW_W | 0 | 9 | 71 | 2 | 0 | 1 | 2 | 0 | 0 | 14 | 23 | 14 | 0 | 1 | 0 | 10 | 2 | 0 | 7 | 156 | 936 | 1426559.3353
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 1 | 4 | 3 | 0 | 6 | 19 | 475 | 846477.6488
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 3 | 0 | 1 | 4 | 2 | 4 | 0 | 1 | 5 | 24 | 600 | 1023355.646
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 4 | 0 | 2 | 4 | 3 | 10 | 2 | 2 | 10 | 41 | 3075 | 5479828.9844
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 3 | 1 | 2 | 12 | 4 | 4 | 7 | 38 | 2850 | 4860939.3131
Total Units | 4774 | 9691 | 11454 | 27 | 33 | 3 | 17 | 2 | 2 | 73 | 157 | 400 | 19 | 18 | 11 | 80 | 17 | 8 | 81 | 26867 | 0 | 0
Total Capacity | 9768 | 25070 | 32084 | 98 | 90 | 87 | 113 | 12 | 6 | 1091 | 1109 | 1458 | 483 | 523 | 468 | 2126 | 573 | 477 | 1844 | 0 | 77480 | 0
Total Supply | 16397635.7437 | 42154541.878 | 53969063.6882 | 163931.6128 | 152392.7168 | 153032.5331 | 191435.3141 | 20539.1575 | 10434.5171 | 1875359.1982 | 1898860.83 | 2450397.2393 | 837413.3123 | 915339.2942 | 817936.6514 | 3684487.5857 | 993006.4066 | 825061.5723 | 3211815.3961 | 0 | 0 | 130722684.6476

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1225 | 1825 | 1911 | 0 | 5 | 0 | 0 | 0 | 1 | 1 | 5 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5012 | 10024 | 17863351.3567
2kW_SE | 1175 | 1838 | 1833 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 1 | 41 | 1 | 0 | 0 | 2 | 0 | 1 | 0 | 4905 | 9810 | 16849657.7707
2kW_SW | 1227 | 1847 | 1933 | 2 | 5 | 0 | 0 | 0 | 0 | 1 | 5 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5055 | 10110 | 17243542.4649
2kW_W | 1311 | 1773 | 1927 | 3 | 5 | 0 | 0 | 0 | 0 | 0 | 6 | 33 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 5060 | 10120 | 15423910.7675
4kW_S | 35 | 676 | 1062 | 5 | 4 | 0 | 1 | 0 | 0 | 3 | 17 | 45 | 1 | 1 | 0 | 3 | 0 | 0 | 3 | 1856 | 7424 | 13230000.1232
4kW_SE | 25 | 742 | 1084 | 1 | 0 | 0 | 1 | 0 | 1 | 4 | 11 | 43 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 1917 | 7668 | 13170558.0978
4kW_SW | 25 | 744 | 1065 | 3 | 4 | 0 | 0 | 0 | 0 | 3 | 14 | 45 | 1 | 0 | 0 | 3 | 0 | 0 | 2 | 1909 | 7636 | 13023906.2085
4kW_W | 35 | 768 | 1058 | 3 | 2 | 0 | 2 | 0 | 0 | 2 | 12 | 57 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 1943 | 7772 | 11845319.6015
6kW_S | 0 | 14 | 70 | 1 | 0 | 0 | 4 | 0 | 0 | 8 | 29 | 18 | 2 | 2 | 1 | 9 | 1 | 0 | 11 | 170 | 1020 | 1817699.3681
6kW_SE | 0 | 17 | 76 | 1 | 0 | 0 | 2 | 1 | 0 | 12 | 24 | 20 | 2 | 2 | 2 | 9 | 3 | 0 | 12 | 183 | 1098 | 1885924.996
6kW_SW | 0 | 14 | 79 | 1 | 1 | 1 | 5 | 1 | 0 | 13 | 14 | 25 | 4 | 2 | 0 | 12 | 2 | 0 | 14 | 188 | 1128 | 1923908.6177
6kW_W | 0 | 9 | 75 | 2 | 0 | 1 | 2 | 0 | 0 | 14 | 25 | 15 | 0 | 1 | 0 | 10 | 2 | 0 | 8 | 164 | 984 | 1499716.2243
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 1 | 4 | 3 | 0 | 6 | 19 | 475 | 846477.6488
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 3 | 0 | 1 | 4 | 2 | 4 | 0 | 1 | 5 | 24 | 600 | 1023355.646
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 4 | 0 | 2 | 4 | 3 | 11 | 3 | 2 | 12 | 45 | 3375 | 6014446.4462
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 3 | 1 | 2 | 12 | 5 | 4 | 8 | 42 | 3150 | 5372617.1355
Total Units | 5058 | 10267 | 12173 | 27 | 33 | 3 | 18 | 2 | 2 | 79 | 170 | 415 | 20 | 19 | 11 | 81 | 19 | 8 | 87 | 28492 | 0 | 0
Total Capacity | 10356 | 26610 | 34084 | 98 | 90 | 87 | 119 | 12 | 6 | 1261 | 1177 | 1522 | 489 | 529 | 468 | 2201 | 723 | 477 | 2085 | 0 | 82394 | 0
Total Supply | 17389304.3175 | 44748202.3813 | 57334967.3717 | 163931.6128 | 152392.7168 | 153032.5331 | 201668.8706 | 20539.1575 | 10434.5171 | 2164728.09 | 2013859.9197 | 2558696.7911 | 847718.9133 | 925572.8507 | 817936.6514 | 3818141.9512 | 1254580.2277 | 825061.5723 | 3633622.0277 | 0 | 0 | 139034392.4735

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1303 | 1924 | 2030 | 0 | 5 | 0 | 0 | 0 | 1 | 1 | 5 | 41 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5311 | 10622 | 18929022.1579
2kW_SE | 1214 | 1955 | 1937 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 1 | 46 | 1 | 0 | 0 | 2 | 0 | 1 | 0 | 5170 | 10340 | 17759985.8664
2kW_SW | 1301 | 1944 | 2048 | 2 | 5 | 0 | 0 | 0 | 0 | 1 | 6 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5345 | 10690 | 18232786.2463
2kW_W | 1377 | 1876 | 2029 | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 6 | 35 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 5335 | 10670 | 16262166.7875
4kW_S | 36 | 713 | 1128 | 5 | 4 | 0 | 2 | 0 | 0 | 3 | 18 | 45 | 1 | 1 | 0 | 3 | 0 | 0 | 3 | 1962 | 7848 | 13985592.8027
4kW_SE | 27 | 788 | 1134 | 1 | 0 | 0 | 1 | 0 | 1 | 4 | 12 | 47 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 2020 | 8080 | 13878209.3675
4kW_SW | 27 | 783 | 1125 | 3 | 4 | 0 | 1 | 0 | 0 | 3 | 14 | 47 | 1 | 0 | 0 | 3 | 0 | 0 | 2 | 2013 | 8052 | 13733432.7908
4kW_W | 36 | 813 | 1113 | 3 | 2 | 0 | 3 | 0 | 0 | 2 | 12 | 61 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 2049 | 8196 | 12491538.7872
6kW_S | 0 | 15 | 74 | 2 | 0 | 0 | 4 | 0 | 0 | 8 | 30 | 20 | 2 | 2 | 1 | 10 | 1 | 0 | 11 | 180 | 1080 | 1924622.8603
6kW_SE | 0 | 19 | 80 | 1 | 0 | 0 | 3 | 1 | 0 | 13 | 24 | 21 | 2 | 2 | 2 | 10 | 3 | 0 | 14 | 195 | 1170 | 2009592.2088
6kW_SW | 0 | 14 | 84 | 1 | 1 | 1 | 5 | 1 | 0 | 13 | 14 | 26 | 4 | 2 | 0 | 12 | 2 | 0 | 15 | 195 | 1170 | 1995543.513
6kW_W | 0 | 10 | 78 | 2 | 0 | 1 | 2 | 0 | 0 | 15 | 26 | 15 | 1 | 1 | 0 | 11 | 2 | 0 | 8 | 172 | 1032 | 1572873.1133
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 1 | 0 | 1 | 4 | 3 | 0 | 7 | 21 | 525 | 935580.5592
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 3 | 0 | 1 | 4 | 2 | 5 | 0 | 2 | 5 | 26 | 650 | 1108635.2832
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 4 | 0 | 2 | 4 | 3 | 11 | 3 | 2 | 12 | 45 | 3375 | 6014446.4462
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 3 | 2 | 3 | 15 | 5 | 4 | 9 | 48 | 3600 | 6140133.8691
Total Units | 5321 | 10854 | 12860 | 28 | 34 | 3 | 22 | 2 | 2 | 82 | 175 | 441 | 21 | 20 | 12 | 89 | 20 | 9 | 92 | 30087 | 0 | 0
Total Capacity | 10894 | 28134 | 35984 | 104 | 92 | 87 | 137 | 12 | 6 | 1298 | 1199 | 1610 | 495 | 604 | 543 | 2471 | 725 | 502 | 2203 | 0 | 87100 | 0
Total Supply | 18295497.5621 | 47308460.3274 | 60540782.6492 | 174623.9621 | 155440.9205 | 153032.5331 | 232021.4829 | 20539.1575 | 10434.5171 | 2228729.7574 | 2051106.699 | 2706766.8198 | 856863.5245 | 1053492.3063 | 945856.107 | 4277730.9017 | 1258144.3441 | 867701.3909 | 3836937.6971 | 0 | 0 | 146974162.6596

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1363 | 2025 | 2130 | 0 | 5 | 0 | 0 | 0 | 1 | 1 | 5 | 41 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5572 | 11144 | 19859256.5362
2kW_SE | 1267 | 2064 | 2055 | 5 | 8 | 0 | 0 | 0 | 0 | 1 | 1 | 47 | 1 | 0 | 0 | 2 | 0 | 1 | 0 | 5452 | 10904 | 18728712.3682
2kW_SW | 1366 | 2064 | 2178 | 2 | 5 | 0 | 0 | 0 | 0 | 1 | 6 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5664 | 11328 | 19320954.4058
2kW_W | 1428 | 1962 | 2139 | 4 | 6 | 0 | 0 | 0 | 0 | 0 | 7 | 39 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 5588 | 11176 | 17033362.3259
4kW_S | 37 | 756 | 1187 | 5 | 4 | 0 | 2 | 0 | 0 | 3 | 18 | 48 | 1 | 1 | 0 | 3 | 0 | 0 | 3 | 2068 | 8272 | 14741185.4821
4kW_SE | 30 | 826 | 1197 | 1 | 0 | 0 | 1 | 0 | 1 | 4 | 14 | 49 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 2128 | 8512 | 14620212.6407
4kW_SW | 30 | 824 | 1169 | 3 | 4 | 0 | 1 | 0 | 0 | 3 | 14 | 51 | 1 | 0 | 0 | 3 | 0 | 0 | 2 | 2105 | 8420 | 14361090.9213
4kW_W | 38 | 841 | 1184 | 3 | 2 | 0 | 3 | 0 | 0 | 2 | 13 | 64 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 2154 | 8616 | 13131661.5654
6kW_S | 0 | 16 | 75 | 2 | 0 | 0 | 4 | 0 | 0 | 9 | 30 | 23 | 3 | 2 | 1 | 10 | 1 | 0 | 11 | 187 | 1122 | 1999469.3049
6kW_SE | 0 | 20 | 85 | 1 | 0 | 0 | 3 | 1 | 1 | 14 | 24 | 24 | 2 | 2 | 2 | 12 | 4 | 0 | 15 | 210 | 1260 | 2164176.2249
6kW_SW | 0 | 14 | 87 | 1 | 1 | 1 | 5 | 1 | 0 | 13 | 16 | 27 | 4 | 2 | 0 | 12 | 2 | 0 | 15 | 201 | 1206 | 2056944.8519
6kW_W | 0 | 12 | 83 | 2 | 0 | 1 | 2 | 0 | 0 | 15 | 27 | 15 | 1 | 1 | 0 | 11 | 2 | 0 | 9 | 181 | 1086 | 1655174.6134
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 1 | 0 | 1 | 4 | 4 | 0 | 7 | 22 | 550 | 980132.0144
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 3 | 0 | 1 | 4 | 2 | 5 | 0 | 2 | 5 | 26 | 650 | 1108635.2832
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 5 | 0 | 2 | 4 | 4 | 12 | 4 | 2 | 14 | 52 | 3900 | 6950027.0045
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 3 | 2 | 3 | 15 | 5 | 4 | 9 | 48 | 3600 | 6140133.8691
Total Units | 5559 | 11424 | 13569 | 29 | 35 | 3 | 22 | 2 | 3 | 85 | 183 | 469 | 22 | 20 | 13 | 92 | 23 | 9 | 96 | 31658 | 0 | 0
Total Capacity | 11388 | 29590 | 37932 | 106 | 94 | 87 | 137 | 12 | 12 | 1385 | 1306 | 1718 | 501 | 604 | 618 | 2558 | 831 | 502 | 2365 | 0 | 91746 | 0
Total Supply | 19128994.9709 | 49771653.7233 | 63806378.7564 | 177672.1658 | 158876.1209 | 153032.5331 | 232021.4829 | 20539.1575 | 20740.1181 | 2383382.0731 | 2237258.201 | 2889971.1902 | 867555.8737 | 1053492.3063 | 1079510.4724 | 4431996.4694 | 1446655.7658 | 867701.3909 | 4123696.6403 | 0 | 0 | 154851129.4121

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1421 | 2131 | 2228 | 0 | 6 | 0 | 0 | 0 | 1 | 1 | 5 | 44 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5838 | 11676 | 20807311.4965
2kW_SE | 1331 | 2173 | 2161 | 5 | 8 | 0 | 0 | 0 | 0 | 1 | 2 | 47 | 1 | 0 | 0 | 2 | 0 | 1 | 0 | 5732 | 11464 | 19690568.4693
2kW_SW | 1423 | 2159 | 2274 | 2 | 5 | 0 | 0 | 0 | 1 | 1 | 6 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5916 | 11832 | 20180573.1399
2kW_W | 1495 | 2059 | 2224 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 7 | 41 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 5840 | 11680 | 17801509.6606
4kW_S | 38 | 799 | 1255 | 5 | 4 | 0 | 2 | 0 | 0 | 3 | 19 | 53 | 1 | 1 | 0 | 3 | 0 | 0 | 3 | 2186 | 8744 | 15582316.9555
4kW_SE | 35 | 878 | 1255 | 1 | 0 | 0 | 1 | 0 | 1 | 4 | 17 | 53 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 2250 | 9000 | 15458401.5233
4kW_SW | 31 | 869 | 1218 | 3 | 4 | 0 | 1 | 0 | 0 | 3 | 17 | 56 | 1 | 0 | 0 | 4 | 0 | 0 | 2 | 2209 | 8836 | 15070617.5037
4kW_W | 42 | 887 | 1249 | 3 | 2 | 0 | 3 | 0 | 0 | 2 | 14 | 66 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 2272 | 9088 | 13851037.6401
6kW_S | 0 | 17 | 77 | 2 | 0 | 0 | 4 | 0 | 0 | 9 | 32 | 23 | 3 | 2 | 2 | 11 | 2 | 0 | 11 | 195 | 1170 | 2085008.0987
6kW_SE | 0 | 20 | 86 | 1 | 0 | 0 | 3 | 2 | 1 | 14 | 24 | 24 | 2 | 2 | 3 | 12 | 4 | 0 | 16 | 214 | 1284 | 2205398.6292
6kW_SW | 0 | 14 | 91 | 1 | 1 | 1 | 5 | 1 | 0 | 14 | 16 | 28 | 4 | 2 | 0 | 12 | 2 | 1 | 16 | 209 | 1254 | 2138813.3037
6kW_W | 0 | 12 | 86 | 2 | 0 | 1 | 2 | 0 | 0 | 18 | 27 | 18 | 2 | 2 | 0 | 12 | 3 | 0 | 9 | 194 | 1164 | 1774054.5581
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 1 | 0 | 1 | 4 | 4 | 0 | 7 | 22 | 550 | 980132.0144
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 3 | 0 | 1 | 4 | 2 | 5 | 0 | 2 | 5 | 26 | 650 | 1108635.2832
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5 | 5 | 0 | 2 | 4 | 4 | 12 | 4 | 2 | 16 | 55 | 4125 | 7350990.101
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 3 | 2 | 4 | 16 | 5 | 4 | 9 | 50 | 3750 | 6395972.7803
Total Units | 5816 | 12018 | 14204 | 29 | 37 | 3 | 22 | 3 | 4 | 90 | 194 | 497 | 23 | 21 | 16 | 96 | 25 | 10 | 100 | 33208 | 0 | 0
Total Capacity | 11924 | 31154 | 39722 | 106 | 98 | 87 | 137 | 18 | 14 | 1484 | 1352 | 1822 | 507 | 610 | 705 | 2649 | 843 | 508 | 2527 | 0 | 96267 | 0
Total Supply | 20026922.001 | 52405533.9092 | 66820188.61 | 177672.1658 | 165488.441 | 153032.5331 | 232021.4829 | 30844.7586 | 24151.3036 | 2554703.8285 | 2316381.055 | 3064088.3296 | 876700.4848 | 1062636.9174 | 1228427.8783 | 4586575.2563 | 1466492.7262 | 877934.9474 | 4411544.5287 | 0 | 0 | 162481341.1573