## Summary
Ticks to run | 20
Initial price | 0.12
Solar PV cost | 3500
Capacity factor | 0.2
neighborhood effect | 0.1
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.12 | 366 | 366 | 1021 | 1021 | 2112997453.673 | 0 | 0 | 2112997453.673
1 | 0.12007 | 834 | 468 | 2475 | 1454 | 2112997453.673 | 1719103.5524 | 0.00081359 | 2111278350.1207
2 | 0.12016 | 1435 | 601 | 4210 | 1735 | 2112997453.673 | 4193484.8425 | 0.0019846 | 2108803968.8305
3 | 0.12027 | 2225 | 790 | 6352 | 2142 | 2112997453.673 | 7124874.2042 | 0.0033719 | 2105872579.4688
4 | 0.12041 | 3248 | 1023 | 9178 | 2826 | 2112997453.673 | 10720070.2291 | 0.0050734 | 2102277383.4439
5 | 0.12059 | 4403 | 1155 | 12544 | 3366 | 2112997453.673 | 15475706.1921 | 0.0073241 | 2097521747.4809
6 | 0.12081 | 5686 | 1283 | 16262 | 3718 | 2112997453.673 | 21160024.5969 | 0.010014 | 2091837429.0761
7 | 0.12105 | 7011 | 1325 | 20054 | 3792 | 2112997453.673 | 27444335.6328 | 0.012988 | 2085553118.0402
8 | 0.1213 | 8348 | 1337 | 24151 | 4097 | 2112997453.673 | 33844868.0846 | 0.016017 | 2079152585.5884
9 | 0.12157 | 9661 | 1313 | 27817 | 3666 | 2112997453.673 | 40778669.9744 | 0.019299 | 2072218783.6986
10 | 0.12182 | 11023 | 1362 | 31827 | 4010 | 2112997453.673 | 46933669.3341 | 0.022212 | 2066063784.339
11 | 0.12209 | 12356 | 1333 | 35805 | 3978 | 2112997453.673 | 53697124.1152 | 0.025413 | 2059300329.5579
12 | 0.12235 | 13737 | 1381 | 39602 | 3797 | 2112997453.673 | 60392433.5505 | 0.028581 | 2052605020.1225
13 | 0.12261 | 15122 | 1385 | 43804 | 4202 | 2112997453.673 | 66794051.4473 | 0.031611 | 2046203402.2258
14 | 0.1229 | 16613 | 1491 | 48481 | 4677 | 2112997453.673 | 73907319.6448 | 0.034977 | 2039090134.0282
15 | 0.12322 | 17998 | 1385 | 52620 | 4139 | 2112997453.673 | 81823839.3105 | 0.038724 | 2031173614.3626
16 | 0.12351 | 19365 | 1367 | 56453 | 3833 | 2112997453.673 | 88839356.6932 | 0.042044 | 2024158096.9798
17 | 0.12378 | 20737 | 1372 | 60302 | 3849 | 2112997453.673 | 95296077.247 | 0.0451 | 2017701376.426
18 | 0.12405 | 22068 | 1331 | 64300 | 3998 | 2112997453.673 | 101790780.0093 | 0.048174 | 2011206673.6637
19 | 0.12433 | 23425 | 1357 | 68311 | 4011 | 2112997453.673 | 108548088.5151 | 0.051372 | 2004449365.158

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 21 | 32 | 22 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77 | 154 | 274436.9622
2kW_SE | 8 | 24 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 120 | 206112.0217
2kW_SW | 15 | 19 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62 | 124 | 211493.4981
2kW_W | 14 | 23 | 27 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66 | 132 | 201181.4448
4kW_S | 1 | 7 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 84 | 149692.8893
4kW_SE | 0 | 11 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 84 | 144278.4142
4kW_SW | 0 | 7 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 92 | 156914.5326
4kW_W | 1 | 10 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 108 | 164603.0001
6kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 10692.3492
6kW_SE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 2 | 12 | 20611.2021
6kW_SW | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 30 | 51167.7824
6kW_W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 75 | 127919.4556
Total Units | 60 | 134 | 156 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 7 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 366 | 0 | 0
Total Capacity | 124 | 342 | 420 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 16 | 28 | 75 | 0 | 0 | 6 | 6 | 0 | 0 | 0 | 1021 | 0
Total Supply | 209395.3211 | 575844.0068 | 703846.5257 | 3564.1164 | 3048.2037 | 0 | 0 | 0 | 0 | 0 | 27691.1567 | 47183.5642 | 127919.4556 | 0 | 0 | 10305.6011 | 10305.6011 | 0 | 0 | 0 | 0 | 1719103.5524

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 41 | 58 | 54 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 156 | 312 | 556002.1572
2kW_SE | 21 | 59 | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 296 | 508409.6534
2kW_SW | 30 | 43 | 59 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135 | 270 | 460510.0362
2kW_W | 30 | 47 | 51 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130 | 260 | 396266.4822
4kW_S | 1 | 25 | 30 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 240 | 427693.9695
4kW_SE | 0 | 24 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 220 | 377872.0372
4kW_SW | 0 | 22 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58 | 232 | 395697.5171
4kW_W | 2 | 23 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57 | 228 | 347495.2225
6kW_S | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 8 | 48 | 85538.7938
6kW_SE | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 6 | 36 | 61833.6064
6kW_SW | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 6 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 15 | 90 | 153503.3472
6kW_W | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 18 | 27433.8334
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 150 | 267308.7309
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 75 | 127919.4556
Total Units | 125 | 303 | 366 | 2 | 2 | 0 | 0 | 0 | 0 | 2 | 9 | 18 | 3 | 0 | 0 | 3 | 1 | 0 | 0 | 834 | 0 | 0
Total Capacity | 256 | 802 | 1024 | 4 | 6 | 0 | 0 | 0 | 0 | 81 | 113 | 78 | 87 | 0 | 0 | 18 | 6 | 0 | 0 | 0 | 2475 | 0
Total Supply | 431370.7022 | 1353672.9955 | 1725288.5858 | 6975.3018 | 10176.4365 | 0 | 0 | 0 | 0 | 143887.9219 | 198358.4843 | 133299.9006 | 148917.4059 | 0 | 0 | 31231.5068 | 10305.6011 | 0 | 0 | 0 | 0 | 4193484.8425

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 68 | 97 | 93 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 264 | 528 | 940926.7275
2kW_SE | 51 | 100 | 110 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 264 | 528 | 906892.8953
2kW_SW | 49 | 84 | 95 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 232 | 464 | 791395.0251
2kW_W | 58 | 84 | 95 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 242 | 484 | 737665.2976
4kW_S | 2 | 38 | 47 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 364 | 648669.1871
4kW_SE | 0 | 44 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 372 | 638947.263
4kW_SW | 0 | 42 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 384 | 654947.6145
4kW_W | 3 | 39 | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 392 | 597447.9264
6kW_S | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 11 | 66 | 117615.8415
6kW_SE | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 13 | 78 | 133972.8139
6kW_SW | 0 | 1 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 6 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 19 | 114 | 194437.5731
6kW_W | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 36 | 54867.6667
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 25 | 44551.4552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 300 | 534617.4619
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 75 | 127919.4556
Total Units | 231 | 531 | 615 | 2 | 4 | 0 | 1 | 1 | 0 | 3 | 13 | 23 | 3 | 0 | 0 | 5 | 1 | 0 | 2 | 1435 | 0 | 0
Total Capacity | 472 | 1400 | 1722 | 4 | 10 | 0 | 6 | 6 | 0 | 106 | 196 | 88 | 87 | 0 | 0 | 26 | 6 | 0 | 81 | 0 | 4210 | 0
Total Supply | 794044.7233 | 2360916.2182 | 2896421.9836 | 6975.3018 | 17022.8223 | 0 | 9144.6111 | 10305.6011 | 0 | 188439.3772 | 345237.49 | 149830.8252 | 148917.4059 | 0 | 0 | 43424.3216 | 10305.6011 | 0 | 143887.9219 | 0 | 0 | 7124874.2042

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 107 | 147 | 141 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 402 | 804 | 1432774.7896
2kW_SE | 84 | 162 | 171 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 421 | 842 | 1446219.352
2kW_SW | 97 | 130 | 141 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 374 | 748 | 1275783.3594
2kW_W | 96 | 140 | 153 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 394 | 788 | 1200992.2613
4kW_S | 2 | 55 | 73 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 134 | 536 | 955183.1986
4kW_SE | 1 | 61 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 139 | 556 | 954985.6941
4kW_SW | 0 | 46 | 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130 | 520 | 886908.2279
4kW_W | 7 | 68 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 159 | 636 | 969328.7785
6kW_S | 0 | 2 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 12 | 72 | 128308.1907
6kW_SE | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 1 | 1 | 0 | 0 | 2 | 1 | 0 | 0 | 17 | 102 | 175195.2182
6kW_SW | 0 | 1 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 22 | 132 | 225138.2425
6kW_W | 0 | 0 | 6 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 11 | 66 | 100590.7224
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 25 | 44551.4552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 75 | 127919.4558
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 5 | 375 | 668271.8274
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 75 | 127919.4556
Total Units | 394 | 812 | 942 | 3 | 5 | 0 | 1 | 1 | 0 | 3 | 17 | 30 | 4 | 0 | 0 | 6 | 1 | 0 | 6 | 2225 | 0 | 0
Total Capacity | 808 | 2096 | 2618 | 6 | 12 | 0 | 6 | 6 | 0 | 106 | 239 | 114 | 91 | 0 | 0 | 32 | 6 | 0 | 212 | 0 | 6352 | 0
Total Supply | 1357231.5475 | 3521780.4671 | 4399201.864 | 10410.5022 | 20434.0078 | 0 | 9144.6111 | 10305.6011 | 0 | 188439.3772 | 417633.1218 | 194473.2565 | 155013.8133 | 0 | 0 | 53729.9227 | 10305.6011 | 0 | 371966.5357 | 0 | 0 | 10720070.2291

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 144 | 205 | 200 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 558 | 1116 | 1988776.9467
2kW_SE | 122 | 230 | 255 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 611 | 1222 | 2098907.4206
2kW_SW | 146 | 204 | 219 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 576 | 1152 | 1964842.8209
2kW_W | 144 | 201 | 225 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 575 | 1150 | 1752717.1327
4kW_S | 3 | 76 | 112 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 198 | 792 | 1411390.0994
4kW_SE | 2 | 84 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 213 | 852 | 1463395.3442
4kW_SW | 1 | 71 | 111 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 191 | 764 | 1303072.8579
4kW_W | 8 | 95 | 114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 6 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 227 | 908 | 1383884.4825
6kW_S | 0 | 2 | 8 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 16 | 96 | 171077.5876
6kW_SE | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 3 | 1 | 1 | 0 | 0 | 3 | 1 | 0 | 0 | 21 | 126 | 216417.6225
6kW_SW | 0 | 1 | 14 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 1 | 9 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 31 | 186 | 317240.2508
6kW_W | 0 | 3 | 9 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 19 | 114 | 173747.6114
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 25 | 44551.4552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 75 | 127919.4558
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 6 | 450 | 801926.1928
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 150 | 255838.9112
Total Units | 570 | 1172 | 1399 | 4 | 5 | 0 | 4 | 1 | 1 | 5 | 22 | 42 | 4 | 2 | 0 | 8 | 3 | 0 | 6 | 3248 | 0 | 0
Total Capacity | 1168 | 3020 | 3880 | 10 | 12 | 0 | 24 | 6 | 2 | 187 | 263 | 162 | 91 | 12 | 0 | 113 | 16 | 0 | 212 | 0 | 9178 | 0
Total Supply | 1960020.7448 | 5070769.2052 | 6524685.4977 | 17232.8732 | 20434.0078 | 0 | 40304.0733 | 10305.6011 | 3564.1164 | 326664.4338 | 456332.3371 | 273476.545 | 155013.8133 | 20925.9057 | 0 | 197689.8892 | 26320.6129 | 0 | 371966.5357 | 0 | 0 | 15475706.1922

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 193 | 260 | 283 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 746 | 1492 | 2658830.8284
2kW_SE | 170 | 296 | 349 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 820 | 1640 | 2816864.296
2kW_SW | 200 | 277 | 297 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 786 | 1572 | 2681191.7661
2kW_W | 212 | 262 | 307 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 786 | 1572 | 2395888.1153
4kW_S | 3 | 109 | 154 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 276 | 1104 | 1967392.2597
4kW_SE | 2 | 115 | 172 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 297 | 1188 | 2040509.0011
4kW_SW | 2 | 95 | 149 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 254 | 1016 | 1732882.2299
4kW_W | 11 | 127 | 152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 10 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 305 | 1220 | 1859404.2607
6kW_S | 0 | 2 | 11 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 3 | 1 | 1 | 0 | 2 | 0 | 0 | 0 | 24 | 144 | 256616.3814
6kW_SE | 0 | 3 | 11 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 5 | 1 | 1 | 0 | 0 | 4 | 1 | 0 | 0 | 28 | 168 | 288556.83
6kW_SW | 0 | 1 | 17 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 1 | 11 | 0 | 1 | 0 | 1 | 0 | 0 | 2 | 38 | 228 | 388875.1461
6kW_W | 0 | 3 | 12 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 0 | 1 | 0 | 0 | 2 | 1 | 0 | 1 | 25 | 150 | 228615.2781
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 25 | 44551.4552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 5 | 125 | 213199.0929
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 3 | 9 | 675 | 1202889.2892
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3 | 225 | 383758.3668
Total Units | 793 | 1550 | 1914 | 5 | 5 | 0 | 5 | 1 | 1 | 7 | 26 | 62 | 6 | 2 | 0 | 12 | 3 | 2 | 9 | 4403 | 0 | 0
Total Capacity | 1622 | 4028 | 5286 | 12 | 12 | 0 | 28 | 6 | 2 | 199 | 285 | 240 | 172 | 12 | 0 | 206 | 16 | 100 | 318 | 0 | 12544 | 0
Total Supply | 2716145.5253 | 6766428.6431 | 8893777.7047 | 20644.0586 | 20434.0078 | 0 | 47174.474 | 10305.6011 | 3564.1164 | 347590.3395 | 492184.5578 | 406175.8937 | 297812.7899 | 20925.9057 | 0 | 361486.8161 | 26320.6129 | 170559.2742 | 558494.2762 | 0 | 0 | 21160024.5969

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 244 | 341 | 371 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 967 | 1934 | 3446500.5511
2kW_SE | 219 | 389 | 431 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1045 | 2090 | 3589784.3772
2kW_SW | 257 | 357 | 388 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1016 | 2032 | 3465764.4202
2kW_W | 266 | 344 | 387 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1004 | 2008 | 3060396.5238
4kW_S | 4 | 142 | 196 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 356 | 1424 | 2537650.8857
4kW_SE | 3 | 158 | 218 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 9 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 393 | 1572 | 2700067.4661
4kW_SW | 4 | 136 | 191 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 342 | 1368 | 2333250.8765
4kW_W | 12 | 160 | 201 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 14 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 394 | 1576 | 2401984.5203
6kW_S | 0 | 2 | 16 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 3 | 3 | 1 | 1 | 0 | 2 | 0 | 1 | 2 | 33 | 198 | 352847.5244
6kW_SE | 0 | 3 | 14 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 5 | 3 | 2 | 1 | 0 | 4 | 1 | 0 | 0 | 36 | 216 | 371001.6386
6kW_SW | 0 | 4 | 19 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 1 | 11 | 0 | 1 | 0 | 1 | 0 | 0 | 3 | 44 | 264 | 450276.485
6kW_W | 0 | 3 | 15 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 4 | 0 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 30 | 180 | 274338.3337
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 5 | 125 | 222757.276
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 3 | 6 | 150 | 255838.9115
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 0 | 1 | 2 | 0 | 0 | 4 | 11 | 825 | 1470198.0202
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 0 | 4 | 300 | 511677.8224
Total Units | 1009 | 2039 | 2447 | 6 | 6 | 0 | 6 | 1 | 1 | 10 | 34 | 78 | 8 | 3 | 3 | 13 | 4 | 4 | 14 | 5686 | 0 | 0
Total Capacity | 2064 | 5318 | 6762 | 14 | 14 | 0 | 32 | 6 | 2 | 236 | 313 | 306 | 203 | 18 | 125 | 212 | 41 | 181 | 415 | 0 | 16262 | 0
Total Supply | 3459020.6329 | 8939701.4815 | 11376347.7997 | 24079.259 | 23845.1933 | 0 | 53270.8814 | 10305.6011 | 3564.1164 | 411592.0069 | 540228.836 | 517094.954 | 352669.8462 | 31231.5068 | 220845.6393 | 370631.4272 | 70872.0681 | 309171.079 | 729863.3041 | 0 | 0 | 27444335.6328

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 296 | 423 | 472 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 5 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1206 | 2412 | 4298324.3688
2kW_SE | 274 | 472 | 526 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1280 | 2560 | 4397056.4621
2kW_SW | 311 | 434 | 493 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1254 | 2508 | 4277626.5581
2kW_W | 312 | 421 | 486 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1227 | 2454 | 3740145.9509
4kW_S | 8 | 176 | 245 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 447 | 1788 | 3186320.0728
4kW_SE | 3 | 187 | 262 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 10 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 468 | 1872 | 3215347.5168
4kW_SW | 7 | 165 | 252 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 438 | 1752 | 2988198.491
4kW_W | 13 | 189 | 254 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 15 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 479 | 1916 | 2920179.1503
6kW_S | 0 | 5 | 19 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 5 | 3 | 1 | 1 | 0 | 2 | 0 | 1 | 2 | 42 | 252 | 449078.6674
6kW_SE | 0 | 4 | 17 | 0 | 0 | 0 | 0 | 1 | 0 | 3 | 6 | 3 | 2 | 1 | 0 | 5 | 1 | 0 | 0 | 43 | 258 | 443140.8461
6kW_SW | 0 | 5 | 22 | 0 | 1 | 0 | 2 | 0 | 0 | 2 | 2 | 14 | 0 | 2 | 0 | 1 | 0 | 0 | 3 | 54 | 324 | 552612.0498
6kW_W | 0 | 8 | 18 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 6 | 1 | 1 | 0 | 0 | 4 | 1 | 0 | 1 | 43 | 258 | 393218.2783
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 5 | 125 | 222757.276
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 3 | 6 | 150 | 255838.9115
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 0 | 1 | 3 | 0 | 0 | 4 | 13 | 975 | 1737506.7511
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 2 | 1 | 6 | 450 | 767516.7336
Total Units | 1224 | 2489 | 3066 | 8 | 8 | 1 | 6 | 1 | 1 | 13 | 43 | 94 | 9 | 4 | 3 | 17 | 4 | 4 | 16 | 7011 | 0 | 0
Total Capacity | 2510 | 6500 | 8462 | 22 | 22 | 75 | 32 | 6 | 2 | 254 | 357 | 366 | 207 | 24 | 125 | 374 | 41 | 181 | 494 | 0 | 20054 | 0
Total Supply | 4212788.5419 | 10929038.9911 | 14234597.8441 | 38029.8628 | 37642.8661 | 133654.3655 | 53270.8814 | 10305.6011 | 3564.1164 | 441734.5683 | 614698.3798 | 618113.342 | 359540.2469 | 41465.0632 | 220845.6393 | 651655.4605 | 70872.0681 | 309171.079 | 863879.1671 | 0 | 0 | 33844868.0846

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 344 | 510 | 566 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 6 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1438 | 2876 | 5125199.3717
2kW_SE | 347 | 559 | 615 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1531 | 3062 | 5259291.7527
2kW_SW | 356 | 521 | 584 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1479 | 2958 | 5045143.285
2kW_W | 373 | 509 | 560 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 4 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1451 | 2902 | 4422943.5818
4kW_S | 11 | 202 | 296 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 6 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 531 | 2124 | 3785091.6301
4kW_SE | 7 | 212 | 317 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5 | 12 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 556 | 2224 | 3819942.7764
4kW_SW | 8 | 207 | 301 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 13 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 535 | 2140 | 3649968.4764
4kW_W | 14 | 219 | 307 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 21 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 569 | 2276 | 3468855.8174
6kW_S | 0 | 5 | 25 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 5 | 6 | 1 | 1 | 0 | 3 | 0 | 1 | 2 | 53 | 318 | 566694.5089
6kW_SE | 0 | 6 | 18 | 0 | 0 | 0 | 0 | 1 | 0 | 3 | 7 | 4 | 2 | 1 | 1 | 6 | 1 | 0 | 1 | 51 | 306 | 525585.6546
6kW_SW | 0 | 5 | 27 | 1 | 1 | 0 | 2 | 0 | 0 | 3 | 4 | 15 | 0 | 2 | 0 | 1 | 0 | 0 | 6 | 67 | 402 | 685648.284
6kW_W | 0 | 8 | 21 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 6 | 1 | 1 | 1 | 0 | 4 | 1 | 0 | 2 | 48 | 288 | 438941.334
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 7 | 175 | 311860.1864
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 3 | 6 | 150 | 255838.9115
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 1 | 1 | 3 | 0 | 0 | 5 | 16 | 1200 | 2138469.8476
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 2 | 0 | 3 | 2 | 10 | 750 | 1279194.5561
Total Units | 1460 | 2963 | 3637 | 10 | 9 | 1 | 7 | 1 | 1 | 14 | 53 | 117 | 9 | 7 | 4 | 22 | 4 | 5 | 24 | 8348 | 0 | 0
Total Capacity | 3000 | 7702 | 10080 | 32 | 26 | 75 | 38 | 6 | 2 | 260 | 470 | 456 | 207 | 180 | 131 | 490 | 41 | 256 | 699 | 0 | 24151 | 0
Total Supply | 5035864.6063 | 12950131.6856 | 16963221.5623 | 55391.6521 | 44465.2371 | 133654.3655 | 63963.2306 | 10305.6011 | 3564.1164 | 451968.1248 | 814098.0282 | 769102.1615 | 359540.2469 | 312183.4955 | 231151.2403 | 851946.6926 | 70872.0681 | 437090.5346 | 1220155.325 | 0 | 0 | 40778669.9744

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 379 | 600 | 650 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 7 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1651 | 3302 | 5884356.1632
2kW_SE | 395 | 639 | 702 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1751 | 3502 | 6015035.8321
2kW_SW | 413 | 613 | 667 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1713 | 3426 | 5843360.681
2kW_W | 436 | 607 | 654 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 5 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1707 | 3414 | 5203283.7313
4kW_S | 13 | 232 | 338 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 7 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 606 | 2424 | 4319709.092
4kW_SE | 8 | 253 | 369 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 13 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 652 | 2608 | 4479501.2414
4kW_SW | 9 | 245 | 348 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 13 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 623 | 2492 | 4250337.123
4kW_W | 14 | 254 | 356 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 5 | 24 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 658 | 2632 | 4011436.0771
6kW_S | 0 | 5 | 27 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 6 | 6 | 1 | 1 | 0 | 3 | 0 | 1 | 3 | 57 | 342 | 609463.9058
6kW_SE | 0 | 8 | 26 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 8 | 4 | 3 | 1 | 1 | 6 | 1 | 0 | 2 | 65 | 390 | 669864.0696
6kW_SW | 0 | 5 | 31 | 1 | 1 | 0 | 2 | 0 | 0 | 3 | 5 | 17 | 0 | 2 | 0 | 1 | 0 | 0 | 6 | 74 | 444 | 757283.1793
6kW_W | 0 | 8 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 8 | 1 | 1 | 1 | 0 | 5 | 1 | 0 | 3 | 61 | 366 | 557821.2786
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 7 | 175 | 311860.1864
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 3 | 8 | 200 | 341118.5487
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 1 | 1 | 4 | 0 | 0 | 5 | 17 | 1275 | 2272124.213
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 1 | 0 | 2 | 0 | 3 | 2 | 11 | 825 | 1407114.0117
Total Units | 1667 | 3469 | 4198 | 10 | 10 | 1 | 7 | 1 | 1 | 17 | 65 | 133 | 10 | 7 | 4 | 25 | 4 | 5 | 27 | 9661 | 0 | 0
Total Capacity | 3422 | 9010 | 11674 | 32 | 30 | 75 | 38 | 6 | 2 | 366 | 524 | 504 | 213 | 180 | 131 | 596 | 41 | 256 | 717 | 0 | 27817 | 0
Total Supply | 5739921.9391 | 15147040.1864 | 19634216.5582 | 55391.6521 | 50561.6445 | 133654.3655 | 63963.2306 | 10305.6011 | 3564.1164 | 632833.0001 | 904357.8568 | 849032.6226 | 369845.8479 | 312183.4955 | 231151.2403 | 1037385.4878 | 70872.0681 | 437090.5346 | 1250297.8864 | 0 | 0 | 46933669.3341

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 425 | 688 | 742 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 7 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1878 | 3756 | 6693410.5842
2kW_SE | 441 | 721 | 797 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1979 | 3958 | 6798261.5144
2kW_SW | 480 | 691 | 765 | 2 | 3 | 0 | 0 | 0 | 0 | 1 | 1 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1957 | 3914 | 6675689.9315
2kW_W | 489 | 705 | 744 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1952 | 3904 | 5950093.64
4kW_S | 15 | 265 | 391 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 7 | 13 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 695 | 2780 | 4954121.8134
4kW_SE | 10 | 284 | 439 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 6 | 14 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 759 | 3036 | 5214634.1138
4kW_SW | 10 | 275 | 391 | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 6 | 14 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 702 | 2808 | 4789304.4308
4kW_W | 16 | 298 | 406 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 6 | 27 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 758 | 3032 | 4621076.8183
6kW_S | 0 | 5 | 29 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 6 | 8 | 2 | 1 | 1 | 3 | 0 | 1 | 3 | 63 | 378 | 673618.0011
6kW_SE | 0 | 13 | 32 | 0 | 0 | 0 | 1 | 1 | 0 | 4 | 9 | 5 | 3 | 1 | 1 | 7 | 2 | 0 | 3 | 82 | 492 | 845059.2878
6kW_SW | 0 | 5 | 34 | 1 | 1 | 0 | 3 | 0 | 0 | 4 | 6 | 17 | 0 | 2 | 0 | 3 | 0 | 1 | 7 | 84 | 504 | 859618.7441
6kW_W | 0 | 8 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 11 | 1 | 1 | 1 | 0 | 6 | 1 | 0 | 3 | 65 | 390 | 594399.7231
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 8 | 200 | 356411.6416
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 3 | 8 | 200 | 341118.5487
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 3 | 0 | 1 | 1 | 1 | 4 | 0 | 0 | 5 | 19 | 1425 | 2539432.944
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 2 | 0 | 2 | 1 | 3 | 2 | 14 | 1050 | 1790872.3785
Total Units | 1886 | 3958 | 4800 | 11 | 12 | 1 | 9 | 1 | 1 | 24 | 74 | 149 | 11 | 9 | 5 | 30 | 6 | 6 | 30 | 11023 | 0 | 0
Total Capacity | 3874 | 10284 | 13354 | 36 | 36 | 75 | 50 | 6 | 2 | 628 | 568 | 558 | 219 | 259 | 137 | 624 | 122 | 262 | 733 | 0 | 31827 | 0
Total Supply | 6499007.1845 | 17279820.4525 | 22467919.4931 | 62214.0231 | 60432.2192 | 133654.3655 | 84502.3882 | 10305.6011 | 3564.1164 | 1093127.7844 | 975120.2008 | 939541.4417 | 380538.1972 | 446973.3517 | 241843.5896 | 1084431.0458 | 209097.1248 | 447324.0911 | 1277707.4446 | 0 | 0 | 53697124.1152

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 478 | 779 | 830 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 7 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2111 | 4222 | 7523849.7035
2kW_SE | 492 | 798 | 895 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2206 | 4412 | 7578051.9964
2kW_SW | 539 | 786 | 849 | 2 | 3 | 0 | 0 | 0 | 0 | 1 | 1 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2196 | 4392 | 7490963.2548
2kW_W | 569 | 796 | 822 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2201 | 4402 | 6709096.3635
4kW_S | 17 | 290 | 438 | 2 | 1 | 0 | 0 | 0 | 0 | 2 | 8 | 14 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 773 | 3092 | 5510123.9737
4kW_SE | 10 | 327 | 479 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 6 | 16 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 845 | 3380 | 5805488.5721
4kW_SW | 11 | 312 | 436 | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 7 | 15 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 787 | 3148 | 5369205.9644
4kW_W | 19 | 339 | 449 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 6 | 30 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 849 | 3396 | 5175849.8928
6kW_S | 0 | 6 | 31 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 7 | 9 | 2 | 1 | 1 | 4 | 1 | 1 | 3 | 70 | 420 | 748464.4457
6kW_SE | 0 | 14 | 34 | 0 | 0 | 0 | 3 | 1 | 0 | 4 | 10 | 5 | 4 | 1 | 1 | 8 | 2 | 0 | 3 | 90 | 540 | 927504.0964
6kW_SW | 0 | 6 | 36 | 1 | 1 | 0 | 3 | 0 | 0 | 4 | 6 | 18 | 0 | 3 | 0 | 3 | 0 | 1 | 8 | 90 | 540 | 921020.0829
6kW_W | 0 | 8 | 36 | 0 | 0 | 0 | 1 | 1 | 0 | 5 | 16 | 2 | 1 | 1 | 0 | 6 | 1 | 0 | 3 | 81 | 486 | 740713.501
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 8 | 200 | 356411.6416
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 3 | 10 | 250 | 426398.1859
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 3 | 0 | 1 | 2 | 1 | 5 | 0 | 0 | 5 | 21 | 1575 | 2806741.6749
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 1 | 2 | 0 | 2 | 2 | 4 | 2 | 18 | 1350 | 2302550.2009
Total Units | 2135 | 4461 | 5335 | 11 | 12 | 1 | 11 | 2 | 1 | 32 | 84 | 162 | 13 | 11 | 5 | 33 | 8 | 7 | 32 | 12356 | 0 | 0
Total Capacity | 4384 | 11594 | 14822 | 36 | 36 | 75 | 62 | 12 | 2 | 808 | 643 | 610 | 250 | 340 | 137 | 711 | 203 | 337 | 743 | 0 | 35805 | 0
Total Supply | 7347584.869 | 19477359.6144 | 24938836.7015 | 62214.0231 | 60432.2192 | 133654.3655 | 105113.5903 | 19450.2122 | 3564.1164 | 1397527.3954 | 1098431.6291 | 1026003.0881 | 433483.6168 | 590861.2737 | 241843.5896 | 1239083.3615 | 347708.9296 | 575243.5467 | 1294037.4085 | 0 | 0 | 60392433.5505

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 526 | 873 | 930 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 7 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2356 | 4712 | 8397058.2196
2kW_SE | 560 | 878 | 983 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 20 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2447 | 4894 | 8405935.2834
2kW_SW | 604 | 861 | 940 | 2 | 3 | 0 | 0 | 0 | 0 | 1 | 1 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2428 | 4856 | 8282358.2799
2kW_W | 640 | 894 | 919 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 8 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2468 | 4936 | 7522966.7538
4kW_S | 18 | 335 | 480 | 2 | 1 | 0 | 0 | 0 | 0 | 2 | 9 | 19 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 867 | 3468 | 6180177.8593
4kW_SE | 11 | 363 | 528 | 0 | 0 | 0 | 1 | 0 | 1 | 2 | 6 | 18 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 934 | 3736 | 6416954.2323
4kW_SW | 14 | 346 | 489 | 3 | 2 | 0 | 0 | 0 | 0 | 1 | 7 | 20 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 883 | 3532 | 6024153.5789
4kW_W | 20 | 370 | 489 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 6 | 31 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 923 | 3692 | 5626984.0413
6kW_S | 0 | 8 | 34 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 9 | 11 | 2 | 2 | 1 | 6 | 1 | 1 | 3 | 82 | 492 | 876772.6364
6kW_SE | 0 | 14 | 36 | 1 | 0 | 0 | 3 | 1 | 0 | 4 | 11 | 7 | 4 | 1 | 1 | 10 | 2 | 0 | 3 | 98 | 588 | 1009948.905
6kW_SW | 0 | 7 | 40 | 1 | 1 | 0 | 3 | 0 | 0 | 5 | 8 | 19 | 0 | 3 | 0 | 3 | 0 | 1 | 8 | 99 | 594 | 1013122.0912
6kW_W | 0 | 9 | 37 | 0 | 0 | 0 | 1 | 1 | 0 | 8 | 17 | 2 | 1 | 1 | 0 | 9 | 1 | 0 | 5 | 92 | 552 | 841304.2234
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 8 | 200 | 356411.6416
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 3 | 11 | 275 | 469038.0044
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 3 | 0 | 1 | 2 | 1 | 5 | 1 | 0 | 5 | 22 | 1650 | 2940396.0404
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 1 | 2 | 0 | 2 | 2 | 4 | 2 | 19 | 1425 | 2430469.6565
Total Units | 2393 | 4958 | 5905 | 12 | 12 | 1 | 11 | 2 | 2 | 38 | 92 | 188 | 14 | 13 | 5 | 41 | 9 | 7 | 34 | 13737 | 0 | 0
Total Capacity | 4912 | 12896 | 16370 | 42 | 36 | 75 | 62 | 12 | 6 | 911 | 685 | 708 | 252 | 371 | 137 | 757 | 278 | 337 | 755 | 0 | 39602 | 0
Total Supply | 8230967.752 | 21671582.4673 | 27547884.0658 | 72519.6242 | 60432.2192 | 133654.3655 | 105113.5903 | 19450.2122 | 10434.5171 | 1569936.6118 | 1170297.0859 | 1195280.1124 | 436918.8172 | 644193.4415 | 241843.5896 | 1314609.5029 | 481363.2951 | 575243.5467 | 1312326.6308 | 0 | 0 | 66794051.4473

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 588 | 971 | 1031 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 7 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2619 | 5238 | 9334420.8306
2kW_SE | 611 | 980 | 1064 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 21 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2682 | 5364 | 9213207.3682
2kW_SW | 666 | 961 | 1024 | 3 | 3 | 0 | 0 | 0 | 0 | 1 | 1 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2677 | 5354 | 9131743.4577
2kW_W | 693 | 959 | 1009 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 4 | 11 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2680 | 5360 | 8169185.9401
4kW_S | 20 | 375 | 533 | 2 | 1 | 0 | 0 | 0 | 0 | 2 | 9 | 20 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 963 | 3852 | 6864488.2105
4kW_SE | 14 | 406 | 577 | 1 | 0 | 0 | 1 | 0 | 1 | 2 | 7 | 19 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1032 | 4128 | 7090253.4987
4kW_SW | 15 | 384 | 537 | 3 | 2 | 0 | 0 | 0 | 0 | 1 | 8 | 23 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 974 | 3896 | 6644989.3384
4kW_W | 22 | 409 | 540 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 6 | 35 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 1019 | 4076 | 6212239.1528
6kW_S | 0 | 8 | 38 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 11 | 12 | 2 | 2 | 1 | 7 | 1 | 1 | 3 | 90 | 540 | 962311.4302
6kW_SE | 0 | 14 | 41 | 1 | 0 | 0 | 3 | 1 | 0 | 4 | 11 | 9 | 4 | 1 | 1 | 12 | 2 | 0 | 3 | 107 | 642 | 1102699.3146
6kW_SW | 0 | 9 | 47 | 1 | 1 | 0 | 3 | 0 | 0 | 6 | 9 | 20 | 0 | 3 | 0 | 3 | 0 | 1 | 8 | 111 | 666 | 1135924.7689
6kW_W | 0 | 9 | 41 | 0 | 0 | 0 | 1 | 1 | 0 | 9 | 18 | 2 | 1 | 1 | 0 | 9 | 1 | 0 | 5 | 98 | 588 | 896171.8902
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 1 | 1 | 1 | 0 | 1 | 10 | 250 | 445514.552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 13 | 325 | 554317.6416
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 3 | 0 | 1 | 2 | 1 | 6 | 1 | 0 | 6 | 24 | 1800 | 3207704.7713
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 1 | 3 | 0 | 3 | 3 | 4 | 3 | 23 | 1725 | 2942147.479
Total Units | 2629 | 5485 | 6482 | 14 | 13 | 1 | 12 | 2 | 2 | 40 | 99 | 209 | 15 | 14 | 5 | 46 | 11 | 7 | 36 | 15122 | 0 | 0
Total Capacity | 5400 | 14278 | 18006 | 48 | 38 | 75 | 87 | 12 | 6 | 923 | 742 | 784 | 277 | 446 | 137 | 925 | 378 | 337 | 905 | 0 | 43804 | 0
Total Supply | 9054069.3349 | 24008541.7385 | 30302336.2627 | 82801.2103 | 63480.4229 | 133654.3655 | 149665.0455 | 19450.2122 | 10434.5171 | 1589314.7794 | 1267392.5422 | 1322199.0115 | 481470.2724 | 772112.8971 | 241843.5896 | 1607486.8753 | 651922.5692 | 575243.5467 | 1573900.4518 | 0 | 0 | 73907319.6448

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 640 | 1058 | 1127 | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 7 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2855 | 5710 | 10175552.2992
2kW_SE | 676 | 1083 | 1159 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 25 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2949 | 5898 | 10130405.8646
2kW_SW | 722 | 1071 | 1140 | 3 | 3 | 0 | 0 | 0 | 0 | 1 | 1 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2962 | 5924 | 10103931.3118
2kW_W | 758 | 1056 | 1108 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 4 | 13 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 2945 | 5890 | 8976959.923
4kW_S | 21 | 412 | 594 | 2 | 1 | 0 | 0 | 0 | 0 | 2 | 9 | 24 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1066 | 4264 | 7598696.1915
4kW_SE | 18 | 443 | 615 | 1 | 0 | 0 | 1 | 0 | 1 | 2 | 7 | 20 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1112 | 4448 | 7639885.5528
4kW_SW | 16 | 418 | 585 | 3 | 2 | 0 | 0 | 0 | 0 | 1 | 10 | 24 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1061 | 4244 | 7238535.614
4kW_W | 22 | 459 | 600 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 6 | 38 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 1132 | 4528 | 6901133.1904
6kW_S | 0 | 10 | 44 | 0 | 0 | 0 | 3 | 0 | 0 | 3 | 13 | 12 | 2 | 2 | 1 | 7 | 1 | 1 | 3 | 102 | 612 | 1090619.6208
6kW_SE | 0 | 15 | 45 | 1 | 0 | 0 | 3 | 1 | 0 | 4 | 11 | 11 | 5 | 2 | 1 | 13 | 2 | 0 | 3 | 117 | 702 | 1205755.3253
6kW_SW | 0 | 11 | 55 | 1 | 1 | 0 | 3 | 0 | 0 | 8 | 10 | 21 | 1 | 3 | 0 | 4 | 0 | 1 | 8 | 127 | 762 | 1299661.6726
6kW_W | 0 | 10 | 43 | 0 | 0 | 0 | 1 | 1 | 0 | 10 | 19 | 2 | 1 | 1 | 0 | 9 | 1 | 0 | 6 | 104 | 624 | 951039.5569
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 1 | 1 | 1 | 0 | 1 | 10 | 250 | 445514.552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 2 | 1 | 1 | 1 | 1 | 3 | 14 | 350 | 596957.4602
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5 | 4 | 0 | 1 | 2 | 1 | 9 | 1 | 0 | 7 | 31 | 2325 | 4143285.3296
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 1 | 3 | 0 | 4 | 3 | 4 | 4 | 26 | 1950 | 3325905.8458
Total Units | 2873 | 6046 | 7115 | 15 | 14 | 1 | 13 | 2 | 2 | 47 | 106 | 230 | 18 | 16 | 5 | 53 | 11 | 7 | 39 | 16613 | 0 | 0
Total Capacity | 5900 | 15740 | 19766 | 50 | 40 | 75 | 93 | 12 | 6 | 1172 | 849 | 856 | 291 | 477 | 137 | 1241 | 378 | 337 | 1061 | 0 | 48481 | 0
Total Supply | 9893283.2437 | 26459384.1086 | 33262995.004 | 85849.414 | 67044.5393 | 133654.3655 | 160357.3947 | 19450.2122 | 10434.5171 | 2024847.0393 | 1455454.5157 | 1443609.4605 | 505057.6336 | 825058.3168 | 241843.5896 | 2163730.9559 | 651922.5692 | 575243.5467 | 1844618.884 | 0 | 0 | 81823839.3105

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 704 | 1143 | 1229 | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 7 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3111 | 6222 | 11087966.0955
2kW_SE | 731 | 1177 | 1241 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 30 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3185 | 6370 | 10941113.1498
2kW_SW | 773 | 1156 | 1230 | 3 | 3 | 0 | 0 | 0 | 1 | 1 | 1 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3192 | 6384 | 10888503.966
2kW_W | 831 | 1137 | 1196 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 4 | 16 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 3191 | 6382 | 9726818.0354
4kW_S | 21 | 455 | 648 | 2 | 1 | 0 | 1 | 0 | 0 | 2 | 10 | 28 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1169 | 4676 | 8332904.1724
4kW_SE | 19 | 473 | 669 | 1 | 0 | 0 | 1 | 0 | 1 | 2 | 7 | 21 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1199 | 4796 | 8237610.4117
4kW_SW | 18 | 452 | 634 | 3 | 2 | 0 | 0 | 0 | 0 | 1 | 10 | 27 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1149 | 4596 | 7838904.2606
4kW_W | 24 | 491 | 644 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 6 | 41 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 1214 | 4856 | 7401038.5982
6kW_S | 0 | 10 | 52 | 0 | 0 | 0 | 4 | 0 | 0 | 4 | 16 | 14 | 2 | 2 | 1 | 8 | 1 | 1 | 4 | 119 | 714 | 1272389.5577
6kW_SE | 0 | 17 | 51 | 1 | 0 | 0 | 3 | 1 | 0 | 4 | 15 | 12 | 5 | 3 | 1 | 13 | 2 | 0 | 3 | 131 | 786 | 1350033.7403
6kW_SW | 0 | 12 | 60 | 1 | 1 | 0 | 3 | 0 | 0 | 8 | 11 | 24 | 2 | 3 | 0 | 5 | 0 | 1 | 8 | 139 | 834 | 1422464.3503
6kW_W | 0 | 10 | 46 | 0 | 0 | 0 | 1 | 1 | 0 | 10 | 19 | 3 | 1 | 1 | 0 | 10 | 1 | 0 | 6 | 109 | 654 | 996762.6125
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 1 | 1 | 1 | 0 | 3 | 12 | 300 | 534617.4624
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 3 | 1 | 1 | 1 | 2 | 3 | 16 | 400 | 682237.0974
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 4 | 0 | 1 | 3 | 1 | 9 | 1 | 0 | 8 | 34 | 2550 | 4544248.426
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 1 | 3 | 0 | 6 | 3 | 4 | 4 | 28 | 2100 | 3581744.757
Total Units | 3121 | 6533 | 7700 | 18 | 14 | 1 | 15 | 2 | 3 | 49 | 115 | 263 | 19 | 19 | 5 | 59 | 11 | 8 | 43 | 17998 | 0 | 0
Total Capacity | 6406 | 17004 | 21426 | 58 | 40 | 75 | 103 | 12 | 8 | 1253 | 901 | 972 | 297 | 583 | 137 | 1413 | 378 | 362 | 1192 | 0 | 52620 | 0
Total Supply | 10739519.999 | 28592614.5408 | 36067908.2522 | 98558.1415 | 67044.5393 | 133654.3655 | 178177.9768 | 19450.2122 | 13845.7025 | 2169193.7539 | 1546115.757 | 1640095.3426 | 515291.1901 | 1011658.1019 | 241843.5896 | 2456510.7846 | 651922.5692 | 617883.3653 | 2078068.5091 | 0 | 0 | 88839356.6932

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 762 | 1218 | 1319 | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 7 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3335 | 6670 | 11886328.1673
2kW_SE | 783 | 1271 | 1326 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 32 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3418 | 6836 | 11741514.8339
2kW_SW | 843 | 1272 | 1310 | 3 | 3 | 0 | 0 | 0 | 1 | 1 | 1 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3460 | 6920 | 11802701.6674
2kW_W | 887 | 1237 | 1271 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 5 | 16 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 3424 | 6848 | 10437049.4996
4kW_S | 22 | 489 | 693 | 2 | 1 | 0 | 1 | 0 | 0 | 2 | 10 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1251 | 5004 | 8917419.2641
4kW_SE | 21 | 513 | 716 | 1 | 0 | 0 | 1 | 0 | 1 | 2 | 7 | 21 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1288 | 5152 | 8849076.072
4kW_SW | 20 | 488 | 687 | 3 | 2 | 0 | 0 | 0 | 0 | 1 | 11 | 31 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 1246 | 4984 | 8500674.2461
4kW_W | 25 | 526 | 702 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 6 | 45 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 1312 | 5248 | 7998486.5245
6kW_S | 0 | 10 | 55 | 0 | 0 | 0 | 4 | 0 | 0 | 4 | 20 | 16 | 2 | 3 | 1 | 9 | 1 | 1 | 5 | 131 | 786 | 1400697.7483
6kW_SE | 0 | 17 | 54 | 1 | 0 | 0 | 4 | 1 | 0 | 4 | 15 | 12 | 5 | 3 | 1 | 14 | 2 | 0 | 4 | 137 | 822 | 1411867.3467
6kW_SW | 0 | 12 | 66 | 1 | 1 | 1 | 3 | 1 | 0 | 8 | 13 | 24 | 2 | 3 | 0 | 5 | 0 | 1 | 9 | 150 | 900 | 1535033.4715
6kW_W | 0 | 11 | 49 | 0 | 0 | 0 | 1 | 1 | 0 | 12 | 21 | 3 | 1 | 1 | 0 | 10 | 2 | 0 | 6 | 118 | 708 | 1079064.1126
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 1 | 1 | 1 | 0 | 5 | 14 | 350 | 623720.3728
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | 3 | 1 | 1 | 1 | 3 | 3 | 17 | 425 | 724876.9159
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 4 | 0 | 1 | 3 | 2 | 9 | 1 | 0 | 8 | 35 | 2625 | 4677902.7915
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 1 | 3 | 0 | 6 | 3 | 5 | 4 | 29 | 2175 | 3709664.2126
Total Units | 3363 | 7064 | 8248 | 19 | 14 | 2 | 16 | 3 | 3 | 51 | 125 | 280 | 19 | 20 | 6 | 61 | 12 | 10 | 49 | 19365 | 0 | 0
Total Capacity | 6902 | 18360 | 22988 | 60 | 40 | 81 | 109 | 18 | 8 | 1265 | 955 | 1034 | 297 | 589 | 212 | 1425 | 384 | 462 | 1264 | 0 | 56453 | 0
Total Supply | 11574961.7415 | 30868650.1567 | 38692866.4967 | 101606.3452 | 67044.5393 | 143887.9219 | 188483.5779 | 29683.7687 | 13845.7025 | 2187482.9762 | 1637512.0637 | 1744668.5083 | 515291.1901 | 1022350.4511 | 375497.955 | 2477508.7349 | 661067.1804 | 788442.6395 | 2205225.2973 | 0 | 0 | 95296077.247

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 813 | 1311 | 1405 | 2 | 3 | 0 | 0 | 0 | 1 | 0 | 7 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3567 | 7134 | 12713203.1703
2kW_SE | 837 | 1356 | 1424 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 34 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3657 | 7314 | 12562527.7202
2kW_SW | 904 | 1368 | 1411 | 3 | 3 | 0 | 0 | 0 | 1 | 1 | 1 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3720 | 7440 | 12689609.8852
2kW_W | 941 | 1317 | 1385 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 5 | 18 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 3674 | 7348 | 11199100.4269
4kW_S | 23 | 527 | 741 | 3 | 2 | 0 | 1 | 0 | 0 | 2 | 10 | 33 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1343 | 5372 | 9573216.684
4kW_SE | 22 | 550 | 771 | 2 | 0 | 0 | 1 | 0 | 1 | 2 | 7 | 24 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1385 | 5540 | 9515504.9376
4kW_SW | 20 | 515 | 737 | 3 | 2 | 0 | 0 | 0 | 0 | 1 | 11 | 33 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 1325 | 5300 | 9039641.5538
4kW_W | 27 | 548 | 755 | 1 | 2 | 0 | 1 | 0 | 0 | 1 | 6 | 50 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 1396 | 5584 | 8510584.7472
6kW_S | 0 | 11 | 58 | 0 | 0 | 0 | 4 | 0 | 0 | 4 | 22 | 16 | 2 | 3 | 1 | 10 | 1 | 1 | 5 | 138 | 828 | 1475544.1929
6kW_SE | 0 | 17 | 58 | 1 | 0 | 0 | 4 | 2 | 0 | 4 | 15 | 17 | 5 | 3 | 1 | 15 | 2 | 0 | 4 | 148 | 888 | 1525228.9585
6kW_SW | 0 | 13 | 67 | 1 | 1 | 1 | 3 | 1 | 0 | 8 | 14 | 26 | 2 | 3 | 0 | 6 | 0 | 1 | 10 | 157 | 942 | 1606668.3669
6kW_W | 0 | 11 | 51 | 0 | 0 | 0 | 1 | 1 | 0 | 13 | 22 | 5 | 2 | 2 | 0 | 11 | 2 | 0 | 6 | 127 | 762 | 1161365.6127
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 2 | 1 | 1 | 0 | 5 | 15 | 375 | 668271.828
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 1 | 3 | 1 | 1 | 1 | 3 | 3 | 18 | 450 | 767516.7345
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 4 | 0 | 1 | 3 | 4 | 9 | 1 | 0 | 8 | 37 | 2775 | 4945211.5225
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 1 | 3 | 0 | 7 | 3 | 5 | 4 | 30 | 2250 | 3837583.6682
Total Units | 3587 | 7544 | 8863 | 21 | 17 | 2 | 16 | 4 | 3 | 54 | 129 | 309 | 20 | 21 | 9 | 66 | 12 | 10 | 50 | 20737 | 0 | 0
Total Capacity | 7358 | 19576 | 24670 | 68 | 50 | 81 | 109 | 24 | 8 | 1300 | 979 | 1154 | 303 | 595 | 387 | 1524 | 384 | 462 | 1270 | 0 | 60302 | 0
Total Supply | 12341109.2582 | 32927763.6698 | 41514132.6809 | 115604.9787 | 83833.2959 | 143887.9219 | 188483.5779 | 39989.3697 | 13845.7025 | 2245363.8133 | 1678274.9298 | 1944428.8239 | 524435.8012 | 1031495.0622 | 687358.1412 | 2645804.3084 | 661067.1804 | 788442.6395 | 2215458.8538 | 0 | 0 | 101790780.0093

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 877 | 1395 | 1489 | 2 | 4 | 0 | 0 | 0 | 1 | 0 | 8 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3802 | 7604 | 13550770.5224
2kW_SE | 893 | 1443 | 1504 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 37 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3883 | 7766 | 13338883.0018
2kW_SW | 964 | 1476 | 1493 | 3 | 4 | 0 | 0 | 0 | 1 | 1 | 1 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3971 | 7942 | 13545817.4339
2kW_W | 1007 | 1404 | 1463 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 5 | 18 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 3905 | 7810 | 11903235.4836
4kW_S | 25 | 554 | 795 | 3 | 3 | 0 | 1 | 0 | 0 | 3 | 10 | 35 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1430 | 5720 | 10193372.9398
4kW_SE | 25 | 580 | 826 | 2 | 0 | 0 | 1 | 0 | 1 | 2 | 8 | 27 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1477 | 5908 | 10147581.7999
4kW_SW | 20 | 549 | 785 | 4 | 3 | 0 | 0 | 0 | 0 | 1 | 12 | 33 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 1411 | 5644 | 9626365.4584
4kW_W | 29 | 581 | 811 | 1 | 2 | 0 | 1 | 0 | 0 | 1 | 8 | 51 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 1490 | 5960 | 9083647.0439
6kW_S | 0 | 11 | 59 | 0 | 0 | 0 | 4 | 0 | 0 | 4 | 24 | 18 | 2 | 3 | 1 | 10 | 1 | 1 | 5 | 143 | 858 | 1529005.939
6kW_SE | 0 | 18 | 60 | 1 | 0 | 0 | 4 | 2 | 0 | 4 | 15 | 19 | 5 | 3 | 1 | 15 | 2 | 0 | 5 | 154 | 924 | 1587062.5649
6kW_SW | 0 | 13 | 69 | 1 | 1 | 1 | 3 | 1 | 0 | 8 | 14 | 26 | 2 | 3 | 0 | 6 | 0 | 1 | 11 | 160 | 960 | 1637369.0363
6kW_W | 0 | 11 | 52 | 0 | 0 | 0 | 1 | 1 | 0 | 14 | 23 | 6 | 2 | 2 | 0 | 12 | 2 | 0 | 8 | 134 | 804 | 1225377.8906
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 2 | 1 | 1 | 0 | 5 | 15 | 375 | 668271.828
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 0 | 1 | 3 | 1 | 1 | 1 | 3 | 3 | 19 | 475 | 810156.5531
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 4 | 0 | 2 | 4 | 4 | 9 | 2 | 0 | 9 | 41 | 3075 | 5479828.9844
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 1 | 3 | 1 | 7 | 3 | 5 | 5 | 33 | 2475 | 4221342.035
Total Units | 3840 | 8035 | 9406 | 22 | 21 | 2 | 16 | 4 | 3 | 57 | 138 | 324 | 21 | 22 | 10 | 68 | 13 | 10 | 56 | 22068 | 0 | 0
Total Capacity | 7878 | 20810 | 26206 | 72 | 62 | 81 | 109 | 24 | 8 | 1385 | 1040 | 1216 | 378 | 670 | 462 | 1534 | 459 | 462 | 1444 | 0 | 64300 | 0
Total Supply | 13214496.982 | 35001635.5954 | 44098396.0907 | 122427.3497 | 104759.2016 | 143887.9219 | 188483.5779 | 39989.3697 | 13845.7025 | 2389556.1129 | 1780893.7608 | 2050403.1282 | 658090.1667 | 1165149.4277 | 815277.5968 | 2661771.2905 | 794721.5458 | 788442.6395 | 2515861.0547 | 0 | 0 | 108548088.5151

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 939 | 1476 | 1569 | 2 | 4 | 0 | 0 | 0 | 1 | 0 | 8 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4027 | 8054 | 14352696.7106
2kW_SE | 954 | 1527 | 1607 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 39 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4133 | 8266 | 14197683.092
2kW_SW | 1030 | 1558 | 1590 | 3 | 4 | 0 | 0 | 0 | 1 | 1 | 1 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4217 | 8434 | 14384969.0553
2kW_W | 1067 | 1491 | 1546 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 5 | 20 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 4138 | 8276 | 12613466.9478
4kW_S | 26 | 580 | 832 | 3 | 3 | 0 | 1 | 0 | 0 | 3 | 12 | 39 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1500 | 6000 | 10692349.2375
4kW_SE | 26 | 616 | 880 | 2 | 0 | 0 | 1 | 0 | 1 | 2 | 9 | 30 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1572 | 6288 | 10800269.8642
4kW_SW | 21 | 584 | 842 | 4 | 3 | 0 | 0 | 0 | 0 | 1 | 12 | 36 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 1507 | 6028 | 10281313.0729
4kW_W | 33 | 617 | 866 | 1 | 2 | 0 | 2 | 0 | 0 | 2 | 10 | 53 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 1591 | 6364 | 9699384.1925
6kW_S | 0 | 11 | 60 | 0 | 0 | 0 | 4 | 0 | 0 | 4 | 26 | 18 | 2 | 3 | 1 | 10 | 1 | 1 | 6 | 147 | 882 | 1571775.3359
6kW_SE | 0 | 18 | 63 | 1 | 0 | 0 | 4 | 2 | 0 | 5 | 16 | 20 | 5 | 3 | 2 | 15 | 2 | 0 | 5 | 161 | 966 | 1659201.7724
6kW_SW | 0 | 13 | 73 | 1 | 1 | 1 | 3 | 1 | 0 | 8 | 14 | 28 | 3 | 3 | 0 | 6 | 1 | 1 | 13 | 170 | 1020 | 1739704.6011
6kW_W | 0 | 13 | 53 | 0 | 0 | 0 | 1 | 1 | 0 | 15 | 25 | 7 | 2 | 2 | 1 | 13 | 2 | 0 | 8 | 143 | 858 | 1307679.3907
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 2 | 1 | 2 | 0 | 6 | 17 | 425 | 757374.7384
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 0 | 1 | 3 | 2 | 1 | 1 | 3 | 5 | 24 | 600 | 1023355.646
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 5 | 0 | 2 | 4 | 4 | 9 | 2 | 0 | 9 | 42 | 3150 | 5613483.3498
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 1 | 3 | 1 | 8 | 4 | 5 | 5 | 36 | 2700 | 4605100.4019
Total Units | 4096 | 8504 | 9981 | 22 | 22 | 2 | 17 | 4 | 3 | 63 | 149 | 347 | 22 | 22 | 13 | 70 | 16 | 10 | 62 | 23425 | 0 | 0
Total Capacity | 8404 | 22022 | 27798 | 72 | 64 | 81 | 113 | 24 | 8 | 1526 | 1165 | 1302 | 384 | 670 | 499 | 1615 | 565 | 462 | 1537 | 0 | 68311 | 0
Total Supply | 14098256.5169 | 37033008.1347 | 46771848.7303 | 122427.3497 | 107807.4053 | 143887.9219 | 194579.9853 | 39989.3697 | 13845.7025 | 2628301.8253 | 1997847.3292 | 2195610.7408 | 668323.7232 | 1165149.4277 | 877367.6276 | 2798835.3572 | 977426.0131 | 788442.6395 | 2676851.6092 | 0 | 0 | 115299807.4092