## Summary
Ticks to run | 20
Initial price | 0.12
Solar PV cost | 3500
Capacity factor | 0.2
neighborhood effect | 0.1
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.12 | 342 | 342 | 940 | 940 | 2112997453.673 | 0 | 0 | 2112997453.673
1 | 0.12006 | 806 | 464 | 2329 | 1389 | 2112997453.673 | 1578508.315 | 0.00074705 | 2111418945.3581
2 | 0.12015 | 1380 | 574 | 3999 | 1670 | 2112997453.673 | 3912739.6404 | 0.0018517 | 2109084714.0326
3 | 0.12026 | 2147 | 767 | 6285 | 2286 | 2112997453.673 | 6735558.0409 | 0.0031877 | 2106261895.6321
4 | 0.1204 | 3135 | 988 | 9273 | 2988 | 2112997453.673 | 10615092.1467 | 0.0050237 | 2102382361.5264
5 | 0.1206 | 4382 | 1247 | 12986 | 3713 | 2112997453.673 | 15657496.5796 | 0.0074101 | 2097339957.0935
6 | 0.12084 | 5582 | 1200 | 16494 | 3508 | 2112997453.673 | 21916545.6585 | 0.010372 | 2091080908.0145
7 | 0.12107 | 6847 | 1265 | 20127 | 3633 | 2112997453.673 | 27824106.7236 | 0.013168 | 2085173346.9494
8 | 0.12131 | 8112 | 1265 | 23738 | 3611 | 2112997453.673 | 33947756.7949 | 0.016066 | 2079049696.8781
9 | 0.12155 | 9468 | 1356 | 27846 | 4108 | 2112997453.673 | 40040772.7958 | 0.01895 | 2072956680.8773
10 | 0.12182 | 10698 | 1230 | 31428 | 3582 | 2112997453.673 | 46993199.0386 | 0.02224 | 2066004254.6345
11 | 0.12206 | 11999 | 1301 | 34798 | 3370 | 2112997453.673 | 53044896.0659 | 0.025104 | 2059952557.6071
12 | 0.12229 | 13421 | 1422 | 38710 | 3912 | 2112997453.673 | 58714146.3407 | 0.027787 | 2054283307.3323
13 | 0.12255 | 14816 | 1395 | 42662 | 3952 | 2112997453.673 | 65312821.7228 | 0.03091 | 2047684631.9503
14 | 0.12282 | 16193 | 1377 | 46433 | 3771 | 2112997453.673 | 71977789.0091 | 0.034064 | 2041019664.664
15 | 0.12308 | 17612 | 1419 | 50471 | 4038 | 2112997453.673 | 78329538.0663 | 0.03707 | 2034667915.6067
16 | 0.12336 | 18986 | 1374 | 54420 | 3949 | 2112997453.673 | 85159071.7347 | 0.040302 | 2027838381.9384
17 | 0.12363 | 20393 | 1407 | 58612 | 4192 | 2112997453.673 | 91813437.9789 | 0.043452 | 2021184015.6941
18 | 0.12393 | 21748 | 1355 | 62272 | 3660 | 2112997453.673 | 98890318.9837 | 0.046801 | 2014107134.6893
19 | 0.12419 | 23050 | 1302 | 65926 | 3654 | 2112997453.673 | 105051490.9256 | 0.049717 | 2007945962.7475

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 12 | 15 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56 | 112 | 199590.518
2kW_SE | 11 | 20 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57 | 114 | 195806.4206
2kW_SW | 14 | 26 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69 | 138 | 235371.7963
2kW_W | 17 | 23 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63 | 126 | 192036.8337
4kW_S | 0 | 8 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 64 | 114051.7252
4kW_SE | 0 | 12 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 92 | 158019.2156
4kW_SW | 0 | 11 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 96 | 163736.9036
4kW_W | 0 | 15 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 88 | 134120.9631
6kW_S | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 10692.3492
6kW_SE | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 12 | 20611.2021
6kW_SW | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 18 | 30700.6694
6kW_W | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 24 | 36578.4445
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 25 | 44551.4552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 25 | 42639.8186
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Units | 54 | 130 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 6 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 342 | 0 | 0
Total Capacity | 108 | 352 | 376 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 12 | 24 | 0 | 0 | 25 | 25 | 0 | 0 | 0 | 0 | 940 | 0
Total Supply | 180132.6601 | 586928.1229 | 634431.2075 | 0 | 0 | 0 | 0 | 0 | 0 | 29683.7687 | 20095.0409 | 40046.2411 | 0 | 0 | 44551.4552 | 42639.8186 | 0 | 0 | 0 | 0 | 0 | 1578508.315

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 31 | 41 | 60 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 134 | 268 | 477591.5965
2kW_SE | 29 | 44 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 129 | 258 | 443140.8466
2kW_SW | 30 | 54 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 159 | 318 | 542378.487
2kW_W | 48 | 52 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 300 | 457230.5563
4kW_S | 1 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42 | 168 | 299385.7787
4kW_SE | 1 | 24 | 26 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 220 | 377872.0372
4kW_SW | 1 | 22 | 27 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 220 | 375230.4041
4kW_W | 0 | 30 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 220 | 335302.4077
6kW_S | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 12 | 21384.6984
6kW_SE | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 42 | 72139.2075
6kW_SW | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 36 | 61401.3389
6kW_W | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 42 | 64012.2779
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 25 | 44551.4552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 50 | 85279.6372
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 2 | 150 | 255838.9112
Total Units | 141 | 287 | 344 | 3 | 0 | 0 | 0 | 0 | 0 | 4 | 6 | 14 | 0 | 1 | 1 | 1 | 0 | 1 | 3 | 806 | 0 | 0
Total Capacity | 288 | 766 | 922 | 10 | 0 | 0 | 0 | 0 | 0 | 24 | 30 | 52 | 0 | 75 | 25 | 25 | 0 | 75 | 37 | 0 | 2329 | 0
Total Supply | 479578.7647 | 1280426.852 | 1555350.7899 | 17256.8881 | 0 | 0 | 0 | 0 | 0 | 39917.3251 | 48617.8196 | 86470.9851 | 0 | 127919.4556 | 44551.4552 | 42639.8186 | 0 | 127919.4556 | 62090.0308 | 0 | 0 | 3912739.6404

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 55 | 74 | 99 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 232 | 464 | 826875.0029
2kW_SE | 57 | 72 | 91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 220 | 440 | 755744.0794
2kW_SW | 63 | 95 | 110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 272 | 544 | 927842.4432
2kW_W | 67 | 86 | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 242 | 484 | 737665.2976
4kW_S | 3 | 37 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 85 | 340 | 605899.7901
4kW_SE | 1 | 33 | 53 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 94 | 376 | 645817.6636
4kW_SW | 2 | 42 | 49 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 392 | 668592.3564
4kW_W | 1 | 46 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 368 | 560869.4819
6kW_S | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 36 | 64154.0953
6kW_SE | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 9 | 54 | 92750.4096
6kW_SW | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 66 | 112569.1212
6kW_W | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 10 | 60 | 91446.1112
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 3 | 75 | 133654.3656
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3 | 75 | 127919.4558
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 3 | 225 | 383758.3668
Total Units | 249 | 485 | 590 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 8 | 22 | 2 | 1 | 1 | 5 | 0 | 1 | 7 | 1380 | 0 | 0
Total Capacity | 512 | 1286 | 1618 | 10 | 0 | 0 | 0 | 0 | 0 | 36 | 38 | 80 | 12 | 75 | 25 | 116 | 0 | 75 | 116 | 0 | 3999 | 0
Total Supply | 858963.4027 | 2154729.3352 | 2728556.1711 | 17256.8881 | 0 | 0 | 0 | 0 | 0 | 59754.2855 | 62616.4531 | 133435.4081 | 20467.113 | 127919.4556 | 44551.4552 | 198685.4573 | 0 | 127919.4556 | 200703.1604 | 0 | 0 | 6735558.0409

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 85 | 122 | 158 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 371 | 742 | 1322287.1814
2kW_SE | 91 | 122 | 147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 360 | 720 | 1236672.13
2kW_SW | 107 | 145 | 166 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 422 | 844 | 1439520.2612
2kW_W | 99 | 125 | 133 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 359 | 718 | 1094305.1315
4kW_S | 5 | 58 | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 138 | 552 | 983696.1299
4kW_SE | 1 | 58 | 86 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 153 | 612 | 1051171.3036
4kW_SW | 3 | 61 | 83 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 155 | 620 | 1057467.5025
4kW_W | 2 | 63 | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 127 | 508 | 774243.7413
6kW_S | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8 | 48 | 85538.7938
6kW_SE | 0 | 1 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 13 | 78 | 133972.8139
6kW_SW | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 96 | 163736.9036
6kW_W | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 12 | 72 | 109735.3335
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 3 | 75 | 133654.3656
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3 | 75 | 127919.4558
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 75 | 133654.3655
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 2 | 0 | 1 | 0 | 6 | 450 | 767516.7336
Total Units | 393 | 755 | 924 | 3 | 1 | 0 | 0 | 0 | 0 | 8 | 14 | 26 | 4 | 2 | 1 | 7 | 0 | 1 | 8 | 2147 | 0 | 0
Total Capacity | 808 | 1994 | 2538 | 10 | 2 | 0 | 0 | 0 | 0 | 117 | 64 | 94 | 91 | 150 | 25 | 197 | 0 | 75 | 120 | 0 | 6285 | 0
Total Supply | 1357493.6294 | 3352028.6393 | 4286897.2763 | 17256.8881 | 3564.1164 | 0 | 0 | 0 | 0 | 204101.0002 | 107057.6755 | 158384.223 | 155514.8014 | 255838.9112 | 44551.4552 | 336910.514 | 0 | 127919.4556 | 207573.5611 | 0 | 0 | 10615092.1467

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 131 | 187 | 226 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 551 | 1102 | 1963828.132
2kW_SE | 132 | 184 | 197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 514 | 1028 | 1765692.9856
2kW_SW | 158 | 216 | 237 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 616 | 1232 | 2101290.239
2kW_W | 142 | 179 | 201 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 527 | 1054 | 1606403.3546
4kW_S | 6 | 87 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 6 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 201 | 804 | 1432774.7978
4kW_SE | 2 | 86 | 125 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 222 | 888 | 1525228.9503
4kW_SW | 4 | 82 | 120 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 216 | 864 | 1473632.1325
4kW_W | 2 | 92 | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 194 | 776 | 1182703.0379
6kW_S | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 2 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 11 | 66 | 117615.8415
6kW_SE | 0 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 3 | 20 | 120 | 206112.0214
6kW_SW | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 25 | 150 | 255838.9119
6kW_W | 0 | 2 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 3 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 19 | 114 | 173747.6114
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 4 | 100 | 178205.8208
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3 | 75 | 127919.4558
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 150 | 267308.7309
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 3 | 0 | 3 | 0 | 1 | 0 | 10 | 750 | 1279194.5561
Total Units | 577 | 1116 | 1326 | 4 | 1 | 0 | 0 | 0 | 0 | 14 | 21 | 42 | 4 | 4 | 2 | 9 | 1 | 1 | 13 | 3135 | 0 | 0
Total Capacity | 1182 | 2938 | 3646 | 12 | 2 | 0 | 0 | 0 | 0 | 289 | 90 | 164 | 91 | 231 | 31 | 278 | 75 | 75 | 169 | 0 | 9273 | 0
Total Supply | 1988150.4203 | 4940920.5934 | 6149524.8615 | 20305.0918 | 3564.1164 | 0 | 0 | 0 | 0 | 495720.0875 | 150973.8949 | 275924.1969 | 155514.8014 | 392902.9779 | 55243.8044 | 473974.5807 | 133654.3655 | 127919.4556 | 293203.3314 | 0 | 0 | 15657496.5796

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 176 | 271 | 320 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 775 | 1550 | 2762190.2038
2kW_SE | 170 | 285 | 276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 732 | 1464 | 2514566.6643
2kW_SW | 212 | 297 | 318 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 834 | 1668 | 2844928.6678
2kW_W | 208 | 270 | 290 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 773 | 1546 | 2356261.4671
4kW_S | 7 | 117 | 143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 8 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 281 | 1124 | 2003033.4238
4kW_SE | 3 | 114 | 172 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 299 | 1196 | 2054249.8024
4kW_SW | 6 | 117 | 148 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 287 | 1148 | 1958020.4724
4kW_W | 4 | 127 | 132 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 274 | 1096 | 1670415.6309
6kW_S | 0 | 1 | 6 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 3 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 16 | 96 | 171077.5876
6kW_SE | 0 | 2 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 0 | 0 | 0 | 3 | 0 | 0 | 5 | 28 | 168 | 288556.83
6kW_SW | 0 | 0 | 13 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 4 | 4 | 2 | 0 | 1 | 0 | 0 | 0 | 2 | 30 | 180 | 307006.6943
6kW_W | 0 | 2 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 4 | 4 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 25 | 150 | 228615.2781
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 3 | 6 | 150 | 267308.7312
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 4 | 100 | 170559.2743
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 3 | 225 | 400963.0964
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 3 | 0 | 4 | 1 | 2 | 1 | 15 | 1125 | 1918791.8341
Total Units | 786 | 1603 | 1840 | 4 | 1 | 1 | 2 | 0 | 0 | 16 | 25 | 58 | 4 | 4 | 4 | 12 | 3 | 2 | 17 | 4382 | 0 | 0
Total Capacity | 1612 | 4176 | 5034 | 12 | 2 | 6 | 10 | 0 | 0 | 370 | 112 | 228 | 91 | 231 | 62 | 384 | 175 | 150 | 331 | 0 | 12986 | 0
Total Supply | 2704294.9212 | 7020327.5639 | 8486316.1328 | 20305.0918 | 3564.1164 | 10233.5565 | 17514.7202 | 0 | 0 | 633945.1442 | 186319.0446 | 383086.7735 | 155514.8014 | 392902.9779 | 110028.8161 | 654839.456 | 306125.2763 | 255838.9112 | 575388.3546 | 0 | 0 | 21916545.6585

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 219 | 356 | 389 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 974 | 1948 | 3471449.3658
2kW_SE | 211 | 374 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 952 | 1904 | 3270310.7437
2kW_SW | 265 | 369 | 407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1048 | 2096 | 3574922.3547
2kW_W | 260 | 341 | 389 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999 | 1998 | 3045155.5053
4kW_S | 8 | 139 | 186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 9 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 350 | 1400 | 2494881.4888
4kW_SE | 4 | 135 | 221 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 373 | 1492 | 2562659.4525
4kW_SW | 6 | 143 | 194 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 364 | 1456 | 2483343.0382
4kW_W | 7 | 162 | 175 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 358 | 1432 | 2182513.8535
6kW_S | 0 | 1 | 13 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 2 | 3 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 25 | 150 | 267308.7306
6kW_SE | 0 | 3 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 6 | 33 | 198 | 340084.8353
6kW_SW | 0 | 0 | 13 | 1 | 0 | 1 | 0 | 0 | 0 | 5 | 4 | 4 | 2 | 0 | 1 | 1 | 0 | 0 | 3 | 35 | 210 | 358174.4767
6kW_W | 0 | 3 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 5 | 4 | 0 | 1 | 0 | 1 | 0 | 0 | 2 | 35 | 210 | 320061.3893
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 3 | 7 | 175 | 311860.1864
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 2 | 7 | 175 | 298478.7301
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 5 | 375 | 668271.8274
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 3 | 0 | 5 | 1 | 2 | 2 | 17 | 1275 | 2174630.7453
Total Units | 980 | 2026 | 2376 | 7 | 1 | 1 | 3 | 0 | 0 | 23 | 31 | 77 | 4 | 5 | 4 | 15 | 4 | 2 | 23 | 5582 | 0 | 0
Total Capacity | 2010 | 5238 | 6516 | 26 | 2 | 6 | 35 | 0 | 0 | 431 | 138 | 288 | 91 | 256 | 62 | 540 | 200 | 150 | 505 | 0 | 16494 | 0
Total Supply | 3369982.4185 | 8802343.7588 | 10973903.7861 | 44231.4199 | 3564.1164 | 10233.5565 | 60154.5388 | 0 | 0 | 734791.5102 | 230846.9877 | 482467.4469 | 155514.8014 | 435542.7965 | 110028.8161 | 926646.8335 | 350676.7315 | 255838.9112 | 877338.2936 | 0 | 0 | 27824106.7236

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 267 | 451 | 455 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1184 | 2368 | 4219913.8081
2kW_SE | 260 | 453 | 447 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1167 | 2334 | 4008878.8213
2kW_SW | 322 | 462 | 492 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1287 | 2574 | 4390195.678
2kW_W | 313 | 418 | 480 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1223 | 2446 | 3727953.1361
4kW_S | 9 | 170 | 236 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 10 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 433 | 1732 | 3086524.8132
4kW_SE | 5 | 171 | 273 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 465 | 1860 | 3194736.3148
4kW_SW | 8 | 173 | 245 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 5 | 16 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 451 | 1804 | 3076889.3138
4kW_W | 8 | 200 | 218 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 440 | 1760 | 2682419.2613
6kW_S | 0 | 1 | 15 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 2 | 4 | 1 | 0 | 1 | 1 | 0 | 0 | 2 | 30 | 180 | 320770.4767
6kW_SE | 0 | 4 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 0 | 0 | 0 | 4 | 0 | 0 | 6 | 37 | 222 | 381307.2396
6kW_SW | 0 | 0 | 15 | 1 | 0 | 1 | 1 | 0 | 0 | 5 | 5 | 4 | 2 | 0 | 1 | 1 | 0 | 0 | 4 | 40 | 240 | 409342.2591
6kW_W | 0 | 3 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 6 | 6 | 0 | 1 | 0 | 1 | 0 | 0 | 4 | 47 | 282 | 429796.7228
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 2 | 0 | 4 | 10 | 250 | 445514.552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 3 | 0 | 0 | 2 | 8 | 200 | 341118.5487
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 2 | 6 | 450 | 801926.1928
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 3 | 0 | 6 | 1 | 2 | 2 | 19 | 1425 | 2430469.6565
Total Units | 1192 | 2506 | 2911 | 7 | 1 | 1 | 4 | 1 | 1 | 24 | 36 | 94 | 6 | 5 | 4 | 20 | 4 | 2 | 28 | 6847 | 0 | 0
Total Capacity | 2444 | 6472 | 8026 | 26 | 2 | 6 | 41 | 25 | 2 | 506 | 160 | 348 | 172 | 256 | 62 | 675 | 200 | 150 | 554 | 0 | 20127 | 0
Total Supply | 4099116.9733 | 10879217.4315 | 13508393.4054 | 44231.4199 | 3564.1164 | 10233.5565 | 70388.0953 | 44551.4552 | 3411.1855 | 862710.9658 | 267329.1124 | 582669.8948 | 299861.5161 | 435542.7965 | 110028.8161 | 1158885.535 | 350676.7315 | 255838.9112 | 961104.8768 | 0 | 0 | 33947756.7949

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 336 | 526 | 522 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1396 | 2792 | 4975506.4832
2kW_SE | 314 | 547 | 531 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1402 | 2804 | 4816150.9061
2kW_SW | 375 | 543 | 570 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1501 | 3002 | 5120189.365
2kW_W | 370 | 502 | 560 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1447 | 2894 | 4410750.7669
4kW_S | 9 | 207 | 279 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 14 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 518 | 2072 | 3692424.6034
4kW_SE | 7 | 205 | 314 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 549 | 2196 | 3771849.9717
4kW_SW | 9 | 213 | 285 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 18 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 536 | 2144 | 3656790.8474
4kW_W | 10 | 234 | 266 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 528 | 2112 | 3218903.1135
6kW_S | 0 | 3 | 17 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 2 | 4 | 1 | 1 | 1 | 1 | 0 | 0 | 3 | 36 | 216 | 384924.5721
6kW_SE | 0 | 5 | 20 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 5 | 0 | 2 | 0 | 4 | 0 | 0 | 6 | 48 | 288 | 494668.8514
6kW_SW | 0 | 1 | 18 | 1 | 0 | 1 | 1 | 0 | 0 | 5 | 5 | 6 | 2 | 0 | 1 | 2 | 0 | 0 | 6 | 49 | 294 | 501444.2674
6kW_W | 0 | 4 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 6 | 6 | 1 | 1 | 0 | 2 | 0 | 0 | 5 | 54 | 324 | 493809.0007
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 0 | 4 | 12 | 300 | 534617.4624
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 3 | 0 | 0 | 2 | 8 | 200 | 341118.5487
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0 | 3 | 8 | 600 | 1069234.9238
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 1 | 3 | 0 | 6 | 1 | 2 | 2 | 20 | 1500 | 2558389.1121
Total Units | 1430 | 2990 | 3404 | 8 | 3 | 1 | 4 | 1 | 2 | 29 | 39 | 118 | 8 | 8 | 4 | 24 | 4 | 2 | 33 | 8112 | 0 | 0
Total Capacity | 2930 | 7750 | 9404 | 28 | 6 | 6 | 41 | 25 | 8 | 620 | 174 | 438 | 182 | 274 | 62 | 787 | 200 | 150 | 653 | 0 | 23738 | 0
Total Supply | 4917838.2514 | 13030369.5241 | 15821300.2259 | 47666.6203 | 9660.5238 | 10233.5565 | 70388.0953 | 44551.4552 | 13716.7865 | 1058325.1212 | 291327.4851 | 734643.0068 | 315828.4982 | 466846.3479 | 110028.8161 | 1356469.5233 | 350676.7315 | 255838.9112 | 1135063.3155 | 0 | 0 | 40040772.7958

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 387 | 615 | 607 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1624 | 3248 | 5788125.0206
2kW_SE | 361 | 631 | 627 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1630 | 3260 | 5599376.5884
2kW_SW | 431 | 634 | 659 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1738 | 3476 | 5928640.3173
2kW_W | 431 | 582 | 649 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1679 | 3358 | 5117934.0274
4kW_S | 9 | 250 | 339 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 18 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 626 | 2504 | 4462273.7485
4kW_SE | 8 | 244 | 358 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 19 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 642 | 2568 | 4410797.2346
4kW_SW | 10 | 259 | 339 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 19 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 640 | 2560 | 4366317.4298
4kW_W | 14 | 266 | 314 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 613 | 2452 | 3737097.7436
6kW_S | 0 | 3 | 22 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3 | 4 | 1 | 1 | 1 | 2 | 0 | 0 | 3 | 43 | 258 | 459771.0166
6kW_SE | 0 | 5 | 25 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 1 | 5 | 0 | 2 | 1 | 4 | 0 | 0 | 7 | 56 | 336 | 577113.66
6kW_SW | 0 | 2 | 19 | 1 | 0 | 1 | 1 | 0 | 0 | 6 | 7 | 6 | 2 | 1 | 1 | 2 | 0 | 0 | 8 | 57 | 342 | 583312.7192
6kW_W | 0 | 4 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 8 | 8 | 1 | 1 | 0 | 2 | 0 | 0 | 7 | 64 | 384 | 585255.1119
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 3 | 2 | 0 | 4 | 14 | 350 | 623720.3728
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 3 | 0 | 0 | 2 | 8 | 200 | 341118.5487
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0 | 6 | 11 | 825 | 1470198.0202
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 1 | 3 | 1 | 6 | 1 | 4 | 2 | 23 | 1725 | 2942147.479
Total Units | 1651 | 3495 | 3984 | 10 | 5 | 1 | 4 | 1 | 2 | 32 | 46 | 137 | 8 | 10 | 6 | 27 | 4 | 4 | 41 | 9468 | 0 | 0
Total Capacity | 3384 | 9084 | 11036 | 34 | 10 | 6 | 41 | 25 | 8 | 657 | 212 | 510 | 182 | 284 | 143 | 822 | 200 | 300 | 908 | 0 | 27846 | 0
Total Supply | 5676107.8173 | 15284014.1831 | 18571743.9299 | 57537.195 | 16788.7566 | 10233.5565 | 70388.0953 | 44551.4552 | 13716.7865 | 1123415.7339 | 354774.803 | 855915.4494 | 315828.4982 | 483950.3051 | 248253.8728 | 1418535.6987 | 350676.7315 | 511677.8224 | 1585088.3482 | 0 | 0 | 46993199.0386

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 432 | 710 | 690 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 2 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1850 | 3700 | 6593615.3252
2kW_SE | 406 | 703 | 719 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1842 | 3684 | 6327639.065
2kW_SW | 480 | 717 | 732 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1943 | 3886 | 6627933.3352
2kW_W | 480 | 672 | 727 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 2 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1900 | 3800 | 5791587.0471
4kW_S | 12 | 276 | 388 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 19 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 706 | 2824 | 5032532.3745
4kW_SE | 8 | 276 | 407 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 21 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 725 | 2900 | 4981040.4908
4kW_SW | 11 | 288 | 387 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 20 | 1 | 0 | 0 | 3 | 0 | 0 | 0 | 720 | 2880 | 4912107.1085
4kW_W | 16 | 301 | 358 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 16 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 698 | 2792 | 4255292.3736
6kW_S | 0 | 3 | 28 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3 | 6 | 1 | 1 | 1 | 2 | 0 | 0 | 3 | 51 | 306 | 545309.8104
6kW_SE | 0 | 6 | 28 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 1 | 6 | 0 | 2 | 1 | 4 | 0 | 0 | 7 | 61 | 366 | 628641.6653
6kW_SW | 0 | 3 | 21 | 2 | 0 | 1 | 1 | 0 | 0 | 8 | 8 | 7 | 2 | 1 | 1 | 3 | 0 | 0 | 8 | 66 | 396 | 675414.7275
6kW_W | 0 | 4 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 10 | 8 | 1 | 1 | 0 | 3 | 0 | 0 | 7 | 74 | 444 | 676701.2232
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 3 | 2 | 0 | 4 | 14 | 350 | 623720.3728
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 3 | 0 | 0 | 2 | 10 | 250 | 426398.1859
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 0 | 0 | 2 | 1 | 0 | 8 | 15 | 1125 | 2004815.4821
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 1 | 3 | 1 | 6 | 1 | 4 | 2 | 23 | 1725 | 2942147.479
Total Units | 1845 | 3959 | 4517 | 12 | 7 | 1 | 4 | 1 | 2 | 37 | 52 | 151 | 11 | 10 | 7 | 30 | 4 | 4 | 44 | 10698 | 0 | 0
Total Capacity | 3784 | 10264 | 12550 | 42 | 14 | 6 | 41 | 25 | 8 | 683 | 311 | 562 | 286 | 284 | 168 | 838 | 200 | 300 | 1062 | 0 | 31428 | 0
Total Supply | 6347987.0244 | 17264355.4433 | 21122434.9043 | 71205.9518 | 23272.1607 | 10233.5565 | 70388.0953 | 44551.4552 | 13716.7865 | 1165220.2728 | 526612.471 | 945238.7548 | 498219.0897 | 483950.3051 | 290893.6914 | 1444736.2373 | 350676.7315 | 511677.8224 | 1859525.312 | 0 | 0 | 53044896.0659

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 487 | 798 | 773 | 1 | 3 | 0 | 0 | 0 | 0 | 1 | 2 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2078 | 4156 | 7406233.8626
2kW_SE | 474 | 784 | 809 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2083 | 4166 | 7155522.352
2kW_SW | 537 | 810 | 838 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 2 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2201 | 4402 | 7508019.1821
2kW_W | 532 | 739 | 823 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 3 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2119 | 4238 | 6459143.6594
4kW_S | 12 | 293 | 438 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 8 | 21 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 776 | 3104 | 5531508.6722
4kW_SE | 10 | 315 | 458 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 8 | 23 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 820 | 3280 | 5633728.5551
4kW_SW | 11 | 318 | 432 | 3 | 0 | 0 | 1 | 0 | 0 | 1 | 6 | 21 | 1 | 0 | 0 | 3 | 0 | 0 | 0 | 797 | 3188 | 5437429.6742
4kW_W | 17 | 329 | 411 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 18 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 782 | 3128 | 4767390.5962
6kW_S | 0 | 3 | 28 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 5 | 8 | 1 | 1 | 1 | 2 | 1 | 0 | 3 | 56 | 336 | 598771.5565
6kW_SE | 0 | 9 | 29 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 2 | 7 | 0 | 2 | 1 | 5 | 1 | 0 | 7 | 69 | 414 | 711086.4739
6kW_SW | 0 | 5 | 26 | 2 | 0 | 1 | 1 | 0 | 0 | 8 | 8 | 9 | 2 | 1 | 1 | 3 | 0 | 0 | 8 | 75 | 450 | 767516.7358
6kW_W | 0 | 4 | 34 | 1 | 0 | 0 | 0 | 0 | 0 | 9 | 11 | 9 | 1 | 1 | 0 | 3 | 0 | 0 | 8 | 81 | 486 | 740713.501
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 3 | 2 | 0 | 4 | 14 | 350 | 623720.3728
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 3 | 0 | 0 | 2 | 10 | 250 | 426398.1859
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 0 | 0 | 2 | 1 | 0 | 8 | 15 | 1125 | 2004815.4821
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 1 | 3 | 1 | 6 | 1 | 4 | 2 | 23 | 1725 | 2942147.479
Total Units | 2080 | 4407 | 5099 | 13 | 9 | 1 | 4 | 1 | 2 | 40 | 59 | 170 | 11 | 10 | 7 | 31 | 6 | 4 | 45 | 11999 | 0 | 0
Total Capacity | 4260 | 11408 | 14144 | 48 | 18 | 6 | 41 | 25 | 8 | 695 | 345 | 638 | 286 | 284 | 168 | 844 | 212 | 300 | 1068 | 0 | 34798 | 0
Total Supply | 7150388.423 | 19193598.8484 | 23798318.78 | 80350.5629 | 29731.5498 | 10233.5565 | 70388.0953 | 44551.4552 | 13716.7865 | 1184751.3713 | 584494.2189 | 1073495.3412 | 498219.0897 | 483950.3051 | 290893.6914 | 1455041.8383 | 371674.6818 | 511677.8224 | 1868669.9231 | 0 | 0 | 58714146.3407

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 547 | 892 | 870 | 1 | 3 | 0 | 0 | 0 | 0 | 1 | 2 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2330 | 4660 | 8304391.1934
2kW_SE | 535 | 876 | 909 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2339 | 4678 | 8034933.6444
2kW_SW | 608 | 886 | 948 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 2 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2462 | 4924 | 8398338.5853
2kW_W | 609 | 819 | 931 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 3 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2387 | 4774 | 7276062.2534
4kW_S | 14 | 324 | 497 | 2 | 1 | 0 | 0 | 0 | 0 | 2 | 8 | 22 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 874 | 3496 | 6230075.4891
4kW_SE | 11 | 354 | 506 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 8 | 26 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 911 | 3644 | 6258935.0167
4kW_SW | 11 | 347 | 475 | 3 | 0 | 0 | 1 | 0 | 0 | 1 | 6 | 22 | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 871 | 3484 | 5942285.1271
4kW_W | 18 | 365 | 456 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 4 | 20 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 868 | 3472 | 5291681.6336
6kW_S | 0 | 5 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 7 | 10 | 1 | 1 | 1 | 2 | 1 | 0 | 3 | 64 | 384 | 684310.3503
6kW_SE | 0 | 9 | 35 | 0 | 0 | 0 | 1 | 0 | 1 | 5 | 3 | 7 | 1 | 2 | 1 | 5 | 1 | 0 | 7 | 78 | 468 | 803836.8835
6kW_SW | 0 | 6 | 29 | 2 | 0 | 1 | 1 | 0 | 0 | 8 | 9 | 11 | 2 | 1 | 1 | 3 | 0 | 0 | 8 | 82 | 492 | 839151.6311
6kW_W | 0 | 5 | 36 | 1 | 0 | 0 | 0 | 0 | 0 | 9 | 15 | 10 | 1 | 1 | 0 | 3 | 0 | 0 | 8 | 89 | 534 | 813870.39
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 3 | 2 | 0 | 4 | 14 | 350 | 623720.3728
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 3 | 0 | 1 | 2 | 11 | 275 | 469038.0044
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 0 | 0 | 3 | 1 | 0 | 9 | 17 | 1275 | 2272124.213
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 1 | 3 | 1 | 6 | 1 | 4 | 3 | 24 | 1800 | 3070066.9346
Total Units | 2353 | 4888 | 5722 | 16 | 10 | 1 | 5 | 1 | 2 | 41 | 68 | 193 | 12 | 10 | 7 | 33 | 6 | 5 | 48 | 13421 | 0 | 0
Total Capacity | 4814 | 12656 | 15832 | 60 | 22 | 6 | 47 | 25 | 8 | 699 | 397 | 718 | 292 | 284 | 168 | 923 | 212 | 325 | 1222 | 0 | 38710 | 0
Total Supply | 8077911.755 | 21294773.749 | 26642247.9581 | 100703.436 | 36859.7827 | 10233.5565 | 80693.6963 | 44551.4552 | 13716.7865 | 1191879.6042 | 669092.9268 | 1207905.4548 | 508524.6907 | 483950.3051 | 290893.6914 | 1595518.5748 | 371674.6818 | 554317.641 | 2137371.977 | 0 | 0 | 65312821.7228

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 606 | 978 | 983 | 1 | 3 | 0 | 0 | 0 | 0 | 1 | 2 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2589 | 5178 | 9227497.3389
2kW_SE | 612 | 962 | 983 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2577 | 5154 | 8852511.3303
2kW_SW | 667 | 998 | 1059 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 2 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2745 | 5490 | 9363704.0685
2kW_W | 668 | 910 | 1003 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 4 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2615 | 5230 | 7971052.699
4kW_S | 15 | 348 | 550 | 2 | 1 | 0 | 0 | 0 | 0 | 3 | 8 | 25 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 956 | 3824 | 6814590.5807
4kW_SE | 12 | 390 | 557 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 29 | 0 | 1 | 0 | 1 | 0 | 0 | 2 | 1004 | 4016 | 6897882.2797
4kW_SW | 12 | 391 | 517 | 3 | 1 | 0 | 1 | 0 | 0 | 1 | 9 | 26 | 1 | 0 | 0 | 4 | 0 | 0 | 1 | 967 | 3868 | 6597232.7415
4kW_W | 18 | 397 | 494 | 1 | 1 | 0 | 0 | 0 | 0 | 3 | 8 | 24 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 947 | 3788 | 5773297.8192
6kW_S | 0 | 5 | 31 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 7 | 12 | 2 | 2 | 1 | 2 | 1 | 0 | 5 | 71 | 426 | 759156.7949
6kW_SE | 0 | 11 | 37 | 1 | 0 | 0 | 1 | 0 | 1 | 5 | 6 | 7 | 1 | 3 | 1 | 5 | 1 | 0 | 7 | 87 | 522 | 896587.2932
6kW_SW | 0 | 6 | 31 | 2 | 0 | 1 | 1 | 0 | 0 | 8 | 9 | 11 | 2 | 1 | 1 | 3 | 0 | 0 | 8 | 84 | 504 | 859618.7441
6kW_W | 0 | 6 | 42 | 1 | 0 | 0 | 0 | 0 | 0 | 9 | 15 | 11 | 1 | 1 | 0 | 7 | 0 | 0 | 9 | 102 | 612 | 932750.3346
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 3 | 2 | 0 | 4 | 14 | 350 | 623720.3728
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 3 | 0 | 1 | 3 | 13 | 325 | 554317.6416
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 0 | 0 | 3 | 1 | 0 | 9 | 17 | 1275 | 2272124.213
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 2 | 3 | 1 | 8 | 1 | 4 | 3 | 28 | 2100 | 3581744.757
Total Units | 2610 | 5402 | 6287 | 18 | 12 | 1 | 5 | 1 | 2 | 44 | 80 | 217 | 14 | 12 | 7 | 40 | 6 | 5 | 53 | 14816 | 0 | 0
Total Capacity | 5334 | 13968 | 17374 | 68 | 30 | 6 | 47 | 25 | 8 | 782 | 470 | 806 | 373 | 296 | 168 | 1101 | 212 | 325 | 1269 | 0 | 42662 | 0
Total Supply | 8954630.015 | 23499591.4839 | 29250338.3577 | 114057.2408 | 49778.561 | 10233.5565 | 80693.6963 | 44551.4552 | 13716.7865 | 1333797.6933 | 790550.4949 | 1354709.0956 | 647136.4956 | 504948.2553 | 290893.6914 | 1894806.3312 | 371674.6818 | 554317.641 | 2217363.4762 | 0 | 0 | 71977789.0091

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 667 | 1055 | 1077 | 1 | 3 | 0 | 0 | 0 | 0 | 1 | 2 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2822 | 5644 | 10057936.4582
2kW_SE | 655 | 1047 | 1064 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2792 | 5584 | 9591079.4079
2kW_SW | 726 | 1093 | 1143 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 3 | 21 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2990 | 5980 | 10199444.5045
2kW_W | 744 | 994 | 1109 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 5 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2887 | 5774 | 8800164.1079
4kW_S | 16 | 391 | 619 | 2 | 1 | 0 | 0 | 0 | 0 | 3 | 8 | 25 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 1069 | 4276 | 7620080.8899
4kW_SE | 12 | 421 | 601 | 2 | 0 | 0 | 0 | 0 | 0 | 3 | 8 | 31 | 0 | 1 | 0 | 1 | 0 | 0 | 2 | 1082 | 4328 | 7433773.5325
4kW_SW | 13 | 420 | 573 | 3 | 1 | 0 | 1 | 0 | 0 | 1 | 11 | 31 | 1 | 0 | 0 | 4 | 0 | 0 | 1 | 1060 | 4240 | 7231713.243
4kW_W | 18 | 437 | 533 | 1 | 1 | 0 | 2 | 0 | 0 | 3 | 9 | 27 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1032 | 4128 | 6291492.4492
6kW_S | 0 | 5 | 34 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 9 | 12 | 2 | 2 | 1 | 2 | 1 | 0 | 6 | 79 | 474 | 844695.5887
6kW_SE | 0 | 11 | 43 | 1 | 0 | 0 | 1 | 0 | 1 | 6 | 7 | 8 | 2 | 3 | 1 | 6 | 1 | 0 | 8 | 99 | 594 | 1020254.506
6kW_SW | 0 | 7 | 37 | 2 | 0 | 1 | 1 | 0 | 0 | 9 | 10 | 11 | 2 | 1 | 1 | 3 | 0 | 0 | 9 | 94 | 564 | 961954.3088
6kW_W | 0 | 6 | 46 | 2 | 0 | 0 | 0 | 0 | 0 | 10 | 18 | 11 | 1 | 1 | 0 | 8 | 0 | 0 | 9 | 112 | 672 | 1024196.4459
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 3 | 2 | 0 | 5 | 15 | 375 | 668271.828
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 0 | 1 | 1 | 1 | 3 | 0 | 1 | 3 | 14 | 350 | 596957.4602
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 0 | 0 | 3 | 1 | 0 | 10 | 18 | 1350 | 2405778.5785
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 2 | 3 | 1 | 8 | 1 | 4 | 3 | 28 | 2100 | 3581744.757
Total Units | 2851 | 5887 | 6879 | 21 | 14 | 1 | 7 | 1 | 2 | 50 | 93 | 240 | 15 | 12 | 8 | 42 | 6 | 5 | 59 | 16193 | 0 | 0
Total Capacity | 5820 | 15228 | 19050 | 78 | 34 | 6 | 55 | 25 | 8 | 816 | 553 | 876 | 379 | 296 | 170 | 1113 | 212 | 325 | 1389 | 0 | 46433 | 0
Total Supply | 9766628.7578 | 25617567.2503 | 32079114.4954 | 130048.2377 | 56648.9618 | 10233.5565 | 92886.5112 | 44551.4552 | 13716.7865 | 1391736.5611 | 928748.5414 | 1470863.8493 | 657442.0966 | 504948.2553 | 294304.8768 | 1914256.5434 | 371674.6818 | 554317.641 | 2429849.0073 | 0 | 0 | 78329538.0663

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 733 | 1147 | 1159 | 1 | 3 | 0 | 0 | 0 | 0 | 1 | 2 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3062 | 6124 | 10913324.3923
2kW_SE | 701 | 1136 | 1167 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3033 | 6066 | 10418962.6949
2kW_SW | 801 | 1181 | 1234 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 3 | 25 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 3249 | 6498 | 11082941.5368
2kW_W | 798 | 1100 | 1194 | 3 | 5 | 0 | 0 | 0 | 0 | 0 | 5 | 29 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3137 | 6274 | 9562215.0351
4kW_S | 19 | 429 | 681 | 2 | 1 | 0 | 0 | 0 | 0 | 3 | 9 | 27 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 1175 | 4700 | 8375673.5694
4kW_SE | 14 | 458 | 657 | 2 | 0 | 0 | 0 | 0 | 0 | 3 | 9 | 33 | 0 | 1 | 0 | 1 | 0 | 0 | 2 | 1180 | 4720 | 8107072.7989
4kW_SW | 14 | 464 | 619 | 4 | 1 | 0 | 1 | 0 | 0 | 1 | 12 | 34 | 1 | 0 | 0 | 4 | 0 | 0 | 1 | 1156 | 4624 | 7886660.8575
4kW_W | 21 | 471 | 582 | 1 | 1 | 0 | 2 | 0 | 0 | 4 | 10 | 29 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1122 | 4488 | 6840169.1163
6kW_S | 0 | 5 | 36 | 1 | 0 | 0 | 1 | 0 | 0 | 4 | 10 | 13 | 2 | 2 | 1 | 4 | 2 | 0 | 6 | 87 | 522 | 930234.3825
6kW_SE | 0 | 11 | 47 | 1 | 0 | 0 | 1 | 0 | 1 | 7 | 8 | 10 | 2 | 3 | 1 | 6 | 1 | 0 | 9 | 108 | 648 | 1113004.9157
6kW_SW | 0 | 7 | 42 | 2 | 0 | 1 | 1 | 0 | 0 | 10 | 11 | 12 | 2 | 2 | 1 | 4 | 0 | 0 | 9 | 104 | 624 | 1064289.8736
6kW_W | 0 | 6 | 49 | 2 | 0 | 0 | 0 | 0 | 0 | 11 | 19 | 12 | 1 | 1 | 0 | 8 | 0 | 0 | 9 | 118 | 708 | 1079064.1126
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 4 | 3 | 0 | 5 | 17 | 425 | 757374.7384
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 2 | 0 | 1 | 1 | 1 | 3 | 0 | 1 | 3 | 15 | 375 | 639597.2788
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 3 | 0 | 0 | 4 | 1 | 0 | 11 | 21 | 1575 | 2806741.6749
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 2 | 3 | 1 | 8 | 1 | 4 | 3 | 28 | 2100 | 3581744.757
Total Units | 3101 | 6415 | 7467 | 23 | 15 | 1 | 7 | 1 | 2 | 55 | 101 | 263 | 16 | 13 | 8 | 48 | 9 | 5 | 62 | 17612 | 0 | 0
Total Capacity | 6338 | 16590 | 20708 | 88 | 36 | 6 | 55 | 25 | 8 | 863 | 593 | 960 | 454 | 302 | 170 | 1233 | 245 | 325 | 1472 | 0 | 50471 | 0
Total Supply | 10640558.6586 | 27907032.5512 | 34875167.4882 | 147562.9579 | 59697.1655 | 10233.5565 | 92886.5112 | 44551.4552 | 13716.7865 | 1470156.5557 | 996042.0712 | 1612249.5133 | 791096.4621 | 515181.8118 | 294304.8768 | 2127128.8227 | 430329.6717 | 554317.641 | 2576857.1776 | 0 | 0 | 85159071.7347

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 782 | 1227 | 1249 | 1 | 3 | 0 | 0 | 0 | 0 | 1 | 3 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3286 | 6572 | 11711686.4641
2kW_SE | 760 | 1219 | 1254 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3265 | 6530 | 11215929.1787
2kW_SW | 860 | 1259 | 1329 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 3 | 26 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 3482 | 6964 | 11877747.7473
2kW_W | 853 | 1207 | 1307 | 3 | 5 | 0 | 0 | 0 | 0 | 0 | 5 | 33 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3416 | 6832 | 10412663.8699
4kW_S | 20 | 468 | 726 | 2 | 1 | 0 | 0 | 0 | 0 | 3 | 11 | 31 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 1266 | 5064 | 9024342.7565
4kW_SE | 17 | 493 | 713 | 2 | 0 | 0 | 0 | 0 | 0 | 3 | 10 | 35 | 0 | 1 | 0 | 1 | 0 | 0 | 2 | 1277 | 5108 | 8773501.6645
4kW_SW | 14 | 500 | 662 | 4 | 1 | 0 | 1 | 0 | 0 | 1 | 14 | 36 | 1 | 0 | 0 | 4 | 0 | 0 | 1 | 1239 | 4956 | 8452917.6492
4kW_W | 22 | 511 | 628 | 1 | 1 | 0 | 2 | 0 | 0 | 4 | 11 | 29 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1210 | 4840 | 7376652.9685
6kW_S | 0 | 8 | 36 | 1 | 0 | 0 | 1 | 0 | 0 | 4 | 11 | 15 | 3 | 3 | 1 | 4 | 2 | 0 | 6 | 95 | 570 | 1015773.1763
6kW_SE | 0 | 11 | 52 | 1 | 0 | 0 | 1 | 0 | 2 | 7 | 11 | 13 | 2 | 3 | 1 | 7 | 1 | 0 | 10 | 122 | 732 | 1257283.3307
6kW_SW | 0 | 7 | 46 | 2 | 0 | 1 | 1 | 0 | 0 | 10 | 12 | 14 | 2 | 2 | 1 | 5 | 0 | 0 | 10 | 113 | 678 | 1156391.8819
6kW_W | 0 | 8 | 54 | 2 | 0 | 0 | 0 | 0 | 0 | 12 | 21 | 12 | 1 | 2 | 0 | 8 | 0 | 0 | 9 | 129 | 774 | 1179654.835
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 4 | 4 | 0 | 5 | 18 | 450 | 801926.1936
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 2 | 0 | 1 | 1 | 1 | 3 | 0 | 1 | 3 | 15 | 375 | 639597.2788
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 3 | 0 | 0 | 5 | 1 | 0 | 13 | 24 | 1800 | 3207704.7713
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 2 | 3 | 1 | 8 | 2 | 4 | 3 | 29 | 2175 | 3709664.2126
Total Units | 3328 | 6918 | 8056 | 23 | 15 | 1 | 7 | 1 | 3 | 56 | 115 | 290 | 17 | 15 | 8 | 51 | 11 | 5 | 66 | 18986 | 0 | 0
Total Capacity | 6802 | 17916 | 22322 | 88 | 36 | 6 | 55 | 25 | 14 | 869 | 661 | 1058 | 460 | 314 | 170 | 1320 | 345 | 325 | 1634 | 0 | 54420 | 0
Total Supply | 11420624.1711 | 30127806.7804 | 37580804.9272 | 147562.9579 | 59697.1655 | 10233.5565 | 92886.5112 | 44551.4552 | 24022.3876 | 1479301.1669 | 1110606.1344 | 1781082.6695 | 801788.8113 | 535018.7722 | 294304.8768 | 2281322.3457 | 602800.5825 | 554317.641 | 2864705.0661 | 0 | 0 | 91813437.9789

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 828 | 1317 | 1339 | 1 | 3 | 0 | 0 | 0 | 0 | 1 | 3 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3512 | 7024 | 12517176.7687
2kW_SE | 821 | 1305 | 1357 | 4 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3517 | 7034 | 12081599.6696
2kW_SW | 917 | 1363 | 1412 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 3 | 31 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 3732 | 7464 | 12730544.1106
2kW_W | 919 | 1287 | 1403 | 3 | 5 | 0 | 0 | 0 | 0 | 0 | 5 | 34 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3659 | 7318 | 11153377.3712
4kW_S | 22 | 507 | 771 | 2 | 1 | 0 | 1 | 0 | 0 | 4 | 11 | 32 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 1356 | 5424 | 9665883.7107
4kW_SE | 19 | 533 | 767 | 2 | 0 | 0 | 0 | 0 | 0 | 3 | 12 | 37 | 0 | 1 | 0 | 1 | 0 | 0 | 2 | 1377 | 5508 | 9460541.7322
4kW_SW | 15 | 542 | 710 | 4 | 2 | 0 | 1 | 0 | 0 | 1 | 15 | 40 | 1 | 0 | 0 | 4 | 0 | 0 | 1 | 1336 | 5344 | 9114687.6346
4kW_W | 26 | 541 | 690 | 1 | 1 | 0 | 2 | 0 | 0 | 4 | 11 | 30 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1307 | 5228 | 7968004.4875
6kW_S | 0 | 11 | 40 | 1 | 0 | 0 | 1 | 0 | 0 | 5 | 11 | 15 | 3 | 3 | 1 | 5 | 2 | 0 | 7 | 105 | 630 | 1122696.6685
6kW_SE | 0 | 12 | 55 | 1 | 0 | 0 | 1 | 0 | 2 | 8 | 12 | 13 | 2 | 3 | 1 | 7 | 1 | 0 | 10 | 128 | 768 | 1319116.9371
6kW_SW | 0 | 8 | 57 | 2 | 0 | 1 | 1 | 0 | 0 | 11 | 13 | 14 | 2 | 2 | 1 | 5 | 0 | 0 | 10 | 127 | 762 | 1299661.6726
6kW_W | 0 | 9 | 60 | 2 | 0 | 1 | 0 | 0 | 0 | 12 | 23 | 13 | 1 | 2 | 0 | 10 | 0 | 0 | 10 | 143 | 858 | 1307679.3907
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 4 | 4 | 0 | 5 | 18 | 450 | 801926.1936
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 2 | 0 | 1 | 3 | 1 | 3 | 0 | 2 | 3 | 18 | 450 | 767516.7345
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 0 | 0 | 6 | 1 | 1 | 13 | 28 | 2100 | 3742322.2332
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 2 | 3 | 1 | 8 | 3 | 4 | 3 | 30 | 2250 | 3837583.6682
Total Units | 3567 | 7435 | 8661 | 25 | 16 | 2 | 8 | 1 | 3 | 61 | 123 | 306 | 17 | 17 | 8 | 55 | 12 | 7 | 69 | 20393 | 0 | 0
Total Capacity | 7298 | 19276 | 24046 | 92 | 40 | 12 | 59 | 25 | 14 | 966 | 772 | 1110 | 460 | 364 | 170 | 1413 | 420 | 425 | 1650 | 0 | 58612 | 0
Total Supply | 12248945.0304 | 32426633.7979 | 40469503.1569 | 154409.3437 | 66519.5365 | 19378.1676 | 100014.744 | 44551.4552 | 24022.3876 | 1651315.2719 | 1303652.0521 | 1868021.5375 | 801788.8113 | 620298.4093 | 294304.8768 | 2443958.2826 | 730720.0381 | 730611.8251 | 2891670.2592 | 0 | 0 | 98890318.9837

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 884 | 1401 | 1422 | 1 | 3 | 0 | 0 | 0 | 0 | 1 | 5 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3738 | 7476 | 13322667.0733
2kW_SE | 885 | 1394 | 1445 | 4 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3760 | 7520 | 12916353.3574
2kW_SW | 985 | 1446 | 1500 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 3 | 31 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 3971 | 7942 | 13545817.4339
2kW_W | 976 | 1376 | 1494 | 3 | 5 | 0 | 0 | 0 | 0 | 0 | 5 | 35 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3897 | 7794 | 11878849.854
4kW_S | 25 | 542 | 823 | 2 | 1 | 0 | 1 | 0 | 0 | 4 | 11 | 33 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 1447 | 5788 | 10314552.8978
4kW_SE | 22 | 571 | 815 | 2 | 0 | 0 | 0 | 0 | 0 | 3 | 13 | 37 | 0 | 1 | 0 | 1 | 0 | 0 | 2 | 1467 | 5868 | 10078877.7932
4kW_SW | 18 | 571 | 762 | 5 | 2 | 0 | 1 | 0 | 0 | 2 | 15 | 40 | 1 | 0 | 0 | 4 | 0 | 0 | 1 | 1422 | 5688 | 9701411.5392
4kW_W | 27 | 579 | 743 | 2 | 1 | 0 | 3 | 0 | 0 | 4 | 11 | 31 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1402 | 5608 | 8547163.1916
6kW_S | 0 | 11 | 47 | 1 | 0 | 0 | 2 | 0 | 0 | 5 | 14 | 15 | 4 | 3 | 1 | 5 | 2 | 0 | 9 | 119 | 714 | 1272389.5577
6kW_SE | 0 | 13 | 56 | 1 | 0 | 0 | 1 | 0 | 2 | 13 | 13 | 16 | 2 | 3 | 1 | 7 | 1 | 0 | 10 | 139 | 834 | 1432478.5489
6kW_SW | 0 | 9 | 63 | 2 | 0 | 1 | 1 | 0 | 0 | 11 | 13 | 16 | 2 | 3 | 1 | 6 | 1 | 0 | 11 | 140 | 840 | 1432697.9068
6kW_W | 0 | 9 | 61 | 2 | 0 | 1 | 1 | 0 | 0 | 14 | 24 | 14 | 1 | 2 | 0 | 11 | 0 | 0 | 10 | 150 | 900 | 1371691.6686
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 4 | 4 | 0 | 6 | 19 | 475 | 846477.6488
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 2 | 0 | 1 | 3 | 1 | 3 | 1 | 2 | 3 | 19 | 475 | 810156.5531
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 0 | 0 | 6 | 1 | 1 | 13 | 28 | 2100 | 3742322.2332
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 2 | 3 | 1 | 8 | 3 | 4 | 3 | 30 | 2250 | 3837583.6682
Total Units | 3822 | 7922 | 9231 | 27 | 16 | 2 | 11 | 1 | 3 | 69 | 131 | 318 | 18 | 18 | 8 | 57 | 14 | 7 | 73 | 21748 | 0 | 0
Total Capacity | 7828 | 20538 | 25656 | 100 | 40 | 12 | 75 | 25 | 14 | 1012 | 810 | 1162 | 466 | 370 | 170 | 1425 | 451 | 425 | 1693 | 0 | 62272 | 0
Total Supply | 13142656.0146 | 34546785.702 | 43179211.5256 | 167328.1221 | 66519.5365 | 19378.1676 | 125948.1118 | 44551.4552 | 24022.3876 | 1727954.8705 | 1369177.9454 | 1955257.4258 | 812481.1606 | 630531.9658 | 294304.8768 | 2463336.4502 | 783593.4131 | 730611.8251 | 2967839.9694 | 0 | 0 | 105051490.9256

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 946 | 1493 | 1506 | 1 | 3 | 0 | 0 | 0 | 0 | 1 | 5 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3977 | 7954 | 14174490.891
2kW_SE | 934 | 1486 | 1546 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4004 | 8008 | 13754542.2454
2kW_SW | 1026 | 1542 | 1595 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 4 | 34 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 4207 | 8414 | 14350857.2008
2kW_W | 1025 | 1456 | 1574 | 3 | 5 | 0 | 0 | 0 | 0 | 0 | 6 | 35 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 4107 | 8214 | 12518972.6329
4kW_S | 25 | 561 | 873 | 2 | 1 | 0 | 1 | 0 | 0 | 4 | 11 | 34 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 1517 | 6068 | 10813529.1955
4kW_SE | 23 | 600 | 852 | 2 | 0 | 0 | 0 | 0 | 0 | 3 | 13 | 40 | 0 | 1 | 0 | 1 | 0 | 0 | 2 | 1537 | 6148 | 10559805.8405
4kW_SW | 20 | 609 | 809 | 5 | 2 | 0 | 1 | 0 | 0 | 2 | 15 | 46 | 1 | 0 | 0 | 4 | 0 | 0 | 1 | 1515 | 6060 | 10335892.0408
4kW_W | 27 | 619 | 791 | 2 | 1 | 0 | 3 | 0 | 0 | 4 | 11 | 38 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1497 | 5988 | 9126321.8958
6kW_S | 0 | 12 | 50 | 1 | 0 | 0 | 2 | 0 | 0 | 5 | 18 | 16 | 4 | 3 | 1 | 5 | 2 | 1 | 10 | 130 | 780 | 1390005.3991
6kW_SE | 0 | 15 | 60 | 1 | 0 | 0 | 1 | 1 | 2 | 13 | 14 | 17 | 2 | 4 | 2 | 7 | 1 | 0 | 11 | 151 | 906 | 1556145.7617
6kW_SW | 0 | 10 | 68 | 2 | 0 | 1 | 1 | 0 | 0 | 12 | 13 | 16 | 2 | 3 | 1 | 6 | 2 | 0 | 11 | 148 | 888 | 1514566.3586
6kW_W | 0 | 9 | 66 | 2 | 0 | 1 | 1 | 0 | 0 | 15 | 24 | 14 | 1 | 2 | 0 | 12 | 0 | 0 | 11 | 158 | 948 | 1444848.5576
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 5 | 4 | 0 | 6 | 21 | 525 | 935580.5592
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3 | 0 | 1 | 3 | 1 | 3 | 1 | 2 | 4 | 21 | 525 | 895436.1903
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 0 | 0 | 6 | 1 | 1 | 13 | 28 | 2100 | 3742322.2332
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 2 | 3 | 1 | 9 | 3 | 4 | 4 | 32 | 2400 | 4093422.5794
Total Units | 4026 | 8412 | 9790 | 27 | 17 | 2 | 12 | 2 | 3 | 71 | 139 | 342 | 18 | 19 | 9 | 60 | 15 | 8 | 78 | 23050 | 0 | 0
Total Capacity | 8242 | 21786 | 27206 | 100 | 42 | 12 | 100 | 31 | 14 | 1024 | 869 | 1252 | 466 | 376 | 176 | 1531 | 457 | 431 | 1811 | 0 | 65926 | 0
Total Supply | 13841691.7765 | 36641374.4885 | 45787557.202 | 167328.1221 | 69954.7368 | 19378.1676 | 170499.567 | 54857.0563 | 24022.3876 | 1747333.0381 | 1471352.1511 | 2104836.7619 | 812481.1606 | 640837.5669 | 304610.4779 | 2644951.9722 | 793826.9696 | 741304.1743 | 3168541.805 | 0 | 0 | 111206739.5819