## Summary
Ticks to run | 20
Initial price | 0.12
Solar PV cost | 3500
Capacity factor | 0.2
neighborhood effect | 0.1
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.12 | 356 | 356 | 1111 | 1111 | 2112997453.673 | 0 | 0 | 2112997453.673
1 | 0.12007 | 817 | 461 | 2283 | 1172 | 2112997453.673 | 1884030.1885 | 0.00089164 | 2111113423.4845
2 | 0.12015 | 1423 | 606 | 3977 | 1694 | 2112997453.673 | 3857148.8982 | 0.0018254 | 2109140304.7748
3 | 0.12025 | 2185 | 762 | 6234 | 2257 | 2112997453.673 | 6712948.602 | 0.003177 | 2106284505.0711
4 | 0.1204 | 3190 | 1005 | 9261 | 3027 | 2112997453.673 | 10525567.2105 | 0.0049813 | 2102471886.4625
5 | 0.1206 | 4413 | 1223 | 12566 | 3305 | 2112997453.673 | 15641727.9519 | 0.0074026 | 2097355725.7211
6 | 0.12081 | 5680 | 1267 | 16085 | 3519 | 2112997453.673 | 21202571.2934 | 0.010034 | 2091794882.3796
7 | 0.12104 | 7006 | 1326 | 19941 | 3856 | 2112997453.673 | 27143021.4743 | 0.012846 | 2085854432.1987
8 | 0.1213 | 8267 | 1261 | 23503 | 3562 | 2112997453.673 | 33668897.9335 | 0.015934 | 2079328555.7396
9 | 0.12153 | 9628 | 1361 | 27372 | 3869 | 2112997453.673 | 39670020.095 | 0.018774 | 2073327433.578
10 | 0.12179 | 10969 | 1341 | 31053 | 3681 | 2112997453.673 | 46190385.4029 | 0.02186 | 2066807068.2701
11 | 0.12203 | 12346 | 1377 | 35393 | 4340 | 2112997453.673 | 52404021.5074 | 0.024801 | 2060593432.1657
12 | 0.12233 | 13751 | 1405 | 39334 | 3941 | 2112997453.673 | 59756866.0173 | 0.028281 | 2053240587.6557
13 | 0.1226 | 15125 | 1374 | 43355 | 4021 | 2112997453.673 | 66404118.1233 | 0.031427 | 2046593335.5497
14 | 0.12287 | 16532 | 1407 | 47405 | 4050 | 2112997453.673 | 73187253.9392 | 0.034637 | 2039810199.7338
15 | 0.12315 | 17910 | 1378 | 51421 | 4016 | 2112997453.673 | 80028554.2532 | 0.037874 | 2032968899.4199
16 | 0.12343 | 19294 | 1384 | 55399 | 3978 | 2112997453.673 | 86818668.8455 | 0.041088 | 2026178784.8275
17 | 0.12371 | 20717 | 1423 | 59535 | 4136 | 2112997453.673 | 93535971.6509 | 0.044267 | 2019461482.0221
18 | 0.124 | 22050 | 1333 | 63644 | 4109 | 2112997453.673 | 100527023.3054 | 0.047576 | 2012470430.3676
19 | 0.12429 | 23338 | 1288 | 67374 | 3730 | 2112997453.673 | 107477288.4306 | 0.050865 | 2005520165.2425

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 15 | 24 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64 | 128 | 228103.4491
2kW_SE | 8 | 19 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58 | 116 | 199241.6209
2kW_SW | 20 | 24 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66 | 132 | 225138.2399
2kW_W | 13 | 19 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57 | 114 | 173747.6114
4kW_S | 0 | 5 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 80 | 142564.6565
4kW_SE | 1 | 10 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 108 | 185500.8183
4kW_SW | 1 | 13 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 128 | 218315.8715
4kW_W | 0 | 11 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 88 | 134120.9631
6kW_S | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 18 | 32077.0477
6kW_SE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 10305.6011
6kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 18 | 30700.6694
6kW_W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 25 | 42639.8186
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 75 | 133654.3655
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 75 | 127919.4556
Total Units | 58 | 125 | 157 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 4 | 5 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 356 | 0 | 0
Total Capacity | 120 | 328 | 424 | 0 | 0 | 0 | 0 | 0 | 6 | 16 | 22 | 20 | 0 | 0 | 75 | 0 | 0 | 0 | 100 | 0 | 1111 | 0
Total Supply | 202486.4777 | 550688.3968 | 717544.1144 | 0 | 0 | 0 | 0 | 0 | 10692.3492 | 26563.5204 | 38101.9074 | 33739.7829 | 0 | 0 | 127919.4556 | 0 | 0 | 0 | 176294.1841 | 0 | 0 | 1884030.1885

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 37 | 50 | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 153 | 306 | 545309.808
2kW_SE | 29 | 48 | 63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 141 | 282 | 484363.2509
2kW_SW | 40 | 56 | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 156 | 312 | 532144.9307
2kW_W | 28 | 49 | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 136 | 272 | 414555.7044
4kW_S | 0 | 17 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48 | 192 | 342155.1756
4kW_SE | 2 | 16 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 184 | 316038.4311
4kW_SW | 1 | 28 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 284 | 484388.3399
4kW_W | 1 | 23 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 204 | 310916.778
6kW_S | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5 | 30 | 53461.7461
6kW_SE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 12 | 20611.2021
6kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 18 | 30700.6694
6kW_W | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 12 | 18289.2222
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 25 | 42639.8186
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 75 | 133654.3655
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 75 | 127919.4556
Total Units | 138 | 287 | 366 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 5 | 12 | 0 | 0 | 1 | 2 | 0 | 0 | 2 | 817 | 0 | 0
Total Capacity | 284 | 742 | 982 | 0 | 0 | 0 | 0 | 0 | 6 | 16 | 26 | 40 | 0 | 0 | 75 | 12 | 0 | 0 | 100 | 0 | 2283 | 0
Total Supply | 479949.8187 | 1245833.9309 | 1654874.3106 | 0 | 0 | 0 | 0 | 0 | 10692.3492 | 26563.5204 | 44924.2784 | 69099.1 | 0 | 0 | 127919.4556 | 20997.9503 | 0 | 0 | 176294.1841 | 0 | 0 | 3857148.8982

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 66 | 80 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 244 | 488 | 869644.3996
2kW_SE | 54 | 94 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245 | 490 | 841624.0884
2kW_SW | 78 | 95 | 109 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 283 | 566 | 965365.4832
2kW_W | 52 | 87 | 102 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 242 | 484 | 737665.2976
4kW_S | 1 | 34 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 368 | 655797.4199
4kW_SE | 2 | 28 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82 | 328 | 563372.8555
4kW_SW | 1 | 39 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106 | 424 | 723171.3243
4kW_W | 2 | 41 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95 | 380 | 579158.7041
6kW_S | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 36 | 64154.0953
6kW_SE | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 9 | 54 | 92750.4096
6kW_SW | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 54 | 92102.0083
6kW_W | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 30 | 45723.0556
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 25 | 44551.4552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 25 | 42639.8186
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 150 | 267308.7309
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 75 | 127919.4556
Total Units | 256 | 500 | 620 | 0 | 1 | 0 | 1 | 0 | 1 | 4 | 11 | 20 | 1 | 1 | 2 | 2 | 0 | 0 | 3 | 1423 | 0 | 0
Total Capacity | 524 | 1292 | 1696 | 0 | 2 | 0 | 6 | 0 | 6 | 22 | 58 | 72 | 6 | 75 | 100 | 12 | 0 | 0 | 106 | 0 | 3977 | 0
Total Supply | 885195.7796 | 2168517.9062 | 2848914.3199 | 0 | 3048.2037 | 0 | 10305.6011 | 0 | 10692.3492 | 36797.0768 | 100789.8965 | 124658.8561 | 10305.6011 | 133654.3655 | 172470.9108 | 20997.9503 | 0 | 0 | 186599.7851 | 0 | 0 | 6712948.602

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 94 | 127 | 141 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 367 | 734 | 1308030.7159
2kW_SE | 91 | 148 | 158 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 802 | 1377515.3448
2kW_SW | 114 | 146 | 155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 417 | 834 | 1422464.3339
2kW_W | 88 | 130 | 150 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 370 | 740 | 1127835.3723
4kW_S | 4 | 57 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 137 | 548 | 976567.897
4kW_SE | 3 | 49 | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 132 | 528 | 906892.8894
4kW_SW | 2 | 51 | 90 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 600 | 1023355.6476
4kW_W | 4 | 55 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 154 | 616 | 938846.7414
6kW_S | 0 | 0 | 4 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 10 | 60 | 106923.4922
6kW_SE | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 10 | 60 | 103056.0107
6kW_SW | 0 | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 102 | 173970.4601
6kW_W | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 10 | 60 | 91446.1112
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 25 | 44551.4552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 3 | 75 | 127919.4558
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 5 | 375 | 668271.8274
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 75 | 127919.4556
Total Units | 400 | 765 | 944 | 1 | 2 | 0 | 2 | 0 | 1 | 6 | 14 | 34 | 2 | 1 | 2 | 4 | 1 | 1 | 5 | 2185 | 0 | 0
Total Capacity | 826 | 1962 | 2608 | 4 | 4 | 0 | 12 | 0 | 6 | 122 | 145 | 120 | 12 | 75 | 100 | 41 | 6 | 6 | 185 | 0 | 6234 | 0
Total Supply | 1391901.7467 | 3302021.3385 | 4369535.2344 | 6822.371 | 6612.3201 | 0 | 20997.9503 | 0 | 10692.3492 | 213091.2609 | 254911.3749 | 204976.0655 | 20539.1575 | 133654.3655 | 172470.9108 | 70508.1696 | 10305.6011 | 9144.6111 | 327382.3834 | 0 | 0 | 10525567.2105

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 133 | 196 | 199 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 534 | 1068 | 1903238.1533
2kW_SE | 132 | 213 | 221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 572 | 1144 | 1964934.6065
2kW_SW | 155 | 224 | 217 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 599 | 1198 | 2043300.0863
2kW_W | 129 | 192 | 225 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 550 | 1100 | 1676512.0399
4kW_S | 5 | 82 | 110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 209 | 836 | 1489800.6604
4kW_SE | 5 | 73 | 114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 9 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 204 | 816 | 1401561.7381
4kW_SW | 3 | 75 | 122 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 211 | 844 | 1439520.2776
4kW_W | 6 | 82 | 116 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 217 | 868 | 1322920.4084
6kW_S | 0 | 0 | 10 | 0 | 0 | 0 | 2 | 0 | 1 | 1 | 3 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 20 | 120 | 213846.9845
6kW_SE | 0 | 1 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5 | 2 | 1 | 0 | 0 | 2 | 1 | 0 | 2 | 18 | 108 | 185500.8193
6kW_SW | 0 | 4 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 2 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 24 | 144 | 245605.3554
6kW_W | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 15 | 90 | 137169.1669
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 3 | 75 | 133654.3656
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 4 | 100 | 170559.2743
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 3 | 6 | 450 | 801926.1928
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 4 | 300 | 511677.8224
Total Units | 568 | 1142 | 1359 | 2 | 3 | 0 | 3 | 0 | 1 | 7 | 22 | 54 | 3 | 1 | 2 | 10 | 2 | 2 | 9 | 3190 | 0 | 0
Total Capacity | 1174 | 2928 | 3782 | 6 | 8 | 0 | 18 | 0 | 6 | 128 | 204 | 198 | 18 | 75 | 100 | 159 | 81 | 31 | 345 | 0 | 9261 | 0
Total Supply | 1976464.6764 | 4928502.543 | 6351266.5211 | 10233.5564 | 13434.6911 | 0 | 31690.2995 | 0 | 10692.3492 | 223783.6101 | 355280.9272 | 333878.4863 | 31231.5068 | 133654.3655 | 172470.9108 | 273775.8093 | 138225.0567 | 51784.4297 | 605358.213 | 0 | 0 | 15641727.952

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 180 | 268 | 282 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 736 | 1472 | 2623189.6645
2kW_SE | 180 | 298 | 307 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 791 | 1582 | 2717243.4856
2kW_SW | 211 | 309 | 307 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 833 | 1666 | 2841517.4823
2kW_W | 182 | 263 | 317 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 767 | 1534 | 2337972.2448
4kW_S | 7 | 114 | 152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 286 | 1144 | 2038674.588
4kW_SE | 6 | 100 | 159 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 3 | 13 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 284 | 1136 | 1951193.7923
4kW_SW | 4 | 106 | 167 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 15 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 296 | 1184 | 2019421.8113
4kW_W | 7 | 120 | 157 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 301 | 1204 | 1835018.631
6kW_S | 0 | 1 | 12 | 0 | 0 | 0 | 2 | 0 | 1 | 1 | 5 | 2 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 26 | 156 | 278001.0798
6kW_SE | 0 | 1 | 9 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 5 | 2 | 1 | 1 | 0 | 2 | 1 | 0 | 2 | 26 | 156 | 267945.6278
6kW_SW | 0 | 4 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 2 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 29 | 174 | 296773.1378
6kW_W | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 18 | 108 | 164603.0002
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 3 | 75 | 133654.3656
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 6 | 150 | 255838.9115
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 3 | 6 | 450 | 801926.1928
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 1 | 5 | 375 | 639597.278
Total Units | 777 | 1584 | 1895 | 2 | 4 | 0 | 4 | 1 | 2 | 9 | 27 | 74 | 3 | 2 | 2 | 13 | 2 | 2 | 10 | 4413 | 0 | 0
Total Capacity | 1602 | 4072 | 5248 | 6 | 10 | 0 | 43 | 6 | 10 | 138 | 249 | 274 | 18 | 81 | 100 | 246 | 81 | 31 | 351 | 0 | 12566 | 0
Total Supply | 2695494.5908 | 6850937.7808 | 8818533.6374 | 10233.5564 | 16845.8765 | 0 | 74330.1181 | 9144.6111 | 17562.7499 | 240959.6119 | 432272.2523 | 461919.4357 | 31231.5068 | 143959.9665 | 172470.9108 | 421073.4325 | 138225.0567 | 51784.4297 | 615591.7695 | 0 | 0 | 21202571.2934

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 233 | 352 | 368 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 962 | 1924 | 3428679.9691
2kW_SE | 236 | 383 | 388 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1014 | 2028 | 3483293.1661
2kW_SW | 273 | 385 | 400 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1067 | 2134 | 3639734.8784
2kW_W | 240 | 341 | 399 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 992 | 1984 | 3023818.0793
4kW_S | 8 | 147 | 205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 374 | 1496 | 2665959.0766
4kW_SE | 7 | 131 | 201 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 3 | 15 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 360 | 1440 | 2473344.2437
4kW_SW | 5 | 139 | 216 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 17 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 383 | 1532 | 2612968.0869
4kW_W | 7 | 141 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 373 | 1492 | 2273959.9647
6kW_S | 0 | 1 | 13 | 1 | 0 | 0 | 2 | 0 | 1 | 1 | 7 | 3 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 32 | 192 | 342155.1752
6kW_SE | 0 | 2 | 10 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 7 | 3 | 1 | 1 | 0 | 2 | 1 | 0 | 3 | 33 | 198 | 340084.8353
6kW_SW | 0 | 4 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 3 | 3 | 1 | 1 | 0 | 3 | 1 | 0 | 1 | 37 | 222 | 378641.5896
6kW_W | 0 | 2 | 16 | 1 | 0 | 0 | 0 | 1 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 1 | 28 | 168 | 256049.1115
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 5 | 125 | 222757.276
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 7 | 175 | 298478.7301
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | 7 | 525 | 935580.5583
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 1 | 0 | 1 | 6 | 450 | 767516.7336
Total Units | 1009 | 2028 | 2432 | 4 | 6 | 0 | 4 | 1 | 3 | 14 | 36 | 97 | 3 | 3 | 2 | 19 | 3 | 4 | 12 | 5680 | 0 | 0
Total Capacity | 2072 | 5208 | 6728 | 18 | 14 | 0 | 43 | 6 | 12 | 166 | 310 | 354 | 18 | 87 | 100 | 387 | 87 | 112 | 363 | 0 | 16085 | 0
Total Supply | 3485874.2975 | 8769297.2978 | 11312419.1458 | 30070.5168 | 23329.2806 | 0 | 74330.1181 | 9144.6111 | 21126.8663 | 286610.3627 | 536592.0009 | 592402.9599 | 31231.5068 | 154193.523 | 172470.9108 | 664296.3371 | 148458.6132 | 196131.1444 | 635041.9817 | 0 | 0 | 27143021.4743

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 289 | 430 | 473 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1202 | 2404 | 4284067.9032
2kW_SE | 291 | 462 | 475 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1239 | 2478 | 4256213.2473
2kW_SW | 325 | 473 | 502 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1310 | 2620 | 4468652.9434
2kW_W | 285 | 437 | 475 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1210 | 2420 | 3688326.4879
4kW_S | 11 | 185 | 258 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 471 | 1884 | 3357397.6606
4kW_SE | 8 | 161 | 252 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 3 | 17 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 445 | 1780 | 3057328.3013
4kW_SW | 6 | 175 | 263 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 19 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 469 | 1876 | 3199691.9915
4kW_W | 8 | 172 | 252 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 460 | 1840 | 2804347.4095
6kW_S | 0 | 1 | 19 | 1 | 0 | 0 | 3 | 0 | 1 | 1 | 7 | 4 | 1 | 0 | 1 | 2 | 0 | 1 | 2 | 44 | 264 | 470463.3659
6kW_SE | 0 | 5 | 11 | 0 | 0 | 0 | 1 | 0 | 1 | 2 | 8 | 3 | 1 | 2 | 0 | 3 | 2 | 0 | 4 | 43 | 258 | 443140.8461
6kW_SW | 0 | 5 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 3 | 3 | 1 | 1 | 0 | 3 | 2 | 0 | 1 | 45 | 270 | 460510.0415
6kW_W | 0 | 2 | 21 | 1 | 0 | 0 | 0 | 1 | 0 | 3 | 3 | 1 | 0 | 0 | 0 | 3 | 0 | 1 | 1 | 37 | 222 | 338350.6116
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 6 | 150 | 267308.7312
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 8 | 200 | 341118.5487
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 5 | 10 | 750 | 1336543.6547
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 3 | 1 | 0 | 1 | 7 | 525 | 895436.1892
Total Units | 1223 | 2508 | 3023 | 5 | 7 | 0 | 6 | 1 | 4 | 17 | 38 | 113 | 3 | 4 | 3 | 23 | 6 | 4 | 18 | 7006 | 0 | 0
Total Capacity | 2512 | 6454 | 8388 | 22 | 16 | 0 | 53 | 6 | 18 | 272 | 322 | 410 | 18 | 93 | 106 | 480 | 124 | 112 | 535 | 0 | 19941 | 0
Total Supply | 4230125.5233 | 10864220.2933 | 14112553.6833 | 37198.7496 | 26764.481 | 0 | 91892.868 | 9144.6111 | 31432.4674 | 468225.8846 | 556042.2131 | 686403.8507 | 31231.5068 | 164499.1241 | 183163.26 | 828093.264 | 211637.5893 | 196131.1444 | 940137.4195 | 0 | 0 | 33668897.9335

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 345 | 507 | 557 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 1 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1421 | 2842 | 5064609.393
2kW_SE | 344 | 539 | 544 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1439 | 2878 | 4943253.3195
2kW_SW | 381 | 560 | 587 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1541 | 3082 | 5256636.7831
2kW_W | 330 | 513 | 563 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1423 | 2846 | 4337593.8779
4kW_S | 12 | 221 | 306 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 560 | 2240 | 3991810.382
4kW_SE | 9 | 195 | 299 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 3 | 21 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 532 | 2128 | 3655053.1602
4kW_SW | 7 | 214 | 308 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 23 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 559 | 2236 | 3813705.3801
4kW_W | 8 | 205 | 311 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 558 | 2232 | 3401795.3359
6kW_S | 0 | 2 | 20 | 1 | 0 | 0 | 3 | 0 | 1 | 1 | 8 | 5 | 1 | 0 | 1 | 2 | 0 | 1 | 2 | 48 | 288 | 513232.7628
6kW_SE | 0 | 5 | 14 | 0 | 0 | 0 | 1 | 0 | 1 | 3 | 8 | 4 | 1 | 2 | 0 | 5 | 2 | 0 | 4 | 50 | 300 | 515280.0536
6kW_SW | 0 | 5 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 3 | 1 | 1 | 0 | 4 | 3 | 0 | 2 | 52 | 312 | 532144.9368
6kW_W | 0 | 3 | 24 | 1 | 0 | 0 | 0 | 1 | 0 | 5 | 6 | 1 | 0 | 1 | 0 | 3 | 0 | 1 | 3 | 49 | 294 | 448085.9451
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 1 | 8 | 200 | 356411.6416
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 8 | 200 | 341118.5487
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 5 | 12 | 900 | 1603852.3857
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 3 | 1 | 0 | 1 | 7 | 525 | 895436.1892
Total Units | 1436 | 2969 | 3558 | 6 | 11 | 0 | 6 | 1 | 4 | 22 | 46 | 136 | 4 | 5 | 3 | 26 | 8 | 4 | 22 | 8267 | 0 | 0
Total Capacity | 2944 | 7668 | 9896 | 24 | 26 | 0 | 53 | 6 | 18 | 390 | 364 | 494 | 22 | 99 | 106 | 498 | 205 | 112 | 578 | 0 | 23503 | 0
Total Supply | 4960798.2172 | 12908905.1777 | 16638663.3693 | 40609.9351 | 43940.2343 | 0 | 91892.868 | 9144.6111 | 31432.4674 | 675026.5286 | 623417.1379 | 827474.3142 | 38101.9074 | 173643.7352 | 183163.26 | 858938.0226 | 355525.5112 | 196131.1444 | 1013211.6535 | 0 | 0 | 39670020.095

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 390 | 586 | 662 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 1 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1653 | 3306 | 5891484.396
2kW_SE | 393 | 618 | 645 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1671 | 3342 | 5740219.8032
2kW_SW | 432 | 647 | 687 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1783 | 3566 | 6082143.6627
2kW_W | 395 | 605 | 667 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1688 | 3376 | 5145367.8608
4kW_S | 14 | 253 | 354 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 647 | 2588 | 4611966.6378
4kW_SE | 11 | 233 | 357 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 3 | 24 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 633 | 2532 | 4348963.6285
4kW_SW | 7 | 243 | 347 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 3 | 26 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 632 | 2528 | 4311738.4619
4kW_W | 11 | 230 | 367 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 645 | 2580 | 3932182.7807
6kW_S | 0 | 4 | 23 | 1 | 0 | 0 | 3 | 0 | 1 | 1 | 10 | 5 | 1 | 0 | 1 | 2 | 0 | 1 | 2 | 55 | 330 | 588079.2073
6kW_SE | 0 | 6 | 17 | 0 | 0 | 0 | 1 | 0 | 1 | 3 | 9 | 5 | 4 | 2 | 0 | 5 | 2 | 0 | 4 | 59 | 354 | 608030.4632
6kW_SW | 0 | 5 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 6 | 4 | 1 | 2 | 0 | 4 | 3 | 0 | 2 | 61 | 366 | 624246.9451
6kW_W | 0 | 3 | 31 | 1 | 0 | 0 | 0 | 1 | 0 | 6 | 7 | 2 | 0 | 1 | 0 | 3 | 0 | 1 | 3 | 59 | 354 | 539532.0563
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 1 | 10 | 250 | 445514.552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 3 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 10 | 250 | 426398.1859
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 6 | 14 | 1050 | 1871161.1166
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 3 | 1 | 0 | 1 | 8 | 600 | 1023355.6449
Total Units | 1653 | 3433 | 4187 | 8 | 11 | 0 | 6 | 1 | 5 | 23 | 56 | 161 | 8 | 8 | 3 | 28 | 9 | 4 | 24 | 9628 | 0 | 0
Total Capacity | 3392 | 8856 | 11628 | 30 | 26 | 0 | 53 | 6 | 20 | 396 | 437 | 578 | 115 | 205 | 106 | 525 | 230 | 112 | 657 | 0 | 27372 | 0
Total Supply | 5707898.4609 | 14910186.9963 | 19544266.1674 | 50786.3716 | 43940.2343 | 0 | 91892.868 | 9144.6111 | 34843.6528 | 684171.1397 | 747405.9913 | 968754.8286 | 202673.0761 | 354436.5659 | 183163.26 | 906924.6781 | 400076.9664 | 196131.1444 | 1153688.3899 | 0 | 0 | 46190385.4029

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 446 | 665 | 769 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 1 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1896 | 3792 | 6757564.6792
2kW_SE | 454 | 697 | 726 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1896 | 3792 | 6513139.8845
2kW_SW | 500 | 740 | 767 | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 1 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2028 | 4056 | 6917884.0987
2kW_W | 451 | 678 | 748 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 2 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1902 | 3804 | 5797683.4545
4kW_S | 14 | 295 | 406 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 743 | 2972 | 5296276.989
4kW_SE | 14 | 273 | 403 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 3 | 29 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 728 | 2912 | 5001651.6929
4kW_SW | 7 | 285 | 394 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 3 | 29 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 724 | 2896 | 4939396.5924
4kW_W | 14 | 272 | 418 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 7 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 744 | 2976 | 4535727.1145
6kW_S | 0 | 5 | 25 | 1 | 0 | 0 | 3 | 0 | 1 | 2 | 13 | 6 | 1 | 0 | 2 | 2 | 0 | 1 | 2 | 64 | 384 | 684310.3503
6kW_SE | 0 | 7 | 20 | 0 | 0 | 0 | 2 | 0 | 2 | 3 | 10 | 7 | 4 | 2 | 0 | 6 | 2 | 0 | 4 | 69 | 414 | 711086.4739
6kW_SW | 0 | 6 | 33 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 8 | 4 | 1 | 2 | 0 | 5 | 3 | 0 | 2 | 69 | 414 | 706115.3969
6kW_W | 0 | 4 | 31 | 1 | 0 | 0 | 0 | 1 | 0 | 6 | 7 | 3 | 0 | 1 | 0 | 3 | 0 | 1 | 3 | 61 | 366 | 557821.2786
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 1 | 10 | 250 | 445514.552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 3 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 2 | 12 | 300 | 511677.823
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 7 | 15 | 1125 | 2004815.4821
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 3 | 1 | 0 | 1 | 8 | 600 | 1023355.6449
Total Units | 1900 | 3927 | 4740 | 10 | 12 | 1 | 7 | 1 | 6 | 25 | 64 | 186 | 8 | 8 | 4 | 31 | 9 | 4 | 26 | 10969 | 0 | 0
Total Capacity | 3898 | 10192 | 13158 | 38 | 28 | 4 | 59 | 6 | 26 | 406 | 479 | 666 | 115 | 205 | 112 | 562 | 230 | 112 | 757 | 0 | 31053 | 0
Total Supply | 6558596.6437 | 17160058.7539 | 22124954.1106 | 64068.1318 | 47351.4197 | 6870.4007 | 102198.4691 | 9144.6111 | 45149.2539 | 700959.8963 | 819400.3642 | 1118009.8621 | 202673.0761 | 354436.5659 | 193855.6093 | 970103.6543 | 400076.9664 | 196131.1444 | 1329982.574 | 0 | 0 | 52404021.5074

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 496 | 756 | 851 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 1 | 14 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2122 | 4244 | 7563054.9838
2kW_SE | 514 | 805 | 817 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2156 | 4312 | 7406291.9783
2kW_SW | 553 | 837 | 858 | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 1 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2272 | 4544 | 7750213.3492
2kW_W | 514 | 752 | 847 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 3 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2141 | 4282 | 6526204.141
4kW_S | 16 | 331 | 463 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 840 | 3360 | 5987715.573
4kW_SE | 14 | 313 | 448 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 5 | 29 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 815 | 3260 | 5599376.5518
4kW_SW | 7 | 315 | 464 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 3 | 32 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 828 | 3312 | 5648923.1748
4kW_W | 16 | 303 | 457 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 7 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 818 | 3272 | 4986861.263
6kW_S | 0 | 6 | 29 | 1 | 0 | 0 | 3 | 0 | 1 | 2 | 14 | 7 | 1 | 0 | 2 | 2 | 0 | 1 | 2 | 71 | 426 | 759156.7949
6kW_SE | 0 | 8 | 25 | 0 | 0 | 0 | 3 | 0 | 2 | 3 | 12 | 10 | 4 | 2 | 0 | 6 | 2 | 0 | 4 | 81 | 486 | 834753.6868
6kW_SW | 0 | 6 | 36 | 2 | 0 | 0 | 1 | 0 | 0 | 4 | 9 | 4 | 2 | 2 | 0 | 5 | 3 | 0 | 2 | 76 | 456 | 777750.2923
6kW_W | 0 | 5 | 32 | 1 | 0 | 0 | 0 | 1 | 0 | 9 | 9 | 3 | 0 | 1 | 0 | 4 | 0 | 1 | 3 | 69 | 414 | 630978.1676
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 1 | 5 | 1 | 0 | 2 | 12 | 300 | 534617.4624
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 3 | 0 | 0 | 1 | 0 | 3 | 1 | 1 | 2 | 13 | 325 | 554317.6416
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 8 | 18 | 1350 | 2405778.5785
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 4 | 1 | 1 | 5 | 14 | 1050 | 1790872.3785
Total Units | 2130 | 4437 | 5327 | 12 | 14 | 1 | 9 | 1 | 6 | 29 | 73 | 203 | 9 | 8 | 5 | 35 | 10 | 5 | 32 | 12346 | 0 | 0
Total Capacity | 4366 | 11498 | 14806 | 48 | 34 | 4 | 71 | 6 | 26 | 499 | 525 | 728 | 121 | 205 | 187 | 693 | 232 | 187 | 1157 | 0 | 35393 | 0
Total Supply | 7342193.4281 | 19367081.7775 | 24906950.7733 | 81429.9211 | 57221.9944 | 6870.4007 | 122737.6266 | 9144.6111 | 45149.2539 | 862048.0952 | 896015.6993 | 1223252.3683 | 212906.6326 | 354436.5659 | 327509.9747 | 1194358.9948 | 403641.0828 | 324050.6 | 2019866.2171 | 0 | 0 | 59756866.0173

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 554 | 851 | 949 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 1 | 14 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2374 | 4748 | 8461212.3146
2kW_SE | 561 | 912 | 899 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2393 | 4786 | 8220434.4639
2kW_SW | 617 | 938 | 951 | 2 | 3 | 0 | 0 | 0 | 1 | 0 | 1 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2531 | 5062 | 8633710.3815
2kW_W | 567 | 832 | 948 | 2 | 5 | 0 | 0 | 0 | 0 | 0 | 3 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2377 | 4754 | 7245580.2163
4kW_S | 17 | 367 | 523 | 3 | 2 | 0 | 1 | 0 | 0 | 0 | 5 | 23 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 943 | 3772 | 6721923.554
4kW_SE | 15 | 347 | 497 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 6 | 33 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 904 | 3616 | 6210842.212
4kW_SW | 7 | 356 | 511 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 6 | 35 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 922 | 3688 | 6290226.0472
4kW_W | 18 | 342 | 509 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 7 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 912 | 3648 | 5559923.5597
6kW_S | 0 | 7 | 31 | 1 | 0 | 0 | 4 | 0 | 1 | 4 | 14 | 8 | 1 | 0 | 2 | 3 | 0 | 1 | 3 | 80 | 480 | 855387.9379
6kW_SE | 0 | 8 | 28 | 0 | 0 | 0 | 3 | 0 | 2 | 3 | 12 | 11 | 4 | 2 | 0 | 8 | 2 | 0 | 4 | 87 | 522 | 896587.2932
6kW_SW | 0 | 7 | 42 | 2 | 0 | 0 | 1 | 0 | 0 | 4 | 10 | 5 | 2 | 2 | 0 | 6 | 3 | 0 | 5 | 89 | 534 | 910786.5265
6kW_W | 0 | 6 | 35 | 1 | 0 | 0 | 0 | 1 | 0 | 10 | 11 | 3 | 1 | 1 | 0 | 5 | 0 | 1 | 4 | 79 | 474 | 722424.2788
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 1 | 5 | 1 | 0 | 2 | 12 | 300 | 534617.4624
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 3 | 0 | 0 | 1 | 0 | 3 | 1 | 1 | 2 | 13 | 325 | 554317.6416
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | 19 | 1425 | 2539432.944
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 4 | 1 | 2 | 5 | 16 | 1200 | 2046711.2897
Total Units | 2356 | 4973 | 5923 | 13 | 17 | 1 | 11 | 1 | 6 | 34 | 81 | 217 | 10 | 8 | 5 | 41 | 10 | 6 | 38 | 13751 | 0 | 0
Total Capacity | 4826 | 12882 | 16470 | 50 | 42 | 4 | 81 | 6 | 26 | 594 | 563 | 788 | 127 | 205 | 187 | 727 | 232 | 262 | 1262 | 0 | 39334 | 0
Total Supply | 8116428.7097 | 21699382.9217 | 27706174.3293 | 84865.1214 | 70809.6164 | 6870.4007 | 140558.2087 | 9144.6111 | 45149.2539 | 1024060.9768 | 959004.2245 | 1325833.6675 | 222051.2437 | 354436.5659 | 327509.9747 | 1252168.9466 | 403641.0828 | 451970.0556 | 2204058.2123 | 0 | 0 | 66404118.1233

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 611 | 954 | 1037 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 2 | 15 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2624 | 5248 | 9352241.4126
2kW_SE | 628 | 988 | 992 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2633 | 5266 | 9044882.5505
2kW_SW | 665 | 1026 | 1022 | 2 | 3 | 0 | 0 | 0 | 1 | 0 | 1 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2738 | 5476 | 9339825.7703
2kW_W | 622 | 925 | 1055 | 2 | 5 | 0 | 0 | 0 | 0 | 0 | 3 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2634 | 5268 | 8028968.5695
4kW_S | 18 | 403 | 580 | 3 | 3 | 0 | 1 | 0 | 0 | 0 | 5 | 27 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1042 | 4168 | 7427618.6037
4kW_SE | 18 | 383 | 545 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 6 | 35 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 994 | 3976 | 6829178.2729
4kW_SW | 12 | 390 | 563 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 6 | 36 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 1014 | 4056 | 6917884.1778
4kW_W | 19 | 377 | 563 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 7 | 36 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1007 | 4028 | 6139082.2639
6kW_S | 0 | 8 | 34 | 1 | 0 | 0 | 4 | 0 | 1 | 4 | 14 | 8 | 1 | 0 | 2 | 4 | 0 | 1 | 3 | 85 | 510 | 908849.684
6kW_SE | 0 | 9 | 36 | 0 | 0 | 0 | 3 | 1 | 2 | 3 | 12 | 15 | 4 | 2 | 0 | 9 | 2 | 0 | 4 | 102 | 612 | 1051171.3092
6kW_SW | 0 | 7 | 46 | 2 | 0 | 0 | 1 | 0 | 0 | 4 | 11 | 8 | 2 | 2 | 0 | 6 | 3 | 0 | 5 | 97 | 582 | 992654.9783
6kW_W | 0 | 7 | 38 | 1 | 0 | 0 | 0 | 1 | 0 | 10 | 14 | 4 | 1 | 1 | 0 | 7 | 1 | 1 | 4 | 90 | 540 | 823015.0012
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 1 | 5 | 1 | 0 | 2 | 12 | 300 | 534617.4624
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 3 | 0 | 0 | 1 | 0 | 3 | 1 | 1 | 2 | 13 | 325 | 554317.6416
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 2 | 0 | 1 | 1 | 2 | 1 | 1 | 1 | 9 | 22 | 1650 | 2940396.0404
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 2 | 4 | 1 | 2 | 5 | 18 | 1350 | 2302550.2009
Total Units | 2593 | 5477 | 6511 | 14 | 18 | 1 | 11 | 2 | 6 | 36 | 87 | 242 | 10 | 8 | 7 | 47 | 11 | 6 | 38 | 15125 | 0 | 0
Total Capacity | 5320 | 14184 | 18140 | 52 | 46 | 4 | 81 | 12 | 26 | 744 | 664 | 892 | 127 | 205 | 337 | 759 | 238 | 262 | 1262 | 0 | 43355 | 0
Total Supply | 8949077.5711 | 23890657.6427 | 30510589.8798 | 88300.3218 | 77937.8492 | 6870.4007 | 140558.2087 | 19450.2122 | 45149.2539 | 1285634.7978 | 1133890.0962 | 1500329.2105 | 222051.2437 | 354436.5659 | 589083.7958 | 1304422.9272 | 412785.694 | 451970.0556 | 2204058.2123 | 0 | 0 | 73187253.9392

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 674 | 1040 | 1124 | 0 | 3 | 0 | 0 | 0 | 1 | 1 | 2 | 15 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2861 | 5722 | 10196936.9975
2kW_SE | 699 | 1088 | 1074 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2888 | 5776 | 9920858.6426
2kW_SW | 727 | 1115 | 1129 | 2 | 3 | 0 | 0 | 0 | 1 | 0 | 1 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2996 | 5992 | 10219911.6172
2kW_W | 693 | 1012 | 1158 | 3 | 5 | 0 | 0 | 0 | 0 | 0 | 3 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2897 | 5794 | 8830646.145
4kW_S | 20 | 439 | 629 | 3 | 3 | 0 | 1 | 0 | 0 | 0 | 5 | 28 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1130 | 4520 | 8054903.0923
4kW_SE | 18 | 414 | 601 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 7 | 38 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1085 | 4340 | 7454384.7345
4kW_SW | 12 | 425 | 616 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 8 | 38 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 1106 | 4424 | 7545542.3083
4kW_W | 20 | 415 | 603 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 7 | 38 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1088 | 4352 | 6632891.2643
6kW_S | 0 | 10 | 38 | 1 | 0 | 0 | 4 | 0 | 1 | 5 | 15 | 9 | 1 | 0 | 2 | 4 | 0 | 1 | 4 | 95 | 570 | 1015773.1763
6kW_SE | 0 | 10 | 39 | 0 | 0 | 0 | 3 | 1 | 2 | 4 | 13 | 17 | 4 | 2 | 0 | 10 | 2 | 0 | 4 | 111 | 666 | 1143921.7189
6kW_SW | 0 | 8 | 49 | 4 | 0 | 1 | 2 | 1 | 0 | 6 | 11 | 8 | 2 | 2 | 0 | 7 | 3 | 0 | 6 | 110 | 660 | 1125691.2125
6kW_W | 0 | 7 | 39 | 1 | 0 | 0 | 0 | 1 | 0 | 10 | 15 | 4 | 2 | 2 | 0 | 7 | 1 | 1 | 4 | 94 | 564 | 859593.4457
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 1 | 6 | 1 | 0 | 2 | 13 | 325 | 579168.9176
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 3 | 0 | 0 | 1 | 0 | 3 | 1 | 1 | 2 | 13 | 325 | 554317.6416
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 2 | 0 | 1 | 1 | 2 | 2 | 1 | 2 | 9 | 24 | 1800 | 3207704.7713
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 1 | 2 | 5 | 1 | 3 | 5 | 21 | 1575 | 2686308.5677
Total Units | 2863 | 5983 | 7099 | 17 | 20 | 2 | 12 | 3 | 6 | 41 | 93 | 255 | 11 | 9 | 7 | 52 | 11 | 8 | 40 | 16532 | 0 | 0
Total Capacity | 5866 | 15492 | 19756 | 66 | 50 | 10 | 87 | 18 | 26 | 843 | 694 | 946 | 133 | 211 | 337 | 946 | 238 | 412 | 1274 | 0 | 47405 | 0
Total Supply | 9865784.9639 | 26091450.0413 | 33234315.5467 | 111815.6385 | 84937.166 | 17103.9572 | 150791.7652 | 29683.7687 | 45149.2539 | 1455019.3167 | 1184547.8003 | 1591693.1576 | 231195.8549 | 363581.177 | 589083.7958 | 1631087.361 | 412785.694 | 713543.8767 | 2224984.118 | 0 | 0 | 80028554.2532

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 733 | 1136 | 1214 | 0 | 4 | 0 | 0 | 0 | 1 | 1 | 3 | 18 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3111 | 6222 | 11087966.0955
2kW_SE | 754 | 1156 | 1166 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3104 | 6208 | 10662861.9205
2kW_SW | 796 | 1212 | 1222 | 3 | 3 | 0 | 0 | 0 | 1 | 0 | 1 | 20 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3259 | 6518 | 11117053.3913
2kW_W | 765 | 1100 | 1239 | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 3 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3141 | 6282 | 9574407.85
4kW_S | 20 | 471 | 678 | 3 | 3 | 0 | 1 | 0 | 0 | 0 | 5 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1213 | 4852 | 8646546.4167
4kW_SE | 19 | 453 | 654 | 1 | 0 | 1 | 1 | 0 | 1 | 2 | 7 | 41 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1183 | 4732 | 8127684.0009
4kW_SW | 12 | 464 | 661 | 2 | 2 | 0 | 0 | 0 | 0 | 2 | 10 | 43 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 1199 | 4796 | 8180022.8098
4kW_W | 25 | 449 | 650 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 39 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1176 | 4704 | 7169375.1165
6kW_S | 0 | 11 | 40 | 1 | 0 | 0 | 4 | 0 | 1 | 5 | 15 | 11 | 1 | 0 | 2 | 4 | 0 | 1 | 6 | 102 | 612 | 1090619.6208
6kW_SE | 0 | 11 | 44 | 0 | 0 | 0 | 3 | 1 | 2 | 4 | 16 | 20 | 4 | 2 | 0 | 10 | 2 | 0 | 4 | 123 | 738 | 1267588.9317
6kW_SW | 0 | 8 | 56 | 4 | 1 | 1 | 3 | 1 | 0 | 6 | 11 | 8 | 2 | 2 | 0 | 8 | 3 | 0 | 7 | 121 | 726 | 1238260.3337
6kW_W | 0 | 7 | 43 | 1 | 0 | 0 | 1 | 1 | 0 | 11 | 16 | 4 | 2 | 2 | 0 | 7 | 1 | 1 | 4 | 101 | 606 | 923605.7235
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 1 | 6 | 1 | 0 | 2 | 13 | 325 | 579168.9176
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3 | 0 | 0 | 1 | 0 | 3 | 1 | 1 | 2 | 14 | 350 | 596957.4602
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 2 | 0 | 1 | 2 | 2 | 2 | 1 | 2 | 11 | 28 | 2100 | 3742322.2332
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 1 | 2 | 5 | 1 | 3 | 5 | 22 | 1650 | 2814228.0234
Total Units | 3124 | 6478 | 7667 | 21 | 23 | 2 | 14 | 3 | 6 | 47 | 101 | 278 | 11 | 10 | 7 | 53 | 12 | 8 | 45 | 17910 | 0 | 0
Total Capacity | 6400 | 16778 | 21352 | 78 | 60 | 10 | 99 | 18 | 26 | 1032 | 732 | 1034 | 133 | 286 | 337 | 952 | 240 | 412 | 1442 | 0 | 51421 | 0
Total Supply | 10757198.752 | 28256723.1023 | 35923347.7333 | 132354.7959 | 101783.0425 | 17103.9572 | 170169.9328 | 29683.7687 | 45149.2539 | 1782070.3391 | 1247914.4804 | 1742681.7168 | 231195.8549 | 497235.5425 | 589083.7958 | 1641320.9175 | 416196.8794 | 713543.8767 | 2523911.1039 | 0 | 0 | 86818668.8455

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 789 | 1231 | 1302 | 0 | 5 | 0 | 0 | 0 | 1 | 1 | 3 | 19 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3352 | 6704 | 11946918.146
2kW_SE | 822 | 1233 | 1246 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3332 | 6664 | 11446087.6029
2kW_SW | 853 | 1312 | 1306 | 3 | 3 | 0 | 0 | 0 | 1 | 0 | 2 | 20 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3501 | 7002 | 11942560.271
2kW_W | 828 | 1183 | 1332 | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 3 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3384 | 6768 | 10315121.3513
4kW_S | 23 | 516 | 737 | 3 | 3 | 0 | 1 | 0 | 0 | 0 | 6 | 32 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1323 | 5292 | 9430652.0275
4kW_SE | 21 | 486 | 703 | 1 | 0 | 1 | 1 | 0 | 1 | 2 | 8 | 43 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1270 | 5080 | 8725408.8598
4kW_SW | 12 | 506 | 717 | 3 | 2 | 0 | 0 | 0 | 0 | 2 | 10 | 46 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 1301 | 5204 | 8875904.6502
4kW_W | 28 | 482 | 693 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 42 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1258 | 5032 | 7669280.5243
6kW_S | 0 | 13 | 42 | 1 | 0 | 0 | 4 | 0 | 1 | 6 | 16 | 12 | 1 | 0 | 2 | 5 | 0 | 1 | 7 | 111 | 666 | 1186850.7639
6kW_SE | 0 | 12 | 50 | 0 | 0 | 0 | 3 | 1 | 2 | 5 | 17 | 22 | 4 | 2 | 0 | 10 | 2 | 0 | 4 | 134 | 804 | 1380950.5435
6kW_SW | 0 | 9 | 62 | 4 | 1 | 1 | 3 | 1 | 0 | 6 | 11 | 12 | 3 | 2 | 0 | 9 | 3 | 0 | 7 | 134 | 804 | 1371296.5679
6kW_W | 0 | 7 | 47 | 1 | 0 | 0 | 1 | 1 | 0 | 12 | 16 | 5 | 2 | 3 | 0 | 8 | 1 | 1 | 4 | 109 | 654 | 996762.6125
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 2 | 6 | 1 | 0 | 3 | 15 | 375 | 668271.828
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 4 | 0 | 0 | 1 | 1 | 3 | 1 | 1 | 4 | 18 | 450 | 767516.7345
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 2 | 0 | 1 | 2 | 2 | 2 | 1 | 2 | 11 | 28 | 2100 | 3742322.2332
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 1 | 3 | 5 | 1 | 4 | 5 | 24 | 1800 | 3070066.9346
Total Units | 3376 | 6990 | 8237 | 22 | 24 | 2 | 14 | 3 | 6 | 50 | 107 | 304 | 12 | 11 | 10 | 56 | 12 | 9 | 49 | 19294 | 0 | 0
Total Capacity | 6920 | 18124 | 22978 | 82 | 62 | 10 | 99 | 18 | 26 | 1050 | 779 | 1138 | 139 | 292 | 462 | 970 | 240 | 487 | 1523 | 0 | 55399 | 0
Total Supply | 11630272.021 | 30531082.6219 | 38664440.2796 | 139177.1669 | 105347.1589 | 17103.9572 | 170169.9328 | 29683.7687 | 45149.2539 | 1812212.9006 | 1328962.0682 | 1916880.2397 | 241429.4113 | 506380.1536 | 804194.5252 | 1671391.4343 | 416196.8794 | 841463.3323 | 2664434.5455 | 0 | 0 | 93535971.6509

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 843 | 1323 | 1387 | 0 | 6 | 0 | 0 | 0 | 1 | 1 | 3 | 19 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3584 | 7168 | 12773793.1489
2kW_SE | 872 | 1335 | 1345 | 3 | 4 | 0 | 0 | 0 | 0 | 1 | 0 | 24 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 3587 | 7174 | 12322063.6949
2kW_SW | 916 | 1411 | 1397 | 3 | 3 | 0 | 0 | 0 | 1 | 0 | 2 | 20 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 3755 | 7510 | 12809001.376
2kW_W | 885 | 1269 | 1414 | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 3 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3610 | 7220 | 11004015.3895
4kW_S | 23 | 561 | 797 | 3 | 3 | 0 | 1 | 0 | 0 | 1 | 6 | 32 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1429 | 5716 | 10186244.7069
4kW_SE | 23 | 532 | 758 | 1 | 0 | 1 | 1 | 0 | 1 | 4 | 9 | 44 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1377 | 5508 | 9460541.7322
4kW_SW | 15 | 541 | 784 | 3 | 2 | 0 | 0 | 0 | 0 | 2 | 10 | 52 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 1413 | 5652 | 9640010.2004
4kW_W | 28 | 518 | 754 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 44 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1357 | 5428 | 8272824.8581
6kW_S | 0 | 14 | 45 | 1 | 0 | 0 | 4 | 0 | 1 | 6 | 17 | 12 | 1 | 0 | 2 | 6 | 0 | 1 | 7 | 117 | 702 | 1251004.8592
6kW_SE | 0 | 13 | 51 | 0 | 0 | 0 | 4 | 1 | 2 | 6 | 18 | 23 | 4 | 2 | 0 | 10 | 3 | 0 | 4 | 141 | 846 | 1453089.751
6kW_SW | 0 | 10 | 68 | 4 | 1 | 1 | 3 | 1 | 0 | 6 | 12 | 14 | 3 | 2 | 0 | 9 | 3 | 0 | 7 | 144 | 864 | 1473632.1327
6kW_W | 0 | 8 | 48 | 1 | 0 | 0 | 1 | 1 | 0 | 12 | 16 | 5 | 2 | 3 | 0 | 9 | 1 | 1 | 4 | 112 | 672 | 1024196.4459
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 2 | 6 | 1 | 0 | 3 | 15 | 375 | 668271.828
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 4 | 0 | 0 | 1 | 1 | 3 | 1 | 1 | 4 | 20 | 500 | 852796.3717
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 2 | 0 | 1 | 2 | 2 | 2 | 2 | 2 | 12 | 30 | 2250 | 4009630.9642
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 1 | 3 | 7 | 1 | 4 | 5 | 26 | 1950 | 3325905.8458
Total Units | 3605 | 7535 | 8848 | 22 | 25 | 2 | 15 | 3 | 6 | 57 | 111 | 319 | 13 | 11 | 11 | 61 | 14 | 9 | 50 | 20717 | 0 | 0
Total Capacity | 7388 | 19554 | 24730 | 82 | 64 | 10 | 105 | 18 | 26 | 1120 | 801 | 1198 | 141 | 292 | 464 | 1136 | 321 | 487 | 1598 | 0 | 59535 | 0
Total Supply | 12417354.5335 | 32944663.323 | 41615319.9025 | 139177.1669 | 108911.2753 | 17103.9572 | 180475.5338 | 29683.7687 | 45149.2539 | 1932102.3733 | 1367063.9757 | 2017568.9995 | 244864.6117 | 506380.1536 | 807605.7107 | 1953889.6769 | 560156.846 | 841463.3323 | 2798088.911 | 0 | 0 | 100527023.3054

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 894 | 1413 | 1458 | 0 | 6 | 0 | 0 | 0 | 1 | 1 | 5 | 22 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3801 | 7602 | 13547206.406
2kW_SE | 928 | 1414 | 1436 | 3 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | 26 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 3816 | 7632 | 13108724.5776
2kW_SW | 977 | 1503 | 1480 | 3 | 4 | 0 | 0 | 0 | 1 | 0 | 2 | 23 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 3995 | 7990 | 13627685.8847
2kW_W | 946 | 1354 | 1499 | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 3 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3843 | 7686 | 11714246.8537
4kW_S | 25 | 602 | 846 | 3 | 3 | 0 | 1 | 0 | 0 | 1 | 8 | 36 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1527 | 6108 | 10884811.5238
4kW_SE | 24 | 566 | 805 | 1 | 0 | 1 | 1 | 0 | 1 | 4 | 10 | 45 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1461 | 5844 | 10037655.3891
4kW_SW | 15 | 586 | 833 | 3 | 2 | 0 | 0 | 0 | 0 | 2 | 11 | 54 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 1510 | 6040 | 10301780.1858
4kW_W | 28 | 547 | 806 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 9 | 49 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1445 | 5780 | 8809308.7103
6kW_S | 0 | 15 | 49 | 1 | 0 | 0 | 4 | 0 | 1 | 6 | 18 | 12 | 1 | 0 | 2 | 7 | 0 | 1 | 7 | 124 | 744 | 1325851.3038
6kW_SE | 0 | 14 | 56 | 0 | 0 | 0 | 4 | 1 | 2 | 6 | 18 | 24 | 4 | 2 | 0 | 10 | 3 | 0 | 5 | 149 | 894 | 1535534.5596
6kW_SW | 0 | 10 | 72 | 4 | 1 | 1 | 4 | 1 | 0 | 9 | 13 | 14 | 3 | 2 | 0 | 9 | 3 | 1 | 10 | 157 | 942 | 1606668.3669
6kW_W | 0 | 10 | 52 | 1 | 0 | 0 | 1 | 1 | 0 | 13 | 17 | 5 | 2 | 3 | 0 | 9 | 1 | 1 | 6 | 122 | 732 | 1115642.5571
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 2 | 6 | 2 | 0 | 3 | 16 | 400 | 712823.2832
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 4 | 0 | 0 | 1 | 1 | 4 | 1 | 1 | 4 | 21 | 525 | 895436.1903
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 2 | 0 | 1 | 2 | 3 | 2 | 3 | 2 | 14 | 34 | 2550 | 4544248.426
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 1 | 3 | 9 | 1 | 4 | 6 | 29 | 2175 | 3709664.2126
Total Units | 3837 | 8034 | 9392 | 22 | 28 | 2 | 16 | 3 | 6 | 61 | 121 | 342 | 13 | 11 | 12 | 65 | 16 | 10 | 59 | 22050 | 0 | 0
Total Capacity | 7858 | 20866 | 26280 | 82 | 72 | 10 | 111 | 18 | 26 | 1144 | 843 | 1272 | 141 | 292 | 539 | 1317 | 421 | 493 | 1859 | 0 | 63644 | 0
Total Supply | 13206645.2949 | 35158681.8544 | 44218512.7836 | 139177.1669 | 121854.0686 | 17103.9572 | 190709.0903 | 29683.7687 | 45149.2539 | 1971947.6539 | 1438308.37 | 2141277.4253 | 244864.6117 | 506380.1536 | 941260.0761 | 2263060.7559 | 738362.6666 | 851696.8888 | 3252612.5903 | 0 | 0 | 107477288.4306

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 947 | 1521 | 1557 | 0 | 6 | 0 | 0 | 0 | 1 | 1 | 6 | 26 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4066 | 8132 | 14491697.2499
2kW_SE | 974 | 1494 | 1516 | 3 | 5 | 0 | 0 | 0 | 0 | 1 | 1 | 27 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 4024 | 8048 | 13823246.2527
2kW_SW | 1016 | 1596 | 1565 | 3 | 4 | 0 | 0 | 0 | 1 | 0 | 2 | 24 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 4213 | 8426 | 14371324.3135
2kW_W | 998 | 1425 | 1583 | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 3 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4054 | 8108 | 12357417.8363
4kW_S | 27 | 631 | 898 | 3 | 3 | 0 | 1 | 0 | 0 | 1 | 9 | 37 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1612 | 6448 | 11490711.3139
4kW_SE | 29 | 600 | 872 | 1 | 0 | 1 | 1 | 0 | 1 | 4 | 10 | 49 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1571 | 6284 | 10793399.4636
4kW_SW | 15 | 624 | 882 | 3 | 2 | 0 | 0 | 0 | 0 | 2 | 12 | 57 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 1601 | 6404 | 10922615.9454
4kW_W | 29 | 573 | 844 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 9 | 50 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1511 | 6044 | 9211671.5995
6kW_S | 0 | 16 | 54 | 1 | 0 | 0 | 4 | 0 | 1 | 6 | 19 | 12 | 1 | 0 | 2 | 7 | 0 | 1 | 7 | 131 | 786 | 1400697.7483
6kW_SE | 0 | 14 | 60 | 0 | 0 | 0 | 4 | 1 | 2 | 6 | 18 | 24 | 4 | 2 | 1 | 12 | 3 | 0 | 5 | 156 | 936 | 1607673.7671
6kW_SW | 0 | 10 | 74 | 4 | 1 | 1 | 4 | 1 | 0 | 9 | 14 | 14 | 3 | 2 | 0 | 9 | 3 | 1 | 10 | 160 | 960 | 1637369.0363
6kW_W | 0 | 10 | 55 | 1 | 0 | 0 | 1 | 1 | 0 | 17 | 17 | 6 | 2 | 3 | 0 | 9 | 1 | 1 | 9 | 133 | 798 | 1216233.2795
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 2 | 6 | 3 | 0 | 3 | 17 | 425 | 757374.7384
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 4 | 0 | 0 | 1 | 1 | 4 | 1 | 1 | 5 | 22 | 550 | 938076.0089
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 3 | 0 | 1 | 2 | 3 | 3 | 3 | 3 | 14 | 37 | 2775 | 4945211.5225
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 1 | 1 | 3 | 9 | 1 | 4 | 6 | 30 | 2250 | 3837583.6682
Total Units | 4035 | 8514 | 9960 | 22 | 28 | 2 | 16 | 3 | 6 | 65 | 128 | 362 | 14 | 11 | 13 | 68 | 17 | 11 | 63 | 23338 | 0 | 0
Total Capacity | 8270 | 22084 | 27884 | 82 | 72 | 10 | 111 | 18 | 26 | 1168 | 942 | 1334 | 216 | 292 | 545 | 1404 | 446 | 568 | 1902 | 0 | 67374 | 0
Total Supply | 13899810.3823 | 37220846.5783 | 46931705.9192 | 139177.1669 | 121854.0686 | 17103.9572 | 190709.0903 | 29683.7687 | 45149.2539 | 2008526.0984 | 1613838.5617 | 2244891.0585 | 372784.0673 | 506380.1536 | 951565.6772 | 2417326.3235 | 782914.1218 | 985351.2543 | 3322686.2422 | 0 | 0 | 113802303.7439