## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 3000
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 2386 | 2386 | 6757 | 6757 | 2133976344.0574 | 0 | 0 | 2133976344.0574
1 | 0.17043 | 5112 | 2726 | 14614 | 7857 | 2133976344.0574 | 11387027.3763 | 0.0053361 | 2122589316.6811
2 | 0.17094 | 8216 | 3104 | 23775 | 9161 | 2133976344.0574 | 24652934.6519 | 0.011553 | 2109323409.4055
3 | 0.17153 | 11753 | 3537 | 33932 | 10157 | 2133976344.0574 | 40116838.6135 | 0.018799 | 2093859505.4439
4 | 0.17221 | 15583 | 3830 | 44727 | 10795 | 2133976344.0574 | 57267411.4042 | 0.026836 | 2076708932.6532
5 | 0.17293 | 19440 | 3857 | 55674 | 10947 | 2133976344.0574 | 75474556.1945 | 0.035368 | 2058501787.8629
6 | 0.17368 | 23163 | 3723 | 66562 | 10888 | 2133976344.0574 | 93905012.5476 | 0.044005 | 2040071331.5098
7 | 0.17444 | 26541 | 3378 | 76287 | 9725 | 2133976344.0574 | 112301891.0269 | 0.052626 | 2021674453.0305
8 | 0.17514 | 29505 | 2964 | 84626 | 8339 | 2133976344.0574 | 128716562.3067 | 0.060318 | 2005259781.7507
9 | 0.17574 | 32283 | 2778 | 92475 | 7849 | 2133976344.0574 | 142803333.6088 | 0.066919 | 1991173010.4486
10 | 0.17631 | 34784 | 2501 | 99905 | 7430 | 2133976344.0574 | 156017792.5768 | 0.073111 | 1977958551.4806
11 | 0.17686 | 37095 | 2311 | 106643 | 6738 | 2133976344.0574 | 168550804.9269 | 0.078984 | 1965425539.1305
12 | 0.17737 | 39075 | 1980 | 112167 | 5524 | 2133976344.0574 | 179925319.3584 | 0.084315 | 1954051024.699
13 | 0.17778 | 40856 | 1781 | 117079 | 4912 | 2133976344.0574 | 189236193.6504 | 0.088678 | 1944740150.407
14 | 0.17816 | 42327 | 1471 | 121264 | 4185 | 2133976344.0574 | 197540197.6264 | 0.092569 | 1936436146.431
15 | 0.17848 | 43685 | 1358 | 125098 | 3834 | 2133976344.0574 | 204586791.8567 | 0.095871 | 1929389552.2007
16 | 0.17878 | 44871 | 1186 | 128586 | 3488 | 2133976344.0574 | 211056404.965 | 0.098903 | 1922919939.0924
17 | 0.17905 | 45892 | 1021 | 131537 | 2951 | 2133976344.0574 | 216941359.773 | 0.10166 | 1917034984.2844
18 | 0.17929 | 46751 | 859 | 134130 | 2593 | 2133976344.0574 | 221924264.7235 | 0.104 | 1912052079.3339
19 | 0.17949 | 47528 | 777 | 136397 | 2267 | 2133976344.0574 | 226288328.7622 | 0.10604 | 1907688015.2952

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 116 | 151 | 154 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 422 | 844 | 1504057.1174
2kW_SE | 118 | 157 | 150 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 431 | 862 | 1480571.3556
2kW_SW | 116 | 130 | 166 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 414 | 828 | 1412230.7775
2kW_W | 112 | 147 | 138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 802 | 1222329.6873
4kW_S | 3 | 60 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 146 | 584 | 1040721.9925
4kW_SE | 4 | 66 | 111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 189 | 756 | 1298505.728
4kW_SW | 2 | 58 | 79 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 147 | 588 | 1002888.5346
4kW_W | 1 | 68 | 98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 172 | 688 | 1048582.0749
6kW_S | 0 | 4 | 6 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 102 | 181769.9368
6kW_SE | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 13 | 78 | 133972.8139
6kW_SW | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 12 | 72 | 122802.6777
6kW_W | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 13 | 78 | 118879.9446
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 50 | 89102.9104
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 50 | 85279.6372
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 75 | 133654.3655
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 4 | 300 | 511677.8224
Total Units | 472 | 843 | 1002 | 0 | 1 | 0 | 0 | 1 | 0 | 11 | 16 | 29 | 1 | 0 | 1 | 3 | 0 | 0 | 6 | 2386 | 0 | 0
Total Capacity | 964 | 2214 | 2842 | 0 | 2 | 0 | 0 | 6 | 0 | 257 | 101 | 106 | 4 | 0 | 75 | 85 | 0 | 0 | 101 | 0 | 6757 | 0
Total Supply | 1624494.9226 | 3723678.2311 | 4780113.7967 | 0 | 3435.2004 | 0 | 0 | 10692.3492 | 0 | 447796.2027 | 168631.7936 | 177777.5637 | 6870.4007 | 0 | 127919.4556 | 145095.4574 | 0 | 0 | 170522.0027 | 0 | 0 | 11387027.3763

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 231 | 319 | 348 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 901 | 1802 | 3211268.8692
2kW_SE | 213 | 335 | 340 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 897 | 1794 | 3081374.7238
2kW_SW | 230 | 282 | 360 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 1766 | 3012076.755
2kW_W | 219 | 343 | 335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 908 | 1816 | 2767768.9678
4kW_S | 7 | 134 | 185 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 337 | 1348 | 2402214.462
4kW_SE | 7 | 137 | 212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 13 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 375 | 1500 | 2576400.2539
4kW_SW | 6 | 131 | 181 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 5 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 332 | 1328 | 2265027.1667
4kW_W | 8 | 134 | 186 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 341 | 1364 | 2078874.9275
6kW_S | 0 | 5 | 21 | 0 | 0 | 0 | 1 | 1 | 0 | 3 | 3 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 37 | 222 | 395616.9213
6kW_SE | 0 | 2 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 0 | 0 | 0 | 2 | 1 | 0 | 1 | 22 | 132 | 226723.2236
6kW_SW | 0 | 3 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 1 | 0 | 3 | 0 | 0 | 3 | 27 | 162 | 276306.0249
6kW_W | 0 | 4 | 12 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 8 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 30 | 180 | 274338.3337
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 5 | 125 | 222757.276
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 4 | 100 | 170559.2743
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 2 | 5 | 375 | 668271.8274
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 2 | 8 | 600 | 1023355.6449
Total Units | 921 | 1829 | 2203 | 1 | 3 | 0 | 4 | 2 | 0 | 12 | 32 | 69 | 1 | 1 | 2 | 13 | 3 | 1 | 15 | 5112 | 0 | 0
Total Capacity | 1898 | 4786 | 6158 | 2 | 8 | 0 | 87 | 12 | 0 | 263 | 171 | 242 | 4 | 6 | 79 | 388 | 37 | 75 | 398 | 0 | 14614 | 0
Total Supply | 3194833.7496 | 8043662.7655 | 10371923.5323 | 3411.1855 | 13095.7242 | 0 | 149151.2231 | 19836.9603 | 0 | 458488.5519 | 281051.5799 | 407139.7556 | 6870.4007 | 10233.5565 | 134741.8266 | 669608.6493 | 63637.7689 | 133654.3655 | 691593.0565 | 0 | 0 | 24652934.6519

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 365 | 518 | 524 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1415 | 2830 | 5043224.6947
2kW_SE | 358 | 511 | 521 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1404 | 2808 | 4823021.3068
2kW_SW | 378 | 482 | 584 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1460 | 2920 | 4980330.7614
2kW_W | 353 | 566 | 551 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1485 | 2970 | 4526582.5079
4kW_S | 11 | 223 | 280 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 529 | 2116 | 3770835.1644
4kW_SE | 12 | 231 | 333 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 18 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 603 | 2412 | 4142851.6082
4kW_SW | 8 | 206 | 314 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 5 | 8 | 0 | 0 | 1 | 2 | 0 | 0 | 2 | 548 | 2192 | 3738659.2992
4kW_W | 8 | 209 | 291 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 5 | 13 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 529 | 2116 | 3224999.5209
6kW_S | 0 | 6 | 28 | 1 | 0 | 0 | 2 | 1 | 0 | 4 | 6 | 4 | 0 | 0 | 0 | 2 | 1 | 0 | 2 | 57 | 342 | 609463.9058
6kW_SE | 0 | 3 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 5 | 3 | 0 | 1 | 0 | 5 | 1 | 1 | 1 | 43 | 258 | 443140.8461
6kW_SW | 0 | 5 | 19 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 6 | 7 | 0 | 1 | 0 | 4 | 1 | 0 | 4 | 50 | 300 | 511677.8238
6kW_W | 0 | 7 | 20 | 0 | 0 | 0 | 2 | 1 | 0 | 4 | 10 | 4 | 1 | 1 | 0 | 2 | 0 | 0 | 4 | 56 | 336 | 512098.2229
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 2 | 6 | 150 | 267308.7312
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 6 | 150 | 255838.9115
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 3 | 1 | 2 | 3 | 12 | 900 | 1603852.3857
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 1 | 0 | 0 | 0 | 1 | 3 | 1 | 0 | 3 | 13 | 975 | 1662952.9229
Total Units | 1493 | 2967 | 3486 | 3 | 8 | 1 | 8 | 2 | 0 | 23 | 47 | 109 | 3 | 3 | 4 | 26 | 6 | 4 | 23 | 8216 | 0 | 0
Total Capacity | 3064 | 7756 | 9760 | 12 | 20 | 75 | 111 | 12 | 0 | 482 | 326 | 392 | 35 | 18 | 158 | 598 | 193 | 181 | 582 | 0 | 23775 | 0
Total Supply | 5160353.8192 | 13037541.3702 | 16422189.7843 | 20973.9354 | 34198.5756 | 133654.3655 | 188366.3511 | 19836.9603 | 0 | 829277.3638 | 544107.1129 | 657695.2844 | 58654.8304 | 29683.7687 | 275266.5927 | 1037530.8397 | 335445.1464 | 322165.7872 | 1009896.7258 | 0 | 0 | 40116838.6135

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 518 | 719 | 767 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 4046 | 7210207.461
2kW_SE | 504 | 746 | 765 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 2 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2037 | 4074 | 6997503.1354
2kW_SW | 537 | 719 | 831 | 2 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2109 | 4218 | 7194190.1204
2kW_W | 507 | 787 | 781 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2097 | 4194 | 6392083.1778
4kW_S | 19 | 295 | 427 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 2 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 763 | 3052 | 5438841.6455
4kW_SE | 16 | 308 | 457 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 8 | 23 | 1 | 1 | 1 | 3 | 0 | 0 | 0 | 820 | 3280 | 5633728.5551
4kW_SW | 12 | 308 | 445 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 7 | 13 | 0 | 0 | 1 | 2 | 0 | 0 | 2 | 794 | 3176 | 5416962.5613
4kW_W | 12 | 292 | 404 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 8 | 17 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 741 | 2964 | 4517437.8923
6kW_S | 0 | 9 | 37 | 3 | 0 | 0 | 2 | 1 | 0 | 4 | 10 | 4 | 0 | 0 | 0 | 5 | 1 | 0 | 3 | 79 | 474 | 844695.5887
6kW_SE | 0 | 3 | 29 | 1 | 0 | 0 | 2 | 0 | 0 | 3 | 13 | 6 | 0 | 1 | 0 | 8 | 1 | 1 | 3 | 71 | 426 | 731697.676
6kW_SW | 0 | 11 | 32 | 0 | 0 | 0 | 2 | 0 | 0 | 3 | 8 | 9 | 0 | 1 | 1 | 9 | 2 | 0 | 5 | 83 | 498 | 849385.1876
6kW_W | 0 | 10 | 30 | 0 | 0 | 0 | 2 | 2 | 0 | 6 | 13 | 4 | 1 | 2 | 0 | 5 | 1 | 0 | 4 | 80 | 480 | 731568.8899
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 3 | 8 | 200 | 356411.6416
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 4 | 0 | 1 | 0 | 1 | 2 | 1 | 1 | 1 | 15 | 375 | 639597.2788
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 3 | 2 | 2 | 5 | 16 | 1200 | 2138469.8476
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 1 | 0 | 0 | 0 | 1 | 5 | 1 | 0 | 4 | 17 | 1275 | 2174630.7453
Total Units | 2125 | 4207 | 5005 | 12 | 10 | 1 | 13 | 3 | 0 | 31 | 80 | 159 | 4 | 5 | 6 | 45 | 9 | 5 | 33 | 11753 | 0 | 0
Total Capacity | 4368 | 10952 | 13988 | 48 | 26 | 75 | 158 | 18 | 0 | 635 | 551 | 550 | 110 | 28 | 189 | 865 | 280 | 206 | 885 | 0 | 33932 | 0
Total Supply | 7355187.317 | 18408354.3128 | 23555671.4583 | 81574.0102 | 43730.1834 | 133654.3655 | 268721.3289 | 28981.5715 | 0 | 1090038.8439 | 925297.1571 | 926248.0806 | 192309.1959 | 45698.7805 | 328139.9678 | 1490571.8442 | 488477.6795 | 364805.6058 | 1539949.7014 | 0 | 0 | 57267411.4042

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 696 | 971 | 1036 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 3 | 25 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2736 | 5472 | 9751422.4485
2kW_SE | 662 | 980 | 1006 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 3 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2678 | 5356 | 9199466.5668
2kW_SW | 702 | 964 | 1095 | 2 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2784 | 5568 | 9496740.3012
2kW_W | 671 | 1029 | 1017 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 21 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2743 | 5486 | 8361222.7738
4kW_S | 21 | 390 | 566 | 4 | 1 | 0 | 1 | 0 | 0 | 0 | 6 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1017 | 4068 | 7249412.783
4kW_SE | 20 | 417 | 611 | 2 | 0 | 0 | 1 | 0 | 0 | 1 | 12 | 33 | 1 | 1 | 1 | 4 | 0 | 0 | 0 | 1104 | 4416 | 7584922.3474
4kW_SW | 18 | 393 | 577 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 9 | 17 | 0 | 0 | 1 | 3 | 0 | 0 | 2 | 1024 | 4096 | 6986107.8876
4kW_W | 16 | 397 | 560 | 2 | 2 | 0 | 1 | 0 | 0 | 0 | 9 | 23 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 1014 | 4056 | 6181757.1158
6kW_S | 0 | 10 | 47 | 3 | 0 | 0 | 2 | 2 | 1 | 5 | 16 | 6 | 0 | 1 | 0 | 5 | 1 | 0 | 3 | 102 | 612 | 1090619.6208
6kW_SE | 0 | 5 | 41 | 1 | 0 | 0 | 2 | 0 | 0 | 3 | 16 | 9 | 0 | 2 | 0 | 9 | 1 | 1 | 6 | 96 | 576 | 989337.7028
6kW_SW | 0 | 12 | 44 | 2 | 0 | 0 | 2 | 0 | 0 | 4 | 10 | 9 | 1 | 1 | 2 | 10 | 2 | 0 | 7 | 106 | 636 | 1084756.9866
6kW_W | 0 | 11 | 42 | 0 | 0 | 0 | 3 | 2 | 0 | 11 | 18 | 6 | 1 | 3 | 0 | 6 | 1 | 0 | 6 | 110 | 660 | 1005907.2236
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 4 | 10 | 250 | 445514.552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 4 | 5 | 0 | 1 | 0 | 2 | 2 | 1 | 1 | 1 | 19 | 475 | 810156.5531
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 5 | 2 | 3 | 7 | 21 | 1575 | 2806741.6749
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 1 | 0 | 0 | 0 | 2 | 5 | 1 | 0 | 5 | 19 | 1425 | 2430469.6565
Total Units | 2806 | 5579 | 6642 | 21 | 10 | 1 | 16 | 5 | 1 | 40 | 112 | 215 | 5 | 8 | 9 | 54 | 9 | 6 | 44 | 15583 | 0 | 0
Total Capacity | 5762 | 14504 | 18608 | 84 | 26 | 75 | 193 | 49 | 6 | 706 | 724 | 750 | 116 | 46 | 295 | 1045 | 280 | 281 | 1177 | 0 | 44727 | 0
Total Supply | 9702170.6237 | 24380516.0847 | 31325818.3991 | 144423.7719 | 43730.1834 | 133654.3655 | 326602.1661 | 84225.3759 | 10692.3492 | 1206198.0245 | 1219061.2757 | 1265937.1142 | 202542.7523 | 75841.3419 | 508932.7985 | 1807869.4356 | 488477.6795 | 498459.9713 | 2049402.4815 | 0 | 0 | 75474556.1945

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 848 | 1188 | 1269 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 3 | 27 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3341 | 6682 | 11907712.8657
2kW_SE | 817 | 1242 | 1283 | 2 | 5 | 0 | 0 | 0 | 0 | 0 | 4 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3380 | 6760 | 11610977.2202
2kW_SW | 886 | 1211 | 1359 | 2 | 1 | 0 | 1 | 0 | 0 | 1 | 2 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3486 | 6972 | 11891392.4892
2kW_W | 864 | 1265 | 1255 | 4 | 2 | 0 | 0 | 0 | 0 | 0 | 3 | 27 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3421 | 6842 | 10427904.8885
4kW_S | 28 | 498 | 699 | 4 | 1 | 0 | 1 | 0 | 0 | 0 | 6 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1272 | 5088 | 9067112.1534
4kW_SE | 25 | 513 | 763 | 4 | 0 | 0 | 1 | 0 | 0 | 1 | 14 | 39 | 1 | 1 | 1 | 4 | 0 | 0 | 0 | 1367 | 5468 | 9391837.7255
4kW_SW | 23 | 500 | 705 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 11 | 23 | 0 | 0 | 1 | 3 | 0 | 0 | 2 | 1274 | 5096 | 8691700.6336
4kW_W | 21 | 506 | 719 | 4 | 3 | 0 | 1 | 0 | 0 | 0 | 9 | 32 | 0 | 0 | 0 | 2 | 0 | 0 | 3 | 1300 | 5200 | 7925329.6356
6kW_S | 0 | 12 | 56 | 3 | 0 | 0 | 3 | 2 | 1 | 5 | 18 | 10 | 1 | 1 | 1 | 6 | 3 | 0 | 3 | 125 | 750 | 1336543.653
6kW_SE | 0 | 8 | 53 | 1 | 0 | 0 | 2 | 0 | 0 | 5 | 20 | 13 | 0 | 3 | 0 | 12 | 1 | 1 | 7 | 126 | 756 | 1298505.7349
6kW_SW | 0 | 13 | 59 | 2 | 0 | 0 | 2 | 0 | 0 | 5 | 13 | 11 | 1 | 2 | 2 | 11 | 2 | 0 | 8 | 131 | 786 | 1340595.8985
6kW_W | 0 | 11 | 49 | 0 | 0 | 0 | 3 | 3 | 0 | 13 | 21 | 9 | 1 | 3 | 0 | 8 | 1 | 0 | 7 | 129 | 774 | 1179654.835
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 3 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 6 | 15 | 375 | 668271.828
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 5 | 6 | 0 | 1 | 1 | 4 | 3 | 2 | 1 | 2 | 27 | 675 | 1151275.1018
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 7 | 2 | 3 | 7 | 23 | 1725 | 3074050.4059
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 1 | 0 | 0 | 0 | 3 | 5 | 1 | 0 | 8 | 23 | 1725 | 2942147.479
Total Units | 3512 | 6967 | 8269 | 29 | 16 | 1 | 17 | 6 | 1 | 47 | 132 | 275 | 6 | 12 | 13 | 64 | 13 | 6 | 54 | 19440 | 0 | 0
Total Capacity | 7218 | 18144 | 23178 | 110 | 40 | 75 | 199 | 55 | 6 | 765 | 866 | 978 | 122 | 108 | 426 | 1262 | 342 | 281 | 1499 | 0 | 55674 | 0
Total Supply | 12141177.3356 | 30502335.49 | 39006195.5747 | 186324.3702 | 66357.5153 | 133654.3655 | 337294.5153 | 93369.987 | 10692.3492 | 1304794.195 | 1461226.0842 | 1647812.3577 | 213235.1016 | 183571.7732 | 732824.2405 | 2187949.9163 | 597053.6517 | 498459.9713 | 2600683.7534 | 0 | 0 | 93905012.5476

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1022 | 1420 | 1521 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 3 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4002 | 8004 | 14263593.8008
2kW_SE | 991 | 1467 | 1524 | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 6 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4025 | 8050 | 13826681.453
2kW_SW | 1036 | 1432 | 1634 | 2 | 3 | 0 | 1 | 0 | 0 | 1 | 3 | 34 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 4148 | 8296 | 14149597.259
2kW_W | 1032 | 1489 | 1503 | 6 | 2 | 0 | 0 | 0 | 0 | 1 | 3 | 29 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4066 | 8132 | 12393996.2808
4kW_S | 30 | 612 | 841 | 4 | 1 | 0 | 3 | 0 | 0 | 1 | 9 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1540 | 6160 | 10977478.5505
4kW_SE | 30 | 629 | 893 | 4 | 0 | 0 | 1 | 0 | 0 | 1 | 14 | 43 | 1 | 1 | 1 | 4 | 0 | 0 | 0 | 1622 | 6488 | 11143789.8981
4kW_SW | 30 | 579 | 834 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 12 | 31 | 0 | 0 | 1 | 3 | 0 | 0 | 2 | 1498 | 5992 | 10219911.734
4kW_W | 24 | 607 | 861 | 4 | 3 | 0 | 1 | 0 | 0 | 1 | 12 | 43 | 0 | 0 | 0 | 2 | 0 | 0 | 3 | 1561 | 6244 | 9516491.9701
6kW_S | 0 | 13 | 69 | 3 | 0 | 0 | 3 | 2 | 1 | 5 | 23 | 13 | 2 | 1 | 2 | 7 | 3 | 0 | 3 | 150 | 900 | 1603852.3836
6kW_SE | 0 | 8 | 64 | 1 | 0 | 0 | 2 | 0 | 0 | 5 | 23 | 17 | 0 | 3 | 0 | 13 | 2 | 1 | 7 | 146 | 876 | 1504617.7564
6kW_SW | 0 | 16 | 63 | 2 | 0 | 0 | 2 | 0 | 0 | 7 | 16 | 11 | 1 | 2 | 2 | 12 | 3 | 1 | 10 | 148 | 888 | 1514566.3586
6kW_W | 0 | 14 | 58 | 0 | 0 | 0 | 3 | 3 | 0 | 13 | 21 | 11 | 1 | 3 | 0 | 10 | 2 | 0 | 8 | 147 | 882 | 1344257.8352
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 2 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 6 | 18 | 450 | 801926.1936
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 5 | 7 | 0 | 1 | 2 | 4 | 5 | 3 | 2 | 2 | 34 | 850 | 1449753.8319
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 2 | 10 | 2 | 3 | 8 | 30 | 2250 | 4009630.9642
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 1 | 0 | 0 | 1 | 4 | 7 | 1 | 1 | 8 | 28 | 2100 | 3581744.757
Total Units | 4195 | 8286 | 9865 | 32 | 19 | 1 | 20 | 6 | 1 | 53 | 155 | 328 | 8 | 16 | 16 | 78 | 17 | 9 | 58 | 23163 | 0 | 0
Total Capacity | 8618 | 21630 | 27604 | 116 | 46 | 75 | 232 | 55 | 6 | 812 | 1016 | 1174 | 130 | 358 | 582 | 1744 | 385 | 387 | 1592 | 0 | 66562 | 0
Total Supply | 14497488.7798 | 36371916.519 | 46453001.4482 | 195855.978 | 76615.0866 | 133654.3655 | 394190.7995 | 93369.987 | 10692.3492 | 1386085.6071 | 1720274.4546 | 1974782.0122 | 227338.6362 | 621439.7784 | 1005090.4108 | 3027514.9308 | 669377.239 | 679252.8019 | 2763949.843 | 0 | 0 | 112301891.0269

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1173 | 1625 | 1768 | 1 | 4 | 0 | 0 | 0 | 1 | 0 | 5 | 35 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4613 | 9226 | 16441268.9163
2kW_SE | 1133 | 1688 | 1738 | 3 | 7 | 0 | 0 | 0 | 0 | 0 | 6 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4608 | 9216 | 15829403.2635
2kW_SW | 1188 | 1657 | 1854 | 2 | 3 | 0 | 1 | 0 | 0 | 1 | 4 | 37 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 4749 | 9498 | 16199719.7163
2kW_W | 1161 | 1713 | 1712 | 6 | 2 | 0 | 0 | 0 | 0 | 1 | 4 | 36 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4636 | 9272 | 14131472.3949
4kW_S | 32 | 718 | 962 | 4 | 1 | 0 | 3 | 0 | 0 | 2 | 9 | 44 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1777 | 7108 | 12666869.73
4kW_SE | 31 | 703 | 1006 | 8 | 0 | 0 | 1 | 0 | 0 | 2 | 14 | 47 | 1 | 1 | 1 | 5 | 0 | 0 | 0 | 1820 | 7280 | 12504129.2321
4kW_SW | 31 | 676 | 976 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 14 | 37 | 0 | 0 | 1 | 4 | 0 | 0 | 2 | 1747 | 6988 | 11918682.109
4kW_W | 30 | 699 | 974 | 5 | 3 | 0 | 1 | 0 | 0 | 1 | 13 | 55 | 0 | 0 | 0 | 2 | 0 | 0 | 3 | 1786 | 7144 | 10888183.6378
6kW_S | 0 | 15 | 72 | 3 | 0 | 0 | 4 | 2 | 1 | 6 | 26 | 19 | 3 | 2 | 2 | 7 | 3 | 0 | 5 | 170 | 1020 | 1817699.3681
6kW_SE | 0 | 12 | 76 | 1 | 0 | 0 | 2 | 0 | 0 | 9 | 23 | 18 | 0 | 3 | 0 | 13 | 2 | 1 | 7 | 167 | 1002 | 1721035.3789
6kW_SW | 0 | 16 | 76 | 2 | 0 | 0 | 2 | 0 | 0 | 10 | 20 | 13 | 1 | 3 | 2 | 14 | 3 | 1 | 10 | 173 | 1038 | 1770405.2705
6kW_W | 0 | 16 | 71 | 0 | 0 | 0 | 3 | 3 | 0 | 15 | 22 | 12 | 1 | 3 | 0 | 12 | 2 | 0 | 10 | 170 | 1020 | 1554583.8911
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 4 | 2 | 0 | 0 | 1 | 1 | 2 | 1 | 2 | 6 | 21 | 525 | 935580.5592
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 5 | 8 | 0 | 2 | 2 | 4 | 6 | 3 | 2 | 2 | 37 | 925 | 1577673.2876
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 2 | 3 | 11 | 2 | 3 | 8 | 33 | 2475 | 4410594.0606
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 1 | 0 | 0 | 1 | 5 | 8 | 2 | 2 | 10 | 34 | 2550 | 4349261.4906
Total Units | 4779 | 9538 | 11285 | 37 | 20 | 1 | 22 | 6 | 2 | 66 | 171 | 386 | 10 | 18 | 19 | 88 | 18 | 11 | 64 | 26541 | 0 | 0
Total Capacity | 9806 | 24904 | 31586 | 136 | 48 | 75 | 263 | 55 | 8 | 955 | 1109 | 1386 | 161 | 370 | 757 | 1955 | 460 | 487 | 1766 | 0 | 76287 | 0
Total Supply | 16499714.9554 | 41879592.1388 | 53160209.0541 | 229433.9881 | 80050.2869 | 133654.3655 | 449434.6039 | 93369.987 | 14256.4656 | 1634643.2512 | 1878398.9292 | 2329763.1133 | 280670.804 | 642365.6841 | 1311215.6871 | 3391305.9101 | 797296.6946 | 851723.7128 | 3059462.6749 | 0 | 0 | 128716562.3067

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1286 | 1811 | 1965 | 1 | 5 | 0 | 0 | 0 | 1 | 0 | 5 | 40 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5115 | 10230 | 18230455.3451
2kW_SE | 1240 | 1903 | 1929 | 4 | 8 | 0 | 0 | 0 | 0 | 0 | 8 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5128 | 10256 | 17615707.4512
2kW_SW | 1316 | 1852 | 2070 | 2 | 3 | 0 | 1 | 0 | 0 | 1 | 4 | 41 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 5292 | 10584 | 18051993.4173
2kW_W | 1265 | 1896 | 1901 | 6 | 2 | 0 | 0 | 0 | 0 | 1 | 4 | 38 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5114 | 10228 | 15588513.7678
4kW_S | 33 | 804 | 1102 | 4 | 1 | 0 | 3 | 0 | 0 | 3 | 14 | 50 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2016 | 8064 | 14370517.3752
4kW_SE | 33 | 785 | 1115 | 8 | 0 | 0 | 1 | 0 | 0 | 2 | 16 | 55 | 1 | 1 | 1 | 5 | 0 | 0 | 0 | 2023 | 8092 | 13898820.5696
4kW_SW | 34 | 745 | 1087 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 16 | 45 | 0 | 0 | 1 | 5 | 0 | 0 | 2 | 1941 | 7764 | 13242222.0799
4kW_W | 33 | 770 | 1100 | 5 | 3 | 0 | 1 | 0 | 0 | 1 | 14 | 62 | 0 | 0 | 0 | 3 | 1 | 0 | 4 | 1997 | 7988 | 12174525.6018
6kW_S | 0 | 18 | 82 | 3 | 0 | 0 | 6 | 2 | 1 | 7 | 28 | 21 | 4 | 2 | 2 | 8 | 3 | 0 | 7 | 194 | 1164 | 2074315.7495
6kW_SE | 0 | 12 | 78 | 1 | 0 | 0 | 2 | 0 | 0 | 10 | 26 | 21 | 0 | 3 | 0 | 17 | 3 | 1 | 8 | 182 | 1092 | 1875619.3949
6kW_SW | 0 | 16 | 82 | 2 | 0 | 0 | 3 | 1 | 1 | 10 | 25 | 14 | 1 | 3 | 2 | 15 | 3 | 1 | 10 | 189 | 1134 | 1934142.1742
6kW_W | 0 | 16 | 74 | 0 | 0 | 0 | 3 | 3 | 0 | 17 | 24 | 12 | 2 | 3 | 0 | 13 | 2 | 0 | 11 | 180 | 1080 | 1646030.0023
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 4 | 2 | 0 | 0 | 1 | 1 | 2 | 1 | 2 | 9 | 24 | 600 | 1069234.9248
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 5 | 9 | 0 | 2 | 2 | 4 | 6 | 3 | 2 | 2 | 38 | 950 | 1620313.1062
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 1 | 0 | 1 | 2 | 3 | 11 | 2 | 3 | 8 | 35 | 2625 | 4677902.7915
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 1 | 0 | 0 | 1 | 5 | 10 | 2 | 2 | 11 | 37 | 2775 | 4733019.8575
Total Units | 5240 | 10628 | 12585 | 38 | 22 | 1 | 25 | 7 | 3 | 72 | 197 | 435 | 12 | 18 | 19 | 99 | 20 | 11 | 73 | 29505 | 0 | 0
Total Capacity | 10746 | 27712 | 35242 | 138 | 52 | 75 | 281 | 61 | 14 | 1058 | 1325 | 1566 | 173 | 370 | 757 | 2155 | 470 | 487 | 1944 | 0 | 84626 | 0
Total Supply | 18083296.8394 | 46616154.7577 | 59320016.4602 | 232869.1884 | 87049.6037 | 133654.3655 | 481052.8589 | 103603.5435 | 24490.0221 | 1814713.0221 | 2252445.1352 | 2635151.9259 | 300507.7644 | 642365.6841 | 1311215.6871 | 3731356.5209 | 813698.7031 | 851723.7128 | 3367967.8142 | 0 | 0 | 142803333.6088

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1401 | 1972 | 2150 | 1 | 5 | 0 | 0 | 0 | 1 | 0 | 7 | 42 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5580 | 11160 | 19887769.4674
2kW_SE | 1367 | 2094 | 2128 | 4 | 8 | 0 | 0 | 0 | 0 | 0 | 8 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5645 | 11290 | 19391706.0378
2kW_SW | 1442 | 2020 | 2267 | 2 | 3 | 0 | 1 | 0 | 0 | 1 | 5 | 48 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 5791 | 11582 | 19754174.9583
2kW_W | 1388 | 2073 | 2083 | 6 | 2 | 0 | 0 | 0 | 0 | 1 | 5 | 41 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 5601 | 11202 | 17072988.9741
4kW_S | 35 | 869 | 1190 | 4 | 1 | 0 | 3 | 0 | 0 | 3 | 15 | 53 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2175 | 8700 | 15503906.3944
4kW_SE | 36 | 850 | 1210 | 8 | 0 | 0 | 1 | 0 | 1 | 2 | 18 | 61 | 1 | 1 | 1 | 5 | 0 | 0 | 1 | 2196 | 8784 | 15087399.8867
4kW_SW | 36 | 825 | 1199 | 2 | 0 | 0 | 1 | 0 | 0 | 4 | 18 | 46 | 0 | 0 | 1 | 5 | 0 | 0 | 3 | 2140 | 8560 | 14599873.9058
4kW_W | 37 | 845 | 1208 | 6 | 4 | 0 | 1 | 0 | 0 | 1 | 19 | 65 | 0 | 0 | 0 | 3 | 1 | 0 | 4 | 2194 | 8776 | 13375517.8619
6kW_S | 0 | 22 | 90 | 3 | 0 | 0 | 6 | 2 | 1 | 8 | 30 | 22 | 4 | 2 | 2 | 10 | 3 | 0 | 8 | 213 | 1278 | 2277470.3847
6kW_SE | 0 | 15 | 85 | 1 | 0 | 0 | 2 | 0 | 0 | 11 | 27 | 21 | 0 | 3 | 0 | 19 | 3 | 1 | 9 | 197 | 1182 | 2030203.411
6kW_SW | 0 | 19 | 88 | 2 | 0 | 0 | 5 | 1 | 1 | 13 | 28 | 15 | 1 | 3 | 2 | 16 | 3 | 1 | 11 | 209 | 1254 | 2138813.3037
6kW_W | 0 | 17 | 83 | 0 | 0 | 0 | 3 | 3 | 0 | 19 | 25 | 13 | 2 | 3 | 0 | 15 | 2 | 0 | 12 | 197 | 1182 | 1801488.3914
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 4 | 2 | 0 | 0 | 1 | 1 | 2 | 3 | 2 | 9 | 26 | 650 | 1158337.8353
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 6 | 9 | 0 | 2 | 2 | 4 | 6 | 4 | 2 | 3 | 41 | 1025 | 1748232.562
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 1 | 0 | 1 | 2 | 3 | 12 | 2 | 3 | 9 | 37 | 2775 | 4945211.5225
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 1 | 0 | 0 | 1 | 5 | 11 | 3 | 2 | 13 | 41 | 3075 | 5244697.6799
Total Units | 5742 | 11621 | 13781 | 39 | 23 | 1 | 28 | 7 | 4 | 80 | 218 | 463 | 12 | 18 | 19 | 108 | 24 | 11 | 84 | 32283 | 0 | 0
Total Capacity | 11772 | 30312 | 38560 | 142 | 56 | 75 | 297 | 61 | 18 | 1125 | 1415 | 1660 | 173 | 370 | 757 | 2347 | 620 | 487 | 2228 | 0 | 92475 | 0
Total Supply | 19807077.1329 | 50985174.8713 | 64893630.4177 | 238965.5958 | 93146.0111 | 133654.3655 | 508342.3428 | 103603.5435 | 31360.4228 | 1927340.6826 | 2402564.1504 | 2793092.2805 | 300507.7644 | 642365.6841 | 1311215.6871 | 4063449.0213 | 1073360.8877 | 851723.7128 | 3857218.0027 | 0 | 0 | 156017792.5768

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1508 | 2106 | 2318 | 2 | 5 | 0 | 0 | 0 | 1 | 0 | 8 | 46 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5995 | 11990 | 21366877.77
2kW_SE | 1485 | 2226 | 2314 | 5 | 8 | 0 | 0 | 0 | 0 | 0 | 8 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6085 | 12170 | 20903194.1967
2kW_SW | 1553 | 2176 | 2407 | 3 | 3 | 0 | 1 | 0 | 0 | 1 | 6 | 51 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 6203 | 12406 | 21159583.365
2kW_W | 1489 | 2247 | 2232 | 7 | 2 | 0 | 0 | 0 | 0 | 1 | 5 | 47 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 6032 | 12064 | 18386764.7727
4kW_S | 37 | 943 | 1291 | 5 | 1 | 0 | 3 | 0 | 0 | 3 | 15 | 58 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 2359 | 9436 | 16815501.2342
4kW_SE | 41 | 913 | 1302 | 9 | 1 | 0 | 1 | 0 | 1 | 2 | 18 | 66 | 1 | 1 | 1 | 6 | 0 | 0 | 1 | 2364 | 9456 | 16241627.2004
4kW_SW | 39 | 896 | 1307 | 2 | 0 | 0 | 1 | 0 | 0 | 5 | 19 | 51 | 0 | 0 | 1 | 5 | 0 | 0 | 3 | 2329 | 9316 | 15889302.0217
4kW_W | 37 | 919 | 1318 | 6 | 4 | 0 | 1 | 0 | 0 | 1 | 20 | 70 | 0 | 0 | 0 | 3 | 1 | 0 | 4 | 2384 | 9536 | 14533835.2702
6kW_S | 0 | 23 | 96 | 3 | 0 | 0 | 8 | 2 | 1 | 9 | 32 | 22 | 5 | 2 | 2 | 11 | 3 | 0 | 10 | 229 | 1374 | 2448547.9723
6kW_SE | 0 | 17 | 91 | 1 | 0 | 0 | 2 | 0 | 0 | 12 | 27 | 22 | 0 | 3 | 0 | 21 | 3 | 1 | 9 | 209 | 1254 | 2153870.6238
6kW_SW | 0 | 20 | 95 | 2 | 0 | 0 | 5 | 1 | 1 | 14 | 30 | 18 | 1 | 3 | 2 | 16 | 4 | 1 | 11 | 224 | 1344 | 2292316.6508
6kW_W | 0 | 19 | 91 | 1 | 0 | 0 | 3 | 3 | 0 | 22 | 25 | 15 | 2 | 3 | 0 | 16 | 2 | 0 | 12 | 214 | 1284 | 1956946.7805
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 5 | 2 | 0 | 0 | 1 | 1 | 3 | 3 | 2 | 9 | 28 | 700 | 1247440.7457
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 7 | 9 | 0 | 2 | 2 | 4 | 6 | 4 | 2 | 3 | 42 | 1050 | 1790872.3806
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 1 | 0 | 2 | 2 | 3 | 13 | 2 | 3 | 11 | 41 | 3075 | 5479828.9844
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 6 | 1 | 0 | 0 | 1 | 5 | 12 | 3 | 2 | 15 | 46 | 3450 | 5884294.9579
Total Units | 6189 | 12505 | 14862 | 46 | 24 | 1 | 30 | 7 | 4 | 91 | 226 | 505 | 15 | 18 | 19 | 116 | 25 | 11 | 90 | 34784 | 0 | 0
Total Capacity | 12686 | 32668 | 41652 | 164 | 60 | 75 | 309 | 61 | 18 | 1365 | 1451 | 1808 | 258 | 370 | 757 | 2550 | 626 | 487 | 2540 | 0 | 99905 | 0
Total Supply | 21349376.9713 | 54934418.5816 | 70093326.3001 | 275567.5464 | 100016.4118 | 133654.3655 | 529727.0413 | 103603.5435 | 31360.4228 | 2335858.5788 | 2464310.042 | 3040059.678 | 451982.7119 | 642365.6841 | 1311215.6871 | 4416892.8607 | 1083594.4442 | 851723.7128 | 4401750.3433 | 0 | 0 | 168550804.9269

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1606 | 2223 | 2480 | 3 | 6 | 0 | 0 | 0 | 1 | 0 | 8 | 49 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6377 | 12754 | 22728370.2318
2kW_SE | 1596 | 2369 | 2466 | 5 | 8 | 0 | 0 | 0 | 0 | 0 | 8 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6495 | 12990 | 22311626.3447
2kW_SW | 1667 | 2321 | 2561 | 3 | 3 | 0 | 1 | 0 | 0 | 1 | 6 | 52 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 6617 | 13234 | 22571814.1425
2kW_W | 1577 | 2403 | 2386 | 7 | 2 | 0 | 0 | 0 | 0 | 1 | 5 | 53 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 6436 | 12872 | 19618239.0711
4kW_S | 39 | 994 | 1385 | 5 | 1 | 0 | 3 | 0 | 0 | 3 | 17 | 60 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 2510 | 10040 | 17891864.3908
4kW_SE | 50 | 965 | 1398 | 10 | 1 | 0 | 1 | 0 | 1 | 2 | 18 | 71 | 1 | 1 | 1 | 6 | 0 | 0 | 1 | 2527 | 10108 | 17361502.5108
4kW_SW | 45 | 961 | 1397 | 2 | 0 | 0 | 2 | 0 | 0 | 5 | 21 | 53 | 0 | 0 | 1 | 5 | 0 | 0 | 3 | 2495 | 9980 | 17021815.6051
4kW_W | 40 | 968 | 1412 | 6 | 4 | 0 | 1 | 0 | 0 | 1 | 22 | 75 | 0 | 0 | 0 | 3 | 1 | 0 | 4 | 2537 | 10148 | 15466585.6042
6kW_S | 0 | 24 | 104 | 3 | 0 | 0 | 8 | 2 | 1 | 9 | 33 | 22 | 5 | 2 | 2 | 13 | 3 | 0 | 11 | 242 | 1452 | 2587548.5122
6kW_SE | 0 | 18 | 100 | 1 | 0 | 0 | 2 | 0 | 0 | 13 | 28 | 22 | 0 | 3 | 1 | 21 | 3 | 1 | 10 | 223 | 1338 | 2298149.0388
6kW_SW | 0 | 24 | 99 | 2 | 0 | 0 | 6 | 1 | 1 | 15 | 31 | 21 | 1 | 4 | 2 | 16 | 4 | 1 | 12 | 240 | 1440 | 2456053.5545
6kW_W | 0 | 21 | 93 | 1 | 0 | 0 | 3 | 3 | 0 | 22 | 28 | 20 | 2 | 3 | 0 | 17 | 2 | 0 | 12 | 227 | 1362 | 2075826.7251
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 6 | 2 | 0 | 0 | 1 | 2 | 3 | 4 | 2 | 10 | 32 | 800 | 1425646.5665
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 7 | 9 | 0 | 2 | 2 | 4 | 6 | 4 | 2 | 4 | 43 | 1075 | 1833512.1992
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 1 | 0 | 2 | 2 | 3 | 14 | 3 | 3 | 11 | 44 | 3300 | 5880792.0808
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 1 | 0 | 0 | 1 | 6 | 12 | 4 | 3 | 15 | 50 | 3750 | 6395972.7803
Total Units | 6620 | 13291 | 15881 | 48 | 25 | 1 | 32 | 7 | 4 | 96 | 238 | 541 | 15 | 19 | 22 | 120 | 28 | 12 | 95 | 37095 | 0 | 0
Total Capacity | 13588 | 34706 | 44530 | 170 | 62 | 75 | 319 | 61 | 18 | 1552 | 1511 | 1940 | 258 | 376 | 863 | 2643 | 801 | 562 | 2608 | 0 | 106643 | 0
Total Supply | 22872398.2057 | 58355995.7053 | 74941810.2288 | 286002.0635 | 103580.5282 | 133654.3655 | 546782.9687 | 103603.5435 | 31360.4228 | 2662523.0126 | 2563069.4046 | 3255352.2095 | 451982.7119 | 652599.2405 | 1493992.1989 | 4581076.5357 | 1389719.7204 | 979643.1684 | 4520173.1239 | 0 | 0 | 179925319.3584

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1687 | 2350 | 2612 | 4 | 7 | 0 | 0 | 0 | 1 | 0 | 9 | 52 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6723 | 13446 | 23961554.5034
2kW_SE | 1664 | 2495 | 2599 | 5 | 8 | 0 | 0 | 0 | 0 | 0 | 9 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6826 | 13652 | 23448677.6642
2kW_SW | 1740 | 2442 | 2724 | 3 | 3 | 0 | 1 | 0 | 0 | 1 | 6 | 55 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 6977 | 13954 | 23799840.9056
2kW_W | 1658 | 2543 | 2526 | 7 | 3 | 0 | 0 | 0 | 0 | 2 | 5 | 56 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 6802 | 13604 | 20733881.6286
4kW_S | 42 | 1047 | 1467 | 5 | 1 | 0 | 3 | 0 | 0 | 3 | 17 | 67 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 2655 | 10620 | 18925458.1504
4kW_SE | 51 | 1015 | 1461 | 11 | 1 | 0 | 1 | 0 | 1 | 2 | 18 | 74 | 1 | 1 | 1 | 6 | 0 | 0 | 1 | 2645 | 10580 | 18172209.7907
4kW_SW | 47 | 1010 | 1465 | 3 | 0 | 0 | 2 | 0 | 0 | 5 | 22 | 56 | 1 | 0 | 1 | 5 | 0 | 0 | 3 | 2620 | 10480 | 17874611.9781
4kW_W | 43 | 1022 | 1486 | 6 | 4 | 0 | 1 | 0 | 1 | 1 | 23 | 76 | 0 | 0 | 0 | 3 | 1 | 0 | 5 | 2672 | 10688 | 16289600.6049
6kW_S | 0 | 25 | 110 | 3 | 0 | 0 | 8 | 2 | 1 | 9 | 35 | 22 | 5 | 3 | 3 | 13 | 3 | 0 | 11 | 253 | 1518 | 2705164.3537
6kW_SE | 0 | 18 | 105 | 1 | 0 | 0 | 3 | 0 | 0 | 13 | 28 | 23 | 0 | 3 | 1 | 21 | 3 | 1 | 10 | 230 | 1380 | 2370288.2463
6kW_SW | 0 | 24 | 107 | 2 | 0 | 0 | 6 | 1 | 1 | 16 | 31 | 22 | 1 | 4 | 2 | 17 | 4 | 1 | 13 | 252 | 1512 | 2578856.2322
6kW_W | 0 | 23 | 99 | 1 | 0 | 1 | 3 | 3 | 0 | 22 | 30 | 22 | 2 | 3 | 0 | 18 | 3 | 0 | 13 | 243 | 1458 | 2222140.5031
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 6 | 2 | 0 | 0 | 2 | 2 | 3 | 4 | 3 | 10 | 34 | 850 | 1514749.4769
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 8 | 10 | 0 | 2 | 2 | 4 | 6 | 4 | 2 | 4 | 46 | 1150 | 1961431.6549
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 2 | 3 | 14 | 3 | 4 | 12 | 47 | 3525 | 6281755.1772
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 1 | 0 | 0 | 1 | 6 | 12 | 4 | 3 | 15 | 50 | 3750 | 6395972.7803
Total Units | 6932 | 14014 | 16761 | 51 | 27 | 2 | 33 | 8 | 5 | 100 | 247 | 571 | 16 | 21 | 23 | 122 | 29 | 14 | 99 | 39075 | 0 | 0
Total Capacity | 14230 | 36576 | 46964 | 180 | 66 | 81 | 325 | 86 | 22 | 1660 | 1572 | 2044 | 262 | 407 | 869 | 2655 | 807 | 662 | 2699 | 0 | 112167 | 0
Total Supply | 23950795.3599 | 61494775.8151 | 79036750.9176 | 303258.9515 | 110192.8483 | 142798.9766 | 557088.5698 | 146243.3621 | 37456.8302 | 2852098.9568 | 2665301.239 | 3431629.0592 | 458805.0829 | 707843.045 | 1504684.5482 | 4600454.7033 | 1398864.3316 | 1157848.989 | 4679302.0643 | 0 | 0 | 189236193.6504

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1761 | 2479 | 2745 | 4 | 7 | 0 | 0 | 0 | 1 | 0 | 9 | 54 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7061 | 14122 | 25166225.8439
2kW_SE | 1736 | 2625 | 2736 | 5 | 8 | 0 | 0 | 0 | 0 | 0 | 9 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7169 | 14338 | 24626951.388
2kW_SW | 1809 | 2563 | 2822 | 3 | 3 | 0 | 1 | 0 | 0 | 1 | 7 | 56 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 7267 | 14534 | 24789084.687
2kW_W | 1734 | 2654 | 2651 | 7 | 3 | 0 | 0 | 0 | 0 | 2 | 5 | 58 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 7116 | 14232 | 21691017.5932
4kW_S | 44 | 1086 | 1549 | 6 | 1 | 0 | 3 | 0 | 0 | 3 | 18 | 68 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 2782 | 11128 | 19830743.7192
4kW_SE | 53 | 1060 | 1515 | 11 | 1 | 0 | 1 | 0 | 1 | 2 | 19 | 76 | 1 | 1 | 1 | 6 | 0 | 0 | 1 | 2749 | 10996 | 18886731.4611
4kW_SW | 49 | 1049 | 1535 | 3 | 0 | 0 | 2 | 0 | 0 | 5 | 23 | 59 | 1 | 0 | 1 | 5 | 0 | 0 | 3 | 2735 | 10940 | 18659184.6412
4kW_W | 46 | 1060 | 1542 | 7 | 4 | 0 | 1 | 0 | 1 | 1 | 27 | 77 | 0 | 0 | 0 | 3 | 1 | 0 | 5 | 2775 | 11100 | 16917530.5683
6kW_S | 0 | 26 | 114 | 3 | 0 | 1 | 8 | 2 | 1 | 10 | 37 | 23 | 5 | 3 | 3 | 13 | 3 | 0 | 12 | 264 | 1584 | 2822780.1951
6kW_SE | 0 | 19 | 106 | 2 | 0 | 0 | 3 | 0 | 0 | 13 | 29 | 24 | 0 | 3 | 1 | 22 | 3 | 2 | 11 | 238 | 1428 | 2452733.0549
6kW_SW | 0 | 25 | 115 | 2 | 0 | 0 | 6 | 1 | 1 | 17 | 32 | 23 | 1 | 4 | 2 | 17 | 5 | 1 | 13 | 265 | 1590 | 2711892.4664
6kW_W | 0 | 24 | 101 | 1 | 0 | 1 | 3 | 3 | 0 | 22 | 32 | 23 | 2 | 3 | 0 | 18 | 3 | 1 | 15 | 252 | 1512 | 2304442.0032
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 6 | 3 | 0 | 0 | 2 | 2 | 3 | 4 | 4 | 10 | 36 | 900 | 1603852.3873
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 8 | 10 | 0 | 2 | 2 | 4 | 7 | 4 | 2 | 4 | 47 | 1175 | 2004071.4735
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5 | 1 | 0 | 2 | 2 | 3 | 14 | 4 | 4 | 13 | 49 | 3675 | 6549063.9081
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 1 | 0 | 0 | 1 | 6 | 12 | 4 | 3 | 16 | 51 | 3825 | 6523892.236
Total Units | 7232 | 14670 | 17531 | 54 | 27 | 3 | 33 | 8 | 5 | 102 | 262 | 591 | 16 | 21 | 23 | 124 | 32 | 17 | 105 | 40856 | 0 | 0
Total Capacity | 14848 | 38226 | 49088 | 194 | 66 | 87 | 325 | 86 | 22 | 1672 | 1663 | 2114 | 262 | 407 | 869 | 2686 | 892 | 699 | 2873 | 0 | 117079 | 0
Total Supply | 24988840.9082 | 64277508.1067 | 82624436.6694 | 326789.1928 | 110192.8483 | 153491.3258 | 557088.5698 | 146243.3621 | 37456.8302 | 2873024.8625 | 2818683.5921 | 3549814.3587 | 458805.0829 | 707843.045 | 1504684.5482 | 4653400.123 | 1549880.4863 | 1221850.6564 | 4980163.058 | 0 | 0 | 197540197.6264

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1821 | 2583 | 2843 | 4 | 7 | 0 | 0 | 0 | 1 | 0 | 9 | 57 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7326 | 14652 | 26110716.6878
2kW_SE | 1798 | 2718 | 2828 | 5 | 8 | 0 | 0 | 0 | 0 | 0 | 10 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7419 | 14838 | 25485751.4783
2kW_SW | 1861 | 2648 | 2930 | 3 | 3 | 0 | 1 | 0 | 0 | 1 | 7 | 56 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 7512 | 15024 | 25624825.1229
2kW_W | 1802 | 2750 | 2748 | 7 | 3 | 0 | 0 | 0 | 0 | 2 | 5 | 59 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 7378 | 14756 | 22489646.965
4kW_S | 44 | 1127 | 1606 | 6 | 1 | 0 | 3 | 0 | 0 | 3 | 18 | 70 | 1 | 0 | 0 | 1 | 1 | 0 | 2 | 2883 | 11532 | 20550695.2345
4kW_SE | 54 | 1101 | 1566 | 11 | 1 | 0 | 1 | 0 | 1 | 2 | 20 | 79 | 1 | 1 | 1 | 6 | 0 | 0 | 1 | 2846 | 11384 | 19553160.3267
4kW_SW | 51 | 1080 | 1605 | 3 | 0 | 0 | 2 | 0 | 0 | 5 | 23 | 62 | 1 | 0 | 1 | 6 | 0 | 0 | 4 | 2843 | 11372 | 19396000.7075
4kW_W | 46 | 1105 | 1607 | 8 | 4 | 0 | 1 | 0 | 1 | 1 | 27 | 78 | 0 | 0 | 0 | 3 | 1 | 0 | 5 | 2887 | 11548 | 17600328.1984
6kW_S | 0 | 28 | 116 | 3 | 0 | 1 | 8 | 2 | 1 | 10 | 37 | 23 | 5 | 3 | 3 | 14 | 3 | 0 | 12 | 269 | 1614 | 2876241.9413
6kW_SE | 0 | 20 | 109 | 2 | 0 | 0 | 3 | 0 | 0 | 13 | 29 | 26 | 0 | 3 | 1 | 22 | 3 | 2 | 11 | 244 | 1464 | 2514566.6613
6kW_SW | 0 | 26 | 118 | 2 | 0 | 0 | 7 | 1 | 1 | 17 | 32 | 24 | 1 | 4 | 2 | 19 | 5 | 1 | 13 | 273 | 1638 | 2793760.9182
6kW_W | 0 | 25 | 103 | 1 | 0 | 1 | 3 | 3 | 0 | 23 | 32 | 24 | 2 | 3 | 0 | 18 | 3 | 1 | 15 | 257 | 1542 | 2350165.0589
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 6 | 3 | 0 | 0 | 2 | 2 | 3 | 4 | 4 | 10 | 36 | 900 | 1603852.3873
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 9 | 10 | 0 | 2 | 3 | 4 | 7 | 5 | 2 | 5 | 51 | 1275 | 2174630.7478
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 1 | 0 | 2 | 2 | 3 | 14 | 4 | 4 | 13 | 50 | 3750 | 6682718.2736
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 1 | 0 | 0 | 1 | 7 | 12 | 4 | 3 | 17 | 53 | 3975 | 6779731.1472
Total Units | 7477 | 15211 | 18179 | 55 | 27 | 3 | 34 | 8 | 5 | 105 | 264 | 610 | 16 | 22 | 24 | 128 | 33 | 17 | 109 | 42327 | 0 | 0
Total Capacity | 15344 | 39644 | 50910 | 198 | 66 | 87 | 331 | 86 | 22 | 1778 | 1669 | 2186 | 262 | 432 | 944 | 2708 | 917 | 699 | 2981 | 0 | 121264 | 0
Total Supply | 25820844.9526 | 66661072.4394 | 85685665.8473 | 332885.6002 | 110192.8483 | 153491.3258 | 567322.1263 | 146243.3621 | 37456.8302 | 3058463.6577 | 2828989.1931 | 3671845.8701 | 458805.0829 | 750482.8636 | 1632604.0038 | 4691381.9562 | 1592520.3049 | 1221850.6564 | 5164672.936 | 0 | 0 | 204586791.8567

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1874 | 2680 | 2931 | 4 | 7 | 0 | 0 | 0 | 1 | 0 | 10 | 59 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7567 | 15134 | 26969668.7383
2kW_SE | 1852 | 2800 | 2924 | 5 | 8 | 0 | 0 | 0 | 0 | 0 | 10 | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7653 | 15306 | 26289588.3627
2kW_SW | 1929 | 2732 | 3016 | 3 | 3 | 0 | 1 | 0 | 0 | 1 | 7 | 56 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 7750 | 15500 | 26436687.2607
2kW_W | 1864 | 2836 | 2830 | 7 | 3 | 0 | 0 | 0 | 0 | 2 | 5 | 60 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 7609 | 15218 | 23193782.0218
4kW_S | 45 | 1168 | 1646 | 6 | 1 | 0 | 3 | 0 | 0 | 3 | 20 | 71 | 1 | 0 | 0 | 1 | 1 | 0 | 2 | 2968 | 11872 | 21156595.0246
4kW_SE | 57 | 1149 | 1618 | 12 | 1 | 0 | 1 | 0 | 1 | 3 | 21 | 79 | 1 | 1 | 1 | 6 | 0 | 0 | 1 | 2952 | 11808 | 20281422.7985
4kW_SW | 52 | 1112 | 1660 | 4 | 0 | 0 | 2 | 0 | 0 | 5 | 24 | 66 | 1 | 0 | 1 | 6 | 0 | 0 | 4 | 2937 | 11748 | 20037303.58
4kW_W | 48 | 1135 | 1666 | 8 | 4 | 0 | 1 | 0 | 1 | 1 | 28 | 82 | 0 | 0 | 1 | 3 | 1 | 0 | 5 | 2984 | 11936 | 18191679.7174
6kW_S | 0 | 29 | 119 | 3 | 0 | 2 | 8 | 2 | 1 | 12 | 37 | 23 | 5 | 4 | 3 | 14 | 3 | 0 | 12 | 277 | 1662 | 2961780.735
6kW_SE | 0 | 20 | 111 | 2 | 0 | 0 | 3 | 0 | 0 | 13 | 29 | 26 | 0 | 3 | 1 | 24 | 3 | 2 | 11 | 248 | 1488 | 2555789.0656
6kW_SW | 0 | 29 | 123 | 2 | 0 | 0 | 7 | 1 | 1 | 17 | 33 | 25 | 1 | 4 | 2 | 20 | 5 | 1 | 14 | 285 | 1710 | 2916563.5959
6kW_W | 0 | 25 | 104 | 1 | 0 | 1 | 3 | 3 | 0 | 23 | 33 | 24 | 2 | 3 | 0 | 20 | 3 | 1 | 15 | 261 | 1566 | 2386743.5034
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 6 | 3 | 0 | 0 | 2 | 2 | 3 | 4 | 4 | 10 | 36 | 900 | 1603852.3873
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 9 | 11 | 0 | 2 | 3 | 4 | 7 | 5 | 2 | 5 | 52 | 1300 | 2217270.5664
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 1 | 0 | 2 | 2 | 5 | 14 | 4 | 4 | 13 | 52 | 3900 | 6950027.0045
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 1 | 0 | 0 | 1 | 7 | 13 | 4 | 3 | 17 | 54 | 4050 | 6907650.6028
Total Units | 7721 | 15715 | 18748 | 57 | 27 | 4 | 34 | 8 | 5 | 108 | 273 | 625 | 16 | 23 | 27 | 134 | 33 | 17 | 110 | 43685 | 0 | 0
Total Capacity | 15846 | 40970 | 52504 | 206 | 66 | 93 | 331 | 86 | 22 | 1794 | 1728 | 2238 | 262 | 438 | 1098 | 2813 | 917 | 699 | 2987 | 0 | 125098 | 0
Total Supply | 26662947.8023 | 68901801.1468 | 88362711.2105 | 346578.3719 | 110192.8483 | 164183.675 | 567322.1263 | 146243.3621 | 37456.8302 | 3086718.7568 | 2928616.9404 | 3757929.6102 | 458805.0829 | 761175.2128 | 1906009.1421 | 4868435.3926 | 1592520.3049 | 1221850.6564 | 5174906.4924 | 0 | 0 | 211056404.965

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1920 | 2746 | 3011 | 4 | 7 | 0 | 0 | 0 | 2 | 0 | 10 | 60 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7761 | 15522 | 27661107.3183
2kW_SE | 1908 | 2855 | 3017 | 5 | 8 | 0 | 0 | 0 | 0 | 0 | 10 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7858 | 15716 | 26993804.4367
2kW_SW | 1984 | 2818 | 3097 | 3 | 4 | 0 | 1 | 0 | 0 | 1 | 7 | 56 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 7973 | 15946 | 27197381.6168
2kW_W | 1923 | 2906 | 2915 | 8 | 3 | 0 | 0 | 0 | 0 | 2 | 5 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 7826 | 15652 | 23855242.2266
4kW_S | 46 | 1191 | 1692 | 6 | 1 | 0 | 3 | 0 | 0 | 3 | 20 | 72 | 1 | 0 | 1 | 1 | 1 | 0 | 2 | 3040 | 12160 | 21669827.788
4kW_SE | 57 | 1179 | 1663 | 12 | 1 | 0 | 1 | 0 | 1 | 3 | 22 | 80 | 1 | 1 | 1 | 6 | 0 | 0 | 1 | 3029 | 12116 | 20810443.6506
4kW_SW | 52 | 1147 | 1703 | 4 | 0 | 0 | 3 | 0 | 0 | 5 | 26 | 69 | 1 | 0 | 1 | 7 | 0 | 0 | 4 | 3022 | 12088 | 20617205.1136
4kW_W | 49 | 1160 | 1717 | 9 | 4 | 0 | 1 | 0 | 1 | 1 | 28 | 82 | 0 | 0 | 1 | 3 | 1 | 0 | 5 | 3062 | 12248 | 18667199.4955
6kW_S | 0 | 29 | 121 | 3 | 0 | 2 | 8 | 2 | 1 | 12 | 39 | 23 | 5 | 4 | 4 | 14 | 3 | 0 | 13 | 283 | 1698 | 3025934.8304
6kW_SE | 0 | 20 | 114 | 2 | 0 | 0 | 3 | 0 | 0 | 15 | 29 | 28 | 0 | 3 | 1 | 24 | 3 | 2 | 11 | 255 | 1530 | 2627928.2731
6kW_SW | 0 | 31 | 126 | 2 | 0 | 0 | 7 | 1 | 1 | 17 | 34 | 25 | 1 | 4 | 2 | 21 | 5 | 1 | 14 | 292 | 1752 | 2988198.4913
6kW_W | 0 | 26 | 107 | 1 | 0 | 1 | 3 | 3 | 0 | 23 | 33 | 25 | 2 | 3 | 0 | 21 | 3 | 1 | 16 | 268 | 1608 | 2450755.7812
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 7 | 3 | 0 | 0 | 2 | 2 | 3 | 4 | 5 | 10 | 38 | 950 | 1692955.2977
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 9 | 12 | 0 | 2 | 3 | 4 | 7 | 5 | 2 | 6 | 54 | 1350 | 2302550.2036
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 1 | 0 | 2 | 2 | 6 | 15 | 4 | 4 | 13 | 54 | 4050 | 7217335.7355
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 1 | 0 | 0 | 1 | 7 | 13 | 4 | 3 | 19 | 56 | 4200 | 7163489.514
Total Units | 7939 | 16108 | 19283 | 59 | 28 | 4 | 35 | 8 | 6 | 111 | 280 | 637 | 16 | 23 | 30 | 138 | 33 | 18 | 115 | 44871 | 0 | 0
Total Capacity | 16286 | 41994 | 53988 | 212 | 68 | 93 | 335 | 86 | 24 | 1831 | 1783 | 2284 | 262 | 438 | 1183 | 2904 | 917 | 724 | 3174 | 0 | 128586 | 0
Total Supply | 27399952.2355 | 70623571.3262 | 90854498.9676 | 355722.983 | 113604.0337 | 164183.675 | 574144.4972 | 146243.3621 | 41020.9466 | 3151881.4142 | 3023390.1566 | 3835246.8941 | 458805.0829 | 761175.2128 | 2057484.0896 | 5028290.2967 | 1592520.3049 | 1266402.1116 | 5493222.1826 | 0 | 0 | 216941359.773

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1973 | 2803 | 3096 | 4 | 7 | 0 | 0 | 0 | 2 | 0 | 10 | 60 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7956 | 15912 | 28356110.0148
2kW_SE | 1953 | 2922 | 3092 | 5 | 8 | 0 | 0 | 0 | 0 | 0 | 10 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8045 | 16090 | 27636186.9042
2kW_SW | 2023 | 2879 | 3156 | 3 | 5 | 0 | 1 | 0 | 0 | 1 | 7 | 59 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 8136 | 16272 | 27753404.8456
2kW_W | 1973 | 2957 | 2985 | 8 | 3 | 0 | 0 | 0 | 0 | 2 | 5 | 63 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 7998 | 15996 | 24379533.2646
4kW_S | 46 | 1208 | 1721 | 6 | 1 | 0 | 3 | 0 | 0 | 3 | 20 | 73 | 1 | 0 | 1 | 1 | 1 | 0 | 2 | 3087 | 12348 | 22004854.7308
4kW_SE | 58 | 1200 | 1707 | 12 | 1 | 0 | 1 | 0 | 1 | 3 | 22 | 85 | 2 | 1 | 1 | 6 | 0 | 0 | 2 | 3102 | 12408 | 21311982.9001
4kW_SW | 53 | 1179 | 1741 | 4 | 0 | 0 | 3 | 0 | 0 | 5 | 27 | 72 | 1 | 0 | 1 | 7 | 0 | 0 | 4 | 3097 | 12388 | 21128882.9374
4kW_W | 50 | 1190 | 1758 | 9 | 4 | 0 | 1 | 0 | 1 | 1 | 29 | 84 | 0 | 0 | 1 | 3 | 1 | 0 | 5 | 3137 | 12548 | 19124430.0514
6kW_S | 0 | 29 | 124 | 3 | 0 | 2 | 8 | 2 | 1 | 13 | 40 | 24 | 5 | 4 | 4 | 15 | 3 | 0 | 13 | 290 | 1740 | 3100781.275
6kW_SE | 0 | 20 | 116 | 2 | 0 | 0 | 3 | 0 | 0 | 16 | 30 | 28 | 0 | 3 | 1 | 25 | 3 | 3 | 12 | 262 | 1572 | 2700067.4806
6kW_SW | 0 | 32 | 131 | 2 | 0 | 0 | 7 | 1 | 1 | 17 | 34 | 26 | 1 | 4 | 2 | 21 | 5 | 1 | 14 | 299 | 1794 | 3059833.3866
6kW_W | 0 | 28 | 108 | 1 | 0 | 1 | 3 | 3 | 0 | 23 | 34 | 25 | 2 | 3 | 0 | 21 | 3 | 1 | 18 | 274 | 1644 | 2505623.448
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 7 | 3 | 0 | 0 | 2 | 3 | 4 | 4 | 5 | 11 | 41 | 1025 | 1826609.6633
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 9 | 12 | 0 | 2 | 3 | 4 | 8 | 5 | 2 | 7 | 56 | 1400 | 2387829.8408
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 2 | 0 | 2 | 2 | 7 | 15 | 4 | 4 | 13 | 56 | 4200 | 7484644.4664
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 1 | 0 | 0 | 1 | 7 | 13 | 4 | 3 | 19 | 56 | 4200 | 7163489.514
Total Units | 8129 | 16447 | 19735 | 59 | 29 | 4 | 35 | 8 | 6 | 113 | 286 | 654 | 17 | 23 | 32 | 142 | 33 | 19 | 121 | 45892 | 0 | 0
Total Capacity | 16672 | 42884 | 55240 | 212 | 70 | 93 | 335 | 86 | 24 | 1843 | 1884 | 2348 | 266 | 438 | 1283 | 2966 | 917 | 730 | 3246 | 0 | 131537 | 0
Total Supply | 28048670.0177 | 72115614.3314 | 92960942.9157 | 355722.983 | 117015.2192 | 164183.675 | 574144.4972 | 146243.3621 | 41020.9466 | 3172879.3645 | 3200105.8619 | 3943594.7239 | 465675.4836 | 761175.2128 | 2235689.9103 | 5136479.5208 | 1592520.3049 | 1276707.7127 | 5615878.6804 | 0 | 0 | 221924264.7235

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2008 | 2860 | 3146 | 4 | 7 | 0 | 0 | 0 | 2 | 0 | 10 | 61 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8099 | 16198 | 28865778.6588
2kW_SE | 1984 | 2972 | 3146 | 5 | 8 | 0 | 0 | 0 | 0 | 0 | 11 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8182 | 16364 | 28106809.3537
2kW_SW | 2065 | 2944 | 3228 | 3 | 5 | 0 | 1 | 0 | 0 | 1 | 8 | 59 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 8316 | 16632 | 28367418.2271
2kW_W | 1997 | 3005 | 3046 | 8 | 3 | 0 | 0 | 0 | 0 | 2 | 5 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8132 | 16264 | 24787992.5616
4kW_S | 47 | 1220 | 1752 | 6 | 1 | 0 | 3 | 0 | 0 | 3 | 20 | 75 | 1 | 0 | 1 | 1 | 1 | 0 | 2 | 3133 | 12532 | 22332753.4407
4kW_SE | 59 | 1222 | 1741 | 12 | 1 | 0 | 1 | 0 | 1 | 3 | 22 | 86 | 2 | 1 | 1 | 6 | 0 | 0 | 3 | 3161 | 12644 | 21717336.54
4kW_SW | 55 | 1202 | 1781 | 4 | 0 | 0 | 3 | 0 | 0 | 5 | 28 | 73 | 1 | 0 | 1 | 8 | 0 | 0 | 4 | 3165 | 12660 | 21592804.1644
4kW_W | 51 | 1220 | 1789 | 9 | 4 | 0 | 1 | 0 | 1 | 1 | 30 | 87 | 0 | 0 | 2 | 3 | 1 | 0 | 5 | 3204 | 12816 | 19532889.348
6kW_S | 0 | 29 | 126 | 3 | 0 | 2 | 8 | 2 | 1 | 13 | 42 | 24 | 5 | 4 | 4 | 15 | 3 | 0 | 13 | 294 | 1764 | 3143550.6719
6kW_SE | 0 | 21 | 118 | 2 | 0 | 0 | 3 | 0 | 0 | 16 | 30 | 28 | 0 | 3 | 1 | 26 | 3 | 3 | 12 | 266 | 1596 | 2741289.8849
6kW_SW | 0 | 34 | 135 | 2 | 0 | 0 | 7 | 1 | 1 | 17 | 35 | 26 | 1 | 4 | 2 | 21 | 5 | 1 | 14 | 306 | 1836 | 3131468.282
6kW_W | 0 | 29 | 111 | 1 | 0 | 1 | 3 | 3 | 0 | 23 | 35 | 25 | 2 | 3 | 0 | 21 | 3 | 1 | 18 | 279 | 1674 | 2551346.5036
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 7 | 3 | 0 | 0 | 2 | 3 | 4 | 4 | 5 | 11 | 41 | 1025 | 1826609.6633
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 9 | 12 | 0 | 2 | 3 | 4 | 9 | 5 | 2 | 7 | 57 | 1425 | 2430469.6593
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 2 | 0 | 2 | 2 | 7 | 15 | 4 | 4 | 13 | 56 | 4200 | 7484644.4664
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 1 | 0 | 0 | 2 | 8 | 13 | 4 | 3 | 21 | 60 | 4500 | 7675167.3364
Total Units | 8266 | 16758 | 20119 | 59 | 29 | 4 | 35 | 8 | 6 | 113 | 294 | 664 | 17 | 24 | 34 | 145 | 33 | 19 | 124 | 46751 | 0 | 0
Total Capacity | 16956 | 43696 | 56324 | 212 | 70 | 93 | 335 | 86 | 24 | 1843 | 1920 | 2382 | 266 | 513 | 1362 | 3001 | 917 | 730 | 3400 | 0 | 134130 | 0
Total Supply | 28530071.7635 | 73474981.5052 | 94783011.6032 | 355722.983 | 117015.2192 | 164183.675 | 574144.4972 | 146243.3621 | 41020.9466 | 3172879.3645 | 3260633.8921 | 3999880.7039 | 465675.4836 | 889094.6684 | 2369705.7733 | 5196247.3114 | 1592520.3049 | 1276707.7127 | 5878587.9923 | 0 | 0 | 226288328.7622

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2042 | 2912 | 3213 | 4 | 7 | 0 | 0 | 0 | 2 | 0 | 11 | 61 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8253 | 16506 | 29414652.5832
2kW_SE | 2014 | 3020 | 3197 | 5 | 8 | 0 | 0 | 0 | 0 | 0 | 12 | 57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8313 | 16626 | 28556820.601
2kW_SW | 2107 | 2997 | 3269 | 3 | 5 | 0 | 1 | 0 | 0 | 1 | 8 | 59 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 8453 | 16906 | 28834750.6342
2kW_W | 2023 | 3053 | 3115 | 8 | 3 | 0 | 0 | 0 | 0 | 2 | 5 | 65 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8276 | 16552 | 25226933.8957
4kW_S | 48 | 1238 | 1780 | 6 | 1 | 0 | 3 | 0 | 0 | 3 | 20 | 76 | 1 | 0 | 1 | 1 | 1 | 0 | 2 | 3181 | 12724 | 22674908.6163
4kW_SE | 59 | 1240 | 1763 | 13 | 1 | 0 | 1 | 0 | 1 | 3 | 23 | 86 | 2 | 1 | 1 | 6 | 0 | 0 | 3 | 3203 | 12812 | 22005893.3684
4kW_SW | 55 | 1215 | 1811 | 4 | 0 | 0 | 3 | 0 | 0 | 5 | 28 | 76 | 1 | 0 | 1 | 8 | 0 | 0 | 4 | 3211 | 12844 | 21906633.2296
4kW_W | 51 | 1244 | 1813 | 9 | 5 | 0 | 1 | 0 | 1 | 1 | 30 | 90 | 0 | 0 | 2 | 3 | 1 | 0 | 5 | 3256 | 13024 | 19849902.5335
6kW_S | 0 | 29 | 127 | 3 | 0 | 2 | 8 | 2 | 1 | 13 | 42 | 24 | 5 | 4 | 4 | 15 | 4 | 0 | 14 | 297 | 1782 | 3175627.7195
6kW_SE | 0 | 21 | 121 | 2 | 0 | 0 | 3 | 0 | 0 | 16 | 31 | 29 | 0 | 3 | 1 | 28 | 4 | 3 | 12 | 274 | 1644 | 2823734.6935
6kW_SW | 0 | 34 | 138 | 2 | 0 | 0 | 7 | 1 | 1 | 17 | 35 | 28 | 1 | 4 | 2 | 21 | 5 | 1 | 14 | 311 | 1866 | 3182636.0643
6kW_W | 0 | 29 | 113 | 1 | 0 | 1 | 3 | 3 | 0 | 23 | 35 | 25 | 2 | 3 | 0 | 21 | 3 | 1 | 18 | 281 | 1686 | 2569635.7258
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 7 | 3 | 0 | 0 | 2 | 3 | 5 | 4 | 5 | 11 | 43 | 1075 | 1915712.5737
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 9 | 12 | 0 | 2 | 3 | 4 | 9 | 5 | 2 | 7 | 57 | 1425 | 2430469.6593
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7 | 2 | 0 | 2 | 2 | 7 | 15 | 4 | 4 | 14 | 58 | 4350 | 7751953.1974
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 1 | 0 | 0 | 2 | 8 | 13 | 4 | 3 | 22 | 61 | 4575 | 7803086.792
Total Units | 8399 | 17032 | 20460 | 60 | 30 | 4 | 35 | 8 | 7 | 114 | 298 | 676 | 17 | 24 | 34 | 149 | 35 | 19 | 127 | 47528 | 0 | 0
Total Capacity | 17224 | 44390 | 57250 | 216 | 74 | 93 | 335 | 86 | 49 | 1918 | 1934 | 2432 | 266 | 513 | 1362 | 3040 | 929 | 730 | 3556 | 0 | 136397 | 0
Total Supply | 28983959.05 | 74639291.7857 | 96339510.5649 | 362593.3837 | 123111.6266 | 164183.675 | 574144.4972 | 146243.3621 | 85572.4018 | 3306533.7299 | 3284809.2106 | 4083021.39 | 465675.4836 | 889094.6684 | 2369705.7733 | 5264821.1542 | 1613518.2552 | 1276707.7127 | 6150854.1626 | 0 | 0 | 230123351.8875