## Summary
Ticks to run | 20
Initial price | 0.17
Solar PV cost | 3000
Capacity factor | 0.2
neighborhood effect | 0.15
k | 0.3
L-scale | 1

## Total
Year | Adjusted Price | Installed Units | New Installations | Installed Capacity | New Installed capacity | Demand | Supply | Demand/Supply | Net Demand
0 | 0.17 | 2347 | 2347 | 6779 | 6779 | 2133976344.0574 | 0 | 0 | 2133976344.0574
1 | 0.17043 | 5130 | 2783 | 14569 | 7790 | 2133976344.0574 | 11424329.1358 | 0.0053535 | 2122552014.9216
2 | 0.17093 | 8214 | 3084 | 23856 | 9287 | 2133976344.0574 | 24552928.6459 | 0.011506 | 2109423415.4115
3 | 0.17154 | 11634 | 3420 | 33636 | 9780 | 2133976344.0574 | 40249172.4236 | 0.018861 | 2093727171.6338
4 | 0.17219 | 15374 | 3740 | 44176 | 10540 | 2133976344.0574 | 56770634.7956 | 0.026603 | 2077205709.2618
5 | 0.1729 | 19260 | 3886 | 55522 | 11346 | 2133976344.0574 | 74562937.8795 | 0.034941 | 2059413406.1779
6 | 0.17368 | 22953 | 3693 | 65895 | 10373 | 2133976344.0574 | 93734215.5004 | 0.043925 | 2040242128.557
7 | 0.1744 | 26350 | 3397 | 75706 | 9811 | 2133976344.0574 | 111191123.4902 | 0.052105 | 2022785220.5673
8 | 0.17509 | 29413 | 3063 | 84482 | 8776 | 2133976344.0574 | 127749666.4936 | 0.059865 | 2006226677.5638
9 | 0.17573 | 32243 | 2830 | 92670 | 8188 | 2133976344.0574 | 142525919.2246 | 0.066789 | 1991450424.8328
10 | 0.17633 | 34700 | 2457 | 99877 | 7207 | 2133976344.0574 | 156359071.0464 | 0.073271 | 1977617273.011
11 | 0.17686 | 36947 | 2247 | 106046 | 6169 | 2133976344.0574 | 168529367.8063 | 0.078974 | 1965446976.2511
12 | 0.17732 | 38991 | 2044 | 112120 | 6074 | 2133976344.0574 | 178927208.7848 | 0.083847 | 1955049135.2726
13 | 0.17778 | 40786 | 1795 | 117112 | 4992 | 2133976344.0574 | 189179858.9938 | 0.088651 | 1944796485.0636
14 | 0.17816 | 42399 | 1613 | 121951 | 4839 | 2133976344.0574 | 197586669.6706 | 0.092591 | 1936389674.3869
15 | 0.17854 | 43795 | 1396 | 125813 | 3862 | 2133976344.0574 | 205753579.6232 | 0.096418 | 1928222764.4342
16 | 0.17884 | 44986 | 1191 | 129472 | 3659 | 2133976344.0574 | 212268572.8841 | 0.099471 | 1921707771.1733
17 | 0.17912 | 45958 | 972 | 132064 | 2592 | 2133976344.0574 | 218452363.3145 | 0.10237 | 1915523980.7429
18 | 0.17933 | 46815 | 857 | 134460 | 2396 | 2133976344.0574 | 222816542.5547 | 0.10441 | 1911159801.5027
19 | 0.17952 | 47636 | 821 | 136913 | 2453 | 2133976344.0574 | 226849154.5493 | 0.1063 | 1907127189.5081

## Yr_0
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 97 | 132 | 148 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 379 | 758 | 1350800.1126
2kW_SE | 101 | 150 | 174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 431 | 862 | 1480571.3556
2kW_SW | 108 | 135 | 166 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 414 | 828 | 1412230.7775
2kW_W | 111 | 153 | 162 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 428 | 856 | 1304631.1875
4kW_S | 1 | 52 | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 146 | 584 | 1040721.9925
4kW_SE | 4 | 74 | 84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 171 | 684 | 1174838.5158
4kW_SW | 3 | 60 | 93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 166 | 664 | 1132513.5833
4kW_W | 3 | 56 | 82 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 576 | 877882.6673
6kW_S | 0 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 66 | 117615.8415
6kW_SE | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 9 | 54 | 92750.4096
6kW_SW | 0 | 2 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 4 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 22 | 132 | 225138.2425
6kW_W | 0 | 2 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 15 | 90 | 137169.1669
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 4 | 100 | 170559.2743
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 150 | 267308.7309
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 5 | 375 | 639597.278
Total Units | 428 | 820 | 1020 | 1 | 2 | 0 | 1 | 0 | 0 | 6 | 14 | 38 | 0 | 0 | 2 | 7 | 1 | 2 | 5 | 2347 | 0 | 0
Total Capacity | 878 | 2156 | 2828 | 4 | 4 | 0 | 25 | 0 | 0 | 174 | 83 | 144 | 0 | 0 | 50 | 42 | 6 | 150 | 235 | 0 | 6779 | 0
Total Supply | 1472799.3378 | 3623586.4366 | 4758274.8187 | 6096.4074 | 6975.3018 | 0 | 42639.8186 | 0 | 0 | 296215.0291 | 142817.4944 | 243937.114 | 0 | 0 | 85279.6372 | 68440.1039 | 10233.5565 | 261573.8211 | 405460.2588 | 0 | 0 | 11424329.1358

## Yr_1
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 228 | 293 | 337 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 864 | 1728 | 3079396.5627
2kW_SE | 212 | 318 | 369 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 910 | 1820 | 3126032.3285
2kW_SW | 237 | 304 | 357 | 1 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 911 | 1822 | 3107589.9477
2kW_W | 220 | 331 | 331 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892 | 1784 | 2718997.7084
4kW_S | 9 | 128 | 186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 336 | 1344 | 2395086.2292
4kW_SE | 7 | 152 | 186 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 8 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 358 | 1432 | 2459603.4424
4kW_SW | 7 | 131 | 220 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 378 | 1512 | 2578856.232
4kW_W | 5 | 122 | 198 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 335 | 1340 | 2042296.483
6kW_S | 0 | 6 | 7 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 5 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 27 | 162 | 288693.429
6kW_SE | 0 | 2 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 6 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 26 | 156 | 267945.6278
6kW_SW | 0 | 3 | 17 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 5 | 7 | 0 | 0 | 0 | 4 | 1 | 0 | 0 | 39 | 234 | 399108.7026
6kW_W | 0 | 3 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 3 | 0 | 0 | 0 | 5 | 1 | 1 | 2 | 35 | 210 | 320061.3893
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 50 | 89102.9104
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 6 | 150 | 255838.9115
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 3 | 225 | 400963.0964
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 3 | 8 | 600 | 1023355.6449
Total Units | 925 | 1793 | 2236 | 6 | 5 | 1 | 4 | 2 | 0 | 9 | 32 | 83 | 0 | 0 | 4 | 13 | 2 | 3 | 12 | 5130 | 0 | 0
Total Capacity | 1906 | 4708 | 6260 | 22 | 12 | 6 | 39 | 81 | 0 | 188 | 186 | 314 | 0 | 0 | 60 | 185 | 12 | 156 | 434 | 0 | 14569 | 0
Total Supply | 3210422.3164 | 7919742.431 | 10524837.8127 | 35780.176 | 19918.0951 | 10692.3492 | 66976.9097 | 138611.8048 | 0 | 320213.4018 | 319036.7216 | 531175.2195 | 0 | 0 | 102842.3871 | 312073.612 | 19378.1676 | 270718.4322 | 750508.8091 | 0 | 0 | 24552928.6459

## Yr_2
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 354 | 472 | 556 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1390 | 2780 | 4954121.7849
2kW_SE | 374 | 520 | 581 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1492 | 2984 | 5125318.9386
2kW_SW | 363 | 498 | 561 | 1 | 3 | 0 | 1 | 0 | 0 | 0 | 2 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1442 | 2884 | 4918929.4232
2kW_W | 349 | 534 | 538 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1437 | 2874 | 4380268.7298
4kW_S | 11 | 210 | 288 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 5 | 17 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 534 | 2136 | 3806476.3286
4kW_SE | 11 | 210 | 312 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 10 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 552 | 2208 | 3792461.1737
4kW_SW | 11 | 207 | 327 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 5 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 574 | 2296 | 3916040.9448
4kW_W | 6 | 206 | 319 | 4 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 10 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 550 | 2200 | 3353024.0766
6kW_S | 0 | 7 | 20 | 0 | 0 | 1 | 3 | 1 | 1 | 2 | 7 | 2 | 0 | 0 | 2 | 1 | 1 | 0 | 3 | 51 | 306 | 545309.8104
6kW_SE | 0 | 2 | 18 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 3 | 11 | 0 | 1 | 0 | 3 | 0 | 0 | 2 | 45 | 270 | 463752.0482
6kW_SW | 0 | 3 | 24 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 6 | 9 | 0 | 0 | 0 | 5 | 2 | 1 | 1 | 55 | 330 | 562845.6062
6kW_W | 0 | 4 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 3 | 0 | 0 | 0 | 9 | 1 | 1 | 3 | 48 | 288 | 438941.334
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 2 | 6 | 150 | 267308.7312
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 4 | 0 | 0 | 0 | 4 | 2 | 0 | 0 | 1 | 14 | 350 | 596957.4602
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 1 | 3 | 10 | 750 | 1336543.6547
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 2 | 6 | 14 | 1050 | 1790872.3785
Total Units | 1479 | 2873 | 3566 | 12 | 6 | 1 | 9 | 2 | 1 | 17 | 53 | 121 | 0 | 1 | 10 | 28 | 6 | 6 | 23 | 8214 | 0 | 0
Total Capacity | 3036 | 7476 | 9960 | 42 | 14 | 6 | 67 | 81 | 6 | 268 | 356 | 454 | 0 | 6 | 270 | 637 | 103 | 262 | 812 | 0 | 23856 | 0
Total Supply | 5114155.0455 | 12565618.7776 | 16749408.7032 | 68406.9987 | 23329.2805 | 10692.3492 | 115956.954 | 138611.8048 | 10692.3492 | 456327.6889 | 610442.662 | 767722.7644 | 0 | 10305.6011 | 466484.602 | 1102236.3011 | 181086.6716 | 453422.8995 | 1404270.9704 | 0 | 0 | 40249172.4236

## Yr_3
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 494 | 693 | 797 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 3 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1998 | 3996 | 7121104.5512
2kW_SE | 527 | 730 | 801 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 5 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2083 | 4166 | 7155522.352
2kW_SW | 530 | 694 | 793 | 1 | 3 | 0 | 1 | 0 | 0 | 0 | 3 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2043 | 4086 | 6969051.8805
2kW_W | 501 | 759 | 746 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2029 | 4058 | 6184805.3256
4kW_S | 17 | 315 | 408 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 18 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 770 | 3080 | 5488739.2753
4kW_SE | 16 | 331 | 425 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 19 | 0 | 0 | 1 | 1 | 0 | 0 | 2 | 803 | 3212 | 5516931.7436
4kW_SW | 14 | 297 | 454 | 2 | 0 | 0 | 1 | 0 | 0 | 2 | 5 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 800 | 3200 | 5457896.7872
4kW_W | 8 | 282 | 452 | 4 | 3 | 0 | 1 | 0 | 0 | 0 | 6 | 18 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 775 | 3100 | 4724715.7443
6kW_S | 0 | 8 | 29 | 0 | 0 | 1 | 3 | 1 | 1 | 6 | 11 | 5 | 0 | 1 | 2 | 2 | 1 | 0 | 4 | 75 | 450 | 801926.1918
6kW_SE | 0 | 3 | 25 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 6 | 12 | 0 | 2 | 0 | 3 | 0 | 0 | 2 | 58 | 348 | 597724.8621
6kW_SW | 0 | 6 | 33 | 0 | 0 | 0 | 3 | 1 | 0 | 2 | 7 | 12 | 0 | 0 | 0 | 5 | 2 | 1 | 1 | 73 | 438 | 747049.6228
6kW_W | 0 | 7 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 4 | 4 | 0 | 0 | 0 | 11 | 1 | 1 | 3 | 67 | 402 | 612688.9453
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 5 | 10 | 250 | 445514.552
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 4 | 0 | 1 | 1 | 4 | 3 | 0 | 0 | 2 | 18 | 450 | 767516.7345
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 3 | 2 | 3 | 15 | 1125 | 2004815.4821
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 2 | 7 | 17 | 1275 | 2174630.7453
Total Units | 2107 | 4125 | 4994 | 16 | 11 | 1 | 11 | 3 | 1 | 27 | 69 | 173 | 1 | 4 | 10 | 35 | 9 | 7 | 30 | 11634 | 0 | 0
Total Capacity | 4324 | 10796 | 13938 | 58 | 28 | 6 | 75 | 87 | 6 | 466 | 432 | 636 | 25 | 43 | 270 | 855 | 257 | 337 | 997 | 0 | 33636 | 0
Total Supply | 7281493.2581 | 18165374.4928 | 23441306.6049 | 96404.2657 | 45440.6998 | 10692.3492 | 128875.7324 | 148845.3613 | 10692.3492 | 792603.3868 | 739334.987 | 1072137.3802 | 42639.8186 | 73943.37 | 466484.602 | 1485717.8773 | 455523.6354 | 587077.265 | 1726047.3601 | 0 | 0 | 56770634.7956

## Yr_4
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 678 | 930 | 1052 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 3 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2681 | 5362 | 9555396.047
2kW_SE | 684 | 989 | 1033 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 5 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2736 | 5472 | 9398708.1877
2kW_SW | 704 | 920 | 1050 | 1 | 4 | 0 | 1 | 0 | 0 | 0 | 4 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2704 | 5408 | 9223845.4649
2kW_W | 655 | 990 | 1014 | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2690 | 5380 | 8199667.9772
4kW_S | 22 | 412 | 543 | 3 | 0 | 0 | 1 | 0 | 0 | 1 | 6 | 25 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1015 | 4060 | 7235156.3174
4kW_SE | 17 | 428 | 570 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 22 | 0 | 0 | 1 | 3 | 0 | 0 | 2 | 1052 | 4208 | 7227661.5122
4kW_SW | 20 | 392 | 585 | 2 | 0 | 0 | 1 | 0 | 0 | 3 | 8 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1040 | 4160 | 7095265.8234
4kW_W | 10 | 377 | 577 | 4 | 4 | 0 | 1 | 0 | 0 | 0 | 7 | 26 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1008 | 4032 | 6145178.6713
6kW_S | 0 | 10 | 43 | 0 | 0 | 1 | 3 | 1 | 1 | 8 | 15 | 6 | 0 | 1 | 2 | 3 | 2 | 0 | 6 | 102 | 612 | 1090619.6208
6kW_SE | 0 | 4 | 40 | 1 | 0 | 0 | 1 | 0 | 0 | 4 | 6 | 12 | 0 | 2 | 0 | 8 | 0 | 1 | 2 | 81 | 486 | 834753.6868
6kW_SW | 0 | 9 | 43 | 0 | 0 | 0 | 3 | 1 | 0 | 6 | 10 | 13 | 0 | 2 | 1 | 5 | 3 | 1 | 2 | 99 | 594 | 1013122.0912
6kW_W | 0 | 8 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 6 | 9 | 0 | 0 | 0 | 11 | 1 | 1 | 5 | 92 | 552 | 841304.2234
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 6 | 14 | 350 | 623720.3728
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 5 | 0 | 1 | 1 | 4 | 3 | 0 | 0 | 2 | 20 | 500 | 852796.3717
75kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 6 | 4 | 2 | 4 | 19 | 1425 | 2539432.944
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 0 | 0 | 0 | 1 | 1 | 3 | 1 | 2 | 8 | 21 | 1575 | 2686308.5677
Total Units | 2790 | 5469 | 6594 | 18 | 15 | 1 | 12 | 4 | 1 | 39 | 87 | 219 | 1 | 8 | 12 | 44 | 14 | 8 | 38 | 15374 | 0 | 0
Total Capacity | 5718 | 14280 | 18418 | 62 | 38 | 6 | 81 | 112 | 6 | 549 | 583 | 800 | 25 | 205 | 351 | 974 | 423 | 343 | 1202 | 0 | 44176 | 0
Total Supply | 9635225.3765 | 24031536.9178 | 30980509.4935 | 102500.6732 | 61818.6934 | 10692.3492 | 139181.3334 | 193396.8165 | 10692.3492 | 932850.1595 | 999682.111 | 1342673.7218 | 42639.8186 | 355984.304 | 610372.5239 | 1689598.4888 | 744119.7696 | 597382.866 | 2082080.1135 | 0 | 0 | 74562937.8795

## Yr_5
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 852 | 1175 | 1322 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 4 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3376 | 6752 | 12032456.9394
2kW_SE | 856 | 1198 | 1281 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 5 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3369 | 6738 | 11573190.0162
2kW_SW | 886 | 1167 | 1336 | 1 | 4 | 0 | 1 | 0 | 0 | 0 | 4 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3422 | 6844 | 11673076.6202
2kW_W | 792 | 1241 | 1290 | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 3 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3358 | 6716 | 10235868.0548
4kW_S | 25 | 509 | 696 | 4 | 0 | 0 | 1 | 0 | 0 | 2 | 6 | 32 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1277 | 5108 | 9102753.3175
4kW_SE | 23 | 537 | 709 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 10 | 33 | 0 | 0 | 1 | 3 | 0 | 0 | 2 | 1322 | 5288 | 9082669.695
4kW_SW | 27 | 485 | 733 | 2 | 0 | 0 | 1 | 0 | 0 | 4 | 9 | 36 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1299 | 5196 | 8862259.9082
4kW_W | 16 | 481 | 720 | 5 | 4 | 1 | 1 | 0 | 1 | 0 | 9 | 36 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1276 | 5104 | 7779015.8577
6kW_S | 0 | 12 | 56 | 0 | 0 | 1 | 4 | 2 | 1 | 8 | 22 | 7 | 2 | 2 | 2 | 4 | 3 | 0 | 8 | 134 | 804 | 1432774.796
6kW_SE | 0 | 4 | 49 | 2 | 0 | 0 | 1 | 0 | 0 | 6 | 10 | 13 | 0 | 2 | 0 | 12 | 1 | 1 | 3 | 104 | 624 | 1071782.5114
6kW_SW | 0 | 12 | 50 | 0 | 0 | 0 | 6 | 2 | 0 | 7 | 15 | 14 | 0 | 2 | 1 | 9 | 3 | 1 | 4 | 126 | 756 | 1289428.1161
6kW_W | 0 | 11 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 8 | 10 | 0 | 0 | 0 | 11 | 2 | 1 | 7 | 107 | 642 | 978473.3903
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 6 | 15 | 375 | 668271.828
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 5 | 0 | 1 | 1 | 4 | 3 | 0 | 0 | 3 | 21 | 525 | 895436.1903
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 2 | 7 | 4 | 3 | 5 | 26 | 1950 | 3475013.5023
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 0 | 0 | 2 | 2 | 6 | 1 | 2 | 9 | 28 | 2100 | 3581744.757
Total Units | 3477 | 6832 | 8292 | 22 | 16 | 3 | 16 | 6 | 2 | 47 | 116 | 273 | 3 | 10 | 14 | 57 | 17 | 9 | 48 | 19260 | 0 | 0
Total Capacity | 7136 | 17844 | 23120 | 80 | 40 | 85 | 105 | 124 | 10 | 800 | 823 | 996 | 37 | 286 | 430 | 1328 | 441 | 418 | 1419 | 0 | 55522 | 0
Total Supply | 12031617.8952 | 30018702.5785 | 38897009.8657 | 132901.3152 | 65253.8937 | 150443.1221 | 180574.3521 | 214322.7222 | 16788.7566 | 1378608.6184 | 1410787.9839 | 1671569.2694 | 64024.517 | 494596.1088 | 745114.3505 | 2299860.2005 | 774262.331 | 731037.2315 | 2456740.3879 | 0 | 0 | 93734215.5004

## Yr_6
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1000 | 1408 | 1575 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 4 | 26 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4016 | 8032 | 14313491.4303
2kW_SE | 1005 | 1437 | 1554 | 1 | 7 | 0 | 0 | 0 | 0 | 0 | 5 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4035 | 8070 | 13861033.4566
2kW_SW | 1040 | 1413 | 1604 | 1 | 4 | 0 | 1 | 0 | 0 | 1 | 4 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4095 | 8190 | 13968804.43
2kW_W | 955 | 1492 | 1538 | 6 | 2 | 0 | 0 | 0 | 0 | 1 | 4 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4029 | 8058 | 12281212.7436
4kW_S | 29 | 604 | 819 | 4 | 0 | 0 | 2 | 0 | 0 | 3 | 8 | 37 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1508 | 6032 | 10749375.1001
4kW_SE | 26 | 629 | 833 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 11 | 41 | 0 | 0 | 1 | 3 | 0 | 0 | 2 | 1552 | 6208 | 10662861.8507
4kW_SW | 32 | 568 | 851 | 3 | 0 | 0 | 1 | 0 | 0 | 4 | 12 | 42 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1515 | 6060 | 10335892.0408
4kW_W | 21 | 564 | 869 | 6 | 4 | 1 | 1 | 0 | 1 | 0 | 10 | 47 | 0 | 0 | 2 | 0 | 1 | 0 | 1 | 1528 | 6112 | 9315310.5255
6kW_S | 0 | 16 | 60 | 0 | 0 | 1 | 4 | 2 | 1 | 8 | 24 | 10 | 2 | 2 | 2 | 10 | 3 | 0 | 9 | 154 | 924 | 1646621.7805
6kW_SE | 0 | 6 | 62 | 2 | 0 | 0 | 1 | 0 | 0 | 10 | 16 | 15 | 0 | 2 | 0 | 16 | 1 | 1 | 4 | 136 | 816 | 1401561.7457
6kW_SW | 0 | 16 | 56 | 0 | 0 | 1 | 6 | 2 | 0 | 7 | 18 | 14 | 0 | 2 | 2 | 13 | 3 | 1 | 5 | 146 | 876 | 1494099.2456
6kW_W | 0 | 12 | 63 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 11 | 11 | 0 | 0 | 0 | 14 | 2 | 1 | 9 | 132 | 792 | 1207088.6684
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 5 | 0 | 0 | 0 | 1 | 2 | 0 | 2 | 6 | 18 | 450 | 801926.1936
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5 | 5 | 0 | 1 | 1 | 4 | 4 | 2 | 1 | 4 | 28 | 700 | 1193914.9204
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 1 | 2 | 7 | 4 | 3 | 5 | 27 | 2025 | 3608667.8677
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 0 | 0 | 2 | 4 | 6 | 2 | 2 | 12 | 34 | 2550 | 4349261.4906
Total Units | 4108 | 8165 | 9884 | 28 | 18 | 4 | 17 | 6 | 2 | 59 | 138 | 327 | 3 | 10 | 19 | 76 | 20 | 11 | 58 | 22953 | 0 | 0
Total Capacity | 8432 | 21260 | 27476 | 100 | 44 | 91 | 109 | 124 | 10 | 992 | 937 | 1188 | 37 | 286 | 615 | 1457 | 566 | 468 | 1703 | 0 | 65895 | 0
Total Supply | 14206849.7647 | 35769382.3602 | 46205823.5288 | 165657.3023 | 71737.2978 | 160676.6786 | 187702.5849 | 214322.7222 | 16788.7566 | 1712145.121 | 1602879.382 | 1992448.3511 | 64024.517 | 494596.1088 | 1061834.6808 | 2519808.6944 | 987461.4238 | 818228.5053 | 2938755.7097 | 0 | 0 | 111191123.4902

## Yr_7
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1150 | 1625 | 1787 | 1 | 2 | 0 | 1 | 0 | 1 | 1 | 4 | 26 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4599 | 9198 | 16391371.2868
2kW_SE | 1131 | 1653 | 1791 | 1 | 8 | 0 | 0 | 0 | 0 | 0 | 5 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4624 | 9248 | 15884366.4693
2kW_SW | 1195 | 1615 | 1840 | 3 | 5 | 0 | 1 | 0 | 0 | 1 | 4 | 29 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 4695 | 9390 | 16015515.7018
2kW_W | 1097 | 1683 | 1777 | 8 | 3 | 0 | 0 | 0 | 0 | 1 | 5 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4608 | 9216 | 14046122.6911
4kW_S | 32 | 689 | 966 | 5 | 1 | 0 | 2 | 0 | 0 | 3 | 11 | 41 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1752 | 7008 | 12488663.9094
4kW_SE | 28 | 721 | 970 | 6 | 0 | 0 | 0 | 0 | 0 | 1 | 12 | 50 | 0 | 0 | 1 | 3 | 0 | 0 | 2 | 1794 | 7176 | 12325498.8145
4kW_SW | 36 | 657 | 983 | 3 | 0 | 0 | 2 | 0 | 0 | 4 | 14 | 45 | 0 | 0 | 1 | 3 | 0 | 0 | 2 | 1750 | 7000 | 11939149.222
4kW_W | 22 | 657 | 993 | 6 | 4 | 1 | 1 | 0 | 1 | 0 | 12 | 56 | 0 | 0 | 2 | 0 | 1 | 0 | 2 | 1758 | 7032 | 10717484.2303
6kW_S | 0 | 17 | 67 | 1 | 0 | 1 | 4 | 2 | 1 | 9 | 28 | 12 | 2 | 3 | 2 | 11 | 3 | 0 | 10 | 173 | 1038 | 1849776.4158
6kW_SE | 0 | 9 | 73 | 2 | 0 | 0 | 1 | 0 | 0 | 11 | 17 | 16 | 0 | 2 | 0 | 17 | 1 | 1 | 4 | 154 | 924 | 1587062.5649
6kW_SW | 0 | 17 | 64 | 1 | 0 | 1 | 6 | 2 | 1 | 8 | 22 | 14 | 0 | 2 | 2 | 14 | 3 | 1 | 7 | 165 | 990 | 1688536.8187
6kW_W | 0 | 15 | 69 | 0 | 0 | 0 | 2 | 0 | 0 | 11 | 15 | 11 | 1 | 0 | 0 | 16 | 2 | 1 | 13 | 156 | 936 | 1426559.3353
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 5 | 0 | 0 | 1 | 1 | 3 | 0 | 2 | 6 | 21 | 525 | 935580.5592
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5 | 6 | 0 | 1 | 2 | 4 | 5 | 2 | 1 | 4 | 31 | 775 | 1321834.3761
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 1 | 4 | 9 | 4 | 3 | 5 | 31 | 2325 | 4143285.3296
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 5 | 2 | 0 | 0 | 2 | 6 | 7 | 2 | 2 | 12 | 39 | 2925 | 4988858.7687
Total Units | 4691 | 9358 | 11380 | 37 | 23 | 4 | 21 | 6 | 4 | 66 | 162 | 369 | 5 | 13 | 23 | 90 | 20 | 11 | 67 | 26350 | 0 | 0
Total Capacity | 9618 | 24396 | 31676 | 130 | 56 | 91 | 127 | 124 | 18 | 1122 | 1149 | 1334 | 45 | 342 | 915 | 1776 | 566 | 468 | 1753 | 0 | 75706 | 0
Total Supply | 16204392.532 | 41047475.3667 | 53279665.9248 | 217064.7362 | 92324.2365 | 160676.6786 | 216378.2945 | 214322.7222 | 30586.4295 | 1934136.7609 | 1961167.1842 | 2236703.753 | 76580.3136 | 592479.7318 | 1584982.323 | 3075627.1822 | 987461.4238 | 818228.5053 | 3019412.3948 | 0 | 0 | 127749666.4936

## Yr_8
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1281 | 1805 | 1983 | 1 | 3 | 0 | 1 | 0 | 1 | 1 | 5 | 29 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5111 | 10222 | 18216198.8795
2kW_SE | 1261 | 1868 | 1997 | 1 | 8 | 0 | 0 | 0 | 0 | 0 | 6 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5179 | 10358 | 17790902.6696
2kW_SW | 1317 | 1802 | 2028 | 3 | 6 | 0 | 1 | 0 | 0 | 1 | 5 | 35 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 5200 | 10400 | 17738164.3556
2kW_W | 1234 | 1917 | 1979 | 8 | 3 | 0 | 0 | 0 | 0 | 1 | 5 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5184 | 10368 | 15801888.0275
4kW_S | 36 | 767 | 1062 | 6 | 1 | 0 | 2 | 0 | 0 | 3 | 11 | 46 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1936 | 7744 | 13800258.7492
4kW_SE | 30 | 797 | 1079 | 7 | 0 | 0 | 1 | 0 | 0 | 2 | 14 | 57 | 1 | 0 | 1 | 4 | 0 | 0 | 2 | 1995 | 7980 | 13706449.3506
4kW_SW | 39 | 750 | 1109 | 4 | 0 | 0 | 2 | 0 | 0 | 4 | 15 | 47 | 0 | 0 | 2 | 3 | 0 | 0 | 2 | 1977 | 7908 | 13487827.4354
4kW_W | 25 | 735 | 1108 | 6 | 4 | 1 | 1 | 0 | 1 | 0 | 14 | 58 | 0 | 0 | 2 | 0 | 1 | 0 | 3 | 1959 | 7836 | 11942862.1201
6kW_S | 0 | 20 | 80 | 2 | 0 | 1 | 5 | 2 | 1 | 10 | 32 | 14 | 3 | 3 | 3 | 13 | 3 | 0 | 10 | 202 | 1212 | 2159854.5432
6kW_SE | 0 | 11 | 83 | 2 | 0 | 0 | 1 | 0 | 0 | 12 | 18 | 18 | 0 | 2 | 0 | 18 | 2 | 1 | 4 | 172 | 1032 | 1772563.3842
6kW_SW | 0 | 19 | 73 | 1 | 0 | 1 | 6 | 2 | 1 | 9 | 23 | 15 | 0 | 2 | 2 | 14 | 4 | 1 | 7 | 180 | 1080 | 1842040.1659
6kW_W | 0 | 19 | 78 | 0 | 0 | 1 | 2 | 1 | 0 | 13 | 18 | 14 | 1 | 1 | 0 | 17 | 2 | 1 | 14 | 182 | 1092 | 1664319.2246
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 5 | 0 | 0 | 1 | 1 | 3 | 1 | 3 | 6 | 25 | 625 | 1113786.3801
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5 | 7 | 0 | 1 | 2 | 5 | 5 | 2 | 2 | 4 | 34 | 850 | 1449753.8319
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 1 | 4 | 9 | 4 | 3 | 6 | 33 | 2475 | 4410594.0606
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 6 | 2 | 0 | 0 | 2 | 6 | 7 | 2 | 2 | 16 | 44 | 3300 | 5628456.0467
Total Units | 5223 | 10510 | 12659 | 41 | 25 | 5 | 23 | 7 | 4 | 75 | 180 | 408 | 8 | 14 | 26 | 95 | 23 | 13 | 74 | 29413 | 0 | 0
Total Capacity | 10706 | 27394 | 35290 | 148 | 60 | 97 | 137 | 130 | 18 | 1281 | 1254 | 1476 | 130 | 348 | 950 | 1804 | 603 | 518 | 2138 | 0 | 84482 | 0
Total Supply | 18032646.4276 | 46076642.4412 | 59353273.7067 | 248578.0899 | 99299.5384 | 169821.2897 | 233941.0444 | 223467.3333 | 30586.4295 | 2207550.2566 | 2137715.88 | 2476548.2432 | 227797.429 | 601624.3429 | 1645136.8618 | 3123332.4935 | 1052552.0365 | 905419.7791 | 3679985.6013 | 0 | 0 | 142525919.2246

## Yr_9
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1393 | 1975 | 2170 | 1 | 5 | 0 | 1 | 0 | 1 | 1 | 6 | 35 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5589 | 11178 | 19919846.5149
2kW_SE | 1383 | 2058 | 2174 | 2 | 8 | 0 | 0 | 0 | 0 | 0 | 6 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5670 | 11340 | 19477586.0469
2kW_SW | 1425 | 1998 | 2222 | 3 | 6 | 0 | 1 | 0 | 0 | 1 | 5 | 39 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 5702 | 11404 | 19450579.453
2kW_W | 1355 | 2107 | 2153 | 8 | 3 | 0 | 0 | 0 | 0 | 1 | 5 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5671 | 11342 | 17286363.2337
4kW_S | 36 | 854 | 1174 | 6 | 1 | 0 | 2 | 0 | 0 | 3 | 11 | 53 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 2144 | 8576 | 15282931.1768
4kW_SE | 38 | 868 | 1190 | 8 | 0 | 0 | 1 | 0 | 0 | 2 | 17 | 57 | 1 | 0 | 1 | 4 | 0 | 0 | 2 | 2189 | 8756 | 15039307.082
4kW_SW | 40 | 827 | 1206 | 4 | 0 | 0 | 2 | 0 | 0 | 4 | 19 | 52 | 0 | 0 | 2 | 4 | 0 | 0 | 3 | 2163 | 8652 | 14756788.4384
4kW_W | 31 | 812 | 1218 | 7 | 4 | 1 | 1 | 0 | 1 | 0 | 17 | 60 | 0 | 0 | 2 | 0 | 1 | 0 | 4 | 2159 | 8636 | 13162143.6025
6kW_S | 0 | 21 | 87 | 2 | 0 | 1 | 5 | 2 | 1 | 10 | 34 | 15 | 3 | 3 | 4 | 14 | 3 | 0 | 10 | 215 | 1290 | 2298855.0832
6kW_SE | 0 | 13 | 93 | 2 | 0 | 0 | 1 | 0 | 0 | 13 | 18 | 18 | 0 | 2 | 0 | 21 | 2 | 2 | 5 | 190 | 1140 | 1958064.2035
6kW_SW | 0 | 22 | 83 | 1 | 0 | 1 | 6 | 2 | 1 | 10 | 24 | 20 | 0 | 2 | 2 | 14 | 4 | 1 | 10 | 203 | 1218 | 2077411.9648
6kW_W | 0 | 20 | 83 | 0 | 0 | 1 | 2 | 1 | 0 | 17 | 21 | 15 | 1 | 1 | 2 | 17 | 2 | 1 | 14 | 198 | 1188 | 1810633.0026
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 4 | 5 | 0 | 0 | 1 | 1 | 3 | 2 | 4 | 7 | 29 | 725 | 1291992.2009
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 5 | 9 | 0 | 1 | 2 | 5 | 5 | 2 | 2 | 5 | 37 | 925 | 1577673.2876
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 1 | 6 | 11 | 5 | 3 | 7 | 39 | 2925 | 5212520.2534
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 6 | 2 | 0 | 0 | 2 | 6 | 7 | 3 | 2 | 16 | 45 | 3375 | 5756375.5023
Total Units | 5701 | 11575 | 13853 | 44 | 27 | 5 | 24 | 7 | 4 | 81 | 199 | 442 | 8 | 14 | 31 | 102 | 26 | 15 | 85 | 32243 | 0 | 0
Total Capacity | 11692 | 30176 | 38666 | 158 | 64 | 97 | 162 | 130 | 18 | 1317 | 1382 | 1600 | 130 | 348 | 1118 | 1982 | 778 | 549 | 2303 | 0 | 92670 | 0
Total Supply | 19686526.6061 | 50756830.8222 | 65039263.7872 | 264980.0984 | 106427.7712 | 169821.2897 | 278492.4996 | 223467.3333 | 30586.4295 | 2264667.8586 | 2351801.63 | 2688316.3334 | 227797.429 | 601624.3429 | 1941427.1642 | 3439072.7479 | 1358677.3128 | 960276.8354 | 3969012.7551 | 0 | 0 | 156359071.0464

## Yr_10
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1508 | 2130 | 2327 | 2 | 6 | 0 | 1 | 0 | 1 | 1 | 6 | 35 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6018 | 12036 | 21448852.4471
2kW_SE | 1503 | 2208 | 2336 | 2 | 8 | 0 | 0 | 0 | 0 | 0 | 6 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6103 | 12206 | 20965027.8032
2kW_SW | 1528 | 2156 | 2369 | 3 | 6 | 0 | 1 | 0 | 0 | 1 | 6 | 40 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 6112 | 12224 | 20849165.4887
2kW_W | 1485 | 2257 | 2319 | 8 | 3 | 0 | 0 | 0 | 0 | 1 | 5 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6120 | 12240 | 18655006.6991
4kW_S | 39 | 919 | 1253 | 6 | 1 | 0 | 2 | 0 | 0 | 3 | 11 | 58 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 2296 | 9184 | 16366422.5662
4kW_SE | 42 | 924 | 1276 | 8 | 0 | 0 | 1 | 0 | 0 | 2 | 19 | 61 | 2 | 0 | 1 | 4 | 0 | 0 | 2 | 2342 | 9368 | 16090478.3855
4kW_SW | 43 | 887 | 1297 | 4 | 0 | 0 | 2 | 0 | 0 | 4 | 21 | 53 | 0 | 0 | 2 | 4 | 0 | 0 | 3 | 2320 | 9280 | 15827900.6829
4kW_W | 33 | 882 | 1315 | 7 | 5 | 1 | 1 | 0 | 1 | 0 | 18 | 64 | 0 | 0 | 2 | 0 | 1 | 0 | 4 | 2334 | 9336 | 14229014.8996
6kW_S | 0 | 24 | 98 | 3 | 0 | 1 | 7 | 2 | 1 | 10 | 36 | 16 | 3 | 3 | 4 | 16 | 3 | 0 | 15 | 242 | 1452 | 2587548.5122
6kW_SE | 0 | 16 | 104 | 2 | 0 | 0 | 1 | 0 | 0 | 15 | 18 | 19 | 0 | 2 | 0 | 22 | 3 | 2 | 7 | 211 | 1266 | 2174481.826
6kW_SW | 0 | 27 | 91 | 1 | 0 | 1 | 6 | 2 | 1 | 10 | 25 | 20 | 1 | 2 | 2 | 14 | 4 | 1 | 11 | 219 | 1314 | 2241148.8685
6kW_W | 0 | 23 | 88 | 0 | 0 | 1 | 2 | 1 | 0 | 19 | 23 | 17 | 2 | 1 | 2 | 18 | 3 | 1 | 15 | 216 | 1296 | 1975236.0028
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 6 | 5 | 0 | 0 | 2 | 2 | 3 | 3 | 4 | 9 | 37 | 925 | 1648403.8425
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 5 | 9 | 0 | 1 | 2 | 5 | 6 | 3 | 2 | 5 | 40 | 1000 | 1705592.7434
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5 | 1 | 0 | 1 | 1 | 6 | 13 | 5 | 4 | 7 | 44 | 3300 | 5880792.0808
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 6 | 2 | 0 | 0 | 2 | 6 | 8 | 3 | 2 | 16 | 46 | 3450 | 5884294.9579
Total Units | 6181 | 12453 | 14873 | 46 | 29 | 5 | 27 | 7 | 5 | 88 | 211 | 465 | 11 | 15 | 32 | 110 | 30 | 16 | 96 | 34700 | 0 | 0
Total Capacity | 12676 | 32490 | 41552 | 166 | 70 | 97 | 199 | 130 | 43 | 1466 | 1509 | 1690 | 146 | 373 | 1143 | 2256 | 840 | 624 | 2407 | 0 | 99877 | 0
Total Supply | 21337768.8473 | 54646510.5911 | 69887519.6871 | 279236.564 | 116088.295 | 169821.2897 | 342517.0167 | 223467.3333 | 75137.8847 | 2526325.5589 | 2572256.6089 | 2837925.2703 | 254045.9973 | 646175.7982 | 1985978.6194 | 3917775.6637 | 1465318.7988 | 1093931.2008 | 4151566.7813 | 0 | 0 | 168529367.8063

## Yr_11
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1601 | 2252 | 2465 | 2 | 6 | 0 | 1 | 0 | 1 | 1 | 8 | 37 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6375 | 12750 | 22721241.999
2kW_SE | 1593 | 2368 | 2496 | 3 | 9 | 0 | 0 | 0 | 0 | 0 | 6 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6516 | 13032 | 22383765.5523
2kW_SW | 1637 | 2290 | 2528 | 3 | 7 | 0 | 1 | 0 | 0 | 1 | 6 | 43 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 6518 | 13036 | 22234106.7827
2kW_W | 1586 | 2415 | 2477 | 8 | 4 | 0 | 0 | 0 | 0 | 1 | 5 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6542 | 13084 | 19941348.6643
4kW_S | 40 | 981 | 1352 | 6 | 1 | 0 | 2 | 0 | 0 | 3 | 11 | 64 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 2464 | 9856 | 17563965.6808
4kW_SE | 44 | 977 | 1362 | 8 | 0 | 0 | 1 | 0 | 0 | 2 | 19 | 63 | 2 | 0 | 1 | 4 | 0 | 0 | 2 | 2485 | 9940 | 17072945.6823
4kW_SW | 44 | 936 | 1380 | 4 | 0 | 0 | 2 | 0 | 0 | 4 | 23 | 55 | 0 | 0 | 2 | 4 | 0 | 0 | 3 | 2457 | 9828 | 16762565.5077
4kW_W | 36 | 939 | 1392 | 8 | 5 | 1 | 1 | 0 | 1 | 1 | 21 | 70 | 0 | 0 | 2 | 0 | 1 | 0 | 4 | 2482 | 9928 | 15131283.1966
6kW_S | 0 | 25 | 105 | 3 | 0 | 1 | 7 | 2 | 1 | 10 | 37 | 19 | 4 | 3 | 4 | 16 | 3 | 0 | 15 | 255 | 1530 | 2726549.0521
6kW_SE | 0 | 17 | 110 | 2 | 0 | 0 | 1 | 0 | 0 | 17 | 20 | 21 | 0 | 2 | 0 | 22 | 4 | 2 | 8 | 226 | 1356 | 2329065.842
6kW_SW | 0 | 28 | 95 | 1 | 0 | 1 | 6 | 2 | 1 | 11 | 25 | 22 | 1 | 3 | 2 | 14 | 5 | 1 | 11 | 229 | 1374 | 2343484.4332
6kW_W | 0 | 25 | 89 | 0 | 0 | 1 | 2 | 1 | 0 | 19 | 23 | 17 | 2 | 3 | 3 | 18 | 3 | 1 | 15 | 222 | 1332 | 2030103.6695
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 6 | 5 | 0 | 0 | 2 | 2 | 4 | 3 | 4 | 9 | 38 | 950 | 1692955.2977
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 6 | 11 | 0 | 1 | 4 | 5 | 6 | 4 | 2 | 5 | 46 | 1150 | 1961431.6549
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5 | 1 | 0 | 1 | 2 | 6 | 13 | 5 | 4 | 8 | 46 | 3450 | 6148100.8117
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 6 | 2 | 0 | 0 | 2 | 6 | 8 | 3 | 2 | 16 | 46 | 3450 | 5884294.9579
Total Units | 6581 | 13253 | 15851 | 48 | 32 | 5 | 27 | 7 | 5 | 93 | 223 | 498 | 12 | 21 | 33 | 111 | 33 | 16 | 98 | 36947 | 0 | 0
Total Capacity | 13490 | 34552 | 44270 | 172 | 76 | 97 | 199 | 130 | 43 | 1513 | 1601 | 1816 | 152 | 516 | 1149 | 2281 | 877 | 624 | 2488 | 0 | 106046 | 0
Total Supply | 22704068.1206 | 58107073.6861 | 74471983.0383 | 288768.1718 | 125982.8845 | 169821.2897 | 342517.0167 | 223467.3333 | 75137.8847 | 2605906.5435 | 2727901.9944 | 3050803.8222 | 264738.3465 | 893632.5795 | 1995123.2305 | 3962327.1189 | 1528497.7749 | 1093931.2008 | 4295526.7479 | 0 | 0 | 178927208.7848

## Yr_12
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1701 | 2373 | 2616 | 2 | 6 | 0 | 1 | 0 | 1 | 1 | 8 | 40 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6750 | 13500 | 24057785.646
2kW_SE | 1682 | 2498 | 2639 | 3 | 10 | 0 | 0 | 0 | 0 | 0 | 6 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6882 | 13764 | 23641048.8844
2kW_SW | 1727 | 2423 | 2645 | 3 | 7 | 0 | 1 | 0 | 0 | 1 | 6 | 44 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 6859 | 13718 | 23397321.0221
2kW_W | 1668 | 2530 | 2614 | 8 | 4 | 0 | 0 | 0 | 0 | 1 | 5 | 49 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6880 | 13760 | 20971641.5179
4kW_S | 40 | 1032 | 1428 | 7 | 1 | 0 | 2 | 0 | 0 | 4 | 11 | 67 | 0 | 0 | 0 | 1 | 2 | 0 | 2 | 2597 | 10388 | 18512020.6465
4kW_SE | 46 | 1016 | 1445 | 8 | 0 | 0 | 1 | 0 | 0 | 3 | 19 | 68 | 2 | 0 | 1 | 5 | 0 | 0 | 2 | 2616 | 10464 | 17972968.171
4kW_SW | 47 | 984 | 1462 | 4 | 0 | 0 | 2 | 0 | 0 | 4 | 24 | 62 | 0 | 0 | 2 | 4 | 0 | 0 | 3 | 2598 | 10392 | 17724519.8164
4kW_W | 37 | 1006 | 1475 | 9 | 5 | 1 | 1 | 0 | 1 | 1 | 21 | 75 | 0 | 0 | 2 | 1 | 1 | 0 | 4 | 2640 | 10560 | 16094515.5677
6kW_S | 0 | 27 | 109 | 3 | 0 | 1 | 7 | 2 | 1 | 10 | 41 | 21 | 5 | 3 | 4 | 17 | 3 | 0 | 15 | 269 | 1614 | 2876241.9413
6kW_SE | 0 | 20 | 114 | 2 | 0 | 0 | 1 | 0 | 0 | 19 | 21 | 21 | 0 | 2 | 0 | 24 | 4 | 2 | 8 | 238 | 1428 | 2452733.0549
6kW_SW | 0 | 30 | 99 | 1 | 0 | 1 | 6 | 2 | 1 | 11 | 26 | 23 | 1 | 3 | 2 | 14 | 6 | 1 | 11 | 238 | 1428 | 2435586.4415
6kW_W | 0 | 26 | 94 | 0 | 0 | 1 | 2 | 1 | 0 | 20 | 25 | 19 | 2 | 3 | 3 | 18 | 3 | 1 | 16 | 234 | 1404 | 2139839.003
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 6 | 5 | 0 | 0 | 2 | 2 | 4 | 3 | 4 | 9 | 38 | 950 | 1692955.2977
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 7 | 13 | 0 | 1 | 4 | 5 | 7 | 4 | 2 | 7 | 53 | 1325 | 2259910.385
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 2 | 0 | 1 | 2 | 6 | 13 | 5 | 4 | 10 | 50 | 3750 | 6682718.2736
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 8 | 2 | 0 | 0 | 2 | 6 | 9 | 3 | 2 | 16 | 49 | 3675 | 6268053.3247
Total Units | 6948 | 13965 | 16740 | 50 | 33 | 5 | 28 | 7 | 5 | 102 | 235 | 533 | 13 | 21 | 33 | 120 | 34 | 16 | 103 | 38991 | 0 | 0
Total Capacity | 14236 | 36418 | 46764 | 180 | 78 | 97 | 224 | 130 | 43 | 1789 | 1778 | 1946 | 158 | 516 | 1149 | 2413 | 883 | 624 | 2694 | 0 | 112120 | 0
Total Supply | 23963476.3086 | 61238470.7383 | 78666185.1407 | 301992.812 | 129418.0849 | 169821.2897 | 385156.8353 | 223467.3333 | 75137.8847 | 3081794.0855 | 3035256.1447 | 3268240.382 | 275430.6957 | 893632.5795 | 1995123.2305 | 4187333.189 | 1538731.3314 | 1093931.2008 | 4657259.7271 | 0 | 0 | 189179858.9938

## Yr_13
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1765 | 2486 | 2743 | 2 | 6 | 0 | 1 | 0 | 1 | 1 | 8 | 43 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7057 | 14114 | 25151969.3783
2kW_SE | 1758 | 2604 | 2749 | 3 | 10 | 0 | 0 | 0 | 0 | 0 | 6 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7177 | 14354 | 24654432.9909
2kW_SW | 1804 | 2544 | 2762 | 3 | 7 | 0 | 1 | 0 | 0 | 1 | 6 | 47 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 7177 | 14354 | 24482077.9962
2kW_W | 1754 | 2648 | 2721 | 8 | 4 | 0 | 0 | 0 | 0 | 1 | 5 | 53 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7195 | 14390 | 21931825.6863
4kW_S | 41 | 1077 | 1520 | 7 | 1 | 0 | 2 | 0 | 0 | 4 | 12 | 70 | 0 | 0 | 0 | 1 | 2 | 0 | 2 | 2739 | 10956 | 19524229.7077
4kW_SE | 47 | 1065 | 1505 | 8 | 0 | 0 | 1 | 0 | 0 | 3 | 19 | 69 | 2 | 0 | 1 | 5 | 0 | 0 | 2 | 2727 | 10908 | 18735582.6462
4kW_SW | 48 | 1027 | 1536 | 4 | 0 | 0 | 2 | 0 | 0 | 4 | 25 | 67 | 0 | 0 | 2 | 4 | 0 | 0 | 4 | 2723 | 10892 | 18577316.1894
4kW_W | 40 | 1051 | 1548 | 9 | 5 | 1 | 1 | 0 | 1 | 1 | 22 | 79 | 1 | 0 | 2 | 3 | 1 | 0 | 4 | 2769 | 11076 | 16880952.1238
6kW_S | 0 | 29 | 117 | 4 | 0 | 1 | 7 | 2 | 1 | 10 | 41 | 21 | 5 | 4 | 4 | 17 | 3 | 0 | 15 | 281 | 1686 | 3004550.1319
6kW_SE | 0 | 21 | 118 | 2 | 0 | 0 | 1 | 0 | 0 | 20 | 22 | 23 | 0 | 3 | 0 | 25 | 4 | 2 | 9 | 250 | 1500 | 2576400.2678
6kW_SW | 0 | 32 | 101 | 1 | 0 | 1 | 6 | 2 | 1 | 11 | 29 | 24 | 1 | 3 | 2 | 16 | 6 | 1 | 11 | 248 | 1488 | 2537922.0063
6kW_W | 0 | 26 | 100 | 1 | 0 | 1 | 2 | 2 | 0 | 22 | 28 | 21 | 2 | 3 | 3 | 18 | 3 | 1 | 16 | 249 | 1494 | 2277008.1699
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 7 | 5 | 0 | 0 | 2 | 2 | 4 | 3 | 4 | 9 | 39 | 975 | 1737506.7529
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 7 | 14 | 0 | 1 | 4 | 5 | 7 | 4 | 2 | 7 | 54 | 1350 | 2302550.2036
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 2 | 0 | 1 | 2 | 6 | 13 | 5 | 4 | 11 | 51 | 3825 | 6816372.6391
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 8 | 2 | 0 | 0 | 2 | 6 | 9 | 4 | 2 | 16 | 50 | 3750 | 6395972.7803
Total Units | 7257 | 14610 | 17520 | 52 | 33 | 5 | 28 | 8 | 5 | 106 | 246 | 564 | 14 | 23 | 33 | 125 | 35 | 16 | 106 | 40786 | 0 | 0
Total Capacity | 14866 | 38092 | 49002 | 192 | 78 | 97 | 224 | 136 | 43 | 1832 | 1857 | 2054 | 162 | 528 | 1149 | 2439 | 958 | 624 | 2779 | 0 | 117112 | 0
Total Supply | 25016572.0107 | 64055066.415 | 82441977.0893 | 321829.7724 | 129418.0849 | 169821.2897 | 385156.8353 | 232611.9445 | 75137.8847 | 3154940.3641 | 3166383.0784 | 3447551.268 | 281527.1031 | 914630.5298 | 1995123.2305 | 4230298.7179 | 1666650.787 | 1093931.2008 | 4808042.0646 | 0 | 0 | 197586669.6705

## Yr_14
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1830 | 2593 | 2857 | 2 | 7 | 0 | 1 | 0 | 1 | 1 | 8 | 46 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7347 | 14694 | 26185563.132
2kW_SE | 1829 | 2708 | 2846 | 3 | 10 | 0 | 0 | 0 | 0 | 0 | 8 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7452 | 14904 | 25599113.0902
2kW_SW | 1874 | 2658 | 2866 | 3 | 7 | 0 | 1 | 0 | 0 | 1 | 6 | 55 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 7473 | 14946 | 25491788.8903
2kW_W | 1810 | 2753 | 2816 | 8 | 5 | 0 | 0 | 0 | 0 | 1 | 5 | 56 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7455 | 14910 | 22724358.6506
4kW_S | 43 | 1108 | 1575 | 7 | 1 | 1 | 3 | 0 | 0 | 4 | 15 | 71 | 1 | 0 | 0 | 1 | 2 | 0 | 2 | 2834 | 11336 | 20201411.8261
4kW_SE | 48 | 1104 | 1569 | 9 | 0 | 0 | 1 | 0 | 0 | 3 | 21 | 74 | 2 | 0 | 1 | 5 | 0 | 0 | 2 | 2839 | 11356 | 19505067.522
4kW_SW | 51 | 1072 | 1600 | 4 | 0 | 0 | 2 | 0 | 0 | 5 | 25 | 70 | 0 | 0 | 2 | 4 | 0 | 0 | 4 | 2839 | 11356 | 19368711.2236
4kW_W | 45 | 1102 | 1620 | 9 | 6 | 1 | 1 | 0 | 1 | 1 | 23 | 82 | 1 | 0 | 2 | 3 | 1 | 0 | 5 | 2903 | 11612 | 17697870.717
6kW_S | 0 | 29 | 120 | 4 | 0 | 1 | 7 | 2 | 1 | 11 | 41 | 22 | 5 | 4 | 4 | 17 | 3 | 0 | 15 | 286 | 1716 | 3058011.8781
6kW_SE | 0 | 21 | 119 | 2 | 0 | 0 | 1 | 0 | 0 | 20 | 24 | 23 | 0 | 3 | 0 | 25 | 4 | 2 | 10 | 254 | 1524 | 2617622.672
6kW_SW | 0 | 33 | 107 | 1 | 0 | 1 | 6 | 2 | 1 | 11 | 30 | 24 | 1 | 3 | 2 | 16 | 6 | 1 | 11 | 256 | 1536 | 2619790.4581
6kW_W | 0 | 27 | 102 | 1 | 0 | 1 | 3 | 2 | 0 | 22 | 28 | 24 | 2 | 3 | 3 | 18 | 3 | 1 | 16 | 256 | 1536 | 2341020.4477
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 7 | 5 | 0 | 0 | 2 | 2 | 4 | 3 | 5 | 9 | 40 | 1000 | 1782058.2081
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 7 | 14 | 0 | 1 | 4 | 5 | 8 | 4 | 2 | 8 | 57 | 1425 | 2430469.6593
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 2 | 0 | 2 | 2 | 6 | 15 | 5 | 4 | 12 | 55 | 4125 | 7350990.101
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 8 | 2 | 0 | 0 | 2 | 6 | 10 | 4 | 2 | 18 | 53 | 3975 | 6779731.1472
Total Units | 7530 | 15208 | 18197 | 53 | 36 | 6 | 30 | 9 | 5 | 108 | 257 | 595 | 16 | 23 | 33 | 129 | 35 | 17 | 112 | 42399 | 0 | 0
Total Capacity | 15434 | 39628 | 50914 | 196 | 86 | 101 | 234 | 161 | 43 | 1842 | 1903 | 2156 | 241 | 528 | 1149 | 2689 | 958 | 649 | 3039 | 0 | 121951 | 0
Total Supply | 25973697.2075 | 66628846.7215 | 85655248.1676 | 328700.173 | 142126.8124 | 176949.5225 | 401429.6792 | 275251.763 | 75137.8847 | 3172455.0843 | 3245320.145 | 3616475.6663 | 422309.7014 | 914630.5298 | 1995123.2305 | 4668166.723 | 1666650.787 | 1138482.656 | 5256577.1684 | 0 | 0 | 205753579.6232

## Yr_15
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1878 | 2677 | 2954 | 2 | 7 | 0 | 1 | 0 | 1 | 1 | 8 | 50 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7580 | 15160 | 27016002.2514
2kW_SE | 1881 | 2811 | 2940 | 3 | 10 | 0 | 0 | 0 | 0 | 0 | 9 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7702 | 15404 | 26457913.1804
2kW_SW | 1951 | 2745 | 2976 | 3 | 7 | 0 | 1 | 0 | 0 | 1 | 6 | 56 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 7748 | 15496 | 26429864.8898
2kW_W | 1861 | 2845 | 2899 | 8 | 5 | 0 | 0 | 0 | 0 | 2 | 5 | 57 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7683 | 15366 | 23419349.0962
4kW_S | 44 | 1143 | 1616 | 7 | 1 | 1 | 3 | 0 | 0 | 4 | 15 | 72 | 1 | 0 | 0 | 1 | 2 | 0 | 2 | 2912 | 11648 | 20757413.9864
4kW_SE | 54 | 1145 | 1616 | 10 | 0 | 0 | 1 | 0 | 0 | 3 | 21 | 76 | 2 | 0 | 1 | 5 | 0 | 0 | 2 | 2936 | 11744 | 20171496.3877
4kW_SW | 52 | 1110 | 1661 | 4 | 0 | 0 | 2 | 0 | 0 | 5 | 26 | 74 | 0 | 0 | 2 | 4 | 0 | 0 | 4 | 2944 | 11776 | 20085060.1769
4kW_W | 47 | 1137 | 1675 | 9 | 6 | 1 | 1 | 0 | 1 | 1 | 23 | 83 | 1 | 0 | 2 | 3 | 1 | 0 | 5 | 2996 | 11984 | 18264836.6064
6kW_S | 0 | 30 | 123 | 4 | 0 | 1 | 7 | 2 | 1 | 13 | 42 | 22 | 5 | 4 | 4 | 18 | 3 | 0 | 15 | 294 | 1764 | 3143550.6719
6kW_SE | 0 | 21 | 123 | 2 | 0 | 0 | 2 | 0 | 0 | 21 | 25 | 25 | 0 | 3 | 1 | 27 | 4 | 2 | 10 | 266 | 1596 | 2741289.8849
6kW_SW | 0 | 33 | 109 | 1 | 0 | 1 | 6 | 2 | 1 | 11 | 31 | 25 | 1 | 3 | 2 | 16 | 6 | 1 | 11 | 260 | 1560 | 2660724.684
6kW_W | 0 | 27 | 106 | 1 | 0 | 1 | 3 | 3 | 0 | 23 | 31 | 24 | 2 | 3 | 3 | 18 | 3 | 1 | 16 | 265 | 1590 | 2423321.9479
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 7 | 6 | 0 | 0 | 2 | 2 | 4 | 3 | 5 | 9 | 41 | 1025 | 1826609.6633
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 7 | 14 | 0 | 1 | 4 | 5 | 9 | 4 | 2 | 8 | 58 | 1450 | 2473109.4779
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 6 | 2 | 0 | 2 | 2 | 6 | 15 | 5 | 4 | 14 | 57 | 4275 | 7618298.8319
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 8 | 2 | 0 | 0 | 2 | 6 | 10 | 4 | 2 | 18 | 53 | 3975 | 6779731.1472
Total Units | 7768 | 15724 | 18798 | 54 | 36 | 6 | 31 | 10 | 5 | 113 | 266 | 612 | 16 | 23 | 34 | 133 | 35 | 17 | 114 | 43795 | 0 | 0
Total Capacity | 15930 | 40962 | 52576 | 200 | 86 | 101 | 240 | 167 | 43 | 1868 | 1970 | 2218 | 241 | 528 | 1155 | 2732 | 958 | 649 | 3189 | 0 | 125813 | 0
Total Supply | 26808890.7049 | 68873757.2939 | 88449086.024 | 335570.5737 | 142126.8124 | 176949.5225 | 411735.2803 | 284396.3742 | 75137.8847 | 3216338.1986 | 3358794.5117 | 3722291.2052 | 422309.7014 | 914630.5298 | 2005428.8316 | 4742110.093 | 1666650.787 | 1138482.656 | 5523885.8993 | 0 | 0 | 212268572.8841

## Yr_16
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1927 | 2745 | 3044 | 2 | 7 | 0 | 1 | 0 | 1 | 1 | 9 | 52 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7790 | 15580 | 27764466.6937
2kW_SE | 1921 | 2889 | 3008 | 3 | 10 | 0 | 0 | 0 | 0 | 0 | 10 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7889 | 15778 | 27100295.6479
2kW_SW | 2003 | 2817 | 3058 | 3 | 7 | 0 | 1 | 0 | 0 | 1 | 6 | 57 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 7956 | 15912 | 27139391.4641
2kW_W | 1921 | 2918 | 2977 | 8 | 5 | 0 | 0 | 0 | 0 | 2 | 5 | 59 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7896 | 15792 | 24068616.4863
4kW_S | 44 | 1180 | 1669 | 7 | 1 | 1 | 3 | 0 | 0 | 4 | 16 | 74 | 1 | 0 | 0 | 1 | 2 | 0 | 2 | 3005 | 12020 | 21420339.6391
4kW_SE | 54 | 1170 | 1655 | 10 | 0 | 0 | 1 | 0 | 0 | 3 | 21 | 77 | 2 | 0 | 1 | 5 | 0 | 0 | 2 | 3001 | 12004 | 20618072.4317
4kW_SW | 55 | 1139 | 1710 | 4 | 0 | 0 | 2 | 0 | 0 | 6 | 26 | 77 | 1 | 0 | 2 | 5 | 0 | 0 | 4 | 3031 | 12124 | 20678606.4525
4kW_W | 47 | 1173 | 1711 | 10 | 6 | 1 | 1 | 0 | 1 | 1 | 25 | 87 | 1 | 0 | 2 | 3 | 1 | 0 | 5 | 3075 | 12300 | 18746452.7919
6kW_S | 0 | 31 | 129 | 4 | 0 | 1 | 7 | 2 | 1 | 13 | 42 | 22 | 5 | 4 | 4 | 19 | 3 | 0 | 16 | 303 | 1818 | 3239781.8149
6kW_SE | 0 | 22 | 128 | 2 | 0 | 0 | 2 | 0 | 0 | 21 | 26 | 25 | 0 | 3 | 1 | 28 | 4 | 2 | 12 | 276 | 1656 | 2844345.8956
6kW_SW | 0 | 33 | 117 | 1 | 0 | 1 | 6 | 2 | 1 | 12 | 33 | 25 | 1 | 3 | 2 | 20 | 6 | 1 | 11 | 275 | 1650 | 2814228.0312
6kW_W | 0 | 28 | 107 | 1 | 0 | 1 | 3 | 3 | 0 | 24 | 32 | 26 | 2 | 3 | 3 | 18 | 3 | 1 | 18 | 273 | 1638 | 2496478.8369
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 7 | 6 | 0 | 0 | 2 | 2 | 4 | 3 | 5 | 10 | 42 | 1050 | 1871161.1185
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 7 | 14 | 0 | 1 | 4 | 5 | 9 | 4 | 2 | 8 | 58 | 1450 | 2473109.4779
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7 | 2 | 0 | 2 | 2 | 7 | 15 | 5 | 4 | 14 | 59 | 4425 | 7885607.5628
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 8 | 2 | 0 | 0 | 2 | 7 | 11 | 4 | 2 | 19 | 57 | 4275 | 7291408.9696
Total Units | 7972 | 16145 | 19313 | 55 | 36 | 6 | 32 | 10 | 5 | 117 | 275 | 629 | 17 | 23 | 36 | 142 | 35 | 17 | 121 | 44986 | 0 | 0
Total Capacity | 16344 | 42070 | 54040 | 204 | 86 | 101 | 315 | 167 | 43 | 1959 | 2010 | 2280 | 245 | 528 | 1305 | 2849 | 958 | 649 | 3319 | 0 | 129472 | 0
Total Supply | 27501681.4016 | 70735153.6783 | 90927131.1951 | 341666.9811 | 142126.8124 | 176949.5225 | 539654.7359 | 284396.3742 | 75137.8847 | 3376193.1027 | 3425032.2012 | 3823195.862 | 429132.0724 | 914630.5298 | 2267002.6526 | 4942195.2812 | 1666650.787 | 1138482.656 | 5745949.5838 | 0 | 0 | 218452363.3145

## Yr_17
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 1965 | 2803 | 3111 | 2 | 7 | 0 | 1 | 0 | 2 | 1 | 9 | 52 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7954 | 15908 | 28348981.782
2kW_SE | 1970 | 2944 | 3079 | 4 | 10 | 0 | 0 | 0 | 0 | 0 | 10 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8066 | 16132 | 27708326.1118
2kW_SW | 2049 | 2883 | 3129 | 3 | 7 | 0 | 1 | 0 | 0 | 1 | 6 | 57 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 8139 | 16278 | 27763638.402
2kW_W | 1962 | 2976 | 3032 | 8 | 5 | 0 | 0 | 0 | 0 | 2 | 5 | 59 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8050 | 16100 | 24538039.8574
4kW_S | 46 | 1203 | 1708 | 7 | 1 | 1 | 3 | 0 | 0 | 4 | 16 | 75 | 1 | 0 | 0 | 1 | 2 | 0 | 2 | 3070 | 12280 | 21883674.7728
4kW_SE | 55 | 1194 | 1700 | 10 | 0 | 0 | 1 | 0 | 1 | 3 | 21 | 78 | 2 | 0 | 1 | 5 | 0 | 0 | 2 | 3073 | 12292 | 21112741.2804
4kW_SW | 56 | 1158 | 1743 | 4 | 0 | 0 | 2 | 0 | 0 | 6 | 26 | 79 | 1 | 0 | 2 | 6 | 0 | 0 | 4 | 3087 | 12348 | 21060659.2276
4kW_W | 50 | 1202 | 1747 | 10 | 6 | 1 | 1 | 0 | 1 | 1 | 26 | 89 | 1 | 0 | 2 | 3 | 1 | 0 | 5 | 3146 | 12584 | 19179297.7182
6kW_S | 0 | 31 | 131 | 4 | 0 | 1 | 8 | 2 | 1 | 13 | 44 | 23 | 5 | 4 | 4 | 20 | 3 | 0 | 16 | 310 | 1860 | 3314628.2594
6kW_SE | 0 | 22 | 128 | 2 | 0 | 0 | 2 | 0 | 0 | 21 | 29 | 26 | 0 | 3 | 1 | 28 | 4 | 2 | 12 | 280 | 1680 | 2885568.2999
6kW_SW | 0 | 33 | 125 | 1 | 0 | 1 | 6 | 2 | 1 | 13 | 34 | 27 | 1 | 3 | 2 | 22 | 6 | 1 | 11 | 289 | 1734 | 2957497.8219
6kW_W | 0 | 29 | 109 | 1 | 0 | 1 | 3 | 3 | 0 | 24 | 33 | 26 | 2 | 3 | 3 | 19 | 3 | 1 | 18 | 278 | 1668 | 2542201.8925
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 7 | 6 | 0 | 0 | 2 | 2 | 4 | 3 | 5 | 10 | 42 | 1050 | 1871161.1185
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 7 | 14 | 0 | 1 | 4 | 5 | 9 | 4 | 2 | 8 | 58 | 1450 | 2473109.4779
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7 | 2 | 0 | 2 | 2 | 7 | 15 | 5 | 4 | 14 | 59 | 4425 | 7885607.5628
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 8 | 2 | 0 | 0 | 2 | 7 | 11 | 4 | 2 | 19 | 57 | 4275 | 7291408.9696
Total Units | 8153 | 16478 | 19742 | 56 | 36 | 6 | 33 | 10 | 7 | 118 | 283 | 640 | 17 | 23 | 36 | 147 | 35 | 17 | 121 | 45958 | 0 | 0
Total Capacity | 16720 | 42930 | 55252 | 206 | 86 | 101 | 321 | 167 | 49 | 1965 | 2056 | 2330 | 245 | 528 | 1305 | 2877 | 958 | 649 | 3319 | 0 | 132064 | 0
Total Supply | 28133571.9846 | 72177146.9499 | 92972991.9826 | 345102.1815 | 142126.8124 | 176949.5225 | 550347.0851 | 284396.3742 | 85572.4018 | 3386426.6592 | 3502808.2779 | 3907932.3159 | 429132.0724 | 914630.5298 | 2267002.6526 | 4989321.7255 | 1666650.787 | 1138482.656 | 5745949.5838 | 0 | 0 | 222816542.5546

## Yr_18
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2001 | 2845 | 3168 | 2 | 7 | 0 | 1 | 0 | 2 | 1 | 10 | 55 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8093 | 16186 | 28844393.9605
2kW_SE | 2002 | 3000 | 3134 | 4 | 10 | 0 | 0 | 0 | 0 | 0 | 10 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8213 | 16426 | 28213300.5649
2kW_SW | 2082 | 2944 | 3188 | 3 | 7 | 0 | 1 | 0 | 0 | 1 | 6 | 57 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 8292 | 16584 | 28285549.7763
2kW_W | 2002 | 3026 | 3083 | 8 | 5 | 0 | 0 | 0 | 0 | 2 | 5 | 59 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8192 | 16384 | 24970884.7841
4kW_S | 47 | 1218 | 1744 | 7 | 1 | 1 | 3 | 0 | 0 | 4 | 17 | 75 | 1 | 0 | 0 | 1 | 2 | 0 | 2 | 3123 | 12492 | 22261471.1125
4kW_SE | 58 | 1216 | 1737 | 10 | 0 | 0 | 1 | 0 | 1 | 3 | 21 | 80 | 2 | 0 | 1 | 5 | 0 | 0 | 2 | 3137 | 12548 | 21552446.9237
4kW_SW | 56 | 1190 | 1780 | 4 | 0 | 0 | 2 | 0 | 0 | 6 | 28 | 80 | 1 | 0 | 2 | 6 | 0 | 0 | 4 | 3159 | 12636 | 21551869.9385
4kW_W | 52 | 1225 | 1783 | 10 | 6 | 1 | 1 | 0 | 1 | 2 | 27 | 92 | 1 | 0 | 2 | 3 | 1 | 0 | 5 | 3212 | 12848 | 19581660.6073
6kW_S | 0 | 32 | 132 | 4 | 0 | 2 | 8 | 2 | 1 | 13 | 44 | 24 | 5 | 4 | 4 | 20 | 3 | 0 | 16 | 314 | 1884 | 3357397.6563
6kW_SE | 0 | 22 | 130 | 2 | 0 | 0 | 2 | 0 | 0 | 21 | 29 | 28 | 0 | 3 | 1 | 29 | 4 | 2 | 12 | 285 | 1710 | 2937096.3052
6kW_SW | 0 | 33 | 127 | 1 | 0 | 1 | 6 | 2 | 1 | 14 | 34 | 28 | 1 | 3 | 2 | 22 | 6 | 1 | 11 | 293 | 1758 | 2998432.0478
6kW_W | 0 | 30 | 110 | 1 | 0 | 1 | 3 | 3 | 0 | 24 | 35 | 28 | 2 | 3 | 3 | 19 | 3 | 1 | 18 | 284 | 1704 | 2597069.5592
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 7 | 6 | 0 | 0 | 2 | 2 | 4 | 3 | 5 | 10 | 42 | 1050 | 1871161.1185
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 7 | 15 | 0 | 1 | 4 | 5 | 9 | 4 | 2 | 8 | 59 | 1475 | 2515749.2965
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 7 | 2 | 0 | 2 | 2 | 7 | 16 | 5 | 4 | 14 | 60 | 4500 | 8019261.9283
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 8 | 2 | 0 | 0 | 2 | 7 | 11 | 4 | 2 | 19 | 57 | 4275 | 7291408.9696
Total Units | 8300 | 16781 | 20116 | 56 | 36 | 7 | 33 | 10 | 7 | 120 | 291 | 659 | 17 | 23 | 36 | 149 | 35 | 17 | 122 | 46815 | 0 | 0
Total Capacity | 17026 | 43728 | 56316 | 206 | 86 | 107 | 321 | 167 | 49 | 1975 | 2111 | 2404 | 245 | 528 | 1305 | 2958 | 958 | 649 | 3321 | 0 | 134460 | 0
Total Supply | 28646236.1042 | 73516146.0662 | 94765435.8431 | 345102.1815 | 142126.8124 | 187641.8718 | 550347.0851 | 284396.3742 | 85572.4018 | 3402756.623 | 3594170.8173 | 4031044.1912 | 429132.0724 | 914630.5298 | 2267002.6526 | 5133281.692 | 1666650.787 | 1138482.656 | 5748997.7875 | 0 | 0 | 226849154.5492

## Yr_19
| Small House | Medium House | Large House | Restaurant | Fast-food Restaurant | Hospital | Outpatient facility | Large Hotel | Small hotel | Large Office | Medium Office | Small Office | Midrise Apartment Building | Primary School | Secondary School | Stand-Alone Retail | Strip-mall | Supermarket | Warehouse | Total Units | Total Capacity | Total Supply
2kW_S | 2036 | 2904 | 3208 | 3 | 7 | 0 | 1 | 0 | 2 | 1 | 10 | 56 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8229 | 16458 | 29329113.7898
2kW_SE | 2026 | 3051 | 3194 | 4 | 10 | 0 | 0 | 0 | 0 | 0 | 10 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8348 | 16696 | 28677052.6136
2kW_SW | 2124 | 2986 | 3243 | 3 | 7 | 0 | 1 | 0 | 0 | 1 | 7 | 57 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 8432 | 16864 | 28763115.7397
2kW_W | 2035 | 3086 | 3144 | 8 | 5 | 0 | 0 | 0 | 0 | 2 | 5 | 61 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 8348 | 16696 | 25446404.5627
4kW_S | 49 | 1235 | 1778 | 7 | 1 | 1 | 3 | 0 | 0 | 4 | 17 | 76 | 1 | 0 | 0 | 1 | 2 | 0 | 2 | 3177 | 12708 | 22646395.685
4kW_SE | 58 | 1237 | 1768 | 10 | 1 | 0 | 1 | 0 | 1 | 3 | 21 | 82 | 2 | 0 | 1 | 5 | 0 | 0 | 2 | 3192 | 12768 | 21930318.961
4kW_SW | 56 | 1210 | 1819 | 4 | 0 | 0 | 2 | 0 | 0 | 6 | 28 | 80 | 1 | 0 | 2 | 6 | 0 | 0 | 4 | 3218 | 12872 | 21954389.8265
4kW_W | 52 | 1248 | 1816 | 10 | 6 | 1 | 1 | 0 | 1 | 2 | 27 | 93 | 1 | 0 | 2 | 3 | 1 | 0 | 5 | 3269 | 13076 | 19929155.8298
6kW_S | 0 | 32 | 133 | 4 | 0 | 2 | 8 | 2 | 1 | 13 | 44 | 25 | 5 | 4 | 4 | 21 | 3 | 0 | 16 | 317 | 1902 | 3389474.704
6kW_SE | 0 | 22 | 133 | 2 | 0 | 0 | 2 | 0 | 0 | 21 | 30 | 28 | 0 | 3 | 1 | 29 | 4 | 2 | 12 | 289 | 1734 | 2978318.7095
6kW_SW | 0 | 33 | 134 | 1 | 0 | 1 | 6 | 2 | 1 | 14 | 34 | 30 | 1 | 3 | 2 | 23 | 6 | 1 | 12 | 304 | 1824 | 3111001.169
6kW_W | 0 | 31 | 113 | 1 | 0 | 1 | 3 | 3 | 0 | 25 | 36 | 28 | 2 | 3 | 3 | 19 | 3 | 1 | 18 | 290 | 1740 | 2651937.226
25kW_S | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 7 | 6 | 0 | 0 | 2 | 2 | 4 | 3 | 5 | 10 | 42 | 1050 | 1871161.1185
25kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 7 | 15 | 0 | 1 | 4 | 6 | 10 | 4 | 2 | 8 | 61 | 1525 | 2601028.9337
75kW_S | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8 | 2 | 0 | 2 | 2 | 7 | 16 | 5 | 4 | 14 | 61 | 4575 | 8152916.2938
75kW_SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 8 | 2 | 0 | 0 | 2 | 7 | 11 | 5 | 3 | 19 | 59 | 4425 | 7547247.8808
Total Units | 8436 | 17075 | 20483 | 57 | 37 | 7 | 33 | 10 | 7 | 122 | 294 | 669 | 17 | 23 | 37 | 152 | 36 | 18 | 123 | 47636 | 0 | 0
Total Capacity | 17302 | 44482 | 57380 | 208 | 90 | 107 | 321 | 167 | 49 | 2056 | 2125 | 2444 | 245 | 528 | 1330 | 2995 | 1033 | 724 | 3327 | 0 | 136913 | 0
Total Supply | 29111541.9637 | 74779053.9369 | 96550942.2778 | 348666.2979 | 148997.213 | 187641.8718 | 550347.0851 | 284396.3742 | 85572.4018 | 3545555.5996 | 3617032.215 | 4098829.6188 | 429132.0724 | 914630.5298 | 2309642.4712 | 5196847.4163 | 1794570.2426 | 1266402.1116 | 5759231.3439 | 0 | 0 | 230979033.0434